## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-172_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-172_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-172_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-172_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5586-172_0_5_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_5586-172_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5586-172_0_5_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_5586-172_0_5_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_5586-172_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5586-172_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5586-172_0_5_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_5586-172_0_5_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_5586-172_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5586-172_0_5_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_5586-172_0_5_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_5586-172_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5586-172_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5586-172_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5586-172_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5586-172_0_5_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_5586-172_0_5_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_5586-172_0_5_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_5586-172_0_5_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_5586-172_0_5_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_5586-172_0_5_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_5586-172_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5586-172_0_5_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_5586-172_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_5586-172_0_5_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_5586-172_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5586-172_0_5_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_5586-172_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_5586-172_0_5_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_5586-172_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5586-172_0_5_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_5586-172_0_5_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_5586-172_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_5586-172_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5586-172_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_5586-172_0_5_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_5586-172_0_5_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_5586-172_0_5_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_5586-172_0_5_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_5586-172_0_5_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_5586-172_0_5_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_5586-172_0_5_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_5586-172_0_5_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_5586-172_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5586-172_0_5_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_5586-172_0_5_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_5586-172_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_5586-172_0_5_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_5586-172_0_5_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_5586-172_0_5_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_5586-172_0_5_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_5586-172_0_5_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_5586-172_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_5586-172_0_5_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_5586-172_0_5_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_5586-172_0_5_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_5586-172_0_5_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_5586-172_0_5_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_5586-172_0_5_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_5586-172_0_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_5586-172_0_5_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_5586-172_0_5_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_5586-172_0_5_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_5586-172_0_5_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_5586-172_0_5_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_5586-172_0_5_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_5586-172_0_5_node_74 | 0.4 | n |  | TRUE
71 | bus_MV_628_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-172_0_5_load_0 | 0 | 0.019554 | 0.0049006 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-172_0_5_load_1 | 1 | 0.0063916 | 0.0016019 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-172_0_5_load_18 | 4 | 0.020513 | 0.005141 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-172_0_5_load_29 | 7 | 0.017075 | 0.0042795 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-172_0_5_load_67 | 11 | 0.013095 | 0.003282 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-172_0_5_load_68 | 14 | 0.00038197 | 9.5732e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-172_0_5_load_72 | 19 | 0.0017975 | 0.00045049 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-172_0_5_load_70 | 20 | 0.0043661 | 0.0010942 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-172_0_5_load_54 | 21 | 0.0050722 | 0.0012712 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-172_0_5_load_55 | 22 | 0.02604 | 0.0065263 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-172_0_5_load_53 | 23 | 0.0063956 | 0.0016029 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-172_0_5_load_71 | 24 | 0.010251 | 0.0025692 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-172_0_5_load_44 | 30 | 0.0030818 | 0.00077237 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-172_0_5_load_36 | 32 | 0.0030826 | 0.00077258 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-172_0_5_load_61 | 35 | 0.017996 | 0.0045101 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-172_0_5_load_31 | 36 | 0.022798 | 0.0057137 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-172_0_5_load_62 | 39 | 0.0143 | 0.003584 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-172_0_5_load_19 | 40 | 0.03787 | 0.0094911 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-172_0_5_load_73 | 41 | 0.0015221 | 0.00038148 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-172_0_5_load_51 | 43 | 0.0030433 | 0.00076273 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-172_0_5_load_49 | 44 | 0.013682 | 0.0034291 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-172_0_5_load_48 | 46 | 0.0093164 | 0.0023349 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-172_0_5_load_27 | 49 | 0.025763 | 0.0064569 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-172_0_5_load_34 | 51 | 0.013227 | 0.003315 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-172_0_5_load_63 | 53 | 0.014639 | 0.0036688 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-172_0_5_load_64 | 57 | 0.022038 | 0.0055232 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-172_0_5_load_56 | 58 | 0.016703 | 0.0041861 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-172_0_5_load_59 | 59 | 0.018584 | 0.0046575 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-172_0_5_load_42 | 60 | 0.020131 | 0.0050452 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-172_0_5_load_39 | 62 | 0.019672 | 0.0049304 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-172_0_5_load_37 | 64 | 0.0030826 | 0.00077258 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-172_0_5_load_46 | 65 | 0.0051823 | 0.0012988 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-172_0_5_load_38 | 66 | 0.020305 | 0.0050889 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-172_0_5_load_52 | 67 | 0.016314 | 0.0040887 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-172_0_5_load_41 | 68 | 0.0032089 | 0.00080423 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-172_0_5_load_43 | 69 | 0.013907 | 0.0034854 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-172_0_5_load_74 | 70 | 0.0077378 | 0.0019393 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-172_0_5_line_0 |  | 0 | 1 | 0.026767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-172_0_5_line_1 |  | 0 | 2 | 0.031852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-172_0_5_line_2 |  | 2 | 3 | 0.037482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-172_0_5_line_3 |  | 3 | 4 | 0.033495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-172_0_5_line_4 |  | 4 | 40 | 0.0050028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-172_0_5_line_5 |  | 5 | 6 | 0.15095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-172_0_5_line_6 |  | 5 | 7 | 0.022764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5586-172_0_5_line_7 |  | 6 | 24 | 0.022733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-172_0_5_line_8 |  | 7 | 25 | 0.031406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-172_0_5_line_9 |  | 8 | 9 | 0.07329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5586-172_0_5_line_10 |  | 8 | 10 | 0.12515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-172_0_5_line_11 |  | 8 | 11 | 0.0095843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-172_0_5_line_12 |  | 9 | 19 | 0.029449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-172_0_5_line_13 |  | 10 | 20 | 0.034881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-172_0_5_line_14 |  | 12 | 13 | 0.064423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-172_0_5_line_15 |  | 12 | 14 | 0.033952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5586-172_0_5_line_16 |  | 13 | 41 | 0.076176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-172_0_5_line_17 |  | 14 | 15 | 0.016722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-172_0_5_line_18 |  | 15 | 16 | 0.12399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-172_0_5_line_19 |  | 16 | 20 | 0.044199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-172_0_5_line_20 |  | 17 | 18 | 0.053236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-172_0_5_line_21 |  | 17 | 19 | 0.012745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-172_0_5_line_22 |  | 18 | 21 | 0.052988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-172_0_5_line_23 |  | 18 | 22 | 0.061997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-172_0_5_line_24 |  | 18 | 23 | 0.033918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-172_0_5_line_25 |  | 21 | 42 | 0.031065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5586-172_0_5_line_26 |  | 23 | 43 | 0.0016436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5586-172_0_5_line_27 |  | 25 | 26 | 0.013388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-172_0_5_line_28 |  | 26 | 47 | 0.029306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-172_0_5_line_29 |  | 26 | 46 | 0.031095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-172_0_5_line_30 |  | 27 | 28 | 0.001571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5586-172_0_5_line_31 |  | 27 | 29 | 0.03655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5586-172_0_5_line_32 |  | 27 | 30 | 0.01856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-172_0_5_line_33 |  | 28 | 59 | 0.025327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5586-172_0_5_line_34 |  | 28 | 54 | 0.053608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5586-172_0_5_line_35 |  | 29 | 31 | 0.093203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-172_0_5_line_36 |  | 29 | 32 | 0.018997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5586-172_0_5_line_37 |  | 30 | 60 | 0.015778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-172_0_5_line_38 |  | 31 | 36 | 0.031121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-172_0_5_line_39 |  | 32 | 61 | 0.0046709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5586-172_0_5_line_40 |  | 33 | 34 | 0.009301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-172_0_5_line_41 |  | 33 | 35 | 0.019493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-172_0_5_line_42 |  | 34 | 59 | 0.021905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-172_0_5_line_43 |  | 37 | 38 | 0.027319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-172_0_5_line_44 |  | 37 | 39 | 0.027221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-172_0_5_line_45 |  | 38 | 53 | 0.026025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-172_0_5_line_46 |  | 40 | 48 | 0.023836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-172_0_5_line_47 |  | 42 | 63 | 0.014462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-172_0_5_line_48 |  | 42 | 56 | 0.011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5586-172_0_5_line_49 |  | 43 | 45 | 0.033841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5586-172_0_5_line_50 |  | 44 | 45 | 0.01902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5586-172_0_5_line_51 |  | 45 | 67 | 0.0097317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5586-172_0_5_line_52 |  | 47 | 55 | 0.043606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5586-172_0_5_line_53 |  | 47 | 62 | 0.022143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5586-172_0_5_line_54 |  | 48 | 49 | 0.022356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5586-172_0_5_line_55 |  | 48 | 50 | 0.052645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5586-172_0_5_line_56 |  | 50 | 51 | 0.016114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5586-172_0_5_line_57 |  | 51 | 61 | 0.040701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5586-172_0_5_line_58 |  | 52 | 53 | 0.020321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5586-172_0_5_line_59 |  | 52 | 54 | 0.046118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5586-172_0_5_line_60 |  | 52 | 55 | 0.043453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5586-172_0_5_line_61 |  | 54 | 58 | 0.001233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5586-172_0_5_line_62 |  | 55 | 67 | 0.017751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5586-172_0_5_line_63 |  | 56 | 57 | 0.025376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5586-172_0_5_line_64 |  | 60 | 68 | 0.0069092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5586-172_0_5_line_65 |  | 61 | 64 | 0.012062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5586-172_0_5_line_66 |  | 62 | 66 | 0.026362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5586-172_0_5_line_67 |  | 63 | 70 | 0.016889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5586-172_0_5_line_68 |  | 64 | 65 | 0.0071956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5586-172_0_5_line_69 |  | 68 | 69 | 0.032399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-172_0_5_trafo_39 | 0.63 MVA 20/0.4 kV | 71 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2537352.6058 | 1154852.6335 | 2537359.928 | 1154828.0787 | 2537358.8364 | 1154827.7379
1 | 2537343.5035 | 1154883.1577 | 2537352.6058 | 1154852.6335
2 | 2537378.1439 | 1154897.7046 | 2537373.8432 | 1154895.7595 | 2537349.6358 | 1154885.6729 | 2537343.5035 | 1154883.1577
3 | 2537378.1439 | 1154897.7046 | 2537392.8934 | 1154867.6322
4 | 2537392.8934 | 1154867.6322 | 2537395.0964 | 1154863.1406
5 | 2537287.9217 | 1154853.2323 | 2537297.6047 | 1154859.3234 | 2537295.462 | 1154867.1612 | 2537293.3496 | 1154872.764 | 2537290.7885 | 1154875.8035 | 2537288.0194 | 1154881.6912 | 2537300.0111 | 1154891.438 | 2537303.346 | 1154893.4488 | 2537310.2597 | 1154902.4816 | 2537315.1663 | 1154908.8227 | 2537321.8548 | 1154903.6279 | 2537330.3551 | 1154896.3576 | 2537327.6296 | 1154906.4248 | 2537311.6532 | 1154937.5083 | 2537321.7512 | 1154942.2167
6 | 2537287.9217 | 1154853.2323 | 2537297.7037 | 1154832.6768
7 | 2537321.7512 | 1154942.2167 | 2537329.1068 | 1154928.1657 | 2537334.9855 | 1154924.605
8 | 2537311.199 | 1154804.3183 | 2537297.7037 | 1154832.6768
9 | 2537193.4355 | 1154843.4803 | 2537198.7955 | 1154837.4099 | 2537206.8247 | 1154834.9802 | 2537207.3178 | 1154833.7188 | 2537209.5144 | 1154828.1039 | 2537211.595 | 1154822.4013 | 2537214.9734 | 1154813.161 | 2537224.4195 | 1154810.5164 | 2537226.6605 | 1154809.8815 | 2537231.1954 | 1154808.5334 | 2537235.1414 | 1154807.3583 | 2537233.4698 | 1154794.9467
10 | 2537181.4508 | 1154775.0127 | 2537183.4722 | 1154770.9894 | 2537185.351 | 1154767.2566 | 2537187.4777 | 1154763.0321 | 2537191.2054 | 1154755.6446 | 2537201.8937 | 1154763.2149 | 2537213.2807 | 1154772.312 | 2537199.2796 | 1154804.4758 | 2537191.7424 | 1154820.9413 | 2537193.4355 | 1154843.4803
11 | 2537193.4355 | 1154843.4803 | 2537189.8755 | 1154850.0211 | 2537189.1031 | 1154852.0141
12 | 2537233.4698 | 1154794.9467 | 2537233.2773 | 1154786.7999 | 2537234.0417 | 1154776.9977 | 2537233.4332 | 1154769.4221 | 2537232.5116 | 1154765.6655
13 | 2537181.4508 | 1154775.0127 | 2537170.0562 | 1154770.3293 | 2537149.1839 | 1154761.7636
14 | 2537093.2066 | 1154918.2693 | 2537089.334 | 1154864.1804 | 2537088.6063 | 1154854.0269
15 | 2537088.6063 | 1154854.0269 | 2537071.5123 | 1154855.2065 | 2537070.0662 | 1154854.0988 | 2537068.7781 | 1154839.1589
16 | 2537093.2066 | 1154918.2693 | 2537121.439 | 1154847.502
17 | 2537067.3418 | 1154822.499 | 2537068.7781 | 1154839.1589
18 | 2537067.3418 | 1154822.499 | 2537065.0523 | 1154796.5422 | 2537064.0634 | 1154779.0319 | 2537064.8437 | 1154775.1661 | 2537067.5364 | 1154770.0573 | 2537077.4132 | 1154775.568 | 2537084.7686 | 1154778.3814 | 2537087.873 | 1154766.4313 | 2537090.9286 | 1154755.6823 | 2537092.0803 | 1154752.8576 | 2537094.915 | 1154745.9131 | 2537106.3607 | 1154750.3401 | 2537108.0897 | 1154745.4972
19 | 2537108.0897 | 1154745.4972 | 2537132.7832 | 1154755.0329 | 2537149.1839 | 1154761.7636
20 | 2537246.168 | 1154703.4087 | 2537246.3561 | 1154712.6007 | 2537229.4751 | 1154753.288
21 | 2537229.4751 | 1154753.288 | 2537232.5116 | 1154765.6655
22 | 2537246.168 | 1154703.4087 | 2537251.8919 | 1154690.2974 | 2537254.7482 | 1154683.9419 | 2537268.3264 | 1154655.2816
23 | 2537246.168 | 1154703.4087 | 2537230.3064 | 1154699.2388 | 2537225.5499 | 1154697.7321 | 2537188.8664 | 1154680.3187
24 | 2537246.168 | 1154703.4087 | 2537255.9564 | 1154705.6077 | 2537279.2597 | 1154710.849
25 | 2537281.6265 | 1154627.2082 | 2537268.3264 | 1154655.2816
26 | 2537279.2597 | 1154710.849 | 2537280.8632 | 1154711.2096
27 | 2537311.199 | 1154804.3183 | 2537313.0937 | 1154799.1624 | 2537315.8163 | 1154791.7522
28 | 2537325.9313 | 1154764.2429 | 2537315.8163 | 1154791.7522
29 | 2537315.8163 | 1154791.7522 | 2537287.256 | 1154779.4565
30 | 2537410.03 | 1154737.0183 | 2537408.4849 | 1154736.712
31 | 2537410.03 | 1154737.0183 | 2537431.6613 | 1154741.3065 | 2537445.8823 | 1154744.1267
32 | 2537410.03 | 1154737.0183 | 2537405.4998 | 1154755.0168
33 | 2537408.4849 | 1154736.712 | 2537411.009 | 1154727.9032 | 2537406.6321 | 1154726.7592 | 2537407.3274 | 1154722.8054 | 2537409.3167 | 1154715.4445
34 | 2537377.2416 | 1154708.8779 | 2537380.0253 | 1154710.9945 | 2537378.8827 | 1154730.9061 | 2537408.4849 | 1154736.712
35 | 2537445.8823 | 1154744.1267 | 2537471.411 | 1154749.1971 | 2537490.5055 | 1154752.9894 | 2537484.4274 | 1154791.8071 | 2537479.6514 | 1154798.7384
36 | 2537445.8823 | 1154744.1267 | 2537441.9012 | 1154762.7015
37 | 2537401.6487 | 1154770.3177 | 2537405.4998 | 1154755.0168
38 | 2537479.6514 | 1154798.7384 | 2537467.5021 | 1154809.2149 | 2537463.2402 | 1154823.678
39 | 2537440.9223 | 1154767.2687 | 2537441.9012 | 1154762.7015
40 | 2537424.1864 | 1154696.082 | 2537415.0314 | 1154694.2985
41 | 2537424.1864 | 1154696.082 | 2537419.4408 | 1154714.9881
42 | 2537415.0314 | 1154694.2985 | 2537409.3167 | 1154715.4445
43 | 2537369.7854 | 1154638.2727 | 2537371.1666 | 1154633.8893 | 2537393.1141 | 1154639.7749
44 | 2537393.1141 | 1154639.7749 | 2537385.1317 | 1154665.7994
45 | 2537369.7854 | 1154638.2727 | 2537361.963 | 1154663.0943
46 | 2537410.6052 | 1154847.4391 | 2537401.2338 | 1154850.6273 | 2537395.0964 | 1154863.1406
47 | 2537267.8998 | 1154622.5378 | 2537281.6265 | 1154627.2082
48 | 2537281.6265 | 1154627.2082 | 2537286.3772 | 1154617.1198
49 | 2537314.0038 | 1154718.0421 | 2537292.9418 | 1154713.9263 | 2537280.8632 | 1154711.2096
50 | 2537314.0038 | 1154718.0421 | 2537307.5624 | 1154735.9384
51 | 2537314.0038 | 1154718.0421 | 2537323.5552 | 1154719.9069
52 | 2537340.9769 | 1154723.3082 | 2537325.9313 | 1154764.2429
53 | 2537325.9313 | 1154764.2429 | 2537346.1282 | 1154773.3196
54 | 2537410.6052 | 1154847.4391 | 2537398.7559 | 1154828.4813
55 | 2537410.6052 | 1154847.4391 | 2537426.2065 | 1154842.1293 | 2537437.2002 | 1154807.6294
56 | 2537437.2002 | 1154807.6294 | 2537439.5853 | 1154803.1466 | 2537442.3276 | 1154792.4567
57 | 2537440.9223 | 1154767.2687 | 2537440.2928 | 1154770.1768 | 2537440.467 | 1154771.4312 | 2537453.7893 | 1154781.5092 | 2537451.9438 | 1154791.4004 | 2537449.1902 | 1154791.4291 | 2537442.3276 | 1154792.4567
58 | 2537355.8551 | 1154682.4753 | 2537361.963 | 1154663.0943
59 | 2537355.8551 | 1154682.4753 | 2537359.2821 | 1154683.7514 | 2537382.8784 | 1154692.5436 | 2537377.2416 | 1154708.8779
60 | 2537340.9769 | 1154723.3082 | 2537355.8551 | 1154682.4753
61 | 2537377.2416 | 1154708.8779 | 2537376.8392 | 1154710.0434
62 | 2537340.9769 | 1154723.3082 | 2537323.5552 | 1154719.9069
63 | 2537286.3772 | 1154617.1198 | 2537310.9744 | 1154623.3578
64 | 2537401.6487 | 1154770.3177 | 2537399.9623 | 1154777.0179
65 | 2537440.9223 | 1154767.2687 | 2537452.7201 | 1154769.7779
66 | 2537346.1282 | 1154773.3196 | 2537349.2611 | 1154774.7276 | 2537351.8517 | 1154777.4576 | 2537352.7409 | 1154781.0725 | 2537346.4535 | 1154795.1757
67 | 2537267.8998 | 1154622.5378 | 2537264.9663 | 1154627.3822 | 2537263.2046 | 1154629.1126 | 2537260.167 | 1154630.6007 | 2537254.765 | 1154630.4681
68 | 2537459.7582 | 1154771.2748 | 2537452.7201 | 1154769.7779
69 | 2537383.8322 | 1154804.6525 | 2537398.0673 | 1154784.5465 | 2537399.9623 | 1154777.0179

## bus_geodata
| x | y | coords
0 | 2537352.6058 | 1154852.6335
1 | 2537358.8364 | 1154827.7379
2 | 2537343.5035 | 1154883.1577
3 | 2537378.1439 | 1154897.7046
4 | 2537392.8934 | 1154867.6322
5 | 2537287.9217 | 1154853.2323
6 | 2537321.7512 | 1154942.2167
7 | 2537297.7037 | 1154832.6768
8 | 2537193.4355 | 1154843.4803
9 | 2537233.4698 | 1154794.9467
10 | 2537181.4508 | 1154775.0127
11 | 2537189.1031 | 1154852.0141
12 | 2537088.6063 | 1154854.0269
13 | 2537093.2066 | 1154918.2693
14 | 2537068.7781 | 1154839.1589
15 | 2537067.3418 | 1154822.499
16 | 2537108.0897 | 1154745.4972
17 | 2537229.4751 | 1154753.288
18 | 2537246.168 | 1154703.4087
19 | 2537232.5116 | 1154765.6655
20 | 2537149.1839 | 1154761.7636
21 | 2537268.3264 | 1154655.2816
22 | 2537188.8664 | 1154680.3187
23 | 2537279.2597 | 1154710.849
24 | 2537334.9855 | 1154924.605
25 | 2537311.199 | 1154804.3183
26 | 2537315.8163 | 1154791.7522
27 | 2537410.03 | 1154737.0183
28 | 2537408.4849 | 1154736.712
29 | 2537445.8823 | 1154744.1267
30 | 2537405.4998 | 1154755.0168
31 | 2537479.6514 | 1154798.7384
32 | 2537441.9012 | 1154762.7015
33 | 2537424.1864 | 1154696.082
34 | 2537415.0314 | 1154694.2985
35 | 2537419.4408 | 1154714.9881
36 | 2537463.2402 | 1154823.678
37 | 2537393.1141 | 1154639.7749
38 | 2537369.7854 | 1154638.2727
39 | 2537385.1317 | 1154665.7994
40 | 2537395.0964 | 1154863.1406
41 | 2537121.439 | 1154847.502
42 | 2537281.6265 | 1154627.2082
43 | 2537280.8632 | 1154711.2096
44 | 2537307.5624 | 1154735.9384
45 | 2537314.0038 | 1154718.0421
46 | 2537287.256 | 1154779.4565
47 | 2537325.9313 | 1154764.2429
48 | 2537410.6052 | 1154847.4391
49 | 2537398.7559 | 1154828.4813
50 | 2537437.2002 | 1154807.6294
51 | 2537442.3276 | 1154792.4567
52 | 2537355.8551 | 1154682.4753
53 | 2537361.963 | 1154663.0943
54 | 2537377.2416 | 1154708.8779
55 | 2537340.9769 | 1154723.3082
56 | 2537286.3772 | 1154617.1198
57 | 2537310.9744 | 1154623.3578
58 | 2537376.8392 | 1154710.0434
59 | 2537409.3167 | 1154715.4445
60 | 2537401.6487 | 1154770.3177
61 | 2537440.9223 | 1154767.2687
62 | 2537346.1282 | 1154773.3196
63 | 2537267.8998 | 1154622.5378
64 | 2537452.7201 | 1154769.7779
65 | 2537459.7582 | 1154771.2748
66 | 2537346.4535 | 1154795.1757
67 | 2537323.5552 | 1154719.9069
68 | 2537399.9623 | 1154777.0179
69 | 2537383.8322 | 1154804.6525
70 | 2537254.765 | 1154630.4681
71 | 2537325.9313 | 1154764.2429

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1