## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-179_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-179_0_7_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5586-179_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5586-179_0_7_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5586-179_0_7_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5586-179_0_7_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5586-179_0_7_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5586-179_0_7_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_5586-179_0_7_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5586-179_0_7_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5586-179_0_7_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_5586-179_0_7_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_5586-179_0_7_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5586-179_0_7_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5586-179_0_7_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5586-179_0_7_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_5586-179_0_7_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5586-179_0_7_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_5586-179_0_7_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_5586-179_0_7_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_5586-179_0_7_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5586-179_0_7_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5586-179_0_7_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_5586-179_0_7_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5586-179_0_7_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_5586-179_0_7_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_5586-179_0_7_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_5586-179_0_7_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_5586-179_0_7_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5586-179_0_7_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5586-179_0_7_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_5586-179_0_7_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_5586-179_0_7_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_5586-179_0_7_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_5586-179_0_7_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_5586-179_0_7_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_5586-179_0_7_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5586-179_0_7_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5586-179_0_7_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5586-179_0_7_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5586-179_0_7_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5586-179_0_7_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5586-179_0_7_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_5586-179_0_7_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_5586-179_0_7_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_5586-179_0_7_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5586-179_0_7_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5586-179_0_7_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_5586-179_0_7_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_5586-179_0_7_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_5586-179_0_7_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_5586-179_0_7_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_5586-179_0_7_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_5586-179_0_7_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_5586-179_0_7_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_5586-179_0_7_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_5586-179_0_7_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_5586-179_0_7_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_5586-179_0_7_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_5586-179_0_7_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_5586-179_0_7_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_5586-179_0_7_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_5586-179_0_7_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_5586-179_0_7_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_5586-179_0_7_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_5586-179_0_7_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_5586-179_0_7_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_5586-179_0_7_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5586-179_0_7_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5586-179_0_7_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_5586-179_0_7_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_5586-179_0_7_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_5586-179_0_7_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5586-179_0_7_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_5586-179_0_7_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_5586-179_0_7_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_5586-179_0_7_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_5586-179_0_7_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5586-179_0_7_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_5586-179_0_7_node_71 | 0.4 | n |  | TRUE
80 | bus_MV_626_0_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-179_0_7_load_0 | 0 | 0.018405 | 0.0046128 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-179_0_7_load_4 | 3 | 0.012383 | 0.0031035 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-179_0_7_load_5 | 4 | 0.0061021 | 0.0015293 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-179_0_7_load_6 | 5 | 0.0078665 | 0.0019715 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-179_0_7_load_7 | 6 | 0.018714 | 0.0046902 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-179_0_7_load_13 | 7 | 0.0043711 | 0.0010955 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-179_0_7_load_19 | 10 | 0.018806 | 0.0047132 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-179_0_7_load_32 | 11 | 0.0024025 | 0.00060213 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-179_0_7_load_10 | 12 | 0.010699 | 0.0026815 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-179_0_7_load_11 | 13 | 0.002757 | 0.00069097 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-179_0_7_load_15 | 16 | 0.004066 | 0.001019 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-179_0_7_load_18 | 17 | 0.013363 | 0.003349 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-179_0_7_load_42 | 18 | 0.0032278 | 0.00080896 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-179_0_7_load_41 | 22 | 0.0049706 | 0.0012458 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-179_0_7_load_21 | 23 | 0.0091364 | 0.0022898 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-179_0_7_load_22 | 24 | 0.0055275 | 0.0013853 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-179_0_7_load_46 | 26 | 0.022821 | 0.0057195 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-179_0_7_load_81 | 27 | 0.0085541 | 0.0021439 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-179_0_7_load_35 | 31 | 0.012605 | 0.0031592 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-179_0_7_load_36 | 33 | 0.015024 | 0.0037653 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-179_0_7_load_34 | 34 | 0.012294 | 0.0030811 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-179_0_7_load_43 | 35 | 0.0059018 | 0.0014791 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-179_0_7_load_26 | 36 | 0.015045 | 0.0037706 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-179_0_7_load_27 | 37 | 0.0092165 | 0.0023099 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-179_0_7_load_28 | 38 | 0.014202 | 0.0035594 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-179_0_7_load_30 | 39 | 0.015749 | 0.003947 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-179_0_7_load_33 | 41 | 0.014202 | 0.0035594 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-179_0_7_load_44 | 42 | 0.0067758 | 0.0016982 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-179_0_7_load_48 | 44 | 0.0063475 | 0.0015908 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-179_0_7_load_40 | 45 | 0.0050395 | 0.001263 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-179_0_7_load_38 | 46 | 0.0079272 | 0.0019868 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-179_0_7_load_49 | 47 | 0.003269 | 0.0008193 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-179_0_7_load_50 | 48 | 0.065546 | 0.016427 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-179_0_7_load_61 | 55 | 0.032906 | 0.0082471 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-179_0_7_load_67 | 56 | 0.01448 | 0.0036291 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-179_0_7_load_76 | 57 | 0.0025103 | 0.00062914 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-179_0_7_load_80 | 59 | 0.012518 | 0.0031374 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-179_0_7_load_83 | 62 | 0.044234 | 0.011086 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5586-179_0_7_load_82 | 63 | 0.0063349 | 0.0015877 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5586-179_0_7_load_65 | 65 | 0.0076314 | 0.0019126 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5586-179_0_7_load_63 | 68 | 0.033612 | 0.0084241 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5586-179_0_7_load_72 | 70 | 0.0050078 | 0.0012551 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5586-179_0_7_load_73 | 71 | 0.0032077 | 0.00080392 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5586-179_0_7_load_68 | 72 | 0.0019802 | 0.00049627 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5586-179_0_7_load_74 | 73 | 0.0041965 | 0.0010517 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5586-179_0_7_load_77 | 74 | 0.0094334 | 0.0023642 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5586-179_0_7_load_78 | 75 | 0.0028856 | 0.0007232 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5586-179_0_7_load_84 | 76 | 0.020717 | 0.0051922 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5586-179_0_7_load_75 | 77 | 0.0065051 | 0.0016303 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-179_0_7_line_0 |  | 0 | 1 | 0.02797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-179_0_7_line_1 |  | 1 | 2 | 0.01765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-179_0_7_line_2 |  | 1 | 3 | 0.026912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-179_0_7_line_3 |  | 2 | 4 | 0.019306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5586-179_0_7_line_4 |  | 2 | 5 | 0.027085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5586-179_0_7_line_5 |  | 2 | 6 | 0.023905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-179_0_7_line_6 |  | 4 | 7 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5586-179_0_7_line_7 |  | 5 | 8 | 0.011992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5586-179_0_7_line_8 |  | 6 | 9 | 0.020315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-179_0_7_line_9 |  | 7 | 11 | 0.011024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5586-179_0_7_line_10 |  | 8 | 10 | 0.012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5586-179_0_7_line_11 |  | 9 | 12 | 0.021125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-179_0_7_line_12 |  | 9 | 13 | 0.015681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-179_0_7_line_13 |  | 9 | 14 | 0.058458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-179_0_7_line_14 |  | 10 | 15 | 0.0021955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5586-179_0_7_line_15 |  | 11 | 19 | 0.010699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5586-179_0_7_line_16 |  | 13 | 16 | 0.0012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-179_0_7_line_17 |  | 14 | 17 | 0.0129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-179_0_7_line_18 |  | 15 | 25 | 0.076536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5586-179_0_7_line_19 |  | 16 | 18 | 0.014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-179_0_7_line_20 |  | 19 | 40 | 0.011692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-179_0_7_line_21 |  | 19 | 37 | 0.014091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-179_0_7_line_22 |  | 20 | 21 | 0.084036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-179_0_7_line_23 |  | 20 | 22 | 0.036347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-179_0_7_line_24 |  | 21 | 23 | 0.037053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-179_0_7_line_25 |  | 23 | 24 | 0.029876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5586-179_0_7_line_26 |  | 24 | 28 | 0.01409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5586-179_0_7_line_27 |  | 25 | 26 | 0.025035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-179_0_7_line_28 |  | 25 | 27 | 0.12801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5586-179_0_7_line_29 |  | 27 | 54 | 0.024883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5586-179_0_7_line_30 |  | 28 | 29 | 0.02515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-179_0_7_line_31 |  | 28 | 30 | 0.02834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5586-179_0_7_line_32 |  | 29 | 31 | 0.0039783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-179_0_7_line_33 |  | 30 | 32 | 0.042294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5586-179_0_7_line_34 |  | 30 | 33 | 0.02821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5586-179_0_7_line_35 |  | 31 | 34 | 0.012386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-179_0_7_line_36 |  | 32 | 35 | 0.025627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-179_0_7_line_37 |  | 35 | 40 | 0.034808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-179_0_7_line_38 |  | 36 | 37 | 0.0079815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-179_0_7_line_39 |  | 36 | 38 | 0.021327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-179_0_7_line_40 |  | 38 | 39 | 0.02043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-179_0_7_line_41 |  | 39 | 41 | 0.0095764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-179_0_7_line_42 |  | 40 | 42 | 0.017703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-179_0_7_line_43 |  | 41 | 43 | 0.007299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-179_0_7_line_44 |  | 42 | 44 | 0.016246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-179_0_7_line_45 |  | 43 | 45 | 0.015629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-179_0_7_line_46 |  | 43 | 46 | 0.013364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-179_0_7_line_47 |  | 44 | 47 | 0.00074787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-179_0_7_line_48 |  | 48 | 49 | 0.041816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5586-179_0_7_line_49 |  | 48 | 50 | 0.039554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5586-179_0_7_line_50 |  | 49 | 51 | 0.041333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5586-179_0_7_line_51 |  | 49 | 52 | 0.044288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5586-179_0_7_line_52 |  | 50 | 53 | 0.014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5586-179_0_7_line_53 |  | 50 | 54 | 0.088369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5586-179_0_7_line_54 |  | 51 | 55 | 0.022749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5586-179_0_7_line_55 |  | 52 | 56 | 0.058154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5586-179_0_7_line_56 |  | 53 | 57 | 0.0071621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5586-179_0_7_line_57 |  | 54 | 63 | 0.01565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5586-179_0_7_line_58 |  | 55 | 67 | 0.046225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5586-179_0_7_line_59 |  | 57 | 74 | 0.02389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5586-179_0_7_line_60 |  | 58 | 59 | 0.019642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5586-179_0_7_line_61 |  | 58 | 60 | 0.011176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5586-179_0_7_line_62 |  | 58 | 61 | 0.007144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5586-179_0_7_line_63 |  | 59 | 63 | 0.00010256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5586-179_0_7_line_64 |  | 60 | 62 | 0.022475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5586-179_0_7_line_65 |  | 61 | 75 | 0.0079556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5586-179_0_7_line_66 |  | 62 | 76 | 0.0024611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5586-179_0_7_line_67 |  | 64 | 65 | 0.017846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5586-179_0_7_line_68 |  | 64 | 66 | 0.044306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5586-179_0_7_line_69 |  | 64 | 67 | 0.063478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_5586-179_0_7_line_70 |  | 66 | 77 | 0.017169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5586-179_0_7_line_71 |  | 66 | 73 | 0.031215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5586-179_0_7_line_72 |  | 67 | 68 | 0.0081392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5586-179_0_7_line_73 |  | 69 | 70 | 0.003207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5586-179_0_7_line_74 |  | 69 | 71 | 0.014311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5586-179_0_7_line_75 |  | 69 | 72 | 0.012951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5586-179_0_7_line_76 |  | 72 | 78 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5586-179_0_7_line_77 |  | 77 | 79 | 0.01489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5586-179_0_7_line_78 |  | 78 | 79 | 0.052805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-179_0_7_trafo_45 | 0.63 MVA 20/0.4 kV | 80 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2536665.5492 | 1153841.8516 | 2536653.3418 | 1153867.0174
1 | 2536676.5551 | 1153829.1065 | 2536670.2296 | 1153832.4194 | 2536665.5492 | 1153841.8516
2 | 2536665.5492 | 1153841.8516 | 2536671.4293 | 1153850.8835 | 2536677.0688 | 1153858.1947 | 2536683.2205 | 1153861.3218
3 | 2536676.5551 | 1153829.1065 | 2536683.527 | 1153825.9869 | 2536690.0732 | 1153816.3289
4 | 2536676.5551 | 1153829.1065 | 2536700.3397 | 1153842.063
5 | 2536676.5551 | 1153829.1065 | 2536667.4606 | 1153824.4776 | 2536655.5629 | 1153817.6848
6 | 2536690.0732 | 1153816.3289 | 2536702.9263 | 1153797.3661
7 | 2536710.8709 | 1153847.7997 | 2536700.3397 | 1153842.063
8 | 2536637.478 | 1153808.5626 | 2536643.4473 | 1153810.7676 | 2536655.5629 | 1153817.6848
9 | 2536702.9263 | 1153797.3661 | 2536709.1114 | 1153788.2408
10 | 2536710.8709 | 1153847.7997 | 2536721.5097 | 1153853.9015
11 | 2536637.478 | 1153808.5626 | 2536632.8489 | 1153802.4859 | 2536621.6093 | 1153795.0335
12 | 2536637.478 | 1153808.5626 | 2536646.4789 | 1153795.7225
13 | 2536637.478 | 1153808.5626 | 2536629.7486 | 1153813.3356 | 2536621.0153 | 1153822.5883 | 2536614.501 | 1153834.9081 | 2536597.876 | 1153827.0014 | 2536594.186 | 1153829.2193
14 | 2536723.4142 | 1153854.9938 | 2536721.5097 | 1153853.9015
15 | 2536715.1142 | 1153779.3844 | 2536709.1114 | 1153788.2408
16 | 2536647.1962 | 1153794.6993 | 2536646.4789 | 1153795.7225
17 | 2536594.186 | 1153829.2193 | 2536589.116 | 1153841.0813
18 | 2536723.4142 | 1153854.9938 | 2536735.9729 | 1153862.1989 | 2536762.9657 | 1153877.6677 | 2536766.9442 | 1153867.865 | 2536774.9488 | 1153849.1372
19 | 2536655.7398 | 1153782.5115 | 2536647.1962 | 1153794.6993
20 | 2536715.1142 | 1153779.3844 | 2536721.695 | 1153769.7099
21 | 2536715.1142 | 1153779.3844 | 2536707.3319 | 1153774.0524 | 2536703.6213 | 1153771.238
22 | 2536642.0966 | 1153626.6593 | 2536617.0633 | 1153671.9812 | 2536623.1273 | 1153675.1412 | 2536643.7241 | 1153690.0433
23 | 2536643.7241 | 1153690.0433 | 2536662.3182 | 1153703.488 | 2536667.4894 | 1153702.7554 | 2536672.1404 | 1153696.0277
24 | 2536642.0966 | 1153626.6593 | 2536660.6421 | 1153640.5714 | 2536671.4614 | 1153649.2493
25 | 2536694.8486 | 1153667.8394 | 2536686.1156 | 1153661.0031 | 2536671.4614 | 1153649.2493
26 | 2536705.9439 | 1153676.5249 | 2536694.8486 | 1153667.8394
27 | 2536774.9488 | 1153849.1372 | 2536781.8309 | 1153832.378 | 2536784.6659 | 1153826.0678
28 | 2536774.9488 | 1153849.1372 | 2536873.8077 | 1153930.4665
29 | 2536892.66 | 1153918.0489 | 2536878.6519 | 1153921.0977 | 2536873.8077 | 1153930.4665
30 | 2536690.1146 | 1153696.1023 | 2536705.9439 | 1153676.5249
31 | 2536705.9439 | 1153676.5249 | 2536728.4985 | 1153693.7635
32 | 2536690.1146 | 1153696.1023 | 2536693.3072 | 1153698.4758
33 | 2536728.4985 | 1153693.7635 | 2536736.3766 | 1153699.4393 | 2536758.6034 | 1153715.4363 | 2536755.6794 | 1153719.7361
34 | 2536728.4985 | 1153693.7635 | 2536722.3788 | 1153703.5111 | 2536723.7095 | 1153707.477 | 2536734.1505 | 1153714.3818
35 | 2536693.3072 | 1153698.4758 | 2536703.2471 | 1153705.8655
36 | 2536755.6794 | 1153719.7361 | 2536741.2686 | 1153740.9271
37 | 2536721.695 | 1153769.7099 | 2536741.2686 | 1153740.9271
38 | 2536703.6213 | 1153771.238 | 2536697.2621 | 1153766.4147
39 | 2536680.2699 | 1153753.5266 | 2536697.2621 | 1153766.4147
40 | 2536663.9924 | 1153741.1806 | 2536680.2699 | 1153753.5266
41 | 2536663.9924 | 1153741.1806 | 2536656.3624 | 1153735.3935
42 | 2536721.695 | 1153769.7099 | 2536726.0787 | 1153772.1651 | 2536736.7201 | 1153779.0568
43 | 2536650.547 | 1153730.9826 | 2536656.3624 | 1153735.3935
44 | 2536736.2738 | 1153792.2112 | 2536740.1889 | 1153787.5249 | 2536740.6809 | 1153783.2396 | 2536738.1222 | 1153779.9648 | 2536736.7201 | 1153779.0568
45 | 2536650.547 | 1153730.9826 | 2536659.9831 | 1153718.5239
46 | 2536650.547 | 1153730.9826 | 2536639.9029 | 1153722.901
47 | 2536735.7943 | 1153792.7852 | 2536736.2738 | 1153792.2112
48 | 2536949.4233 | 1154032.4934 | 2536940.6473 | 1154027.4605 | 2536938.2499 | 1154025.6402 | 2536933.8727 | 1154022.3287 | 2536927.5389 | 1154017.5259 | 2536924.8708 | 1154015.5084 | 2536922.6204 | 1154013.8088 | 2536919.9291 | 1154011.7693 | 2536918.073 | 1154010.3658 | 2536915.3741 | 1154008.3263
49 | 2536882.6655 | 1153986.191 | 2536890.0953 | 1153990.1485 | 2536897.0836 | 1153995.1667 | 2536902.6188 | 1153999.1552 | 2536915.3741 | 1154008.3263
50 | 2536976.2762 | 1154001.1058 | 2536959.0675 | 1154019.374 | 2536949.4233 | 1154032.4934
51 | 2536949.4233 | 1154032.4934 | 2536942.7594 | 1154041.5571 | 2536974.1986 | 1154051.7107
52 | 2536872.2341 | 1153980.6086 | 2536875.3508 | 1153984.4335 | 2536881.3243 | 1153988.5175 | 2536882.6655 | 1153986.191
53 | 2536882.6655 | 1153986.191 | 2536914.815 | 1153935.3591 | 2536908.6808 | 1153929.1201 | 2536892.66 | 1153918.0489
54 | 2536976.2762 | 1154001.1058 | 2536967.5733 | 1153992.0699 | 2536974.8957 | 1153984.9643
55 | 2536974.1986 | 1154051.7107 | 2536995.5808 | 1154023.938 | 2537000.7671 | 1154026.1293 | 2537014.0287 | 1154037.5077
56 | 2536872.2341 | 1153980.6086 | 2536869.5214 | 1153977.2686 | 2536867.1098 | 1153975.7325
57 | 2536892.66 | 1153918.0489 | 2536905.6327 | 1153909.2943
58 | 2537010.3595 | 1153955.368 | 2536981.7376 | 1153978.325 | 2536974.8957 | 1153984.9643
59 | 2536846.96 | 1153962.8978 | 2536867.1098 | 1153975.7325
60 | 2536923.7538 | 1153906.9276 | 2536918.8349 | 1153906.8347 | 2536912.155 | 1153904.8927 | 2536905.7178 | 1153909.2369
61 | 2536923.7538 | 1153906.9276 | 2536930.3012 | 1153910.8611 | 2536932.1955 | 1153907.8729
62 | 2536925.0303 | 1153899.8993 | 2536923.7538 | 1153906.9276
63 | 2536905.6327 | 1153909.2943 | 2536905.7178 | 1153909.2369
64 | 2536932.1955 | 1153907.8729 | 2536948.3767 | 1153915.2294 | 2536952.0501 | 1153918.1618
65 | 2536925.0303 | 1153899.8993 | 2536930.2963 | 1153893.936
66 | 2536952.0501 | 1153918.1618 | 2536953.9736 | 1153919.6972
67 | 2537031.5215 | 1153958.5036 | 2537037.8435 | 1153967.2977 | 2537042.1671 | 1153972.8221
68 | 2537031.5215 | 1153958.5036 | 2537046.3795 | 1153948.6982 | 2537053.2675 | 1153944.1569 | 2537069.993 | 1153936.8444
69 | 2537010.3595 | 1153955.368 | 2537020.5218 | 1153949.9253 | 2537040.7851 | 1153939.0515 | 2537046.3795 | 1153948.6982 | 2537031.5215 | 1153958.5036
70 | 2537069.993 | 1153936.8444 | 2537081.8906 | 1153931.5281 | 2537085.7145 | 1153929.9482
71 | 2537069.993 | 1153936.8444 | 2537077.235 | 1153951.4433 | 2537074.5797 | 1153960.1647 | 2537069.3119 | 1153962.5955
72 | 2537010.3595 | 1153955.368 | 2537012.1208 | 1153951.3919 | 2537014.4126 | 1153948.3729
73 | 2537097.4553 | 1153978.2129 | 2537099.9739 | 1153976.2187
74 | 2537086.5457 | 1153979.6945 | 2537094.3767 | 1153975.8215 | 2537099.9739 | 1153976.2187
75 | 2537099.9739 | 1153976.2187 | 2537110.1115 | 1153968.1587
76 | 2537120.746 | 1153959.7035 | 2537110.1115 | 1153968.1587
77 | 2537099.4759 | 1153924.2623 | 2537085.7145 | 1153929.9482
78 | 2537099.4759 | 1153924.2623 | 2537110.1708 | 1153919.848 | 2537120.746 | 1153959.7035

## bus_geodata
| x | y | coords
0 | 2536653.3418 | 1153867.0174
1 | 2536665.5492 | 1153841.8516
2 | 2536676.5551 | 1153829.1065
3 | 2536683.2205 | 1153861.3218
4 | 2536690.0732 | 1153816.3289
5 | 2536700.3397 | 1153842.063
6 | 2536655.5629 | 1153817.6848
7 | 2536702.9263 | 1153797.3661
8 | 2536710.8709 | 1153847.7997
9 | 2536637.478 | 1153808.5626
10 | 2536721.5097 | 1153853.9015
11 | 2536709.1114 | 1153788.2408
12 | 2536621.6093 | 1153795.0335
13 | 2536646.4789 | 1153795.7225
14 | 2536594.186 | 1153829.2193
15 | 2536723.4142 | 1153854.9938
16 | 2536647.1962 | 1153794.6993
17 | 2536589.116 | 1153841.0813
18 | 2536655.7398 | 1153782.5115
19 | 2536715.1142 | 1153779.3844
20 | 2536643.7241 | 1153690.0433
21 | 2536642.0966 | 1153626.6593
22 | 2536672.1404 | 1153696.0277
23 | 2536671.4614 | 1153649.2493
24 | 2536694.8486 | 1153667.8394
25 | 2536774.9488 | 1153849.1372
26 | 2536784.6659 | 1153826.0678
27 | 2536873.8077 | 1153930.4665
28 | 2536705.9439 | 1153676.5249
29 | 2536690.1146 | 1153696.1023
30 | 2536728.4985 | 1153693.7635
31 | 2536693.3072 | 1153698.4758
32 | 2536755.6794 | 1153719.7361
33 | 2536734.1505 | 1153714.3818
34 | 2536703.2471 | 1153705.8655
35 | 2536741.2686 | 1153740.9271
36 | 2536697.2621 | 1153766.4147
37 | 2536703.6213 | 1153771.238
38 | 2536680.2699 | 1153753.5266
39 | 2536663.9924 | 1153741.1806
40 | 2536721.695 | 1153769.7099
41 | 2536656.3624 | 1153735.3935
42 | 2536736.7201 | 1153779.0568
43 | 2536650.547 | 1153730.9826
44 | 2536736.2738 | 1153792.2112
45 | 2536659.9831 | 1153718.5239
46 | 2536639.9029 | 1153722.901
47 | 2536735.7943 | 1153792.7852
48 | 2536915.3741 | 1154008.3264
49 | 2536949.4233 | 1154032.4934
50 | 2536882.6655 | 1153986.191
51 | 2536976.2762 | 1154001.1058
52 | 2536974.1986 | 1154051.7107
53 | 2536872.2341 | 1153980.6086
54 | 2536892.66 | 1153918.0489
55 | 2536974.8957 | 1153984.9643
56 | 2537014.0287 | 1154037.5077
57 | 2536867.1098 | 1153975.7325
58 | 2536923.7538 | 1153906.9276
59 | 2536905.7178 | 1153909.2369
60 | 2536932.1955 | 1153907.8729
61 | 2536925.0303 | 1153899.8993
62 | 2536952.0501 | 1153918.1618
63 | 2536905.6327 | 1153909.2943
64 | 2537031.5215 | 1153958.5036
65 | 2537042.1671 | 1153972.8221
66 | 2537069.993 | 1153936.8444
67 | 2537010.3595 | 1153955.368
68 | 2537014.4126 | 1153948.3729
69 | 2537099.9739 | 1153976.2187
70 | 2537097.4553 | 1153978.2129
71 | 2537086.5457 | 1153979.6945
72 | 2537110.1115 | 1153968.1587
73 | 2537069.3119 | 1153962.5955
74 | 2536846.96 | 1153962.8978
75 | 2536930.2963 | 1153893.936
76 | 2536953.9736 | 1153919.6972
77 | 2537085.7145 | 1153929.9482
78 | 2537120.746 | 1153959.7035
79 | 2537099.4759 | 1153924.2623
80 | 2536762.9657 | 1153877.6677

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1