## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-224_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-224_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5586-224_0_6_node_26 | 0.4 | n |  | TRUE
3 | bus_LV_5586-224_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5586-224_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5586-224_0_6_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_5586-224_0_6_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_5586-224_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5586-224_0_6_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5586-224_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5586-224_0_6_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_5586-224_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5586-224_0_6_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_5586-224_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5586-224_0_6_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_5586-224_0_6_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_5586-224_0_6_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_5586-224_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5586-224_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5586-224_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5586-224_0_6_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_5586-224_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_5586-224_0_6_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_5586-224_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5586-224_0_6_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_5586-224_0_6_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_5586-224_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5586-224_0_6_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_5586-224_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5586-224_0_6_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_5586-224_0_6_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5586-224_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5586-224_0_6_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_5586-224_0_6_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5586-224_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5586-224_0_6_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5586-224_0_6_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_5586-224_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5586-224_0_6_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_5586-224_0_6_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5586-224_0_6_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_5586-224_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_5586-224_0_6_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_5586-224_0_6_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_5586-224_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5586-224_0_6_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5586-224_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5586-224_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5586-224_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5586-224_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_MV_629_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-224_0_6_load_0 | 0 | 0.085738 | 0.021488 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-224_0_6_load_26 | 2 | 0.015971 | 0.0040028 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-224_0_6_load_27 | 5 | 0.022652 | 0.005677 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-224_0_6_load_48 | 6 | 0.0040402 | 0.0010126 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-224_0_6_load_35 | 10 | 0.00047072 | 0.00011797 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-224_0_6_load_33 | 12 | 0.033042 | 0.0082811 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-224_0_6_load_45 | 15 | 0.0048324 | 0.0012111 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-224_0_6_load_29 | 16 | 0.0024622 | 0.00061708 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-224_0_6_load_47 | 20 | 0.063299 | 0.015864 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-224_0_6_load_43 | 22 | 0.011108 | 0.0027838 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-224_0_6_load_42 | 24 | 0.011107 | 0.0027838 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-224_0_6_load_40 | 25 | 0.016076 | 0.004029 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-224_0_6_load_28 | 27 | 0.03244 | 0.0081302 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-224_0_6_load_31 | 29 | 0.042944 | 0.010763 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-224_0_6_load_44 | 32 | 0.025092 | 0.0062885 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-224_0_6_load_32 | 35 | 0.0031104 | 0.00077954 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-224_0_6_load_49 | 36 | 0.0030038 | 0.00075283 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-224_0_6_load_51 | 38 | 0.012772 | 0.0032011 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-224_0_6_load_30 | 39 | 0.0062574 | 0.0015683 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-224_0_6_load_46 | 42 | 0.066822 | 0.016747 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-224_0_6_load_50 | 43 | 0.0080116 | 0.0020079 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-224_0_6_load_34 | 44 | 0.00038509 | 9.6513e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-224_0_6_load_36 | 46 | 0.001678 | 0.00042054 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-224_0_6_load_37 | 47 | 0.00086727 | 0.00021736 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-224_0_6_load_39 | 48 | 0.00045291 | 0.00011351 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-224_0_6_load_41 | 49 | 0.001341 | 0.00033609 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-224_0_6_line_0 |  | 0 | 1 | 0.021092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-224_0_6_line_1 |  | 1 | 2 | 0.019331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-224_0_6_line_2 |  | 1 | 3 | 0.061972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-224_0_6_line_3 |  | 3 | 4 | 0.098095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-224_0_6_line_4 |  | 3 | 5 | 0.013952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-224_0_6_line_5 |  | 4 | 6 | 0.058623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5586-224_0_6_line_6 |  | 6 | 41 | 0.033443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5586-224_0_6_line_7 |  | 7 | 8 | 0.075819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-224_0_6_line_8 |  | 7 | 9 | 0.064917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-224_0_6_line_9 |  | 7 | 10 | 0.015914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5586-224_0_6_line_10 |  | 8 | 25 | 0.04207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-224_0_6_line_11 |  | 9 | 14 | 0.086494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5586-224_0_6_line_12 |  | 9 | 16 | 0.0046614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-224_0_6_line_13 |  | 9 | 11 | 0.012421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-224_0_6_line_14 |  | 10 | 44 | 0.013946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-224_0_6_line_15 |  | 11 | 12 | 0.080453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5586-224_0_6_line_16 |  | 13 | 14 | 0.032461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5586-224_0_6_line_17 |  | 13 | 15 | 0.021059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5586-224_0_6_line_18 |  | 14 | 38 | 0.008313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-224_0_6_line_19 |  | 15 | 18 | 0.018994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_5586-224_0_6_line_20 |  | 17 | 18 | 0.036452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5586-224_0_6_line_21 |  | 17 | 19 | 0.1587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5586-224_0_6_line_22 |  | 17 | 20 | 0.0040713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-224_0_6_line_23 |  | 19 | 26 | 0.14165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_5586-224_0_6_line_24 |  | 19 | 27 | 0.044801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-224_0_6_line_25 |  | 21 | 22 | 0.014571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5586-224_0_6_line_26 |  | 21 | 23 | 0.059798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5586-224_0_6_line_27 |  | 21 | 24 | 0.029379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-224_0_6_line_28 |  | 23 | 27 | 0.037993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-224_0_6_line_29 |  | 25 | 45 | 0.045894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-224_0_6_line_30 |  | 26 | 28 | 0.025487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_5586-224_0_6_line_31 |  | 26 | 29 | 0.019792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5586-224_0_6_line_32 |  | 28 | 39 | 0.017266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5586-224_0_6_line_33 |  | 30 | 31 | 0.028295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5586-224_0_6_line_34 |  | 30 | 32 | 0.011435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5586-224_0_6_line_35 |  | 31 | 36 | 0.033729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-224_0_6_line_36 |  | 31 | 37 | 0.077935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-224_0_6_line_37 |  | 33 | 34 | 0.017394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-224_0_6_line_38 |  | 33 | 35 | 0.02434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-224_0_6_line_39 |  | 34 | 42 | 0.043751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-224_0_6_line_40 |  | 34 | 41 | 0.037597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-224_0_6_line_41 |  | 37 | 43 | 0.016797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-224_0_6_line_42 |  | 37 | 40 | 0.013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-224_0_6_line_43 |  | 39 | 40 | 0.017711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5586-224_0_6_line_44 |  | 40 | 41 | 0.060014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5586-224_0_6_line_45 |  | 45 | 46 | 0.0092797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-224_0_6_line_46 |  | 46 | 47 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-224_0_6_line_47 |  | 47 | 48 | 0.010242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-224_0_6_line_48 |  | 48 | 49 | 0.010267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-224_0_6_trafo_4 | 0.63 MVA 20/0.4 kV | 50 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2538854.813 | 1152957.3265 | 2538833.7215 | 1152957.2441
1 | 2538854.813 | 1152957.3265 | 2538864.0821 | 1152958.0437 | 2538874.1718 | 1152957.9633
2 | 2538854.813 | 1152957.3265 | 2538858.2709 | 1152977.4133 | 2538859.4325 | 1152979.9584 | 2538859.4533 | 1152988.7852 | 2538860.7659 | 1152994.864 | 2538860.7303 | 1153005.6925 | 2538860.3245 | 1153018.6036
3 | 2538860.3245 | 1153018.6036 | 2538860.4474 | 1153022.3822 | 2538860.782 | 1153034.1518 | 2538887.6827 | 1153026.4296 | 2538903.1604 | 1153021.9588 | 2538909.8509 | 1153021.9019 | 2538931.8047 | 1153021.9455 | 2538934.4019 | 1153021.5522 | 2538936.6663 | 1153020.1174 | 2538937.9753 | 1153018.292 | 2538938.5748 | 1153016.1291
4 | 2538860.3245 | 1153018.6036 | 2538865.6259 | 1153005.6982
5 | 2538938.5748 | 1153016.1291 | 2538949.5866 | 1153019.9638 | 2538965.9595 | 1153024.2999 | 2538994.0452 | 1153024.4371 | 2538995.8698 | 1153023.7802
6 | 2539015.4359 | 1153000.0069 | 2539015.345 | 1153003.1428 | 2539015.3904 | 1153004.5987 | 2539010.7875 | 1153014.5286 | 2539003.8312 | 1153020.9137 | 2538995.8698 | 1153023.7802
7 | 2538854.7847 | 1153225.2273 | 2538860.7709 | 1153244.1989 | 2538868.1917 | 1153260.888 | 2538877.8401 | 1153280.078 | 2538886.7251 | 1153293.6284
8 | 2538854.7847 | 1153225.2273 | 2538852.6281 | 1153218.39 | 2538847.0861 | 1153199.3471 | 2538855.3497 | 1153197.0507 | 2538857.2348 | 1153198.3211 | 2538862.6606 | 1153199.1664 | 2538866.6304 | 1153196.4245 | 2538868.006 | 1153192.1082 | 2538867.3294 | 1153179.9085
9 | 2538854.7847 | 1153225.2273 | 2538857.7631 | 1153224.5966 | 2538870.5939 | 1153223.5973
10 | 2538886.7251 | 1153293.6284 | 2538918.3797 | 1153265.9178
11 | 2538845.3621 | 1153130.2273 | 2538845.8773 | 1153133.3571 | 2538846.5882 | 1153137.6077 | 2538846.5629 | 1153139.6535 | 2538840.5549 | 1153140.415 | 2538835.8343 | 1153141.0078 | 2538836.2692 | 1153146.7954 | 2538837.0002 | 1153156.7934 | 2538840.6139 | 1153177.1121 | 2538841.7431 | 1153181.0027 | 2538854.216 | 1153179.8974 | 2538867.3294 | 1153179.9085
12 | 2538867.3294 | 1153179.9085 | 2538871.903 | 1153179.0084
13 | 2538864.4961 | 1153168.4089 | 2538866.0963 | 1153169.571 | 2538866.9724 | 1153173.4753 | 2538867.3294 | 1153179.9085
14 | 2538884.4976 | 1153222.5144 | 2538870.5939 | 1153223.5973
15 | 2538864.4961 | 1153168.4089 | 2538944.7448 | 1153162.6791
16 | 2538845.3621 | 1153130.2273 | 2538845.8773 | 1153133.3571 | 2538846.5882 | 1153137.6077 | 2538846.5629 | 1153139.6535 | 2538850.5632 | 1153139.1459 | 2538869.4271 | 1153137.9645
17 | 2538869.4271 | 1153137.9645 | 2538890.445 | 1153136.646
18 | 2538845.3621 | 1153130.2273 | 2538850.3432 | 1153123.5619
19 | 2538909.4018 | 1153135.4568 | 2538890.445 | 1153136.646
20 | 2538909.4018 | 1153135.4568 | 2538931.5785 | 1153134.0751 | 2538934.1627 | 1153133.9043 | 2538945.7798 | 1153133.1415
21 | 2538945.7798 | 1153133.1415 | 2539002.8449 | 1153129.349 | 2539010.8527 | 1153128.2894 | 2539012.7454 | 1153128.0367 | 2539024.1541 | 1153126.3979 | 2539028.8509 | 1153125.7277 | 2539048.0462 | 1153122.409 | 2539051.4774 | 1153126.3097 | 2539067.3704 | 1153123.4692 | 2539095.8319 | 1153118.3447 | 2539096.417 | 1153123.8306
22 | 2538945.7798 | 1153133.1415 | 2538945.61 | 1153130.7864 | 2538947.3134 | 1153130.6344
23 | 2539046.261 | 1153061.4052 | 2539051.1526 | 1153061.011 | 2539078.7564 | 1153051.4816 | 2539102.3846 | 1153044.1271 | 2539101.3733 | 1153048.8288 | 2539100.7656 | 1153057.006 | 2539099.6074 | 1153070.6807 | 2539100.3113 | 1153096.9767 | 2539101.3622 | 1153107.5384 | 2539098.7445 | 1153112.7233 | 2539095.3912 | 1153114.2247 | 2539095.8319 | 1153118.3447 | 2539096.417 | 1153123.8306
24 | 2539096.417 | 1153123.8306 | 2539098.2934 | 1153123.4781 | 2539100.6358 | 1153125.1997 | 2539104.398 | 1153153.4436 | 2539105.4436 | 1153164.8874
25 | 2539068.9873 | 1153219.3491 | 2539067.3461 | 1153221.7004 | 2539055.6727 | 1153222.9527
26 | 2539068.9873 | 1153219.3491 | 2539072.8666 | 1153222.0557 | 2539111.6804 | 1153218.6161 | 2539110.7163 | 1153210.5549 | 2539109.7842 | 1153202.6267
27 | 2539068.9873 | 1153219.3491 | 2539066.2232 | 1153190.1006
28 | 2539109.7842 | 1153202.6267 | 2539106.9889 | 1153178.9311 | 2539106.314 | 1153174.4133 | 2539105.4436 | 1153164.8874
29 | 2538953.8473 | 1153236.9046 | 2538943.7345 | 1153243.7221 | 2538918.3797 | 1153265.9178
30 | 2539026.2884 | 1153047.1223 | 2539037.4271 | 1153058.9379 | 2539044.2821 | 1153061.4809 | 2539046.261 | 1153061.4052
31 | 2539046.261 | 1153061.4052 | 2539046.486 | 1153065.4274 | 2539050.8647 | 1153065.1606 | 2539051.2741 | 1153069.9701 | 2539051.7548 | 1153076.5021
32 | 2539026.2884 | 1153047.1223 | 2539041.933 | 1153040.9492 | 2539041.7796 | 1153040.5291
33 | 2539084.0477 | 1152964.1252 | 2539086.0807 | 1152967.8622 | 2539088.2898 | 1152972.32 | 2539091.3444 | 1152978.4368 | 2539093.1231 | 1152979.0413 | 2539095.9918 | 1152982.7142 | 2539098.4914 | 1152987.825
34 | 2539084.0477 | 1152964.1252 | 2539073.8947 | 1152969.3862
35 | 2539098.4914 | 1152987.825 | 2539098.061 | 1152993.8215 | 2539095.3592 | 1153007.3673 | 2539092.7121 | 1153021.0126
36 | 2539042.4386 | 1153016.6642 | 2539047.0501 | 1153015.1389 | 2539055.7188 | 1153009.6369 | 2539054.3393 | 1153005.2596 | 2539058.2859 | 1153000.2169 | 2539064.2693 | 1152996.2541 | 2539073.9873 | 1152989.7966 | 2539091.3444 | 1152978.4368 | 2539093.1231 | 1152979.0413 | 2539095.9918 | 1152982.7142 | 2539098.4914 | 1152987.825
37 | 2539015.2385 | 1152962.4108 | 2539015.1945 | 1152966.3912 | 2539017.8268 | 1152966.4311 | 2539020.4379 | 1152962.8583 | 2539025.7353 | 1152959.3471
38 | 2539025.7353 | 1152959.3471 | 2539025.6912 | 1152967.1073 | 2539026.03 | 1152983.683
39 | 2539015.2385 | 1152962.4108 | 2539000.5553 | 1152962.7711 | 2539000.5811 | 1152991.8344
40 | 2539015.2385 | 1152962.4108 | 2539015.1945 | 1152966.3912 | 2539015.4359 | 1153000.0069
41 | 2539042.4386 | 1153016.6642 | 2539039.951 | 1153009.7191 | 2539036.784 | 1153000.8464
42 | 2539042.4386 | 1153016.6642 | 2539034.1981 | 1153019.7606 | 2539035.7057 | 1153023.892
43 | 2539035.7057 | 1153023.892 | 2539041.7796 | 1153040.5291
44 | 2539015.4359 | 1153000.0069 | 2539018.2546 | 1153002.5241 | 2539026.5167 | 1153002.3291 | 2539026.5576 | 1153007.109 | 2539027.3966 | 1153011.9031 | 2539020.1068 | 1153031.5432 | 2539035.7057 | 1153023.892
45 | 2538953.8473 | 1153236.9046 | 2538962.7184 | 1153234.1814
46 | 2538962.7184 | 1153234.1814 | 2538969.0539 | 1153232.2365 | 2538975.6039 | 1153229.0054
47 | 2538975.6039 | 1153229.0054 | 2538984.7889 | 1153224.4745
48 | 2538993.9968 | 1153219.9322 | 2538984.7889 | 1153224.4745

## bus_geodata
| x | y | coords
0 | 2538833.7215 | 1152957.2441
1 | 2538854.813 | 1152957.3265
2 | 2538874.1718 | 1152957.9633
3 | 2538860.3245 | 1153018.6036
4 | 2538938.5748 | 1153016.1292
5 | 2538865.6259 | 1153005.6982
6 | 2538995.8698 | 1153023.7802
7 | 2538854.7847 | 1153225.2273
8 | 2538886.7251 | 1153293.6284
9 | 2538867.3294 | 1153179.9085
10 | 2538870.5939 | 1153223.5973
11 | 2538864.4961 | 1153168.4089
12 | 2538944.7448 | 1153162.6791
13 | 2538869.4271 | 1153137.9645
14 | 2538845.3621 | 1153130.2273
15 | 2538890.445 | 1153136.646
16 | 2538871.903 | 1153179.0084
17 | 2538945.7798 | 1153133.1415
18 | 2538909.4018 | 1153135.4568
19 | 2539096.417 | 1153123.8306
20 | 2538947.3134 | 1153130.6344
21 | 2539068.9873 | 1153219.3491
22 | 2539055.6727 | 1153222.9527
23 | 2539109.7842 | 1153202.6267
24 | 2539066.2232 | 1153190.1006
25 | 2538918.3797 | 1153265.9178
26 | 2539046.261 | 1153061.4052
27 | 2539105.4436 | 1153164.8874
28 | 2539026.2884 | 1153047.1223
29 | 2539051.7548 | 1153076.5021
30 | 2539084.0477 | 1152964.1252
31 | 2539098.4914 | 1152987.825
32 | 2539073.8947 | 1152969.3862
33 | 2539025.7353 | 1152959.3471
34 | 2539015.2385 | 1152962.4108
35 | 2539026.03 | 1152983.683
36 | 2539092.7121 | 1153021.0126
37 | 2539042.4386 | 1153016.6642
38 | 2538850.3432 | 1153123.5619
39 | 2539041.7796 | 1153040.5291
40 | 2539035.7057 | 1153023.892
41 | 2539015.4359 | 1153000.0069
42 | 2539000.5811 | 1152991.8344
43 | 2539036.784 | 1153000.8464
44 | 2538884.4976 | 1153222.5144
45 | 2538953.8473 | 1153236.9046
46 | 2538962.7184 | 1153234.1814
47 | 2538975.6039 | 1153229.0054
48 | 2538984.7889 | 1153224.4745
49 | 2538993.9968 | 1153219.9322
50 | 2538936.6663 | 1153020.1174

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1