## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-225_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-225_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-225_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-225_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5586-225_0_6_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_5586-225_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5586-225_0_6_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_5586-225_0_6_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_5586-225_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5586-225_0_6_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_5586-225_0_6_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_5586-225_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5586-225_0_6_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_5586-225_0_6_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_5586-225_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5586-225_0_6_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_5586-225_0_6_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_5586-225_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5586-225_0_6_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_5586-225_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5586-225_0_6_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_5586-225_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5586-225_0_6_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_5586-225_0_6_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5586-225_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5586-225_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5586-225_0_6_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_5586-225_0_6_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_5586-225_0_6_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_5586-225_0_6_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_5586-225_0_6_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_5586-225_0_6_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_5586-225_0_6_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_5586-225_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_5586-225_0_6_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_5586-225_0_6_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_5586-225_0_6_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_5586-225_0_6_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_5586-225_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_5586-225_0_6_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_5586-225_0_6_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_5586-225_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5586-225_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5586-225_0_6_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5586-225_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5586-225_0_6_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_5586-225_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5586-225_0_6_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_5586-225_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5586-225_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5586-225_0_6_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5586-225_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_5586-225_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_5586-225_0_6_node_50 | 0.4 | n |  | TRUE
54 | bus_MV_629_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-225_0_6_load_0 | 0 | 0.07754 | 0.019433 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-225_0_6_load_17 | 6 | 0.010877 | 0.002726 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-225_0_6_load_18 | 7 | 0.0052258 | 0.0013097 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-225_0_6_load_56 | 10 | 0.012189 | 0.0030548 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-225_0_6_load_45 | 13 | 0.016748 | 0.0041975 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-225_0_6_load_23 | 15 | 0.043659 | 0.010942 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-225_0_6_load_24 | 16 | 0.042216 | 0.01058 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-225_0_6_load_22 | 20 | 0.034459 | 0.0086364 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-225_0_6_load_20 | 22 | 0.020253 | 0.0050758 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-225_0_6_load_21 | 23 | 0.0097918 | 0.002454 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-225_0_6_load_19 | 24 | 0.016715 | 0.0041892 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-225_0_6_load_42 | 26 | 0.012988 | 0.0032551 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-225_0_6_load_43 | 27 | 0.013084 | 0.0032792 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-225_0_6_load_39 | 28 | 0.0044629 | 0.0011185 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-225_0_6_load_33 | 29 | 0.011637 | 0.0029164 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-225_0_6_load_53 | 30 | 0.012241 | 0.003068 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-225_0_6_load_49 | 31 | 0.033601 | 0.0084211 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-225_0_6_load_52 | 32 | 0.014032 | 0.0035167 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-225_0_6_load_29 | 33 | 0.015981 | 0.0040052 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-225_0_6_load_44 | 34 | 0.012987 | 0.0032547 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-225_0_6_load_55 | 35 | 0.018334 | 0.004595 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-225_0_6_load_54 | 36 | 0.012418 | 0.0031122 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-225_0_6_load_40 | 37 | 0.0030437 | 0.00076283 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-225_0_6_load_32 | 38 | 0.013066 | 0.0032746 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-225_0_6_load_47 | 39 | 0.0034117 | 0.00085504 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-225_0_6_load_25 | 40 | 0.02519 | 0.0063133 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-225_0_6_load_26 | 41 | 0.0084711 | 0.0021231 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-225_0_6_load_38 | 43 | 0.0027465 | 0.00068833 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-225_0_6_load_37 | 44 | 0.0052031 | 0.001304 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-225_0_6_load_51 | 45 | 0.00299 | 0.00074936 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-225_0_6_load_36 | 46 | 0.011253 | 0.0028203 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-225_0_6_load_28 | 47 | 0.0086058 | 0.0021568 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-225_0_6_load_34 | 48 | 0.011232 | 0.002815 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-225_0_6_load_35 | 49 | 0.0139 | 0.0034838 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-225_0_6_load_41 | 50 | 0.0068939 | 0.0017278 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-225_0_6_load_46 | 51 | 0.0035912 | 0.00090004 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-225_0_6_load_48 | 52 | 0.0016524 | 0.00041413 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-225_0_6_load_50 | 53 | 0.0093922 | 0.0023539 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-225_0_6_line_0 |  | 0 | 1 | 0.027853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-225_0_6_line_1 |  | 0 | 2 | 0.0052075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-225_0_6_line_2 |  | 1 | 3 | 0.033447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-225_0_6_line_3 |  | 1 | 4 | 0.113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-225_0_6_line_4 |  | 2 | 5 | 0.065918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-225_0_6_line_5 |  | 3 | 6 | 0.014063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-225_0_6_line_6 |  | 4 | 30 | 0.036234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5586-225_0_6_line_7 |  | 4 | 31 | 0.027288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5586-225_0_6_line_8 |  | 4 | 32 | 0.017522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5586-225_0_6_line_9 |  | 5 | 7 | 0.027506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5586-225_0_6_line_10 |  | 8 | 9 | 0.004779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-225_0_6_line_11 |  | 8 | 10 | 0.014117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-225_0_6_line_12 |  | 9 | 22 | 0.014743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-225_0_6_line_13 |  | 9 | 33 | 0.026359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-225_0_6_line_14 |  | 10 | 17 | 0.012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-225_0_6_line_15 |  | 11 | 12 | 0.032182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5586-225_0_6_line_16 |  | 11 | 13 | 0.045659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5586-225_0_6_line_17 |  | 12 | 29 | 0.020759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-225_0_6_line_18 |  | 12 | 19 | 0.18584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5586-225_0_6_line_19 |  | 13 | 34 | 0.027498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_5586-225_0_6_line_20 |  | 14 | 15 | 0.073927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-225_0_6_line_21 |  | 14 | 16 | 0.063358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-225_0_6_line_22 |  | 15 | 20 | 0.022453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-225_0_6_line_23 |  | 17 | 18 | 0.004113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-225_0_6_line_24 |  | 18 | 35 | 0.013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-225_0_6_line_25 |  | 18 | 36 | 0.045562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5586-225_0_6_line_26 |  | 19 | 20 | 0.024145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5586-225_0_6_line_27 |  | 21 | 22 | 0.022362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-225_0_6_line_28 |  | 21 | 23 | 0.012851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-225_0_6_line_29 |  | 21 | 24 | 0.021367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-225_0_6_line_30 |  | 25 | 26 | 0.017052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_5586-225_0_6_line_31 |  | 25 | 27 | 0.025344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5586-225_0_6_line_32 |  | 25 | 28 | 0.031555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-225_0_6_line_33 |  | 26 | 34 | 0.029008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_5586-225_0_6_line_34 |  | 27 | 32 | 0.032679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5586-225_0_6_line_35 |  | 28 | 37 | 0.0083997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-225_0_6_line_36 |  | 29 | 38 | 0.0011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-225_0_6_line_37 |  | 30 | 36 | 0.026238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-225_0_6_line_38 |  | 31 | 39 | 0.026843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5586-225_0_6_line_39 |  | 33 | 47 | 0.023972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-225_0_6_line_40 |  | 37 | 50 | 0.0072461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-225_0_6_line_41 |  | 38 | 48 | 0.018586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-225_0_6_line_42 |  | 39 | 52 | 0.025827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-225_0_6_line_43 |  | 40 | 41 | 0.013065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-225_0_6_line_44 |  | 41 | 42 | 0.017186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-225_0_6_line_45 |  | 42 | 43 | 0.014038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-225_0_6_line_46 |  | 42 | 44 | 0.029345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-225_0_6_line_47 |  | 43 | 45 | 0.022165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-225_0_6_line_48 |  | 44 | 46 | 0.0045804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5586-225_0_6_line_49 |  | 46 | 49 | 0.017849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5586-225_0_6_line_50 |  | 48 | 49 | 0.0044762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5586-225_0_6_line_51 |  | 50 | 51 | 0.012842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5586-225_0_6_line_52 |  | 52 | 53 | 0.035975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-225_0_6_trafo_47 | 0.63 MVA 20/0.4 kV | 54 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2539053.4978 | 1152907.9267 | 2539056.6131 | 1152904.8934 | 2539060.471 | 1152895.6271 | 2539060.3539 | 1152893.1603 | 2539071.3519 | 1152893.1016
1 | 2539076.5594 | 1152893.0738 | 2539071.3519 | 1152893.1016
2 | 2539053.4978 | 1152907.9267 | 2539064.0509 | 1152927.0522 | 2539065.5883 | 1152929.5936 | 2539069.732 | 1152937.1668
3 | 2539016.4734 | 1152817.9646 | 2539017.9243 | 1152821.0404 | 2539009.9473 | 1152824.4121 | 2539015.9255 | 1152841.8497 | 2539021.0029 | 1152839.3413 | 2539033.3939 | 1152863.362 | 2539037.7709 | 1152871.233 | 2539039.9939 | 1152886.8855 | 2539044.5096 | 1152894.0547 | 2539053.4978 | 1152907.9267
4 | 2539076.5594 | 1152893.0738 | 2539083.6588 | 1152893.2241 | 2539086.6888 | 1152897.6625 | 2539096.0686 | 1152894.1545 | 2539097.301 | 1152896.8879 | 2539112.2884 | 1152890.1769 | 2539116.8099 | 1152900.2032 | 2539126.6968 | 1152894.4889 | 2539128.235 | 1152894.0842
5 | 2539069.732 | 1152937.1668 | 2539076.267 | 1152949.6193
6 | 2539016.4734 | 1152817.9646 | 2539036.1882 | 1152809.7825 | 2539049.9803 | 1152804.1755
7 | 2539016.4734 | 1152817.9646 | 2539004.8314 | 1152793.2852
8 | 2539016.4734 | 1152817.9646 | 2539012.6681 | 1152819.5485 | 2539000.3548 | 1152824.8362
9 | 2539128.235 | 1152894.0842 | 2539128.291 | 1152896.5738 | 2539127.8216 | 1152918.4126 | 2539127.3808 | 1152921.554
10 | 2539079.9241 | 1152728.4507 | 2539075.154 | 1152727.9877
11 | 2539079.9241 | 1152728.4507 | 2539078.3711 | 1152735.737 | 2539077.3653 | 1152742.3276
12 | 2539075.154 | 1152727.9877 | 2539074.9991 | 1152723.3089 | 2539077.2949 | 1152713.5131
13 | 2539075.154 | 1152727.9877 | 2539072.0969 | 1152727.6963 | 2539049.9328 | 1152734.844
14 | 2539076.9452 | 1152754.7951 | 2539076.6226 | 1152747.1943 | 2539077.3653 | 1152742.3276
15 | 2538832.8502 | 1152794.3618 | 2538827.2488 | 1152826.047
16 | 2538827.2488 | 1152826.047 | 2538830.4691 | 1152826.5478 | 2538859.0316 | 1152831.9713 | 2538872.1695 | 1152834.2103
17 | 2538832.8502 | 1152794.3618 | 2538840.0524 | 1152790.2641 | 2538852.1627 | 1152787.2807
18 | 2538832.8502 | 1152794.3618 | 2538815.3846 | 1152789.0366 | 2538799.0997 | 1152787.3793 | 2538801.1525 | 1152780.9882 | 2538802.4005 | 1152769.4137 | 2538802.0467 | 1152752.0079 | 2538800.4548 | 1152726.7994 | 2538798.6037 | 1152700.2594 | 2538797.5458 | 1152685.2954 | 2538797.0981 | 1152679.0188 | 2538828.0907 | 1152672.0663 | 2538831.5927 | 1152671.5859 | 2538838.52 | 1152670.626
19 | 2538872.1695 | 1152834.2103 | 2538888.8874 | 1152837.0594 | 2538899.2881 | 1152838.7595
20 | 2538955.5719 | 1152646.1009 | 2538917.4528 | 1152651.8023 | 2538905.2538 | 1152653.5383 | 2538891.4399 | 1152660.2267 | 2538884.4167 | 1152663.4181
21 | 2538955.5719 | 1152646.1009 | 2538956.185 | 1152649.7967 | 2538961.3142 | 1152678.0599 | 2538972.2951 | 1152677.2813 | 2538982.6148 | 1152679.3999 | 2538991.9224 | 1152678.5828
22 | 2538862.4779 | 1152667.622 | 2538877.5987 | 1152665.726 | 2538882.3807 | 1152664.3433 | 2538884.4167 | 1152663.4181
23 | 2539076.9452 | 1152754.7951 | 2539073.3436 | 1152756.7994
24 | 2539073.3436 | 1152756.7994 | 2539072.1302 | 1152757.4676 | 2539061.1402 | 1152761.8066
25 | 2539073.3436 | 1152756.7994 | 2539074.77 | 1152763.5219 | 2539078.0961 | 1152772.1817 | 2539083.7393 | 1152784.5979 | 2539084.3303 | 1152787.638 | 2539082.781 | 1152790.7443 | 2539074.2827 | 1152794.2845
26 | 2538838.52 | 1152670.626 | 2538862.4779 | 1152667.622
27 | 2539081.9297 | 1152691.6438 | 2539079.8909 | 1152700.2024 | 2539077.9634 | 1152710.6609 | 2539077.2949 | 1152713.5131
28 | 2539081.9297 | 1152691.6438 | 2539083.4682 | 1152685.2025 | 2539084.7484 | 1152679.1072
29 | 2539081.9297 | 1152691.6438 | 2539068.3642 | 1152688.7797 | 2539064.3875 | 1152690.1208 | 2539062.8749 | 1152693.0599
30 | 2538945.0974 | 1152841.713 | 2538942.7827 | 1152841.9811 | 2538936.1022 | 1152842.2936 | 2538928.073 | 1152842.0102
31 | 2538945.0974 | 1152841.713 | 2538951.9417 | 1152840.9098 | 2538967.2983 | 1152837.3186 | 2538969.8691 | 1152836.5538
32 | 2538945.0974 | 1152841.713 | 2538940.0085 | 1152816.6623 | 2538941.6073 | 1152810.8874
33 | 2538928.073 | 1152842.0102 | 2538919.2297 | 1152841.698 | 2538909.0563 | 1152840.3562 | 2538899.2881 | 1152838.7595
34 | 2539000.3548 | 1152824.8362 | 2538997.4487 | 1152826.0842 | 2538974.7269 | 1152835.1086 | 2538969.8691 | 1152836.5538
35 | 2538941.6073 | 1152810.8874 | 2538945.0541 | 1152808.7623 | 2538949.2216 | 1152807.5139
36 | 2538853.294 | 1152787.002 | 2538852.1627 | 1152787.2807
37 | 2539049.9803 | 1152804.1755 | 2539073.1529 | 1152794.7551 | 2539074.2827 | 1152794.2845
38 | 2538993.3789 | 1152769.0075 | 2539004.8314 | 1152793.2852
39 | 2539027.1181 | 1152742.2014 | 2539049.9328 | 1152734.844
40 | 2538956.1629 | 1152805.4344 | 2538949.2216 | 1152807.5139
41 | 2538853.294 | 1152787.002 | 2538871.3405 | 1152782.5564
42 | 2538993.3789 | 1152769.0075 | 2538984.5 | 1152750.1857 | 2538979.5864 | 1152749.1795 | 2538979.5864 | 1152749.1795
43 | 2538921.9252 | 1152752.3951 | 2538919.6295 | 1152742.885 | 2538918.8298 | 1152739.7025
44 | 2538925.9582 | 1152769.1015 | 2538921.9252 | 1152752.3951
45 | 2538925.9582 | 1152769.1015 | 2538939.5804 | 1152765.7094
46 | 2538925.9582 | 1152769.1015 | 2538897.4648 | 1152776.1207
47 | 2538939.5804 | 1152765.7094 | 2538961.0886 | 1152760.3537
48 | 2538897.4648 | 1152776.1207 | 2538893.0173 | 1152777.2163
49 | 2538875.6867 | 1152781.4857 | 2538893.0173 | 1152777.2163
50 | 2538875.6867 | 1152781.4857 | 2538871.3405 | 1152782.5564
51 | 2538956.1629 | 1152805.4344 | 2538968.4643 | 1152801.7493
52 | 2538979.5864 | 1152749.1795 | 2538976.6757 | 1152745.9295 | 2538974.2381 | 1152735.6042 | 2538975.6789 | 1152731.643 | 2538979.2103 | 1152730.2842 | 2538992.0788 | 1152728.4105

## bus_geodata
| x | y | coords
0 | 2539071.3519 | 1152893.1016
1 | 2539053.4978 | 1152907.9267
2 | 2539076.5594 | 1152893.0738
3 | 2539069.732 | 1152937.1668
4 | 2539016.4734 | 1152817.9646
5 | 2539128.235 | 1152894.0842
6 | 2539076.267 | 1152949.6193
7 | 2539127.3808 | 1152921.554
8 | 2539079.9241 | 1152728.4507
9 | 2539075.154 | 1152727.9877
10 | 2539077.3653 | 1152742.3276
11 | 2538827.2488 | 1152826.047
12 | 2538832.8502 | 1152794.3618
13 | 2538872.1695 | 1152834.2103
14 | 2538955.5719 | 1152646.1009
15 | 2538884.4167 | 1152663.4181
16 | 2538991.9224 | 1152678.5828
17 | 2539076.9452 | 1152754.7951
18 | 2539073.3436 | 1152756.7994
19 | 2538838.52 | 1152670.626
20 | 2538862.4779 | 1152667.622
21 | 2539081.9297 | 1152691.6438
22 | 2539077.2949 | 1152713.5131
23 | 2539084.7484 | 1152679.1072
24 | 2539062.8749 | 1152693.0599
25 | 2538945.0974 | 1152841.713
26 | 2538928.073 | 1152842.0102
27 | 2538969.8691 | 1152836.5538
28 | 2538941.6073 | 1152810.8874
29 | 2538852.1627 | 1152787.2807
30 | 2539049.9803 | 1152804.1755
31 | 2539004.8314 | 1152793.2852
32 | 2539000.3548 | 1152824.8362
33 | 2539049.9328 | 1152734.844
34 | 2538899.2881 | 1152838.7595
35 | 2539061.1402 | 1152761.8066
36 | 2539074.2827 | 1152794.2845
37 | 2538949.2216 | 1152807.5139
38 | 2538853.294 | 1152787.002
39 | 2538993.3789 | 1152769.0075
40 | 2538918.8298 | 1152739.7025
41 | 2538921.9252 | 1152752.3951
42 | 2538925.9582 | 1152769.1015
43 | 2538939.5804 | 1152765.7094
44 | 2538897.4648 | 1152776.1207
45 | 2538961.0886 | 1152760.3537
46 | 2538893.0173 | 1152777.2163
47 | 2539027.1181 | 1152742.2014
48 | 2538871.3405 | 1152782.5564
49 | 2538875.6867 | 1152781.4857
50 | 2538956.1629 | 1152805.4344
51 | 2538968.4643 | 1152801.7493
52 | 2538979.5864 | 1152749.1795
53 | 2538992.0788 | 1152728.4105
54 | 2539016.4734 | 1152817.9646

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1