## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-245_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-245_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-245_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-245_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5586-245_0_5_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_5586-245_0_5_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_5586-245_0_5_node_100 | 0.4 | n |  | TRUE
7 | bus_LV_5586-245_0_5_node_102 | 0.4 | n |  | TRUE
8 | bus_LV_5586-245_0_5_node_104 | 0.4 | n |  | TRUE
9 | bus_LV_5586-245_0_5_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_5586-245_0_5_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_5586-245_0_5_node_101 | 0.4 | n |  | TRUE
12 | bus_LV_5586-245_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5586-245_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5586-245_0_5_node_107 | 0.4 | n |  | TRUE
15 | bus_LV_5586-245_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5586-245_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5586-245_0_5_node_111 | 0.4 | n |  | TRUE
18 | bus_LV_5586-245_0_5_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_5586-245_0_5_node_110 | 0.4 | n |  | TRUE
20 | bus_LV_5586-245_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5586-245_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5586-245_0_5_node_108 | 0.4 | n |  | TRUE
23 | bus_LV_5586-245_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5586-245_0_5_node_5 | 0.4 | n |  | TRUE
25 | bus_LV_5586-245_0_5_node_7 | 0.4 | n |  | TRUE
26 | bus_LV_5586-245_0_5_node_4 | 0.4 | n |  | TRUE
27 | bus_LV_5586-245_0_5_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_5586-245_0_5_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_5586-245_0_5_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5586-245_0_5_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_5586-245_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_5586-245_0_5_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_5586-245_0_5_node_6 | 0.4 | n |  | TRUE
34 | bus_LV_5586-245_0_5_node_98 | 0.4 | n |  | TRUE
35 | bus_LV_5586-245_0_5_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_5586-245_0_5_node_97 | 0.4 | n |  | TRUE
37 | bus_LV_5586-245_0_5_node_96 | 0.4 | n |  | TRUE
38 | bus_LV_5586-245_0_5_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_5586-245_0_5_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_5586-245_0_5_node_109 | 0.4 | n |  | TRUE
41 | bus_LV_5586-245_0_5_node_84 | 0.4 | n |  | TRUE
42 | bus_LV_5586-245_0_5_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_5586-245_0_5_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_5586-245_0_5_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_5586-245_0_5_node_103 | 0.4 | n |  | TRUE
46 | bus_LV_5586-245_0_5_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_5586-245_0_5_node_105 | 0.4 | n |  | TRUE
48 | bus_LV_5586-245_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_5586-245_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5586-245_0_5_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_5586-245_0_5_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_5586-245_0_5_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_5586-245_0_5_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_5586-245_0_5_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_5586-245_0_5_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_5586-245_0_5_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_5586-245_0_5_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_5586-245_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_5586-245_0_5_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_5586-245_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_5586-245_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5586-245_0_5_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_5586-245_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5586-245_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5586-245_0_5_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_5586-245_0_5_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_5586-245_0_5_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_5586-245_0_5_node_33 | 0.4 | n |  | TRUE
69 | bus_LV_5586-245_0_5_node_32 | 0.4 | n |  | TRUE
70 | bus_LV_5586-245_0_5_node_34 | 0.4 | n |  | TRUE
71 | bus_LV_5586-245_0_5_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_5586-245_0_5_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_5586-245_0_5_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_5586-245_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_5586-245_0_5_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_5586-245_0_5_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_5586-245_0_5_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_5586-245_0_5_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_5586-245_0_5_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_5586-245_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_5586-245_0_5_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_5586-245_0_5_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_5586-245_0_5_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_5586-245_0_5_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_5586-245_0_5_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_5586-245_0_5_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_5586-245_0_5_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_5586-245_0_5_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_5586-245_0_5_node_67 | 0.4 | n |  | TRUE
90 | bus_LV_5586-245_0_5_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_5586-245_0_5_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_5586-245_0_5_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_5586-245_0_5_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_5586-245_0_5_node_68 | 0.4 | n |  | TRUE
95 | bus_LV_5586-245_0_5_node_72 | 0.4 | n |  | TRUE
96 | bus_LV_5586-245_0_5_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_5586-245_0_5_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_5586-245_0_5_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_5586-245_0_5_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_5586-245_0_5_node_76 | 0.4 | n |  | TRUE
101 | bus_LV_5586-245_0_5_node_78 | 0.4 | n |  | TRUE
102 | bus_LV_5586-245_0_5_node_80 | 0.4 | n |  | TRUE
103 | bus_LV_5586-245_0_5_node_82 | 0.4 | n |  | TRUE
104 | bus_LV_5586-245_0_5_node_83 | 0.4 | n |  | TRUE
105 | bus_LV_5586-245_0_5_node_95 | 0.4 | n |  | TRUE
106 | bus_LV_5586-245_0_5_node_91 | 0.4 | n |  | TRUE
107 | bus_LV_5586-245_0_5_node_93 | 0.4 | n |  | TRUE
108 | bus_LV_5586-245_0_5_node_94 | 0.4 | n |  | TRUE
109 | bus_LV_5586-245_0_5_node_106 | 0.4 | n |  | TRUE
110 | bus_MV_629_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-245_0_5_load_0 | 0 | 0.012529 | 0.00314 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-245_0_5_load_1 | 1 | 0.0032611 | 0.00081731 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-245_0_5_load_2 | 2 | 0.0090406 | 0.0022658 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-245_0_5_load_102 | 7 | 0.0044564 | 0.0011169 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-245_0_5_load_104 | 8 | 0.0035169 | 0.00088143 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-245_0_5_load_101 | 11 | 0.013553 | 0.0033968 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-245_0_5_load_107 | 14 | 0.010034 | 0.0025147 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-245_0_5_load_111 | 17 | 0.0027921 | 0.00069976 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-245_0_5_load_110 | 19 | 0.021943 | 0.0054995 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-245_0_5_load_108 | 22 | 0.0026694 | 0.000669 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-245_0_5_load_4 | 26 | 0.0066478 | 0.0016661 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-245_0_5_load_44 | 27 | 0.0069307 | 0.001737 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-245_0_5_load_45 | 28 | 0.011718 | 0.0029369 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-245_0_5_load_89 | 30 | 0.0042425 | 0.0010633 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-245_0_5_load_75 | 32 | 0.0058191 | 0.0014584 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-245_0_5_load_6 | 33 | 0.011765 | 0.0029487 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-245_0_5_load_98 | 34 | 0.01126 | 0.002822 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-245_0_5_load_97 | 36 | 0.010169 | 0.0025485 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-245_0_5_load_96 | 37 | 0.0080792 | 0.0020248 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-245_0_5_load_46 | 38 | 0.0029917 | 0.00074979 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-245_0_5_load_90 | 39 | 0.0071012 | 0.0017797 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-245_0_5_load_109 | 40 | 0.0019077 | 0.00047812 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-245_0_5_load_57 | 42 | 0.0040296 | 0.0010099 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-245_0_5_load_99 | 44 | 0.019478 | 0.0048817 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-245_0_5_load_103 | 45 | 0.0035525 | 0.00089033 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-245_0_5_load_58 | 46 | 0.022827 | 0.005721 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-245_0_5_load_105 | 47 | 0.0026662 | 0.00066822 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-245_0_5_load_38 | 48 | 0.0027185 | 0.00068133 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-245_0_5_load_23 | 50 | 0.010668 | 0.0026736 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-245_0_5_load_26 | 53 | 0.010345 | 0.0025928 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-245_0_5_load_27 | 54 | 0.017584 | 0.0044068 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-245_0_5_load_30 | 56 | 0.0047128 | 0.0011812 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-245_0_5_load_31 | 57 | 0.013813 | 0.003462 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-245_0_5_load_43 | 59 | 0.0090802 | 0.0022757 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-245_0_5_load_41 | 60 | 0.0069292 | 0.0017366 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-245_0_5_load_47 | 61 | 0.011259 | 0.0028217 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-245_0_5_load_50 | 64 | 0.014282 | 0.0035795 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-245_0_5_load_42 | 65 | 0.0030351 | 0.00076067 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5586-245_0_5_load_36 | 67 | 0.003197 | 0.00080124 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5586-245_0_5_load_33 | 68 | 0.0018122 | 0.00045418 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5586-245_0_5_load_32 | 69 | 0.010384 | 0.0026026 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5586-245_0_5_load_34 | 70 | 0.0071561 | 0.0017935 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5586-245_0_5_load_39 | 71 | 0.0011416 | 0.00028612 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5586-245_0_5_load_49 | 72 | 0.012677 | 0.0031772 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5586-245_0_5_load_48 | 73 | 0.01685 | 0.0042231 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5586-245_0_5_load_59 | 74 | 0.0045659 | 0.0011443 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5586-245_0_5_load_53 | 75 | 0.006137 | 0.0015381 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5586-245_0_5_load_55 | 76 | 0.0082102 | 0.0020577 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5586-245_0_5_load_56 | 78 | 0.0077729 | 0.0019481 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5586-245_0_5_load_60 | 81 | 0.0037009 | 0.00092754 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5586-245_0_5_load_61 | 82 | 0.0043145 | 0.0010813 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5586-245_0_5_load_62 | 83 | 0.0043449 | 0.0010889 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5586-245_0_5_load_85 | 88 | 0.015093 | 0.0037826 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5586-245_0_5_load_67 | 89 | 0.0028196 | 0.00070665 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5586-245_0_5_load_66 | 90 | 0.014329 | 0.0035912 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5586-245_0_5_load_81 | 91 | 0.0088909 | 0.0022283 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5586-245_0_5_load_77 | 92 | 0.01434 | 0.0035938 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5586-245_0_5_load_69 | 93 | 0.0089387 | 0.0022403 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5586-245_0_5_load_68 | 94 | 0.016387 | 0.004107 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5586-245_0_5_load_86 | 96 | 0.015098 | 0.003784 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5586-245_0_5_load_92 | 98 | 0.0030796 | 0.00077182 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5586-245_0_5_load_87 | 99 | 0.016026 | 0.0040165 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5586-245_0_5_load_76 | 100 | 0.0046066 | 0.0011545 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5586-245_0_5_load_78 | 101 | 0.0023584 | 0.00059108 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5586-245_0_5_load_80 | 102 | 0.011322 | 0.0028375 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5586-245_0_5_load_82 | 103 | 0.0045088 | 0.00113 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5586-245_0_5_load_83 | 104 | 0.0058293 | 0.001461 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5586-245_0_5_load_95 | 105 | 0.0064702 | 0.0016216 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5586-245_0_5_load_91 | 106 | 0.0084085 | 0.0021074 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5586-245_0_5_load_93 | 107 | 0.0070997 | 0.0017793 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5586-245_0_5_load_94 | 108 | 0.0084064 | 0.0021068 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5586-245_0_5_load_106 | 109 | 0.0041742 | 0.0010462 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 94 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-245_0_5_line_0 |  | 0 | 1 | 0.012248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-245_0_5_line_1 |  | 0 | 2 | 0.0090573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-245_0_5_line_2 |  | 1 | 3 | 0.014499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-245_0_5_line_3 |  | 3 | 4 | 0.0382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-245_0_5_line_4 |  | 3 | 5 | 0.051684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-245_0_5_line_5 |  | 4 | 6 | 0.021013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-245_0_5_line_6 |  | 4 | 7 | 0.10075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5586-245_0_5_line_7 |  | 5 | 8 | 0.025539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-245_0_5_line_8 |  | 6 | 11 | 0.05029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-245_0_5_line_9 |  | 6 | 44 | 0.03423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5586-245_0_5_line_10 |  | 7 | 45 | 0.0054096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-245_0_5_line_11 |  | 8 | 47 | 0.0158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-245_0_5_line_12 |  | 9 | 10 | 0.030542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-245_0_5_line_13 |  | 9 | 11 | 0.0061523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-245_0_5_line_14 |  | 10 | 46 | 0.017822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-245_0_5_line_15 |  | 12 | 13 | 0.049243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5586-245_0_5_line_16 |  | 12 | 14 | 0.014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-245_0_5_line_17 |  | 13 | 15 | 0.072003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-245_0_5_line_18 |  | 13 | 16 | 0.025706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-245_0_5_line_19 |  | 13 | 17 | 0.014085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-245_0_5_line_20 |  | 15 | 28 | 0.010239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-245_0_5_line_21 |  | 15 | 25 | 0.056392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-245_0_5_line_22 |  | 16 | 18 | 0.013135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-245_0_5_line_23 |  | 16 | 19 | 0.031998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-245_0_5_line_24 |  | 17 | 20 | 0.016279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-245_0_5_line_25 |  | 18 | 31 | 0.038646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5586-245_0_5_line_26 |  | 18 | 32 | 0.036128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5586-245_0_5_line_27 |  | 20 | 21 | 0.01451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-245_0_5_line_28 |  | 21 | 22 | 0.0151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-245_0_5_line_29 |  | 21 | 23 | 0.046502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-245_0_5_line_30 |  | 22 | 40 | 0.020549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-245_0_5_line_31 |  | 23 | 29 | 0.044271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5586-245_0_5_line_32 |  | 23 | 30 | 0.011373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-245_0_5_line_33 |  | 24 | 25 | 0.1628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5586-245_0_5_line_34 |  | 24 | 26 | 0.0072684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5586-245_0_5_line_35 |  | 25 | 27 | 0.049004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-245_0_5_line_36 |  | 26 | 33 | 0.016829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-245_0_5_line_37 |  | 28 | 38 | 0.0052342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-245_0_5_line_38 |  | 29 | 34 | 0.017537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-245_0_5_line_39 |  | 30 | 39 | 0.021585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-245_0_5_line_40 |  | 31 | 42 | 0.0088139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5586-245_0_5_line_41 |  | 32 | 43 | 0.0054116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_5586-245_0_5_line_42 |  | 35 | 36 | 0.059373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-245_0_5_line_43 |  | 35 | 37 | 0.015934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-245_0_5_line_44 |  | 37 | 41 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-245_0_5_line_45 |  | 39 | 106 | 0.010541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-245_0_5_line_46 |  | 41 | 105 | 0.034133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-245_0_5_line_47 |  | 41 | 104 | 0.0053459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-245_0_5_line_48 |  | 42 | 66 | 0.025065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_5586-245_0_5_line_49 |  | 43 | 100 | 0.018415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5586-245_0_5_line_50 |  | 43 | 79 | 0.016081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_5586-245_0_5_line_51 |  | 46 | 74 | 0.03526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5586-245_0_5_line_52 |  | 47 | 109 | 0.0047392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5586-245_0_5_line_53 |  | 48 | 49 | 0.0046307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5586-245_0_5_line_54 |  | 49 | 71 | 0.013972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5586-245_0_5_line_55 |  | 49 | 67 | 0.02087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5586-245_0_5_line_56 |  | 50 | 51 | 0.036784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5586-245_0_5_line_57 |  | 50 | 52 | 0.010187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5586-245_0_5_line_58 |  | 51 | 53 | 0.016729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5586-245_0_5_line_59 |  | 51 | 54 | 0.033681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5586-245_0_5_line_60 |  | 51 | 55 | 0.033656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5586-245_0_5_line_61 |  | 52 | 56 | 0.032856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5586-245_0_5_line_62 |  | 52 | 57 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5586-245_0_5_line_63 |  | 54 | 58 | 0.015075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_5586-245_0_5_line_64 |  | 55 | 59 | 0.01066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5586-245_0_5_line_65 |  | 55 | 60 | 0.0088323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5586-245_0_5_line_66 |  | 56 | 61 | 0.0085772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5586-245_0_5_line_67 |  | 57 | 62 | 0.00557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5586-245_0_5_line_68 |  | 58 | 63 | 0.002243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_5586-245_0_5_line_69 |  | 58 | 64 | 0.040868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5586-245_0_5_line_70 |  | 60 | 65 | 0.011178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5586-245_0_5_line_71 |  | 62 | 67 | 0.03041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5586-245_0_5_line_72 |  | 62 | 68 | 0.012834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5586-245_0_5_line_73 |  | 63 | 75 | 0.018205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_5586-245_0_5_line_74 |  | 66 | 75 | 0.0044503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_5586-245_0_5_line_75 |  | 68 | 69 | 0.0033105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5586-245_0_5_line_76 |  | 69 | 70 | 0.0035644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5586-245_0_5_line_77 |  | 71 | 72 | 0.029816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5586-245_0_5_line_78 |  | 72 | 73 | 0.031177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5586-245_0_5_line_79 |  | 74 | 81 | 0.017962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5586-245_0_5_line_80 |  | 76 | 77 | 0.0084608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5586-245_0_5_line_81 |  | 77 | 79 | 0.023891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_5586-245_0_5_line_82 |  | 77 | 80 | 0.034339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_5586-245_0_5_line_83 |  | 78 | 79 | 0.0092677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5586-245_0_5_line_84 |  | 80 | 93 | 0.016767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_5586-245_0_5_line_85 |  | 80 | 89 | 0.012499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_5586-245_0_5_line_86 |  | 81 | 82 | 0.0084378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5586-245_0_5_line_87 |  | 82 | 83 | 0.0091168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5586-245_0_5_line_88 |  | 83 | 84 | 0.030516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5586-245_0_5_line_89 |  | 84 | 85 | 0.027362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5586-245_0_5_line_90 |  | 84 | 86 | 0.031535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_5586-245_0_5_line_91 |  | 85 | 87 | 0.036442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5586-245_0_5_line_92 |  | 85 | 88 | 0.015662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5586-245_0_5_line_93 |  | 86 | 89 | 0.018475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_5586-245_0_5_line_94 |  | 86 | 90 | 0.021329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5586-245_0_5_line_95 |  | 87 | 91 | 0.010883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5586-245_0_5_line_96 |  | 87 | 92 | 0.01574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5586-245_0_5_line_97 |  | 91 | 103 | 0.0052049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5586-245_0_5_line_98 |  | 92 | 101 | 0.024038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5586-245_0_5_line_99 |  | 93 | 94 | 0.005385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_5586-245_0_5_line_100 |  | 95 | 96 | 0.018554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5586-245_0_5_line_101 |  | 95 | 97 | 0.023262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5586-245_0_5_line_102 |  | 97 | 98 | 0.0095795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5586-245_0_5_line_103 |  | 97 | 99 | 0.0018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5586-245_0_5_line_104 |  | 98 | 102 | 0.030783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5586-245_0_5_line_105 |  | 99 | 100 | 0.025619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5586-245_0_5_line_106 |  | 103 | 104 | 0.026476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5586-245_0_5_line_107 |  | 106 | 107 | 0.02415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5586-245_0_5_line_108 |  | 107 | 108 | 0.001359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-245_0_5_trafo_68 | 0.63 MVA 20/0.4 kV | 110 | 94 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2539136.0447 | 1153146.8973 | 2539124.7417 | 1153151.614
1 | 2539144.9617 | 1153148.4857 | 2539136.0447 | 1153146.8973
2 | 2539111.5141 | 1153157.5404 | 2539118.5702 | 1153154.1893 | 2539124.7417 | 1153151.614
3 | 2539107.3925 | 1153119.5727 | 2539111.5141 | 1153157.5404
4 | 2539111.5141 | 1153157.5404 | 2539113.6294 | 1153176.2179 | 2539116.5277 | 1153201.7579 | 2539117.1834 | 1153208.9107
5 | 2539105.684 | 1153098.6342 | 2539107.3925 | 1153119.5727
6 | 2539107.3925 | 1153119.5727 | 2539143.6176 | 1153112.7577 | 2539150.7829 | 1153115.6423 | 2539153.6742 | 1153120.0377 | 2539169.7763 | 1153145.4218 | 2539176.6349 | 1153152.1226 | 2539181.0597 | 1153151.8666 | 2539187.585 | 1153149.8592
7 | 2539117.1834 | 1153208.9107 | 2539122.2219 | 1153207.1365 | 2539140.2304 | 1153197.9917
8 | 2539105.684 | 1153098.6342 | 2539104.8964 | 1153089.0593 | 2539104.2191 | 1153066.1426 | 2539106.7764 | 1153048.572
9 | 2539105.684 | 1153098.6342 | 2539112.4312 | 1153098.1101 | 2539139.8089 | 1153095.9517
10 | 2539192.7555 | 1153148.2686 | 2539187.585 | 1153149.8592
11 | 2539140.2304 | 1153197.9917 | 2539154.3181 | 1153190.8379
12 | 2539114.8662 | 1153012.806 | 2539107.6625 | 1153042.4839
13 | 2539107.6625 | 1153042.4839 | 2539106.7764 | 1153048.572
14 | 2539114.8662 | 1153012.806 | 2539125.7497 | 1153026.9192
15 | 2539394.4552 | 1153012.4695 | 2539382.8923 | 1153020.1458 | 2539370.284 | 1153020.0395 | 2539368.8509 | 1153020.2207 | 2539372.5995 | 1153033.5457 | 2539374.3838 | 1153040.7983
16 | 2539394.4552 | 1153012.4695 | 2539402.8176 | 1153024.3807
17 | 2539345.1836 | 1152985.7297 | 2539353.049 | 1153010.0858 | 2539358.6468 | 1153028.7171 | 2539360.2714 | 1153035.3488 | 2539361.8953 | 1153042.6697 | 2539368.6989 | 1153041.6561 | 2539374.3838 | 1153040.7983
18 | 2539360.0049 | 1153054.5618 | 2539361.2746 | 1153054.1599 | 2539362.4234 | 1153050.9021 | 2539362.442 | 1153045.1433 | 2539361.8953 | 1153042.6697 | 2539368.6989 | 1153041.6561 | 2539374.3838 | 1153040.7983
19 | 2539374.3838 | 1153040.7983 | 2539375.584 | 1153045.6777 | 2539376.6757 | 1153054.6718
20 | 2539345.1836 | 1152985.7297 | 2539340.8186 | 1152987.3636 | 2539336.4994 | 1152990.8944
21 | 2539345.1836 | 1152985.7297 | 2539343.9478 | 1152981.8957 | 2539326.9882 | 1152932.3512
22 | 2539354.4948 | 1153062.0993 | 2539360.9305 | 1153061.1227 | 2539360.0049 | 1153054.5618
23 | 2539360.0049 | 1153054.5618 | 2539357.1365 | 1153055.4579 | 2539355.0508 | 1153054.0782 | 2539332.5911 | 1153040.0287
24 | 2539377.8182 | 1153070.9021 | 2539377.2578 | 1153059.4683 | 2539376.6757 | 1153054.6718
25 | 2539354.4948 | 1153062.0993 | 2539349.59 | 1153057.3795 | 2539323.0081 | 1153039.7271
26 | 2539354.4948 | 1153062.0993 | 2539353.335 | 1153068.8257 | 2539351.9099 | 1153072.0752 | 2539349.5092 | 1153075.2122 | 2539341.7785 | 1153077.8805 | 2539328.3404 | 1153080.1328
27 | 2539378.5169 | 1153085.3918 | 2539377.8182 | 1153070.9021
28 | 2539378.5169 | 1153085.3918 | 2539380.5419 | 1153086.0829 | 2539383.97 | 1153088.9387 | 2539389.8345 | 1153095.0894
29 | 2539367.4497 | 1153121.6452 | 2539373.9268 | 1153119.4565 | 2539373.3944 | 1153097.1164 | 2539378.9577 | 1153097.1381 | 2539378.7873 | 1153090.892 | 2539378.5169 | 1153085.3918
30 | 2539389.8345 | 1153095.0894 | 2539404.0146 | 1153109.9615
31 | 2539368.4947 | 1153165.8919 | 2539367.4497 | 1153121.6452
32 | 2539367.4497 | 1153121.6452 | 2539360.1239 | 1153124.1316 | 2539357.234 | 1153126.3396
33 | 2539257.0892 | 1152912.4352 | 2539251.898 | 1152873.3332 | 2539270.4386 | 1152870.4443 | 2539273.8633 | 1152869.9094 | 2539303.5819 | 1152865.2735 | 2539308.0969 | 1152879.2465 | 2539317.0762 | 1152904.4473 | 2539326.1659 | 1152929.9471 | 2539326.9882 | 1152932.3512
34 | 2539257.0892 | 1152912.4352 | 2539258.0445 | 1152919.6405
35 | 2539326.9882 | 1152932.3512 | 2539324.8908 | 1152932.8615 | 2539293.3054 | 1152945.6095 | 2539291.1988 | 1152950.5223 | 2539293.3184 | 1152957.6531
36 | 2539274.618 | 1152922.5636 | 2539258.0445 | 1152919.6405
37 | 2539332.447 | 1152994.2073 | 2539336.4994 | 1152990.8944
38 | 2539368.4947 | 1153165.8919 | 2539360.4051 | 1153167.9635 | 2539351.3006 | 1153169.1898
39 | 2539357.234 | 1153126.3396 | 2539340.0825 | 1153139.4447
40 | 2539323.0081 | 1153039.7271 | 2539314.368 | 1153041.4687
41 | 2539323.0032 | 1153081.0273 | 2539328.3404 | 1153080.1328
42 | 2539274.2429 | 1153221.7735 | 2539279.8958 | 1153215.4908 | 2539300.0353 | 1153200.835 | 2539303.6138 | 1153200.3653 | 2539306.7819 | 1153201.7896 | 2539308.7133 | 1153204.6161 | 2539308.6207 | 1153209.8754 | 2539302.9917 | 1153218.5369
43 | 2539274.2429 | 1153221.7735 | 2539265.1981 | 1153208.6551
44 | 2539255.9896 | 1153195.2991 | 2539265.1981 | 1153208.6551
45 | 2539331.7069 | 1153145.8444 | 2539340.0825 | 1153139.4447
46 | 2539255.9896 | 1153195.2991 | 2539250.9736 | 1153198.5516 | 2539226.1099 | 1153211.9212
47 | 2539255.9896 | 1153195.2991 | 2539252.8427 | 1153190.9776
48 | 2539289.7967 | 1153046.4216 | 2539314.368 | 1153041.4687
49 | 2539323.0032 | 1153081.0273 | 2539325.1495 | 1153099.3173
50 | 2539307.0924 | 1153083.656 | 2539323.0032 | 1153081.0273
51 | 2539125.7497 | 1153026.9192 | 2539147.2821 | 1153054.8413
52 | 2539158.5436 | 1153188.6922 | 2539154.3181 | 1153190.8379
53 | 2539152.4361 | 1152973.5377 | 2539147.8125 | 1152973.7943
54 | 2539152.4361 | 1152973.5377 | 2539154.1423 | 1152987.405
55 | 2539152.4361 | 1152973.5377 | 2539173.2148 | 1152971.5837
56 | 2539268.0966 | 1153003.8956 | 2539258.9897 | 1152997.9511 | 2539236.9051 | 1152984.4031
57 | 2539227.8514 | 1152979.756 | 2539234.5828 | 1152982.9785 | 2539236.9051 | 1152984.4031
58 | 2539268.0966 | 1153003.8956 | 2539271.9245 | 1152999.2322 | 2539277.8436 | 1152990.3236
59 | 2539268.0966 | 1153003.8956 | 2539264.5308 | 1153010.9577 | 2539266.9048 | 1153027.1869 | 2539265.3057 | 1153036.4172
60 | 2539268.0966 | 1153003.8956 | 2539290.0489 | 1153018.215 | 2539293.3571 | 1153013.001 | 2539294.0368 | 1153011.9268
61 | 2539227.8514 | 1152979.756 | 2539225.4289 | 1152985.2945 | 2539216.5679 | 1153004.4278 | 2539221.1636 | 1153007.843
62 | 2539227.8514 | 1152979.756 | 2539224.8211 | 1152978.308 | 2539214.232 | 1152974.5242 | 2539208.9339 | 1152973.3826
63 | 2539265.3842 | 1153051.3487 | 2539264.331 | 1153042.0432 | 2539265.3057 | 1153036.4172
64 | 2539294.0368 | 1153011.9268 | 2539285.4543 | 1153005.6035
65 | 2539294.0368 | 1153011.9268 | 2539298.7369 | 1153004.449
66 | 2539228.0479 | 1153012.9591 | 2539221.1636 | 1153007.843
67 | 2539203.4889 | 1152972.2093 | 2539208.9339 | 1152973.3826
68 | 2539267.5896 | 1153050.9039 | 2539265.3842 | 1153051.3487
69 | 2539265.3842 | 1153051.3487 | 2539225.0384 | 1153057.8601
70 | 2539301.4894 | 1152994.6311 | 2539302.7216 | 1152998.1095 | 2539298.7369 | 1153004.449
71 | 2539203.4889 | 1152972.2093 | 2539193.1144 | 1152970.6801 | 2539175.4879 | 1152971.3699 | 2539173.2148 | 1152971.5837
72 | 2539203.4889 | 1152972.2093 | 2539205.486 | 1152964.8296 | 2539206.1072 | 1152959.6785
73 | 2539267.5896 | 1153050.9039 | 2539285.4344 | 1153047.3021
74 | 2539289.7967 | 1153046.4216 | 2539285.4344 | 1153047.3021
75 | 2539206.5035 | 1152956.3917 | 2539206.1072 | 1152959.6785
76 | 2539206.9302 | 1152952.8529 | 2539206.5035 | 1152956.3917
77 | 2539154.1423 | 1152987.405 | 2539154.3091 | 1152988.7603 | 2539160.2747 | 1153008.0437 | 2539163.8374 | 1153015.5023
78 | 2539181.2467 | 1153041.114 | 2539168.8041 | 1153025.9003 | 2539163.8374 | 1153015.5023
79 | 2539147.2821 | 1153054.8413 | 2539151.955 | 1153060.9009 | 2539158.0912 | 1153069.1864
80 | 2539283.4523 | 1153087.5524 | 2539282.0635 | 1153079.2063
81 | 2539283.4523 | 1153087.5524 | 2539307.0924 | 1153083.656
82 | 2539249.6678 | 1153093.697 | 2539278.4577 | 1153088.381 | 2539283.4523 | 1153087.5524
83 | 2539307.0924 | 1153083.656 | 2539305.4213 | 1153074.7014 | 2539305.2654 | 1153074.7299
84 | 2539249.6678 | 1153093.697 | 2539246.6441 | 1153077.2045
85 | 2539249.6678 | 1153093.697 | 2539237.3768 | 1153095.9656
86 | 2539163.113 | 1153075.9671 | 2539158.0912 | 1153069.1864
87 | 2539168.5389 | 1153083.2935 | 2539163.113 | 1153075.9671
88 | 2539188.4412 | 1153106.3785 | 2539173.9868 | 1153090.6495 | 2539168.5389 | 1153083.2935
89 | 2539188.4412 | 1153106.3785 | 2539205.1352 | 1153128.088
90 | 2539188.4412 | 1153106.3785 | 2539199.2949 | 1153102.9668 | 2539219.2084 | 1153099.3191
91 | 2539205.1352 | 1153128.088 | 2539228.7049 | 1153155.9314
92 | 2539205.1352 | 1153128.088 | 2539220.5536 | 1153125.3347
93 | 2539219.2084 | 1153099.3191 | 2539237.3768 | 1153095.9656
94 | 2539219.2084 | 1153099.3191 | 2539217.2214 | 1153086.4655 | 2539215.9818 | 1153078.2355
95 | 2539228.7049 | 1153155.9314 | 2539234.7245 | 1153164.9977
96 | 2539228.7049 | 1153155.9314 | 2539241.8565 | 1153147.2839
97 | 2539237.6036 | 1153169.3339 | 2539234.7245 | 1153164.9977
98 | 2539241.8565 | 1153147.2839 | 2539259.6826 | 1153135.5629 | 2539262.3528 | 1153135.1412
99 | 2539245.673 | 1153071.9078 | 2539246.6441 | 1153077.2045
100 | 2539282.8086 | 1153114.2177 | 2539264.5436 | 1153117.4793
101 | 2539282.8086 | 1153114.2177 | 2539305.7307 | 1153109.8839
102 | 2539305.7307 | 1153109.8839 | 2539307.5322 | 1153119.2925
103 | 2539305.7307 | 1153109.8839 | 2539307.5815 | 1153109.5478
104 | 2539307.5322 | 1153119.2925 | 2539308.501 | 1153124.3526 | 2539308.4424 | 1153129.1781 | 2539305.4391 | 1153132.6769 | 2539292.2177 | 1153142.0288
105 | 2539325.1495 | 1153099.3173 | 2539325.9585 | 1153106.2111 | 2539307.5815 | 1153109.5478
106 | 2539237.6036 | 1153169.3339 | 2539242.9951 | 1153177.4542 | 2539252.8427 | 1153190.9776
107 | 2539331.7069 | 1153145.8444 | 2539312.5172 | 1153160.5068
108 | 2539311.4374 | 1153161.3319 | 2539312.5172 | 1153160.5068

## bus_geodata
| x | y | coords
0 | 2539136.0447 | 1153146.8973
1 | 2539124.7417 | 1153151.614
2 | 2539144.9617 | 1153148.4857
3 | 2539111.5141 | 1153157.5404
4 | 2539107.3925 | 1153119.5727
5 | 2539117.1834 | 1153208.9107
6 | 2539105.684 | 1153098.6342
7 | 2539187.585 | 1153149.8592
8 | 2539140.2304 | 1153197.9917
9 | 2539107.6625 | 1153042.4839
10 | 2539114.8662 | 1153012.806
11 | 2539106.7764 | 1153048.572
12 | 2539394.4552 | 1153012.4695
13 | 2539374.3838 | 1153040.7983
14 | 2539402.8176 | 1153024.3807
15 | 2539345.1836 | 1152985.7297
16 | 2539360.0049 | 1153054.5618
17 | 2539376.6757 | 1153054.6718
18 | 2539354.4948 | 1153062.0993
19 | 2539332.5911 | 1153040.0287
20 | 2539377.8182 | 1153070.9021
21 | 2539378.5169 | 1153085.3918
22 | 2539389.8345 | 1153095.0894
23 | 2539367.4497 | 1153121.6452
24 | 2539257.0892 | 1152912.4352
25 | 2539326.9882 | 1152932.3512
26 | 2539258.0445 | 1152919.6405
27 | 2539293.3184 | 1152957.6531
28 | 2539336.4994 | 1152990.8944
29 | 2539368.4947 | 1153165.8919
30 | 2539357.234 | 1153126.3396
31 | 2539323.0081 | 1153039.7271
32 | 2539328.3404 | 1153080.1328
33 | 2539274.618 | 1152922.5636
34 | 2539351.3006 | 1153169.1898
35 | 2539274.2429 | 1153221.7735
36 | 2539302.9917 | 1153218.5369
37 | 2539265.1981 | 1153208.6551
38 | 2539332.447 | 1152994.2073
39 | 2539340.0825 | 1153139.4447
40 | 2539404.0146 | 1153109.9615
41 | 2539255.9896 | 1153195.2991
42 | 2539314.368 | 1153041.4687
43 | 2539323.0032 | 1153081.0273
44 | 2539139.8089 | 1153095.9517
45 | 2539192.7555 | 1153148.2686
46 | 2539125.7497 | 1153026.9192
47 | 2539154.3181 | 1153190.8379
48 | 2539147.8125 | 1152973.7943
49 | 2539152.4361 | 1152973.5377
50 | 2539236.9051 | 1152984.4031
51 | 2539268.0966 | 1153003.8956
52 | 2539227.8514 | 1152979.756
53 | 2539277.8436 | 1152990.3236
54 | 2539265.3057 | 1153036.4172
55 | 2539294.0368 | 1153011.9268
56 | 2539221.1636 | 1153007.843
57 | 2539208.9339 | 1152973.3826
58 | 2539265.3842 | 1153051.3487
59 | 2539285.4543 | 1153005.6035
60 | 2539298.7369 | 1153004.449
61 | 2539228.0479 | 1153012.9591
62 | 2539203.4889 | 1152972.2093
63 | 2539267.5896 | 1153050.9039
64 | 2539225.0384 | 1153057.8601
65 | 2539301.4894 | 1152994.6311
66 | 2539289.7967 | 1153046.4216
67 | 2539173.2148 | 1152971.5837
68 | 2539206.1072 | 1152959.6785
69 | 2539206.5035 | 1152956.3917
70 | 2539206.9302 | 1152952.8529
71 | 2539154.1423 | 1152987.405
72 | 2539163.8374 | 1153015.5023
73 | 2539181.2467 | 1153041.114
74 | 2539147.2821 | 1153054.8413
75 | 2539285.4344 | 1153047.3021
76 | 2539282.0635 | 1153079.2063
77 | 2539283.4523 | 1153087.5524
78 | 2539305.2654 | 1153074.7299
79 | 2539307.0924 | 1153083.656
80 | 2539249.6678 | 1153093.697
81 | 2539158.0912 | 1153069.1864
82 | 2539163.113 | 1153075.9671
83 | 2539168.5389 | 1153083.2935
84 | 2539188.4412 | 1153106.3785
85 | 2539205.1352 | 1153128.088
86 | 2539219.2084 | 1153099.3191
87 | 2539228.7049 | 1153155.9314
88 | 2539220.5536 | 1153125.3347
89 | 2539237.3768 | 1153095.9656
90 | 2539215.9818 | 1153078.2355
91 | 2539234.7245 | 1153164.9977
92 | 2539241.8565 | 1153147.2839
93 | 2539246.6441 | 1153077.2044
94 | 2539245.673 | 1153071.9078
95 | 2539282.8086 | 1153114.2177
96 | 2539264.5436 | 1153117.4793
97 | 2539305.7307 | 1153109.8839
98 | 2539307.5322 | 1153119.2925
99 | 2539307.5815 | 1153109.5478
100 | 2539325.1495 | 1153099.3173
101 | 2539262.3528 | 1153135.1412
102 | 2539292.2177 | 1153142.0288
103 | 2539237.6036 | 1153169.3339
104 | 2539252.8427 | 1153190.9776
105 | 2539226.1099 | 1153211.9212
106 | 2539331.7069 | 1153145.8444
107 | 2539312.5172 | 1153160.5068
108 | 2539311.4374 | 1153161.3319
109 | 2539158.5436 | 1153188.6922
110 | 2539252.3258 | 1153065.1547

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1