## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-249_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-249_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-249_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-249_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5586-249_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5586-249_0_7_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5586-249_0_7_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5586-249_0_7_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5586-249_0_7_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5586-249_0_7_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_5586-249_0_7_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_5586-249_0_7_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5586-249_0_7_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_5586-249_0_7_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_5586-249_0_7_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_5586-249_0_7_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_5586-249_0_7_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_5586-249_0_7_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_5586-249_0_7_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_5586-249_0_7_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_5586-249_0_7_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_5586-249_0_7_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_5586-249_0_7_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_5586-249_0_7_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_5586-249_0_7_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_5586-249_0_7_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5586-249_0_7_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5586-249_0_7_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_5586-249_0_7_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_5586-249_0_7_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5586-249_0_7_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5586-249_0_7_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5586-249_0_7_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5586-249_0_7_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_5586-249_0_7_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5586-249_0_7_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5586-249_0_7_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_5586-249_0_7_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5586-249_0_7_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_5586-249_0_7_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_5586-249_0_7_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_5586-249_0_7_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_5586-249_0_7_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5586-249_0_7_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_5586-249_0_7_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_5586-249_0_7_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_5586-249_0_7_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_5586-249_0_7_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_5586-249_0_7_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_5586-249_0_7_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_5586-249_0_7_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5586-249_0_7_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5586-249_0_7_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_5586-249_0_7_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_5586-249_0_7_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_5586-249_0_7_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_5586-249_0_7_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_5586-249_0_7_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_5586-249_0_7_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5586-249_0_7_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_5586-249_0_7_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_5586-249_0_7_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5586-249_0_7_node_54 | 0.4 | n |  | TRUE
63 | bus_MV_626_0_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-249_0_7_load_0 | 0 | 0.0026876 | 0.00067358 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-249_0_7_load_1 | 1 | 0.03132 | 0.0078496 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-249_0_7_load_4 | 4 | 0.019078 | 0.0047815 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-249_0_7_load_55 | 9 | 0.0045223 | 0.0011334 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-249_0_7_load_34 | 12 | 0.050623 | 0.012687 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-249_0_7_load_32 | 14 | 0.0033522 | 0.00084014 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-249_0_7_load_63 | 15 | 0.017041 | 0.0042708 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-249_0_7_load_65 | 16 | 0.0086466 | 0.002167 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-249_0_7_load_64 | 18 | 0.0045505 | 0.0011405 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-249_0_7_load_44 | 20 | 0.0079376 | 0.0019894 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-249_0_7_load_53 | 21 | 0.0091492 | 0.002293 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-249_0_7_load_60 | 22 | 0.0049056 | 0.0012295 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-249_0_7_load_33 | 24 | 0.0039394 | 0.00098731 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-249_0_7_load_19 | 25 | 0.0052454 | 0.0013146 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-249_0_7_load_14 | 26 | 0.014448 | 0.003621 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-249_0_7_load_42 | 27 | 0.0092911 | 0.0023286 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-249_0_7_load_18 | 31 | 0.013279 | 0.0033281 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-249_0_7_load_20 | 32 | 0.013101 | 0.0032835 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-249_0_7_load_45 | 33 | 0.011296 | 0.0028309 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-249_0_7_load_66 | 36 | 0.027618 | 0.0069216 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-249_0_7_load_40 | 39 | 0.0054758 | 0.0013724 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-249_0_7_load_52 | 40 | 0.0074144 | 0.0018582 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-249_0_7_load_48 | 41 | 0.018931 | 0.0047446 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-249_0_7_load_62 | 43 | 0.0071185 | 0.0017841 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-249_0_7_load_61 | 45 | 0.0087062 | 0.002182 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-249_0_7_load_46 | 47 | 0.013373 | 0.0033517 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-249_0_7_load_27 | 48 | 0.0079576 | 0.0019944 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-249_0_7_load_28 | 49 | 0.0078326 | 0.001963 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-249_0_7_load_39 | 50 | 0.041048 | 0.010288 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-249_0_7_load_35 | 51 | 0.0062522 | 0.001567 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-249_0_7_load_57 | 53 | 0.011946 | 0.002994 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-249_0_7_load_56 | 54 | 0.011847 | 0.0029692 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-249_0_7_load_29 | 55 | 0.0041419 | 0.0010381 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-249_0_7_load_30 | 56 | 0.0043021 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-249_0_7_load_31 | 57 | 0.0042261 | 0.0010592 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-249_0_7_load_41 | 58 | 0.013944 | 0.0034948 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-249_0_7_load_43 | 59 | 0.012462 | 0.0031234 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-249_0_7_load_47 | 60 | 0.0056232 | 0.0014093 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5586-249_0_7_load_58 | 61 | 0.0094915 | 0.0023788 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5586-249_0_7_load_54 | 62 | 0.010075 | 0.0025251 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-249_0_7_line_0 |  | 0 | 1 | 0.044844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-249_0_7_line_1 |  | 0 | 2 | 0.0092377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-249_0_7_line_2 |  | 1 | 3 | 0.019295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-249_0_7_line_3 |  | 2 | 4 | 0.02544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-249_0_7_line_4 |  | 3 | 5 | 0.10436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-249_0_7_line_5 |  | 3 | 6 | 0.089956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-249_0_7_line_6 |  | 5 | 15 | 0.044387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5586-249_0_7_line_7 |  | 6 | 16 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-249_0_7_line_8 |  | 6 | 8 | 0.058428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5586-249_0_7_line_9 |  | 6 | 17 | 0.021584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5586-249_0_7_line_10 |  | 7 | 8 | 0.055014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-249_0_7_line_11 |  | 7 | 9 | 0.010486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-249_0_7_line_12 |  | 7 | 10 | 0.008727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-249_0_7_line_13 |  | 8 | 18 | 0.017473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-249_0_7_line_14 |  | 9 | 21 | 0.0035629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-249_0_7_line_15 |  | 10 | 22 | 0.01422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5586-249_0_7_line_16 |  | 10 | 23 | 0.017633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-249_0_7_line_17 |  | 11 | 12 | 0.024486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-249_0_7_line_18 |  | 11 | 13 | 0.073092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-249_0_7_line_19 |  | 11 | 14 | 0.011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-249_0_7_line_20 |  | 13 | 19 | 0.039803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-249_0_7_line_21 |  | 13 | 20 | 0.011907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-249_0_7_line_22 |  | 14 | 24 | 0.0014999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-249_0_7_line_23 |  | 17 | 25 | 0.021743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-249_0_7_line_24 |  | 17 | 26 | 0.012424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5586-249_0_7_line_25 |  | 19 | 27 | 0.023138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5586-249_0_7_line_26 |  | 19 | 28 | 0.001598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5586-249_0_7_line_27 |  | 21 | 62 | 0.030258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-249_0_7_line_28 |  | 23 | 61 | 0.015927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-249_0_7_line_29 |  | 23 | 52 | 0.045749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-249_0_7_line_30 |  | 24 | 57 | 0.014185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-249_0_7_line_31 |  | 26 | 29 | 0.038921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5586-249_0_7_line_32 |  | 27 | 58 | 0.029036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-249_0_7_line_33 |  | 28 | 51 | 0.015514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5586-249_0_7_line_34 |  | 29 | 30 | 0.007444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5586-249_0_7_line_35 |  | 29 | 31 | 0.029705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-249_0_7_line_36 |  | 30 | 32 | 0.024866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5586-249_0_7_line_37 |  | 31 | 33 | 0.0054658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-249_0_7_line_38 |  | 32 | 46 | 0.0064726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5586-249_0_7_line_39 |  | 33 | 47 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-249_0_7_line_40 |  | 34 | 35 | 0.089233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-249_0_7_line_41 |  | 34 | 36 | 0.003134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-249_0_7_line_42 |  | 35 | 40 | 0.017366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-249_0_7_line_43 |  | 35 | 41 | 0.024863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-249_0_7_line_44 |  | 37 | 38 | 0.0085207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-249_0_7_line_45 |  | 37 | 39 | 0.032031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-249_0_7_line_46 |  | 38 | 51 | 0.0032225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-249_0_7_line_47 |  | 39 | 50 | 0.00072574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-249_0_7_line_48 |  | 41 | 52 | 0.02592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5586-249_0_7_line_49 |  | 42 | 43 | 0.008162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5586-249_0_7_line_50 |  | 42 | 44 | 0.042436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5586-249_0_7_line_51 |  | 42 | 45 | 0.014975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5586-249_0_7_line_52 |  | 44 | 53 | 0.014792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5586-249_0_7_line_53 |  | 44 | 54 | 0.011896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5586-249_0_7_line_54 |  | 44 | 52 | 0.033437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5586-249_0_7_line_55 |  | 46 | 48 | 0.010196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5586-249_0_7_line_56 |  | 46 | 49 | 0.013575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5586-249_0_7_line_57 |  | 47 | 60 | 0.011096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5586-249_0_7_line_58 |  | 49 | 50 | 0.020942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5586-249_0_7_line_59 |  | 55 | 56 | 0.0069363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5586-249_0_7_line_60 |  | 56 | 57 | 0.0051558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5586-249_0_7_line_61 |  | 58 | 59 | 0.016225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-249_0_7_trafo_21 | 0.63 MVA 20/0.4 kV | 63 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2536797.1391 | 1153498.2633 | 2536797.8554 | 1153498.7833 | 2536802.8752 | 1153498.9528 | 2536811.4106 | 1153488.324 | 2536825.135 | 1153472.7935 | 2536827.8936 | 1153469.1392
1 | 2536790.4636 | 1153491.935 | 2536794.6545 | 1153496.4601 | 2536797.1391 | 1153498.2633
2 | 2536825.1067 | 1153452.5828 | 2536825.0135 | 1153461.2329 | 2536829.0346 | 1153464.2034 | 2536829.7284 | 1153466.7086 | 2536827.8936 | 1153469.1392
3 | 2536790.4636 | 1153491.935 | 2536787.254 | 1153495.3595 | 2536784.6647 | 1153502.3128 | 2536780.6714 | 1153509.2697 | 2536777.0216 | 1153513.1435
4 | 2536760.0865 | 1153394.2013 | 2536764.1796 | 1153393.7913 | 2536768.0517 | 1153392.8056 | 2536772.4697 | 1153390.469 | 2536775.3838 | 1153396.1526 | 2536776.8921 | 1153398.0266 | 2536819.9838 | 1153435.3161 | 2536831.8379 | 1153444.7633 | 2536828.2137 | 1153448.8925 | 2536825.1067 | 1153452.5828
5 | 2536825.1067 | 1153452.5828 | 2536828.2137 | 1153448.8925 | 2536831.8379 | 1153444.7633 | 2536841.6724 | 1153452.5976 | 2536844.1276 | 1153454.0504 | 2536852.6282 | 1153459.0749 | 2536865.1489 | 1153464.791 | 2536870.5838 | 1153466.4904 | 2536876.3805 | 1153468.3083 | 2536874.3699 | 1153473.3877 | 2536873.5328 | 1153475.5087 | 2536865.805 | 1153495.1006
6 | 2536760.0865 | 1153394.2013 | 2536756.0421 | 1153402.137 | 2536739.0755 | 1153421.6373 | 2536732.7249 | 1153428.8792
7 | 2536865.805 | 1153495.1006 | 2536871.571 | 1153499.1089 | 2536871.2462 | 1153503.2479 | 2536876.5982 | 1153505.0927
8 | 2536865.805 | 1153495.1006 | 2536873.5328 | 1153475.5087 | 2536874.3699 | 1153473.3877 | 2536880.0767 | 1153477.6078 | 2536902.6943 | 1153489.8548 | 2536904.0484 | 1153491.675
9 | 2536865.805 | 1153495.1006 | 2536864.6242 | 1153498.0924 | 2536860.0617 | 1153515.8833
10 | 2536904.0484 | 1153491.675 | 2536909.0431 | 1153493.1122 | 2536931.6229 | 1153504.6927 | 2536921.4905 | 1153526.9333
11 | 2536921.4905 | 1153526.9333 | 2536914.324 | 1153523.9958 | 2536911.7305 | 1153523.1086
12 | 2536921.4905 | 1153526.9333 | 2536917.868 | 1153534.8757
13 | 2536904.0484 | 1153491.675 | 2536903.8925 | 1153495.0896 | 2536900.0705 | 1153508.6143
14 | 2536908.3594 | 1153521.9554 | 2536911.7305 | 1153523.1086
15 | 2536917.868 | 1153534.8757 | 2536923.9675 | 1153537.7688 | 2536930.371 | 1153541.6128
16 | 2536917.868 | 1153534.8757 | 2536915.2281 | 1153540.6732 | 2536910.5556 | 1153550.9278
17 | 2536707.3917 | 1153505.8834 | 2536719.9607 | 1153484.8695
18 | 2536707.3917 | 1153505.8834 | 2536704.8964 | 1153510.8234 | 2536701.0839 | 1153518.1898 | 2536691.5429 | 1153535.2996 | 2536699.3909 | 1153541.0201 | 2536722.3433 | 1153560.2778
19 | 2536707.3917 | 1153505.8834 | 2536716.7663 | 1153512.3159
20 | 2536752.8818 | 1153585.9037 | 2536722.3433 | 1153560.2778
21 | 2536722.3433 | 1153560.2778 | 2536730.4906 | 1153551.5952
22 | 2536716.7663 | 1153512.3159 | 2536718.0031 | 1153513.1645 | 2536718.0031 | 1153513.1645
23 | 2536860.0617 | 1153515.8833 | 2536866.4113 | 1153517.0172 | 2536875.6737 | 1153512.7732 | 2536880.506 | 1153514.4181
24 | 2536860.0617 | 1153515.8833 | 2536856.9739 | 1153527.9172
25 | 2536752.8818 | 1153585.9037 | 2536768.842 | 1153569.1509
26 | 2536752.8818 | 1153585.9037 | 2536754.105 | 1153586.9359
27 | 2536908.3594 | 1153521.9554 | 2536897.6758 | 1153518.3008 | 2536893.1399 | 1153519.638 | 2536888.184 | 1153532.985
28 | 2536910.5556 | 1153550.9278 | 2536916.043 | 1153553.983 | 2536923.7575 | 1153559.7738
29 | 2536910.5556 | 1153550.9278 | 2536901.6985 | 1153570.3758 | 2536899.4785 | 1153575.2462 | 2536891.5812 | 1153592.5719
30 | 2536716.0857 | 1153525.7961 | 2536719.7045 | 1153519.539 | 2536719.9052 | 1153516.0127 | 2536718.0031 | 1153513.1645
31 | 2536846.4485 | 1153565.3533 | 2536849.5731 | 1153556.7602 | 2536856.9739 | 1153527.9172
32 | 2536788.8699 | 1153548.1282 | 2536768.842 | 1153569.1509
33 | 2536754.105 | 1153586.9359 | 2536765.9884 | 1153596.9088
34 | 2536843.9057 | 1153572.3505 | 2536846.4485 | 1153565.3533
35 | 2536846.4485 | 1153565.3533 | 2536867.5233 | 1153575.3818 | 2536870.352 | 1153569.6786
36 | 2536843.9057 | 1153572.3505 | 2536833.5463 | 1153566.3894 | 2536823.8531 | 1153557.8566
37 | 2536872.7806 | 1153564.782 | 2536870.352 | 1153569.6786
38 | 2536818.9947 | 1153553.5798 | 2536823.8531 | 1153557.8566
39 | 2536872.7806 | 1153564.782 | 2536878.5177 | 1153553.215
40 | 2536870.2444 | 1153638.6543 | 2536868.5112 | 1153642.3746 | 2536878.5002 | 1153646.6943 | 2536889.0853 | 1153651.5191 | 2536895.0514 | 1153654.1356 | 2536908.244 | 1153639.8561 | 2536914.4031 | 1153639.6691 | 2536918.8626 | 1153642.7573 | 2536928.5509 | 1153649.8595 | 2536929.7141 | 1153653.9606 | 2536926.7686 | 1153656.2261 | 2536925.9317 | 1153657.6246 | 2536926.3895 | 1153661.0438
41 | 2536924.8067 | 1153663.7508 | 2536926.3895 | 1153661.0438
42 | 2536870.2444 | 1153638.6543 | 2536877.2835 | 1153641.8933 | 2536886.0093 | 1153645.9384
43 | 2536870.2444 | 1153638.6543 | 2536880.715 | 1153616.104
44 | 2536768.4568 | 1153598.9803 | 2536772.3815 | 1153602.2742 | 2536774.9825 | 1153604.4591
45 | 2536774.9825 | 1153604.4591 | 2536795.938 | 1153580.234
46 | 2536768.4568 | 1153598.9803 | 2536765.9884 | 1153596.9088
47 | 2536795.938 | 1153580.234 | 2536796.4128 | 1153579.6851
48 | 2536891.5812 | 1153592.5719 | 2536888.4463 | 1153599.453 | 2536880.715 | 1153616.104
49 | 2536941.8411 | 1153632.4439 | 2536937.3939 | 1153639.2943
50 | 2536922.0949 | 1153606.4258 | 2536932.0311 | 1153610.824 | 2536925.6786 | 1153620.3625 | 2536941.8411 | 1153632.4439
51 | 2536941.8411 | 1153632.4439 | 2536950.5357 | 1153620.2521
52 | 2536922.0949 | 1153606.4258 | 2536915.8498 | 1153619.8347
53 | 2536922.0949 | 1153606.4258 | 2536926.6774 | 1153595.4476
54 | 2536891.5812 | 1153592.5719 | 2536897.2914 | 1153594.9354 | 2536922.0949 | 1153606.4258
55 | 2536818.9947 | 1153553.5798 | 2536811.2243 | 1153546.9782
56 | 2536818.9947 | 1153553.5798 | 2536810.1133 | 1153563.8468
57 | 2536883.4482 | 1153543.2742 | 2536878.5177 | 1153553.215
58 | 2536796.4128 | 1153579.6851 | 2536810.1133 | 1153563.8468
59 | 2536710.0318 | 1153536.2636 | 2536713.5044 | 1153530.2592
60 | 2536716.0857 | 1153525.7961 | 2536713.5044 | 1153530.2592
61 | 2536800.0617 | 1153536.3805 | 2536788.8699 | 1153548.1282

## bus_geodata
| x | y | coords
0 | 2536797.1391 | 1153498.2633
1 | 2536827.8936 | 1153469.1392
2 | 2536790.4636 | 1153491.935
3 | 2536825.1067 | 1153452.5828
4 | 2536777.0216 | 1153513.1435
5 | 2536760.0865 | 1153394.2013
6 | 2536865.805 | 1153495.1006
7 | 2536921.4905 | 1153526.9333
8 | 2536904.0484 | 1153491.675
9 | 2536911.7305 | 1153523.1086
10 | 2536917.868 | 1153534.8757
11 | 2536707.3917 | 1153505.8834
12 | 2536719.9607 | 1153484.8695
13 | 2536722.3433 | 1153560.2778
14 | 2536716.7663 | 1153512.3159
15 | 2536732.7249 | 1153428.8792
16 | 2536876.5982 | 1153505.0927
17 | 2536860.0617 | 1153515.8833
18 | 2536900.0705 | 1153508.6143
19 | 2536752.8818 | 1153585.9037
20 | 2536730.4906 | 1153551.5952
21 | 2536908.3594 | 1153521.9554
22 | 2536930.371 | 1153541.6128
23 | 2536910.5556 | 1153550.9278
24 | 2536718.0031 | 1153513.1645
25 | 2536880.506 | 1153514.4181
26 | 2536856.9739 | 1153527.9172
27 | 2536768.842 | 1153569.1509
28 | 2536754.105 | 1153586.9359
29 | 2536846.4485 | 1153565.3533
30 | 2536843.9057 | 1153572.3505
31 | 2536870.352 | 1153569.6786
32 | 2536823.8531 | 1153557.8566
33 | 2536872.7806 | 1153564.782
34 | 2536926.3895 | 1153661.0438
35 | 2536870.2444 | 1153638.6543
36 | 2536924.8067 | 1153663.7508
37 | 2536774.9825 | 1153604.4591
38 | 2536768.4568 | 1153598.9803
39 | 2536795.938 | 1153580.234
40 | 2536886.0093 | 1153645.9384
41 | 2536880.715 | 1153616.104
42 | 2536941.8411 | 1153632.4439
43 | 2536937.3939 | 1153639.2943
44 | 2536922.0949 | 1153606.4258
45 | 2536950.5357 | 1153620.2521
46 | 2536818.9947 | 1153553.5798
47 | 2536878.5177 | 1153553.215
48 | 2536811.2243 | 1153546.9782
49 | 2536810.1133 | 1153563.8468
50 | 2536796.4128 | 1153579.6851
51 | 2536765.9884 | 1153596.9088
52 | 2536891.5812 | 1153592.5719
53 | 2536915.8498 | 1153619.8347
54 | 2536926.6774 | 1153595.4476
55 | 2536710.0318 | 1153536.2636
56 | 2536713.5044 | 1153530.2592
57 | 2536716.0857 | 1153525.7961
58 | 2536788.8699 | 1153548.1282
59 | 2536800.0617 | 1153536.3805
60 | 2536883.4482 | 1153543.2742
61 | 2536923.7575 | 1153559.7738
62 | 2536888.184 | 1153532.985
63 | 2536807.0645 | 1153543.4441

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1