## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-278_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-278_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-278_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_5586-278_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5586-278_0_4_node_31 | 0.4 | n |  | TRUE
5 | bus_LV_5586-278_0_4_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_5586-278_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5586-278_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5586-278_0_4_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_5586-278_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5586-278_0_4_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_5586-278_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5586-278_0_4_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_5586-278_0_4_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_5586-278_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5586-278_0_4_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_5586-278_0_4_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_5586-278_0_4_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_5586-278_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5586-278_0_4_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_5586-278_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5586-278_0_4_node_77 | 0.4 | n |  | TRUE
22 | bus_LV_5586-278_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_5586-278_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_5586-278_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5586-278_0_4_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_5586-278_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5586-278_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5586-278_0_4_node_82 | 0.4 | n |  | TRUE
29 | bus_LV_5586-278_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5586-278_0_4_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_5586-278_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5586-278_0_4_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_5586-278_0_4_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_5586-278_0_4_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_5586-278_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_5586-278_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5586-278_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_5586-278_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_5586-278_0_4_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_5586-278_0_4_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_5586-278_0_4_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_5586-278_0_4_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_5586-278_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_5586-278_0_4_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_5586-278_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_5586-278_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_5586-278_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5586-278_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_5586-278_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_5586-278_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_5586-278_0_4_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_5586-278_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_5586-278_0_4_node_23 | 0.4 | n |  | TRUE
54 | bus_LV_5586-278_0_4_node_24 | 0.4 | n |  | TRUE
55 | bus_LV_5586-278_0_4_node_25 | 0.4 | n |  | TRUE
56 | bus_LV_5586-278_0_4_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_5586-278_0_4_node_27 | 0.4 | n |  | TRUE
58 | bus_LV_5586-278_0_4_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_5586-278_0_4_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_5586-278_0_4_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_5586-278_0_4_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_5586-278_0_4_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_5586-278_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_5586-278_0_4_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_5586-278_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_5586-278_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_5586-278_0_4_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_5586-278_0_4_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_5586-278_0_4_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_5586-278_0_4_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_5586-278_0_4_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_5586-278_0_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_5586-278_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_5586-278_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_5586-278_0_4_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_5586-278_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_5586-278_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_5586-278_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_5586-278_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_5586-278_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_5586-278_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_5586-278_0_4_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_5586-278_0_4_node_87 | 0.4 | n |  | TRUE
84 | bus_MV_625_0_node_191 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-278_0_4_load_0 | 0 | 0.027303 | 0.0068427 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-278_0_4_load_31 | 4 | 0.013275 | 0.003327 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-278_0_4_load_61 | 5 | 0.0042029 | 0.0010533 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-278_0_4_load_75 | 8 | 0.0017652 | 0.0004424 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-278_0_4_load_73 | 10 | 0.0020078 | 0.0005032 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-278_0_4_load_60 | 15 | 0.0025914 | 0.00064946 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-278_0_4_load_51 | 17 | 0.0017541 | 0.00043962 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-278_0_4_load_47 | 19 | 0.0019239 | 0.00048218 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-278_0_4_load_77 | 21 | 0.021634 | 0.0054219 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-278_0_4_load_32 | 23 | 0.021061 | 0.0052784 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-278_0_4_load_84 | 25 | 0.0040612 | 0.0010178 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-278_0_4_load_82 | 28 | 0.0037778 | 0.00094682 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-278_0_4_load_83 | 30 | 0.0041554 | 0.0010414 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-278_0_4_load_53 | 33 | 0.0024978 | 0.00062601 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-278_0_4_load_52 | 34 | 0.00404 | 0.0010125 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-278_0_4_load_34 | 35 | 0.02106 | 0.0052781 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-278_0_4_load_33 | 38 | 0.021894 | 0.0054871 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-278_0_4_load_62 | 39 | 0.0041346 | 0.0010362 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-278_0_4_load_74 | 40 | 0.0020078 | 0.0005032 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-278_0_4_load_68 | 41 | 0.0020159 | 0.00050524 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-278_0_4_load_88 | 42 | 0.002475 | 0.00062028 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-278_0_4_load_54 | 43 | 0.0025585 | 0.00064122 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-278_0_4_load_67 | 44 | 0.012605 | 0.0031592 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-278_0_4_load_28 | 45 | 0.035507 | 0.0088989 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-278_0_4_load_50 | 46 | 0.0017133 | 0.00042939 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-278_0_4_load_48 | 48 | 0.0031236 | 0.00078286 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-278_0_4_load_57 | 49 | 0.0018804 | 0.00047127 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-278_0_4_load_58 | 50 | 0.0026414 | 0.000662 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-278_0_4_load_59 | 51 | 0.0026004 | 0.00065173 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-278_0_4_load_29 | 52 | 0.013728 | 0.0034406 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-278_0_4_load_23 | 53 | 0.034978 | 0.0087662 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-278_0_4_load_24 | 54 | 0.03707 | 0.0092907 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-278_0_4_load_25 | 55 | 0.0076338 | 0.0019132 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-278_0_4_load_27 | 57 | 0.007095 | 0.0017782 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-278_0_4_load_70 | 58 | 0.0073781 | 0.0018491 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-278_0_4_load_81 | 59 | 0.0063298 | 0.0015864 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-278_0_4_load_35 | 60 | 0.0031945 | 0.00080062 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-278_0_4_load_36 | 61 | 0.0031385 | 0.00078659 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5586-278_0_4_load_37 | 62 | 0.0051178 | 0.0012826 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5586-278_0_4_load_38 | 63 | 0.0048702 | 0.0012206 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5586-278_0_4_load_39 | 64 | 0.0029263 | 0.0007334 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5586-278_0_4_load_46 | 66 | 0.0022752 | 0.00057021 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5586-278_0_4_load_41 | 68 | 0.0019325 | 0.00048434 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5586-278_0_4_load_43 | 69 | 0.0030496 | 0.00076431 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5586-278_0_4_load_45 | 70 | 0.002008 | 0.00050325 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5586-278_0_4_load_76 | 71 | 0.0024348 | 0.00061022 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5586-278_0_4_load_71 | 72 | 0.0021084 | 0.00052842 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5586-278_0_4_load_72 | 73 | 0.0029485 | 0.00073897 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5586-278_0_4_load_65 | 74 | 0.0048208 | 0.0012082 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5586-278_0_4_load_86 | 75 | 0.0026419 | 0.00066212 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5586-278_0_4_load_64 | 76 | 0.0022842 | 0.00057248 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5586-278_0_4_load_63 | 77 | 0.0037601 | 0.00094237 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5586-278_0_4_load_69 | 78 | 0.0063298 | 0.0015864 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5586-278_0_4_load_78 | 79 | 0.0073782 | 0.0018491 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5586-278_0_4_load_79 | 80 | 0.0021217 | 0.00053175 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5586-278_0_4_load_80 | 81 | 0.0056965 | 0.0014277 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5586-278_0_4_load_85 | 82 | 0.0029498 | 0.0007393 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5586-278_0_4_load_87 | 83 | 0.0080954 | 0.0020289 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 83 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-278_0_4_line_0 |  | 0 | 1 | 0.020865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-278_0_4_line_1 |  | 1 | 2 | 0.093186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-278_0_4_line_2 |  | 2 | 5 | 0.043588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5586-278_0_4_line_3 |  | 2 | 3 | 0.045657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5586-278_0_4_line_4 |  | 3 | 4 | 0.023309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5586-278_0_4_line_5 |  | 4 | 37 | 0.016413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-278_0_4_line_6 |  | 5 | 39 | 0.018325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5586-278_0_4_line_7 |  | 6 | 7 | 0.032393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-278_0_4_line_8 |  | 6 | 8 | 0.0048015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-278_0_4_line_9 |  | 7 | 16 | 0.004007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5586-278_0_4_line_10 |  | 7 | 17 | 0.020712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-278_0_4_line_11 |  | 7 | 14 | 0.021075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-278_0_4_line_12 |  | 8 | 9 | 0.014522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-278_0_4_line_13 |  | 9 | 10 | 0.016082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-278_0_4_line_14 |  | 10 | 40 | 0.022147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-278_0_4_line_15 |  | 11 | 12 | 0.003057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5586-278_0_4_line_16 |  | 11 | 13 | 0.029088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5586-278_0_4_line_17 |  | 12 | 43 | 0.013043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5586-278_0_4_line_18 |  | 12 | 14 | 0.025725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-278_0_4_line_19 |  | 13 | 44 | 0.019755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5586-278_0_4_line_20 |  | 13 | 45 | 0.016231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-278_0_4_line_21 |  | 14 | 15 | 0.038151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-278_0_4_line_22 |  | 16 | 46 | 0.0063182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-278_0_4_line_23 |  | 16 | 18 | 0.039827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-278_0_4_line_24 |  | 17 | 47 | 0.040854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-278_0_4_line_25 |  | 18 | 19 | 0.010616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5586-278_0_4_line_26 |  | 19 | 48 | 0.004502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5586-278_0_4_line_27 |  | 20 | 21 | 0.037665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-278_0_4_line_28 |  | 20 | 22 | 0.038389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-278_0_4_line_29 |  | 20 | 23 | 0.025448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-278_0_4_line_30 |  | 22 | 35 | 0.035377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-278_0_4_line_31 |  | 23 | 36 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5586-278_0_4_line_32 |  | 24 | 25 | 0.020409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-278_0_4_line_33 |  | 24 | 26 | 0.033862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5586-278_0_4_line_34 |  | 24 | 27 | 0.061394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5586-278_0_4_line_35 |  | 26 | 28 | 0.015983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-278_0_4_line_36 |  | 27 | 32 | 0.002028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5586-278_0_4_line_37 |  | 27 | 33 | 0.0072699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5586-278_0_4_line_38 |  | 28 | 29 | 0.012929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-278_0_4_line_39 |  | 29 | 30 | 0.021472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-278_0_4_line_40 |  | 29 | 31 | 0.035201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-278_0_4_line_41 |  | 31 | 34 | 0.020641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-278_0_4_line_42 |  | 32 | 49 | 0.017459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-278_0_4_line_43 |  | 32 | 50 | 0.04989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5586-278_0_4_line_44 |  | 32 | 51 | 0.042508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5586-278_0_4_line_45 |  | 33 | 43 | 0.023443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5586-278_0_4_line_46 |  | 35 | 38 | 0.030718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-278_0_4_line_47 |  | 36 | 37 | 0.009422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-278_0_4_line_48 |  | 37 | 52 | 0.035589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5586-278_0_4_line_49 |  | 39 | 77 | 0.022824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5586-278_0_4_line_50 |  | 41 | 42 | 0.00012074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5586-278_0_4_line_51 |  | 42 | 72 | 0.0001144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5586-278_0_4_line_52 |  | 44 | 78 | 0.0052683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5586-278_0_4_line_53 |  | 47 | 65 | 0.006661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5586-278_0_4_line_54 |  | 47 | 64 | 0.013467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5586-278_0_4_line_55 |  | 49 | 72 | 0.0001091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5586-278_0_4_line_56 |  | 50 | 73 | 0.0058171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5586-278_0_4_line_57 |  | 51 | 74 | 0.032156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5586-278_0_4_line_58 |  | 53 | 54 | 0.015453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5586-278_0_4_line_59 |  | 54 | 55 | 0.10687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5586-278_0_4_line_60 |  | 55 | 56 | 0.018725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5586-278_0_4_line_61 |  | 56 | 57 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5586-278_0_4_line_62 |  | 57 | 58 | 0.0075688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5586-278_0_4_line_63 |  | 58 | 59 | 0.0059967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5586-278_0_4_line_64 |  | 59 | 81 | 0.0054666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5586-278_0_4_line_65 |  | 60 | 61 | 0.02324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5586-278_0_4_line_66 |  | 60 | 62 | 0.0011018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5586-278_0_4_line_67 |  | 61 | 63 | 0.0083623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5586-278_0_4_line_68 |  | 63 | 64 | 0.015116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5586-278_0_4_line_69 |  | 65 | 66 | 0.010073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5586-278_0_4_line_70 |  | 65 | 67 | 0.013801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5586-278_0_4_line_71 |  | 67 | 69 | 0.013143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5586-278_0_4_line_72 |  | 67 | 68 | 0.0078077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5586-278_0_4_line_73 |  | 69 | 70 | 0.016962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5586-278_0_4_line_74 |  | 70 | 71 | 0.015101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5586-278_0_4_line_75 |  | 73 | 75 | 0.01559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5586-278_0_4_line_76 |  | 74 | 76 | 0.032601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_5586-278_0_4_line_77 |  | 75 | 82 | 0.007172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5586-278_0_4_line_78 |  | 76 | 77 | 0.040781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5586-278_0_4_line_79 |  | 78 | 79 | 0.0062315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5586-278_0_4_line_80 |  | 79 | 80 | 0.023321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5586-278_0_4_line_81 |  | 80 | 81 | 0.0029012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5586-278_0_4_line_82 |  | 82 | 83 | 0.02531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-278_0_4_trafo_87 | 0.63 MVA 20/0.4 kV | 84 | 83 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2540282.3365 | 1154183.0145 | 2540261.475 | 1154183.4222
1 | 2540282.3365 | 1154183.0145 | 2540283.1679 | 1154140.8613 | 2540292.9878 | 1154140.8526 | 2540296.0469 | 1154140.6555 | 2540296.1209 | 1154137.2974 | 2540304.8635 | 1154136.9548 | 2540310.9559 | 1154135.5157 | 2540314.9433 | 1154133.7641 | 2540319.376 | 1154131.2854 | 2540324.2251 | 1154127.4796 | 2540326.9479 | 1154124.3175
2 | 2540326.9479 | 1154124.3175 | 2540329.0943 | 1154121.8282 | 2540332.3813 | 1154116.7595 | 2540334.0521 | 1154111.9626 | 2540335.7603 | 1154103.9746 | 2540335.4732 | 1154095.1505 | 2540333.0264 | 1154083.216
3 | 2540326.9479 | 1154124.3175 | 2540331.2992 | 1154124.4522 | 2540328.0873 | 1154127.8081 | 2540331.5536 | 1154132.2983 | 2540338.4026 | 1154139.0562 | 2540350.8475 | 1154145.3472 | 2540356.8139 | 1154149.757
4 | 2540356.8139 | 1154149.757 | 2540344.9945 | 1154169.8469
5 | 2540348.8405 | 1154182.7428 | 2540341.906 | 1154175.0964 | 2540344.9945 | 1154169.8469
6 | 2540333.0264 | 1154083.216 | 2540331.8612 | 1154077.5324 | 2540329.6619 | 1154065.4366 | 2540329.618 | 1154065.2122
7 | 2540119.0462 | 1153968.6791 | 2540127.0487 | 1153961.0286 | 2540137.0817 | 1153951.5791 | 2540138.264 | 1153949.355 | 2540137.8157 | 1153948.2478 | 2540140.2413 | 1153945.2887
8 | 2540119.0462 | 1153968.6791 | 2540117.2602 | 1153970.3756 | 2540115.7934 | 1153971.7687 | 2540115.5615 | 1153971.9822
9 | 2540140.2413 | 1153945.2887 | 2540142.7805 | 1153942.184
10 | 2540140.2413 | 1153945.2887 | 2540119.9787 | 1153940.9981
11 | 2540160.3884 | 1153951.4692 | 2540151.1778 | 1153948.7483 | 2540140.2413 | 1153945.2887
12 | 2540104.8765 | 1153981.8163 | 2540115.5615 | 1153971.9822
13 | 2540104.8765 | 1153981.8163 | 2540103.6348 | 1153980.3946 | 2540100.7601 | 1153977.555 | 2540099.3796 | 1153976.0568 | 2540093.6337 | 1153981.7897
14 | 2540093.6337 | 1153981.7897 | 2540077.9559 | 1153997.4319
15 | 2540185.1194 | 1153958.7937 | 2540184.2202 | 1153961.7153
16 | 2540177.7204 | 1153990.0619 | 2540183.9156 | 1153962.7189 | 2540184.2202 | 1153961.7153
17 | 2540185.1194 | 1153958.7937 | 2540197.6706 | 1153962.3417
18 | 2540160.3884 | 1153951.4692 | 2540185.1194 | 1153958.7937
19 | 2540177.7204 | 1153990.0619 | 2540178.3492 | 1153995.4252 | 2540177.9444 | 1154001.7771 | 2540180.9107 | 1154009.1961
20 | 2540177.7204 | 1153990.0619 | 2540174.4888 | 1153994.5187 | 2540172.4662 | 1154005.0519
21 | 2540160.3884 | 1153951.4692 | 2540161.7686 | 1153949.0875 | 2540161.7898 | 1153948.1312 | 2540177.2082 | 1153934.0146 | 2540187.054 | 1153924.724
22 | 2540142.7805 | 1153942.184 | 2540141.4579 | 1153941.8859 | 2540136.5992 | 1153940.8766
23 | 2540173.0537 | 1153918.2141 | 2540169.8452 | 1153921.1365 | 2540159.7732 | 1153930.5307 | 2540147.5061 | 1153942.148 | 2540146.3983 | 1153942.6148 | 2540145.1411 | 1153942.7163 | 2540142.7805 | 1153942.184
24 | 2540080.0108 | 1153932.5375 | 2540100.9308 | 1153936.9647 | 2540119.9787 | 1153940.9981
25 | 2540173.0537 | 1153918.2141 | 2540170.7762 | 1153916.7804 | 2540163.2366 | 1153914.3387
26 | 2540158.9536 | 1153912.9516 | 2540163.2366 | 1153914.3387
27 | 2540325.7061 | 1154241.8043 | 2540362.2277 | 1154232.1811
28 | 2540362.2277 | 1154232.1811 | 2540370.9191 | 1154238.2981 | 2540387.3083 | 1154248.5967 | 2540392.0323 | 1154250.7287 | 2540389.4584 | 1154252.6664
29 | 2540362.2277 | 1154232.1811 | 2540359.1921 | 1154223.929 | 2540355.1303 | 1154207.7762
30 | 2540389.4584 | 1154252.6664 | 2540385.7348 | 1154255.4715 | 2540365.3492 | 1154260.6877 | 2540357.6513 | 1154266.545 | 2540357.6513 | 1154266.545
31 | 2540351.1331 | 1154191.8806 | 2540355.1303 | 1154207.7762
32 | 2540255.9586 | 1153945.9711 | 2540244.6809 | 1153932.109 | 2540244.5022 | 1153929.5761
33 | 2540286.4431 | 1153937.8082 | 2540282.2673 | 1153939.1282 | 2540263.3534 | 1153948.9436 | 2540260.9286 | 1153948.901 | 2540258.132 | 1153947.7282 | 2540255.9586 | 1153945.9711
34 | 2540255.9586 | 1153945.9711 | 2540255.7901 | 1153949.8526 | 2540258.4656 | 1153955.051 | 2540258.2553 | 1153957.0431 | 2540255.555 | 1153959.3823 | 2540254.5701 | 1153963.7278 | 2540255.434 | 1153976.5372 | 2540248.7331 | 1153974.6695 | 2540227.4116 | 1153969.9567
35 | 2540286.4431 | 1153937.8082 | 2540286.6225 | 1153953.5371 | 2540286.7338 | 1153953.7644
36 | 2540227.4116 | 1153969.9567 | 2540227.2936 | 1153971.9812
37 | 2540227.4116 | 1153969.9567 | 2540220.3146 | 1153968.3805
38 | 2540292.1959 | 1153965.4659 | 2540291.6735 | 1153963.848 | 2540286.7338 | 1153953.7644
39 | 2540272.8458 | 1153972.2952 | 2540275.5439 | 1153973.5913 | 2540292.1959 | 1153965.4659
40 | 2540292.1959 | 1153965.4659 | 2540293.1288 | 1153967.4689 | 2540301.0306 | 1153971.2924 | 2540310.1128 | 1153966.4996 | 2540315.2204 | 1153976.3431 | 2540315.8178 | 1153978.5495 | 2540316.3768 | 1153978.4439
41 | 2540316.3768 | 1153978.4439 | 2540317.55 | 1153983.7907 | 2540320.414 | 1153998.6852
42 | 2540227.2936 | 1153971.9812 | 2540219.4042 | 1153970.1809 | 2540210.4145 | 1153967.5512
43 | 2540227.2936 | 1153971.9812 | 2540226.9647 | 1153977.4763 | 2540231.8108 | 1154011.9134 | 2540234.2586 | 1154021.2051 | 2540234.2586 | 1154021.2051
44 | 2540227.2936 | 1153971.9812 | 2540236.8593 | 1153974.1539 | 2540254.6754 | 1153978.1679 | 2540268.5339 | 1153982.2093
45 | 2540220.3146 | 1153968.3805 | 2540214.3325 | 1153967.0519 | 2540197.6706 | 1153962.3417
46 | 2540357.6513 | 1154266.545 | 2540344.3195 | 1154289.1117 | 2540341.1428 | 1154289.0432 | 2540340.2236 | 1154290.0049
47 | 2540348.8405 | 1154182.7428 | 2540351.1331 | 1154191.8806
48 | 2540348.8405 | 1154182.7428 | 2540314.1305 | 1154190.6022
49 | 2540325.2665 | 1154042.8072 | 2540326.6311 | 1154049.9473 | 2540329.618 | 1154065.2122
50 | 2540210.2 | 1153967.4884 | 2540210.0841 | 1153967.4545
51 | 2540210.3098 | 1153967.5206 | 2540210.2 | 1153967.4884
52 | 2540180.9107 | 1154009.1961 | 2540179.8596 | 1154014.3584
53 | 2540080.0108 | 1153932.5375 | 2540073.4758 | 1153931.1575
54 | 2540080.0108 | 1153932.5375 | 2540080.6918 | 1153929.2734 | 2540084.0845 | 1153919.7255
55 | 2540210.4145 | 1153967.5512 | 2540210.3098 | 1153967.5206
56 | 2540234.2586 | 1154021.2051 | 2540238.1198 | 1154025.556
57 | 2540300.1747 | 1153983.664 | 2540288.3532 | 1153985.6372 | 2540277.5012 | 1153984.4889 | 2540273.0341 | 1153983.5216 | 2540268.5339 | 1153982.2093
58 | 2540203.6058 | 1154142.8562 | 2540188.1525 | 1154142.8579
59 | 2540188.1525 | 1154142.8579 | 2540166.0617 | 1154142.8604 | 2540163.4892 | 1154132.6027 | 2540159.901 | 1154117.4191 | 2540168.3632 | 1154115.8896 | 2540168.3325 | 1154112.8105 | 2540168.2995 | 1154109.4979 | 2540168.288 | 1154108.3418 | 2540162.7464 | 1154107.3187 | 2540162.6287 | 1154105.5189 | 2540162.2077 | 1154099.4531 | 2540161.9298 | 1154095.4315 | 2540155.3974 | 1154093.5288 | 2540156.6165 | 1154086.524 | 2540158.7618 | 1154075.7482
60 | 2540162.4178 | 1154057.3839 | 2540158.7618 | 1154075.7482
61 | 2540162.4178 | 1154057.3839 | 2540166.5267 | 1154057.8321 | 2540165.9011 | 1154063.5748 | 2540174.5825 | 1154061.203
62 | 2540179.32 | 1154055.9371 | 2540176.7122 | 1154060.6211 | 2540174.5825 | 1154061.203
63 | 2540180.4849 | 1154050.0546 | 2540179.32 | 1154055.9371 | 2540179.32 | 1154055.9371
64 | 2540181.5468 | 1154044.6921 | 2540180.4849 | 1154050.0546
65 | 2540105.5452 | 1153878.4687 | 2540097.53 | 1153889.8288 | 2540093.4308 | 1153898.2183
66 | 2540106.1804 | 1153877.5684 | 2540105.5452 | 1153878.4687
67 | 2540089.7596 | 1153905.7316 | 2540093.4308 | 1153898.2183
68 | 2540089.7596 | 1153905.7316 | 2540089.282 | 1153906.709 | 2540086.5948 | 1153912.6612 | 2540084.0845 | 1153919.7255
69 | 2540073.4758 | 1153931.1575 | 2540071.3897 | 1153941.0118
70 | 2540059.9366 | 1153928.291 | 2540073.4758 | 1153931.1575
71 | 2540059.9366 | 1153928.291 | 2540059.1133 | 1153934.2024 | 2540057.8245 | 1153941.26
72 | 2540059.9366 | 1153928.291 | 2540052.2977 | 1153926.6759
73 | 2540057.8245 | 1153941.26 | 2540055.4687 | 1153954.1606 | 2540053.908 | 1153957.678
74 | 2540043.3485 | 1153968.4527 | 2540051.087 | 1153960.9857 | 2540053.908 | 1153957.678 | 2540053.908 | 1153957.678
75 | 2540250.5522 | 1154034.7821 | 2540247.8769 | 1154032.0534 | 2540238.9528 | 1154026.4947 | 2540238.1198 | 1154025.556
76 | 2540300.1747 | 1153983.664 | 2540306.1995 | 1153982.6583 | 2540311.6289 | 1153983.1936 | 2540314.3631 | 1153985.8012 | 2540317.3641 | 1154002.1468 | 2540317.4859 | 1154002.7754
77 | 2540255.5732 | 1154039.9033 | 2540250.5522 | 1154034.7821
78 | 2540317.4859 | 1154002.7754 | 2540319.9438 | 1154015.4617 | 2540324.608 | 1154039.3617 | 2540325.2665 | 1154042.8072
79 | 2540179.8596 | 1154014.3584 | 2540178.6163 | 1154020.4647
80 | 2540178.6163 | 1154020.4647 | 2540176.193 | 1154032.3666 | 2540182.1104 | 1154041.8462 | 2540182.1104 | 1154041.8462
81 | 2540182.1104 | 1154041.8462 | 2540181.5468 | 1154044.6921
82 | 2540263.3846 | 1154063.9498 | 2540259.7645 | 1154050.9454 | 2540255.5732 | 1154039.9033

## bus_geodata
| x | y | coords
0 | 2540261.475 | 1154183.4222
1 | 2540282.3365 | 1154183.0145
2 | 2540326.9479 | 1154124.3175
3 | 2540356.8139 | 1154149.757
4 | 2540344.9945 | 1154169.8469
5 | 2540333.0264 | 1154083.216
6 | 2540119.0462 | 1153968.6791
7 | 2540140.2413 | 1153945.2887
8 | 2540115.5615 | 1153971.9822
9 | 2540104.8765 | 1153981.8163
10 | 2540093.6337 | 1153981.7897
11 | 2540184.2202 | 1153961.7153
12 | 2540185.1194 | 1153958.7937
13 | 2540177.7204 | 1153990.0619
14 | 2540160.3884 | 1153951.4692
15 | 2540187.054 | 1153924.724
16 | 2540142.7805 | 1153942.184
17 | 2540119.9787 | 1153940.9981
18 | 2540173.0537 | 1153918.2141
19 | 2540163.2366 | 1153914.3387
20 | 2540362.2277 | 1154232.1811
21 | 2540325.7061 | 1154241.8043
22 | 2540389.4584 | 1154252.6664
23 | 2540355.1303 | 1154207.7762
24 | 2540255.9586 | 1153945.9711
25 | 2540244.5022 | 1153929.5761
26 | 2540286.4431 | 1153937.8082
27 | 2540227.4116 | 1153969.9567
28 | 2540286.7338 | 1153953.7644
29 | 2540292.1959 | 1153965.4659
30 | 2540272.8458 | 1153972.2952
31 | 2540316.3768 | 1153978.4439
32 | 2540227.2936 | 1153971.9812
33 | 2540220.3146 | 1153968.3805
34 | 2540320.414 | 1153998.6852
35 | 2540357.6513 | 1154266.545
36 | 2540351.1331 | 1154191.8806
37 | 2540348.8405 | 1154182.7428
38 | 2540340.2236 | 1154290.0049
39 | 2540329.618 | 1154065.2122
40 | 2540077.9559 | 1153997.4319
41 | 2540210.0841 | 1153967.4545
42 | 2540210.2 | 1153967.4884
43 | 2540197.6706 | 1153962.3417
44 | 2540180.9107 | 1154009.1961
45 | 2540172.4662 | 1154005.0519
46 | 2540136.5992 | 1153940.8766
47 | 2540080.0108 | 1153932.5375
48 | 2540158.9536 | 1153912.9516
49 | 2540210.4145 | 1153967.5512
50 | 2540234.2586 | 1154021.2051
51 | 2540268.5339 | 1153982.2093
52 | 2540314.1305 | 1154190.6022
53 | 2540203.6058 | 1154142.8562
54 | 2540188.1525 | 1154142.8579
55 | 2540158.7618 | 1154075.7482
56 | 2540162.4178 | 1154057.3839
57 | 2540174.5825 | 1154061.203
58 | 2540179.32 | 1154055.9371
59 | 2540180.4849 | 1154050.0546
60 | 2540105.5452 | 1153878.4687
61 | 2540093.4308 | 1153898.2183
62 | 2540106.1804 | 1153877.5684
63 | 2540089.7596 | 1153905.7316
64 | 2540084.0845 | 1153919.7255
65 | 2540073.4758 | 1153931.1575
66 | 2540071.3897 | 1153941.0118
67 | 2540059.9366 | 1153928.291
68 | 2540052.2977 | 1153926.6759
69 | 2540057.8245 | 1153941.26
70 | 2540053.908 | 1153957.678
71 | 2540043.3485 | 1153968.4527
72 | 2540210.3098 | 1153967.5206
73 | 2540238.1198 | 1154025.556
74 | 2540300.1747 | 1153983.664
75 | 2540250.5522 | 1154034.7821
76 | 2540317.4859 | 1154002.7754
77 | 2540325.2665 | 1154042.8072
78 | 2540179.8596 | 1154014.3584
79 | 2540178.6163 | 1154020.4647
80 | 2540182.1104 | 1154041.8462
81 | 2540181.5468 | 1154044.6921
82 | 2540255.5732 | 1154039.9033
83 | 2540263.3846 | 1154063.9498
84 | 2540227.2936 | 1153971.9812

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1