## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-292_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-292_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-292_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-292_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5586-292_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5586-292_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5586-292_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5586-292_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_5586-292_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_5586-292_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5586-292_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_5586-292_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_5586-292_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_5586-292_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_5586-292_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5586-292_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5586-292_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5586-292_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5586-292_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_5586-292_0_4_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_5586-292_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5586-292_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_5586-292_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_5586-292_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_5586-292_0_4_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_5586-292_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5586-292_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_5586-292_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_5586-292_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_5586-292_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5586-292_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_5586-292_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_5586-292_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5586-292_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5586-292_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_5586-292_0_4_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_5586-292_0_4_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_5586-292_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_5586-292_0_4_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_5586-292_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_5586-292_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_5586-292_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5586-292_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_5586-292_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_5586-292_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_5586-292_0_4_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_5586-292_0_4_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_5586-292_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_5586-292_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5586-292_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_5586-292_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_5586-292_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_5586-292_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_5586-292_0_4_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_5586-292_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_5586-292_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_5586-292_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_5586-292_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_MV_630_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-292_0_4_load_0 | 0 | 0.0092764 | 0.0023249 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-292_0_4_load_3 | 3 | 0.0122 | 0.0030575 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-292_0_4_load_4 | 4 | 0.019904 | 0.0049883 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-292_0_4_load_15 | 8 | 0.012893 | 0.0032313 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-292_0_4_load_13 | 10 | 0.0025861 | 0.00064814 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-292_0_4_load_19 | 12 | 0.014318 | 0.0035885 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-292_0_4_load_16 | 13 | 0.0035751 | 0.000896 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-292_0_4_load_11 | 14 | 0.011921 | 0.0029878 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-292_0_4_load_7 | 15 | 0.004899 | 0.0012278 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-292_0_4_load_12 | 16 | 0.0063192 | 0.0015837 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-292_0_4_load_8 | 17 | 0.0080413 | 0.0020153 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-292_0_4_load_29 | 19 | 0.023673 | 0.005933 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-292_0_4_load_14 | 20 | 0.0060929 | 0.001527 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-292_0_4_load_23 | 21 | 0.010217 | 0.0025606 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-292_0_4_load_20 | 22 | 0.009579 | 0.0024007 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-292_0_4_load_34 | 23 | 0.012351 | 0.0030954 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-292_0_4_load_30 | 24 | 0.0072722 | 0.0018226 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-292_0_4_load_21 | 25 | 0.004566 | 0.0011444 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-292_0_4_load_35 | 26 | 0.017495 | 0.0043847 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-292_0_4_load_22 | 27 | 0.0045511 | 0.0011406 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-292_0_4_load_24 | 28 | 0.0039426 | 0.00098811 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-292_0_4_load_25 | 29 | 0.0025336 | 0.00063497 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-292_0_4_load_27 | 32 | 0.0043644 | 0.0010938 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-292_0_4_load_32 | 33 | 0.013695 | 0.0034323 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-292_0_4_load_59 | 35 | 0.013784 | 0.0034547 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-292_0_4_load_50 | 36 | 0.013259 | 0.003323 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-292_0_4_load_47 | 37 | 0.013328 | 0.0033403 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-292_0_4_load_48 | 38 | 0.013482 | 0.0033789 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-292_0_4_load_41 | 40 | 0.013953 | 0.0034971 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-292_0_4_load_37 | 41 | 0.021986 | 0.0055101 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-292_0_4_load_39 | 43 | 0.011013 | 0.0027601 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-292_0_4_load_40 | 44 | 0.016587 | 0.004157 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-292_0_4_load_42 | 47 | 0.030549 | 0.0076563 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-292_0_4_load_43 | 48 | 0.027328 | 0.0068489 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-292_0_4_load_45 | 50 | 0.02009 | 0.0050351 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-292_0_4_load_46 | 51 | 0.020524 | 0.0051437 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-292_0_4_load_55 | 53 | 0.0078427 | 0.0019656 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-292_0_4_load_49 | 54 | 0.009939 | 0.002491 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5586-292_0_4_load_60 | 57 | 0.041132 | 0.010309 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-292_0_4_line_0 |  | 0 | 1 | 0.011073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-292_0_4_line_1 |  | 0 | 2 | 0.030618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-292_0_4_line_2 |  | 1 | 3 | 0.01773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-292_0_4_line_3 |  | 1 | 4 | 0.018991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-292_0_4_line_4 |  | 2 | 5 | 0.009131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-292_0_4_line_5 |  | 2 | 6 | 0.005255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-292_0_4_line_6 |  | 4 | 7 | 0.04628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5586-292_0_4_line_7 |  | 5 | 8 | 0.034851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-292_0_4_line_8 |  | 6 | 9 | 0.020353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-292_0_4_line_9 |  | 6 | 10 | 0.0072366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5586-292_0_4_line_10 |  | 7 | 11 | 0.022249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5586-292_0_4_line_11 |  | 7 | 12 | 0.0030888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5586-292_0_4_line_12 |  | 8 | 13 | 0.010282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-292_0_4_line_13 |  | 9 | 14 | 0.034334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-292_0_4_line_14 |  | 9 | 15 | 0.034262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-292_0_4_line_15 |  | 10 | 16 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5586-292_0_4_line_16 |  | 11 | 21 | 0.019454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5586-292_0_4_line_17 |  | 11 | 22 | 0.0063405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-292_0_4_line_18 |  | 12 | 23 | 0.018446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5586-292_0_4_line_19 |  | 14 | 18 | 0.023881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-292_0_4_line_20 |  | 15 | 17 | 0.01935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-292_0_4_line_21 |  | 16 | 20 | 0.001168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-292_0_4_line_22 |  | 18 | 19 | 0.10136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-292_0_4_line_23 |  | 21 | 24 | 0.018608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5586-292_0_4_line_24 |  | 22 | 25 | 0.016479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-292_0_4_line_25 |  | 23 | 26 | 0.01223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5586-292_0_4_line_26 |  | 24 | 30 | 0.050369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5586-292_0_4_line_27 |  | 25 | 27 | 0.0072177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-292_0_4_line_28 |  | 26 | 39 | 0.0085003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-292_0_4_line_29 |  | 27 | 28 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-292_0_4_line_30 |  | 28 | 29 | 0.01032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-292_0_4_line_31 |  | 29 | 31 | 0.039322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5586-292_0_4_line_32 |  | 30 | 33 | 0.020517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-292_0_4_line_33 |  | 30 | 34 | 0.010598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5586-292_0_4_line_34 |  | 31 | 32 | 0.024945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5586-292_0_4_line_35 |  | 33 | 35 | 0.001257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-292_0_4_line_36 |  | 34 | 36 | 0.013344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-292_0_4_line_37 |  | 34 | 37 | 0.019433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5586-292_0_4_line_38 |  | 37 | 38 | 0.0058987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-292_0_4_line_39 |  | 38 | 54 | 0.013633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-292_0_4_line_40 |  | 39 | 40 | 0.01427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-292_0_4_line_41 |  | 39 | 41 | 0.020865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-292_0_4_line_42 |  | 41 | 42 | 0.02861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-292_0_4_line_43 |  | 42 | 43 | 0.009422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-292_0_4_line_44 |  | 42 | 44 | 0.040738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-292_0_4_line_45 |  | 44 | 45 | 0.032148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-292_0_4_line_46 |  | 45 | 46 | 0.067117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-292_0_4_line_47 |  | 46 | 57 | 0.008223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-292_0_4_line_48 |  | 47 | 48 | 0.032608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5586-292_0_4_line_49 |  | 47 | 49 | 0.020164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5586-292_0_4_line_50 |  | 48 | 50 | 0.018265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5586-292_0_4_line_51 |  | 49 | 51 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5586-292_0_4_line_52 |  | 50 | 52 | 0.003503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5586-292_0_4_line_53 |  | 52 | 53 | 0.0079428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5586-292_0_4_line_54 |  | 53 | 56 | 0.0037532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5586-292_0_4_line_55 |  | 54 | 55 | 0.019776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5586-292_0_4_line_56 |  | 55 | 56 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-292_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 58 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2538919.4169 | 1151766.904 | 2538908.6635 | 1151764.2614
1 | 2538878.9304 | 1151756.9545 | 2538908.6635 | 1151764.2614
2 | 2538919.4169 | 1151766.904 | 2538926.4019 | 1151767.7446 | 2538933.3714 | 1151767.8072 | 2538936.9847 | 1151766.9007
3 | 2538919.4169 | 1151766.904 | 2538917.9449 | 1151779.1367 | 2538916.9957 | 1151785.7386
4 | 2538878.9304 | 1151756.9545 | 2538879.0238 | 1151762.3676 | 2538879.3761 | 1151766.066
5 | 2538873.8137 | 1151755.6947 | 2538878.9304 | 1151756.9545
6 | 2538941.6491 | 1151821.0964 | 2538936.2693 | 1151817.3379 | 2538931.7625 | 1151812.6478 | 2538918.4076 | 1151799.7431 | 2538915.8159 | 1151793.9441 | 2538916.9957 | 1151785.7386
7 | 2538879.3761 | 1151766.066 | 2538879.6085 | 1151768.5427 | 2538876.1599 | 1151787.9105 | 2538888.4491 | 1151791.0772
8 | 2538853.9641 | 1151750.9495 | 2538873.8137 | 1151755.6947
9 | 2538873.8137 | 1151755.6947 | 2538873.8236 | 1151749.8803 | 2538873.764 | 1151748.4594
10 | 2538941.6491 | 1151821.0964 | 2538950.625 | 1151816.2026 | 2538961.7676 | 1151811.5425
11 | 2538941.6491 | 1151821.0964 | 2538939.5286 | 1151823.3422
12 | 2538898.4063 | 1151793.643 | 2538888.4491 | 1151791.0772
13 | 2538853.9641 | 1151750.9495 | 2538821.9634 | 1151754.3324 | 2538819.8938 | 1151754.9326
14 | 2538853.9641 | 1151750.9495 | 2538855.5678 | 1151742.6176 | 2538855.8156 | 1151738.3016 | 2538854.1377 | 1151734.8168 | 2538846.9849 | 1151731.0764 | 2538837.9142 | 1151728.2057
15 | 2538873.8389 | 1151735.2994 | 2538873.3374 | 1151738.2901 | 2538873.764 | 1151748.4594
16 | 2538961.7676 | 1151811.5425 | 2538965.8425 | 1151816.7817 | 2538969.8993 | 1151816.4737 | 2538977.9283 | 1151813.001
17 | 2538961.7676 | 1151811.5425 | 2538967.6168 | 1151809.0952
18 | 2538927.1807 | 1151837.0435 | 2538937.1236 | 1151825.8894 | 2538939.5286 | 1151823.3422
19 | 2538797.0032 | 1151761.7349 | 2538803.33 | 1151759.7361 | 2538819.8938 | 1151754.9326
20 | 2538837.9142 | 1151728.2057 | 2538825.5103 | 1151724.2801 | 2538819.2805 | 1151723.1069
21 | 2538874.032 | 1151734.1475 | 2538873.8389 | 1151735.2994
22 | 2538797.0032 | 1151761.7349 | 2538802.085 | 1151769.3762 | 2538805.6254 | 1151769.5958 | 2538830.3361 | 1151769.3442 | 2538835.9156 | 1151773.1006 | 2538836.3165 | 1151780.8229 | 2538834.6325 | 1151787.2991 | 2538832.0797 | 1151789.8487 | 2538822.2579 | 1151790.8047 | 2538816.1844 | 1151787.5203 | 2538814.7598 | 1151774.2387 | 2538823.7397 | 1151773.2371
23 | 2538991.6771 | 1151814.8453 | 2538989.2142 | 1151810.1632 | 2538988.4295 | 1151808.4591 | 2538977.9283 | 1151813.001
24 | 2538967.6168 | 1151809.0952 | 2538969.3107 | 1151808.3864 | 2538982.5859 | 1151802.2069
25 | 2538927.1807 | 1151837.0435 | 2538925.2631 | 1151839.1948 | 2538919.3068 | 1151846.3996
26 | 2539010.3471 | 1151860.4649 | 2539010.8527 | 1151851.2992 | 2538991.6771 | 1151814.8453
27 | 2538989.0623 | 1151799.03 | 2538987.3534 | 1151799.9877 | 2538982.5859 | 1151802.2069
28 | 2538913.8907 | 1151852.9511 | 2538919.3068 | 1151846.3996
29 | 2538999.9969 | 1151792.9021 | 2538989.0623 | 1151799.03
30 | 2538999.9969 | 1151792.9021 | 2539001.3342 | 1151792.1527 | 2539009.0559 | 1151787.9586
31 | 2539039.4906 | 1151763.8505 | 2539035.7022 | 1151768.6915 | 2539026.2888 | 1151778.1365 | 2539018.1035 | 1151783.0444 | 2539009.0559 | 1151787.9586
32 | 2539010.3471 | 1151860.4649 | 2539030.6998 | 1151857.8699
33 | 2539010.3471 | 1151860.4649 | 2539008.7898 | 1151862.0482 | 2539010.569 | 1151870.2345
34 | 2539039.4906 | 1151763.8505 | 2539045.2106 | 1151772.3971 | 2539056.6121 | 1151779.6299 | 2539057.6586 | 1151780.1265
35 | 2539031.9467 | 1151857.711 | 2539030.6998 | 1151857.8699
36 | 2539010.569 | 1151870.2345 | 2539011.6558 | 1151875.2262 | 2539013.7016 | 1151883.2038
37 | 2539010.569 | 1151870.2345 | 2538996.5339 | 1151872.7005 | 2538992.2748 | 1151875.6541
38 | 2538992.2748 | 1151875.6541 | 2538987.4276 | 1151879.0156
39 | 2538987.4276 | 1151879.0156 | 2538982.2824 | 1151882.5838 | 2538985.6294 | 1151889.1519
40 | 2538911.2032 | 1151839.2265 | 2538912.0007 | 1151849.7352 | 2538913.8907 | 1151852.9511
41 | 2538913.8907 | 1151852.9511 | 2538899.5617 | 1151868.1174
42 | 2538880.2215 | 1151889.1906 | 2538885.6065 | 1151882.888 | 2538899.5617 | 1151868.1174
43 | 2538880.2215 | 1151889.1906 | 2538887.6713 | 1151894.9847
44 | 2538880.2215 | 1151889.1906 | 2538872.9483 | 1151897.7247 | 2538856.8341 | 1151922.4643
45 | 2538836.1201 | 1151947.0259 | 2538855.6359 | 1151924.304 | 2538856.8341 | 1151922.4643
46 | 2538832.7098 | 1151881.1583 | 2538831.2366 | 1151882.6963 | 2538831.9988 | 1151888.9697 | 2538834.3171 | 1151904.8547 | 2538836.4294 | 1151919.3522 | 2538834.4068 | 1151939.3058 | 2538836.1201 | 1151947.0259
47 | 2538838.3899 | 1151875.1973 | 2538832.7098 | 1151881.1583
48 | 2538918.9022 | 1151944.8467 | 2538947.0837 | 1151928.4436
49 | 2538901.4742 | 1151954.9879 | 2538912.9872 | 1151948.2896 | 2538918.9022 | 1151944.8467
50 | 2538963.0739 | 1151919.6153 | 2538947.0837 | 1151928.4436 | 2538947.0837 | 1151928.4436
51 | 2538901.4742 | 1151954.9879 | 2538889.3492 | 1151962.0457
52 | 2538966.1406 | 1151917.9222 | 2538963.0739 | 1151919.6153
53 | 2538966.1406 | 1151917.9222 | 2538973.4367 | 1151914.783
54 | 2538976.8843 | 1151913.2996 | 2538973.4367 | 1151914.783
55 | 2538994.608 | 1151906.7718 | 2538985.6294 | 1151889.1519
56 | 2538994.608 | 1151906.7718 | 2538984.006 | 1151910.2368 | 2538976.8843 | 1151913.2996

## bus_geodata
| x | y | coords
0 | 2538908.6635 | 1151764.2614
1 | 2538919.4169 | 1151766.904
2 | 2538878.9304 | 1151756.9545
3 | 2538936.9847 | 1151766.9007
4 | 2538916.9957 | 1151785.7386
5 | 2538879.3761 | 1151766.066
6 | 2538873.8137 | 1151755.6947
7 | 2538941.6491 | 1151821.0964
8 | 2538888.4491 | 1151791.0772
9 | 2538853.9641 | 1151750.9495
10 | 2538873.764 | 1151748.4594
11 | 2538961.7676 | 1151811.5425
12 | 2538939.5286 | 1151823.3422
13 | 2538898.4063 | 1151793.643
14 | 2538819.8938 | 1151754.9326
15 | 2538837.9142 | 1151728.2057
16 | 2538873.8389 | 1151735.2994
17 | 2538819.2805 | 1151723.1069
18 | 2538797.0032 | 1151761.7349
19 | 2538823.7397 | 1151773.2371
20 | 2538874.032 | 1151734.1475
21 | 2538977.9283 | 1151813.001
22 | 2538967.6168 | 1151809.0952
23 | 2538927.1807 | 1151837.0435
24 | 2538991.6771 | 1151814.8453
25 | 2538982.5859 | 1151802.2069
26 | 2538919.3068 | 1151846.3996
27 | 2538989.0623 | 1151799.03
28 | 2538999.9969 | 1151792.9021
29 | 2539009.0559 | 1151787.9586
30 | 2539010.3471 | 1151860.4649
31 | 2539039.4906 | 1151763.8505
32 | 2539057.6586 | 1151780.1265
33 | 2539030.6998 | 1151857.8699
34 | 2539010.569 | 1151870.2345
35 | 2539031.9467 | 1151857.711
36 | 2539013.7016 | 1151883.2038
37 | 2538992.2748 | 1151875.6541
38 | 2538987.4276 | 1151879.0156
39 | 2538913.8907 | 1151852.9511
40 | 2538911.2032 | 1151839.2265
41 | 2538899.5617 | 1151868.1174
42 | 2538880.2215 | 1151889.1906
43 | 2538887.6713 | 1151894.9847
44 | 2538856.8341 | 1151922.4643
45 | 2538836.1201 | 1151947.0259
46 | 2538832.7098 | 1151881.1583
47 | 2538918.9022 | 1151944.8467
48 | 2538947.0837 | 1151928.4436
49 | 2538901.4742 | 1151954.9879
50 | 2538963.0739 | 1151919.6153
51 | 2538889.3492 | 1151962.0457
52 | 2538966.1406 | 1151917.9222
53 | 2538973.4367 | 1151914.783
54 | 2538985.6294 | 1151889.1519
55 | 2538994.608 | 1151906.7718
56 | 2538976.8843 | 1151913.2996
57 | 2538838.3899 | 1151875.1973
58 | 2538913.8907 | 1151852.9511

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1