## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-300_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-300_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-300_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-300_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5586-300_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5586-300_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5586-300_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5586-300_0_5_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5586-300_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5586-300_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5586-300_0_5_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_5586-300_0_5_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_5586-300_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5586-300_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_5586-300_0_5_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_5586-300_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5586-300_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5586-300_0_5_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_5586-300_0_5_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_5586-300_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5586-300_0_5_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_5586-300_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5586-300_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5586-300_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5586-300_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_5586-300_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5586-300_0_5_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_5586-300_0_5_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_5586-300_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5586-300_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5586-300_0_5_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_5586-300_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5586-300_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5586-300_0_5_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_5586-300_0_5_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_5586-300_0_5_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_5586-300_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5586-300_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5586-300_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5586-300_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5586-300_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5586-300_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5586-300_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_5586-300_0_5_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5586-300_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5586-300_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5586-300_0_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_5586-300_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5586-300_0_5_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5586-300_0_5_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_5586-300_0_5_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_5586-300_0_5_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_5586-300_0_5_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_5586-300_0_5_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_5586-300_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5586-300_0_5_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_5586-300_0_5_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_5586-300_0_5_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_5586-300_0_5_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_5586-300_0_5_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_5586-300_0_5_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_5586-300_0_5_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_5586-300_0_5_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_5586-300_0_5_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_5586-300_0_5_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_5586-300_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_5586-300_0_5_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5586-300_0_5_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5586-300_0_5_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5586-300_0_5_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_5586-300_0_5_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_5586-300_0_5_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_5586-300_0_5_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_5586-300_0_5_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_5586-300_0_5_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_5586-300_0_5_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_5586-300_0_5_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_5586-300_0_5_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_5586-300_0_5_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_5586-300_0_5_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_5586-300_0_5_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_5586-300_0_5_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5586-300_0_5_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_5586-300_0_5_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_5586-300_0_5_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_5586-300_0_5_node_86 | 0.4 | n |  | TRUE
86 | bus_MV_630_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-300_0_5_load_0 | 0 | 0.0045119 | 0.0011308 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-300_0_5_load_1 | 1 | 0.0035305 | 0.00088484 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-300_0_5_load_5 | 3 | 0.0045754 | 0.0011467 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-300_0_5_load_3 | 4 | 0.0087688 | 0.0021977 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-300_0_5_load_4 | 5 | 0.0021119 | 0.0005293 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-300_0_5_load_6 | 6 | 0.0042539 | 0.0010661 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-300_0_5_load_12 | 7 | 0.0027317 | 0.00068462 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-300_0_5_load_58 | 10 | 0.0021762 | 0.00054541 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-300_0_5_load_59 | 11 | 0.0025412 | 0.00063689 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-300_0_5_load_13 | 13 | 0.0025089 | 0.00062879 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-300_0_5_load_57 | 14 | 0.0032697 | 0.00081945 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-300_0_5_load_10 | 15 | 0.0035707 | 0.00089489 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-300_0_5_load_11 | 16 | 0.0050402 | 0.0012632 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-300_0_5_load_60 | 17 | 0.0039399 | 0.00098743 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-300_0_5_load_14 | 19 | 0.0066287 | 0.0016613 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-300_0_5_load_56 | 20 | 0.0053043 | 0.0013294 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-300_0_5_load_15 | 21 | 0.009116 | 0.0022847 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-300_0_5_load_16 | 22 | 0.0024861 | 0.00062308 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-300_0_5_load_20 | 23 | 0.0067576 | 0.0016936 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-300_0_5_load_35 | 26 | 0.010149 | 0.0025435 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-300_0_5_load_34 | 27 | 0.011547 | 0.002894 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-300_0_5_load_19 | 29 | 0.0038016 | 0.00095276 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-300_0_5_load_22 | 31 | 0.004978 | 0.0012476 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-300_0_5_load_53 | 34 | 0.010157 | 0.0025456 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-300_0_5_load_51 | 35 | 0.0050681 | 0.0012702 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-300_0_5_load_24 | 36 | 0.0092593 | 0.0023206 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-300_0_5_load_25 | 37 | 0.017382 | 0.0043563 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-300_0_5_load_26 | 38 | 0.019462 | 0.0048777 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-300_0_5_load_27 | 39 | 0.016552 | 0.0041483 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-300_0_5_load_36 | 42 | 0.019114 | 0.0047904 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-300_0_5_load_32 | 44 | 0.0053884 | 0.0013505 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-300_0_5_load_31 | 45 | 0.020167 | 0.0050543 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-300_0_5_load_37 | 46 | 0.017349 | 0.004348 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-300_0_5_load_38 | 47 | 0.017086 | 0.0042821 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-300_0_5_load_81 | 51 | 0.0038018 | 0.00095282 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-300_0_5_load_80 | 52 | 0.0038257 | 0.0009588 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-300_0_5_load_70 | 53 | 0.017076 | 0.0042797 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-300_0_5_load_40 | 54 | 0.0056101 | 0.001406 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5586-300_0_5_load_41 | 55 | 0.0055536 | 0.0013919 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5586-300_0_5_load_42 | 56 | 0.0073445 | 0.0018407 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5586-300_0_5_load_77 | 57 | 0.0038827 | 0.00097309 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5586-300_0_5_load_79 | 58 | 0.0038409 | 0.00096261 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5586-300_0_5_load_75 | 59 | 0.0036777 | 0.00092171 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5586-300_0_5_load_44 | 60 | 0.009509 | 0.0023832 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5586-300_0_5_load_45 | 61 | 0.0042592 | 0.0010675 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5586-300_0_5_load_48 | 64 | 0.0025907 | 0.00064928 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5586-300_0_5_load_49 | 65 | 0.0031212 | 0.00078226 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5586-300_0_5_load_50 | 66 | 0.002602 | 0.00065212 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5586-300_0_5_load_62 | 67 | 0.0034121 | 0.00085515 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5586-300_0_5_load_64 | 69 | 0.0035399 | 0.00088717 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5586-300_0_5_load_69 | 70 | 0.0035164 | 0.00088129 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5586-300_0_5_load_52 | 71 | 0.0014918 | 0.00037389 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5586-300_0_5_load_54 | 72 | 0.0036394 | 0.00091211 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5586-300_0_5_load_73 | 74 | 0.0049036 | 0.001229 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5586-300_0_5_load_65 | 75 | 0.0023567 | 0.00059064 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5586-300_0_5_load_66 | 76 | 0.0026921 | 0.0006747 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5586-300_0_5_load_67 | 77 | 0.0024952 | 0.00062535 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5586-300_0_5_load_68 | 78 | 0.0025081 | 0.00062859 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5586-300_0_5_load_83 | 79 | 0.0038975 | 0.00097681 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5586-300_0_5_load_76 | 80 | 0.0075616 | 0.0018951 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5586-300_0_5_load_78 | 81 | 0.016944 | 0.0042465 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5586-300_0_5_load_82 | 82 | 0.0036993 | 0.00092714 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5586-300_0_5_load_84 | 83 | 0.005314 | 0.0013318 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5586-300_0_5_load_85 | 84 | 0.0029811 | 0.00074715 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5586-300_0_5_load_86 | 85 | 0.0036196 | 0.00090716 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-300_0_5_line_0 |  | 0 | 1 | 0.0061798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-300_0_5_line_1 |  | 1 | 2 | 0.039531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5586-300_0_5_line_2 |  | 1 | 3 | 0.02594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_5586-300_0_5_line_3 |  | 2 | 4 | 0.023989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_5586-300_0_5_line_4 |  | 2 | 5 | 0.0093361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-300_0_5_line_5 |  | 3 | 6 | 0.030002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5586-300_0_5_line_6 |  | 4 | 8 | 0.053105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5586-300_0_5_line_7 |  | 5 | 9 | 0.0043194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-300_0_5_line_8 |  | 6 | 7 | 0.025246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5586-300_0_5_line_9 |  | 7 | 13 | 0.01368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5586-300_0_5_line_10 |  | 7 | 14 | 0.045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-300_0_5_line_11 |  | 8 | 10 | 0.044452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5586-300_0_5_line_12 |  | 8 | 11 | 0.016199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-300_0_5_line_13 |  | 9 | 12 | 0.007457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-300_0_5_line_14 |  | 10 | 17 | 0.020535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_5586-300_0_5_line_15 |  | 11 | 18 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5586-300_0_5_line_16 |  | 12 | 15 | 0.020211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-300_0_5_line_17 |  | 12 | 16 | 0.022916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-300_0_5_line_18 |  | 13 | 19 | 0.022229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5586-300_0_5_line_19 |  | 14 | 20 | 0.022611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-300_0_5_line_20 |  | 17 | 70 | 0.021386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5586-300_0_5_line_21 |  | 18 | 73 | 0.036688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-300_0_5_line_22 |  | 19 | 21 | 0.022819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_5586-300_0_5_line_23 |  | 20 | 33 | 0.04288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-300_0_5_line_24 |  | 21 | 22 | 0.0023948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5586-300_0_5_line_25 |  | 22 | 25 | 0.033781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5586-300_0_5_line_26 |  | 23 | 24 | 0.0099095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5586-300_0_5_line_27 |  | 24 | 31 | 0.009289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-300_0_5_line_28 |  | 24 | 32 | 0.026462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-300_0_5_line_29 |  | 25 | 28 | 0.007976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_5586-300_0_5_line_30 |  | 26 | 27 | 0.025807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-300_0_5_line_31 |  | 27 | 29 | 0.049218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5586-300_0_5_line_32 |  | 27 | 30 | 0.03654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5586-300_0_5_line_33 |  | 28 | 29 | 0.027151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_5586-300_0_5_line_34 |  | 30 | 43 | 0.043669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5586-300_0_5_line_35 |  | 30 | 40 | 0.0207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_5586-300_0_5_line_36 |  | 32 | 33 | 0.00675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-300_0_5_line_37 |  | 32 | 34 | 0.034104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-300_0_5_line_38 |  | 34 | 35 | 0.015065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-300_0_5_line_39 |  | 35 | 71 | 0.0089836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-300_0_5_line_40 |  | 36 | 37 | 0.028643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5586-300_0_5_line_41 |  | 37 | 38 | 0.042194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_5586-300_0_5_line_42 |  | 38 | 39 | 0.011719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_5586-300_0_5_line_43 |  | 39 | 40 | 0.039153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5586-300_0_5_line_44 |  | 40 | 41 | 0.007948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-300_0_5_line_45 |  | 41 | 42 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-300_0_5_line_46 |  | 43 | 44 | 0.016743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-300_0_5_line_47 |  | 44 | 45 | 0.0017957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-300_0_5_line_48 |  | 46 | 47 | 0.034285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_5586-300_0_5_line_49 |  | 47 | 48 | 0.01689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_5586-300_0_5_line_50 |  | 48 | 49 | 0.001917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5586-300_0_5_line_51 |  | 48 | 50 | 0.033609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_5586-300_0_5_line_52 |  | 49 | 51 | 0.011072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5586-300_0_5_line_53 |  | 49 | 52 | 0.023473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5586-300_0_5_line_54 |  | 50 | 53 | 0.022994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5586-300_0_5_line_55 |  | 51 | 79 | 0.00051178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5586-300_0_5_line_56 |  | 52 | 58 | 0.0079378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5586-300_0_5_line_57 |  | 53 | 68 | 0.019445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_5586-300_0_5_line_58 |  | 54 | 55 | 0.018455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5586-300_0_5_line_59 |  | 54 | 56 | 0.034165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5586-300_0_5_line_60 |  | 56 | 57 | 0.062082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5586-300_0_5_line_61 |  | 57 | 58 | 0.0046365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5586-300_0_5_line_62 |  | 57 | 59 | 0.0034657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5586-300_0_5_line_63 |  | 59 | 80 | 0.0025069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5586-300_0_5_line_64 |  | 60 | 61 | 0.010209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5586-300_0_5_line_65 |  | 60 | 62 | 0.025132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5586-300_0_5_line_66 |  | 61 | 63 | 0.02697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5586-300_0_5_line_67 |  | 62 | 64 | 0.068928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5586-300_0_5_line_68 |  | 63 | 65 | 0.014978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5586-300_0_5_line_69 |  | 63 | 66 | 0.029866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5586-300_0_5_line_70 |  | 65 | 67 | 0.023627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5586-300_0_5_line_71 |  | 66 | 68 | 0.0224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5586-300_0_5_line_72 |  | 67 | 69 | 0.018368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5586-300_0_5_line_73 |  | 68 | 70 | 0.025017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_5586-300_0_5_line_74 |  | 69 | 75 | 0.0034726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5586-300_0_5_line_75 |  | 71 | 72 | 0.034976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5586-300_0_5_line_76 |  | 73 | 74 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5586-300_0_5_line_77 |  | 75 | 76 | 0.016303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5586-300_0_5_line_78 |  | 76 | 77 | 0.024438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5586-300_0_5_line_79 |  | 77 | 78 | 0.021913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5586-300_0_5_line_80 |  | 79 | 82 | 0.001745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5586-300_0_5_line_81 |  | 80 | 81 | 0.0090315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5586-300_0_5_line_82 |  | 82 | 83 | 0.0016161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5586-300_0_5_line_83 |  | 83 | 84 | 0.0095741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5586-300_0_5_line_84 |  | 84 | 85 | 0.0063868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-300_0_5_trafo_37 | 0.63 MVA 20/0.4 kV | 86 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2539454.7442 | 1152401.046 | 2539458.3941 | 1152396.0591
1 | 2539494.5109 | 1152382.5994 | 2539468.1594 | 1152388.0676 | 2539458.3941 | 1152396.0591 | 2539458.3941 | 1152396.0591
2 | 2539458.3941 | 1152396.0591 | 2539438.0824 | 1152379.9239
3 | 2539494.5109 | 1152382.5994 | 2539518.4554 | 1152384.0655
4 | 2539494.5109 | 1152382.5994 | 2539501.0057 | 1152389.3062
5 | 2539438.0824 | 1152379.9239 | 2539440.2409 | 1152375.8755 | 2539446.9171 | 1152359.0881 | 2539448.415 | 1152351.8942
6 | 2539569.8532 | 1152376.2826 | 2539553.0995 | 1152383.7996 | 2539537.236 | 1152385.2154 | 2539518.4554 | 1152384.0655
7 | 2539504.0105 | 1152392.4091 | 2539501.0057 | 1152389.3062
8 | 2539448.415 | 1152351.8942 | 2539449.318 | 1152347.5577 | 2539449.5915 | 1152341.1848 | 2539449.1325 | 1152334.4747 | 2539448.0045 | 1152328.3939 | 2539447.6757 | 1152326.9024
9 | 2539443.0447 | 1152314.0957 | 2539444.2538 | 1152316.403 | 2539446.7821 | 1152322.8477 | 2539447.6757 | 1152326.9024
10 | 2539491.995 | 1152334.6989 | 2539447.6757 | 1152326.9024
11 | 2539569.8532 | 1152376.2826 | 2539584.2183 | 1152366.2773 | 2539588.9056 | 1152361.5388 | 2539593.2706 | 1152356.8035 | 2539595.0716 | 1152352.7387 | 2539597.1128 | 1152343.5688
12 | 2539569.8532 | 1152376.2826 | 2539570.8745 | 1152381.6864 | 2539570.6298 | 1152392.3829
13 | 2539504.0105 | 1152392.4091 | 2539509.2061 | 1152397.7708
14 | 2539599.4443 | 1152323.167 | 2539597.1128 | 1152343.5688
15 | 2539570.3947 | 1152402.6581 | 2539570.6298 | 1152392.3829
16 | 2539509.2061 | 1152397.7708 | 2539506.1906 | 1152406.9617 | 2539499.5007 | 1152415.1034
17 | 2539509.2061 | 1152397.7708 | 2539514.3422 | 1152404.0781 | 2539521.0016 | 1152416.1065 | 2539521.2202 | 1152417.1168
18 | 2539430.2046 | 1152296.078 | 2539430.2046 | 1152296.078 | 2539435.3984 | 1152302.0066 | 2539439.2482 | 1152307.0706 | 2539441.6403 | 1152311.4155 | 2539443.0447 | 1152314.0957
19 | 2539491.995 | 1152334.6989 | 2539499.0661 | 1152324.3443 | 2539501.9504 | 1152315.0881 | 2539502 | 1152314.7145
20 | 2539599.4443 | 1152323.167 | 2539601.8724 | 1152301.9189
21 | 2539570.3947 | 1152402.6581 | 2539575.4207 | 1152402.6076 | 2539598.1773 | 1152403.6572 | 2539607.1614 | 1152403.4335
22 | 2539430.2046 | 1152296.078 | 2539418.5132 | 1152287.3466 | 2539411.7153 | 1152282.7127
23 | 2539503.5196 | 1152271.9935 | 2539504.4187 | 1152288.8936 | 2539503.8121 | 1152301.0507 | 2539502 | 1152314.7145
24 | 2539411.7153 | 1152282.7127 | 2539409.7365 | 1152281.3638
25 | 2539381.8236 | 1152262.3363 | 2539409.7365 | 1152281.3638
26 | 2539487.0235 | 1152262.4432 | 2539480.4074 | 1152263.8773 | 2539477.7336 | 1152265.5232
27 | 2539487.0235 | 1152262.4432 | 2539488.2782 | 1152267.3888 | 2539487.0907 | 1152271.4029
28 | 2539487.0235 | 1152262.4432 | 2539494.9241 | 1152257.4833 | 2539500.2981 | 1152254.6388 | 2539503.4056 | 1152265.2465
29 | 2539385.6592 | 1152255.3383 | 2539381.8236 | 1152262.3363
30 | 2539441.9756 | 1152215.3947 | 2539441.6189 | 1152228.571 | 2539445.6207 | 1152231.9659 | 2539452.8652 | 1152233.3641
31 | 2539441.9756 | 1152215.3947 | 2539396.9972 | 1152235.3796
32 | 2539442.6528 | 1152178.8671 | 2539442.7821 | 1152185.6028 | 2539441.9756 | 1152215.3947
33 | 2539385.6592 | 1152255.3383 | 2539388.6158 | 1152237.2765 | 2539391.2547 | 1152235.649 | 2539396.9972 | 1152235.3796
34 | 2539442.6528 | 1152178.8671 | 2539426.2983 | 1152180.3438 | 2539405.2833 | 1152183.1348 | 2539399.3052 | 1152184.6737
35 | 2539462.3676 | 1152173.4656 | 2539454.3407 | 1152177.3263 | 2539445.8578 | 1152178.5791 | 2539442.6528 | 1152178.8671
36 | 2539503.4056 | 1152265.2465 | 2539503.5196 | 1152271.9935
37 | 2539503.4056 | 1152265.2465 | 2539507.0352 | 1152268.2672 | 2539516.7072 | 1152276.1297 | 2539529.9264 | 1152286.6863
38 | 2539541.6984 | 1152296.0871 | 2539529.9264 | 1152286.6863
39 | 2539541.6984 | 1152296.0871 | 2539547.97 | 1152301.0954 | 2539548.8277 | 1152301.5215
40 | 2539411.0005 | 1152088.4908 | 2539435.0975 | 1152103.9744
41 | 2539468.5208 | 1152129.1662 | 2539461.4081 | 1152120.8803 | 2539435.0975 | 1152103.9744
42 | 2539473.5771 | 1152139.6564 | 2539471.3907 | 1152133.6533 | 2539468.731 | 1152129.4111 | 2539468.5208 | 1152129.1662
43 | 2539462.3676 | 1152173.4656 | 2539468.2289 | 1152170.2271 | 2539471.1389 | 1152166.5625 | 2539472.9562 | 1152162.5976 | 2539474.1562 | 1152157.5384 | 2539475.1592 | 1152152.7368 | 2539475.1392 | 1152148.468 | 2539474.8319 | 1152143.1016 | 2539473.5771 | 1152139.6564
44 | 2539462.3676 | 1152173.4656 | 2539463.889 | 1152181.2657
45 | 2539463.889 | 1152181.2657 | 2539475.076 | 1152185.622 | 2539478.7816 | 1152188.2522
46 | 2539399.3052 | 1152184.6737 | 2539395.764 | 1152168.3098
47 | 2539395.3842 | 1152166.5548 | 2539395.764 | 1152168.3098
48 | 2539536.2139 | 1152228.2099 | 2539548.6753 | 1152236.9537 | 2539556.5965 | 1152238.6083 | 2539564.3155 | 1152230.8135
49 | 2539576.1428 | 1152218.7567 | 2539570.2182 | 1152224.8528 | 2539564.3155 | 1152230.8135
50 | 2539576.1428 | 1152218.7567 | 2539574.7938 | 1152217.3917
51 | 2539576.1428 | 1152218.7567 | 2539600.3828 | 1152242.1035
52 | 2539574.7938 | 1152217.3917 | 2539579.423 | 1152212.9761 | 2539584.0067 | 1152212.0583
53 | 2539574.7938 | 1152217.3917 | 2539558.3292 | 1152200.661
54 | 2539600.3828 | 1152242.1035 | 2539606.8465 | 1152248.4086 | 2539606.9095 | 1152254.678 | 2539602.6666 | 1152261.0975
55 | 2539584.5086 | 1152211.9578 | 2539584.0067 | 1152212.0583
56 | 2539552.7615 | 1152195.0034 | 2539558.3292 | 1152200.661
57 | 2539606.0777 | 1152277.2875 | 2539598.9873 | 1152266.6641 | 2539602.6666 | 1152261.0975
58 | 2539592.747 | 1152117.7787 | 2539589.0077 | 1152112.1588 | 2539581.4859 | 1152103.1914
59 | 2539594.2712 | 1152148.6812 | 2539600.1622 | 1152136.9379 | 2539599.6856 | 1152129.9833 | 2539595.3194 | 1152121.6449 | 2539592.747 | 1152117.7787
60 | 2539549.5094 | 1152191.6987 | 2539594.2712 | 1152148.6812
61 | 2539552.7615 | 1152195.0034 | 2539549.5094 | 1152191.6987
62 | 2539546.1648 | 1152190.7905 | 2539549.5094 | 1152191.6987 | 2539549.5094 | 1152191.6987
63 | 2539546.1648 | 1152190.7905 | 2539543.7455 | 1152190.1336
64 | 2539651.7409 | 1152201.1042 | 2539649.6694 | 1152207.1897 | 2539647.4634 | 1152210.2594
65 | 2539656.5312 | 1152176.7155 | 2539656.6178 | 1152185.3415 | 2539654.1197 | 1152194.1158 | 2539651.7409 | 1152201.1042
66 | 2539631.7244 | 1152232.1611 | 2539647.4634 | 1152210.2594
67 | 2539656.5312 | 1152176.7155 | 2539670.9842 | 1152193.7463 | 2539681.2327 | 1152209.363 | 2539688.4817 | 1152225.0988 | 2539692.2217 | 1152235.0028
68 | 2539631.7244 | 1152232.1611 | 2539635.7378 | 1152241.3035 | 2539637.5805 | 1152245.9442
69 | 2539631.7244 | 1152232.1611 | 2539614.6932 | 1152256.6956
70 | 2539637.5805 | 1152245.9442 | 2539643.3751 | 1152260.5372 | 2539645.1794 | 1152268.2545
71 | 2539606.0777 | 1152277.2875 | 2539612.9486 | 1152259.2087 | 2539614.6932 | 1152256.6956
72 | 2539645.1794 | 1152268.2545 | 2539647.3684 | 1152277.6175 | 2539648.2997 | 1152286.3201
73 | 2539606.0777 | 1152277.2875 | 2539603.1085 | 1152291.1025 | 2539601.8724 | 1152301.9189
74 | 2539648.2997 | 1152286.3201 | 2539648.6692 | 1152289.773
75 | 2539548.8277 | 1152301.5215 | 2539551.7646 | 1152302.9805 | 2539576.7382 | 1152322.4995
76 | 2539607.1614 | 1152403.4335 | 2539607.4574 | 1152389.3674
77 | 2539650.404 | 1152305.9837 | 2539648.6692 | 1152289.773
78 | 2539653.0043 | 1152330.283 | 2539650.404 | 1152305.9837
79 | 2539653.0043 | 1152330.283 | 2539655.3359 | 1152352.0715
80 | 2539586.0383 | 1152212.7974 | 2539584.5086 | 1152211.9578 | 2539584.5086 | 1152211.9578
81 | 2539535.5099 | 1152193.8406 | 2539543.7455 | 1152190.1336
82 | 2539586.0383 | 1152212.7974 | 2539587.3329 | 1152213.5081 | 2539587.419 | 1152213.6174
83 | 2539587.419 | 1152213.6174 | 2539593.3406 | 1152221.1406
84 | 2539597.2909 | 1152226.1593 | 2539593.3406 | 1152221.1406

## bus_geodata
| x | y | coords
0 | 2539454.7442 | 1152401.046
1 | 2539458.3941 | 1152396.0591
2 | 2539494.5109 | 1152382.5994
3 | 2539438.0824 | 1152379.9239
4 | 2539518.4554 | 1152384.0655
5 | 2539501.0057 | 1152389.3062
6 | 2539448.415 | 1152351.8942
7 | 2539447.6757 | 1152326.9024
8 | 2539569.8532 | 1152376.2827
9 | 2539504.0105 | 1152392.4091
10 | 2539597.1128 | 1152343.5688
11 | 2539570.6298 | 1152392.3829
12 | 2539509.2061 | 1152397.7708
13 | 2539443.0447 | 1152314.0957
14 | 2539491.995 | 1152334.6989
15 | 2539499.5007 | 1152415.1034
16 | 2539521.2202 | 1152417.1168
17 | 2539599.4443 | 1152323.167
18 | 2539570.3947 | 1152402.6581
19 | 2539430.2046 | 1152296.078
20 | 2539502 | 1152314.7145
21 | 2539411.7153 | 1152282.7127
22 | 2539409.7365 | 1152281.3638
23 | 2539477.7336 | 1152265.5232
24 | 2539487.0235 | 1152262.4432
25 | 2539381.8236 | 1152262.3363
26 | 2539452.8652 | 1152233.3641
27 | 2539441.9756 | 1152215.3947
28 | 2539385.6592 | 1152255.3383
29 | 2539396.9972 | 1152235.3796
30 | 2539442.6528 | 1152178.8671
31 | 2539487.0907 | 1152271.4029
32 | 2539503.4056 | 1152265.2465
33 | 2539503.5196 | 1152271.9935
34 | 2539529.9264 | 1152286.6863
35 | 2539541.6984 | 1152296.0871
36 | 2539411.0005 | 1152088.4908
37 | 2539435.0975 | 1152103.9744
38 | 2539468.5208 | 1152129.1662
39 | 2539473.5771 | 1152139.6564
40 | 2539462.3676 | 1152173.4656
41 | 2539463.889 | 1152181.2657
42 | 2539478.7816 | 1152188.2522
43 | 2539399.3052 | 1152184.6737
44 | 2539395.764 | 1152168.3098
45 | 2539395.3842 | 1152166.5548
46 | 2539536.2139 | 1152228.2099
47 | 2539564.3155 | 1152230.8135
48 | 2539576.1428 | 1152218.7567
49 | 2539574.7938 | 1152217.3917
50 | 2539600.3828 | 1152242.1035
51 | 2539584.0067 | 1152212.0583
52 | 2539558.3292 | 1152200.661
53 | 2539602.6666 | 1152261.0975
54 | 2539592.747 | 1152117.7787
55 | 2539581.4859 | 1152103.1914
56 | 2539594.2712 | 1152148.6812
57 | 2539549.5094 | 1152191.6987
58 | 2539552.7615 | 1152195.0034
59 | 2539546.1648 | 1152190.7905
60 | 2539651.7409 | 1152201.1042
61 | 2539647.4634 | 1152210.2594
62 | 2539656.5312 | 1152176.7155
63 | 2539631.7244 | 1152232.1611
64 | 2539692.2217 | 1152235.0028
65 | 2539637.5805 | 1152245.9442
66 | 2539614.6932 | 1152256.6956
67 | 2539645.1794 | 1152268.2545
68 | 2539606.0777 | 1152277.2875
69 | 2539648.2997 | 1152286.3201
70 | 2539601.8724 | 1152301.9189
71 | 2539548.8277 | 1152301.5215
72 | 2539576.7382 | 1152322.4995
73 | 2539607.1614 | 1152403.4335
74 | 2539607.4574 | 1152389.3674
75 | 2539648.6692 | 1152289.773
76 | 2539650.404 | 1152305.9837
77 | 2539653.0043 | 1152330.283
78 | 2539655.3359 | 1152352.0715
79 | 2539584.5086 | 1152211.9578
80 | 2539543.7455 | 1152190.1336
81 | 2539535.5099 | 1152193.8406
82 | 2539586.0383 | 1152212.7974
83 | 2539587.419 | 1152213.6174
84 | 2539593.3406 | 1152221.1406
85 | 2539597.2909 | 1152226.1593
86 | 2539576.1428 | 1152218.7567

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1