## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-309_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-309_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-309_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-309_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5586-309_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5586-309_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5586-309_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_5586-309_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_5586-309_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_5586-309_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5586-309_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5586-309_0_4_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_5586-309_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5586-309_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_5586-309_0_4_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_5586-309_0_4_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_5586-309_0_4_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_5586-309_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5586-309_0_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_5586-309_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5586-309_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_5586-309_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_5586-309_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5586-309_0_4_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_5586-309_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5586-309_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5586-309_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_5586-309_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_5586-309_0_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_5586-309_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_5586-309_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5586-309_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5586-309_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_5586-309_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5586-309_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5586-309_0_4_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_5586-309_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_5586-309_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_5586-309_0_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_5586-309_0_4_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_5586-309_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_5586-309_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5586-309_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5586-309_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_5586-309_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_5586-309_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_5586-309_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5586-309_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5586-309_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5586-309_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_5586-309_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_MV_625_0_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-309_0_4_load_0 | 0 | 0.017894 | 0.0044847 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-309_0_4_load_1 | 1 | 0.0041154 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-309_0_4_load_3 | 3 | 0.0098055 | 0.0024575 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-309_0_4_load_4 | 4 | 0.016403 | 0.0041109 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-309_0_4_load_23 | 6 | 0.0051672 | 0.001295 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-309_0_4_load_28 | 8 | 0.0308 | 0.0077192 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-309_0_4_load_46 | 13 | 0.0042735 | 0.001071 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-309_0_4_load_33 | 15 | 0.013032 | 0.0032662 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-309_0_4_load_47 | 16 | 0.0047032 | 0.0011787 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-309_0_4_load_22 | 21 | 0.012663 | 0.0031735 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-309_0_4_load_50 | 23 | 0.012548 | 0.0031448 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-309_0_4_load_31 | 27 | 0.022809 | 0.0057164 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-309_0_4_load_51 | 28 | 0.0099738 | 0.0024997 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-309_0_4_load_20 | 30 | 0.0066695 | 0.0016715 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-309_0_4_load_32 | 32 | 0.0052753 | 0.0013221 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-309_0_4_load_21 | 34 | 0.0080219 | 0.0020105 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-309_0_4_load_52 | 35 | 0.011549 | 0.0028944 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-309_0_4_load_44 | 36 | 0.010217 | 0.0025605 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-309_0_4_load_45 | 37 | 0.0066147 | 0.0016578 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-309_0_4_load_40 | 38 | 0.0064994 | 0.0016289 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-309_0_4_load_48 | 39 | 0.0023209 | 0.00058168 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-309_0_4_load_24 | 40 | 0.023254 | 0.005828 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-309_0_4_load_35 | 41 | 0.024402 | 0.0061158 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-309_0_4_load_25 | 42 | 0.012249 | 0.0030698 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-309_0_4_load_41 | 43 | 0.018694 | 0.0046852 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-309_0_4_load_42 | 45 | 0.010752 | 0.0026948 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-309_0_4_load_36 | 46 | 0.0066069 | 0.0016559 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-309_0_4_load_37 | 47 | 0.0073584 | 0.0018442 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-309_0_4_load_39 | 48 | 0.0066217 | 0.0016595 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-309_0_4_load_43 | 49 | 0.0072881 | 0.0018266 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-309_0_4_load_49 | 50 | 0.0029973 | 0.00075118 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-309_0_4_line_0 |  | 0 | 1 | 0.022229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-309_0_4_line_1 |  | 0 | 2 | 0.030069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-309_0_4_line_2 |  | 1 | 3 | 0.010033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-309_0_4_line_3 |  | 2 | 4 | 0.0045882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-309_0_4_line_4 |  | 2 | 5 | 0.017836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-309_0_4_line_5 |  | 3 | 6 | 0.012632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-309_0_4_line_6 |  | 5 | 7 | 0.005994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5586-309_0_4_line_7 |  | 5 | 8 | 0.021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-309_0_4_line_8 |  | 6 | 22 | 0.097251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-309_0_4_line_9 |  | 7 | 14 | 0.023082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5586-309_0_4_line_10 |  | 7 | 15 | 0.019323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-309_0_4_line_11 |  | 8 | 9 | 0.031249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-309_0_4_line_12 |  | 9 | 10 | 0.035989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-309_0_4_line_13 |  | 9 | 11 | 0.027468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-309_0_4_line_14 |  | 10 | 12 | 0.17283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-309_0_4_line_15 |  | 10 | 13 | 0.11152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5586-309_0_4_line_16 |  | 11 | 36 | 0.029465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-309_0_4_line_17 |  | 12 | 16 | 0.012676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-309_0_4_line_18 |  | 13 | 37 | 0.024001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-309_0_4_line_19 |  | 14 | 38 | 0.0038157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-309_0_4_line_20 |  | 15 | 32 | 0.007727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-309_0_4_line_21 |  | 16 | 39 | 0.024964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-309_0_4_line_22 |  | 17 | 18 | 0.031052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-309_0_4_line_23 |  | 17 | 19 | 0.060081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-309_0_4_line_24 |  | 17 | 20 | 0.050582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-309_0_4_line_25 |  | 17 | 21 | 0.034528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5586-309_0_4_line_26 |  | 18 | 35 | 0.015178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5586-309_0_4_line_27 |  | 18 | 22 | 0.062112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-309_0_4_line_28 |  | 19 | 23 | 0.029833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-309_0_4_line_29 |  | 20 | 34 | 0.033102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-309_0_4_line_30 |  | 20 | 29 | 0.022865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-309_0_4_line_31 |  | 24 | 25 | 0.20165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5586-309_0_4_line_32 |  | 24 | 26 | 0.023936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-309_0_4_line_33 |  | 24 | 27 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5586-309_0_4_line_34 |  | 25 | 28 | 0.13683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5586-309_0_4_line_35 |  | 26 | 40 | 0.0016302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-309_0_4_line_36 |  | 27 | 31 | 0.015867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-309_0_4_line_37 |  | 29 | 30 | 0.028362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-309_0_4_line_38 |  | 31 | 32 | 0.017995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-309_0_4_line_39 |  | 31 | 33 | 0.022784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-309_0_4_line_40 |  | 33 | 41 | 0.02789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-309_0_4_line_41 |  | 36 | 45 | 0.019778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-309_0_4_line_42 |  | 38 | 44 | 0.0034821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-309_0_4_line_43 |  | 39 | 50 | 0.016642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-309_0_4_line_44 |  | 40 | 42 | 0.018045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-309_0_4_line_45 |  | 43 | 44 | 0.016408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-309_0_4_line_46 |  | 44 | 46 | 0.026718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-309_0_4_line_47 |  | 45 | 49 | 0.011224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-309_0_4_line_48 |  | 46 | 47 | 0.021667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5586-309_0_4_line_49 |  | 47 | 48 | 0.0064115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-309_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 51 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2539311.6202 | 1154019.0093 | 2539306.6932 | 1154003.3682 | 2539305.0368 | 1153997.7786
1 | 2539320.5214 | 1154047.7303 | 2539316.2127 | 1154033.5884 | 2539311.6202 | 1154019.0093
2 | 2539302.1861 | 1153988.1595 | 2539305.0368 | 1153997.7786
3 | 2539320.5214 | 1154047.7303 | 2539321.8599 | 1154052.119
4 | 2539303.3305 | 1154052.4843 | 2539311.9682 | 1154050.118 | 2539320.5214 | 1154047.7303
5 | 2539298.597 | 1153976.0485 | 2539302.1861 | 1153988.1595
6 | 2539301.5694 | 1154046.7545 | 2539303.3305 | 1154052.4843
7 | 2539303.3305 | 1154052.4843 | 2539306.5273 | 1154062.8798 | 2539309.7522 | 1154073.1734
8 | 2539298.8688 | 1153885.7836 | 2539289.9172 | 1153889.7651 | 2539288.9227 | 1153909.786 | 2539288.6526 | 1153928.61 | 2539290.1785 | 1153942.1908 | 2539292.975 | 1153956.2368 | 2539297.9164 | 1153973.7519 | 2539298.597 | 1153976.0485
9 | 2539279.4667 | 1154053.6148 | 2539300.1314 | 1154047.1804 | 2539301.5694 | 1154046.7545
10 | 2539301.5694 | 1154046.7545 | 2539300.6968 | 1154043.9173 | 2539296.1114 | 1154029.7338 | 2539295.6898 | 1154028.3479
11 | 2539319.1538 | 1154102.974 | 2539316.0959 | 1154093.4219 | 2539309.7522 | 1154073.1734
12 | 2539333.2897 | 1154136.0603 | 2539327.0864 | 1154121.9486 | 2539320.2313 | 1154106.3539 | 2539319.1538 | 1154102.974
13 | 2539292.0625 | 1154107.3611 | 2539298.8801 | 1154106.325 | 2539300.7645 | 1154106.0391 | 2539305.8202 | 1154105.2766 | 2539317.6399 | 1154103.4896 | 2539319.1538 | 1154102.974
14 | 2539208.3565 | 1154198.5564 | 2539283.4378 | 1154184.6344 | 2539296.5275 | 1154181.0002 | 2539301.9918 | 1154178.9106 | 2539316.9554 | 1154173.1897 | 2539347.0752 | 1154161.0458 | 2539342.8642 | 1154153.5398 | 2539338.3324 | 1154145.4034 | 2539333.9413 | 1154137.5323 | 2539333.2897 | 1154136.0603
15 | 2539333.2897 | 1154136.0603 | 2539269.7955 | 1154147.2743 | 2539256.5088 | 1154154.9571 | 2539246.6089 | 1154159.1928 | 2539235.1676 | 1154161.9655 | 2539226.0242 | 1154162.4084
16 | 2539292.0625 | 1154107.3611 | 2539274.5039 | 1154110.6291 | 2539263.0064 | 1154112.2064
17 | 2539208.3565 | 1154198.5564 | 2539195.9096 | 1154200.9577
18 | 2539202.0512 | 1154163.573 | 2539209.3491 | 1154163.2162 | 2539226.0242 | 1154162.4084
19 | 2539279.4667 | 1154053.6148 | 2539275.8238 | 1154054.7502
20 | 2539295.6898 | 1154028.3479 | 2539293.441 | 1154020.9554
21 | 2539195.9096 | 1154200.9577 | 2539176.55 | 1154204.6927 | 2539172.2847 | 1154207.7486 | 2539172.2847 | 1154207.7486
22 | 2539349.9975 | 1153963.4095 | 2539346.5301 | 1153959.6535 | 2539340.5446 | 1153950.4089 | 2539332.9115 | 1153937.5568
23 | 2539349.9975 | 1153963.4095 | 2539359.5139 | 1153957.6326 | 2539363.6392 | 1153961.9599 | 2539367.5664 | 1153958.8297 | 2539368.5332 | 1153958.0863 | 2539383.2608 | 1153973.0124 | 2539387.0651 | 1153975.9423 | 2539395.7482 | 1153982.625
24 | 2539349.9975 | 1153963.4095 | 2539353.8295 | 1153967.5731 | 2539353.4491 | 1153975.4923 | 2539359.313 | 1153985.6053 | 2539374.3713 | 1154005.9421
25 | 2539349.9975 | 1153963.4095 | 2539330.1045 | 1153974.8831 | 2539329.7515 | 1153978.6665 | 2539332.9804 | 1153985.727
26 | 2539319.6682 | 1153945.039 | 2539332.9115 | 1153937.5568
27 | 2539298.8688 | 1153885.7836 | 2539305.2261 | 1153896.881 | 2539312.1694 | 1153909.0286 | 2539323.9022 | 1153922.9065 | 2539331.1085 | 1153934.5178 | 2539332.9115 | 1153937.5568
28 | 2539395.7482 | 1153982.625 | 2539397.0572 | 1153981.5668 | 2539419.141 | 1153964.1112
29 | 2539374.3713 | 1154005.9421 | 2539373.3491 | 1154006.5194 | 2539357.9991 | 1154015.8126 | 2539353.2236 | 1154015.4717 | 2539349.6336 | 1154007.0048
30 | 2539374.3713 | 1154005.9421 | 2539376.3003 | 1154008.5463 | 2539387.6555 | 1154024.5738
31 | 2539204.6912 | 1153948.5694 | 2539192.209 | 1153911.4645 | 2539195.7726 | 1153910.3167 | 2539197.4572 | 1153909.2324 | 2539198.3936 | 1153906.9995 | 2539198.4754 | 1153904.464 | 2539198.0254 | 1153902.4564 | 2539196.5082 | 1153899.6146 | 2539194.9902 | 1153895.928 | 2539194.9505 | 1153892.004 | 2539196.2083 | 1153890.446 | 2539202.2267 | 1153895.3322 | 2539213.8033 | 1153901.3295 | 2539224.2334 | 1153905.4707 | 2539235.526 | 1153907.6688 | 2539264.3723 | 1153912.869 | 2539268.0165 | 1153914.3885 | 2539270.709 | 1153917.3741 | 2539272.1911 | 1153919.0266 | 2539273.4173 | 1153922.694 | 2539273.8335 | 1153926.6809 | 2539274.3693 | 1153947.042 | 2539276.0577 | 1153959.2427 | 2539279.1165 | 1153971.9075
32 | 2539256.4484 | 1153979.7852 | 2539275.5692 | 1153973.1551 | 2539279.1165 | 1153971.9075
33 | 2539279.1165 | 1153971.9075 | 2539280.4375 | 1153977.3638 | 2539283.8544 | 1153988.4807
34 | 2539204.6912 | 1153948.5694 | 2539210.0774 | 1153955.4298 | 2539210.0669 | 1153964.2457 | 2539208.2227 | 1153975.3371 | 2539205.0969 | 1153981.8389 | 2539195.489 | 1153996.7552 | 2539187.6914 | 1154007.0842 | 2539178.0178 | 1154020.0557 | 2539171.0954 | 1154027.4075 | 2539160.4719 | 1154035.2082 | 2539153.1072 | 1154039.7963 | 2539144.1154 | 1154045.835 | 2539137.6675 | 1154049.28 | 2539134.8542 | 1154051.938
35 | 2539256.4484 | 1153979.7852 | 2539254.8957 | 1153980.2821
36 | 2539288.3833 | 1154003.6866 | 2539286.9742 | 1153998.6315 | 2539283.8544 | 1153988.4807
37 | 2539387.6555 | 1154024.5738 | 2539362.5474 | 1154037.7641
38 | 2539288.3833 | 1154003.6866 | 2539290.5485 | 1154011.4467 | 2539293.441 | 1154020.9554
39 | 2539266.484 | 1154010.1892 | 2539287.052 | 1154004.0447 | 2539288.3833 | 1154003.6866
40 | 2539266.484 | 1154010.1892 | 2539268.3017 | 1154018.4864 | 2539266.5274 | 1154022.0729 | 2539251.8741 | 1154026.793
41 | 2539243.5247 | 1154115.5325 | 2539251.7575 | 1154113.7495 | 2539263.0064 | 1154112.2064
42 | 2539272.4995 | 1154055.7864 | 2539275.8238 | 1154054.7502
43 | 2539172.2847 | 1154207.7486 | 2539166.6959 | 1154223.4243
44 | 2539246.4039 | 1153990.5939 | 2539244.6103 | 1153983.5736 | 2539254.8957 | 1153980.2821
45 | 2539272.4995 | 1154055.7864 | 2539276.847 | 1154071.6084
46 | 2539272.4995 | 1154055.7864 | 2539246.9922 | 1154063.7372
47 | 2539243.5247 | 1154115.5325 | 2539232.5549 | 1154117.9082
48 | 2539246.9922 | 1154063.7372 | 2539240.3937 | 1154065.794 | 2539239.2707 | 1154070.8192 | 2539230.2328 | 1154074.0754
49 | 2539227.4396 | 1154079.8215 | 2539230.159 | 1154074.102 | 2539230.2328 | 1154074.0754

## bus_geodata
| x | y | coords
0 | 2539311.6202 | 1154019.0093
1 | 2539305.0368 | 1153997.7786
2 | 2539320.5214 | 1154047.7303
3 | 2539302.1861 | 1153988.1596
4 | 2539321.8599 | 1154052.119
5 | 2539303.3305 | 1154052.4843
6 | 2539298.597 | 1153976.0485
7 | 2539301.5694 | 1154046.7545
8 | 2539309.7522 | 1154073.1734
9 | 2539319.1538 | 1154102.974
10 | 2539333.2897 | 1154136.0603
11 | 2539292.0625 | 1154107.3611
12 | 2539208.3565 | 1154198.5564
13 | 2539226.0242 | 1154162.4084
14 | 2539279.4667 | 1154053.6148
15 | 2539295.6898 | 1154028.3479
16 | 2539195.9096 | 1154200.9577
17 | 2539349.9975 | 1153963.4095
18 | 2539332.9115 | 1153937.5568
19 | 2539395.7482 | 1153982.6251
20 | 2539374.3713 | 1154005.9421
21 | 2539332.9804 | 1153985.727
22 | 2539298.8688 | 1153885.7836
23 | 2539419.141 | 1153964.1112
24 | 2539279.1165 | 1153971.9075
25 | 2539204.6912 | 1153948.5694
26 | 2539256.4484 | 1153979.7852
27 | 2539283.8544 | 1153988.4807
28 | 2539134.8542 | 1154051.938
29 | 2539387.6555 | 1154024.5738
30 | 2539362.5474 | 1154037.7641
31 | 2539288.3833 | 1154003.6866
32 | 2539293.441 | 1154020.9554
33 | 2539266.484 | 1154010.1892
34 | 2539349.6336 | 1154007.0048
35 | 2539319.6682 | 1153945.039
36 | 2539263.0064 | 1154112.2064
37 | 2539202.0512 | 1154163.573
38 | 2539275.8238 | 1154054.7502
39 | 2539172.2847 | 1154207.7486
40 | 2539254.8957 | 1153980.2821
41 | 2539251.8741 | 1154026.793
42 | 2539246.4039 | 1153990.5939
43 | 2539276.847 | 1154071.6084
44 | 2539272.4995 | 1154055.7864
45 | 2539243.5247 | 1154115.5325
46 | 2539246.9922 | 1154063.7372
47 | 2539230.2328 | 1154074.0754
48 | 2539227.4396 | 1154079.8215
49 | 2539232.5549 | 1154117.9082
50 | 2539166.6959 | 1154223.4243
51 | 2539272.4995 | 1154055.7864

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1