## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-315_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-315_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-315_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-315_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5586-315_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5586-315_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_5586-315_0_4_node_100 | 0.4 | n |  | TRUE
7 | bus_LV_5586-315_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_5586-315_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5586-315_0_4_node_98 | 0.4 | n |  | TRUE
10 | bus_LV_5586-315_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5586-315_0_4_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_5586-315_0_4_node_102 | 0.4 | n |  | TRUE
13 | bus_LV_5586-315_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5586-315_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_5586-315_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5586-315_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5586-315_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5586-315_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5586-315_0_4_node_99 | 0.4 | n |  | TRUE
20 | bus_LV_5586-315_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5586-315_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5586-315_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5586-315_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5586-315_0_4_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_5586-315_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5586-315_0_4_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_5586-315_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_5586-315_0_4_node_85 | 0.4 | n |  | TRUE
29 | bus_LV_5586-315_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5586-315_0_4_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_5586-315_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5586-315_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5586-315_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5586-315_0_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_5586-315_0_4_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_5586-315_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5586-315_0_4_node_89 | 0.4 | n |  | TRUE
38 | bus_LV_5586-315_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5586-315_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5586-315_0_4_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_5586-315_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5586-315_0_4_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_5586-315_0_4_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_5586-315_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_5586-315_0_4_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_5586-315_0_4_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_5586-315_0_4_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_5586-315_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5586-315_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5586-315_0_4_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_5586-315_0_4_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_5586-315_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_5586-315_0_4_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_5586-315_0_4_node_17 | 0.4 | n |  | TRUE
55 | bus_LV_5586-315_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_5586-315_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_5586-315_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_5586-315_0_4_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_5586-315_0_4_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_5586-315_0_4_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_5586-315_0_4_node_87 | 0.4 | n |  | TRUE
62 | bus_LV_5586-315_0_4_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_5586-315_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_5586-315_0_4_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_5586-315_0_4_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_5586-315_0_4_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_5586-315_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_5586-315_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_5586-315_0_4_node_95 | 0.4 | n |  | TRUE
70 | bus_LV_5586-315_0_4_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_5586-315_0_4_node_40 | 0.4 | n |  | TRUE
72 | bus_LV_5586-315_0_4_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_5586-315_0_4_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_5586-315_0_4_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_5586-315_0_4_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_5586-315_0_4_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_5586-315_0_4_node_44 | 0.4 | n |  | TRUE
78 | bus_LV_5586-315_0_4_node_45 | 0.4 | n |  | TRUE
79 | bus_LV_5586-315_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_5586-315_0_4_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_5586-315_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_5586-315_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_5586-315_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_5586-315_0_4_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_5586-315_0_4_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_5586-315_0_4_node_57 | 0.4 | n |  | TRUE
87 | bus_LV_5586-315_0_4_node_58 | 0.4 | n |  | TRUE
88 | bus_LV_5586-315_0_4_node_59 | 0.4 | n |  | TRUE
89 | bus_LV_5586-315_0_4_node_60 | 0.4 | n |  | TRUE
90 | bus_LV_5586-315_0_4_node_63 | 0.4 | n |  | TRUE
91 | bus_LV_5586-315_0_4_node_61 | 0.4 | n |  | TRUE
92 | bus_LV_5586-315_0_4_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_5586-315_0_4_node_62 | 0.4 | n |  | TRUE
94 | bus_LV_5586-315_0_4_node_64 | 0.4 | n |  | TRUE
95 | bus_LV_5586-315_0_4_node_65 | 0.4 | n |  | TRUE
96 | bus_LV_5586-315_0_4_node_67 | 0.4 | n |  | TRUE
97 | bus_LV_5586-315_0_4_node_101 | 0.4 | n |  | TRUE
98 | bus_LV_5586-315_0_4_node_78 | 0.4 | n |  | TRUE
99 | bus_LV_5586-315_0_4_node_79 | 0.4 | n |  | TRUE
100 | bus_LV_5586-315_0_4_node_74 | 0.4 | n |  | TRUE
101 | bus_MV_625_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-315_0_4_load_0 | 0 | 0.0012906 | 0.00032345 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-315_0_4_load_1 | 1 | 0.0020381 | 0.0005108 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-315_0_4_load_2 | 2 | 0.0014624 | 0.00036651 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-315_0_4_load_3 | 3 | 0.0020989 | 0.00052603 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-315_0_4_load_100 | 6 | 0.0021101 | 0.00052884 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-315_0_4_load_98 | 9 | 0.0030938 | 0.00077539 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-315_0_4_load_102 | 12 | 0.014704 | 0.0036851 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-315_0_4_load_5 | 13 | 0.0031168 | 0.00078116 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-315_0_4_load_6 | 14 | 0.0024291 | 0.00060878 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-315_0_4_load_8 | 16 | 0.0029828 | 0.00074757 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-315_0_4_load_9 | 17 | 0.0047724 | 0.0011961 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-315_0_4_load_14 | 18 | 0.00090148 | 0.00022593 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-315_0_4_load_99 | 19 | 0.004318 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-315_0_4_load_19 | 22 | 0.0024702 | 0.00061908 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-315_0_4_load_16 | 23 | 0.0023937 | 0.00059992 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-315_0_4_load_93 | 24 | 0.077411 | 0.019401 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-315_0_4_load_85 | 28 | 0.019958 | 0.0050019 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-315_0_4_load_80 | 30 | 0.07918 | 0.019844 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-315_0_4_load_92 | 35 | 0.053565 | 0.013425 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-315_0_4_load_89 | 37 | 0.0014232 | 0.00035668 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-315_0_4_load_76 | 40 | 0.0026453 | 0.00066297 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-315_0_4_load_66 | 42 | 0.0016514 | 0.00041388 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-315_0_4_load_75 | 43 | 0.0014163 | 0.00035497 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-315_0_4_load_54 | 45 | 0.024012 | 0.006018 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-315_0_4_load_96 | 47 | 0.0013982 | 0.00035043 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-315_0_4_load_90 | 50 | 0.0066902 | 0.0016767 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-315_0_4_load_91 | 51 | 0.0073355 | 0.0018385 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-315_0_4_load_88 | 53 | 0.0065482 | 0.0016411 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-315_0_4_load_17 | 54 | 0.0065344 | 0.0016377 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-315_0_4_load_37 | 57 | 0.0089769 | 0.0022498 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-315_0_4_load_81 | 60 | 0.0065944 | 0.0016527 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-315_0_4_load_87 | 61 | 0.026079 | 0.0065359 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-315_0_4_load_86 | 62 | 0.0095411 | 0.0023912 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-315_0_4_load_103 | 64 | 0.012458 | 0.0031222 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-315_0_4_load_73 | 66 | 0.001526 | 0.00038244 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-315_0_4_load_53 | 67 | 0.015855 | 0.0039737 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-315_0_4_load_50 | 68 | 0.0020666 | 0.00051795 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-315_0_4_load_95 | 69 | 0.0014899 | 0.00037342 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5586-315_0_4_load_49 | 72 | 0.0066279 | 0.0016611 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5586-315_0_4_load_47 | 73 | 0.0062206 | 0.001559 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5586-315_0_4_load_46 | 74 | 0.0032905 | 0.00082467 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5586-315_0_4_load_43 | 75 | 0.0012782 | 0.00032034 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5586-315_0_4_load_48 | 76 | 0.006866 | 0.0017208 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5586-315_0_4_load_44 | 77 | 0.0021497 | 0.00053877 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5586-315_0_4_load_69 | 80 | 0.0034034 | 0.00085296 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5586-315_0_4_load_71 | 82 | 0.0033394 | 0.00083693 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5586-315_0_4_load_51 | 84 | 0.0020622 | 0.00051684 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5586-315_0_4_load_94 | 85 | 0.027316 | 0.0068461 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5586-315_0_4_load_57 | 86 | 0.0031251 | 0.00078321 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5586-315_0_4_load_63 | 90 | 0.0018394 | 0.00046099 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5586-315_0_4_load_61 | 91 | 0.0014168 | 0.00035509 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5586-315_0_4_load_97 | 92 | 0.0021207 | 0.00053149 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5586-315_0_4_load_64 | 94 | 0.0018479 | 0.00046314 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5586-315_0_4_load_65 | 95 | 0.0027994 | 0.00070159 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5586-315_0_4_load_67 | 96 | 0.0018534 | 0.0004645 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5586-315_0_4_load_101 | 97 | 0.0024174 | 0.00060585 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5586-315_0_4_load_79 | 99 | 0.0019088 | 0.0004784 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5586-315_0_4_load_74 | 100 | 0.0023562 | 0.00059052 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-315_0_4_line_0 |  | 0 | 1 | 0.031092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-315_0_4_line_1 |  | 0 | 2 | 0.0014308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-315_0_4_line_2 |  | 1 | 3 | 0.011383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-315_0_4_line_3 |  | 3 | 4 | 0.011515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-315_0_4_line_4 |  | 4 | 5 | 0.034828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-315_0_4_line_5 |  | 5 | 6 | 0.024111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-315_0_4_line_6 |  | 5 | 7 | 0.014048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5586-315_0_4_line_7 |  | 7 | 11 | 0.021118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-315_0_4_line_8 |  | 7 | 12 | 0.030918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-315_0_4_line_9 |  | 8 | 9 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5586-315_0_4_line_10 |  | 8 | 10 | 0.006794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-315_0_4_line_11 |  | 10 | 19 | 0.012508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-315_0_4_line_12 |  | 10 | 15 | 0.045138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-315_0_4_line_13 |  | 11 | 24 | 0.040026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-315_0_4_line_14 |  | 11 | 21 | 0.038335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-315_0_4_line_15 |  | 13 | 14 | 0.010846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5586-315_0_4_line_16 |  | 13 | 15 | 0.072782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-315_0_4_line_17 |  | 14 | 16 | 0.030259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-315_0_4_line_18 |  | 15 | 17 | 0.015385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-315_0_4_line_19 |  | 16 | 18 | 0.0075786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-315_0_4_line_20 |  | 18 | 20 | 0.029034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-315_0_4_line_21 |  | 20 | 23 | 0.0093592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-315_0_4_line_22 |  | 20 | 54 | 0.0353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-315_0_4_line_23 |  | 21 | 22 | 0.022385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-315_0_4_line_24 |  | 21 | 23 | 0.028523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-315_0_4_line_25 |  | 24 | 26 | 0.0057127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5586-315_0_4_line_26 |  | 25 | 26 | 0.055846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5586-315_0_4_line_27 |  | 25 | 27 | 0.06568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5586-315_0_4_line_28 |  | 25 | 28 | 0.022867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-315_0_4_line_29 |  | 27 | 44 | 0.033708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-315_0_4_line_30 |  | 27 | 45 | 0.018612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-315_0_4_line_31 |  | 27 | 29 | 0.020889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5586-315_0_4_line_32 |  | 28 | 62 | 0.0081775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-315_0_4_line_33 |  | 29 | 30 | 0.011548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5586-315_0_4_line_34 |  | 30 | 31 | 0.041709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5586-315_0_4_line_35 |  | 31 | 32 | 0.08695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-315_0_4_line_36 |  | 32 | 36 | 0.024859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-315_0_4_line_37 |  | 32 | 35 | 0.020018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-315_0_4_line_38 |  | 33 | 34 | 0.046317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-315_0_4_line_39 |  | 33 | 35 | 0.036735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-315_0_4_line_40 |  | 34 | 63 | 0.26905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-315_0_4_line_41 |  | 34 | 51 | 0.046237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-315_0_4_line_42 |  | 36 | 37 | 0.026219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-315_0_4_line_43 |  | 37 | 52 | 0.026801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-315_0_4_line_44 |  | 38 | 39 | 0.039672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-315_0_4_line_45 |  | 38 | 40 | 0.022183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-315_0_4_line_46 |  | 39 | 43 | 0.021916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-315_0_4_line_47 |  | 39 | 41 | 0.026359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-315_0_4_line_48 |  | 40 | 65 | 0.0018701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5586-315_0_4_line_49 |  | 41 | 42 | 0.0040598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5586-315_0_4_line_50 |  | 43 | 66 | 0.0084603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5586-315_0_4_line_51 |  | 44 | 46 | 0.037771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5586-315_0_4_line_52 |  | 44 | 47 | 0.0021404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5586-315_0_4_line_53 |  | 46 | 67 | 0.021237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5586-315_0_4_line_54 |  | 46 | 68 | 0.0052578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5586-315_0_4_line_55 |  | 47 | 69 | 0.018867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5586-315_0_4_line_56 |  | 48 | 49 | 0.00749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5586-315_0_4_line_57 |  | 48 | 50 | 0.033109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5586-315_0_4_line_58 |  | 49 | 51 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5586-315_0_4_line_59 |  | 52 | 53 | 0.017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5586-315_0_4_line_60 |  | 54 | 55 | 0.011138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5586-315_0_4_line_61 |  | 55 | 56 | 0.042595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5586-315_0_4_line_62 |  | 55 | 57 | 0.027979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5586-315_0_4_line_63 |  | 56 | 74 | 0.012924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5586-315_0_4_line_64 |  | 56 | 75 | 0.027342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5586-315_0_4_line_65 |  | 57 | 70 | 0.011697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5586-315_0_4_line_66 |  | 58 | 59 | 0.03552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5586-315_0_4_line_67 |  | 58 | 60 | 0.017226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5586-315_0_4_line_68 |  | 59 | 61 | 0.028771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5586-315_0_4_line_69 |  | 59 | 62 | 0.021156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5586-315_0_4_line_70 |  | 63 | 64 | 0.059609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5586-315_0_4_line_71 |  | 65 | 81 | 0.044158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5586-315_0_4_line_72 |  | 66 | 100 | 0.0062454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5586-315_0_4_line_73 |  | 67 | 85 | 0.006662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5586-315_0_4_line_74 |  | 68 | 84 | 0.0047593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5586-315_0_4_line_75 |  | 69 | 89 | 0.010934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5586-315_0_4_line_76 |  | 70 | 71 | 0.025407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5586-315_0_4_line_77 |  | 71 | 72 | 0.008026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5586-315_0_4_line_78 |  | 71 | 73 | 0.017249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5586-315_0_4_line_79 |  | 73 | 76 | 0.011106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5586-315_0_4_line_80 |  | 75 | 77 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5586-315_0_4_line_81 |  | 77 | 78 | 0.013343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5586-315_0_4_line_82 |  | 78 | 79 | 0.023225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5586-315_0_4_line_83 |  | 78 | 80 | 0.013928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5586-315_0_4_line_84 |  | 79 | 81 | 0.03852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5586-315_0_4_line_85 |  | 79 | 82 | 0.026726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5586-315_0_4_line_86 |  | 80 | 83 | 0.011521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5586-315_0_4_line_87 |  | 81 | 97 | 0.039697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5586-315_0_4_line_88 |  | 81 | 98 | 0.042338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5586-315_0_4_line_89 |  | 83 | 96 | 0.024711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5586-315_0_4_line_90 |  | 86 | 87 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5586-315_0_4_line_91 |  | 87 | 88 | 0.023042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5586-315_0_4_line_92 |  | 87 | 89 | 0.00108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5586-315_0_4_line_93 |  | 88 | 90 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5586-315_0_4_line_94 |  | 88 | 91 | 0.00633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5586-315_0_4_line_95 |  | 89 | 92 | 0.020647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5586-315_0_4_line_96 |  | 91 | 93 | 0.011608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5586-315_0_4_line_97 |  | 93 | 94 | 0.014625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5586-315_0_4_line_98 |  | 93 | 95 | 0.016625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5586-315_0_4_line_99 |  | 98 | 99 | 0.024296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-315_0_4_trafo_80 | 0.63 MVA 20/0.4 kV | 101 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2539950.7652 | 1153310.8101 | 2539943.69 | 1153316.7326 | 2539933.8312 | 1153320.6665 | 2539923.2187 | 1153324.4004
1 | 2539951.8623 | 1153309.8917 | 2539950.7652 | 1153310.8101
2 | 2539923.2187 | 1153324.4004 | 2539914.9686 | 1153327.3031 | 2539912.5481 | 1153328.3507
3 | 2539901.9809 | 1153332.9248 | 2539912.5481 | 1153328.3507
4 | 2539901.9809 | 1153332.9248 | 2539901.0329 | 1153350.9107 | 2539902.8284 | 1153353.2162 | 2539911.3628 | 1153364.1812
5 | 2539911.3628 | 1153364.1812 | 2539915.3222 | 1153361.1289 | 2539922.9247 | 1153354.8606 | 2539930.1322 | 1153348.9854
6 | 2539911.3628 | 1153364.1812 | 2539917.6899 | 1153372.3113 | 2539914.5569 | 1153374.3659
7 | 2539919.8699 | 1153390.0546 | 2539924.1368 | 1153387.0659 | 2539923.0798 | 1153385.7202 | 2539914.5569 | 1153374.3659
8 | 2539886.7254 | 1153387.9626 | 2539913.0551 | 1153375.3481 | 2539914.5569 | 1153374.3659
9 | 2539944.4594 | 1153255.5363 | 2539944.4421 | 1153261.4841 | 2539942.9372 | 1153266.7576 | 2539939.6891 | 1153274.194
10 | 2539950.7092 | 1153258.242 | 2539944.4594 | 1153255.5363
11 | 2539950.7092 | 1153258.242 | 2539947.7769 | 1153270.4001
12 | 2539950.7092 | 1153258.242 | 2539984.5551 | 1153272.8786 | 2539992.1381 | 1153276.1602
13 | 2539919.8699 | 1153390.0546 | 2539928.7962 | 1153402.6166 | 2539935.7848 | 1153411.6961 | 2539925.7397 | 1153420.1941
14 | 2539919.8699 | 1153390.0546 | 2539924.1368 | 1153387.0659 | 2539927.4056 | 1153384.7875 | 2539941.2254 | 1153402.5368 | 2539943.7786 | 1153401.5886 | 2539947.6306 | 1153400.8497
15 | 2540014.6576 | 1153323.9965 | 2540013.9853 | 1153325.5688 | 2540010.2976 | 1153333.9276
16 | 2539992.1381 | 1153276.1602 | 2540024.8434 | 1153290.3081 | 2540027.129 | 1153292.5198 | 2540026.6567 | 1153295.9375 | 2540014.6576 | 1153323.9965
17 | 2539997.135 | 1153361.1574 | 2540004.8765 | 1153346.2152 | 2540010.2976 | 1153333.9276
18 | 2539992.1381 | 1153276.1602 | 2539991.3401 | 1153291.5209
19 | 2539997.135 | 1153361.1574 | 2539996.7014 | 1153361.9942 | 2539997.2637 | 1153364.5122 | 2539995.7721 | 1153368.2841
20 | 2539985.095 | 1153395.2836 | 2539995.7721 | 1153368.2841
21 | 2539985.095 | 1153395.2836 | 2539976.8123 | 1153396.4447 | 2539975.8265 | 1153396.5835
22 | 2539985.095 | 1153395.2836 | 2540000.5954 | 1153393.1166 | 2540020.055 | 1153390.3992
23 | 2539947.6306 | 1153400.8497 | 2539946.992 | 1153396.8317 | 2539944.7556 | 1153391.8624 | 2539940.7617 | 1153387.6223 | 2539937.2363 | 1153381.5259
24 | 2539947.6306 | 1153400.8497 | 2539953.0907 | 1153399.7834 | 2539975.8265 | 1153396.5835
25 | 2539929.2177 | 1153423.2791 | 2539925.0798 | 1153420.7524 | 2539925.7397 | 1153420.1941
26 | 2539929.2177 | 1153423.2791 | 2539930.322 | 1153423.9907 | 2539934.7526 | 1153428.1709 | 2539934.8969 | 1153431.0932 | 2539931.7747 | 1153434.9932 | 2539937.4203 | 1153443.2746 | 2539940.5418 | 1153452.3594 | 2539939.5486 | 1153455.0819 | 2539934.8879 | 1153458.5859 | 2539932.6365 | 1153470.5371
27 | 2539932.6365 | 1153470.5371 | 2539938.1901 | 1153469.6255 | 2539943.9856 | 1153469.89 | 2539970.695 | 1153452.2915 | 2539973.9049 | 1153450.2583 | 2539976.3066 | 1153448.7335 | 2539981.2495 | 1153455.0431 | 2539985.9359 | 1153461.0329
28 | 2539932.6365 | 1153470.5371 | 2539917.1019 | 1153473.1048 | 2539911.1776 | 1153477.0573
29 | 2539985.9359 | 1153461.0329 | 2539992.8684 | 1153469.8796 | 2540001.8607 | 1153466.0322 | 2540014.529 | 1153465.3276
30 | 2539985.9359 | 1153461.0329 | 2539988.8645 | 1153456.1788 | 2540000.5745 | 1153450.6648
31 | 2539970.7966 | 1153463.2297 | 2539974.9433 | 1153459.7309 | 2539978.9265 | 1153456.7673 | 2539981.2495 | 1153455.0431 | 2539985.9359 | 1153461.0329
32 | 2539911.1776 | 1153477.0573 | 2539904.3751 | 1153481.5957
33 | 2539970.7966 | 1153463.2297 | 2539961.9707 | 1153470.6774
34 | 2539950.4665 | 1153498.0293 | 2539946.8231 | 1153495.8423 | 2539942.4456 | 1153489.2936 | 2539942.3266 | 1153485.0703 | 2539944.978 | 1153480.8971 | 2539949.5007 | 1153478.9398 | 2539952.5495 | 1153475.3741 | 2539957.2087 | 1153471.7256 | 2539961.9707 | 1153470.6774
35 | 2539950.4665 | 1153498.0293 | 2539943.9899 | 1153527.8768 | 2539944.1579 | 1153529.3314 | 2539945.2549 | 1153531.6217 | 2539956.689 | 1153543.3249 | 2539958.2577 | 1153545.9773 | 2539957.2612 | 1153553.747 | 2539959.5445 | 1153578.7711
36 | 2539948.8433 | 1153595.0868 | 2539955.5374 | 1153591.618 | 2539960.5112 | 1153591.0458 | 2539959.5445 | 1153578.7711
37 | 2539959.5445 | 1153578.7711 | 2539943.9883 | 1153579.916 | 2539939.722 | 1153581.0715
38 | 2539875.9967 | 1153569.4567 | 2539880.7059 | 1153566.2079 | 2539920.4054 | 1153557.1505
39 | 2539920.4054 | 1153557.1505 | 2539925.3469 | 1153576.367 | 2539933.291 | 1153582.8133 | 2539939.722 | 1153581.0715
40 | 2539787.1251 | 1153551.8368 | 2539769.7121 | 1153572.8893 | 2539766.5431 | 1153576.6897 | 2539762.9641 | 1153575.5695 | 2539759.1589 | 1153577.1418 | 2539742.6752 | 1153597.4958 | 2539734.0887 | 1153607.3427 | 2539733.3006 | 1153608.3289 | 2539737.5708 | 1153611.0431 | 2539744.1031 | 1153615.1688 | 2539748.7079 | 1153617.5906 | 2539761.6969 | 1153624.4196 | 2539766.7683 | 1153626.7034 | 2539783.8628 | 1153634.3696 | 2539787.7756 | 1153635.8867 | 2539792.3664 | 1153637.6751 | 2539804.1004 | 1153642.5491 | 2539809.6322 | 1153644.0723 | 2539810.2429 | 1153636.8734 | 2539815.4762 | 1153623.1469 | 2539838.6673 | 1153596.8116 | 2539857.7501 | 1153580.0672 | 2539870.706 | 1153570.5547 | 2539875.9967 | 1153569.4567
41 | 2539875.9967 | 1153569.4567 | 2539875.3324 | 1153573.61 | 2539882.6763 | 1153599.0281 | 2539888.2655 | 1153601.6958 | 2539889.1685 | 1153603.7546 | 2539888.2513 | 1153606.4096 | 2539884.2472 | 1153608.0394
42 | 2539948.8433 | 1153595.0868 | 2539949.2414 | 1153603.4429 | 2539956.9521 | 1153603.4214 | 2539956.8787 | 1153613.5635
43 | 2539960.4933 | 1153637.6267 | 2539956.7138 | 1153636.386 | 2539956.8787 | 1153613.5635
44 | 2540122.4455 | 1153552.2985 | 2540110.4148 | 1153546.1262 | 2540087.1851 | 1153534.1178
45 | 2540122.4455 | 1153552.2985 | 2540121.6514 | 1153530.1297
46 | 2540087.1851 | 1153534.1178 | 2540090.0131 | 1153529.1759 | 2540090.4951 | 1153525.9693 | 2540088.5543 | 1153519.8521 | 2540087.4617 | 1153513.3817 | 2540087.4617 | 1153513.3817
47 | 2540063.7163 | 1153521.9897 | 2540087.1851 | 1153534.1178
48 | 2540121.5845 | 1153528.2608 | 2540121.6514 | 1153530.1297
49 | 2540063.7163 | 1153521.9897 | 2540060.1088 | 1153520.1275
50 | 2540094.3056 | 1153510.3753 | 2540089.0605 | 1153510.5976 | 2540087.4617 | 1153513.3817
51 | 2540009.0084 | 1153428.8186 | 2540012.1206 | 1153432.3672 | 2540013.2124 | 1153447.1976 | 2540014.529 | 1153465.3276
52 | 2540014.529 | 1153465.3276 | 2540016.6662 | 1153465.2094
53 | 2540009.0084 | 1153428.8186 | 2540000.8843 | 1153425.1087 | 2539992.4958 | 1153424.8924 | 2539988.8551 | 1153426.3319
54 | 2540009.0084 | 1153428.8186 | 2540013.6019 | 1153426.2602 | 2540013.6019 | 1153426.2602
55 | 2540035.5046 | 1153464.1677 | 2540016.6662 | 1153465.2094
56 | 2539888.0587 | 1153622.4313 | 2539895.5702 | 1153622.4451
57 | 2539895.5702 | 1153622.4451 | 2539908.9828 | 1153622.5444 | 2539925.1329 | 1153622.494 | 2539925.1454 | 1153626.0403
58 | 2539888.0587 | 1153622.4313 | 2539884.2472 | 1153608.0394
59 | 2539960.4933 | 1153637.6267 | 2539970.2152 | 1153630.7926 | 2539975.9345 | 1153630.7081
60 | 2540030.2375 | 1153386.395 | 2540027.0066 | 1153388.6395 | 2540023.1451 | 1153389.9676 | 2540020.055 | 1153390.3992
61 | 2540030.2375 | 1153386.395 | 2540034.6685 | 1153389.8526 | 2540049.6997 | 1153392.9488 | 2540059.9657 | 1153396.7707 | 2540068.9712 | 1153402.6841
62 | 2540030.2375 | 1153386.395 | 2540032.8485 | 1153383.5451 | 2540042.0188 | 1153361.243
63 | 2540068.9712 | 1153402.6841 | 2540068.33 | 1153406.0923 | 2540066.7967 | 1153415.423
64 | 2540068.9712 | 1153402.6841 | 2540090.182 | 1153419.9375
65 | 2540046.4671 | 1153350.4248 | 2540042.0188 | 1153361.243
66 | 2539861.396 | 1153501.2549 | 2539868.7669 | 1153496.4007 | 2539870.9482 | 1153498.1687 | 2539884.603 | 1153489.4719 | 2539888.8717 | 1153495.8771
67 | 2539861.396 | 1153501.2549 | 2539852.1266 | 1153507.3064 | 2539851.4934 | 1153509.9698 | 2539848.5257 | 1153511.667
68 | 2539888.8717 | 1153495.8771 | 2539883.9384 | 1153503.5639 | 2539881.6937 | 1153523.0747
69 | 2539888.8717 | 1153495.8771 | 2539900.3034 | 1153484.3121 | 2539904.3751 | 1153481.5957
70 | 2539829.9041 | 1153554.5543 | 2539823.0032 | 1153548.8759 | 2539812.4816 | 1153540.2099 | 2539803.1825 | 1153532.5656 | 2539787.1251 | 1153551.8368
71 | 2540120.0167 | 1153484.1304 | 2540120.6035 | 1153500.6557 | 2540121.5845 | 1153528.2608
72 | 2540094.3056 | 1153510.3753 | 2540100.5454 | 1153510.1108
73 | 2539982.6598 | 1153428.7816 | 2539988.8551 | 1153426.3319
74 | 2540013.6019 | 1153426.2602 | 2540018.3535 | 1153425.9919
75 | 2540046.4222 | 1153463.564 | 2540035.5046 | 1153464.1677
76 | 2540046.4671 | 1153350.4248 | 2540052.2306 | 1153352.0793 | 2540067.2895 | 1153356.3981 | 2540071.0326 | 1153356.2719
77 | 2540071.0326 | 1153356.2719 | 2540072.4222 | 1153352.5115 | 2540073.9229 | 1153348.7853
78 | 2540071.0326 | 1153356.2719 | 2540069.8232 | 1153358.8742 | 2540067.6233 | 1153366.0222 | 2540064.8724 | 1153372.3509
79 | 2540060.4452 | 1153382.536 | 2540064.8724 | 1153372.3509
80 | 2540090.182 | 1153419.9375 | 2540090.182 | 1153419.9375 | 2540098.742 | 1153422.7315 | 2540104.472 | 1153422.6443
81 | 2540117.8136 | 1153422.4413 | 2540104.472 | 1153422.6443
82 | 2540117.8136 | 1153422.4413 | 2540118.6434 | 1153445.6456
83 | 2540117.8136 | 1153422.4413 | 2540131.7402 | 1153422.2295
84 | 2540118.6434 | 1153445.6456 | 2540120.0167 | 1153484.1304
85 | 2540118.6434 | 1153445.6456 | 2540125.4309 | 1153445.3556 | 2540145.3528 | 1153444.7072
86 | 2540143.2603 | 1153422.0543 | 2540131.7402 | 1153422.2295
87 | 2540120.0167 | 1153484.1304 | 2540124.2024 | 1153479.9198 | 2540129.3531 | 1153476.2998 | 2540135.7583 | 1153475.38 | 2540156.8061 | 1153474.003
88 | 2540120.0167 | 1153484.1304 | 2540120.6035 | 1153500.6557 | 2540124.9095 | 1153498.5116 | 2540130.239 | 1153496.6687 | 2540145.5922 | 1153496.6936
89 | 2540143.2603 | 1153422.0543 | 2540142.5965 | 1153397.3519
90 | 2540047.5035 | 1153463.5087 | 2540046.4098 | 1153447.8598
91 | 2540047.5035 | 1153463.5087 | 2540070.578 | 1153462.2335
92 | 2540046.4222 | 1153463.564 | 2540047.5035 | 1153463.5087
93 | 2540070.578 | 1153462.2335 | 2540070.9521 | 1153465.1202 | 2540071.6683 | 1153476.9195
94 | 2540070.578 | 1153462.2335 | 2540076.8982 | 1153461.8814
95 | 2540046.4222 | 1153463.564 | 2540046.9721 | 1153467.1493 | 2540047.6175 | 1153484.1521
96 | 2540087.9447 | 1153463.3388 | 2540084.918 | 1153461.4346 | 2540076.8982 | 1153461.8814
97 | 2540087.9447 | 1153463.3388 | 2540090.195 | 1153462.0156 | 2540100.7797 | 1153456.2626
98 | 2540097.495 | 1153476.962 | 2540087.9447 | 1153463.3388
99 | 2540145.5922 | 1153496.6936 | 2540148.6676 | 1153500.4094 | 2540155.8603 | 1153505.3738 | 2540159.8424 | 1153506.1457 | 2540166.5089 | 1153505.7774

## bus_geodata
| x | y | coords
0 | 2539950.7652 | 1153310.8101
1 | 2539923.2187 | 1153324.4004
2 | 2539951.8623 | 1153309.8917
3 | 2539912.5481 | 1153328.3507
4 | 2539901.9809 | 1153332.9248
5 | 2539911.3628 | 1153364.1812
6 | 2539930.1322 | 1153348.9854
7 | 2539914.5569 | 1153374.3659
8 | 2539944.4594 | 1153255.5363
9 | 2539939.6891 | 1153274.194
10 | 2539950.7092 | 1153258.242
11 | 2539919.8699 | 1153390.0546
12 | 2539886.7254 | 1153387.9626
13 | 2540014.6576 | 1153323.9965
14 | 2540010.2976 | 1153333.9276
15 | 2539992.1381 | 1153276.1602
16 | 2539997.135 | 1153361.1574
17 | 2539991.3401 | 1153291.5209
18 | 2539995.7721 | 1153368.2841
19 | 2539947.7769 | 1153270.4001
20 | 2539985.095 | 1153395.2836
21 | 2539947.6306 | 1153400.8497
22 | 2539937.2363 | 1153381.5259
23 | 2539975.8265 | 1153396.5835
24 | 2539925.7397 | 1153420.1941
25 | 2539932.6365 | 1153470.5371
26 | 2539929.2177 | 1153423.2791
27 | 2539985.9359 | 1153461.0329
28 | 2539911.1776 | 1153477.0573
29 | 2539970.7966 | 1153463.2297
30 | 2539961.9707 | 1153470.6774
31 | 2539950.4665 | 1153498.0293
32 | 2539959.5445 | 1153578.7711
33 | 2539920.4054 | 1153557.1505
34 | 2539875.9967 | 1153569.4567
35 | 2539939.722 | 1153581.0715
36 | 2539948.8433 | 1153595.0868
37 | 2539956.8787 | 1153613.5635
38 | 2540122.4455 | 1153552.2985
39 | 2540087.1851 | 1153534.1178
40 | 2540121.6514 | 1153530.1297
41 | 2540063.7163 | 1153521.9897
42 | 2540060.1088 | 1153520.1275
43 | 2540087.4617 | 1153513.3817
44 | 2540014.529 | 1153465.3276
45 | 2540000.5745 | 1153450.6648
46 | 2540009.0084 | 1153428.8186
47 | 2540016.6662 | 1153465.2094
48 | 2539895.5702 | 1153622.4451
49 | 2539888.0587 | 1153622.4313
50 | 2539925.1454 | 1153626.0403
51 | 2539884.2472 | 1153608.0394
52 | 2539960.4933 | 1153637.6267
53 | 2539975.9345 | 1153630.7081
54 | 2540020.055 | 1153390.3992
55 | 2540030.2375 | 1153386.395
56 | 2540068.9712 | 1153402.6841
57 | 2540042.0188 | 1153361.243
58 | 2539861.396 | 1153501.2549
59 | 2539888.8717 | 1153495.8771
60 | 2539848.5257 | 1153511.667
61 | 2539881.6937 | 1153523.0747
62 | 2539904.3751 | 1153481.5957
63 | 2539787.1251 | 1153551.8368
64 | 2539829.9041 | 1153554.5543
65 | 2540121.5845 | 1153528.2608
66 | 2540094.3056 | 1153510.3753
67 | 2539988.8551 | 1153426.3319
68 | 2540013.6019 | 1153426.2602
69 | 2540035.5046 | 1153464.1677
70 | 2540046.4671 | 1153350.4248
71 | 2540071.0326 | 1153356.2719
72 | 2540073.9229 | 1153348.7853
73 | 2540064.8724 | 1153372.3509
74 | 2540066.7967 | 1153415.423
75 | 2540090.182 | 1153419.9375
76 | 2540060.4452 | 1153382.536
77 | 2540104.472 | 1153422.6443
78 | 2540117.8136 | 1153422.4413
79 | 2540118.6434 | 1153445.6456
80 | 2540131.7402 | 1153422.2295
81 | 2540120.0167 | 1153484.1304
82 | 2540145.3528 | 1153444.7072
83 | 2540143.2603 | 1153422.0543
84 | 2540018.3535 | 1153425.9919
85 | 2539982.6598 | 1153428.7816
86 | 2540046.4098 | 1153447.8598
87 | 2540047.5035 | 1153463.5087
88 | 2540070.578 | 1153462.2335
89 | 2540046.4222 | 1153463.564
90 | 2540071.6683 | 1153476.9195
91 | 2540076.8982 | 1153461.8814
92 | 2540047.6175 | 1153484.1521
93 | 2540087.9447 | 1153463.3388
94 | 2540100.7797 | 1153456.2626
95 | 2540097.495 | 1153476.962
96 | 2540142.5965 | 1153397.3519
97 | 2540156.8061 | 1153474.003
98 | 2540145.5922 | 1153496.6936
99 | 2540166.5089 | 1153505.7774
100 | 2540100.5454 | 1153510.1108
101 | 2539970.7966 | 1153463.2297

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1