## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-316_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-316_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-316_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-316_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5586-316_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5586-316_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_5586-316_0_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_5586-316_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5586-316_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5586-316_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5586-316_0_3_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_5586-316_0_3_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_5586-316_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_5586-316_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5586-316_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_5586-316_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_5586-316_0_3_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_5586-316_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_5586-316_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_5586-316_0_3_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_5586-316_0_3_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_5586-316_0_3_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_5586-316_0_3_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_5586-316_0_3_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_5586-316_0_3_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_5586-316_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5586-316_0_3_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_5586-316_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_5586-316_0_3_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_5586-316_0_3_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_5586-316_0_3_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_5586-316_0_3_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_5586-316_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_5586-316_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_5586-316_0_3_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_5586-316_0_3_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_5586-316_0_3_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_5586-316_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_5586-316_0_3_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_5586-316_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_5586-316_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5586-316_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_5586-316_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5586-316_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_5586-316_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_5586-316_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_5586-316_0_3_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_5586-316_0_3_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_5586-316_0_3_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_5586-316_0_3_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_5586-316_0_3_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_5586-316_0_3_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_5586-316_0_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_5586-316_0_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_5586-316_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5586-316_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_5586-316_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_5586-316_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_5586-316_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5586-316_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_5586-316_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5586-316_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_5586-316_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_5586-316_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_5586-316_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5586-316_0_3_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_5586-316_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_5586-316_0_3_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_5586-316_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_5586-316_0_3_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_5586-316_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_5586-316_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_5586-316_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_5586-316_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_MV_625_0_node_188 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-316_0_3_load_0 | 0 | 0.0029887 | 0.00074905 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-316_0_3_load_1 | 1 | 0.0034852 | 0.00087346 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-316_0_3_load_21 | 5 | 0.013383 | 0.0033541 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-316_0_3_load_16 | 6 | 0.0070785 | 0.001774 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-316_0_3_load_68 | 10 | 0.0016015 | 0.00040137 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-316_0_3_load_38 | 11 | 0.0036236 | 0.00090816 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-316_0_3_load_10 | 13 | 0.0034883 | 0.00087426 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-316_0_3_load_24 | 16 | 0.0048591 | 0.0012178 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-316_0_3_load_22 | 17 | 0.0019707 | 0.00049391 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-316_0_3_load_17 | 18 | 0.0026063 | 0.00065321 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-316_0_3_load_73 | 19 | 0.0014275 | 0.00035776 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-316_0_3_load_42 | 23 | 0.0058952 | 0.0014775 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-316_0_3_load_43 | 24 | 0.0075544 | 0.0018933 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-316_0_3_load_75 | 26 | 0.018765 | 0.0047029 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-316_0_3_load_62 | 28 | 0.024511 | 0.0061431 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-316_0_3_load_61 | 29 | 0.0046029 | 0.0011536 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-316_0_3_load_15 | 32 | 0.015306 | 0.0038361 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-316_0_3_load_37 | 33 | 0.0035801 | 0.00089725 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-316_0_3_load_76 | 35 | 0.0082326 | 0.0020633 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-316_0_3_load_18 | 38 | 0.0025552 | 0.00064039 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-316_0_3_load_35 | 40 | 0.002554 | 0.00064009 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-316_0_3_load_36 | 41 | 0.002238 | 0.00056089 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-316_0_3_load_32 | 42 | 0.0024392 | 0.00061132 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-316_0_3_load_26 | 45 | 0.0066599 | 0.0016691 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-316_0_3_load_66 | 46 | 0.0019605 | 0.00049135 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-316_0_3_load_67 | 47 | 0.0046562 | 0.0011669 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-316_0_3_load_27 | 48 | 0.0041187 | 0.0010322 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-316_0_3_load_28 | 49 | 0.0027265 | 0.00068332 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-316_0_3_load_30 | 50 | 0.0020932 | 0.00052462 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-316_0_3_load_58 | 52 | 0.028425 | 0.007124 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-316_0_3_load_59 | 53 | 0.0068771 | 0.0017236 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-316_0_3_load_40 | 54 | 0.0042028 | 0.0010533 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-316_0_3_load_41 | 55 | 0.0028497 | 0.00071421 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-316_0_3_load_57 | 56 | 0.0078059 | 0.0019563 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-316_0_3_load_55 | 57 | 0.0080402 | 0.0020151 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-316_0_3_load_53 | 58 | 0.022784 | 0.0057103 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-316_0_3_load_48 | 60 | 0.0070473 | 0.0017662 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-316_0_3_load_49 | 61 | 0.0070594 | 0.0017692 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5586-316_0_3_load_50 | 62 | 0.0051978 | 0.0013027 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5586-316_0_3_load_51 | 63 | 0.013887 | 0.0034803 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5586-316_0_3_load_71 | 65 | 0.0094974 | 0.0023803 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5586-316_0_3_load_69 | 66 | 0.0049489 | 0.0012403 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5586-316_0_3_load_72 | 67 | 0.0086268 | 0.0021621 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5586-316_0_3_load_70 | 69 | 0.035552 | 0.0089101 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5586-316_0_3_load_60 | 70 | 0.027145 | 0.0068033 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5586-316_0_3_load_63 | 73 | 0.0027792 | 0.00069653 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-316_0_3_line_0 |  | 0 | 1 | 0.01249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-316_0_3_line_1 |  | 0 | 2 | 0.012414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-316_0_3_line_2 |  | 2 | 3 | 0.004119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-316_0_3_line_3 |  | 3 | 4 | 0.004781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-316_0_3_line_4 |  | 3 | 5 | 0.009631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-316_0_3_line_5 |  | 4 | 6 | 0.020324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-316_0_3_line_6 |  | 5 | 14 | 0.029835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5586-316_0_3_line_7 |  | 6 | 18 | 0.0051558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-316_0_3_line_8 |  | 7 | 8 | 0.005155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-316_0_3_line_9 |  | 7 | 9 | 0.016078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5586-316_0_3_line_10 |  | 7 | 10 | 0.020253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5586-316_0_3_line_11 |  | 8 | 11 | 0.010913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-316_0_3_line_12 |  | 9 | 12 | 0.049746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5586-316_0_3_line_13 |  | 9 | 13 | 0.023444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5586-316_0_3_line_14 |  | 10 | 21 | 0.010929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5586-316_0_3_line_15 |  | 12 | 28 | 0.00773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5586-316_0_3_line_16 |  | 12 | 29 | 0.0088337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-316_0_3_line_17 |  | 13 | 30 | 0.011664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5586-316_0_3_line_18 |  | 14 | 15 | 0.050593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-316_0_3_line_19 |  | 15 | 16 | 0.018649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-316_0_3_line_20 |  | 15 | 17 | 0.0069846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-316_0_3_line_21 |  | 17 | 43 | 0.012291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-316_0_3_line_22 |  | 18 | 38 | 0.0066669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-316_0_3_line_23 |  | 19 | 20 | 0.033046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-316_0_3_line_24 |  | 20 | 40 | 0.0098373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-316_0_3_line_25 |  | 21 | 22 | 0.004841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5586-316_0_3_line_26 |  | 22 | 23 | 0.0083803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5586-316_0_3_line_27 |  | 22 | 24 | 0.023695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5586-316_0_3_line_28 |  | 23 | 54 | 0.025192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-316_0_3_line_29 |  | 24 | 27 | 0.017609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5586-316_0_3_line_30 |  | 25 | 26 | 0.047073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-316_0_3_line_31 |  | 25 | 27 | 0.048228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5586-316_0_3_line_32 |  | 27 | 36 | 0.014311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-316_0_3_line_33 |  | 27 | 34 | 0.061021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5586-316_0_3_line_34 |  | 30 | 31 | 0.007962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5586-316_0_3_line_35 |  | 30 | 32 | 0.014039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-316_0_3_line_36 |  | 31 | 33 | 0.0054226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-316_0_3_line_37 |  | 33 | 37 | 0.047769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-316_0_3_line_38 |  | 34 | 35 | 0.045969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-316_0_3_line_39 |  | 36 | 56 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-316_0_3_line_40 |  | 37 | 42 | 0.013321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-316_0_3_line_41 |  | 37 | 51 | 0.021607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-316_0_3_line_42 |  | 38 | 39 | 0.012864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-316_0_3_line_43 |  | 39 | 40 | 0.029301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-316_0_3_line_44 |  | 39 | 41 | 0.011653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-316_0_3_line_45 |  | 39 | 42 | 0.012754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-316_0_3_line_46 |  | 41 | 50 | 0.015543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-316_0_3_line_47 |  | 43 | 44 | 0.027912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-316_0_3_line_48 |  | 43 | 45 | 0.027933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5586-316_0_3_line_49 |  | 44 | 46 | 0.012084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5586-316_0_3_line_50 |  | 46 | 47 | 0.0066749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5586-316_0_3_line_51 |  | 48 | 49 | 0.0044553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5586-316_0_3_line_52 |  | 49 | 50 | 0.011746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5586-316_0_3_line_53 |  | 51 | 52 | 0.0013299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5586-316_0_3_line_54 |  | 52 | 53 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5586-316_0_3_line_55 |  | 53 | 70 | 0.011058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5586-316_0_3_line_56 |  | 54 | 55 | 0.025429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5586-316_0_3_line_57 |  | 56 | 57 | 0.011889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5586-316_0_3_line_58 |  | 57 | 59 | 0.0078675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5586-316_0_3_line_59 |  | 58 | 59 | 0.015301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5586-316_0_3_line_60 |  | 59 | 68 | 0.004943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5586-316_0_3_line_61 |  | 60 | 61 | 0.014609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5586-316_0_3_line_62 |  | 60 | 62 | 0.012702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5586-316_0_3_line_63 |  | 61 | 63 | 0.0037876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5586-316_0_3_line_64 |  | 62 | 64 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5586-316_0_3_line_65 |  | 64 | 65 | 0.034299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5586-316_0_3_line_66 |  | 64 | 66 | 0.021063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5586-316_0_3_line_67 |  | 65 | 67 | 0.025391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5586-316_0_3_line_68 |  | 66 | 68 | 0.0062579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5586-316_0_3_line_69 |  | 68 | 69 | 0.032555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5586-316_0_3_line_70 |  | 70 | 71 | 0.010854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5586-316_0_3_line_71 |  | 71 | 72 | 0.0154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5586-316_0_3_line_72 |  | 72 | 73 | 0.010815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-316_0_3_trafo_62 | 0.63 MVA 20/0.4 kV | 74 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2539536.6704 | 1153631.9715 | 2539536.8567 | 1153631.5809 | 2539543.2513 | 1153621.3595
1 | 2539531.3264 | 1153643.1762 | 2539536.6704 | 1153631.9715
2 | 2539529.5532 | 1153646.896 | 2539531.3264 | 1153643.1762
3 | 2539533.8256 | 1153649.0653 | 2539529.5532 | 1153646.896
4 | 2539529.5532 | 1153646.896 | 2539528.937 | 1153648.1807 | 2539526.1286 | 1153655.8914
5 | 2539533.8256 | 1153649.0653 | 2539540.1951 | 1153651.4915 | 2539553.4499 | 1153654.0925
6 | 2539517.5094 | 1153684.4375 | 2539518.0253 | 1153682.3423 | 2539523.7107 | 1153662.5299 | 2539526.1286 | 1153655.8914
7 | 2539558.5092 | 1153655.0853 | 2539553.4499 | 1153654.0925
8 | 2539669.6921 | 1153571.3359 | 2539673.501 | 1153567.8514
9 | 2539669.6921 | 1153571.3359 | 2539668.1769 | 1153574.0304 | 2539662.9263 | 1153582.1764 | 2539661.1821 | 1153584.9843
10 | 2539669.6921 | 1153571.3359 | 2539671.5154 | 1153572.5961 | 2539686.3463 | 1153582.8613
11 | 2539673.501 | 1153567.8514 | 2539674.4893 | 1153566.941 | 2539682.0072 | 1153561.0202
12 | 2539661.1821 | 1153584.9843 | 2539667.2627 | 1153590.7152 | 2539678.287 | 1153600.5321 | 2539686.7342 | 1153605.8613 | 2539680.4739 | 1153615.8406 | 2539681.113 | 1153620.659
13 | 2539661.1821 | 1153584.9843 | 2539659.3669 | 1153586.8257 | 2539642.2284 | 1153598.714
14 | 2539695.3355 | 1153589.0771 | 2539693.7594 | 1153587.9923 | 2539686.3463 | 1153582.8613
15 | 2539681.113 | 1153620.659 | 2539687.025 | 1153625.658
16 | 2539681.113 | 1153620.659 | 2539675.956 | 1153627.8312
17 | 2539633.0416 | 1153605.8447 | 2539635.7542 | 1153603.205 | 2539642.2284 | 1153598.714
18 | 2539517.5094 | 1153684.4375 | 2539520.0942 | 1153685.1229 | 2539522.0252 | 1153685.6371 | 2539523.7486 | 1153678.4937 | 2539528.7502 | 1153679.9331 | 2539536.7879 | 1153684.2101 | 2539538.4943 | 1153686.0383 | 2539553.3242 | 1153701.9644
19 | 2539553.3242 | 1153701.9644 | 2539567.5757 | 1153701.5765 | 2539571.0409 | 1153704.3543
20 | 2539553.3242 | 1153701.9644 | 2539556.4733 | 1153705.3457 | 2539557.9805 | 1153707.167
21 | 2539565.8168 | 1153716.6356 | 2539557.9805 | 1153707.167
22 | 2539558.5092 | 1153655.0853 | 2539565.0514 | 1153656.3691
23 | 2539591.2921 | 1153630.7109 | 2539591.7867 | 1153597.6684
24 | 2539591.2921 | 1153630.7109 | 2539581.4578 | 1153630.9533
25 | 2539695.3355 | 1153589.0771 | 2539698.7769 | 1153585.6629
26 | 2539698.7769 | 1153585.6629 | 2539699.7722 | 1153584.6857 | 2539704.832 | 1153579.8696
27 | 2539698.7769 | 1153585.6629 | 2539716.8532 | 1153597.8771 | 2539718.4387 | 1153598.8846
28 | 2539723.9095 | 1153563.4268 | 2539718.471 | 1153567.9447 | 2539707.9877 | 1153576.8658 | 2539704.832 | 1153579.8696
29 | 2539733.3006 | 1153608.3289 | 2539718.4387 | 1153598.8846
30 | 2539718.0852 | 1153625.0683 | 2539718.7077 | 1153628.2304 | 2539716.4908 | 1153632.8663 | 2539704.0455 | 1153663.3965 | 2539698.6334 | 1153665.3852
31 | 2539718.0852 | 1153625.0683 | 2539718.7335 | 1153621.6266 | 2539717.5132 | 1153617.7701 | 2539718.1974 | 1153616.3736 | 2539735.2974 | 1153620.7601 | 2539739.6516 | 1153618.0816 | 2539730.0497 | 1153612.3748 | 2539733.3006 | 1153608.3289
32 | 2539742.6752 | 1153597.4958 | 2539734.0887 | 1153607.3427 | 2539733.3006 | 1153608.3289
33 | 2539733.3006 | 1153608.3289 | 2539737.5708 | 1153611.0431 | 2539744.1031 | 1153615.1688 | 2539748.7079 | 1153617.5906 | 2539761.6969 | 1153624.4196 | 2539766.7683 | 1153626.7034 | 2539783.8628 | 1153634.3696 | 2539787.7756 | 1153635.8867
34 | 2539633.0416 | 1153605.8447 | 2539627.3277 | 1153611.4051
35 | 2539633.0416 | 1153605.8447 | 2539636.516 | 1153608.7781 | 2539643.3421 | 1153615.402
36 | 2539627.3277 | 1153611.4051 | 2539623.4451 | 1153615.1906
37 | 2539603.9297 | 1153657.5206 | 2539603.9191 | 1153653.4074 | 2539605.3999 | 1153645.7773 | 2539610.0131 | 1153633.7689 | 2539616.2613 | 1153623.3561 | 2539623.4451 | 1153615.1906
38 | 2539816.3242 | 1153599.8036 | 2539788.8345 | 1153634.3642 | 2539787.7756 | 1153635.8867
39 | 2539742.6752 | 1153597.4958 | 2539751.6764 | 1153586.3812
40 | 2539603.9297 | 1153657.5206 | 2539594.6036 | 1153657.1141 | 2539590.6172 | 1153657.1357
41 | 2539603.9297 | 1153657.5206 | 2539604.9775 | 1153662.5239 | 2539609.0064 | 1153667.1971 | 2539617.8078 | 1153672.6449
42 | 2539577.8631 | 1153657.2047 | 2539567.4633 | 1153656.8424 | 2539565.0514 | 1153656.3691
43 | 2539577.8631 | 1153657.2047 | 2539578.3364 | 1153631.0302 | 2539581.4578 | 1153630.9533
44 | 2539577.8631 | 1153657.2047 | 2539577.9803 | 1153668.8571
45 | 2539577.8631 | 1153657.2047 | 2539590.6172 | 1153657.1357
46 | 2539586.6586 | 1153678.0831 | 2539586.6586 | 1153678.0831 | 2539581.9804 | 1153678.2858 | 2539578.0275 | 1153673.5452 | 2539577.9803 | 1153668.8571
47 | 2539565.8168 | 1153716.6356 | 2539583.6337 | 1153738.157
48 | 2539557.541 | 1153742.077 | 2539556.5271 | 1153735.8617 | 2539560.8564 | 1153723.1001 | 2539563.442 | 1153719.2943 | 2539565.8168 | 1153716.6356
49 | 2539583.6337 | 1153738.157 | 2539585.7511 | 1153736.6127 | 2539591.0444 | 1153732.7352 | 2539592.8321 | 1153730.4493
50 | 2539592.8321 | 1153730.4493 | 2539592.8321 | 1153730.4493 | 2539593.0434 | 1153727.8124 | 2539590.5535 | 1153724.6442
51 | 2539595.6302 | 1153682.4126 | 2539600.0841 | 1153682.5283
52 | 2539595.6302 | 1153682.4126 | 2539588.3652 | 1153682.2237 | 2539586.6586 | 1153678.0831
53 | 2539617.8078 | 1153672.6449 | 2539618.97 | 1153673.2916
54 | 2539618.97 | 1153673.2916 | 2539628.3859 | 1153678.5308 | 2539635.6389 | 1153682.654
55 | 2539635.6389 | 1153682.654 | 2539637.2059 | 1153683.5449 | 2539645.4454 | 1153687.7618
56 | 2539723.9095 | 1153563.4268 | 2539732.1523 | 1153556.5792 | 2539743.6065 | 1153547.3457
57 | 2539751.6764 | 1153586.3812 | 2539759.1589 | 1153577.1418
58 | 2539766.5431 | 1153576.6897 | 2539762.9641 | 1153575.5695 | 2539759.1589 | 1153577.1418
59 | 2539766.5431 | 1153576.6897 | 2539768.2387 | 1153579.7522 | 2539765.454 | 1153584.3826 | 2539761.1431 | 1153589.1094
60 | 2539769.7121 | 1153572.8893 | 2539766.5431 | 1153576.6897
61 | 2539778.0756 | 1153534.3155 | 2539787.2999 | 1153522.9866
62 | 2539778.0756 | 1153534.3155 | 2539775.0254 | 1153538.0617 | 2539774.9388 | 1153541.6756 | 2539778.2074 | 1153544.401
63 | 2539789.6914 | 1153520.0495 | 2539787.2999 | 1153522.9866
64 | 2539787.1251 | 1153551.8368 | 2539778.2074 | 1153544.401
65 | 2539787.1251 | 1153551.8368 | 2539803.1825 | 1153532.5656 | 2539810.3009 | 1153538.4172
66 | 2539787.1251 | 1153551.8368 | 2539773.7006 | 1153568.0671
67 | 2539829.9041 | 1153554.5543 | 2539823.0032 | 1153548.8759 | 2539812.4816 | 1153540.2099 | 2539810.3009 | 1153538.4172
68 | 2539769.7121 | 1153572.8893 | 2539773.7006 | 1153568.0671
69 | 2539769.7121 | 1153572.8893 | 2539775.2431 | 1153577.3807 | 2539790.2656 | 1153589.5924 | 2539795.0153 | 1153593.458
70 | 2539655.0002 | 1153692.9046 | 2539650.5632 | 1153690.3811 | 2539645.4454 | 1153687.7618
71 | 2539655.0002 | 1153692.9046 | 2539659.2752 | 1153695.3408 | 2539661.8516 | 1153699.7617 | 2539662.1202 | 1153705.1175
72 | 2539662.1202 | 1153705.1175 | 2539657.3858 | 1153714.841

## bus_geodata
| x | y | coords
0 | 2539536.6704 | 1153631.9715
1 | 2539543.2513 | 1153621.3595
2 | 2539531.3264 | 1153643.1762
3 | 2539529.5532 | 1153646.896
4 | 2539533.8256 | 1153649.0653
5 | 2539526.1286 | 1153655.8914
6 | 2539553.4499 | 1153654.0925
7 | 2539669.6921 | 1153571.3359
8 | 2539673.501 | 1153567.8514
9 | 2539661.1821 | 1153584.9843
10 | 2539686.3463 | 1153582.8613
11 | 2539682.0072 | 1153561.0202
12 | 2539681.113 | 1153620.659
13 | 2539642.2284 | 1153598.714
14 | 2539517.5094 | 1153684.4375
15 | 2539553.3242 | 1153701.9644
16 | 2539571.0409 | 1153704.3543
17 | 2539557.9805 | 1153707.167
18 | 2539558.5092 | 1153655.0853
19 | 2539591.7867 | 1153597.6684
20 | 2539591.2921 | 1153630.7109
21 | 2539695.3355 | 1153589.0771
22 | 2539698.7769 | 1153585.6629
23 | 2539704.832 | 1153579.8696
24 | 2539718.4387 | 1153598.8846
25 | 2539718.0852 | 1153625.0683
26 | 2539698.6334 | 1153665.3852
27 | 2539733.3006 | 1153608.3289
28 | 2539687.025 | 1153625.658
29 | 2539675.956 | 1153627.8312
30 | 2539633.0416 | 1153605.8447
31 | 2539627.3277 | 1153611.4051
32 | 2539643.3421 | 1153615.402
33 | 2539623.4451 | 1153615.1906
34 | 2539787.7756 | 1153635.8867
35 | 2539816.3242 | 1153599.8036
36 | 2539742.6752 | 1153597.4958
37 | 2539603.9297 | 1153657.5206
38 | 2539565.0514 | 1153656.3691
39 | 2539577.8631 | 1153657.2047
40 | 2539581.4578 | 1153630.9533
41 | 2539577.9803 | 1153668.8571
42 | 2539590.6172 | 1153657.1357
43 | 2539565.8167 | 1153716.6356
44 | 2539583.6337 | 1153738.157
45 | 2539557.541 | 1153742.077
46 | 2539592.8321 | 1153730.4493
47 | 2539590.5535 | 1153724.6442
48 | 2539600.0841 | 1153682.5283
49 | 2539595.6302 | 1153682.4126
50 | 2539586.6586 | 1153678.0831
51 | 2539617.8078 | 1153672.6449
52 | 2539618.97 | 1153673.2916
53 | 2539635.6389 | 1153682.654
54 | 2539723.9095 | 1153563.4268
55 | 2539743.6065 | 1153547.3457
56 | 2539751.6764 | 1153586.3812
57 | 2539759.1589 | 1153577.1418
58 | 2539761.1431 | 1153589.1094
59 | 2539766.5431 | 1153576.6897
60 | 2539778.0756 | 1153534.3155
61 | 2539787.2999 | 1153522.9866
62 | 2539778.2074 | 1153544.401
63 | 2539789.6914 | 1153520.0495
64 | 2539787.1251 | 1153551.8368
65 | 2539810.3009 | 1153538.4172
66 | 2539773.7006 | 1153568.0671
67 | 2539829.9041 | 1153554.5543
68 | 2539769.7121 | 1153572.8893
69 | 2539795.0153 | 1153593.458
70 | 2539645.4454 | 1153687.7618
71 | 2539655.0002 | 1153692.9046
72 | 2539662.1202 | 1153705.1175
73 | 2539657.3858 | 1153714.841
74 | 2539681.113 | 1153620.659

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1