## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-344_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-344_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-344_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-344_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5586-344_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_5586-344_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5586-344_0_4_node_103 | 0.4 | n |  | TRUE
7 | bus_LV_5586-344_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5586-344_0_4_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_5586-344_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5586-344_0_4_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_5586-344_0_4_node_101 | 0.4 | n |  | TRUE
12 | bus_LV_5586-344_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5586-344_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5586-344_0_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_5586-344_0_4_node_102 | 0.4 | n |  | TRUE
16 | bus_LV_5586-344_0_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_5586-344_0_4_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_5586-344_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5586-344_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_5586-344_0_4_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_5586-344_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5586-344_0_4_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_5586-344_0_4_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_5586-344_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5586-344_0_4_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_5586-344_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5586-344_0_4_node_74 | 0.4 | n |  | TRUE
28 | bus_LV_5586-344_0_4_node_99 | 0.4 | n |  | TRUE
29 | bus_LV_5586-344_0_4_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_5586-344_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_5586-344_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_5586-344_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5586-344_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5586-344_0_4_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_5586-344_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5586-344_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_5586-344_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5586-344_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5586-344_0_4_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_5586-344_0_4_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_5586-344_0_4_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_5586-344_0_4_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_5586-344_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_5586-344_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_5586-344_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_5586-344_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_5586-344_0_4_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_5586-344_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_5586-344_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_5586-344_0_4_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_5586-344_0_4_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_5586-344_0_4_node_104 | 0.4 | n |  | TRUE
53 | bus_LV_5586-344_0_4_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_5586-344_0_4_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_5586-344_0_4_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_5586-344_0_4_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_5586-344_0_4_node_20 | 0.4 | n |  | TRUE
58 | bus_LV_5586-344_0_4_node_26 | 0.4 | n |  | TRUE
59 | bus_LV_5586-344_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_5586-344_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_5586-344_0_4_node_24 | 0.4 | n |  | TRUE
62 | bus_LV_5586-344_0_4_node_22 | 0.4 | n |  | TRUE
63 | bus_LV_5586-344_0_4_node_31 | 0.4 | n |  | TRUE
64 | bus_LV_5586-344_0_4_node_30 | 0.4 | n |  | TRUE
65 | bus_LV_5586-344_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_5586-344_0_4_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_5586-344_0_4_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_5586-344_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_5586-344_0_4_node_32 | 0.4 | n |  | TRUE
70 | bus_LV_5586-344_0_4_node_33 | 0.4 | n |  | TRUE
71 | bus_LV_5586-344_0_4_node_34 | 0.4 | n |  | TRUE
72 | bus_LV_5586-344_0_4_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_5586-344_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_5586-344_0_4_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_5586-344_0_4_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_5586-344_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_5586-344_0_4_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_5586-344_0_4_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_5586-344_0_4_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_5586-344_0_4_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_5586-344_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_5586-344_0_4_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_5586-344_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_5586-344_0_4_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_5586-344_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_5586-344_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_5586-344_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_5586-344_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_5586-344_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_5586-344_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_5586-344_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_5586-344_0_4_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_5586-344_0_4_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_5586-344_0_4_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_5586-344_0_4_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_5586-344_0_4_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_5586-344_0_4_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_5586-344_0_4_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_5586-344_0_4_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_5586-344_0_4_node_107 | 0.4 | n |  | TRUE
101 | bus_LV_5586-344_0_4_node_106 | 0.4 | n |  | TRUE
102 | bus_MV_366_2_node_212 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-344_0_4_load_0 | 0 | 0.00025276 | 6.3348e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-344_0_4_load_3 | 3 | 0.0027399 | 0.0006867 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-344_0_4_load_103 | 6 | 0.0002177 | 5.4561e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-344_0_4_load_101 | 11 | 0.0051214 | 0.0012835 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-344_0_4_load_42 | 14 | 0.0015108 | 0.00037865 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-344_0_4_load_102 | 15 | 0.00020745 | 5.1991e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-344_0_4_load_37 | 17 | 0.0043849 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-344_0_4_load_40 | 19 | 0.0097764 | 0.0024502 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-344_0_4_load_65 | 20 | 0.0064313 | 0.0016118 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-344_0_4_load_80 | 22 | 0.001488 | 0.00037293 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-344_0_4_load_55 | 25 | 0.0005485 | 0.00013747 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-344_0_4_load_74 | 27 | 0.0026557 | 0.00066557 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-344_0_4_load_98 | 29 | 0.00040021 | 0.0001003 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-344_0_4_load_39 | 30 | 0.0037675 | 0.00094423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-344_0_4_load_18 | 32 | 0.00084757 | 0.00021242 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-344_0_4_load_88 | 34 | 0.0013738 | 0.0003443 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-344_0_4_load_35 | 36 | 0.00049707 | 0.00012458 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-344_0_4_load_66 | 39 | 0.0064328 | 0.0016122 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-344_0_4_load_85 | 42 | 0.0015518 | 0.00038892 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-344_0_4_load_49 | 44 | 0.00042106 | 0.00010553 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-344_0_4_load_45 | 45 | 0.00053058 | 0.00013298 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-344_0_4_load_63 | 47 | 0.00032098 | 8.0446e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-344_0_4_load_60 | 48 | 0.0023047 | 0.00057761 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-344_0_4_load_53 | 49 | 0.0030501 | 0.00076442 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-344_0_4_load_73 | 51 | 0.0015865 | 0.0003976 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-344_0_4_load_105 | 53 | 0.0010219 | 0.00025611 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-344_0_4_load_94 | 54 | 0.00060359 | 0.00015127 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-344_0_4_load_71 | 55 | 0.0026563 | 0.00066574 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-344_0_4_load_20 | 57 | 0.0012206 | 0.0003059 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-344_0_4_load_38 | 59 | 0.0032955 | 0.00082593 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-344_0_4_load_43 | 60 | 0.00020985 | 5.2592e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-344_0_4_load_22 | 62 | 0.00057419 | 0.00014391 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-344_0_4_load_31 | 63 | 0.00032706 | 8.197e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-344_0_4_load_30 | 64 | 0.00038913 | 9.7525e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-344_0_4_load_36 | 66 | 0.00025715 | 6.4448e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-344_0_4_load_87 | 67 | 0.00045467 | 0.00011395 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-344_0_4_load_32 | 69 | 0.00025659 | 6.4307e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-344_0_4_load_33 | 70 | 0.00066088 | 0.00016563 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5586-344_0_4_load_34 | 71 | 0.00029516 | 7.3973e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5586-344_0_4_load_44 | 72 | 0.0005814 | 0.00014571 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5586-344_0_4_load_52 | 73 | 0.0015667 | 0.00039266 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5586-344_0_4_load_86 | 74 | 0.00076236 | 0.00019107 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5586-344_0_4_load_54 | 76 | 0.00041696 | 0.0001045 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5586-344_0_4_load_56 | 77 | 0.00047063 | 0.00011795 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5586-344_0_4_load_58 | 79 | 0.00040934 | 0.00010259 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5586-344_0_4_load_61 | 80 | 0.00047568 | 0.00011922 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5586-344_0_4_load_62 | 81 | 0.00054605 | 0.00013685 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5586-344_0_4_load_67 | 82 | 0.010768 | 0.0026988 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5586-344_0_4_load_68 | 83 | 0.0015856 | 0.00039739 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5586-344_0_4_load_75 | 85 | 0.002656 | 0.00066565 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5586-344_0_4_load_72 | 86 | 0.0015857 | 0.00039742 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5586-344_0_4_load_79 | 87 | 0.0015866 | 0.00039764 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5586-344_0_4_load_77 | 88 | 0.001587 | 0.00039773 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5586-344_0_4_load_81 | 89 | 0.0020154 | 0.0005051 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5586-344_0_4_load_82 | 90 | 0.000417 | 0.00010451 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5586-344_0_4_load_83 | 91 | 0.0055973 | 0.0014028 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5586-344_0_4_load_90 | 92 | 0.00073484 | 0.00018417 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5586-344_0_4_load_91 | 94 | 0.00066559 | 0.00016681 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5586-344_0_4_load_95 | 96 | 0.00060294 | 0.00015111 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5586-344_0_4_load_97 | 98 | 0.0020257 | 0.00050768 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5586-344_0_4_load_100 | 99 | 0.0010683 | 0.00026773 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5586-344_0_4_load_107 | 100 | 0.0014224 | 0.00035648 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5586-344_0_4_load_106 | 101 | 0.001004 | 0.00025162 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-344_0_4_line_0 |  | 0 | 1 | 0.02137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-344_0_4_line_1 |  | 0 | 2 | 0.065298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-344_0_4_line_2 |  | 1 | 3 | 0.021161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-344_0_4_line_3 |  | 2 | 4 | 0.037877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-344_0_4_line_4 |  | 4 | 17 | 0.027586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-344_0_4_line_5 |  | 5 | 6 | 0.016194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-344_0_4_line_6 |  | 5 | 7 | 0.024089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5586-344_0_4_line_7 |  | 5 | 8 | 0.20717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-344_0_4_line_8 |  | 7 | 9 | 0.14753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-344_0_4_line_9 |  | 7 | 10 | 0.044829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5586-344_0_4_line_10 |  | 7 | 11 | 0.051928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-344_0_4_line_11 |  | 8 | 23 | 0.038621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-344_0_4_line_12 |  | 8 | 24 | 0.070807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-344_0_4_line_13 |  | 8 | 25 | 0.024556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-344_0_4_line_14 |  | 8 | 21 | 0.24242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-344_0_4_line_15 |  | 9 | 15 | 0.044848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5586-344_0_4_line_16 |  | 9 | 16 | 0.015463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-344_0_4_line_17 |  | 10 | 34 | 0.025756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-344_0_4_line_18 |  | 12 | 13 | 0.25214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-344_0_4_line_19 |  | 12 | 14 | 0.06929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-344_0_4_line_20 |  | 13 | 20 | 0.05269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-344_0_4_line_21 |  | 13 | 18 | 0.06176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-344_0_4_line_22 |  | 14 | 35 | 0.1159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-344_0_4_line_23 |  | 16 | 36 | 0.034492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-344_0_4_line_24 |  | 16 | 37 | 0.39721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-344_0_4_line_25 |  | 17 | 38 | 0.034884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5586-344_0_4_line_26 |  | 18 | 19 | 0.034548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5586-344_0_4_line_27 |  | 20 | 39 | 0.024381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-344_0_4_line_28 |  | 21 | 22 | 0.064064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-344_0_4_line_29 |  | 23 | 48 | 0.0018125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-344_0_4_line_30 |  | 24 | 28 | 0.043472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-344_0_4_line_31 |  | 24 | 29 | 0.057818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5586-344_0_4_line_32 |  | 24 | 26 | 0.095899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-344_0_4_line_33 |  | 25 | 49 | 0.086329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5586-344_0_4_line_34 |  | 26 | 27 | 0.048467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5586-344_0_4_line_35 |  | 27 | 50 | 0.027634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-344_0_4_line_36 |  | 27 | 51 | 0.012522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-344_0_4_line_37 |  | 28 | 52 | 0.028454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-344_0_4_line_38 |  | 28 | 53 | 0.016684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-344_0_4_line_39 |  | 29 | 54 | 0.00076513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-344_0_4_line_40 |  | 30 | 31 | 0.033236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-344_0_4_line_41 |  | 31 | 59 | 0.032691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-344_0_4_line_42 |  | 32 | 33 | 0.040221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-344_0_4_line_43 |  | 33 | 57 | 0.046422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-344_0_4_line_44 |  | 33 | 35 | 0.004651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-344_0_4_line_45 |  | 35 | 58 | 0.21085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-344_0_4_line_46 |  | 36 | 66 | 0.052713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-344_0_4_line_47 |  | 37 | 61 | 0.002338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-344_0_4_line_48 |  | 37 | 62 | 0.036855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5586-344_0_4_line_49 |  | 38 | 59 | 0.017119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5586-344_0_4_line_50 |  | 38 | 57 | 0.02897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5586-344_0_4_line_51 |  | 39 | 82 | 6.8513e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5586-344_0_4_line_52 |  | 40 | 41 | 0.024558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5586-344_0_4_line_53 |  | 40 | 42 | 0.029932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5586-344_0_4_line_54 |  | 40 | 43 | 0.099842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5586-344_0_4_line_55 |  | 41 | 74 | 0.017233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5586-344_0_4_line_56 |  | 41 | 46 | 0.036335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5586-344_0_4_line_57 |  | 42 | 75 | 0.011435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5586-344_0_4_line_58 |  | 43 | 44 | 0.025724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5586-344_0_4_line_59 |  | 43 | 45 | 0.045195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5586-344_0_4_line_60 |  | 44 | 73 | 0.0086269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5586-344_0_4_line_61 |  | 45 | 72 | 0.028333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5586-344_0_4_line_62 |  | 46 | 47 | 0.011629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5586-344_0_4_line_63 |  | 48 | 80 | 0.032531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5586-344_0_4_line_64 |  | 49 | 76 | 0.016269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5586-344_0_4_line_65 |  | 50 | 88 | 0.01549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5586-344_0_4_line_66 |  | 51 | 86 | 0.026724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5586-344_0_4_line_67 |  | 52 | 101 | 0.02118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5586-344_0_4_line_68 |  | 52 | 97 | 0.005701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5586-344_0_4_line_69 |  | 54 | 93 | 0.028701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5586-344_0_4_line_70 |  | 55 | 56 | 0.034176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5586-344_0_4_line_71 |  | 56 | 84 | 0.012468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5586-344_0_4_line_72 |  | 56 | 83 | 0.018001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5586-344_0_4_line_73 |  | 58 | 60 | 0.099927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5586-344_0_4_line_74 |  | 61 | 63 | 0.023997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5586-344_0_4_line_75 |  | 61 | 64 | 0.041298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5586-344_0_4_line_76 |  | 63 | 65 | 0.051102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5586-344_0_4_line_77 |  | 65 | 67 | 0.016482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5586-344_0_4_line_78 |  | 65 | 68 | 0.010592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5586-344_0_4_line_79 |  | 66 | 71 | 0.060488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5586-344_0_4_line_80 |  | 68 | 72 | 0.02572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5586-344_0_4_line_81 |  | 69 | 70 | 0.00055657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5586-344_0_4_line_82 |  | 70 | 71 | 0.02781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5586-344_0_4_line_83 |  | 75 | 90 | 0.0063683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5586-344_0_4_line_84 |  | 76 | 77 | 0.011126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5586-344_0_4_line_85 |  | 77 | 78 | 0.0038266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5586-344_0_4_line_86 |  | 78 | 79 | 0.010661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5586-344_0_4_line_87 |  | 80 | 81 | 0.0017093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5586-344_0_4_line_88 |  | 82 | 83 | 0.03941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5586-344_0_4_line_89 |  | 84 | 85 | 0.0076918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5586-344_0_4_line_90 |  | 84 | 86 | 0.020142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5586-344_0_4_line_91 |  | 85 | 87 | 0.0044671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5586-344_0_4_line_92 |  | 89 | 90 | 0.021949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5586-344_0_4_line_93 |  | 89 | 91 | 0.059103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5586-344_0_4_line_94 |  | 92 | 93 | 0.022192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5586-344_0_4_line_95 |  | 93 | 96 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5586-344_0_4_line_96 |  | 94 | 95 | 0.035681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5586-344_0_4_line_97 |  | 95 | 97 | 0.00657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5586-344_0_4_line_98 |  | 95 | 98 | 0.006875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5586-344_0_4_line_99 |  | 96 | 99 | 0.012985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5586-344_0_4_line_100 |  | 97 | 100 | 0.00396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-344_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 102 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2542809.8071 | 1157171.8449 | 2542806.1261 | 1157192.8957
1 | 2542817.9721 | 1157255.4343 | 2542816.8128 | 1157248.8418 | 2542814.4154 | 1157242.6724 | 2542809.1184 | 1157230.7498 | 2542805.5734 | 1157220.8337 | 2542803.5791 | 1157213.5266 | 2542803.837 | 1157205.9868 | 2542806.1261 | 1157192.8957
2 | 2542813.9418 | 1157151.0944 | 2542809.8071 | 1157171.8449
3 | 2542792.662 | 1157282.9345 | 2542798.4438 | 1157278.9439 | 2542804.291 | 1157274.5637 | 2542809.5112 | 1157268.7664 | 2542817.9721 | 1157255.4343
4 | 2542792.662 | 1157282.9345 | 2542799.1102 | 1157309.7564
5 | 2543148.0213 | 1157332.754 | 2543153.7023 | 1157335.913 | 2543158.5402 | 1157336.6788 | 2543163.3781 | 1157336.633
6 | 2543145.5156 | 1157350.7429 | 2543144.5764 | 1157349.5289 | 2543138.9885 | 1157345.6798 | 2543144.3144 | 1157338.0586 | 2543148.0213 | 1157332.754
7 | 2543148.0213 | 1157332.754 | 2543154.0734 | 1157324.081 | 2543164.027 | 1157312.8474 | 2543165.4912 | 1157311.1882 | 2543196.7864 | 1157285.5896 | 2543235.709 | 1157254.0714 | 2543245.6547 | 1157246.0176 | 2543259.63 | 1157232.7117 | 2543269.1728 | 1157219.3367 | 2543277.3397 | 1157193.4345 | 2543277.5255 | 1157185.5063 | 2543281.4104 | 1157181.9788
8 | 2543071.6411 | 1157461.0907 | 2543076.6346 | 1157441.8886 | 2543079.1589 | 1157429.1245 | 2543080.1626 | 1157418.5315 | 2543084.87 | 1157417.6642 | 2543088.9669 | 1157416.3025 | 2543093.2863 | 1157411.7146 | 2543116.444 | 1157378.6998 | 2543138.9885 | 1157345.6798 | 2543144.5764 | 1157349.5289 | 2543145.5156 | 1157350.7429
9 | 2543145.5156 | 1157350.7429 | 2543169.2932 | 1157367.7604 | 2543180.3018 | 1157375.6382 | 2543181.9618 | 1157376.8454
10 | 2543145.5156 | 1157350.7429 | 2543144.9121 | 1157352.5941 | 2543135.8993 | 1157366.0088 | 2543117.0401 | 1157394.0823
11 | 2543281.4104 | 1157181.9788 | 2543294.5554 | 1157170.0372 | 2543297.2689 | 1157169.1222 | 2543299.4253 | 1157168.4904 | 2543310.7626 | 1157157.5553
12 | 2543243.4102 | 1157143.2392 | 2543235.7819 | 1157150.682 | 2543237.5824 | 1157152.1435 | 2543240.9806 | 1157154.7128 | 2543271.2939 | 1157177.6498 | 2543275.4273 | 1157180.9348 | 2543277.5255 | 1157185.5063 | 2543281.4104 | 1157181.9788
13 | 2543281.4104 | 1157181.9788 | 2543299.0784 | 1157199.0322
14 | 2543281.4104 | 1157181.9788 | 2543277.5255 | 1157185.5063 | 2543277.3397 | 1157193.4345 | 2543269.1728 | 1157219.3367 | 2543346.3476 | 1157262.1868 | 2543407.7506 | 1157296.2818 | 2543410.3397 | 1157297.6359 | 2543443.1511 | 1157314.8472 | 2543446.1828 | 1157316.7864
15 | 2543071.6411 | 1157461.0907 | 2543092.4183 | 1157472.222 | 2543108.0195 | 1157480.0784 | 2543111.6298 | 1157481.5783
16 | 2543067.181 | 1157475.8964 | 2543069.1593 | 1157469.4409 | 2543071.6411 | 1157461.0907
17 | 2543181.9618 | 1157376.8454 | 2543196.458 | 1157355.5564
18 | 2542951.8075 | 1157191.0272 | 2542958.1407 | 1157179.6832 | 2542996.9127 | 1157101.6622 | 2543028.979 | 1157033.6548 | 2543038.7692 | 1157015.6634 | 2543053.6354 | 1156984.7059 | 2543059.3064 | 1156973.0236 | 2543062.9857 | 1156964.7844
19 | 2542951.8075 | 1157191.0272 | 2542928.6685 | 1157232.447 | 2542917.7394 | 1157251.3613
20 | 2543062.9857 | 1156964.7844 | 2543096.7527 | 1156983.0075 | 2543103.572 | 1156970.4165
21 | 2543006.7405 | 1156945.4963 | 2543025.7836 | 1156950.6517 | 2543054.5505 | 1156959.9173 | 2543063.8266 | 1156962.8976 | 2543062.9857 | 1156964.7844
22 | 2542859.6037 | 1157351.623 | 2542901.2623 | 1157279.8773 | 2542917.7394 | 1157251.3613
23 | 2543067.181 | 1157475.8964 | 2543073.8884 | 1157478.1452 | 2543074.8736 | 1157485.0062 | 2543076.2414 | 1157487.7503 | 2543081.5331 | 1157492.725 | 2543090.7195 | 1157496.8402 | 2543090.8018 | 1157496.8806
24 | 2543067.181 | 1157475.8964 | 2543062.8979 | 1157489.1553 | 2543109.6665 | 1157511.4685 | 2543123.5694 | 1157518.1293 | 2543134.3441 | 1157523.1856 | 2543177.0295 | 1157541.8916 | 2543196.097 | 1157551.4609 | 2543215.0069 | 1157561.4096 | 2543237.8768 | 1157574.167 | 2543249.2101 | 1157580.7523 | 2543260.3921 | 1157587.5503 | 2543272.4416 | 1157595.2851 | 2543284.2557 | 1157603.2667 | 2543295.9413 | 1157611.4385 | 2543307.4064 | 1157619.8125 | 2543319.9243 | 1157629.255 | 2543338.7873 | 1157644.0294 | 2543357.978 | 1157659.4011 | 2543369.1495 | 1157659.4291 | 2543373.8924 | 1157659.0953 | 2543379.9978 | 1157658.5263 | 2543384.3546 | 1157656.2729 | 2543390.9809 | 1157654.8319 | 2543397.1209 | 1157650.6163
25 | 2542786.1105 | 1157341.3282 | 2542797.8251 | 1157319.4271 | 2542799.3328 | 1157315.9109 | 2542799.6003 | 1157311.795 | 2542799.1102 | 1157309.7564
26 | 2543006.7405 | 1156945.4963 | 2543002.1305 | 1156955.034 | 2543003.3659 | 1156961.5814 | 2543010.6294 | 1156970.6506 | 2543013.4901 | 1156975.5484
27 | 2543103.572 | 1156970.4165 | 2543105.849 | 1156966.2123 | 2543108.9507 | 1156968.2285 | 2543111.1767 | 1156964.4165 | 2543121.1638 | 1156970.0892
28 | 2543446.1828 | 1157316.7864 | 2543448.2223 | 1157320.8471 | 2543449.4809 | 1157324.2149 | 2543450.1444 | 1157328.7221 | 2543450.8081 | 1157334.0521 | 2543451.784 | 1157339.1678 | 2543453.5706 | 1157343.2421 | 2543456.7969 | 1157347.1138 | 2543460.8328 | 1157349.8439 | 2543465.0757 | 1157352.5721 | 2543470.3392 | 1157354.5681 | 2543476.6416 | 1157357.7883 | 2543483.8673 | 1157362.5936
29 | 2543310.7626 | 1157157.5553 | 2543312.0674 | 1157156.2973
30 | 2543243.4102 | 1157143.2392 | 2543248.4856 | 1157138.2886 | 2543259.0618 | 1157127.961 | 2543274.5623 | 1157112.9176
31 | 2543243.4102 | 1157143.2392 | 2543240.7791 | 1157136.6495 | 2543225.2722 | 1157106.402 | 2543224.7971 | 1157104.8168 | 2543224.8257 | 1157102.9711 | 2543225.5758 | 1157100.3959 | 2543229.2583 | 1157090.5113
32 | 2543185.94 | 1157081.7718 | 2543212.6985 | 1157123.619 | 2543235.7819 | 1157150.682 | 2543243.4102 | 1157143.2392
33 | 2543360.8673 | 1157220.2899 | 2543360.0664 | 1157220.0459 | 2543359.0274 | 1157222.8906 | 2543358.0026 | 1157226.4244 | 2543355.0875 | 1157230.3429 | 2543351.7036 | 1157234.9661 | 2543345.9405 | 1157237.7331 | 2543339.4353 | 1157236.6161 | 2543333.2472 | 1157231.7274 | 2543309.8801 | 1157209.4582 | 2543299.0784 | 1157199.0322
34 | 2543211.875 | 1157041.416 | 2543193.9652 | 1157073.3247 | 2543190.8691 | 1157078.3789 | 2543185.94 | 1157081.7718
35 | 2543235.9593 | 1157055.0846 | 2543211.875 | 1157041.416
36 | 2543211.875 | 1157041.416 | 2543200.9945 | 1157035.2188
37 | 2543297.0898 | 1157095.7624 | 2543295.1364 | 1157097.5929 | 2543292.8811 | 1157099.115 | 2543286.6009 | 1157102.3538 | 2543280.8538 | 1157106.8216 | 2543277.2141 | 1157110.3468 | 2543274.5623 | 1157112.9176
38 | 2543262.9975 | 1157104.6557 | 2543274.5541 | 1157108.8044 | 2543275.2293 | 1157109.6651 | 2543275.1864 | 1157110.7995 | 2543274.5623 | 1157112.9176
39 | 2543229.2583 | 1157090.5113 | 2543229.5254 | 1157089.7943
40 | 2542741.5625 | 1157319.7633 | 2542746.3316 | 1157310.902 | 2542756.9043 | 1157301.9298 | 2542754.1153 | 1157293.0509
41 | 2542741.5625 | 1157319.7633 | 2542771.6912 | 1157332.4509
42 | 2542855.6618 | 1157349.137 | 2542857.7314 | 1157345.8378 | 2542873.088 | 1157319.0551 | 2542874.6365 | 1157317.4061 | 2542875.542 | 1157315.8745 | 2542875.4826 | 1157314.4632
43 | 2542855.6618 | 1157349.137 | 2542852.4644 | 1157352.358 | 2542848.1338 | 1157354.9451 | 2542843.9441 | 1157356.2301 | 2542838.8099 | 1157356.5569 | 2542834.6614 | 1157355.7181 | 2542825.3264 | 1157352.9499 | 2542820.5307 | 1157351.7838 | 2542815.7455 | 1157350.9178 | 2542812.213 | 1157350.6218
44 | 2542859.6037 | 1157351.623 | 2542855.6618 | 1157349.137
45 | 2542859.6037 | 1157351.623 | 2542848.7145 | 1157370.837 | 2542835.0393 | 1157396.214 | 2542832.4773 | 1157400.1294 | 2542829.5278 | 1157403.626 | 2542825.6887 | 1157407.0866 | 2542820.9292 | 1157409.7223 | 2542826.5957 | 1157423.4312 | 2542833.7323 | 1157434.5026 | 2542837.8885 | 1157440.9776 | 2542845.4744 | 1157458.9818 | 2542850.8833 | 1157473.0156 | 2542860.5372 | 1157493.2013 | 2542866.9491 | 1157503.8793 | 2542884.5193 | 1157534.1062
46 | 2543138.1058 | 1157520.1406 | 2543090.8018 | 1157496.8806
47 | 2543397.1209 | 1157650.6163 | 2543399.1416 | 1157649.4299
48 | 2543397.1209 | 1157650.6163 | 2543402.3266 | 1157656.2591 | 2543410.722 | 1157662.739 | 2543422.1152 | 1157671.6476 | 2543424.7458 | 1157674.8058
49 | 2542786.1105 | 1157341.3282 | 2542779.2781 | 1157335.6458 | 2542771.6912 | 1157332.4509
50 | 2542786.1105 | 1157341.3282 | 2542792.9351 | 1157346.9996 | 2542796.4317 | 1157349.4231 | 2542799.2419 | 1157349.8299 | 2542803.2372 | 1157349.8697 | 2542812.213 | 1157350.6218
51 | 2543121.1638 | 1156970.0892 | 2543121.2233 | 1156970.123
52 | 2543654.9982 | 1157529.2488 | 2543655.26 | 1157528.546 | 2543656.2992 | 1157525.7125 | 2543660.4709 | 1157514.3451 | 2543663.8462 | 1157506.3425
53 | 2543654.9982 | 1157529.2488 | 2543649.8207 | 1157525.7733 | 2543630.8365 | 1157511.5919
54 | 2543565.2216 | 1157568.5572 | 2543654.0034 | 1157533.5382 | 2543654.9982 | 1157529.2488
55 | 2543663.8462 | 1157506.3425 | 2543659.7456 | 1157502.4233 | 2543653.1579 | 1157495.737 | 2543651.6024 | 1157494.2175
56 | 2543663.8462 | 1157506.3425 | 2543677.9776 | 1157472.8587
57 | 2543621.6755 | 1157504.7484 | 2543630.8365 | 1157511.5919
58 | 2543565.2216 | 1157568.5572 | 2543561.1186 | 1157543.1625
59 | 2543565.2216 | 1157568.5572 | 2543540.3518 | 1157578.6852 | 2543523.5498 | 1157586.0424
60 | 2543559.7426 | 1157534.646 | 2543561.1186 | 1157543.1625
61 | 2543497.596 | 1157597.4069 | 2543523.5498 | 1157586.0424
62 | 2543677.9776 | 1157472.8587 | 2543667.8355 | 1157467.1697
63 | 2543312.0674 | 1157156.2973 | 2543317.5634 | 1157150.9988 | 2543336.6922 | 1157135.0635
64 | 2543360.8673 | 1157220.2899 | 2543376.4301 | 1157225.0311
65 | 2543235.9593 | 1157055.0846 | 2543230.8291 | 1157069.7005
66 | 2543185.729 | 1157015.2812 | 2543185.9098 | 1157015.3698 | 2543191.0821 | 1157029.573 | 2543200.9945 | 1157035.2188
67 | 2543297.0898 | 1157095.7624 | 2543298.9071 | 1157095.7564 | 2543300.5499 | 1157095.9521 | 2543302.2041 | 1157096.5479 | 2543303.5488 | 1157097.658 | 2543313.5212 | 1157107.8249
68 | 2543297.0898 | 1157095.7624 | 2543300.9377 | 1157091.546
69 | 2543239.5451 | 1157062.8994 | 2543229.5254 | 1157089.7943
70 | 2543169.5304 | 1156991.0339 | 2543186.5978 | 1156961.4245
71 | 2543169.5304 | 1156991.0339 | 2543171.7016 | 1157003.3089
72 | 2543169.5304 | 1156991.0339 | 2543153.5726 | 1156982.7051
73 | 2542884.5193 | 1157534.1062 | 2542906.9639 | 1157489.9692 | 2542928.5073 | 1157453.4337 | 2542935.6837 | 1157456.9624
74 | 2543399.1416 | 1157649.4299 | 2543419.8611 | 1157637.3236
75 | 2543399.1416 | 1157649.4299 | 2543395.8647 | 1157646.6815 | 2543387.3938 | 1157642.7704 | 2543374.6056 | 1157638.7888 | 2543369.0375 | 1157636.9959 | 2543362.5273 | 1157633.6777 | 2543361.644 | 1157632.9558
76 | 2543464.877 | 1157613.1803 | 2543436.6581 | 1157627.5092 | 2543419.8611 | 1157637.3236
77 | 2543464.877 | 1157613.1803 | 2543463.803 | 1157610.6779 | 2543462.4439 | 1157608.0338 | 2543460.7801 | 1157606.4041 | 2543458.5146 | 1157606.0141 | 2543456.6641 | 1157605.7314 | 2543455.3127 | 1157604.7102 | 2543454.1635 | 1157602.3642
78 | 2543464.877 | 1157613.1803 | 2543474.3391 | 1157608.3664
79 | 2543138.1058 | 1157520.1406 | 2543145.5521 | 1157523.802 | 2543163.9938 | 1157532.8657 | 2543180.2095 | 1157540.8721 | 2543192.3659 | 1157546.8745
80 | 2543474.3391 | 1157608.3664 | 2543485.4497 | 1157602.7255 | 2543497.596 | 1157597.4069
81 | 2543217.7835 | 1157559.4649 | 2543217.3015 | 1157559.1867
82 | 2543217.3015 | 1157559.1867 | 2543217.3015 | 1157559.1867 | 2543192.3659 | 1157546.8745
83 | 2543621.6755 | 1157504.7484 | 2543616.5425 | 1157500.9792
84 | 2543376.4301 | 1157225.0311 | 2543387.0735 | 1157228.2735
85 | 2543389.8861 | 1157225.679 | 2543387.0735 | 1157228.2735
86 | 2543389.8861 | 1157225.679 | 2543392.349 | 1157223.399 | 2543399.2286 | 1157225.8545
87 | 2543338.0056 | 1157133.9694 | 2543336.6922 | 1157135.0635
88 | 2543121.2233 | 1156970.123 | 2543146.8492 | 1156984.6785 | 2543149.0703 | 1156980.3552 | 2543153.5726 | 1156982.7051
89 | 2543171.7016 | 1157003.3089 | 2543168.3229 | 1157010.2189
90 | 2543171.7016 | 1157003.3089 | 2543172.7901 | 1157008.9349 | 2543185.729 | 1157015.2812
91 | 2543166.3607 | 1157014.2319 | 2543168.3229 | 1157010.2189
92 | 2543598.6917 | 1157488.2103 | 2543608.3418 | 1157494.9572 | 2543616.5425 | 1157500.9792
93 | 2543548.223 | 1157457.6686 | 2543560.4195 | 1157463.9129 | 2543576.3344 | 1157472.5791 | 2543598.6917 | 1157488.2103
94 | 2543239.5451 | 1157062.8994 | 2543247.2918 | 1157042.1034
95 | 2543239.5451 | 1157062.8994 | 2543253.6508 | 1157068.2023
96 | 2543305.1921 | 1157086.5365 | 2543302.8992 | 1157083.2675 | 2543303.7118 | 1157082.4372 | 2543306.6218 | 1157079.5971 | 2543292.9132 | 1157065.9859 | 2543291.9211 | 1157064.0498 | 2543291.7546 | 1157062.6617 | 2543291.9462 | 1157061.0257 | 2543292.6288 | 1157059.2297
97 | 2543305.1921 | 1157086.5365 | 2543303.4648 | 1157088.7651 | 2543300.9377 | 1157091.546
98 | 2543309.837 | 1157081.4566 | 2543305.1921 | 1157086.5365
99 | 2543258.1134 | 1157056.0091 | 2543255.4593 | 1157063.2159 | 2543253.9057 | 1157067.5884 | 2543253.6508 | 1157068.2023
100 | 2543297.2059 | 1157090.1917 | 2543300.9377 | 1157091.546

## bus_geodata
| x | y | coords
0 | 2542806.1261 | 1157192.8957
1 | 2542809.8071 | 1157171.8449
2 | 2542817.9721 | 1157255.4343
3 | 2542813.9418 | 1157151.0944
4 | 2542792.662 | 1157282.9345
5 | 2543148.0213 | 1157332.754
6 | 2543163.3781 | 1157336.633
7 | 2543145.5156 | 1157350.7429
8 | 2543281.4104 | 1157181.9788
9 | 2543071.6411 | 1157461.0907
10 | 2543181.9618 | 1157376.8454
11 | 2543117.0401 | 1157394.0823
12 | 2542951.8075 | 1157191.0272
13 | 2543062.9857 | 1156964.7844
14 | 2542917.7394 | 1157251.3613
15 | 2543111.6298 | 1157481.5783
16 | 2543067.181 | 1157475.8964
17 | 2542799.1102 | 1157309.7564
18 | 2543006.7405 | 1156945.4963
19 | 2543013.4901 | 1156975.5484
20 | 2543103.572 | 1156970.4165
21 | 2543446.1828 | 1157316.7864
22 | 2543483.8673 | 1157362.5936
23 | 2543310.7626 | 1157157.5553
24 | 2543243.4102 | 1157143.2392
25 | 2543299.0784 | 1157199.0322
26 | 2543185.94 | 1157081.7718
27 | 2543211.875 | 1157041.416
28 | 2543274.5623 | 1157112.9176
29 | 2543229.2583 | 1157090.5113
30 | 2542754.1153 | 1157293.0509
31 | 2542741.5625 | 1157319.7633
32 | 2542875.4826 | 1157314.4632
33 | 2542855.6618 | 1157349.137
34 | 2543196.458 | 1157355.5564
35 | 2542859.6037 | 1157351.623
36 | 2543090.8018 | 1157496.8806
37 | 2543397.1209 | 1157650.6163
38 | 2542786.1105 | 1157341.3282
39 | 2543121.1638 | 1156970.0892
40 | 2543654.9982 | 1157529.2488
41 | 2543663.8462 | 1157506.3425
42 | 2543630.8365 | 1157511.5919
43 | 2543565.2216 | 1157568.5572
44 | 2543561.1186 | 1157543.1625
45 | 2543523.5498 | 1157586.0424
46 | 2543677.9776 | 1157472.8587
47 | 2543667.8355 | 1157467.1697
48 | 2543312.0674 | 1157156.2973
49 | 2543360.8673 | 1157220.2899
50 | 2543235.9593 | 1157055.0846
51 | 2543200.9945 | 1157035.2188
52 | 2543297.0898 | 1157095.7624
53 | 2543262.9975 | 1157104.6557
54 | 2543229.5254 | 1157089.7943
55 | 2543186.5978 | 1156961.4245
56 | 2543169.5304 | 1156991.0339
57 | 2542812.213 | 1157350.6218
58 | 2542884.5193 | 1157534.1062
59 | 2542771.6912 | 1157332.4509
60 | 2542935.6837 | 1157456.9624
61 | 2543399.1416 | 1157649.4299
62 | 2543424.7458 | 1157674.8058
63 | 2543419.8611 | 1157637.3236
64 | 2543361.644 | 1157632.9558
65 | 2543464.877 | 1157613.1803
66 | 2543138.1058 | 1157520.1406
67 | 2543454.1635 | 1157602.3642
68 | 2543474.3391 | 1157608.3664
69 | 2543217.7835 | 1157559.4649
70 | 2543217.3015 | 1157559.1867
71 | 2543192.3659 | 1157546.8745
72 | 2543497.596 | 1157597.4069
73 | 2543559.7426 | 1157534.646
74 | 2543651.6024 | 1157494.2175
75 | 2543621.6755 | 1157504.7484
76 | 2543376.4301 | 1157225.0311
77 | 2543387.0735 | 1157228.2735
78 | 2543389.8861 | 1157225.679
79 | 2543399.2286 | 1157225.8545
80 | 2543336.6923 | 1157135.0635
81 | 2543338.0056 | 1157133.9694
82 | 2543121.2233 | 1156970.123
83 | 2543153.5726 | 1156982.7051
84 | 2543171.7016 | 1157003.3089
85 | 2543168.3229 | 1157010.2189
86 | 2543185.729 | 1157015.2812
87 | 2543166.3607 | 1157014.2319
88 | 2543230.8291 | 1157069.7005
89 | 2543598.6917 | 1157488.2103
90 | 2543616.5425 | 1157500.9792
91 | 2543548.223 | 1157457.6686
92 | 2543247.2918 | 1157042.1034
93 | 2543239.5451 | 1157062.8994
94 | 2543292.6288 | 1157059.2297
95 | 2543305.1921 | 1157086.5365
96 | 2543253.6508 | 1157068.2023
97 | 2543300.9377 | 1157091.546
98 | 2543309.837 | 1157081.4566
99 | 2543258.1134 | 1157056.0091
100 | 2543297.2059 | 1157090.1917
101 | 2543313.5212 | 1157107.8249
102 | 2543248.4856 | 1157138.2886

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1