## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5587-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5587-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5587-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5587-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5587-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5587-16_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5587-16_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5587-16_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5587-16_0_4_node_156 | 0.4 | n |  | TRUE
9 | bus_LV_5587-16_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5587-16_0_4_node_150 | 0.4 | n |  | TRUE
11 | bus_LV_5587-16_0_4_node_149 | 0.4 | n |  | TRUE
12 | bus_LV_5587-16_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_5587-16_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_5587-16_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5587-16_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5587-16_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5587-16_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5587-16_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5587-16_0_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_5587-16_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5587-16_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5587-16_0_4_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_5587-16_0_4_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_5587-16_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5587-16_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5587-16_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5587-16_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_5587-16_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_5587-16_0_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_5587-16_0_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_5587-16_0_4_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_5587-16_0_4_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_5587-16_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_5587-16_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5587-16_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5587-16_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5587-16_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5587-16_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_5587-16_0_4_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_5587-16_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5587-16_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5587-16_0_4_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_5587-16_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5587-16_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_5587-16_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5587-16_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5587-16_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5587-16_0_4_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_5587-16_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5587-16_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5587-16_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5587-16_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_5587-16_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_5587-16_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5587-16_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_5587-16_0_4_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_5587-16_0_4_node_104 | 0.4 | n |  | TRUE
58 | bus_LV_5587-16_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_5587-16_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_5587-16_0_4_node_109 | 0.4 | n |  | TRUE
61 | bus_LV_5587-16_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_5587-16_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_5587-16_0_4_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_5587-16_0_4_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_5587-16_0_4_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_5587-16_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5587-16_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5587-16_0_4_node_99 | 0.4 | n |  | TRUE
69 | bus_LV_5587-16_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_5587-16_0_4_node_100 | 0.4 | n |  | TRUE
71 | bus_LV_5587-16_0_4_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_5587-16_0_4_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_5587-16_0_4_node_101 | 0.4 | n |  | TRUE
74 | bus_LV_5587-16_0_4_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_5587-16_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_5587-16_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_5587-16_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_5587-16_0_4_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_5587-16_0_4_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_5587-16_0_4_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_5587-16_0_4_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_5587-16_0_4_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_5587-16_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_5587-16_0_4_node_122 | 0.4 | n |  | TRUE
85 | bus_LV_5587-16_0_4_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_5587-16_0_4_node_123 | 0.4 | n |  | TRUE
87 | bus_LV_5587-16_0_4_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_5587-16_0_4_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_5587-16_0_4_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_5587-16_0_4_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_5587-16_0_4_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_5587-16_0_4_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_5587-16_0_4_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_5587-16_0_4_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_5587-16_0_4_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_5587-16_0_4_node_78 | 0.4 | n |  | TRUE
97 | bus_LV_5587-16_0_4_node_131 | 0.4 | n |  | TRUE
98 | bus_LV_5587-16_0_4_node_132 | 0.4 | n |  | TRUE
99 | bus_LV_5587-16_0_4_node_82 | 0.4 | n |  | TRUE
100 | bus_LV_5587-16_0_4_node_83 | 0.4 | n |  | TRUE
101 | bus_LV_5587-16_0_4_node_84 | 0.4 | n |  | TRUE
102 | bus_LV_5587-16_0_4_node_85 | 0.4 | n |  | TRUE
103 | bus_LV_5587-16_0_4_node_86 | 0.4 | n |  | TRUE
104 | bus_LV_5587-16_0_4_node_96 | 0.4 | n |  | TRUE
105 | bus_LV_5587-16_0_4_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_5587-16_0_4_node_92 | 0.4 | n |  | TRUE
107 | bus_LV_5587-16_0_4_node_93 | 0.4 | n |  | TRUE
108 | bus_LV_5587-16_0_4_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_5587-16_0_4_node_146 | 0.4 | n |  | TRUE
110 | bus_LV_5587-16_0_4_node_95 | 0.4 | n |  | TRUE
111 | bus_LV_5587-16_0_4_node_102 | 0.4 | n |  | TRUE
112 | bus_LV_5587-16_0_4_node_103 | 0.4 | n |  | TRUE
113 | bus_LV_5587-16_0_4_node_105 | 0.4 | n |  | TRUE
114 | bus_LV_5587-16_0_4_node_106 | 0.4 | n |  | TRUE
115 | bus_LV_5587-16_0_4_node_120 | 0.4 | n |  | TRUE
116 | bus_LV_5587-16_0_4_node_157 | 0.4 | n |  | TRUE
117 | bus_LV_5587-16_0_4_node_158 | 0.4 | n |  | TRUE
118 | bus_LV_5587-16_0_4_node_118 | 0.4 | n |  | TRUE
119 | bus_LV_5587-16_0_4_node_107 | 0.4 | n |  | TRUE
120 | bus_LV_5587-16_0_4_node_110 | 0.4 | n |  | TRUE
121 | bus_LV_5587-16_0_4_node_111 | 0.4 | n |  | TRUE
122 | bus_LV_5587-16_0_4_node_112 | 0.4 | n |  | TRUE
123 | bus_LV_5587-16_0_4_node_130 | 0.4 | n |  | TRUE
124 | bus_LV_5587-16_0_4_node_115 | 0.4 | n |  | TRUE
125 | bus_LV_5587-16_0_4_node_113 | 0.4 | n |  | TRUE
126 | bus_LV_5587-16_0_4_node_114 | 0.4 | n |  | TRUE
127 | bus_LV_5587-16_0_4_node_116 | 0.4 | n |  | TRUE
128 | bus_LV_5587-16_0_4_node_117 | 0.4 | n |  | TRUE
129 | bus_LV_5587-16_0_4_node_121 | 0.4 | n |  | TRUE
130 | bus_LV_5587-16_0_4_node_124 | 0.4 | n |  | TRUE
131 | bus_LV_5587-16_0_4_node_129 | 0.4 | n |  | TRUE
132 | bus_LV_5587-16_0_4_node_127 | 0.4 | n |  | TRUE
133 | bus_LV_5587-16_0_4_node_125 | 0.4 | n |  | TRUE
134 | bus_LV_5587-16_0_4_node_126 | 0.4 | n |  | TRUE
135 | bus_LV_5587-16_0_4_node_128 | 0.4 | n |  | TRUE
136 | bus_LV_5587-16_0_4_node_138 | 0.4 | n |  | TRUE
137 | bus_LV_5587-16_0_4_node_154 | 0.4 | n |  | TRUE
138 | bus_LV_5587-16_0_4_node_155 | 0.4 | n |  | TRUE
139 | bus_LV_5587-16_0_4_node_133 | 0.4 | n |  | TRUE
140 | bus_LV_5587-16_0_4_node_139 | 0.4 | n |  | TRUE
141 | bus_LV_5587-16_0_4_node_153 | 0.4 | n |  | TRUE
142 | bus_LV_5587-16_0_4_node_134 | 0.4 | n |  | TRUE
143 | bus_LV_5587-16_0_4_node_136 | 0.4 | n |  | TRUE
144 | bus_LV_5587-16_0_4_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_5587-16_0_4_node_159 | 0.4 | n |  | TRUE
146 | bus_LV_5587-16_0_4_node_140 | 0.4 | n |  | TRUE
147 | bus_LV_5587-16_0_4_node_141 | 0.4 | n |  | TRUE
148 | bus_LV_5587-16_0_4_node_143 | 0.4 | n |  | TRUE
149 | bus_LV_5587-16_0_4_node_144 | 0.4 | n |  | TRUE
150 | bus_LV_5587-16_0_4_node_152 | 0.4 | n |  | TRUE
151 | bus_LV_5587-16_0_4_node_145 | 0.4 | n |  | TRUE
152 | bus_LV_5587-16_0_4_node_151 | 0.4 | n |  | TRUE
153 | bus_LV_5587-16_0_4_node_148 | 0.4 | n |  | TRUE
154 | bus_LV_5587-16_0_4_node_147 | 0.4 | n |  | TRUE
155 | bus_MV_448_1_node_208 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5587-16_0_4_load_0 | 0 | 0.0031875 | 0.00079886 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5587-16_0_4_load_1 | 1 | 0.00062415 | 0.00015643 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5587-16_0_4_load_3 | 3 | 0.0032806 | 0.00082219 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5587-16_0_4_load_4 | 4 | 0.00062989 | 0.00015786 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5587-16_0_4_load_5 | 5 | 0.0056032 | 0.0014043 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5587-16_0_4_load_7 | 7 | 0.0022067 | 0.00055306 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5587-16_0_4_load_156 | 8 | 0.0014521 | 0.00036392 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5587-16_0_4_load_25 | 12 | 0.0067526 | 0.0016924 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5587-16_0_4_load_26 | 13 | 0.0022234 | 0.00055723 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5587-16_0_4_load_9 | 14 | 0.0033122 | 0.00083012 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5587-16_0_4_load_10 | 15 | 0.001224 | 0.00030677 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5587-16_0_4_load_12 | 17 | 0.0025645 | 0.00064272 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5587-16_0_4_load_27 | 19 | 0.0027679 | 0.00069369 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5587-16_0_4_load_14 | 21 | 0.010453 | 0.0026197 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5587-16_0_4_load_45 | 22 | 0.0049648 | 0.0012443 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5587-16_0_4_load_53 | 23 | 0.0055923 | 0.0014016 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5587-16_0_4_load_18 | 25 | 0.0053322 | 0.0013364 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5587-16_0_4_load_19 | 26 | 0.0061406 | 0.001539 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5587-16_0_4_load_43 | 28 | 0.002612 | 0.00065464 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5587-16_0_4_load_44 | 30 | 0.0032391 | 0.00081179 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5587-16_0_4_load_71 | 32 | 0.0037516 | 0.00094023 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5587-16_0_4_load_35 | 33 | 0.0049228 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5587-16_0_4_load_20 | 34 | 0.0038945 | 0.00097606 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5587-16_0_4_load_21 | 35 | 0.0027375 | 0.00068609 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5587-16_0_4_load_32 | 38 | 0.0060369 | 0.001513 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5587-16_0_4_load_30 | 40 | 0.0058065 | 0.0014552 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5587-16_0_4_load_31 | 41 | 0.033271 | 0.0083386 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5587-16_0_4_load_56 | 42 | 0.0060446 | 0.0015149 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5587-16_0_4_load_28 | 43 | 0.00603 | 0.0015113 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5587-16_0_4_load_29 | 44 | 0.0098183 | 0.0024607 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5587-16_0_4_load_33 | 45 | 0.0079112 | 0.0019827 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5587-16_0_4_load_34 | 46 | 0.0031785 | 0.00079661 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5587-16_0_4_load_36 | 47 | 0.0055324 | 0.0013866 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5587-16_0_4_load_81 | 48 | 0.002975 | 0.00074561 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5587-16_0_4_load_38 | 49 | 0.0066646 | 0.0016703 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5587-16_0_4_load_39 | 50 | 0.0032809 | 0.00082227 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5587-16_0_4_load_52 | 53 | 0.0062242 | 0.0015599 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5587-16_0_4_load_48 | 54 | 0.0078871 | 0.0019767 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5587-16_0_4_load_60 | 55 | 0.0051135 | 0.0012816 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5587-16_0_4_load_108 | 56 | 0.0066426 | 0.0016648 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5587-16_0_4_load_104 | 57 | 0.0043396 | 0.0010876 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5587-16_0_4_load_58 | 59 | 0.0024744 | 0.00062014 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5587-16_0_4_load_109 | 60 | 0.003613 | 0.00090551 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5587-16_0_4_load_46 | 61 | 0.0020425 | 0.00051191 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5587-16_0_4_load_47 | 62 | 0.0017181 | 0.0004306 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5587-16_0_4_load_88 | 64 | 0.0028628 | 0.00071748 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5587-16_0_4_load_89 | 65 | 0.00078184 | 0.00019595 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5587-16_0_4_load_50 | 66 | 0.0051025 | 0.0012788 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5587-16_0_4_load_51 | 67 | 0.0058076 | 0.0014555 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5587-16_0_4_load_99 | 68 | 0.0095289 | 0.0023882 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5587-16_0_4_load_100 | 70 | 0.0043319 | 0.0010857 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5587-16_0_4_load_98 | 71 | 0.0052384 | 0.0013129 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5587-16_0_4_load_91 | 72 | 0.0075785 | 0.0018994 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5587-16_0_4_load_90 | 74 | 0.0020102 | 0.0005038 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5587-16_0_4_load_57 | 75 | 0.003978 | 0.00099699 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5587-16_0_4_load_59 | 76 | 0.0030702 | 0.00076948 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5587-16_0_4_load_61 | 77 | 0.003354 | 0.00084058 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5587-16_0_4_load_67 | 79 | 0.004197 | 0.0010519 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5587-16_0_4_load_63 | 80 | 0.0067185 | 0.0016838 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5587-16_0_4_load_64 | 81 | 0.0038959 | 0.00097641 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5587-16_0_4_load_66 | 82 | 0.0040099 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5587-16_0_4_load_68 | 83 | 0.0031636 | 0.00079286 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5587-16_0_4_load_122 | 84 | 0.0065651 | 0.0016454 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5587-16_0_4_load_69 | 85 | 0.0070253 | 0.0017607 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5587-16_0_4_load_123 | 86 | 0.0019225 | 0.00048181 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5587-16_0_4_load_70 | 87 | 0.0041133 | 0.0010309 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5587-16_0_4_load_79 | 89 | 0.0071107 | 0.0017821 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5587-16_0_4_load_72 | 90 | 0.0017265 | 0.00043269 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5587-16_0_4_load_75 | 93 | 0.0017895 | 0.0004485 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5587-16_0_4_load_76 | 94 | 0.0021064 | 0.0005279 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5587-16_0_4_load_78 | 96 | 0.0035696 | 0.00089463 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5587-16_0_4_load_131 | 97 | 0.0024578 | 0.00061597 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5587-16_0_4_load_132 | 98 | 0.0017251 | 0.00043236 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5587-16_0_4_load_82 | 99 | 0.0017205 | 0.00043119 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5587-16_0_4_load_83 | 100 | 0.0014934 | 0.00037429 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5587-16_0_4_load_84 | 101 | 0.0014566 | 0.00036507 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5587-16_0_4_load_85 | 102 | 0.0046945 | 0.0011766 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5587-16_0_4_load_86 | 103 | 0.0066111 | 0.0016569 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5587-16_0_4_load_96 | 104 | 0.00072512 | 0.00018173 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5587-16_0_4_load_94 | 105 | 0.0019356 | 0.00048511 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5587-16_0_4_load_92 | 106 | 0.0015177 | 0.00038037 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5587-16_0_4_load_93 | 107 | 0.004481 | 0.001123 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5587-16_0_4_load_146 | 109 | 0.0019032 | 0.00047698 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5587-16_0_4_load_95 | 110 | 0.0016711 | 0.00041881 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5587-16_0_4_load_103 | 112 | 0.003575 | 0.00089598 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5587-16_0_4_load_106 | 114 | 0.0036557 | 0.0009162 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5587-16_0_4_load_157 | 116 | 0.0034086 | 0.00085427 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5587-16_0_4_load_158 | 117 | 0.002812 | 0.00070475 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5587-16_0_4_load_107 | 119 | 0.0057578 | 0.001443 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5587-16_0_4_load_110 | 120 | 0.0024829 | 0.00062227 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5587-16_0_4_load_111 | 121 | 0.0022107 | 0.00055405 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5587-16_0_4_load_112 | 122 | 0.0012088 | 0.00030295 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5587-16_0_4_load_130 | 123 | 0.0013825 | 0.00034648 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5587-16_0_4_load_115 | 124 | 0.00065128 | 0.00016323 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5587-16_0_4_load_113 | 125 | 0.0029493 | 0.00073917 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5587-16_0_4_load_116 | 127 | 0.00071166 | 0.00017836 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5587-16_0_4_load_117 | 128 | 0.0045188 | 0.0011325 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5587-16_0_4_load_121 | 129 | 0.003796 | 0.00095136 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5587-16_0_4_load_124 | 130 | 0.0016112 | 0.0004038 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5587-16_0_4_load_129 | 131 | 0.0020516 | 0.00051417 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5587-16_0_4_load_127 | 132 | 0.00066731 | 0.00016724 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5587-16_0_4_load_125 | 133 | 0.0019592 | 0.00049102 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5587-16_0_4_load_126 | 134 | 0.0025592 | 0.0006414 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5587-16_0_4_load_128 | 135 | 0.0015083 | 0.00037802 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5587-16_0_4_load_154 | 137 | 0.0053384 | 0.0013379 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5587-16_0_4_load_139 | 140 | 0.002347 | 0.00058821 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5587-16_0_4_load_153 | 141 | 0.0015007 | 0.00037611 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5587-16_0_4_load_134 | 142 | 0.0014045 | 0.000352 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5587-16_0_4_load_159 | 145 | 0.0039894 | 0.00099984 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5587-16_0_4_load_140 | 146 | 0.0019621 | 0.00049176 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5587-16_0_4_load_144 | 149 | 0.0012049 | 0.00030199 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5587-16_0_4_load_152 | 150 | 0.0012606 | 0.00031593 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5587-16_0_4_load_151 | 152 | 0.00037994 | 9.5223e-05 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5587-16_0_4_load_148 | 153 | 0.00088317 | 0.00022134 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5587-16_0_4_load_147 | 154 | 0.00073897 | 0.0001852 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5587-16_0_4_line_0 |  | 0 | 1 | 0.016336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5587-16_0_4_line_1 |  | 0 | 2 | 0.013257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5587-16_0_4_line_2 |  | 1 | 3 | 0.0068671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5587-16_0_4_line_3 |  | 2 | 4 | 0.00164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5587-16_0_4_line_4 |  | 3 | 5 | 0.020316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5587-16_0_4_line_5 |  | 4 | 6 | 0.042102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5587-16_0_4_line_6 |  | 5 | 7 | 0.0098686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5587-16_0_4_line_7 |  | 6 | 8 | 0.05739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5587-16_0_4_line_8 |  | 7 | 9 | 0.01035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5587-16_0_4_line_9 |  | 8 | 10 | 0.003909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5587-16_0_4_line_10 |  | 9 | 12 | 0.0067434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5587-16_0_4_line_11 |  | 10 | 11 | 0.023275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5587-16_0_4_line_12 |  | 11 | 154 | 0.02832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5587-16_0_4_line_13 |  | 12 | 13 | 0.0035781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5587-16_0_4_line_14 |  | 13 | 19 | 0.004627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5587-16_0_4_line_15 |  | 14 | 15 | 0.011746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5587-16_0_4_line_16 |  | 14 | 16 | 0.0063486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5587-16_0_4_line_17 |  | 15 | 17 | 0.0030299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5587-16_0_4_line_18 |  | 16 | 18 | 0.068225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5587-16_0_4_line_19 |  | 17 | 19 | 0.0050707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5587-16_0_4_line_20 |  | 18 | 20 | 0.033056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5587-16_0_4_line_21 |  | 18 | 21 | 0.016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5587-16_0_4_line_22 |  | 20 | 22 | 0.019879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5587-16_0_4_line_23 |  | 20 | 23 | 0.01406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5587-16_0_4_line_24 |  | 21 | 24 | 0.0026165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5587-16_0_4_line_25 |  | 22 | 30 | 0.0013515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5587-16_0_4_line_26 |  | 23 | 31 | 0.0076354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5587-16_0_4_line_27 |  | 24 | 25 | 0.03057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5587-16_0_4_line_28 |  | 24 | 26 | 0.02156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5587-16_0_4_line_29 |  | 26 | 27 | 0.01 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5587-16_0_4_line_30 |  | 27 | 32 | 0.024387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5587-16_0_4_line_31 |  | 27 | 33 | 0.023752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5587-16_0_4_line_32 |  | 28 | 29 | 0.0032694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5587-16_0_4_line_33 |  | 29 | 52 | 0.015628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5587-16_0_4_line_34 |  | 29 | 49 | 0.014348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5587-16_0_4_line_35 |  | 30 | 61 | 0.01743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5587-16_0_4_line_36 |  | 31 | 69 | 0.022672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5587-16_0_4_line_37 |  | 31 | 66 | 0.020235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5587-16_0_4_line_38 |  | 32 | 48 | 0.00049062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5587-16_0_4_line_39 |  | 33 | 45 | 0.010148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5587-16_0_4_line_40 |  | 34 | 35 | 0.0099474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5587-16_0_4_line_41 |  | 34 | 36 | 0.0090891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5587-16_0_4_line_42 |  | 36 | 37 | 0.048669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5587-16_0_4_line_43 |  | 37 | 38 | 0.058549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5587-16_0_4_line_44 |  | 37 | 39 | 0.0070966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5587-16_0_4_line_45 |  | 38 | 40 | 0.019338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5587-16_0_4_line_46 |  | 38 | 41 | 0.010465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5587-16_0_4_line_47 |  | 39 | 42 | 0.020375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5587-16_0_4_line_48 |  | 40 | 43 | 0.0017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5587-16_0_4_line_49 |  | 42 | 47 | 0.01751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5587-16_0_4_line_50 |  | 43 | 44 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5587-16_0_4_line_51 |  | 45 | 46 | 0.0025602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5587-16_0_4_line_52 |  | 46 | 47 | 0.015208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5587-16_0_4_line_53 |  | 49 | 50 | 0.0069809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5587-16_0_4_line_54 |  | 50 | 51 | 0.0076128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5587-16_0_4_line_55 |  | 51 | 53 | 0.028864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5587-16_0_4_line_56 |  | 51 | 54 | 0.014059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5587-16_0_4_line_57 |  | 52 | 55 | 0.026401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5587-16_0_4_line_58 |  | 52 | 56 | 0.021526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5587-16_0_4_line_59 |  | 53 | 57 | 0.017751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5587-16_0_4_line_60 |  | 54 | 58 | 0.020863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5587-16_0_4_line_61 |  | 55 | 59 | 0.0076323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5587-16_0_4_line_62 |  | 56 | 60 | 0.017237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5587-16_0_4_line_63 |  | 58 | 66 | 0.021768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5587-16_0_4_line_64 |  | 58 | 67 | 0.02762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5587-16_0_4_line_65 |  | 59 | 75 | 0.003169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5587-16_0_4_line_66 |  | 60 | 120 | 0.030307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5587-16_0_4_line_67 |  | 62 | 63 | 0.0088478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5587-16_0_4_line_68 |  | 63 | 64 | 0.0066188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5587-16_0_4_line_69 |  | 63 | 65 | 0.015972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5587-16_0_4_line_70 |  | 64 | 102 | 0.010812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5587-16_0_4_line_71 |  | 65 | 104 | 0.014546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5587-16_0_4_line_72 |  | 67 | 68 | 0.0091856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5587-16_0_4_line_73 |  | 68 | 70 | 0.05251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5587-16_0_4_line_74 |  | 69 | 71 | 0.049482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5587-16_0_4_line_75 |  | 69 | 72 | 0.025815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5587-16_0_4_line_76 |  | 70 | 113 | 0.012455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5587-16_0_4_line_77 |  | 71 | 73 | 0.023543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5587-16_0_4_line_78 |  | 72 | 74 | 0.0027209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5587-16_0_4_line_79 |  | 73 | 111 | 0.004969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5587-16_0_4_line_80 |  | 73 | 112 | 0.033965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5587-16_0_4_line_81 |  | 74 | 106 | 0.035634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5587-16_0_4_line_82 |  | 75 | 76 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5587-16_0_4_line_83 |  | 76 | 77 | 0.0026561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5587-16_0_4_line_84 |  | 77 | 78 | 0.025585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5587-16_0_4_line_85 |  | 78 | 79 | 0.010171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5587-16_0_4_line_86 |  | 78 | 80 | 0.014508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5587-16_0_4_line_87 |  | 79 | 84 | 0.015071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5587-16_0_4_line_88 |  | 80 | 81 | 0.004985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5587-16_0_4_line_89 |  | 81 | 82 | 0.00088236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5587-16_0_4_line_90 |  | 82 | 83 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5587-16_0_4_line_91 |  | 83 | 85 | 0.021025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5587-16_0_4_line_92 |  | 84 | 86 | 0.022645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5587-16_0_4_line_93 |  | 85 | 87 | 0.014732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5587-16_0_4_line_94 |  | 86 | 130 | 0.0017098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5587-16_0_4_line_95 |  | 87 | 88 | 0.015993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5587-16_0_4_line_96 |  | 88 | 89 | 0.0082172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5587-16_0_4_line_97 |  | 89 | 93 | 0.030045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5587-16_0_4_line_98 |  | 90 | 91 | 0.023598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5587-16_0_4_line_99 |  | 90 | 92 | 0.0078724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5587-16_0_4_line_100 |  | 91 | 93 | 0.012845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5587-16_0_4_line_101 |  | 92 | 94 | 0.010376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5587-16_0_4_line_102 |  | 94 | 95 | 0.066176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5587-16_0_4_line_103 |  | 95 | 96 | 0.020204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5587-16_0_4_line_104 |  | 96 | 97 | 0.018549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5587-16_0_4_line_105 |  | 97 | 98 | 0.033029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5587-16_0_4_line_106 |  | 98 | 139 | 0.0019781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5587-16_0_4_line_107 |  | 99 | 100 | 1.1278e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5587-16_0_4_line_108 |  | 99 | 101 | 0.0046935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5587-16_0_4_line_109 |  | 100 | 102 | 0.0082262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5587-16_0_4_line_110 |  | 101 | 103 | 0.0078396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5587-16_0_4_line_111 |  | 104 | 105 | 0.0068196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5587-16_0_4_line_112 |  | 105 | 110 | 0.0036903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5587-16_0_4_line_113 |  | 106 | 107 | 0.01878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5587-16_0_4_line_114 |  | 107 | 108 | 0.0017643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5587-16_0_4_line_115 |  | 108 | 109 | 0.020204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5587-16_0_4_line_116 |  | 108 | 110 | 0.021143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5587-16_0_4_line_117 |  | 111 | 115 | 0.005762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5587-16_0_4_line_118 |  | 111 | 116 | 0.022136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5587-16_0_4_line_119 |  | 113 | 114 | 0.023652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5587-16_0_4_line_120 |  | 114 | 119 | 0.010837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5587-16_0_4_line_121 |  | 115 | 117 | 0.029204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5587-16_0_4_line_122 |  | 115 | 118 | 0.023163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5587-16_0_4_line_123 |  | 118 | 129 | 0.053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5587-16_0_4_line_124 |  | 118 | 128 | 0.010894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5587-16_0_4_line_125 |  | 120 | 121 | 0.0047857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5587-16_0_4_line_126 |  | 121 | 122 | 0.01976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5587-16_0_4_line_127 |  | 122 | 123 | 0.022596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5587-16_0_4_line_128 |  | 123 | 124 | 0.0062255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5587-16_0_4_line_129 |  | 124 | 126 | 0.0040303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5587-16_0_4_line_130 |  | 125 | 126 | 0.043903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5587-16_0_4_line_131 |  | 126 | 127 | 0.002914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5587-16_0_4_line_132 |  | 130 | 131 | 0.012611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5587-16_0_4_line_133 |  | 131 | 132 | 0.016713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5587-16_0_4_line_134 |  | 132 | 133 | 0.0068677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5587-16_0_4_line_135 |  | 133 | 134 | 0.022348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5587-16_0_4_line_136 |  | 134 | 135 | 0.022937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5587-16_0_4_line_137 |  | 135 | 136 | 0.006457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5587-16_0_4_line_138 |  | 136 | 137 | 0.027407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5587-16_0_4_line_139 |  | 136 | 138 | 0.019355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5587-16_0_4_line_140 |  | 138 | 145 | 0.014229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5587-16_0_4_line_141 |  | 139 | 140 | 0.014989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5587-16_0_4_line_142 |  | 140 | 141 | 0.015819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5587-16_0_4_line_143 |  | 141 | 144 | 0.03132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5587-16_0_4_line_144 |  | 142 | 143 | 0.032315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5587-16_0_4_line_145 |  | 143 | 144 | 0.046446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5587-16_0_4_line_146 |  | 146 | 147 | 0.014165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_5587-16_0_4_line_147 |  | 147 | 148 | 0.012412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_5587-16_0_4_line_148 |  | 147 | 149 | 0.022658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_5587-16_0_4_line_149 |  | 148 | 150 | 0.04494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_5587-16_0_4_line_150 |  | 150 | 152 | 0.011557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_5587-16_0_4_line_151 |  | 151 | 152 | 0.03835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_5587-16_0_4_line_152 |  | 151 | 153 | 0.06199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_5587-16_0_4_line_153 |  | 153 | 154 | 0.014049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5587-16_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 155 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2538467.7181 | 1156261.1884 | 2538466.7095 | 1156246.4926 | 2538466.6423 | 1156244.8886
1 | 2538469.4795 | 1156274.3238 | 2538467.8364 | 1156262.9122 | 2538467.7181 | 1156261.1884
2 | 2538466.6423 | 1156244.8886 | 2538466.3545 | 1156238.0275
3 | 2538469.4795 | 1156274.3238 | 2538469.8326 | 1156275.9253
4 | 2538466.3545 | 1156238.0275 | 2538466.3036 | 1156236.8137 | 2538466.8752 | 1156218.4979 | 2538466.9087 | 1156217.722
5 | 2538476.5091 | 1156317.4419 | 2538476.1924 | 1156311.9755 | 2538473.5832 | 1156293.8479 | 2538472.182 | 1156286.5806 | 2538469.8326 | 1156275.9253
6 | 2538467.3342 | 1156207.8626 | 2538466.9087 | 1156217.722
7 | 2538476.5091 | 1156317.4419 | 2538532.4306 | 1156304.5403
8 | 2538467.78 | 1156197.5217 | 2538467.5693 | 1156202.4154 | 2538467.3342 | 1156207.8626
9 | 2538532.4306 | 1156304.5403 | 2538535.5985 | 1156306.8425
10 | 2538467.78 | 1156197.5217 | 2538468.2018 | 1156190.7915 | 2538468.2018 | 1156190.7915
11 | 2538558.5845 | 1156310.7429 | 2538555.0897 | 1156310.2228 | 2538548.7684 | 1156309.2869 | 2538538.7908 | 1156307.777 | 2538535.5985 | 1156306.8425
12 | 2538558.5845 | 1156310.7429 | 2538564.0209 | 1156288.1639 | 2538565.6167 | 1156283.3243
13 | 2538468.2018 | 1156190.7915 | 2538468.5464 | 1156187.23
14 | 2538468.9924 | 1156182.6246 | 2538468.7358 | 1156185.2719 | 2538468.5464 | 1156187.23
15 | 2538469.7821 | 1156174.5626 | 2538470.9833 | 1156162.8782
16 | 2538471.7012 | 1156156.5704 | 2538471.1718 | 1156161.045 | 2538470.9833 | 1156162.8782
17 | 2538469.4816 | 1156177.5775 | 2538469.6375 | 1156175.9688 | 2538469.7821 | 1156174.5626
18 | 2538449.8112 | 1156109.2578 | 2538454.0292 | 1156107.7471 | 2538457.8808 | 1156105.651 | 2538460.0674 | 1156104.2389 | 2538462.4693 | 1156107.3716 | 2538467.1003 | 1156111.7265 | 2538470.289 | 1156116.0518 | 2538472.0393 | 1156120.703 | 2538473.3661 | 1156125.9479 | 2538473.5453 | 1156129.2145 | 2538473.508 | 1156133.0614 | 2538473.289 | 1156137.1325 | 2538472.9191 | 1156142.2057 | 2538471.7012 | 1156156.5704
19 | 2538469.4816 | 1156177.5775 | 2538468.9924 | 1156182.6246
20 | 2538449.8112 | 1156109.2578 | 2538454.0292 | 1156107.7471 | 2538457.8808 | 1156105.651 | 2538460.0674 | 1156104.2389 | 2538461.9726 | 1156102.3073 | 2538463.3035 | 1156100.4593 | 2538463.905 | 1156099.2858 | 2538464.3459 | 1156098.1474 | 2538464.5578 | 1156096.3776 | 2538468.3276 | 1156096.7836 | 2538473.6633 | 1156097.3182 | 2538476.7849 | 1156097.3307
21 | 2538449.8112 | 1156109.2578 | 2538443.4722 | 1156111.1015 | 2538437.1856 | 1156112.8224 | 2538434.0402 | 1156113.6939
22 | 2538476.7849 | 1156097.3307 | 2538481.719 | 1156099.837 | 2538488.704 | 1156103.4008 | 2538494.3711 | 1156106.5899
23 | 2538476.7849 | 1156097.3307 | 2538480.7066 | 1156096.0898 | 2538482.7459 | 1156095.2685 | 2538485.459 | 1156093.5843 | 2538489.2617 | 1156091.0766
24 | 2538431.5187 | 1156114.3925 | 2538434.0402 | 1156113.6939
25 | 2538495.5489 | 1156107.2527 | 2538494.3711 | 1156106.5899
26 | 2538495.7536 | 1156087.0642 | 2538494.6552 | 1156087.6536 | 2538491.7438 | 1156089.4399 | 2538489.2617 | 1156091.0766
27 | 2538431.5187 | 1156114.3925 | 2538428.3233 | 1156083.9976
28 | 2538431.5187 | 1156114.3925 | 2538412.8319 | 1156119.2199 | 2538410.6086 | 1156119.6228
29 | 2538400.6824 | 1156120.6008 | 2538406.2638 | 1156120.4101 | 2538410.6086 | 1156119.6228
30 | 2538400.6824 | 1156120.6008 | 2538397.7417 | 1156120.2752 | 2538394.801 | 1156119.9496 | 2538377.2173 | 1156114.2984
31 | 2538400.6824 | 1156120.6008 | 2538399.3208 | 1156123.9388 | 2538398.5429 | 1156125.8589 | 2538393.6293 | 1156132.0793 | 2538386.9099 | 1156139.4522 | 2538386.7982 | 1156139.5835
32 | 2538436.7416 | 1156035.8518 | 2538438.1565 | 1156038.7992
33 | 2538430.1234 | 1156021.6897 | 2538436.7416 | 1156035.8518
34 | 2538436.7416 | 1156035.8518 | 2538441.5401 | 1156034.1017 | 2538448.8549 | 1156033.1707 | 2538450.7162 | 1156033.0369
35 | 2538511.0695 | 1156115.0467 | 2538507.1169 | 1156113.7624 | 2538495.5489 | 1156107.2527
36 | 2538495.7536 | 1156087.0642 | 2538502.7701 | 1156084.7245 | 2538507.878 | 1156082.4821 | 2538512.3527 | 1156080.5686 | 2538516.7641 | 1156078.4667
37 | 2538495.7536 | 1156087.0642 | 2538497.437 | 1156082.9447 | 2538498.057 | 1156078.3359 | 2538498.0564 | 1156067.7857 | 2538498.0394 | 1156067.2019
38 | 2538376.7503 | 1156114.1483 | 2538377.2173 | 1156114.2984
39 | 2538380.2191 | 1156147.3103 | 2538386.7982 | 1156139.5835
40 | 2538362.0372 | 1156243.0889 | 2538361.8536 | 1156242.5097 | 2538358.5263 | 1156233.7827
41 | 2538355.2884 | 1156225.2899 | 2538358.5263 | 1156233.7827
42 | 2538336.1857 | 1156180.6172 | 2538338.7817 | 1156185.4598 | 2538342.9248 | 1156193.0992 | 2538348.6921 | 1156208.0371 | 2538353.9864 | 1156221.7346 | 2538355.2884 | 1156225.2899
43 | 2538387.9874 | 1156176.4502 | 2538385.1452 | 1156173.7667 | 2538381.056 | 1156169.8844 | 2538378.1422 | 1156167.6908 | 2538373.9466 | 1156166.1552 | 2538370.6753 | 1156165.7441 | 2538363.7288 | 1156167.4274 | 2538355.0881 | 1156171.4182 | 2538341.445 | 1156177.4504 | 2538336.1857 | 1156180.6172
44 | 2538332.839 | 1156174.3592 | 2538334.6922 | 1156177.8199 | 2538336.1857 | 1156180.6172
45 | 2538387.9874 | 1156176.4502 | 2538392.1768 | 1156195.3286
46 | 2538387.9874 | 1156176.4502 | 2538377.767 | 1156178.699
47 | 2538332.839 | 1156174.3592 | 2538338.5531 | 1156172.9109 | 2538343.8976 | 1156171.3219 | 2538352.0693 | 1156167.7847
48 | 2538390.4413 | 1156195.7115 | 2538392.1768 | 1156195.3286
49 | 2538367.466 | 1156159.5885 | 2538365.8017 | 1156160.9137 | 2538361.9679 | 1156163.2321 | 2538359.0768 | 1156164.7515 | 2538352.0693 | 1156167.7847
50 | 2538390.4413 | 1156195.7115 | 2538376.4826 | 1156198.7914 | 2538376.4826 | 1156198.7914
51 | 2538380.2191 | 1156147.3103 | 2538378.5593 | 1156149.2596
52 | 2538378.5593 | 1156149.2596 | 2538375.3459 | 1156153.0338 | 2538370.4269 | 1156157.2309 | 2538367.466 | 1156159.5885
53 | 2538450.7162 | 1156033.0369 | 2538454.986 | 1156032.7299 | 2538457.6852 | 1156032.66
54 | 2538465.257 | 1156032.8804 | 2538463.5122 | 1156032.5091 | 2538457.6852 | 1156032.66
55 | 2538465.257 | 1156032.8804 | 2538458.2051 | 1156011.5743 | 2538458.8242 | 1156005.1832
56 | 2538465.257 | 1156032.8804 | 2538473.2663 | 1156034.6104 | 2538478.8821 | 1156036.3009
57 | 2538430.1234 | 1156021.6897 | 2538426.0068 | 1156021.8765 | 2538418.9736 | 1156021.8485 | 2538409.2991 | 1156020.0356 | 2538403.953 | 1156019.2455
58 | 2538430.1234 | 1156021.6897 | 2538423.8806 | 1156006.0008 | 2538422.3437 | 1156001.6224
59 | 2538460.5356 | 1155987.5152 | 2538458.8242 | 1156005.1832
60 | 2538497.4748 | 1156045.4462 | 2538493.1404 | 1156042.3445 | 2538488.9522 | 1156040.0305 | 2538482.1597 | 1156037.2875 | 2538478.8821 | 1156036.3009
61 | 2538403.953 | 1156019.2455 | 2538398.2179 | 1156018.6596 | 2538396.3507 | 1156018.6373
62 | 2538422.3437 | 1156001.6224 | 2538419.4091 | 1155993.2619 | 2538416.8215 | 1155985.2947
63 | 2538497.4748 | 1156045.4462 | 2538497.4502 | 1156052.0278 | 2538497.7724 | 1156058.0278 | 2538498.0394 | 1156067.2019
64 | 2538497.4748 | 1156045.4462 | 2538498.7144 | 1156040.6754 | 2538501.5768 | 1156030.3516 | 2538504.8061 | 1156018.8176
65 | 2538393.182 | 1156018.5994 | 2538396.3507 | 1156018.6373
66 | 2538408.0055 | 1155956.3022 | 2538410.0877 | 1155963.8192 | 2538414.7523 | 1155978.924 | 2538416.8215 | 1155985.2947
67 | 2538549.186 | 1156140.9912 | 2538544.5038 | 1156137.6151 | 2538542.0356 | 1156135.7804
68 | 2538549.186 | 1156140.9912 | 2538543.5886 | 1156144.5238
69 | 2538549.186 | 1156140.9912 | 2538554.6576 | 1156139.0787 | 2538558.9451 | 1156136.8559 | 2538563.4596 | 1156133.9914
70 | 2538534.5133 | 1156150.3997 | 2538540.4838 | 1156146.4832 | 2538543.5886 | 1156144.5238
71 | 2538574.4305 | 1156124.483 | 2538565.2848 | 1156132.8333 | 2538563.4596 | 1156133.9914
72 | 2538504.8061 | 1156018.8176 | 2538507.2827 | 1156009.9722
73 | 2538521.322 | 1155959.3734 | 2538508.9313 | 1156004.0843 | 2538507.2827 | 1156009.9722
74 | 2538516.7641 | 1156078.4667 | 2538519.0258 | 1156073.1518 | 2538535.027 | 1156046.4403 | 2538541.4121 | 1156035.615
75 | 2538516.7641 | 1156078.4667 | 2538541.4602 | 1156085.9856
76 | 2538524.6484 | 1155947.3704 | 2538521.322 | 1155959.3734
77 | 2538554.6521 | 1156016.3566 | 2538550.3983 | 1156020.38 | 2538541.4121 | 1156035.615
78 | 2538544.0631 | 1156086.778 | 2538541.4602 | 1156085.9856
79 | 2538554.6521 | 1156016.3566 | 2538559.0145 | 1156013.9551
80 | 2538554.6521 | 1156016.3566 | 2538557.5186 | 1156004.1762 | 2538559.9081 | 1155982.8579
81 | 2538544.0631 | 1156086.778 | 2538578.1526 | 1156097.1567
82 | 2538393.182 | 1156018.5994 | 2538388.7066 | 1156018.5459 | 2538382.9264 | 1156019.0535
83 | 2538380.2805 | 1156019.2858 | 2538382.9264 | 1156019.0535
84 | 2538354.8953 | 1156019.6377 | 2538357.204 | 1156020.4034 | 2538360.2601 | 1156020.7611 | 2538365.3182 | 1156020.3979 | 2538373.5116 | 1156019.8802 | 2538380.2805 | 1156019.2858
85 | 2538354.8953 | 1156019.6377 | 2538352.6419 | 1156016.0478 | 2538350.0338 | 1156012.2614 | 2538349.3223 | 1156011.1322
86 | 2538354.8953 | 1156019.6377 | 2538353.2116 | 1156021.4893 | 2538351.3843 | 1156023.5314 | 2538349.9268 | 1156025.7476 | 2538349.3352 | 1156027.1433 | 2538349.3161 | 1156032.2395
87 | 2538349.3223 | 1156011.1322 | 2538346.3382 | 1156006.3961 | 2538344.0173 | 1156001.4506 | 2538342.9591 | 1155997.5823
88 | 2538349.3161 | 1156032.2395 | 2538349.2974 | 1156037.2245
89 | 2538349.2925 | 1156038.1068 | 2538349.2942 | 1156038.083 | 2538349.2974 | 1156037.2245
90 | 2538348.345 | 1156051.5261 | 2538349.2925 | 1156038.1068
91 | 2538348.345 | 1156051.5261 | 2538347.801 | 1156059.232 | 2538346.6106 | 1156072.479
92 | 2538342.9591 | 1155997.5823 | 2538336.984 | 1155975.7399
93 | 2538346.6106 | 1156072.479 | 2538345.9632 | 1156079.6842 | 2538344.8049 | 1156084.8878 | 2538344.2349 | 1156086.9783
94 | 2538336.5328 | 1155974.0907 | 2538336.984 | 1155975.7399
95 | 2538340.5147 | 1156102.5303 | 2538341.2131 | 1156099.5882 | 2538342.3233 | 1156094.9187 | 2538343.504 | 1156089.6593 | 2538344.2349 | 1156086.9783
96 | 2538340.5147 | 1156102.5303 | 2538332.6453 | 1156100.1651
97 | 2538303.7023 | 1156092.509 | 2538305.1853 | 1156092.4208 | 2538308.7959 | 1156092.9952 | 2538312.0809 | 1156093.9842 | 2538332.6453 | 1156100.1651
98 | 2538291.6988 | 1156096.5393 | 2538283.3744 | 1156080.5606 | 2538280.7688 | 1156075.625
99 | 2538277.0935 | 1156068.6631 | 2538280.7688 | 1156075.625
100 | 2538291.6988 | 1156096.5393 | 2538295.0624 | 1156094.726 | 2538298.169 | 1156093.2822 | 2538301.5676 | 1156092.6359 | 2538303.7023 | 1156092.509
101 | 2538277.0935 | 1156068.6631 | 2538272.2711 | 1156059.4754
102 | 2538241.5159 | 1156000.8807 | 2538272.2711 | 1156059.4754
103 | 2538241.5159 | 1156000.8807 | 2538232.0593 | 1155983.0269
104 | 2538223.3773 | 1155966.6355 | 2538232.0593 | 1155983.0269
105 | 2538223.3773 | 1155966.6355 | 2538207.9178 | 1155937.4482
106 | 2538206.9919 | 1155935.7002 | 2538207.9178 | 1155937.4482
107 | 2538527.0282 | 1156153.6442 | 2538527.0171 | 1156153.6463
108 | 2538522.4051 | 1156154.517 | 2538527.0171 | 1156153.6463
109 | 2538534.5133 | 1156150.3997 | 2538533.5284 | 1156151.0457 | 2538528.8808 | 1156153.2945 | 2538527.0282 | 1156153.6442
110 | 2538514.5795 | 1156154.9862 | 2538522.4051 | 1156154.517 | 2538522.4051 | 1156154.517
111 | 2538574.4305 | 1156124.483 | 2538579.4667 | 1156119.8848
112 | 2538582.1919 | 1156117.3966 | 2538579.4667 | 1156119.8848
113 | 2538596.1182 | 1156102.6264 | 2538578.1526 | 1156097.1567
114 | 2538597.806 | 1156103.1403 | 2538596.1182 | 1156102.6264
115 | 2538597.806 | 1156103.1403 | 2538609.9357 | 1156107.3186 | 2538616.7179 | 1156110.2149
116 | 2538597.806 | 1156103.1403 | 2538582.1919 | 1156117.3966
117 | 2538564.0161 | 1156011.069 | 2538559.0145 | 1156013.9551
118 | 2538568.4153 | 1156034.0032 | 2538559.0145 | 1156013.9551
119 | 2538524.6484 | 1155947.3704 | 2538501.2939 | 1155943.6299
120 | 2538490.5933 | 1155941.916 | 2538501.2939 | 1155943.6299
121 | 2538587.9893 | 1156027.3995 | 2538583.6582 | 1156026.1097 | 2538564.0161 | 1156011.069
122 | 2538584.122 | 1155999.4683 | 2538564.0161 | 1156011.069
123 | 2538584.122 | 1155999.4683 | 2538607.7271 | 1156015.8137 | 2538626.4951 | 1156031.2301
124 | 2538584.122 | 1155999.4683 | 2538592.3966 | 1155992.3821
125 | 2538408.0055 | 1155956.3022 | 2538406.7279 | 1155951.6901
126 | 2538401.4477 | 1155932.6496 | 2538401.7267 | 1155933.7886 | 2538406.0896 | 1155949.3857 | 2538406.7279 | 1155951.6901
127 | 2538396.1724 | 1155910.678 | 2538398.5568 | 1155920.8474 | 2538401.4477 | 1155932.6496
128 | 2538394.998 | 1155904.5651 | 2538395.9902 | 1155909.9011 | 2538396.1724 | 1155910.678
129 | 2538394.2612 | 1155900.6027 | 2538394.998 | 1155904.5651
130 | 2538394.2612 | 1155900.6027 | 2538405.4689 | 1155892.6057 | 2538435.5942 | 1155893.343
131 | 2538394.2612 | 1155900.6027 | 2538393.867 | 1155897.7155
132 | 2538336.5328 | 1155974.0907 | 2538333.2052 | 1155961.9264
133 | 2538328.7953 | 1155945.8055 | 2538333.2052 | 1155961.9264
134 | 2538328.7953 | 1155945.8055 | 2538328.566 | 1155944.9673 | 2538327.4362 | 1155939.076
135 | 2538327.4362 | 1155939.076 | 2538323.2271 | 1155917.1276
136 | 2538318.9071 | 1155894.6007 | 2538323.2271 | 1155917.1276
137 | 2538317.691 | 1155888.2593 | 2538318.9071 | 1155894.6007
138 | 2538317.691 | 1155888.2593 | 2538345.1588 | 1155889.2779
139 | 2538314.0521 | 1155869.253 | 2538317.691 | 1155888.2593
140 | 2538314.0521 | 1155869.253 | 2538300.2372 | 1155872.819
141 | 2538206.9919 | 1155935.7002 | 2538199.9779 | 1155922.4533
142 | 2538199.9779 | 1155922.4533 | 2538192.5759 | 1155908.4734
143 | 2538178.0332 | 1155880.7349 | 2538181.8531 | 1155888.2219 | 2538192.5759 | 1155908.4734
144 | 2538211.1495 | 1155855.2582 | 2538240.6472 | 1155842.0627
145 | 2538178.0332 | 1155880.7349 | 2538179.6779 | 1155879.5729 | 2538181.0276 | 1155878.0693 | 2538182.0143 | 1155876.3137 | 2538182.585 | 1155874.3846 | 2538182.7101 | 1155872.3822 | 2538182.3905 | 1155870.3955 | 2538181.6426 | 1155868.5244 | 2538189.8643 | 1155864.7712 | 2538211.1495 | 1155855.2582
146 | 2538669.0551 | 1156315.6947 | 2538671.0097 | 1156329.7238
147 | 2538681.3849 | 1156313.9901 | 2538669.0551 | 1156315.6947
148 | 2538667.1398 | 1156293.3688 | 2538668.9485 | 1156300.0095 | 2538668.3193 | 1156308.9874 | 2538668.4081 | 1156312.4217 | 2538669.0551 | 1156315.6947
149 | 2538681.3849 | 1156313.9901 | 2538681.7484 | 1156312.0298 | 2538683.1403 | 1156307.1463 | 2538684.0003 | 1156303.4911 | 2538684.4691 | 1156299.0839 | 2538683.8587 | 1156294.8878 | 2538681.7691 | 1156289.2728 | 2538676.6691 | 1156270.5035 | 2538676.6691 | 1156270.5035
150 | 2538665.5147 | 1156273.5255 | 2538676.6691 | 1156270.5035
151 | 2538629.6262 | 1156286.9928 | 2538662.0003 | 1156274.4776 | 2538665.5147 | 1156273.5255
152 | 2538629.6262 | 1156286.9928 | 2538570.0163 | 1156269.9816
153 | 2538565.6167 | 1156283.3243 | 2538570.0163 | 1156269.9816

## bus_geodata
| x | y | coords
0 | 2538467.7181 | 1156261.1884
1 | 2538466.6423 | 1156244.8886
2 | 2538469.4795 | 1156274.3238
3 | 2538466.3545 | 1156238.0275
4 | 2538469.8326 | 1156275.9253
5 | 2538466.9087 | 1156217.722
6 | 2538476.5091 | 1156317.4419
7 | 2538467.3342 | 1156207.8626
8 | 2538532.4306 | 1156304.5403
9 | 2538467.78 | 1156197.5217
10 | 2538535.5985 | 1156306.8425
11 | 2538558.5845 | 1156310.7429
12 | 2538468.2018 | 1156190.7915
13 | 2538468.5464 | 1156187.2301
14 | 2538470.9833 | 1156162.8782
15 | 2538469.7821 | 1156174.5626
16 | 2538471.7012 | 1156156.5704
17 | 2538469.4816 | 1156177.5775
18 | 2538449.8112 | 1156109.2578
19 | 2538468.9924 | 1156182.6246
20 | 2538476.7849 | 1156097.3307
21 | 2538434.0402 | 1156113.6939
22 | 2538494.3711 | 1156106.5899
23 | 2538489.2617 | 1156091.0766
24 | 2538431.5187 | 1156114.3925
25 | 2538428.3233 | 1156083.9976
26 | 2538410.6086 | 1156119.6228
27 | 2538400.6824 | 1156120.6008
28 | 2538438.1565 | 1156038.7992
29 | 2538436.7416 | 1156035.8518
30 | 2538495.5489 | 1156107.2527
31 | 2538495.7536 | 1156087.0642
32 | 2538377.2173 | 1156114.2984
33 | 2538386.7982 | 1156139.5835
34 | 2538358.5263 | 1156233.7827
35 | 2538362.0372 | 1156243.0889
36 | 2538355.2884 | 1156225.2899
37 | 2538336.1857 | 1156180.6172
38 | 2538387.9874 | 1156176.4502
39 | 2538332.839 | 1156174.3592
40 | 2538392.1768 | 1156195.3286
41 | 2538377.767 | 1156178.699
42 | 2538352.0693 | 1156167.7847
43 | 2538390.4413 | 1156195.7115
44 | 2538376.4826 | 1156198.7914
45 | 2538380.2191 | 1156147.3103
46 | 2538378.5593 | 1156149.2596
47 | 2538367.466 | 1156159.5885
48 | 2538376.7503 | 1156114.1483
49 | 2538450.7162 | 1156033.0369
50 | 2538457.6852 | 1156032.66
51 | 2538465.257 | 1156032.8804
52 | 2538430.1234 | 1156021.6897
53 | 2538458.8242 | 1156005.1832
54 | 2538478.8821 | 1156036.3009
55 | 2538403.953 | 1156019.2455
56 | 2538422.3437 | 1156001.6224
57 | 2538460.5356 | 1155987.5152
58 | 2538497.4748 | 1156045.4462
59 | 2538396.3507 | 1156018.6373
60 | 2538416.8215 | 1155985.2947
61 | 2538511.0695 | 1156115.0467
62 | 2538542.0356 | 1156135.7804
63 | 2538549.186 | 1156140.9912
64 | 2538543.5886 | 1156144.5238
65 | 2538563.4596 | 1156133.9914
66 | 2538498.0394 | 1156067.2019
67 | 2538504.8061 | 1156018.8176
68 | 2538507.2827 | 1156009.9722
69 | 2538516.7641 | 1156078.4667
70 | 2538521.322 | 1155959.3734
71 | 2538541.4121 | 1156035.615
72 | 2538541.4602 | 1156085.9856
73 | 2538554.6521 | 1156016.3566
74 | 2538544.0631 | 1156086.778
75 | 2538393.182 | 1156018.5994
76 | 2538382.9264 | 1156019.0535
77 | 2538380.2805 | 1156019.2858
78 | 2538354.8953 | 1156019.6377
79 | 2538349.3223 | 1156011.1322
80 | 2538349.3161 | 1156032.2395
81 | 2538349.2974 | 1156037.2245
82 | 2538349.2925 | 1156038.1068
83 | 2538348.345 | 1156051.5261
84 | 2538342.9591 | 1155997.5823
85 | 2538346.6106 | 1156072.479
86 | 2538336.984 | 1155975.7399
87 | 2538344.2349 | 1156086.9783
88 | 2538340.5147 | 1156102.5303
89 | 2538332.6453 | 1156100.1651
90 | 2538280.7688 | 1156075.625
91 | 2538291.6988 | 1156096.5393
92 | 2538277.0935 | 1156068.6631
93 | 2538303.7023 | 1156092.509
94 | 2538272.2711 | 1156059.4754
95 | 2538241.5159 | 1156000.8807
96 | 2538232.0593 | 1155983.0269
97 | 2538223.3773 | 1155966.6355
98 | 2538207.9178 | 1155937.4482
99 | 2538527.0171 | 1156153.6463
100 | 2538527.0282 | 1156153.6442
101 | 2538522.4051 | 1156154.517
102 | 2538534.5133 | 1156150.3997
103 | 2538514.5795 | 1156154.9862
104 | 2538574.4305 | 1156124.483
105 | 2538579.4667 | 1156119.8848
106 | 2538578.1526 | 1156097.1567
107 | 2538596.1182 | 1156102.6264
108 | 2538597.806 | 1156103.1403
109 | 2538616.7179 | 1156110.2149
110 | 2538582.1919 | 1156117.3966
111 | 2538559.0145 | 1156013.9551
112 | 2538559.9081 | 1155982.8579
113 | 2538524.6484 | 1155947.3704
114 | 2538501.2939 | 1155943.6299
115 | 2538564.0161 | 1156011.069
116 | 2538568.4153 | 1156034.0032
117 | 2538587.9893 | 1156027.3995
118 | 2538584.122 | 1155999.4683
119 | 2538490.5933 | 1155941.916
120 | 2538408.0055 | 1155956.3022
121 | 2538406.7279 | 1155951.6901
122 | 2538401.4477 | 1155932.6496
123 | 2538396.1724 | 1155910.678
124 | 2538394.998 | 1155904.5651
125 | 2538435.5942 | 1155893.343
126 | 2538394.2612 | 1155900.6027
127 | 2538393.867 | 1155897.7155
128 | 2538592.3966 | 1155992.3821
129 | 2538626.4952 | 1156031.2301
130 | 2538336.5328 | 1155974.0907
131 | 2538333.2052 | 1155961.9264
132 | 2538328.7953 | 1155945.8055
133 | 2538327.4362 | 1155939.076
134 | 2538323.2271 | 1155917.1276
135 | 2538318.9071 | 1155894.6007
136 | 2538317.691 | 1155888.2593
137 | 2538345.1588 | 1155889.2779
138 | 2538314.0521 | 1155869.253
139 | 2538206.9919 | 1155935.7002
140 | 2538199.9779 | 1155922.4533
141 | 2538192.5759 | 1155908.4734
142 | 2538240.6472 | 1155842.0627
143 | 2538211.1495 | 1155855.2582
144 | 2538178.0332 | 1155880.7349
145 | 2538300.2372 | 1155872.819
146 | 2538671.0097 | 1156329.7238
147 | 2538669.0551 | 1156315.6947
148 | 2538681.3849 | 1156313.9901
149 | 2538667.1398 | 1156293.3688
150 | 2538676.6691 | 1156270.5035
151 | 2538629.6262 | 1156286.9928
152 | 2538665.5147 | 1156273.5255
153 | 2538570.0163 | 1156269.9816
154 | 2538565.6167 | 1156283.3243
155 | 2538431.5187 | 1156114.3925

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1