## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5587-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5587-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5587-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5587-18_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5587-18_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5587-18_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5587-18_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5587-18_0_4_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_5587-18_0_4_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_5587-18_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5587-18_0_4_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_5587-18_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_5587-18_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5587-18_0_4_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_5587-18_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5587-18_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_5587-18_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_5587-18_0_4_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_5587-18_0_4_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_5587-18_0_4_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_5587-18_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5587-18_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5587-18_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_5587-18_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5587-18_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5587-18_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_5587-18_0_4_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_5587-18_0_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_5587-18_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_5587-18_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_5587-18_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5587-18_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_5587-18_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5587-18_0_4_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_5587-18_0_4_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_5587-18_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_5587-18_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5587-18_0_4_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_5587-18_0_4_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_5587-18_0_4_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_5587-18_0_4_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_5587-18_0_4_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_5587-18_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_5587-18_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_5587-18_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5587-18_0_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_5587-18_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5587-18_0_4_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_5587-18_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5587-18_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_5587-18_0_4_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_5587-18_0_4_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_5587-18_0_4_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_5587-18_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_5587-18_0_4_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_5587-18_0_4_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_5587-18_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_5587-18_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_5587-18_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_5587-18_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5587-18_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_5587-18_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_5587-18_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_5587-18_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_5587-18_0_4_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_5587-18_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_MV_448_1_node_211 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5587-18_0_4_load_0 | 0 | 0.0095422 | 0.0023915 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5587-18_0_4_load_3 | 3 | 0.0088744 | 0.0022241 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5587-18_0_4_load_7 | 5 | 0.016752 | 0.0041983 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5587-18_0_4_load_51 | 7 | 0.011456 | 0.0028713 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5587-18_0_4_load_52 | 10 | 0.0013744 | 0.00034446 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5587-18_0_4_load_66 | 13 | 0.0071195 | 0.0017843 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5587-18_0_4_load_42 | 17 | 0.011836 | 0.0029664 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5587-18_0_4_load_49 | 18 | 0.012942 | 0.0032436 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5587-18_0_4_load_56 | 19 | 0.0037922 | 0.00095041 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5587-18_0_4_load_11 | 20 | 0.01292 | 0.0032381 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5587-18_0_4_load_12 | 23 | 0.011616 | 0.0029112 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5587-18_0_4_load_15 | 24 | 0.0032246 | 0.00080817 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5587-18_0_4_load_44 | 27 | 0.028188 | 0.0070647 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5587-18_0_4_load_43 | 28 | 0.012795 | 0.0032067 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5587-18_0_4_load_27 | 29 | 0.020109 | 0.0050398 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5587-18_0_4_load_22 | 30 | 0.012261 | 0.0030728 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5587-18_0_4_load_65 | 33 | 0.0026874 | 0.00067353 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5587-18_0_4_load_35 | 35 | 0.0034605 | 0.00086728 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5587-18_0_4_load_33 | 36 | 0.0076057 | 0.0019062 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5587-18_0_4_load_64 | 37 | 0.00090885 | 0.00022778 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5587-18_0_4_load_69 | 39 | 0.011751 | 0.0029451 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5587-18_0_4_load_37 | 43 | 0.0049722 | 0.0012462 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5587-18_0_4_load_36 | 44 | 0.0065676 | 0.001646 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5587-18_0_4_load_53 | 45 | 0.0055839 | 0.0013995 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5587-18_0_4_load_39 | 46 | 0.0037733 | 0.00094567 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5587-18_0_4_load_61 | 47 | 0.0083529 | 0.0020934 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5587-18_0_4_load_28 | 48 | 0.0027496 | 0.00068911 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5587-18_0_4_load_30 | 49 | 0.075128 | 0.018829 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5587-18_0_4_load_25 | 51 | 0.021956 | 0.0055027 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5587-18_0_4_load_26 | 52 | 0.012136 | 0.0030416 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5587-18_0_4_load_31 | 53 | 0.0023938 | 0.00059993 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5587-18_0_4_load_32 | 54 | 0.0090382 | 0.0022652 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5587-18_0_4_load_34 | 55 | 0.0063744 | 0.0015976 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5587-18_0_4_load_38 | 56 | 0.017695 | 0.0044348 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5587-18_0_4_load_59 | 57 | 0.0038885 | 0.00097455 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5587-18_0_4_load_45 | 58 | 0.012081 | 0.0030277 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5587-18_0_4_load_46 | 59 | 0.0015592 | 0.00039076 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5587-18_0_4_load_47 | 60 | 0.00071814 | 0.00017998 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5587-18_0_4_load_48 | 61 | 0.0028122 | 0.00070479 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5587-18_0_4_load_58 | 62 | 0.0044197 | 0.0011077 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5587-18_0_4_load_67 | 64 | 0.011867 | 0.0029742 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5587-18_0_4_load_60 | 65 | 0.010889 | 0.0027289 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5587-18_0_4_line_0 |  | 0 | 1 | 0.014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5587-18_0_4_line_1 |  | 0 | 2 | 0.032092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5587-18_0_4_line_2 |  | 1 | 3 | 0.003408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5587-18_0_4_line_3 |  | 1 | 4 | 0.028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5587-18_0_4_line_4 |  | 2 | 5 | 0.026258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5587-18_0_4_line_5 |  | 4 | 6 | 0.030115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5587-18_0_4_line_6 |  | 4 | 7 | 0.010906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5587-18_0_4_line_7 |  | 5 | 11 | 0.032064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5587-18_0_4_line_8 |  | 6 | 8 | 0.05297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5587-18_0_4_line_9 |  | 7 | 9 | 0.0056546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5587-18_0_4_line_10 |  | 8 | 18 | 0.0083768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5587-18_0_4_line_11 |  | 9 | 10 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5587-18_0_4_line_12 |  | 10 | 19 | 0.011602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5587-18_0_4_line_13 |  | 11 | 20 | 0.031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5587-18_0_4_line_14 |  | 12 | 13 | 0.011087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5587-18_0_4_line_15 |  | 12 | 14 | 0.028549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5587-18_0_4_line_16 |  | 12 | 15 | 0.025504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5587-18_0_4_line_17 |  | 12 | 16 | 0.094762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5587-18_0_4_line_18 |  | 14 | 17 | 0.0082577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5587-18_0_4_line_19 |  | 15 | 24 | 0.013236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5587-18_0_4_line_20 |  | 16 | 25 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5587-18_0_4_line_21 |  | 17 | 26 | 0.003208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5587-18_0_4_line_22 |  | 19 | 63 | 0.019464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5587-18_0_4_line_23 |  | 20 | 23 | 0.019686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5587-18_0_4_line_24 |  | 21 | 22 | 0.009524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5587-18_0_4_line_25 |  | 21 | 23 | 0.012645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5587-18_0_4_line_26 |  | 22 | 29 | 0.046038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5587-18_0_4_line_27 |  | 22 | 30 | 0.013417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5587-18_0_4_line_28 |  | 24 | 31 | 0.0068612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5587-18_0_4_line_29 |  | 25 | 49 | 0.012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5587-18_0_4_line_30 |  | 25 | 48 | 0.012839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5587-18_0_4_line_31 |  | 26 | 28 | 0.015158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5587-18_0_4_line_32 |  | 26 | 56 | 0.0095865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5587-18_0_4_line_33 |  | 27 | 28 | 0.0078527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5587-18_0_4_line_34 |  | 30 | 50 | 0.012429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5587-18_0_4_line_35 |  | 31 | 32 | 0.065635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5587-18_0_4_line_36 |  | 32 | 33 | 0.010147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5587-18_0_4_line_37 |  | 32 | 34 | 0.025842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5587-18_0_4_line_38 |  | 34 | 37 | 0.030215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5587-18_0_4_line_39 |  | 35 | 36 | 0.028144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5587-18_0_4_line_40 |  | 36 | 54 | 0.00073574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5587-18_0_4_line_41 |  | 38 | 39 | 0.005482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5587-18_0_4_line_42 |  | 38 | 40 | 0.02304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5587-18_0_4_line_43 |  | 38 | 41 | 0.023688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5587-18_0_4_line_44 |  | 38 | 42 | 0.038812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5587-18_0_4_line_45 |  | 40 | 47 | 0.01142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5587-18_0_4_line_46 |  | 40 | 43 | 0.023125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5587-18_0_4_line_47 |  | 41 | 64 | 0.007157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5587-18_0_4_line_48 |  | 42 | 45 | 0.0043262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5587-18_0_4_line_49 |  | 42 | 46 | 0.018458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5587-18_0_4_line_50 |  | 43 | 44 | 0.026733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5587-18_0_4_line_51 |  | 44 | 55 | 0.0029614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5587-18_0_4_line_52 |  | 45 | 57 | 0.0070903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5587-18_0_4_line_53 |  | 46 | 56 | 0.01289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5587-18_0_4_line_54 |  | 47 | 65 | 0.014497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5587-18_0_4_line_55 |  | 49 | 53 | 0.022791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5587-18_0_4_line_56 |  | 50 | 51 | 0.015711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5587-18_0_4_line_57 |  | 50 | 52 | 0.031191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5587-18_0_4_line_58 |  | 54 | 55 | 0.0058266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5587-18_0_4_line_59 |  | 57 | 63 | 0.0082463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5587-18_0_4_line_60 |  | 58 | 59 | 0.0052697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5587-18_0_4_line_61 |  | 58 | 60 | 0.0072991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5587-18_0_4_line_62 |  | 59 | 61 | 0.035907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5587-18_0_4_line_63 |  | 61 | 62 | 0.0088184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5587-18_0_4_line_64 |  | 62 | 63 | 0.012304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5587-18_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 66 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2538207.2554 | 1157135.8056 | 2538205.6041 | 1157120.9342
1 | 2538197.5609 | 1157090.1694 | 2538199.823 | 1157094.6375 | 2538201.8253 | 1157099.1971 | 2538203.3399 | 1157104.7957 | 2538204.3637 | 1157110.3993 | 2538205.4552 | 1157119.5931 | 2538205.6041 | 1157120.9342
2 | 2538207.2554 | 1157135.8056 | 2538210.6481 | 1157135.3927
3 | 2538199.0475 | 1157154.1334 | 2538198.382 | 1157146.8474 | 2538208.5378 | 1157146.4204 | 2538207.8805 | 1157142.1582 | 2538207.2554 | 1157135.8056
4 | 2538197.5609 | 1157090.1694 | 2538203.278 | 1157088.3541 | 2538209.5563 | 1157082.9532 | 2538220.5355 | 1157078.3267 | 2538220.5722 | 1157078.2747
5 | 2538199.0475 | 1157154.1334 | 2538207.7977 | 1157156.4669 | 2538211.6987 | 1157158.5056 | 2538216.0829 | 1157160.5505 | 2538220.606 | 1157164.1727 | 2538225.8733 | 1157167.0979
6 | 2538199.0475 | 1157154.1334 | 2538188.6613 | 1157150.8051
7 | 2538231.1305 | 1157052.0034 | 2538231.5518 | 1157060.9039 | 2538228.1794 | 1157061.0609 | 2538228.3701 | 1157067.6737 | 2538227.5458 | 1157068.7938 | 2538223.5512 | 1157074.06 | 2538220.5722 | 1157078.2747
8 | 2538228.0487 | 1157215.3128 | 2538225.6374 | 1157204.5318 | 2538220.34 | 1157180.8067 | 2538218.7805 | 1157173.8189 | 2538220.7592 | 1157169.3739 | 2538225.8733 | 1157167.0979
9 | 2538184.1178 | 1157147.4389 | 2538188.6613 | 1157150.8051
10 | 2538228.0487 | 1157215.3128 | 2538220.1451 | 1157212.537
11 | 2538184.1178 | 1157147.4389 | 2538173.5815 | 1157143.6786 | 2538167.7059 | 1157141.4731
12 | 2538167.7059 | 1157141.4731 | 2538156.8443 | 1157137.3962
13 | 2538231.1305 | 1157052.0034 | 2538230.9533 | 1157048.192 | 2538215.7777 | 1157048.9152 | 2538215.8357 | 1157050.0819 | 2538205.0219 | 1157050.5328
14 | 2538112.29 | 1157054.3388 | 2538109.279 | 1157065.009
15 | 2538112.29 | 1157054.3388 | 2538121.8354 | 1157057.1754 | 2538126.7506 | 1157058.6478 | 2538124.861 | 1157064.2926 | 2538125.1139 | 1157065.0237 | 2538126.2069 | 1157066.1686 | 2538129.7574 | 1157069.9007
16 | 2538087.8455 | 1157047.0645 | 2538091.3299 | 1157048.107 | 2538103.1068 | 1157051.6876 | 2538112.29 | 1157054.3388
17 | 2538112.29 | 1157054.3388 | 2538103.1068 | 1157051.6876 | 2538103.6384 | 1157049.6921 | 2538104.3141 | 1157046.061 | 2538103.3821 | 1157035.2424 | 2538108.1179 | 1157017.8286 | 2538112.5422 | 1157009.623 | 2538125.439 | 1156998.3396 | 2538129.861 | 1156991.3903 | 2538130.0584 | 1156981.5273 | 2538124.8278 | 1156984.4272
18 | 2538129.7574 | 1157069.9007 | 2538129.0029 | 1157074.0663 | 2538129.2179 | 1157078.0849
19 | 2538087.8455 | 1157047.0645 | 2538075.1607 | 1157043.2856
20 | 2538115.9302 | 1156980.4723 | 2538118.5132 | 1156980.3567 | 2538121.0048 | 1156981.0425 | 2538123.1816 | 1156982.432 | 2538124.8278 | 1156984.4272
21 | 2538129.384 | 1157081.2886 | 2538129.3162 | 1157079.9218 | 2538129.2179 | 1157078.0849
22 | 2538138.6778 | 1157130.4085 | 2538154.2677 | 1157136.429 | 2538156.8443 | 1157137.3962
23 | 2538185.9666 | 1157047.6287 | 2538192.5137 | 1157047.5537 | 2538200.2606 | 1157050.7313 | 2538205.0219 | 1157050.5328
24 | 2538172.6572 | 1157038.2752 | 2538173.3225 | 1157047.7735
25 | 2538173.3225 | 1157047.7735 | 2538185.9666 | 1157047.6287
26 | 2538212.9766 | 1157027.0876 | 2538176.3407 | 1157029.5992 | 2538172.6572 | 1157038.2752
27 | 2538172.6572 | 1157038.2752 | 2538169.6942 | 1157032.7583 | 2538169.4328 | 1157025.6085
28 | 2538068.5851 | 1157041.3266 | 2538075.1607 | 1157043.2856
29 | 2538117.9551 | 1156968.6116 | 2538115.9302 | 1156980.4723
30 | 2538115.9302 | 1156980.4723 | 2538113.2797 | 1156981.4779 | 2538111.1129 | 1156983.2901 | 2538109.6734 | 1156985.7285 | 2538109.1268 | 1156988.4912 | 2538109.3379 | 1156990.0084
31 | 2538129.384 | 1157081.2886 | 2538144.5142 | 1157080.376
32 | 2538129.384 | 1157081.2886 | 2538128.7767 | 1157084.8634 | 2538129.2939 | 1157090.8014
33 | 2538152.3526 | 1157079.9032 | 2538144.5142 | 1157080.376
34 | 2538168.9789 | 1157013.1883 | 2538169.4328 | 1157025.6085
35 | 2538017.5311 | 1157014.6719 | 2538015.4209 | 1157024.1878 | 2538030.3867 | 1157029.8809 | 2538060.5009 | 1157038.9086 | 2538068.5851 | 1157041.3266
36 | 2538027.6162 | 1157013.3116 | 2538017.5311 | 1157014.6719
37 | 2538018.3523 | 1156989.4831 | 2538019.2974 | 1156991.8969 | 2538020.1742 | 1156995.8566 | 2538020.6425 | 1157000.3654 | 2538020.0566 | 1157004.5292 | 2538018.0661 | 1157012.2651 | 2538017.5311 | 1157014.6719
38 | 2538018.3523 | 1156989.4831 | 2538047.9057 | 1156996.1597
39 | 2538031.9143 | 1157090.3205 | 2538028.85 | 1157089.7627 | 2538023.6648 | 1157087.3927 | 2538016.5489 | 1157082.9414 | 2538011.0907 | 1157078.6399 | 2538008.2486 | 1157075.8456
40 | 2538031.9143 | 1157090.3205 | 2538032.6382 | 1157090.4523
41 | 2538090.2299 | 1157116.1887 | 2538090.3017 | 1157121.6687
42 | 2538072.9709 | 1157117.8675 | 2538078.5425 | 1157115.3309 | 2538086.1833 | 1157112.684 | 2538090.1354 | 1157111.4871 | 2538090.2299 | 1157116.1887
43 | 2538090.2299 | 1157116.1887 | 2538083.4719 | 1157117.4479 | 2538076.4668 | 1157120.0215 | 2538069.7856 | 1157123.5145 | 2538069.3212 | 1157124.5865 | 2538069.1595 | 1157125.2664
44 | 2538090.2299 | 1157116.1887 | 2538090.1354 | 1157111.4871 | 2538093.7405 | 1157110.8496 | 2538097.9009 | 1157110.5177 | 2538102.8537 | 1157111.1892 | 2538106.305 | 1157111.9985 | 2538109.9437 | 1157113.1283 | 2538115.9754 | 1157116.5458 | 2538121.6837 | 1157120.5781
45 | 2538072.9709 | 1157117.8675 | 2538067.929 | 1157120.4542 | 2538063.5112 | 1157124.1399
46 | 2538072.9709 | 1157117.8675 | 2538068.4098 | 1157106.8529 | 2538067.354 | 1157104.1068 | 2538067.7443 | 1157095.8538
47 | 2538069.6697 | 1157132.3538 | 2538069.6118 | 1157126.7403 | 2538069.1595 | 1157125.2664
48 | 2538121.6837 | 1157120.5781 | 2538125.2448 | 1157123.0345
49 | 2538121.6837 | 1157120.5781 | 2538128.3005 | 1157103.3471
50 | 2538067.7443 | 1157095.8538 | 2538063.2514 | 1157095.1776 | 2538047.0849 | 1157092.7429 | 2538041.3053 | 1157091.897
51 | 2538038.3751 | 1157091.4681 | 2538041.3053 | 1157091.897
52 | 2538125.2448 | 1157123.0345 | 2538125.6378 | 1157123.3056 | 2538127.9535 | 1157124.7825 | 2538130.2675 | 1157126.1038 | 2538131.3371 | 1157126.6513
53 | 2538129.2939 | 1157090.8014 | 2538129.6116 | 1157094.4489 | 2538130.0024 | 1157098.8806 | 2538129.2485 | 1157100.8784 | 2538128.3005 | 1157103.3471
54 | 2538053.5759 | 1157134.5688 | 2538055.1815 | 1157132.0475 | 2538059.1859 | 1157127.7483 | 2538063.5112 | 1157124.1399
55 | 2538117.9551 | 1156968.6116 | 2538096.775 | 1156960.195
56 | 2538168.9789 | 1157013.1883 | 2538167.9997 | 1156997.5074
57 | 2538168.9789 | 1157013.1883 | 2538137.8377 | 1157014.9517
58 | 2538032.6382 | 1157090.4523 | 2538037.5774 | 1157091.3513 | 2538038.3751 | 1157091.4681
59 | 2538138.6778 | 1157130.4085 | 2538131.3371 | 1157126.6513
60 | 2538125.4266 | 1157190.7249 | 2538127.9412 | 1157186.0938
61 | 2538121.9436 | 1157197.1393 | 2538125.4266 | 1157190.7249
62 | 2538134.7293 | 1157151.1217 | 2538134.2495 | 1157154.6006 | 2538131.6394 | 1157177.3843 | 2538127.9412 | 1157186.0938 | 2538127.9412 | 1157186.0938
63 | 2538134.7293 | 1157151.1217 | 2538135.4625 | 1157145.8055 | 2538135.9457 | 1157142.3876
64 | 2538138.6778 | 1157130.4085 | 2538136.4273 | 1157138.9808 | 2538135.9457 | 1157142.3876

## bus_geodata
| x | y | coords
0 | 2538205.6041 | 1157120.9342
1 | 2538207.2554 | 1157135.8056
2 | 2538197.5609 | 1157090.1694
3 | 2538210.6481 | 1157135.3927
4 | 2538199.0475 | 1157154.1334
5 | 2538220.5722 | 1157078.2747
6 | 2538225.8733 | 1157167.0979
7 | 2538188.6613 | 1157150.8051
8 | 2538228.0487 | 1157215.3128
9 | 2538184.1178 | 1157147.4389
10 | 2538167.7059 | 1157141.4731
11 | 2538231.1305 | 1157052.0034
12 | 2538112.29 | 1157054.3388
13 | 2538109.279 | 1157065.009
14 | 2538129.7574 | 1157069.9007
15 | 2538087.8455 | 1157047.0645
16 | 2538124.8278 | 1156984.4272
17 | 2538129.2179 | 1157078.0849
18 | 2538220.1451 | 1157212.537
19 | 2538156.8443 | 1157137.3962
20 | 2538205.0219 | 1157050.5328
21 | 2538173.3225 | 1157047.7735
22 | 2538172.6572 | 1157038.2752
23 | 2538185.9666 | 1157047.6287
24 | 2538075.1607 | 1157043.2856
25 | 2538115.9302 | 1156980.4723
26 | 2538129.384 | 1157081.2886
27 | 2538152.3526 | 1157079.9032
28 | 2538144.5142 | 1157080.376
29 | 2538212.9766 | 1157027.0876
30 | 2538169.4328 | 1157025.6085
31 | 2538068.5851 | 1157041.3266
32 | 2538017.5311 | 1157014.6719
33 | 2538027.6162 | 1157013.3116
34 | 2538018.3523 | 1156989.4831
35 | 2538008.2486 | 1157075.8456
36 | 2538031.9143 | 1157090.3205
37 | 2538047.9057 | 1156996.1597
38 | 2538090.2299 | 1157116.1887
39 | 2538090.3017 | 1157121.6687
40 | 2538072.9709 | 1157117.8675
41 | 2538069.1595 | 1157125.2664
42 | 2538121.6837 | 1157120.5781
43 | 2538067.7443 | 1157095.8538
44 | 2538041.3053 | 1157091.897
45 | 2538125.2448 | 1157123.0345
46 | 2538128.3005 | 1157103.3471
47 | 2538063.5112 | 1157124.1399
48 | 2538109.3379 | 1156990.0084
49 | 2538117.9551 | 1156968.6116
50 | 2538168.9789 | 1157013.1883
51 | 2538167.9997 | 1156997.5074
52 | 2538137.8377 | 1157014.9517
53 | 2538096.775 | 1156960.195
54 | 2538032.6382 | 1157090.4523
55 | 2538038.3751 | 1157091.4681
56 | 2538129.2939 | 1157090.8014
57 | 2538131.3371 | 1157126.6513
58 | 2538125.4266 | 1157190.7249
59 | 2538127.9412 | 1157186.0938
60 | 2538121.9436 | 1157197.1393
61 | 2538134.7293 | 1157151.1217
62 | 2538135.9457 | 1157142.3876
63 | 2538138.6778 | 1157130.4085
64 | 2538069.6697 | 1157132.3538
65 | 2538053.5759 | 1157134.5688
66 | 2538129.384 | 1157081.2886

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1