## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5587-19_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5587-19_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5587-19_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5587-19_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5587-19_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5587-19_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5587-19_0_6_node_133 | 0.4 | n |  | TRUE
7 | bus_LV_5587-19_0_6_node_111 | 0.4 | n |  | TRUE
8 | bus_LV_5587-19_0_6_node_113 | 0.4 | n |  | TRUE
9 | bus_LV_5587-19_0_6_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_5587-19_0_6_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_5587-19_0_6_node_149 | 0.4 | n |  | TRUE
12 | bus_LV_5587-19_0_6_node_134 | 0.4 | n |  | TRUE
13 | bus_LV_5587-19_0_6_node_137 | 0.4 | n |  | TRUE
14 | bus_LV_5587-19_0_6_node_135 | 0.4 | n |  | TRUE
15 | bus_LV_5587-19_0_6_node_102 | 0.4 | n |  | TRUE
16 | bus_LV_5587-19_0_6_node_112 | 0.4 | n |  | TRUE
17 | bus_LV_5587-19_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5587-19_0_6_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_5587-19_0_6_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_5587-19_0_6_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_5587-19_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5587-19_0_6_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_5587-19_0_6_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5587-19_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5587-19_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5587-19_0_6_node_142 | 0.4 | n |  | TRUE
27 | bus_LV_5587-19_0_6_node_141 | 0.4 | n |  | TRUE
28 | bus_LV_5587-19_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_5587-19_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_5587-19_0_6_node_144 | 0.4 | n |  | TRUE
31 | bus_LV_5587-19_0_6_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_5587-19_0_6_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_5587-19_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5587-19_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5587-19_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5587-19_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5587-19_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5587-19_0_6_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_5587-19_0_6_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_5587-19_0_6_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_5587-19_0_6_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_5587-19_0_6_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_5587-19_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_5587-19_0_6_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_5587-19_0_6_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_5587-19_0_6_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_5587-19_0_6_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_5587-19_0_6_node_95 | 0.4 | n |  | TRUE
49 | bus_LV_5587-19_0_6_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_5587-19_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_5587-19_0_6_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5587-19_0_6_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_5587-19_0_6_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_5587-19_0_6_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_5587-19_0_6_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_5587-19_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_5587-19_0_6_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_5587-19_0_6_node_148 | 0.4 | n |  | TRUE
59 | bus_LV_5587-19_0_6_node_146 | 0.4 | n |  | TRUE
60 | bus_LV_5587-19_0_6_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_5587-19_0_6_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_5587-19_0_6_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_5587-19_0_6_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_5587-19_0_6_node_147 | 0.4 | n |  | TRUE
65 | bus_LV_5587-19_0_6_node_145 | 0.4 | n |  | TRUE
66 | bus_LV_5587-19_0_6_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_5587-19_0_6_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_5587-19_0_6_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_5587-19_0_6_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_5587-19_0_6_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_5587-19_0_6_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_5587-19_0_6_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_5587-19_0_6_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_5587-19_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_5587-19_0_6_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_5587-19_0_6_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_5587-19_0_6_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_5587-19_0_6_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_5587-19_0_6_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_5587-19_0_6_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_5587-19_0_6_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_5587-19_0_6_node_59 | 0.4 | n |  | TRUE
83 | bus_LV_5587-19_0_6_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_5587-19_0_6_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_5587-19_0_6_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_5587-19_0_6_node_62 | 0.4 | n |  | TRUE
87 | bus_LV_5587-19_0_6_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_5587-19_0_6_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_5587-19_0_6_node_65 | 0.4 | n |  | TRUE
90 | bus_LV_5587-19_0_6_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_5587-19_0_6_node_67 | 0.4 | n |  | TRUE
92 | bus_LV_5587-19_0_6_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_5587-19_0_6_node_115 | 0.4 | n |  | TRUE
94 | bus_LV_5587-19_0_6_node_117 | 0.4 | n |  | TRUE
95 | bus_LV_5587-19_0_6_node_114 | 0.4 | n |  | TRUE
96 | bus_LV_5587-19_0_6_node_71 | 0.4 | n |  | TRUE
97 | bus_LV_5587-19_0_6_node_72 | 0.4 | n |  | TRUE
98 | bus_LV_5587-19_0_6_node_73 | 0.4 | n |  | TRUE
99 | bus_LV_5587-19_0_6_node_74 | 0.4 | n |  | TRUE
100 | bus_LV_5587-19_0_6_node_75 | 0.4 | n |  | TRUE
101 | bus_LV_5587-19_0_6_node_76 | 0.4 | n |  | TRUE
102 | bus_LV_5587-19_0_6_node_77 | 0.4 | n |  | TRUE
103 | bus_LV_5587-19_0_6_node_139 | 0.4 | n |  | TRUE
104 | bus_LV_5587-19_0_6_node_119 | 0.4 | n |  | TRUE
105 | bus_LV_5587-19_0_6_node_89 | 0.4 | n |  | TRUE
106 | bus_LV_5587-19_0_6_node_91 | 0.4 | n |  | TRUE
107 | bus_LV_5587-19_0_6_node_140 | 0.4 | n |  | TRUE
108 | bus_LV_5587-19_0_6_node_120 | 0.4 | n |  | TRUE
109 | bus_LV_5587-19_0_6_node_118 | 0.4 | n |  | TRUE
110 | bus_LV_5587-19_0_6_node_88 | 0.4 | n |  | TRUE
111 | bus_LV_5587-19_0_6_node_78 | 0.4 | n |  | TRUE
112 | bus_LV_5587-19_0_6_node_79 | 0.4 | n |  | TRUE
113 | bus_LV_5587-19_0_6_node_80 | 0.4 | n |  | TRUE
114 | bus_LV_5587-19_0_6_node_84 | 0.4 | n |  | TRUE
115 | bus_LV_5587-19_0_6_node_85 | 0.4 | n |  | TRUE
116 | bus_LV_5587-19_0_6_node_86 | 0.4 | n |  | TRUE
117 | bus_LV_5587-19_0_6_node_81 | 0.4 | n |  | TRUE
118 | bus_LV_5587-19_0_6_node_82 | 0.4 | n |  | TRUE
119 | bus_LV_5587-19_0_6_node_83 | 0.4 | n |  | TRUE
120 | bus_LV_5587-19_0_6_node_87 | 0.4 | n |  | TRUE
121 | bus_LV_5587-19_0_6_node_90 | 0.4 | n |  | TRUE
122 | bus_LV_5587-19_0_6_node_98 | 0.4 | n |  | TRUE
123 | bus_LV_5587-19_0_6_node_99 | 0.4 | n |  | TRUE
124 | bus_LV_5587-19_0_6_node_100 | 0.4 | n |  | TRUE
125 | bus_LV_5587-19_0_6_node_103 | 0.4 | n |  | TRUE
126 | bus_LV_5587-19_0_6_node_110 | 0.4 | n |  | TRUE
127 | bus_LV_5587-19_0_6_node_108 | 0.4 | n |  | TRUE
128 | bus_LV_5587-19_0_6_node_123 | 0.4 | n |  | TRUE
129 | bus_LV_5587-19_0_6_node_106 | 0.4 | n |  | TRUE
130 | bus_LV_5587-19_0_6_node_104 | 0.4 | n |  | TRUE
131 | bus_LV_5587-19_0_6_node_105 | 0.4 | n |  | TRUE
132 | bus_LV_5587-19_0_6_node_107 | 0.4 | n |  | TRUE
133 | bus_LV_5587-19_0_6_node_109 | 0.4 | n |  | TRUE
134 | bus_LV_5587-19_0_6_node_124 | 0.4 | n |  | TRUE
135 | bus_LV_5587-19_0_6_node_116 | 0.4 | n |  | TRUE
136 | bus_LV_5587-19_0_6_node_121 | 0.4 | n |  | TRUE
137 | bus_LV_5587-19_0_6_node_122 | 0.4 | n |  | TRUE
138 | bus_LV_5587-19_0_6_node_132 | 0.4 | n |  | TRUE
139 | bus_LV_5587-19_0_6_node_131 | 0.4 | n |  | TRUE
140 | bus_LV_5587-19_0_6_node_125 | 0.4 | n |  | TRUE
141 | bus_LV_5587-19_0_6_node_128 | 0.4 | n |  | TRUE
142 | bus_LV_5587-19_0_6_node_126 | 0.4 | n |  | TRUE
143 | bus_LV_5587-19_0_6_node_127 | 0.4 | n |  | TRUE
144 | bus_LV_5587-19_0_6_node_129 | 0.4 | n |  | TRUE
145 | bus_LV_5587-19_0_6_node_130 | 0.4 | n |  | TRUE
146 | bus_LV_5587-19_0_6_node_143 | 0.4 | n |  | TRUE
147 | bus_LV_5587-19_0_6_node_138 | 0.4 | n |  | TRUE
148 | bus_LV_5587-19_0_6_node_151 | 0.4 | n |  | TRUE
149 | bus_MV_448_1_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5587-19_0_6_load_0 | 0 | 0.017299 | 0.0043355 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5587-19_0_6_load_1 | 1 | 0.0036408 | 0.00091248 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5587-19_0_6_load_5 | 5 | 0.012608 | 0.0031599 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5587-19_0_6_load_133 | 6 | 0.0061288 | 0.001536 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5587-19_0_6_load_111 | 7 | 0.0044955 | 0.0011267 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5587-19_0_6_load_113 | 8 | 0.0015964 | 0.00040011 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5587-19_0_6_load_136 | 10 | 0.0049498 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5587-19_0_6_load_149 | 11 | 0.02021 | 0.005065 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5587-19_0_6_load_135 | 14 | 0.013987 | 0.0035054 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5587-19_0_6_load_112 | 16 | 0.0067295 | 0.0016866 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5587-19_0_6_load_6 | 18 | 0.008917 | 0.0022348 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5587-19_0_6_load_14 | 21 | 0.026755 | 0.0067054 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5587-19_0_6_load_92 | 22 | 0.0026638 | 0.00066762 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5587-19_0_6_load_141 | 27 | 0.0030807 | 0.00077209 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5587-19_0_6_load_16 | 29 | 0.0092531 | 0.002319 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5587-19_0_6_load_144 | 30 | 0.0020913 | 0.00052412 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5587-19_0_6_load_17 | 32 | 0.0042505 | 0.0010653 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5587-19_0_6_load_18 | 33 | 0.0016847 | 0.00042224 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5587-19_0_6_load_19 | 34 | 0.00036683 | 9.1937e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5587-19_0_6_load_20 | 35 | 0.0010034 | 0.00025147 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5587-19_0_6_load_25 | 37 | 0.0018997 | 0.00047611 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5587-19_0_6_load_36 | 41 | 0.0036217 | 0.00090769 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5587-19_0_6_load_40 | 43 | 0.005607 | 0.0014052 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5587-19_0_6_load_22 | 44 | 0.0017439 | 0.00043706 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5587-19_0_6_load_23 | 45 | 0.00083164 | 0.00020843 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5587-19_0_6_load_26 | 46 | 0.0010018 | 0.00025107 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5587-19_0_6_load_96 | 47 | 0.0014707 | 0.00036858 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5587-19_0_6_load_95 | 48 | 0.00089608 | 0.00022458 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5587-19_0_6_load_27 | 49 | 0.001826 | 0.00045763 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5587-19_0_6_load_28 | 50 | 0.0017592 | 0.00044091 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5587-19_0_6_load_29 | 51 | 0.002946 | 0.00073834 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5587-19_0_6_load_30 | 52 | 0.0013892 | 0.00034817 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5587-19_0_6_load_33 | 55 | 0.0021733 | 0.00054467 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5587-19_0_6_load_39 | 56 | 0.0016592 | 0.00041584 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5587-19_0_6_load_43 | 57 | 0.0031435 | 0.00078782 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5587-19_0_6_load_148 | 58 | 0.003619 | 0.00090701 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5587-19_0_6_load_34 | 60 | 0.002122 | 0.00053182 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5587-19_0_6_load_35 | 61 | 0.0012279 | 0.00030775 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5587-19_0_6_load_37 | 62 | 0.0028542 | 0.00071533 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5587-19_0_6_load_45 | 63 | 0.0025742 | 0.00064515 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5587-19_0_6_load_147 | 64 | 0.0027046 | 0.00067783 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5587-19_0_6_load_145 | 65 | 0.0027743 | 0.0006953 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5587-19_0_6_load_46 | 66 | 0.0017798 | 0.00044606 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5587-19_0_6_load_47 | 67 | 0.0025309 | 0.00063431 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5587-19_0_6_load_48 | 68 | 0.0030887 | 0.00077409 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5587-19_0_6_load_49 | 69 | 0.0021618 | 0.0005418 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5587-19_0_6_load_51 | 71 | 0.0027805 | 0.00069685 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5587-19_0_6_load_52 | 72 | 0.001314 | 0.00032933 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5587-19_0_6_load_53 | 73 | 0.004326 | 0.0010842 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5587-19_0_6_load_70 | 74 | 0.0042915 | 0.0010756 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5587-19_0_6_load_54 | 75 | 0.0043971 | 0.001102 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5587-19_0_6_load_68 | 76 | 0.0057235 | 0.0014345 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5587-19_0_6_load_55 | 77 | 0.0036746 | 0.00092094 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5587-19_0_6_load_60 | 79 | 0.0020814 | 0.00052164 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5587-19_0_6_load_56 | 80 | 0.0052371 | 0.0013125 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5587-19_0_6_load_57 | 81 | 0.0029307 | 0.00073451 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5587-19_0_6_load_59 | 82 | 0.0039269 | 0.00098418 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5587-19_0_6_load_69 | 83 | 0.0018515 | 0.00046404 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5587-19_0_6_load_61 | 84 | 0.0029002 | 0.00072685 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5587-19_0_6_load_93 | 85 | 0.0015061 | 0.00037747 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5587-19_0_6_load_62 | 86 | 0.0029975 | 0.00075126 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5587-19_0_6_load_65 | 89 | 0.0015053 | 0.00037726 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5587-19_0_6_load_66 | 90 | 0.0020111 | 0.00050404 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5587-19_0_6_load_67 | 91 | 0.0027327 | 0.00068488 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5587-19_0_6_load_94 | 92 | 0.0014662 | 0.00036745 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5587-19_0_6_load_117 | 94 | 0.0036735 | 0.00092067 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5587-19_0_6_load_114 | 95 | 0.003091 | 0.00077468 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5587-19_0_6_load_71 | 96 | 0.0034667 | 0.00086884 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5587-19_0_6_load_74 | 99 | 0.0042493 | 0.001065 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5587-19_0_6_load_75 | 100 | 0.00089232 | 0.00022364 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5587-19_0_6_load_76 | 101 | 0.001217 | 0.00030502 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5587-19_0_6_load_77 | 102 | 0.0011867 | 0.00029742 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5587-19_0_6_load_139 | 103 | 0.0044655 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5587-19_0_6_load_89 | 105 | 0.00076337 | 0.00019132 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5587-19_0_6_load_91 | 106 | 0.0072362 | 0.0018136 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5587-19_0_6_load_140 | 107 | 0.0025859 | 0.00064809 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5587-19_0_6_load_120 | 108 | 0.0025304 | 0.00063418 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5587-19_0_6_load_118 | 109 | 0.0070468 | 0.0017661 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5587-19_0_6_load_88 | 110 | 0.0041869 | 0.0010493 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5587-19_0_6_load_78 | 111 | 0.002156 | 0.00054033 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5587-19_0_6_load_79 | 112 | 0.002043 | 0.00051204 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5587-19_0_6_load_84 | 114 | 0.0010375 | 0.00026002 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5587-19_0_6_load_85 | 115 | 0.00178 | 0.00044612 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5587-19_0_6_load_86 | 116 | 0.0079753 | 0.0019988 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5587-19_0_6_load_81 | 117 | 0.0015203 | 0.00038103 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5587-19_0_6_load_82 | 118 | 0.001218 | 0.00030526 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5587-19_0_6_load_83 | 119 | 0.0004985 | 0.00012494 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5587-19_0_6_load_87 | 120 | 0.0033215 | 0.00083244 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5587-19_0_6_load_90 | 121 | 0.0016983 | 0.00042562 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5587-19_0_6_load_98 | 122 | 0.0077346 | 0.0019385 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5587-19_0_6_load_99 | 123 | 0.0038135 | 0.00095576 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5587-19_0_6_load_103 | 125 | 0.011908 | 0.0029845 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5587-19_0_6_load_110 | 126 | 0.0017154 | 0.00042992 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5587-19_0_6_load_123 | 128 | 0.0011176 | 0.0002801 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5587-19_0_6_load_104 | 130 | 0.0024395 | 0.00061139 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5587-19_0_6_load_105 | 131 | 0.0041111 | 0.0010303 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5587-19_0_6_load_107 | 132 | 0.0027507 | 0.00068938 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5587-19_0_6_load_109 | 133 | 0.0040056 | 0.0010039 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5587-19_0_6_load_124 | 134 | 0.0013002 | 0.00032586 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5587-19_0_6_load_116 | 135 | 0.0042016 | 0.001053 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5587-19_0_6_load_121 | 136 | 0.0042569 | 0.0010669 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5587-19_0_6_load_122 | 137 | 0.0081415 | 0.0020405 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5587-19_0_6_load_132 | 138 | 0.0012196 | 0.00030566 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5587-19_0_6_load_131 | 139 | 0.002358 | 0.00059098 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5587-19_0_6_load_125 | 140 | 0.008507 | 0.002132 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5587-19_0_6_load_128 | 141 | 0.00046855 | 0.00011743 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5587-19_0_6_load_126 | 142 | 0.0028377 | 0.00071119 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5587-19_0_6_load_127 | 143 | 0.0031313 | 0.00078479 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5587-19_0_6_load_129 | 144 | 0.0028371 | 0.00071104 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5587-19_0_6_load_130 | 145 | 0.0013644 | 0.00034196 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5587-19_0_6_load_143 | 146 | 0.004522 | 0.0011333 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5587-19_0_6_load_151 | 148 | 0.0081212 | 0.0020354 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5587-19_0_6_line_0 |  | 0 | 1 | 0.0030482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5587-19_0_6_line_1 |  | 0 | 2 | 0.028591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5587-19_0_6_line_2 |  | 1 | 3 | 0.029112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5587-19_0_6_line_3 |  | 2 | 4 | 0.052664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_5587-19_0_6_line_4 |  | 2 | 5 | 0.016284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_5587-19_0_6_line_5 |  | 3 | 6 | 0.016907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5587-19_0_6_line_6 |  | 4 | 7 | 0.051598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5587-19_0_6_line_7 |  | 4 | 8 | 0.030998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5587-19_0_6_line_8 |  | 5 | 9 | 0.0073425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5587-19_0_6_line_9 |  | 6 | 10 | 0.03427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5587-19_0_6_line_10 |  | 6 | 11 | 0.074882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5587-19_0_6_line_11 |  | 7 | 15 | 0.027943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5587-19_0_6_line_12 |  | 8 | 16 | 0.021994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5587-19_0_6_line_13 |  | 9 | 17 | 0.037267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5587-19_0_6_line_14 |  | 10 | 14 | 0.038973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5587-19_0_6_line_15 |  | 12 | 13 | 0.054637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5587-19_0_6_line_16 |  | 12 | 14 | 0.018383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5587-19_0_6_line_17 |  | 13 | 146 | 0.034329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5587-19_0_6_line_18 |  | 13 | 147 | 0.043882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5587-19_0_6_line_19 |  | 15 | 126 | 0.013199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5587-19_0_6_line_20 |  | 15 | 124 | 0.016045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5587-19_0_6_line_21 |  | 16 | 132 | 0.010839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5587-19_0_6_line_22 |  | 17 | 22 | 0.010756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_5587-19_0_6_line_23 |  | 17 | 19 | 0.029731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5587-19_0_6_line_24 |  | 18 | 19 | 0.022032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5587-19_0_6_line_25 |  | 18 | 20 | 0.010949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5587-19_0_6_line_26 |  | 20 | 21 | 0.0028484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5587-19_0_6_line_27 |  | 21 | 28 | 0.019196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5587-19_0_6_line_28 |  | 22 | 23 | 0.01077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5587-19_0_6_line_29 |  | 23 | 24 | 0.011747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_5587-19_0_6_line_30 |  | 24 | 27 | 0.018297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_5587-19_0_6_line_31 |  | 25 | 26 | 0.067022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5587-19_0_6_line_32 |  | 25 | 27 | 0.0045503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5587-19_0_6_line_33 |  | 26 | 30 | 0.028246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5587-19_0_6_line_34 |  | 26 | 31 | 0.0752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5587-19_0_6_line_35 |  | 28 | 29 | 0.00343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5587-19_0_6_line_36 |  | 31 | 58 | 0.044954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5587-19_0_6_line_37 |  | 31 | 59 | 0.030607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5587-19_0_6_line_38 |  | 31 | 54 | 0.10443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5587-19_0_6_line_39 |  | 32 | 33 | 0.0027012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5587-19_0_6_line_40 |  | 32 | 34 | 0.017611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5587-19_0_6_line_41 |  | 33 | 35 | 0.018919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5587-19_0_6_line_42 |  | 34 | 36 | 0.027386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5587-19_0_6_line_43 |  | 35 | 37 | 0.014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5587-19_0_6_line_44 |  | 36 | 38 | 0.002112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5587-19_0_6_line_45 |  | 37 | 39 | 0.026913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5587-19_0_6_line_46 |  | 38 | 40 | 0.034902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5587-19_0_6_line_47 |  | 38 | 41 | 0.031704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5587-19_0_6_line_48 |  | 39 | 46 | 0.0087259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5587-19_0_6_line_49 |  | 39 | 44 | 0.015631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5587-19_0_6_line_50 |  | 40 | 63 | 0.028573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5587-19_0_6_line_51 |  | 40 | 42 | 0.015974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5587-19_0_6_line_52 |  | 41 | 60 | 0.041996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5587-19_0_6_line_53 |  | 42 | 43 | 0.06698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5587-19_0_6_line_54 |  | 43 | 56 | 0.00073465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5587-19_0_6_line_55 |  | 44 | 45 | 0.035112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5587-19_0_6_line_56 |  | 46 | 47 | 0.35465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5587-19_0_6_line_57 |  | 47 | 48 | 0.018753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5587-19_0_6_line_58 |  | 49 | 50 | 0.029989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5587-19_0_6_line_59 |  | 49 | 51 | 0.010845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5587-19_0_6_line_60 |  | 50 | 52 | 0.012789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5587-19_0_6_line_61 |  | 52 | 53 | 0.030157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5587-19_0_6_line_62 |  | 53 | 54 | 0.051987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5587-19_0_6_line_63 |  | 53 | 55 | 0.016228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5587-19_0_6_line_64 |  | 54 | 56 | 0.035677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_5587-19_0_6_line_65 |  | 55 | 57 | 0.015984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5587-19_0_6_line_66 |  | 59 | 64 | 0.014518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5587-19_0_6_line_67 |  | 59 | 65 | 0.005918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5587-19_0_6_line_68 |  | 60 | 61 | 0.0030388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5587-19_0_6_line_69 |  | 61 | 62 | 0.019406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5587-19_0_6_line_70 |  | 63 | 66 | 0.030741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5587-19_0_6_line_71 |  | 66 | 67 | 0.012901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5587-19_0_6_line_72 |  | 68 | 69 | 0.09202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5587-19_0_6_line_73 |  | 68 | 70 | 0.076299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5587-19_0_6_line_74 |  | 70 | 71 | 0.034321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5587-19_0_6_line_75 |  | 70 | 72 | 0.05598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5587-19_0_6_line_76 |  | 71 | 73 | 0.035103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5587-19_0_6_line_77 |  | 72 | 74 | 0.015446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5587-19_0_6_line_78 |  | 73 | 75 | 0.044753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5587-19_0_6_line_79 |  | 74 | 76 | 0.055003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5587-19_0_6_line_80 |  | 75 | 77 | 0.033696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5587-19_0_6_line_81 |  | 76 | 87 | 0.0076748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5587-19_0_6_line_82 |  | 77 | 78 | 0.041909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5587-19_0_6_line_83 |  | 78 | 79 | 0.061454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5587-19_0_6_line_84 |  | 78 | 80 | 0.023918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5587-19_0_6_line_85 |  | 79 | 84 | 0.058482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5587-19_0_6_line_86 |  | 80 | 81 | 0.010003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5587-19_0_6_line_87 |  | 81 | 82 | 0.022714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5587-19_0_6_line_88 |  | 82 | 83 | 0.010747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5587-19_0_6_line_89 |  | 83 | 85 | 0.020491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5587-19_0_6_line_90 |  | 85 | 92 | 0.023823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5587-19_0_6_line_91 |  | 86 | 87 | 0.030182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5587-19_0_6_line_92 |  | 87 | 91 | 0.10225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5587-19_0_6_line_93 |  | 88 | 89 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_5587-19_0_6_line_94 |  | 88 | 90 | 0.018952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_5587-19_0_6_line_95 |  | 89 | 92 | 0.032688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5587-19_0_6_line_96 |  | 90 | 93 | 0.019922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_5587-19_0_6_line_97 |  | 93 | 94 | 0.018979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_5587-19_0_6_line_98 |  | 93 | 95 | 0.047106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5587-19_0_6_line_99 |  | 94 | 133 | 0.059275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_5587-19_0_6_line_100 |  | 95 | 135 | 0.012009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5587-19_0_6_line_101 |  | 96 | 97 | 0.058816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5587-19_0_6_line_102 |  | 96 | 98 | 0.027201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5587-19_0_6_line_103 |  | 97 | 99 | 0.01502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5587-19_0_6_line_104 |  | 97 | 100 | 0.017825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5587-19_0_6_line_105 |  | 98 | 101 | 0.0040656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5587-19_0_6_line_106 |  | 98 | 102 | 0.032777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5587-19_0_6_line_107 |  | 99 | 103 | 0.017178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5587-19_0_6_line_108 |  | 100 | 104 | 0.027119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5587-19_0_6_line_109 |  | 101 | 105 | 0.01105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5587-19_0_6_line_110 |  | 102 | 106 | 0.049051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5587-19_0_6_line_111 |  | 103 | 107 | 0.1063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5587-19_0_6_line_112 |  | 104 | 108 | 0.025164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5587-19_0_6_line_113 |  | 104 | 109 | 0.054491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5587-19_0_6_line_114 |  | 105 | 110 | 0.0038526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5587-19_0_6_line_115 |  | 108 | 136 | 0.043916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5587-19_0_6_line_116 |  | 109 | 115 | 0.034445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5587-19_0_6_line_117 |  | 110 | 119 | 0.011341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5587-19_0_6_line_118 |  | 111 | 112 | 0.041671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5587-19_0_6_line_119 |  | 112 | 113 | 0.049217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5587-19_0_6_line_120 |  | 113 | 114 | 0.050894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5587-19_0_6_line_121 |  | 113 | 115 | 0.042706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5587-19_0_6_line_122 |  | 114 | 116 | 0.03037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5587-19_0_6_line_123 |  | 116 | 120 | 0.0015688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5587-19_0_6_line_124 |  | 117 | 118 | 0.0088959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5587-19_0_6_line_125 |  | 118 | 119 | 0.0062742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5587-19_0_6_line_126 |  | 120 | 121 | 0.020372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5587-19_0_6_line_127 |  | 122 | 123 | 0.010907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5587-19_0_6_line_128 |  | 122 | 124 | 0.052093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5587-19_0_6_line_129 |  | 124 | 125 | 0.048956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5587-19_0_6_line_130 |  | 127 | 128 | 0.045767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
131 | LV_5587-19_0_6_line_131 |  | 127 | 129 | 0.01938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
132 | LV_5587-19_0_6_line_132 |  | 128 | 134 | 0.011046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
133 | LV_5587-19_0_6_line_133 |  | 129 | 133 | 0.024741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
134 | LV_5587-19_0_6_line_134 |  | 129 | 130 | 0.032901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
135 | LV_5587-19_0_6_line_135 |  | 130 | 131 | 0.014466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
136 | LV_5587-19_0_6_line_136 |  | 131 | 132 | 0.029138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
137 | LV_5587-19_0_6_line_137 |  | 134 | 140 | 0.00081279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5587-19_0_6_line_138 |  | 136 | 137 | 0.015638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5587-19_0_6_line_139 |  | 137 | 138 | 0.014984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5587-19_0_6_line_140 |  | 138 | 139 | 0.0013406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5587-19_0_6_line_141 |  | 139 | 145 | 0.016095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5587-19_0_6_line_142 |  | 140 | 141 | 0.0098994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5587-19_0_6_line_143 |  | 141 | 142 | 0.013557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5587-19_0_6_line_144 |  | 142 | 143 | 0.050737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5587-19_0_6_line_145 |  | 143 | 144 | 0.0038198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5587-19_0_6_line_146 |  | 144 | 145 | 2.0263e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_5587-19_0_6_line_147 |  | 147 | 148 | 0.063468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5587-19_0_6_trafo_65 | 0.63 MVA 20/0.4 kV | 149 | 89 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2538333.6741 | 1157096.1286 | 2538333.6316 | 1157093.0807
1 | 2538333.4807 | 1157124.7137 | 2538333.8624 | 1157109.6127 | 2538333.6741 | 1157096.1286
2 | 2538333.1023 | 1157063.9735 | 2538333.4852 | 1157082.5908 | 2538333.6316 | 1157093.0807
3 | 2538333.4807 | 1157124.7137 | 2538338.2067 | 1157122.7086 | 2538340.7747 | 1157119.6472 | 2538342.8737 | 1157114.9676 | 2538347.0559 | 1157103.3183 | 2538351.7102 | 1157094.3323 | 2538356.4487 | 1157086.8241 | 2538361.2881 | 1157081.6716
4 | 2538333.4807 | 1157124.7137 | 2538332.3591 | 1157134.2193 | 2538331.2621 | 1157140.8418
5 | 2538333.1023 | 1157063.9735 | 2538326.087 | 1157064.0789 | 2538325.8415 | 1157054.191
6 | 2538361.2881 | 1157081.6716 | 2538368.6412 | 1157061.4407 | 2538378.7877 | 1157042.1595 | 2538383.0608 | 1157035.0624
7 | 2538361.2881 | 1157081.6716 | 2538388.8354 | 1157067.4587
8 | 2538329.9325 | 1157148.0628 | 2538331.1822 | 1157141.3241 | 2538331.2621 | 1157140.8418
9 | 2538325.8415 | 1157054.191 | 2538325.6946 | 1157048.2743 | 2538325.6147 | 1157040.4931 | 2538326.0944 | 1157031.2054 | 2538326.7922 | 1157019.9568
10 | 2538325.8415 | 1157054.191 | 2538251.042 | 1157057.7018
11 | 2538401.2255 | 1157014.5699 | 2538395.429 | 1157017.6199 | 2538387.9736 | 1157028.6468 | 2538383.206 | 1157034.8213 | 2538383.0608 | 1157035.0624
12 | 2538388.8354 | 1157067.4587 | 2538390.0219 | 1157066.8466 | 2538405.7515 | 1157053.4538
13 | 2538329.9325 | 1157148.0628 | 2538325.4215 | 1157173.2339 | 2538323.4465 | 1157184.7605
14 | 2538336.9437 | 1156982.4653 | 2538335.5166 | 1156986.2064 | 2538333.6166 | 1156991.6066 | 2538330.6102 | 1157001.2649 | 2538327.9563 | 1157010.9085 | 2538326.8838 | 1157018.4792 | 2538326.7922 | 1157019.9568
15 | 2538345.5951 | 1156966.281 | 2538351.9652 | 1156969.7953 | 2538359.2992 | 1156958.8919 | 2538367.7278 | 1156948.5443 | 2538381.8716 | 1156933.1908
16 | 2538345.5951 | 1156966.281 | 2538341.1856 | 1156973.7192 | 2538337.9733 | 1156979.7666 | 2538336.9437 | 1156982.4653
17 | 2538397.7008 | 1156963.256 | 2538387.9029 | 1156950.0159 | 2538381.8716 | 1156933.1908
18 | 2538381.8716 | 1156933.1908 | 2538399.7165 | 1156913.8195 | 2538402.452 | 1156910.6231 | 2538406.8623 | 1156905.4862 | 2538410.5719 | 1156900.0674
19 | 2538401.2255 | 1157014.5699 | 2538400.5143 | 1157018.4905 | 2538400.8436 | 1157022.1891 | 2538403.9521 | 1157026.7274
20 | 2538401.2255 | 1157014.5699 | 2538407.1078 | 1157002.6809 | 2538408.3783 | 1157000.1999
21 | 2538405.7515 | 1157053.4538 | 2538413.4277 | 1157046.918 | 2538414.0094 | 1157046.4334
22 | 2538323.4465 | 1157184.7605 | 2538324.5682 | 1157187.2059 | 2538325.0325 | 1157189.8581 | 2538324.8146 | 1157192.5285 | 2538323.9282 | 1157195.0723
23 | 2538295.9063 | 1157181.3526 | 2538307.9287 | 1157181.9961 | 2538311.6746 | 1157180.1344 | 2538314.4927 | 1157179.7719 | 2538317.3033 | 1157180.1655 | 2538319.9065 | 1157181.2838 | 2538321.8853 | 1157182.8199 | 2538323.4465 | 1157184.7605
24 | 2538295.9063 | 1157181.3526 | 2538274.0609 | 1157178.4952
25 | 2538263.2043 | 1157177.0751 | 2538274.0609 | 1157178.4952
26 | 2538263.2043 | 1157177.0751 | 2538260.436 | 1157176.404
27 | 2538241.7801 | 1157171.8814 | 2538260.436 | 1157176.404
28 | 2538315.3767 | 1157200.8855 | 2538318.0085 | 1157200.3026 | 2538320.4115 | 1157199.0883 | 2538322.4328 | 1157197.2999 | 2538323.9282 | 1157195.0723
29 | 2538315.3767 | 1157200.8855 | 2538309.5157 | 1157211.0734
30 | 2538309.5157 | 1157211.0734 | 2538300.5482 | 1157227.0218
31 | 2538288.6777 | 1157297.2121 | 2538289.5065 | 1157284.5967 | 2538291.2265 | 1157269.9044 | 2538294.0586 | 1157252.2545 | 2538297.0357 | 1157236.0374 | 2538298.3181 | 1157230.9881
32 | 2538298.3181 | 1157230.9881 | 2538300.5482 | 1157227.0218
33 | 2538288.6777 | 1157297.2121 | 2538295.8887 | 1157298.2719 | 2538300.5495 | 1157297.4013 | 2538304.1401 | 1157294.6185 | 2538308.5064 | 1157283.7455
34 | 2538288.6777 | 1157297.2121 | 2538288.2413 | 1157310.7128 | 2538288.5642 | 1157324.2168 | 2538290.0831 | 1157363.8227 | 2538296.9315 | 1157358.7052
35 | 2538241.7801 | 1157171.8814 | 2538242.6354 | 1157168.5597
36 | 2538296.9315 | 1157358.7052 | 2538299.8749 | 1157365.323 | 2538303.5036 | 1157386.3972 | 2538305.0206 | 1157392.2403 | 2538307.07 | 1157395.4321 | 2538309.4878 | 1157395.6741 | 2538311.3367 | 1157392.042
37 | 2538310.6208 | 1157331.3163 | 2538296.9315 | 1157358.7052
38 | 2538296.9315 | 1157358.7052 | 2538290.0831 | 1157363.8227 | 2538291.4597 | 1157393.3135 | 2538293.5544 | 1157438.9613 | 2538294.7326 | 1157459.5938
39 | 2538356.1095 | 1157653.5127 | 2538355.8291 | 1157650.8261 | 2538355.8291 | 1157650.8261
40 | 2538352.2542 | 1157633.5864 | 2538354.1247 | 1157641.6497 | 2538355.8291 | 1157650.8261
41 | 2538356.1095 | 1157653.5127 | 2538356.841 | 1157660.521 | 2538357.3951 | 1157666.6964 | 2538357.5296 | 1157672.3203 | 2538357.529 | 1157672.3676
42 | 2538345.1216 | 1157607.1567 | 2538348.0982 | 1157617.0204 | 2538349.985 | 1157623.8047 | 2538352.2542 | 1157633.5864
43 | 2538356.8128 | 1157686.8451 | 2538357.4544 | 1157679.1915 | 2538357.529 | 1157672.3676
44 | 2538344.4264 | 1157605.1627 | 2538345.1216 | 1157607.1567
45 | 2538352.8455 | 1157713.4575 | 2538356.5664 | 1157689.7842 | 2538356.8128 | 1157686.8451
46 | 2538331.8623 | 1157572.5962 | 2538339.2843 | 1157591.9972 | 2538344.4264 | 1157605.1627
47 | 2538344.4264 | 1157605.1627 | 2538312.8503 | 1157608.0076
48 | 2538352.8455 | 1157713.4575 | 2538351.3177 | 1157722.0486
49 | 2538352.8455 | 1157713.4575 | 2538339.1785 | 1157711.5967 | 2538337.343 | 1157711.5014
50 | 2538331.8623 | 1157572.5962 | 2538303.2956 | 1157572.0127
51 | 2538326.5778 | 1157557.52 | 2538331.8623 | 1157572.5962
52 | 2538270.8772 | 1157609.0109 | 2538271.2185 | 1157609.0055 | 2538308.2157 | 1157608.4252 | 2538312.8503 | 1157608.0076
53 | 2538326.5778 | 1157557.52 | 2538323.856 | 1157550.8221 | 2538311.0183 | 1157519.259 | 2538306.385 | 1157507.867 | 2538302.1502 | 1157495.1773
54 | 2538302.1502 | 1157495.1773 | 2538301.9176 | 1157494.4804
55 | 2538337.343 | 1157711.5014 | 2538302.2781 | 1157709.6813
56 | 2538351.3177 | 1157722.0486 | 2538700.1278 | 1157786.1619
57 | 2538696.3914 | 1157804.5386 | 2538700.1278 | 1157786.1619
58 | 2538327.3722 | 1157425.4765 | 2538326.9909 | 1157455.4627
59 | 2538327.51 | 1157414.6327 | 2538327.3722 | 1157425.4765
60 | 2538329.1949 | 1157468.0507 | 2538326.9841 | 1157455.9939 | 2538326.9909 | 1157455.4627
61 | 2538329.0295 | 1157496.117 | 2538331.6213 | 1157494.6451 | 2538333.1411 | 1157489.5712 | 2538329.1949 | 1157468.0507
62 | 2538294.7326 | 1157459.5938 | 2538305.7156 | 1157469.5864 | 2538319.0579 | 1157490.5386 | 2538322.9948 | 1157495.3452 | 2538325.9322 | 1157496.1599 | 2538329.0295 | 1157496.117
63 | 2538329.0295 | 1157496.117 | 2538336.924 | 1157510.2954
64 | 2538294.7326 | 1157459.5938 | 2538296.5812 | 1157469.369 | 2538297.9334 | 1157479.3272 | 2538299.7725 | 1157487.4238 | 2538301.7412 | 1157493.9516 | 2538301.9176 | 1157494.4804
65 | 2538344.6997 | 1157524.2603 | 2538336.924 | 1157510.2954
66 | 2538310.6208 | 1157331.3163 | 2538314.5985 | 1157333.3655 | 2538319.0231 | 1157336.3773 | 2538320.7779 | 1157340.7505
67 | 2538313.0574 | 1157325.9217 | 2538310.6208 | 1157331.3163
68 | 2538270.8772 | 1157609.0109 | 2538267.8388 | 1157609.0588
69 | 2538267.8388 | 1157609.0588 | 2538248.4349 | 1157609.3643
70 | 2538303.2956 | 1157572.0127 | 2538295.2882 | 1157571.8491 | 2538289.4026 | 1157563.1938 | 2538277.1469 | 1157563.6665
71 | 2538264.2554 | 1157564.1638 | 2538277.1469 | 1157563.6665
72 | 2538393.9225 | 1157541.8983 | 2538413.0816 | 1157535.7096 | 2538438.6959 | 1157468.5419
73 | 2538467.1588 | 1157397.836 | 2538465.5228 | 1157404.3007 | 2538445.6071 | 1157450.4187 | 2538438.6959 | 1157468.5419
74 | 2538467.1588 | 1157397.836 | 2538463.9767 | 1157397.8352 | 2538432.8525 | 1157398.7837
75 | 2538467.1588 | 1157397.836 | 2538467.838 | 1157393.0375 | 2538466.2586 | 1157341.9281
76 | 2538412.2598 | 1157382.5002 | 2538412.5725 | 1157395.6275 | 2538413.8228 | 1157397.9159 | 2538415.3512 | 1157398.9119 | 2538417.241 | 1157399.2594 | 2538432.8525 | 1157398.7837
77 | 2538466.2586 | 1157341.9281 | 2538465.7815 | 1157326.4893
78 | 2538412.2598 | 1157382.5002 | 2538411.1942 | 1157337.7601
79 | 2538465.7815 | 1157326.4893 | 2538464.0826 | 1157271.5126
80 | 2538410.3919 | 1157304.0739 | 2538411.1942 | 1157337.7601
81 | 2538463.8455 | 1157263.8415 | 2538464.0826 | 1157271.5126
82 | 2538409.394 | 1157262.1764 | 2538410.3919 | 1157304.0739
83 | 2538409.394 | 1157262.1764 | 2538377.6132 | 1157263.1917 | 2538371.5665 | 1157267.2449 | 2538366.91 | 1157276.7534 | 2538361.1556 | 1157277.913 | 2538355.5295 | 1157279.7544
84 | 2538409.394 | 1157262.1764 | 2538408.5888 | 1157238.2718
85 | 2538348.5782 | 1157333.7169 | 2538347.6802 | 1157294.8049 | 2538349.4783 | 1157281.7349 | 2538355.5295 | 1157279.7544
86 | 2538408.5888 | 1157238.2718 | 2538408.252 | 1157228.2745
87 | 2538408.252 | 1157228.2745 | 2538407.4873 | 1157205.5733
88 | 2538407.4873 | 1157205.5733 | 2538407.1255 | 1157194.8323
89 | 2538410.264 | 1157174.7652 | 2538409.5497 | 1157177.1952 | 2538407.545 | 1157184.3419 | 2538407.0246 | 1157187.4267 | 2538407.0124 | 1157191.4735 | 2538407.1255 | 1157194.8323
90 | 2538410.264 | 1157174.7652 | 2538416.9821 | 1157151.9093
91 | 2538463.8455 | 1157263.8415 | 2538462.8722 | 1157233.6756
92 | 2538463.8455 | 1157263.8415 | 2538478.0363 | 1157266.5865 | 2538491.2281 | 1157265.3841 | 2538554.2687 | 1157259.6581 | 2538555.2066 | 1157271.1325
93 | 2538460.8619 | 1157156.7805 | 2538446.2772 | 1157152.7177
94 | 2538460.8619 | 1157156.7805 | 2538465.7922 | 1157138.4814
95 | 2538416.9821 | 1157151.9093 | 2538417.7076 | 1157149.441 | 2538419.8976 | 1157147.6509 | 2538422.7494 | 1157146.8323 | 2538425.5263 | 1157146.9372 | 2538446.2772 | 1157152.7177
96 | 2538470.9748 | 1157119.2454 | 2538465.7922 | 1157138.4814
97 | 2538470.9748 | 1157119.2454 | 2538475.3522 | 1157100.7777
98 | 2538470.9748 | 1157119.2454 | 2538426.035 | 1157105.1246
99 | 2538480.6954 | 1157042.0568 | 2538480.4877 | 1157077.0139 | 2538479.7125 | 1157081.4354 | 2538477.502 | 1157091.708 | 2538475.3522 | 1157100.7777
100 | 2538414.5783 | 1157101.5248 | 2538426.035 | 1157105.1246
101 | 2538766.4396 | 1157026.554 | 2538769.0102 | 1157026.7279 | 2538772.0095 | 1157027.5755 | 2538776.6655 | 1157029.2179 | 2538810.8738 | 1157046.5677 | 2538819.9605 | 1157050.3146
102 | 2538844.2764 | 1157062.3806 | 2538836.9921 | 1157057.9079 | 2538827.9305 | 1157053.6089 | 2538820.3454 | 1157050.4733 | 2538819.9605 | 1157050.3146
103 | 2538766.4396 | 1157026.554 | 2538766.3555 | 1157022.8195 | 2538766.1133 | 1157011.5376
104 | 2538766.4396 | 1157026.554 | 2538761.1553 | 1157027.2193 | 2538756.9353 | 1157028.4741 | 2538753.261 | 1157029.8568 | 2538749.6163 | 1157031.8839
105 | 2538844.2764 | 1157062.3806 | 2538847.5232 | 1157064.8275
106 | 2538844.2764 | 1157062.3806 | 2538833.4169 | 1157093.3068
107 | 2538766.1133 | 1157011.5376 | 2538766.1072 | 1157011.2491 | 2538767.6893 | 1156994.4336
108 | 2538728.704 | 1157049.0621 | 2538737.6557 | 1157041.8335 | 2538745.6925 | 1157034.3697 | 2538749.6163 | 1157031.8839
109 | 2538847.5232 | 1157064.8275 | 2538856.3482 | 1157071.4782
110 | 2538817.1664 | 1157139.5874 | 2538825.3187 | 1157116.3696 | 2538833.4169 | 1157093.3068
111 | 2538766.9808 | 1156888.2945 | 2538767.4426 | 1156892.5599 | 2538769.0031 | 1156928.2745 | 2538769.7947 | 1156972.0569 | 2538767.6893 | 1156994.4336
112 | 2538728.704 | 1157049.0621 | 2538712.5377 | 1157056.3976 | 2538705.5664 | 1157058.9141
113 | 2538728.704 | 1157049.0621 | 2538729.8813 | 1157051.7182 | 2538734.0963 | 1157061.2359 | 2538735.1833 | 1157070.83 | 2538734.0959 | 1157102.3317
114 | 2538859.4249 | 1157073.7969 | 2538856.3482 | 1157071.4782
115 | 2538705.5664 | 1157058.9141 | 2538698.4342 | 1157061.4887 | 2538682.2506 | 1157067.1236 | 2538670.961 | 1157070.6741 | 2538663.6855 | 1157071.7977
116 | 2538732.9076 | 1157136.7562 | 2538734.0959 | 1157102.3317
117 | 2538868.2484 | 1157080.9185 | 2538861.7713 | 1157075.5652 | 2538859.4249 | 1157073.7969
118 | 2538733.6028 | 1157270.2723 | 2538732.6408 | 1157239.4809 | 2538732.3567 | 1157228.6204
119 | 2538731.0694 | 1157179.4199 | 2538732.3567 | 1157228.6204
120 | 2538731.0694 | 1157179.4199 | 2538781.2358 | 1157187.9937
121 | 2538731.0694 | 1157179.4199 | 2538732.0347 | 1157162.045 | 2538732.9076 | 1157136.7562
122 | 2538781.2358 | 1157187.9937 | 2538787.4201 | 1157189.0506 | 2538800.0477 | 1157204.686 | 2538800.6374 | 1157208.6401
123 | 2538800.8688 | 1157210.1917 | 2538800.6374 | 1157208.6401
124 | 2538880.1686 | 1157090.2924 | 2538874.8327 | 1157086.3604 | 2538873.0846 | 1157084.9156
125 | 2538868.2484 | 1157080.9185 | 2538873.0846 | 1157084.9156
126 | 2538800.8688 | 1157210.1917 | 2538803.8742 | 1157230.3412
127 | 2538437.2705 | 1156944.2229 | 2538431.9748 | 1156953.7582
128 | 2538408.3783 | 1157000.1999 | 2538420.5566 | 1156976.3843 | 2538431.7469 | 1156954.1687 | 2538431.9748 | 1156953.7582
129 | 2538383.2534 | 1156991.6195 | 2538379.8698 | 1157004.8837 | 2538381.8779 | 1157010.0214 | 2538387.5545 | 1157011.7197 | 2538394.6573 | 1157008.9231 | 2538408.3783 | 1157000.1999
130 | 2538496.2882 | 1157003.301 | 2538501.8743 | 1157007.4016 | 2538507.6453 | 1157010.8332 | 2538536.088 | 1157025.7637
131 | 2538483.2684 | 1157017.6087 | 2538492.7145 | 1157006.2725 | 2538496.2882 | 1157003.301
132 | 2538536.088 | 1157025.7637 | 2538545.8681 | 1157030.8976
133 | 2538483.2684 | 1157017.6087 | 2538481.6926 | 1157023.2279 | 2538480.8235 | 1157028.2173 | 2538480.7157 | 1157038.6463 | 2538480.6954 | 1157042.0568
134 | 2538483.2684 | 1157017.6087 | 2538465.2217 | 1157021.7736 | 2538451.1192 | 1157024.5844
135 | 2538451.1192 | 1157024.5844 | 2538450.3451 | 1157024.7387 | 2538438.5504 | 1157029.1286 | 2538437.5674 | 1157029.6026
136 | 2538437.5674 | 1157029.6026 | 2538429.5998 | 1157033.4449 | 2538414.0094 | 1157046.4334
137 | 2538546.5878 | 1157031.2753 | 2538545.8681 | 1157030.8976
138 | 2538648.0663 | 1157072.2153 | 2538654.8745 | 1157072.3059 | 2538663.0216 | 1157071.9003 | 2538663.6855 | 1157071.7977
139 | 2538648.0663 | 1157072.2153 | 2538645.4261 | 1157072.1801 | 2538637.7801 | 1157071.3466 | 2538633.2177 | 1157070.4351
140 | 2538631.9032 | 1157070.1724 | 2538633.2177 | 1157070.4351
141 | 2538616.3612 | 1157066.1213 | 2538621.4198 | 1157067.9452 | 2538629.6813 | 1157069.7285 | 2538631.9032 | 1157070.1724
142 | 2538555.353 | 1157035.8765 | 2538546.5878 | 1157031.2753
143 | 2538567.3566 | 1157042.1775 | 2538555.353 | 1157035.8765
144 | 2538567.3566 | 1157042.1775 | 2538593.3146 | 1157055.8036 | 2538604.926 | 1157061.2324 | 2538612.7837 | 1157064.732
145 | 2538616.3422 | 1157066.1144 | 2538613.9542 | 1157065.2534 | 2538612.7837 | 1157064.732
146 | 2538616.3612 | 1157066.1213 | 2538616.3422 | 1157066.1144
147 | 2538410.5719 | 1156900.0674 | 2538402.5613 | 1156901.8394 | 2538397.8255 | 1156904.4005 | 2538392.2304 | 1156908.4156 | 2538380.3312 | 1156919.0767 | 2538371.0661 | 1156928.6214 | 2538369.8658 | 1156929.7232 | 2538367.0146 | 1156931.3533 | 2538358.5944 | 1156934.308

## bus_geodata
| x | y | coords
0 | 2538333.6741 | 1157096.1286
1 | 2538333.6316 | 1157093.0807
2 | 2538333.4807 | 1157124.7137
3 | 2538333.1023 | 1157063.9735
4 | 2538361.2881 | 1157081.6716
5 | 2538331.2621 | 1157140.8418
6 | 2538325.8415 | 1157054.191
7 | 2538383.0608 | 1157035.0624
8 | 2538388.8354 | 1157067.4587
9 | 2538329.9325 | 1157148.0628
10 | 2538326.7922 | 1157019.9568
11 | 2538251.042 | 1157057.7018
12 | 2538345.5951 | 1156966.281
13 | 2538381.8716 | 1156933.1908
14 | 2538336.9437 | 1156982.4653
15 | 2538401.2255 | 1157014.5699
16 | 2538405.7515 | 1157053.4538
17 | 2538323.4465 | 1157184.7605
18 | 2538274.0609 | 1157178.4952
19 | 2538295.9063 | 1157181.3526
20 | 2538263.2043 | 1157177.0751
21 | 2538260.436 | 1157176.404
22 | 2538323.9282 | 1157195.0723
23 | 2538315.3767 | 1157200.8855
24 | 2538309.5157 | 1157211.0734
25 | 2538298.3181 | 1157230.9881
26 | 2538288.6777 | 1157297.2121
27 | 2538300.5482 | 1157227.0218
28 | 2538241.78 | 1157171.8814
29 | 2538242.6354 | 1157168.5597
30 | 2538308.5064 | 1157283.7455
31 | 2538296.9315 | 1157358.7052
32 | 2538355.8291 | 1157650.8261
33 | 2538356.1095 | 1157653.5127
34 | 2538352.2542 | 1157633.5864
35 | 2538357.529 | 1157672.3676
36 | 2538345.1216 | 1157607.1567
37 | 2538356.8128 | 1157686.8451
38 | 2538344.4264 | 1157605.1627
39 | 2538352.8455 | 1157713.4575
40 | 2538331.8623 | 1157572.5962
41 | 2538312.8503 | 1157608.0076
42 | 2538326.5778 | 1157557.52
43 | 2538302.1502 | 1157495.1773
44 | 2538337.343 | 1157711.5014
45 | 2538302.2781 | 1157709.6813
46 | 2538351.3177 | 1157722.0486
47 | 2538700.1278 | 1157786.1619
48 | 2538696.3914 | 1157804.5386
49 | 2538327.3722 | 1157425.4765
50 | 2538326.9909 | 1157455.4627
51 | 2538327.51 | 1157414.6327
52 | 2538329.1949 | 1157468.0507
53 | 2538329.0295 | 1157496.117
54 | 2538294.7326 | 1157459.5938
55 | 2538336.924 | 1157510.2954
56 | 2538301.9176 | 1157494.4804
57 | 2538344.6997 | 1157524.2603
58 | 2538311.3367 | 1157392.042
59 | 2538310.6208 | 1157331.3163
60 | 2538270.8772 | 1157609.0109
61 | 2538267.8388 | 1157609.0588
62 | 2538248.4349 | 1157609.3643
63 | 2538303.2956 | 1157572.0127
64 | 2538320.7779 | 1157340.7505
65 | 2538313.0574 | 1157325.9217
66 | 2538277.1469 | 1157563.6665
67 | 2538264.2554 | 1157564.1638
68 | 2538438.6959 | 1157468.5419
69 | 2538393.9225 | 1157541.8983
70 | 2538467.1588 | 1157397.836
71 | 2538432.8525 | 1157398.7837
72 | 2538466.2586 | 1157341.9281
73 | 2538412.2598 | 1157382.5002
74 | 2538465.7815 | 1157326.4893
75 | 2538411.1942 | 1157337.7601
76 | 2538464.0826 | 1157271.5126
77 | 2538410.3919 | 1157304.0739
78 | 2538409.394 | 1157262.1764
79 | 2538355.5295 | 1157279.7544
80 | 2538408.5888 | 1157238.2718
81 | 2538408.252 | 1157228.2745
82 | 2538407.4873 | 1157205.5733
83 | 2538407.1255 | 1157194.8323
84 | 2538348.5782 | 1157333.7169
85 | 2538410.264 | 1157174.7652
86 | 2538462.8722 | 1157233.6756
87 | 2538463.8455 | 1157263.8415
88 | 2538460.8619 | 1157156.7805
89 | 2538446.2772 | 1157152.7177
90 | 2538465.7922 | 1157138.4814
91 | 2538555.2066 | 1157271.1325
92 | 2538416.9821 | 1157151.9093
93 | 2538470.9749 | 1157119.2454
94 | 2538475.3522 | 1157100.7777
95 | 2538426.035 | 1157105.1246
96 | 2538819.9605 | 1157050.3146
97 | 2538766.4396 | 1157026.554
98 | 2538844.2764 | 1157062.3806
99 | 2538766.1133 | 1157011.5376
100 | 2538749.6163 | 1157031.8839
101 | 2538847.5232 | 1157064.8275
102 | 2538833.4169 | 1157093.3068
103 | 2538767.6893 | 1156994.4336
104 | 2538728.704 | 1157049.0621
105 | 2538856.3482 | 1157071.4782
106 | 2538817.1664 | 1157139.5874
107 | 2538766.9808 | 1156888.2945
108 | 2538705.5664 | 1157058.9141
109 | 2538734.0959 | 1157102.3316
110 | 2538859.4249 | 1157073.7969
111 | 2538733.6028 | 1157270.2723
112 | 2538732.3567 | 1157228.6204
113 | 2538731.0694 | 1157179.4199
114 | 2538781.2358 | 1157187.9937
115 | 2538732.9076 | 1157136.7562
116 | 2538800.6374 | 1157208.6401
117 | 2538880.1686 | 1157090.2924
118 | 2538873.0846 | 1157084.9156
119 | 2538868.2484 | 1157080.9185
120 | 2538800.8688 | 1157210.1917
121 | 2538803.8742 | 1157230.3412
122 | 2538431.9748 | 1156953.7582
123 | 2538437.2705 | 1156944.2229
124 | 2538408.3783 | 1157000.1999
125 | 2538383.2534 | 1156991.6195
126 | 2538403.9521 | 1157026.7274
127 | 2538496.2882 | 1157003.301
128 | 2538536.088 | 1157025.7637
129 | 2538483.2684 | 1157017.6087
130 | 2538451.1192 | 1157024.5844
131 | 2538437.5674 | 1157029.6026
132 | 2538414.0094 | 1157046.4334
133 | 2538480.6954 | 1157042.0568
134 | 2538545.8681 | 1157030.8976
135 | 2538414.5783 | 1157101.5248
136 | 2538663.6855 | 1157071.7977
137 | 2538648.0663 | 1157072.2153
138 | 2538633.2177 | 1157070.4351
139 | 2538631.9032 | 1157070.1724
140 | 2538546.5878 | 1157031.2753
141 | 2538555.353 | 1157035.8765
142 | 2538567.3566 | 1157042.1775
143 | 2538612.7837 | 1157064.732
144 | 2538616.3422 | 1157066.1144
145 | 2538616.3612 | 1157066.1213
146 | 2538397.7008 | 1156963.256
147 | 2538410.5719 | 1156900.0674
148 | 2538358.5944 | 1156934.308
149 | 2538446.2772 | 1157152.7177

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1