## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5587-22_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5587-22_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5587-22_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_5587-22_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5587-22_0_6_node_41 | 0.4 | n |  | TRUE
5 | bus_LV_5587-22_0_6_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_5587-22_0_6_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_5587-22_0_6_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_5587-22_0_6_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_5587-22_0_6_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_5587-22_0_6_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_5587-22_0_6_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_5587-22_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5587-22_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5587-22_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5587-22_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5587-22_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5587-22_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5587-22_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5587-22_0_6_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_5587-22_0_6_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_5587-22_0_6_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_5587-22_0_6_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_5587-22_0_6_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_5587-22_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5587-22_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5587-22_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5587-22_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5587-22_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5587-22_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5587-22_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5587-22_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5587-22_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_5587-22_0_6_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_5587-22_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5587-22_0_6_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_5587-22_0_6_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_5587-22_0_6_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5587-22_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_5587-22_0_6_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_5587-22_0_6_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_5587-22_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5587-22_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_5587-22_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5587-22_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5587-22_0_6_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_5587-22_0_6_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_5587-22_0_6_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5587-22_0_6_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_5587-22_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_5587-22_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5587-22_0_6_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5587-22_0_6_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_5587-22_0_6_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_5587-22_0_6_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5587-22_0_6_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_5587-22_0_6_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_5587-22_0_6_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_5587-22_0_6_node_58 | 0.4 | n |  | TRUE
59 | bus_MV_448_1_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5587-22_0_6_load_0 | 0 | 0.020835 | 0.0052217 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5587-22_0_6_load_4 | 2 | 0.036161 | 0.0090629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5587-22_0_6_load_41 | 4 | 0.014885 | 0.0037305 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5587-22_0_6_load_49 | 5 | 0.0012351 | 0.00030955 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5587-22_0_6_load_48 | 9 | 0.0012306 | 0.00030841 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5587-22_0_6_load_52 | 10 | 0.00061999 | 0.00015538 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5587-22_0_6_load_5 | 12 | 0.033563 | 0.0084117 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5587-22_0_6_load_10 | 16 | 0.015375 | 0.0038532 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5587-22_0_6_load_11 | 17 | 0.012562 | 0.0031483 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5587-22_0_6_load_12 | 18 | 0.0092407 | 0.0023159 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5587-22_0_6_load_45 | 22 | 0.022455 | 0.0056278 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5587-22_0_6_load_14 | 24 | 0.0076628 | 0.0019205 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5587-22_0_6_load_18 | 27 | 0.031721 | 0.0079501 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5587-22_0_6_load_20 | 29 | 0.012861 | 0.0032231 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5587-22_0_6_load_47 | 33 | 0.03695 | 0.0092606 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5587-22_0_6_load_25 | 34 | 0.01842 | 0.0046165 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5587-22_0_6_load_59 | 36 | 0.015182 | 0.003805 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5587-22_0_6_load_46 | 40 | 0.022446 | 0.0056255 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5587-22_0_6_load_29 | 41 | 0.030074 | 0.0075373 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5587-22_0_6_load_42 | 42 | 0.019834 | 0.0049708 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5587-22_0_6_load_26 | 43 | 0.002203 | 0.00055212 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5587-22_0_6_load_37 | 44 | 0.013707 | 0.0034352 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5587-22_0_6_load_21 | 45 | 0.025174 | 0.0063093 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5587-22_0_6_load_27 | 47 | 0.01375 | 0.003446 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5587-22_0_6_load_61 | 48 | 0.011358 | 0.0028466 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5587-22_0_6_load_33 | 49 | 0.01502 | 0.0037644 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5587-22_0_6_load_34 | 50 | 0.022804 | 0.0057152 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5587-22_0_6_load_51 | 53 | 0.0010068 | 0.00025233 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5587-22_0_6_load_54 | 54 | 0.011485 | 0.0028785 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5587-22_0_6_load_55 | 55 | 0.018894 | 0.0047352 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5587-22_0_6_load_56 | 56 | 0.0062099 | 0.0015563 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5587-22_0_6_load_57 | 57 | 0.0049191 | 0.0012328 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5587-22_0_6_load_58 | 58 | 0.0063561 | 0.001593 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5587-22_0_6_line_0 |  | 0 | 1 | 0.015665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5587-22_0_6_line_1 |  | 1 | 2 | 0.053245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5587-22_0_6_line_2 |  | 2 | 7 | 0.030545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5587-22_0_6_line_3 |  | 3 | 4 | 0.091601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5587-22_0_6_line_4 |  | 3 | 5 | 0.14476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5587-22_0_6_line_5 |  | 3 | 6 | 0.33231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5587-22_0_6_line_6 |  | 4 | 8 | 0.020951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5587-22_0_6_line_7 |  | 5 | 9 | 0.042787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5587-22_0_6_line_8 |  | 6 | 10 | 0.087896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5587-22_0_6_line_9 |  | 7 | 11 | 0.00642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5587-22_0_6_line_10 |  | 8 | 50 | 0.0019392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5587-22_0_6_line_11 |  | 9 | 52 | 0.05015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5587-22_0_6_line_12 |  | 11 | 17 | 0.025818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5587-22_0_6_line_13 |  | 12 | 13 | 0.049992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5587-22_0_6_line_14 |  | 12 | 14 | 0.052876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5587-22_0_6_line_15 |  | 13 | 15 | 0.028677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5587-22_0_6_line_16 |  | 14 | 16 | 0.0089594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5587-22_0_6_line_17 |  | 14 | 17 | 0.03124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5587-22_0_6_line_18 |  | 15 | 18 | 0.020954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5587-22_0_6_line_19 |  | 16 | 19 | 0.0092047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5587-22_0_6_line_20 |  | 19 | 20 | 0.009814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5587-22_0_6_line_21 |  | 19 | 21 | 0.05598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5587-22_0_6_line_22 |  | 20 | 48 | 0.017795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5587-22_0_6_line_23 |  | 21 | 42 | 0.028297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5587-22_0_6_line_24 |  | 22 | 23 | 0.019223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5587-22_0_6_line_25 |  | 23 | 39 | 0.013458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5587-22_0_6_line_26 |  | 24 | 25 | 0.054642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5587-22_0_6_line_27 |  | 24 | 26 | 0.0067433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5587-22_0_6_line_28 |  | 25 | 27 | 0.042556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5587-22_0_6_line_29 |  | 26 | 28 | 0.012312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5587-22_0_6_line_30 |  | 26 | 29 | 0.061586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5587-22_0_6_line_31 |  | 28 | 34 | 0.020651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5587-22_0_6_line_32 |  | 29 | 35 | 0.0035983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5587-22_0_6_line_33 |  | 30 | 31 | 0.062255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5587-22_0_6_line_34 |  | 30 | 32 | 0.015553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5587-22_0_6_line_35 |  | 30 | 33 | 0.036264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5587-22_0_6_line_36 |  | 31 | 36 | 0.058657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5587-22_0_6_line_37 |  | 31 | 37 | 0.011598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5587-22_0_6_line_38 |  | 32 | 41 | 0.043217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5587-22_0_6_line_39 |  | 34 | 43 | 0.018377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5587-22_0_6_line_40 |  | 35 | 44 | 0.030594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5587-22_0_6_line_41 |  | 36 | 46 | 0.041499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5587-22_0_6_line_42 |  | 37 | 38 | 0.031101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5587-22_0_6_line_43 |  | 37 | 45 | 0.021863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5587-22_0_6_line_44 |  | 38 | 39 | 0.019297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5587-22_0_6_line_45 |  | 38 | 40 | 0.019499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5587-22_0_6_line_46 |  | 39 | 42 | 0.0071444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5587-22_0_6_line_47 |  | 41 | 47 | 0.0061127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5587-22_0_6_line_48 |  | 43 | 47 | 0.033604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5587-22_0_6_line_49 |  | 44 | 51 | 0.035452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5587-22_0_6_line_50 |  | 46 | 58 | 0.029305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5587-22_0_6_line_51 |  | 49 | 50 | 0.023919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5587-22_0_6_line_52 |  | 49 | 51 | 0.010703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5587-22_0_6_line_53 |  | 52 | 53 | 0.067125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5587-22_0_6_line_54 |  | 54 | 55 | 0.06367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5587-22_0_6_line_55 |  | 54 | 56 | 0.014628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5587-22_0_6_line_56 |  | 55 | 57 | 0.015401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5587-22_0_6_line_57 |  | 56 | 58 | 0.022774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5587-22_0_6_trafo_27 | 0.63 MVA 20/0.4 kV | 59 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2538273.2603 | 1158076.7948 | 2538278.5957 | 1158075.9728 | 2538288.8592 | 1158075.7321
1 | 2538273.2603 | 1158076.7948 | 2538266.8762 | 1158077.772 | 2538221.2854 | 1158088.2831
2 | 2538191.521 | 1158095.1453 | 2538221.2854 | 1158088.2831
3 | 2538348.8257 | 1157949.9385 | 2538336.4338 | 1157951.2331 | 2538326.9344 | 1157952.7314 | 2538259.2128 | 1157968.463
4 | 2538348.8257 | 1157949.9385 | 2538349.8724 | 1157939.1219 | 2538350.7336 | 1157928.9186 | 2538351.5827 | 1157907.8206 | 2538351.2751 | 1157886.0786 | 2538349.8364 | 1157864.6929 | 2538345.3595 | 1157827.4297 | 2538344.0213 | 1157812.1017 | 2538343.6136 | 1157805.6754
5 | 2538348.8257 | 1157949.9385 | 2538671.1164 | 1158030.9167
6 | 2538238.8054 | 1157973.2036 | 2538259.2128 | 1157968.463
7 | 2538344.9455 | 1157762.9709 | 2538344.2519 | 1157768.8536 | 2538343.3998 | 1157783.6815 | 2538343.134 | 1157798.1143 | 2538343.6136 | 1157805.6754
8 | 2538671.1164 | 1158030.9167 | 2538673.072 | 1158012.2087 | 2538682.6641 | 1157943.7919
9 | 2538185.2491 | 1158096.5995 | 2538191.521 | 1158095.1453
10 | 2538238.8054 | 1157973.2036 | 2538236.9126 | 1157973.6258
11 | 2538352.8455 | 1157713.4575 | 2538348.5832 | 1157737.4254 | 2538345.8529 | 1157755.2742 | 2538344.9455 | 1157762.9709
12 | 2538185.2491 | 1158096.5995 | 2538160.092 | 1158102.4021
13 | 2538152.244 | 1158209.7787 | 2538141.2642 | 1158161.0078
14 | 2538129.6509 | 1158109.4234 | 2538141.2642 | 1158161.0078
15 | 2538131.1893 | 1158205.1374 | 2538133.2984 | 1158214.1317 | 2538152.244 | 1158209.7787
16 | 2538129.6509 | 1158109.4234 | 2538120.921 | 1158111.4381
17 | 2538129.6509 | 1158109.4234 | 2538160.092 | 1158102.4021
18 | 2538131.1893 | 1158205.1374 | 2538110.7569 | 1158209.7829
19 | 2538111.952 | 1158113.5079 | 2538120.921 | 1158111.4381
20 | 2538114.1666 | 1158123.0681 | 2538111.952 | 1158113.5079
21 | 2538057.4018 | 1158126.0771 | 2538076.8752 | 1158121.5849 | 2538111.952 | 1158113.5079
22 | 2538118.2781 | 1158140.3796 | 2538114.1666 | 1158123.0681
23 | 2538057.4018 | 1158126.0771 | 2538029.8297 | 1158132.4418
24 | 2538028.832 | 1158145.0821 | 2538033.2268 | 1158163.7958
25 | 2538022.8684 | 1158134.0487 | 2538024.6407 | 1158141.6012 | 2538025.8429 | 1158143.69 | 2538028.832 | 1158145.0821
26 | 2538017.304 | 1158028.771 | 2538020.2151 | 1158026.3174 | 2538023.8927 | 1158023.8448 | 2538027.4308 | 1158021.9628 | 2538032.2788 | 1158020.7232 | 2538068.6215 | 1158011.928
27 | 2538075.1757 | 1158010.3419 | 2538068.6215 | 1158011.928
28 | 2538017.304 | 1158028.771 | 2538006.3858 | 1158027.9833 | 2538002.3053 | 1158029.3039 | 2537999.2222 | 1158032.1817 | 2537997.8717 | 1158035.0416 | 2537994.478 | 1158054.6911
29 | 2538075.1757 | 1158010.3419 | 2538077.7609 | 1158022.3773
30 | 2538075.1757 | 1158010.3419 | 2538135.2002 | 1157996.5622
31 | 2538077.7609 | 1158022.3773 | 2538082.2649 | 1158042.5308
32 | 2538138.7072 | 1157995.7571 | 2538135.2002 | 1157996.5622
33 | 2537980.0055 | 1158143.9188 | 2537988.901 | 1158141.8814 | 2537988.2713 | 1158138.8195 | 2537987.9252 | 1158135.7437 | 2537987.9996 | 1158132.5523 | 2537988.6366 | 1158128.1655 | 2537998.087 | 1158090.0361
34 | 2538013.3251 | 1158086.7103 | 2537998.087 | 1158090.0361
35 | 2537998.087 | 1158090.0361 | 2537961.8999 | 1158087.6808
36 | 2537980.0055 | 1158143.9188 | 2537922.9254 | 1158157.4289
37 | 2537980.0055 | 1158143.9188 | 2537982.4992 | 1158155.2436
38 | 2538013.3251 | 1158086.7103 | 2538055.5501 | 1158077.5061
39 | 2538086.273 | 1158060.4659 | 2538082.2649 | 1158042.5308
40 | 2538138.7072 | 1157995.7571 | 2538168.5247 | 1157988.9082
41 | 2537882.5383 | 1158166.9718 | 2537885.9495 | 1158166.1806 | 2537922.9254 | 1158157.4289
42 | 2537982.4992 | 1158155.2436 | 2538012.9672 | 1158148.5811
43 | 2537982.4992 | 1158155.2436 | 2537987.1969 | 1158176.596
44 | 2538012.9672 | 1158148.5811 | 2538018.0421 | 1158135.1658 | 2538022.8684 | 1158134.0487
45 | 2538012.9672 | 1158148.5811 | 2538017.0858 | 1158167.6401
46 | 2538022.8684 | 1158134.0487 | 2538029.8297 | 1158132.4418
47 | 2538061.5225 | 1158076.2043 | 2538055.5501 | 1158077.5061
48 | 2538061.5225 | 1158076.2043 | 2538080.1373 | 1158072.1466 | 2538082.8537 | 1158070.8846 | 2538085.1855 | 1158068.7594 | 2538086.0174 | 1158065.4157 | 2538086.273 | 1158060.4659 | 2538086.273 | 1158060.4659
49 | 2538203.1207 | 1157981.1639 | 2538173.0125 | 1157987.8774 | 2538168.5247 | 1157988.9082
50 | 2537882.5383 | 1158166.9718 | 2537876.6335 | 1158138.2683
51 | 2538213.5673 | 1157978.8335 | 2538236.9126 | 1157973.6258
52 | 2538203.1207 | 1157981.1639 | 2538213.5673 | 1157978.8335
53 | 2538285.7239 | 1157708.8219 | 2538339.1785 | 1157711.5967 | 2538352.8455 | 1157713.4575
54 | 2537869.097 | 1158101.6335 | 2537868.4027 | 1158098.2583 | 2537867.882 | 1158091.6601 | 2537868.8093 | 1158086.4366 | 2537870.8223 | 1158081.6576 | 2537873.595 | 1158077.6934 | 2537899.0839 | 1158056.6072 | 2537903.5476 | 1158053.9472
55 | 2537869.097 | 1158101.6335 | 2537872.0446 | 1158115.9617
56 | 2537916.7775 | 1158046.063 | 2537903.5476 | 1158053.9472
57 | 2537876.6335 | 1158138.2683 | 2537872.0446 | 1158115.9617

## bus_geodata
| x | y | coords
0 | 2538288.8592 | 1158075.7321
1 | 2538273.2603 | 1158076.7948
2 | 2538221.2854 | 1158088.2831
3 | 2538348.8257 | 1157949.9385
4 | 2538259.2128 | 1157968.463
5 | 2538343.6136 | 1157805.6754
6 | 2538671.1164 | 1158030.9167
7 | 2538191.521 | 1158095.1453
8 | 2538238.8054 | 1157973.2036
9 | 2538344.9455 | 1157762.9709
10 | 2538682.6641 | 1157943.7919
11 | 2538185.2491 | 1158096.5995
12 | 2538141.2642 | 1158161.0078
13 | 2538152.244 | 1158209.7787
14 | 2538129.6509 | 1158109.4234
15 | 2538131.1893 | 1158205.1374
16 | 2538120.921 | 1158111.4381
17 | 2538160.092 | 1158102.4021
18 | 2538110.7569 | 1158209.7829
19 | 2538111.952 | 1158113.5079
20 | 2538114.1666 | 1158123.0681
21 | 2538057.4018 | 1158126.0771
22 | 2538033.2268 | 1158163.7958
23 | 2538028.832 | 1158145.0821
24 | 2538068.6215 | 1158011.928
25 | 2538017.304 | 1158028.771
26 | 2538075.1757 | 1158010.3419
27 | 2537994.478 | 1158054.6911
28 | 2538077.7609 | 1158022.3773
29 | 2538135.2002 | 1157996.5622
30 | 2537998.087 | 1158090.0361
31 | 2537980.0055 | 1158143.9188
32 | 2538013.3251 | 1158086.7103
33 | 2537961.8999 | 1158087.6808
34 | 2538082.2649 | 1158042.5308
35 | 2538138.7072 | 1157995.7571
36 | 2537922.9254 | 1158157.4289
37 | 2537982.4992 | 1158155.2436
38 | 2538012.9672 | 1158148.5811
39 | 2538022.8684 | 1158134.0487
40 | 2538017.0858 | 1158167.6401
41 | 2538055.5501 | 1158077.5061
42 | 2538029.8297 | 1158132.4418
43 | 2538086.273 | 1158060.4659
44 | 2538168.5247 | 1157988.9082
45 | 2537987.1969 | 1158176.596
46 | 2537882.5383 | 1158166.9718
47 | 2538061.5225 | 1158076.2043
48 | 2538118.2781 | 1158140.3796
49 | 2538213.5673 | 1157978.8335
50 | 2538236.9126 | 1157973.6258
51 | 2538203.1207 | 1157981.1639
52 | 2538352.8455 | 1157713.4575
53 | 2538285.7239 | 1157708.8219
54 | 2537869.097 | 1158101.6335
55 | 2537903.5476 | 1158053.9472
56 | 2537872.0446 | 1158115.9617
57 | 2537916.7775 | 1158046.063
58 | 2537876.6335 | 1158138.2683
59 | 2538013.3251 | 1158086.7103

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1