## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5587-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5587-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5587-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5587-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5587-4_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5587-4_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_5587-4_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5587-4_0_5_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_5587-4_0_5_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_5587-4_0_5_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5587-4_0_5_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_5587-4_0_5_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_5587-4_0_5_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_5587-4_0_5_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_5587-4_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5587-4_0_5_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_5587-4_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5587-4_0_5_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_5587-4_0_5_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_5587-4_0_5_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_5587-4_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5587-4_0_5_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5587-4_0_5_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_5587-4_0_5_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_5587-4_0_5_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_5587-4_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5587-4_0_5_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_5587-4_0_5_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_5587-4_0_5_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_5587-4_0_5_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_5587-4_0_5_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_5587-4_0_5_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_5587-4_0_5_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_5587-4_0_5_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_5587-4_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_5587-4_0_5_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_5587-4_0_5_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5587-4_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5587-4_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_5587-4_0_5_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_5587-4_0_5_node_14 | 0.4 | n |  | TRUE
41 | bus_LV_5587-4_0_5_node_15 | 0.4 | n |  | TRUE
42 | bus_LV_5587-4_0_5_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_5587-4_0_5_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_5587-4_0_5_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_5587-4_0_5_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_5587-4_0_5_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_5587-4_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5587-4_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_5587-4_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5587-4_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_5587-4_0_5_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_5587-4_0_5_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_5587-4_0_5_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_5587-4_0_5_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_5587-4_0_5_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_5587-4_0_5_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_5587-4_0_5_node_53 | 0.4 | n |  | TRUE
58 | bus_MV_629_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5587-4_0_5_load_0 | 0 | 0.053645 | 0.013445 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5587-4_0_5_load_10 | 5 | 0.05238 | 0.013128 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5587-4_0_5_load_56 | 7 | 0.002611 | 0.00065438 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5587-4_0_5_load_40 | 11 | 0.0014551 | 0.00036469 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5587-4_0_5_load_50 | 13 | 0.0014593 | 0.00036572 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5587-4_0_5_load_28 | 15 | 0.0011789 | 0.00029546 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5587-4_0_5_load_25 | 18 | 0.0028591 | 0.00071655 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5587-4_0_5_load_58 | 19 | 0.00062468 | 0.00015656 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5587-4_0_5_load_12 | 20 | 0.02351 | 0.0058922 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5587-4_0_5_load_20 | 21 | 0.044596 | 0.011177 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5587-4_0_5_load_33 | 23 | 0.0028261 | 0.00070828 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5587-4_0_5_load_55 | 24 | 0.005165 | 0.0012945 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5587-4_0_5_load_42 | 26 | 0.0013506 | 0.0003385 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5587-4_0_5_load_51 | 27 | 0.0013717 | 0.00034379 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5587-4_0_5_load_45 | 29 | 0.0042321 | 0.0010607 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5587-4_0_5_load_39 | 30 | 0.0040986 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5587-4_0_5_load_37 | 31 | 0.0029157 | 0.00073075 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5587-4_0_5_load_32 | 32 | 0.0046941 | 0.0011765 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5587-4_0_5_load_31 | 33 | 0.0051531 | 0.0012915 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5587-4_0_5_load_26 | 34 | 0.0053021 | 0.0013288 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5587-4_0_5_load_13 | 35 | 0.0068545 | 0.0017179 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5587-4_0_5_load_19 | 36 | 0.053551 | 0.013421 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5587-4_0_5_load_23 | 38 | 0.00080637 | 0.0002021 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5587-4_0_5_load_57 | 39 | 0.015371 | 0.0038525 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5587-4_0_5_load_14 | 40 | 0.003497 | 0.00087642 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5587-4_0_5_load_15 | 41 | 0.00077094 | 0.00019321 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5587-4_0_5_load_16 | 42 | 0.0073919 | 0.0018526 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5587-4_0_5_load_18 | 43 | 0.13087 | 0.032799 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5587-4_0_5_load_41 | 44 | 0.0070477 | 0.0017663 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5587-4_0_5_load_48 | 45 | 0.0032545 | 0.00081566 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5587-4_0_5_load_24 | 46 | 0.0038366 | 0.00096154 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5587-4_0_5_load_27 | 47 | 0.0055904 | 0.0014011 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5587-4_0_5_load_30 | 48 | 0.0084764 | 0.0021244 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5587-4_0_5_load_38 | 50 | 0.0027985 | 0.00070137 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5587-4_0_5_load_59 | 51 | 0.0058071 | 0.0014554 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5587-4_0_5_load_61 | 53 | 0.004502 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5587-4_0_5_load_49 | 54 | 0.0058117 | 0.0014565 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5587-4_0_5_load_52 | 56 | 0.012874 | 0.0032265 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5587-4_0_5_load_53 | 57 | 0.0035132 | 0.00088049 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5587-4_0_5_line_0 |  | 0 | 1 | 0.095335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5587-4_0_5_line_1 |  | 0 | 2 | 0.03319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5587-4_0_5_line_2 |  | 1 | 3 | 0.012446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5587-4_0_5_line_3 |  | 1 | 4 | 0.20018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5587-4_0_5_line_4 |  | 2 | 5 | 0.021749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5587-4_0_5_line_5 |  | 2 | 6 | 0.01225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5587-4_0_5_line_6 |  | 3 | 7 | 0.009593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5587-4_0_5_line_7 |  | 3 | 8 | 0.015845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5587-4_0_5_line_8 |  | 4 | 12 | 0.007549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5587-4_0_5_line_9 |  | 4 | 13 | 0.0063043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5587-4_0_5_line_10 |  | 4 | 9 | 0.066852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5587-4_0_5_line_11 |  | 5 | 20 | 0.0011267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5587-4_0_5_line_12 |  | 6 | 21 | 0.083848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5587-4_0_5_line_13 |  | 8 | 22 | 0.030089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5587-4_0_5_line_14 |  | 8 | 23 | 0.0085259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5587-4_0_5_line_15 |  | 9 | 10 | 0.049219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5587-4_0_5_line_16 |  | 9 | 11 | 0.0062125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5587-4_0_5_line_17 |  | 10 | 24 | 0.032745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5587-4_0_5_line_18 |  | 11 | 25 | 0.0041174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5587-4_0_5_line_19 |  | 12 | 26 | 0.0037047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5587-4_0_5_line_20 |  | 13 | 27 | 0.0064971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5587-4_0_5_line_21 |  | 14 | 15 | 0.01761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5587-4_0_5_line_22 |  | 14 | 16 | 0.067819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5587-4_0_5_line_23 |  | 14 | 17 | 0.24778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5587-4_0_5_line_24 |  | 14 | 18 | 0.013016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5587-4_0_5_line_25 |  | 15 | 30 | 0.011472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5587-4_0_5_line_26 |  | 15 | 31 | 0.017198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5587-4_0_5_line_27 |  | 16 | 19 | 0.023129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5587-4_0_5_line_28 |  | 17 | 32 | 0.020767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5587-4_0_5_line_29 |  | 17 | 33 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5587-4_0_5_line_30 |  | 18 | 34 | 0.025864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5587-4_0_5_line_31 |  | 20 | 35 | 0.073951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5587-4_0_5_line_32 |  | 21 | 36 | 0.000422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5587-4_0_5_line_33 |  | 22 | 51 | 0.010528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5587-4_0_5_line_34 |  | 22 | 52 | 0.009098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5587-4_0_5_line_35 |  | 23 | 49 | 0.0095378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5587-4_0_5_line_36 |  | 24 | 55 | 0.075054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5587-4_0_5_line_37 |  | 25 | 44 | 0.028431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5587-4_0_5_line_38 |  | 25 | 41 | 0.02966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5587-4_0_5_line_39 |  | 26 | 28 | 0.00097187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5587-4_0_5_line_40 |  | 28 | 29 | 0.005857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5587-4_0_5_line_41 |  | 31 | 49 | 0.01619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5587-4_0_5_line_42 |  | 34 | 47 | 0.016121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5587-4_0_5_line_43 |  | 35 | 37 | 0.044941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5587-4_0_5_line_44 |  | 37 | 38 | 0.039307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5587-4_0_5_line_45 |  | 37 | 39 | 0.073846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5587-4_0_5_line_46 |  | 38 | 46 | 0.0075763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5587-4_0_5_line_47 |  | 40 | 41 | 0.0019746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5587-4_0_5_line_48 |  | 40 | 42 | 0.0053856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5587-4_0_5_line_49 |  | 42 | 43 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5587-4_0_5_line_50 |  | 44 | 45 | 0.020124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5587-4_0_5_line_51 |  | 45 | 54 | 0.011242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5587-4_0_5_line_52 |  | 47 | 48 | 0.0099467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5587-4_0_5_line_53 |  | 49 | 50 | 0.008491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5587-4_0_5_line_54 |  | 52 | 53 | 0.010579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5587-4_0_5_line_55 |  | 55 | 56 | 0.026193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5587-4_0_5_line_56 |  | 56 | 57 | 0.019279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5587-4_0_5_trafo_0 | 0.63 MVA 20/0.4 kV | 58 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2538371.4306 | 1155006.04 | 2538373.9855 | 1155003.8459 | 2538380.0632 | 1155002.594 | 2538424.4163 | 1154992.1671 | 2538447.478 | 1154987.9953 | 2538463.9875 | 1154985.0878
1 | 2538496.6742 | 1154979.3313 | 2538463.9875 | 1154985.0878
2 | 2538368.1099 | 1155017.3246 | 2538368.9897 | 1155008.1328 | 2538371.4306 | 1155006.04
3 | 2538311.6765 | 1154956.1371 | 2538306.5938 | 1154956.4339 | 2538301.5989 | 1154956.3184 | 2538293.7677 | 1154954.898 | 2538292.2713 | 1154965.2968 | 2538291.96 | 1154974.5717 | 2538292.4113 | 1154984.8949 | 2538292.9204 | 1154991.1486 | 2538293.333 | 1154994.7241 | 2538293.6041 | 1154996.4667 | 2538294.24 | 1154999.384 | 2538295.0038 | 1155002.7891 | 2538296.9807 | 1155010.7954 | 2538298.2302 | 1155015.1961 | 2538299.353 | 1155018.4641 | 2538300.4262 | 1155021.3769 | 2538302.3441 | 1155025.8819 | 2538304.3787 | 1155030.5413 | 2538305.8984 | 1155033.6162 | 2538307.5009 | 1155036.5347 | 2538311.63 | 1155044.2187 | 2538314.7302 | 1155049.5676 | 2538318.3573 | 1155055.4335 | 2538324.2687 | 1155049.1917 | 2538332.4197 | 1155035.445 | 2538363.5738 | 1155005.1089 | 2538371.4306 | 1155006.04
4 | 2538496.6742 | 1154979.3313 | 2538518.0841 | 1154975.5029
5 | 2538498.8611 | 1154991.3822 | 2538497.3166 | 1154982.8822 | 2538496.6742 | 1154979.3313
6 | 2538377.6058 | 1155015.782 | 2538368.1099 | 1155017.3246
7 | 2538368.1099 | 1155017.3246 | 2538366.5918 | 1155033.0932
8 | 2538319.2355 | 1154955.7037 | 2538311.6765 | 1154956.1371
9 | 2538311.6765 | 1154956.1371 | 2538311.8784 | 1154959.359 | 2538312.0715 | 1154962.429
10 | 2538311.6765 | 1154956.1371 | 2538306.5938 | 1154956.4339 | 2538301.5989 | 1154956.3184 | 2538293.7677 | 1154954.898 | 2538295.1845 | 1154947.9575 | 2538298.8285 | 1154934.5461 | 2538302.3903 | 1154925.8271 | 2538306.1674 | 1154917.1614 | 2538310.3743 | 1154909.2583
11 | 2538518.0841 | 1154975.5029 | 2538519.1931 | 1154975.3045
12 | 2538498.8611 | 1154991.3822 | 2538500.4864 | 1155000.2815 | 2538515.1736 | 1155056.2504 | 2538521.8032 | 1155060.207 | 2538528.4127 | 1155060.6952 | 2538530.6721 | 1155059.4296
13 | 2538366.5918 | 1155033.0932 | 2538396.0496 | 1155026.5654
14 | 2538366.5918 | 1155033.0932 | 2538365.7375 | 1155041.5762
15 | 2538276.2956 | 1154927.4848 | 2538280.3173 | 1154927.6992 | 2538284.2799 | 1154928.1254 | 2538288.0784 | 1154927.5194 | 2538289.7593 | 1154926.1125 | 2538291.4215 | 1154922.1488 | 2538295.2615 | 1154910.6476 | 2538296.1803 | 1154907.492 | 2538297.8365 | 1154905.9297 | 2538300.1492 | 1154905.5502 | 2538303.8327 | 1154906.4351 | 2538310.3743 | 1154909.2583
16 | 2538310.3743 | 1154909.2583 | 2538313.5024 | 1154903.8908
17 | 2538276.2956 | 1154927.4848 | 2538271.7991 | 1154925.1186 | 2538259.3327 | 1154923.5013 | 2538255.6917 | 1154924.5171 | 2538249.2051 | 1154928.5303 | 2538246.7246 | 1154931.2556
18 | 2538315.5756 | 1154900.3334 | 2538313.5024 | 1154903.8908
19 | 2538319.2355 | 1154955.7037 | 2538322.9341 | 1154955.4896
20 | 2538312.4751 | 1154968.9136 | 2538312.2634 | 1154965.4806 | 2538312.0715 | 1154962.429
21 | 2538361.4254 | 1155084.2851 | 2538359.6568 | 1155101.8016
22 | 2538301.9333 | 1155130.7541 | 2538306.3239 | 1155131.7985 | 2538312.0606 | 1155132.4511 | 2538341.1921 | 1155117.355 | 2538347.9444 | 1155110.0929 | 2538351.1438 | 1155105.6799 | 2538359.6568 | 1155101.8016
23 | 2538359.6568 | 1155101.8016 | 2538351.1438 | 1155105.6799 | 2538347.9444 | 1155110.0929 | 2538351.8019 | 1155122.7157 | 2538359.2299 | 1155151.3885 | 2538361.3942 | 1155159.7263 | 2538363.3839 | 1155167.499 | 2538374.6674 | 1155211.6073 | 2538399.4665 | 1155204.1601 | 2538432.9512 | 1155193.211 | 2538446.4792 | 1155192.9278 | 2538454.3229 | 1155190.3683 | 2538441.1632 | 1155147.2464
24 | 2538359.6568 | 1155101.8016 | 2538362.6731 | 1155101.9708 | 2538372.4759 | 1155100.0179
25 | 2538372.8737 | 1155083.1448 | 2538361.4254 | 1155084.2851
26 | 2538361.4254 | 1155084.2851 | 2538363.1543 | 1155067.1739
27 | 2538291.597 | 1155112.4503 | 2538293.5793 | 1155123.9695 | 2538297.6424 | 1155129.7198 | 2538301.9333 | 1155130.7541
28 | 2538441.1632 | 1155147.2464 | 2538421.2437 | 1155153.1169
29 | 2538441.1632 | 1155147.2464 | 2538453.8922 | 1155144.5313
30 | 2538372.4759 | 1155100.0179 | 2538395.2682 | 1155095.4775 | 2538397.8594 | 1155095.0656
31 | 2538519.1931 | 1154975.3045 | 2538538.5493 | 1154971.8433 | 2538591.9885 | 1154962.2832
32 | 2538531.0403 | 1155059.2234 | 2538530.6721 | 1155059.4296
33 | 2538396.0496 | 1155026.5654 | 2538397.8205 | 1155036.9417
34 | 2538404.886 | 1155024.2958 | 2538396.0496 | 1155026.5654
35 | 2538364.7818 | 1155051.0659 | 2538365.7375 | 1155041.5762
36 | 2538219.258 | 1154997.898 | 2538218.4641 | 1154980.3744 | 2538224.4378 | 1154961.5472 | 2538235.8248 | 1154943.2314 | 2538246.7246 | 1154931.2556
37 | 2538315.5756 | 1154900.3334 | 2538287.3556 | 1154896.8724
38 | 2538315.5756 | 1154900.3334 | 2538318.8398 | 1154894.7525 | 2538321.9353 | 1154889.1843 | 2538325.4767 | 1154882.2109 | 2538329.0976 | 1154873.968
39 | 2538322.9341 | 1154955.4896 | 2538323.9043 | 1154955.4334
40 | 2538323.9043 | 1154955.4334 | 2538329.7691 | 1154955.0953
41 | 2538364.7818 | 1155051.0659 | 2538363.1543 | 1155067.1739
42 | 2538397.8594 | 1155095.0656 | 2538413.7802 | 1155092.5349
43 | 2538636.2276 | 1154954.369 | 2538591.9885 | 1154962.2832
44 | 2538636.2276 | 1154954.369 | 2538632.4625 | 1154951.4948 | 2538625.0292 | 1154941.7098 | 2538609.6205 | 1154925.615
45 | 2538636.2276 | 1154954.369 | 2538693.5893 | 1155000.8754
46 | 2538604.3812 | 1154920.1424 | 2538609.6205 | 1154925.615
47 | 2538329.0976 | 1154873.968 | 2538329.8917 | 1154872.1601
48 | 2538331.4004 | 1154866.9901 | 2538329.8917 | 1154872.1601 | 2538329.8917 | 1154872.1601
49 | 2538333.7164 | 1154854.6669 | 2538332.6706 | 1154862.6375 | 2538331.4004 | 1154866.9901
50 | 2538287.3556 | 1154896.8724 | 2538267.3812 | 1154894.4226
51 | 2538256.2227 | 1154893.0541 | 2538267.3812 | 1154894.4226
52 | 2538423.6036 | 1155090.9735 | 2538413.7802 | 1155092.5349
53 | 2538373.1741 | 1155049.6235 | 2538364.7818 | 1155051.0659
54 | 2538409.3899 | 1155015.4337 | 2538406.0345 | 1155018.1029 | 2538404.886 | 1155024.2958
55 | 2538219.258 | 1154997.898 | 2538220.2623 | 1154997.8432 | 2538221.7811 | 1154997.0939 | 2538223.4345 | 1154995.2648 | 2538224.2991 | 1154994.2998 | 2538225.9078 | 1154992.6046 | 2538226.6663 | 1154991.763 | 2538228.3203 | 1154989.9894 | 2538229.1094 | 1154989.1475 | 2538231.2506 | 1154987.0133 | 2538237.8904 | 1154979.9968
56 | 2538237.8904 | 1154979.9968 | 2538251.6367 | 1154993.5144

## bus_geodata
| x | y | coords
0 | 2538463.9875 | 1154985.0878
1 | 2538371.4306 | 1155006.04
2 | 2538496.6742 | 1154979.3313
3 | 2538368.1099 | 1155017.3246
4 | 2538311.6765 | 1154956.1371
5 | 2538518.0841 | 1154975.5029
6 | 2538498.8611 | 1154991.3822
7 | 2538377.6058 | 1155015.782
8 | 2538366.5918 | 1155033.0932
9 | 2538310.3743 | 1154909.2583
10 | 2538276.2956 | 1154927.4848
11 | 2538313.5024 | 1154903.8908
12 | 2538319.2355 | 1154955.7037
13 | 2538312.0715 | 1154962.429
14 | 2538359.6568 | 1155101.8016
15 | 2538361.4254 | 1155084.2851
16 | 2538301.9333 | 1155130.7541
17 | 2538441.1632 | 1155147.2464
18 | 2538372.4759 | 1155100.0179
19 | 2538291.597 | 1155112.4503
20 | 2538519.1931 | 1154975.3045
21 | 2538530.6721 | 1155059.4296
22 | 2538396.0496 | 1155026.5654
23 | 2538365.7375 | 1155041.5762
24 | 2538246.7246 | 1154931.2556
25 | 2538315.5756 | 1154900.3334
26 | 2538322.9341 | 1154955.4896
27 | 2538312.4751 | 1154968.9136
28 | 2538323.9043 | 1154955.4334
29 | 2538329.7691 | 1154955.0953
30 | 2538372.8737 | 1155083.1448
31 | 2538363.1543 | 1155067.1739
32 | 2538421.2437 | 1155153.1169
33 | 2538453.8922 | 1155144.5313
34 | 2538397.8594 | 1155095.0656
35 | 2538591.9885 | 1154962.2832
36 | 2538531.0403 | 1155059.2234
37 | 2538636.2276 | 1154954.369
38 | 2538609.6205 | 1154925.615
39 | 2538693.5893 | 1155000.8754
40 | 2538329.8917 | 1154872.1601
41 | 2538329.0976 | 1154873.968
42 | 2538331.4004 | 1154866.9901
43 | 2538333.7164 | 1154854.6669
44 | 2538287.3557 | 1154896.8724
45 | 2538267.3812 | 1154894.4226
46 | 2538604.3812 | 1154920.1424
47 | 2538413.7802 | 1155092.5349
48 | 2538423.6036 | 1155090.9735
49 | 2538364.7818 | 1155051.0659
50 | 2538373.1741 | 1155049.6235
51 | 2538397.8205 | 1155036.9417
52 | 2538404.886 | 1155024.2958
53 | 2538409.3899 | 1155015.4337
54 | 2538256.2227 | 1154893.0541
55 | 2538219.258 | 1154997.898
56 | 2538237.8904 | 1154979.9968
57 | 2538251.6367 | 1154993.5144
58 | 2538496.6742 | 1154979.3313

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1