## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5587-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5587-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5587-7_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5587-7_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5587-7_0_5_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_5587-7_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5587-7_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5587-7_0_5_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_5587-7_0_5_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_5587-7_0_5_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_5587-7_0_5_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_5587-7_0_5_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_5587-7_0_5_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_5587-7_0_5_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_5587-7_0_5_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_5587-7_0_5_node_79 | 0.4 | n |  | TRUE
16 | bus_LV_5587-7_0_5_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_5587-7_0_5_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_5587-7_0_5_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_5587-7_0_5_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_5587-7_0_5_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_5587-7_0_5_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_5587-7_0_5_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_5587-7_0_5_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_5587-7_0_5_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_5587-7_0_5_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_5587-7_0_5_node_7 | 0.4 | n |  | TRUE
27 | bus_LV_5587-7_0_5_node_8 | 0.4 | n |  | TRUE
28 | bus_LV_5587-7_0_5_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_5587-7_0_5_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_5587-7_0_5_node_9 | 0.4 | n |  | TRUE
31 | bus_LV_5587-7_0_5_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_5587-7_0_5_node_11 | 0.4 | n |  | TRUE
33 | bus_LV_5587-7_0_5_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_5587-7_0_5_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_5587-7_0_5_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_5587-7_0_5_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_5587-7_0_5_node_13 | 0.4 | n |  | TRUE
38 | bus_LV_5587-7_0_5_node_14 | 0.4 | n |  | TRUE
39 | bus_LV_5587-7_0_5_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_5587-7_0_5_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_5587-7_0_5_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_5587-7_0_5_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_5587-7_0_5_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_5587-7_0_5_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_5587-7_0_5_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_5587-7_0_5_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_5587-7_0_5_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_5587-7_0_5_node_82 | 0.4 | n |  | TRUE
49 | bus_LV_5587-7_0_5_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_5587-7_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5587-7_0_5_node_18 | 0.4 | n |  | TRUE
52 | bus_LV_5587-7_0_5_node_19 | 0.4 | n |  | TRUE
53 | bus_LV_5587-7_0_5_node_20 | 0.4 | n |  | TRUE
54 | bus_LV_5587-7_0_5_node_21 | 0.4 | n |  | TRUE
55 | bus_LV_5587-7_0_5_node_22 | 0.4 | n |  | TRUE
56 | bus_LV_5587-7_0_5_node_23 | 0.4 | n |  | TRUE
57 | bus_LV_5587-7_0_5_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_5587-7_0_5_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_5587-7_0_5_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_5587-7_0_5_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_5587-7_0_5_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_5587-7_0_5_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_5587-7_0_5_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_5587-7_0_5_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_5587-7_0_5_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_5587-7_0_5_node_27 | 0.4 | n |  | TRUE
67 | bus_LV_5587-7_0_5_node_28 | 0.4 | n |  | TRUE
68 | bus_LV_5587-7_0_5_node_29 | 0.4 | n |  | TRUE
69 | bus_LV_5587-7_0_5_node_30 | 0.4 | n |  | TRUE
70 | bus_LV_5587-7_0_5_node_31 | 0.4 | n |  | TRUE
71 | bus_LV_5587-7_0_5_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5587-7_0_5_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_5587-7_0_5_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5587-7_0_5_node_34 | 0.4 | n |  | TRUE
75 | bus_LV_5587-7_0_5_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_5587-7_0_5_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_5587-7_0_5_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_5587-7_0_5_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_5587-7_0_5_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_5587-7_0_5_node_69 | 0.4 | n |  | TRUE
81 | bus_MV_629_0_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5587-7_0_5_load_0 | 0 | 0.0053442 | 0.0013394 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5587-7_0_5_load_4 | 3 | 0.0036613 | 0.00091761 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5587-7_0_5_load_5 | 5 | 0.0016972 | 0.00042535 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5587-7_0_5_load_6 | 6 | 0.0052582 | 0.0013178 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5587-7_0_5_load_45 | 8 | 0.00069288 | 0.00017365 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5587-7_0_5_load_25 | 9 | 0.0017429 | 0.00043681 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5587-7_0_5_load_24 | 10 | 0.0006718 | 0.00016837 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5587-7_0_5_load_37 | 11 | 0.0017933 | 0.00044945 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5587-7_0_5_load_44 | 12 | 0.0022846 | 0.00057259 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5587-7_0_5_load_40 | 13 | 0.00075407 | 0.00018899 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5587-7_0_5_load_46 | 14 | 0.00066368 | 0.00016633 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5587-7_0_5_load_79 | 15 | 0.0016444 | 0.00041213 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5587-7_0_5_load_54 | 16 | 0.0010697 | 0.00026809 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5587-7_0_5_load_55 | 17 | 0.0024761 | 0.00062056 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5587-7_0_5_load_75 | 21 | 0.0010147 | 0.0002543 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5587-7_0_5_load_71 | 22 | 0.0032631 | 0.0008178 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5587-7_0_5_load_72 | 23 | 0.0031785 | 0.0007966 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5587-7_0_5_load_73 | 24 | 0.0063076 | 0.0015808 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5587-7_0_5_load_7 | 26 | 0.024863 | 0.0062312 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5587-7_0_5_load_8 | 27 | 0.0029096 | 0.00072922 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5587-7_0_5_load_51 | 28 | 0.023927 | 0.0059968 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5587-7_0_5_load_67 | 29 | 0.024934 | 0.006249 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5587-7_0_5_load_53 | 34 | 0.016752 | 0.0041985 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5587-7_0_5_load_65 | 36 | 0.026081 | 0.0065366 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5587-7_0_5_load_13 | 37 | 0.0093946 | 0.0023545 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5587-7_0_5_load_14 | 38 | 0.0078999 | 0.0019799 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5587-7_0_5_load_16 | 39 | 0.049984 | 0.012527 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5587-7_0_5_load_17 | 40 | 0.017812 | 0.0044641 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5587-7_0_5_load_36 | 41 | 0.054074 | 0.013552 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5587-7_0_5_load_59 | 43 | 0.0014061 | 0.00035239 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5587-7_0_5_load_63 | 44 | 0.0030366 | 0.00076103 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5587-7_0_5_load_41 | 45 | 0.0016426 | 0.00041168 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5587-7_0_5_load_68 | 46 | 0.013448 | 0.0033704 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5587-7_0_5_load_82 | 48 | 0.0091229 | 0.0022864 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5587-7_0_5_load_35 | 50 | 0.05524 | 0.013844 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5587-7_0_5_load_18 | 51 | 0.0044644 | 0.0011189 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5587-7_0_5_load_19 | 52 | 0.0042928 | 0.0010759 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5587-7_0_5_load_21 | 54 | 0.0051405 | 0.0012883 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5587-7_0_5_load_23 | 56 | 0.0048164 | 0.0012071 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5587-7_0_5_load_38 | 57 | 0.0035316 | 0.00088511 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5587-7_0_5_load_32 | 58 | 0.0052374 | 0.0013126 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5587-7_0_5_load_76 | 59 | 0.0012031 | 0.00030153 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5587-7_0_5_load_77 | 60 | 0.001036 | 0.00025964 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5587-7_0_5_load_84 | 63 | 0.0014907 | 0.0003736 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5587-7_0_5_load_83 | 64 | 0.0022543 | 0.00056497 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5587-7_0_5_load_27 | 66 | 0.0011731 | 0.000294 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5587-7_0_5_load_28 | 67 | 0.00073967 | 0.00018538 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5587-7_0_5_load_30 | 69 | 0.0028821 | 0.00072232 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5587-7_0_5_load_64 | 71 | 0.0041029 | 0.0010283 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5587-7_0_5_load_74 | 72 | 0.002042 | 0.00051177 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5587-7_0_5_load_70 | 73 | 0.0019616 | 0.00049162 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5587-7_0_5_load_34 | 74 | 0.019464 | 0.004878 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5587-7_0_5_load_47 | 75 | 0.0061966 | 0.001553 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5587-7_0_5_load_48 | 76 | 0.0058236 | 0.0014595 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5587-7_0_5_load_60 | 77 | 0.030353 | 0.0076071 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5587-7_0_5_load_62 | 78 | 0.044965 | 0.011269 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5587-7_0_5_load_61 | 79 | 0.019366 | 0.0048537 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5587-7_0_5_load_69 | 80 | 0.0034833 | 0.00087299 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5587-7_0_5_line_0 |  | 0 | 1 | 0.027471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5587-7_0_5_line_1 |  | 1 | 2 | 0.034427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5587-7_0_5_line_2 |  | 1 | 3 | 0.035352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5587-7_0_5_line_3 |  | 2 | 7 | 0.033424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5587-7_0_5_line_4 |  | 2 | 8 | 0.047105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5587-7_0_5_line_5 |  | 3 | 9 | 0.042792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5587-7_0_5_line_6 |  | 4 | 5 | 0.034605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5587-7_0_5_line_7 |  | 4 | 6 | 0.016773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5587-7_0_5_line_8 |  | 5 | 10 | 0.01197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5587-7_0_5_line_9 |  | 6 | 11 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5587-7_0_5_line_10 |  | 7 | 12 | 0.021485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5587-7_0_5_line_11 |  | 7 | 13 | 0.004388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5587-7_0_5_line_12 |  | 8 | 14 | 0.0035495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5587-7_0_5_line_13 |  | 9 | 15 | 0.060014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5587-7_0_5_line_14 |  | 9 | 10 | 0.028103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5587-7_0_5_line_15 |  | 13 | 45 | 0.015005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5587-7_0_5_line_16 |  | 15 | 61 | 0.013723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5587-7_0_5_line_17 |  | 15 | 60 | 0.022859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5587-7_0_5_line_18 |  | 16 | 17 | 0.041294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5587-7_0_5_line_19 |  | 16 | 18 | 0.0045028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5587-7_0_5_line_20 |  | 17 | 19 | 0.01851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5587-7_0_5_line_21 |  | 18 | 20 | 0.014489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5587-7_0_5_line_22 |  | 19 | 59 | 0.014744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5587-7_0_5_line_23 |  | 19 | 60 | 0.033992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5587-7_0_5_line_24 |  | 20 | 21 | 0.012547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5587-7_0_5_line_25 |  | 21 | 25 | 0.021446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5587-7_0_5_line_26 |  | 22 | 23 | 0.0095031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5587-7_0_5_line_27 |  | 22 | 24 | 0.0025646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5587-7_0_5_line_28 |  | 23 | 25 | 0.010641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5587-7_0_5_line_29 |  | 25 | 55 | 0.006757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5587-7_0_5_line_30 |  | 26 | 27 | 0.035742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5587-7_0_5_line_31 |  | 26 | 28 | 0.041016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5587-7_0_5_line_32 |  | 26 | 29 | 0.033942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5587-7_0_5_line_33 |  | 27 | 30 | 0.031224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5587-7_0_5_line_34 |  | 28 | 32 | 0.03994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5587-7_0_5_line_35 |  | 30 | 42 | 0.006569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5587-7_0_5_line_36 |  | 30 | 43 | 0.038107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5587-7_0_5_line_37 |  | 31 | 32 | 0.014904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5587-7_0_5_line_38 |  | 31 | 33 | 0.025833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5587-7_0_5_line_39 |  | 32 | 34 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5587-7_0_5_line_40 |  | 33 | 35 | 0.066492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5587-7_0_5_line_41 |  | 33 | 36 | 0.015985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5587-7_0_5_line_42 |  | 35 | 40 | 0.037774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_5587-7_0_5_line_43 |  | 35 | 37 | 0.020795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5587-7_0_5_line_44 |  | 37 | 38 | 0.015841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5587-7_0_5_line_45 |  | 38 | 39 | 0.021359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5587-7_0_5_line_46 |  | 39 | 47 | 0.0040181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5587-7_0_5_line_47 |  | 40 | 41 | 0.046296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5587-7_0_5_line_48 |  | 41 | 50 | 0.014386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5587-7_0_5_line_49 |  | 42 | 44 | 0.023117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5587-7_0_5_line_50 |  | 42 | 45 | 0.021793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5587-7_0_5_line_51 |  | 43 | 46 | 0.0025264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5587-7_0_5_line_52 |  | 46 | 80 | 0.0096161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5587-7_0_5_line_53 |  | 47 | 48 | 0.028533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5587-7_0_5_line_54 |  | 47 | 49 | 0.007822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5587-7_0_5_line_55 |  | 49 | 65 | 0.005859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5587-7_0_5_line_56 |  | 50 | 74 | 0.018562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5587-7_0_5_line_57 |  | 51 | 52 | 0.030842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5587-7_0_5_line_58 |  | 51 | 53 | 0.015437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5587-7_0_5_line_59 |  | 52 | 54 | 0.010041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5587-7_0_5_line_60 |  | 53 | 55 | 0.0368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5587-7_0_5_line_61 |  | 53 | 56 | 0.023742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5587-7_0_5_line_62 |  | 54 | 57 | 0.015506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5587-7_0_5_line_63 |  | 55 | 58 | 0.015977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5587-7_0_5_line_64 |  | 61 | 62 | 0.002866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5587-7_0_5_line_65 |  | 62 | 63 | 0.013957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5587-7_0_5_line_66 |  | 62 | 64 | 0.008268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5587-7_0_5_line_67 |  | 65 | 78 | 0.028401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5587-7_0_5_line_68 |  | 65 | 77 | 0.034395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5587-7_0_5_line_69 |  | 66 | 67 | 0.021613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5587-7_0_5_line_70 |  | 66 | 68 | 0.016414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5587-7_0_5_line_71 |  | 67 | 69 | 0.00083082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5587-7_0_5_line_72 |  | 68 | 70 | 0.048788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5587-7_0_5_line_73 |  | 69 | 71 | 0.008299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5587-7_0_5_line_74 |  | 70 | 72 | 0.022753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5587-7_0_5_line_75 |  | 72 | 73 | 0.0067381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5587-7_0_5_line_76 |  | 73 | 80 | 0.040756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5587-7_0_5_line_77 |  | 75 | 76 | 0.0096217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5587-7_0_5_line_78 |  | 76 | 77 | 0.060103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5587-7_0_5_line_79 |  | 77 | 79 | 0.0034587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5587-7_0_5_trafo_49 | 0.63 MVA 20/0.4 kV | 81 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2538804.3185 | 1155488.8447 | 2538827.5381 | 1155474.164
1 | 2538804.3185 | 1155488.8447 | 2538785.8358 | 1155471.0122 | 2538777.1536 | 1155469.5554
2 | 2538804.3185 | 1155488.8447 | 2538801.2304 | 1155495.1574 | 2538802.0936 | 1155503.0862 | 2538808.014 | 1155507.5172 | 2538812.6193 | 1155511.5948 | 2538819.056 | 1155513.7954
3 | 2538745.058 | 1155463.9461 | 2538754.7147 | 1155468.4501 | 2538761.0781 | 1155470.4308 | 2538768.0016 | 1155470.9161 | 2538777.1536 | 1155469.5554
4 | 2538777.1536 | 1155469.5554 | 2538775.7913 | 1155455.5506 | 2538776.2246 | 1155441.6275 | 2538777.2278 | 1155433.9465 | 2538779.4223 | 1155422.8028
5 | 2538855.3909 | 1155496.8636 | 2538845.9577 | 1155502.1947 | 2538835.3107 | 1155507.3837 | 2538832.6424 | 1155512.7471 | 2538823.1026 | 1155515.1789 | 2538819.056 | 1155513.7954
6 | 2538886.8732 | 1155441.4233 | 2538892.8454 | 1155452.4463 | 2538893.7105 | 1155460.5753 | 2538887.3052 | 1155468.8004 | 2538884.3944 | 1155470.6867
7 | 2538886.8732 | 1155441.4233 | 2538893.8271 | 1155437.3615 | 2538901.2407 | 1155432.772
8 | 2538884.3944 | 1155470.6867 | 2538874.3494 | 1155477.1961
9 | 2538915.0327 | 1155422.2088 | 2538911.7927 | 1155426.2395 | 2538901.2407 | 1155432.772
10 | 2538734.5262 | 1155482.6859 | 2538745.058 | 1155463.9461
11 | 2538745.058 | 1155463.9461 | 2538741.2343 | 1155461.7935
12 | 2538779.4223 | 1155422.8028 | 2538780.1081 | 1155419.3202
13 | 2538855.3909 | 1155496.8636 | 2538885.4552 | 1155548.8041
14 | 2538855.3909 | 1155496.8636 | 2538860.6612 | 1155493.8851 | 2538868.6211 | 1155480.9082 | 2538874.3494 | 1155477.1961
15 | 2538741.2343 | 1155461.7935 | 2538728.1586 | 1155454.4322
16 | 2538875.1648 | 1155557.8833 | 2538885.4552 | 1155548.8041
17 | 2538903.8329 | 1155535.7576 | 2538897.6891 | 1155538.0101 | 2538885.4552 | 1155548.8041
18 | 2538978.6841 | 1155531.2888 | 2538971.2489 | 1155533.8381 | 2538961.886 | 1155537.8354 | 2538949.8836 | 1155543.994 | 2538941.5147 | 1155549.0228
19 | 2538982.9435 | 1155529.8283 | 2538978.6841 | 1155531.2888
20 | 2538926.7073 | 1155560.1049 | 2538939.4012 | 1155550.2928 | 2538941.5147 | 1155549.0228
21 | 2538996.8846 | 1155525.7401 | 2538982.9435 | 1155529.8283
22 | 2538926.7073 | 1155560.1049 | 2538915.8807 | 1155570.1141
23 | 2538926.7073 | 1155560.1049 | 2538908.6768 | 1155537.6649 | 2538903.8329 | 1155535.7576 | 2538903.8329 | 1155535.7576
24 | 2538996.8846 | 1155525.7401 | 2538994.9242 | 1155513.3477
25 | 2538991.5733 | 1155492.1647 | 2538994.9242 | 1155513.3477
26 | 2538971.8852 | 1155496.4277 | 2538981.173 | 1155494.4167
27 | 2538969.3786 | 1155496.9705 | 2538971.8852 | 1155496.4277
28 | 2538991.5733 | 1155492.1647 | 2538981.173 | 1155494.4167
29 | 2538991.5733 | 1155492.1647 | 2538990.8684 | 1155485.446
30 | 2538726.3918 | 1155379.6396 | 2538713.8444 | 1155401.9641 | 2538714.1171 | 1155412.0937
31 | 2538726.3918 | 1155379.6396 | 2538722.6946 | 1155338.7911
32 | 2538726.3918 | 1155379.6396 | 2538759.2926 | 1155371.2953
33 | 2538703.325 | 1155440.7035 | 2538714.3015 | 1155418.9464 | 2538714.1171 | 1155412.0937
34 | 2538740.0307 | 1155310.9589 | 2538737.2447 | 1155312.3102 | 2538735.6853 | 1155315.8391 | 2538738.0908 | 1155325.3198 | 2538738.2349 | 1155331.177 | 2538733.0056 | 1155334.3654 | 2538722.6946 | 1155338.7911
35 | 2538703.325 | 1155440.7035 | 2538709.1098 | 1155443.8462
36 | 2538703.325 | 1155440.7035 | 2538668.9753 | 1155424.205
37 | 2538753.9534 | 1155305.7919 | 2538747.5639 | 1155307.2912 | 2538740.0307 | 1155310.9589
38 | 2538753.9534 | 1155305.7919 | 2538754.307 | 1155296.0831 | 2538769.8896 | 1155291.9665
39 | 2538740.0307 | 1155310.9589 | 2538734.4859 | 1155299.02 | 2538732.6029 | 1155299.8435
40 | 2538769.8896 | 1155291.9665 | 2538766.1034 | 1155274.9514 | 2538764.0373 | 1155265.6563 | 2538801.004 | 1155251.6277
41 | 2538769.8896 | 1155291.9665 | 2538773.9517 | 1155307.4268
42 | 2538801.004 | 1155251.6277 | 2538833.6223 | 1155237.6547 | 2538835.8773 | 1155237.2626
43 | 2538801.004 | 1155251.6277 | 2538816.1604 | 1155265.8651
44 | 2538816.1604 | 1155265.8651 | 2538823.9512 | 1155273.1835 | 2538827.625 | 1155276.7948
45 | 2538827.625 | 1155276.7948 | 2538842.8575 | 1155291.7679
46 | 2538845.723 | 1155294.5846 | 2538842.8575 | 1155291.7679
47 | 2538835.8773 | 1155237.2626 | 2538847.7493 | 1155235.1984 | 2538881.7415 | 1155231.04
48 | 2538896.021 | 1155229.2931 | 2538896.021 | 1155229.2931 | 2538881.7415 | 1155231.04
49 | 2538709.1098 | 1155443.8462 | 2538705.2495 | 1155451.1562 | 2538698.1135 | 1155464.18
50 | 2538709.1098 | 1155443.8462 | 2538717.0312 | 1155448.1678 | 2538728.1586 | 1155454.4322
51 | 2538666.698 | 1155423.1112 | 2538668.9753 | 1155424.205
52 | 2538666.698 | 1155423.1112 | 2538658.0299 | 1155418.9479
53 | 2538845.723 | 1155294.5846 | 2538851.0305 | 1155289.2721 | 2538860.2034 | 1155270.3352
54 | 2538851.3093 | 1155300.0752 | 2538845.723 | 1155294.5846
55 | 2538851.3093 | 1155300.0752 | 2538855.7885 | 1155296.2831
56 | 2538911.5195 | 1155239.5077 | 2538896.021 | 1155229.2931
57 | 2538998.0759 | 1155441.6578 | 2539024.9974 | 1155426.6086
58 | 2538984.6017 | 1155449.19 | 2538998.0759 | 1155441.6578
59 | 2539033.7618 | 1155421.7092 | 2539024.9974 | 1155426.6086
60 | 2538990.8684 | 1155485.446 | 2538984.6017 | 1155449.19
61 | 2538984.6017 | 1155449.19 | 2538963.8795 | 1155460.7768
62 | 2539047.666 | 1155415.2829 | 2539044.6181 | 1155415.6405 | 2539033.7618 | 1155421.7092
63 | 2538990.8684 | 1155485.446 | 2539006.8069 | 1155484.3452
64 | 2538875.1648 | 1155557.8833 | 2538873.0135 | 1155559.784
65 | 2538878.3139 | 1155572.626 | 2538875.4886 | 1155564.0723 | 2538873.0135 | 1155559.784
66 | 2538866.8028 | 1155565.2613 | 2538873.0135 | 1155559.784
67 | 2538855.7885 | 1155296.2831 | 2538857.1735 | 1155293.6898 | 2538864.9606 | 1155285.5617 | 2538876.2085 | 1155276.8204
68 | 2538855.7885 | 1155296.2831 | 2538878.2841 | 1155301.3903 | 2538883.2984 | 1155297.4038 | 2538885.1257 | 1155292.8349
69 | 2538648.9354 | 1155373.4411 | 2538646.5464 | 1155372.0235 | 2538642.0217 | 1155364.599 | 2538633.1264 | 1155359.7315
70 | 2538618.7271 | 1155351.8522 | 2538633.1264 | 1155359.7315
71 | 2538649.6499 | 1155373.865 | 2538648.9354 | 1155373.4411
72 | 2538618.7271 | 1155351.8522 | 2538605.6247 | 1155373.4755 | 2538602.2454 | 1155379.0464 | 2538598.6922 | 1155384.8748 | 2538592.7631 | 1155393.1287
73 | 2538656.7869 | 1155378.1 | 2538649.6499 | 1155373.865
74 | 2538592.7631 | 1155393.1287 | 2538614.1127 | 1155400.9954
75 | 2538614.1127 | 1155400.9954 | 2538620.4352 | 1155403.325
76 | 2538658.0299 | 1155418.9479 | 2538642.2002 | 1155411.3447 | 2538620.4352 | 1155403.325
77 | 2538940.8479 | 1155315.3619 | 2538937.2516 | 1155324.2862
78 | 2538885.1257 | 1155292.8349 | 2538940.8479 | 1155315.3619
79 | 2538886.4101 | 1155289.6235 | 2538885.1257 | 1155292.8349

## bus_geodata
| x | y | coords
0 | 2538827.5381 | 1155474.164
1 | 2538804.3185 | 1155488.8447
2 | 2538777.1536 | 1155469.5554
3 | 2538819.056 | 1155513.7954
4 | 2538886.8732 | 1155441.4233
5 | 2538884.3944 | 1155470.6867
6 | 2538901.2407 | 1155432.772
7 | 2538745.058 | 1155463.9461
8 | 2538779.4223 | 1155422.8028
9 | 2538855.3909 | 1155496.8636
10 | 2538874.3494 | 1155477.1961
11 | 2538915.0327 | 1155422.2088
12 | 2538734.5262 | 1155482.6859
13 | 2538741.2343 | 1155461.7935
14 | 2538780.1081 | 1155419.3202
15 | 2538885.4552 | 1155548.8041
16 | 2538978.6841 | 1155531.2888
17 | 2538941.5147 | 1155549.0228
18 | 2538982.9435 | 1155529.8283
19 | 2538926.7073 | 1155560.1049
20 | 2538996.8846 | 1155525.7401
21 | 2538994.9242 | 1155513.3477
22 | 2538971.8852 | 1155496.4277
23 | 2538981.173 | 1155494.4167
24 | 2538969.3786 | 1155496.9705
25 | 2538991.5733 | 1155492.1647
26 | 2538726.3918 | 1155379.6396
27 | 2538714.1171 | 1155412.0937
28 | 2538722.6946 | 1155338.7911
29 | 2538759.2926 | 1155371.2953
30 | 2538703.325 | 1155440.7035
31 | 2538753.9534 | 1155305.7919
32 | 2538740.0307 | 1155310.9589
33 | 2538769.8896 | 1155291.9665
34 | 2538732.6029 | 1155299.8435
35 | 2538801.004 | 1155251.6277
36 | 2538773.9517 | 1155307.4268
37 | 2538816.1604 | 1155265.8651
38 | 2538827.625 | 1155276.7948
39 | 2538842.8575 | 1155291.7679
40 | 2538835.8773 | 1155237.2626
41 | 2538881.7415 | 1155231.04
42 | 2538709.1098 | 1155443.8462
43 | 2538668.9753 | 1155424.205
44 | 2538698.1135 | 1155464.18
45 | 2538728.1586 | 1155454.4322
46 | 2538666.698 | 1155423.1112
47 | 2538845.723 | 1155294.5846
48 | 2538860.2034 | 1155270.3352
49 | 2538851.3093 | 1155300.0752
50 | 2538896.021 | 1155229.2931
51 | 2538998.0759 | 1155441.6578
52 | 2539024.9974 | 1155426.6086
53 | 2538984.6017 | 1155449.19
54 | 2539033.7618 | 1155421.7092
55 | 2538990.8684 | 1155485.446
56 | 2538963.8795 | 1155460.7768
57 | 2539047.666 | 1155415.2829
58 | 2539006.8069 | 1155484.3452
59 | 2538915.8807 | 1155570.1141
60 | 2538903.8329 | 1155535.7576
61 | 2538875.1648 | 1155557.8833
62 | 2538873.0135 | 1155559.784
63 | 2538878.3139 | 1155572.626
64 | 2538866.8028 | 1155565.2613
65 | 2538855.7885 | 1155296.2831
66 | 2538633.1264 | 1155359.7315
67 | 2538648.9354 | 1155373.4411
68 | 2538618.7271 | 1155351.8522
69 | 2538649.6499 | 1155373.865
70 | 2538592.7631 | 1155393.1287
71 | 2538656.7869 | 1155378.1
72 | 2538614.1127 | 1155400.9954
73 | 2538620.4352 | 1155403.325
74 | 2538911.5195 | 1155239.5077
75 | 2538937.2516 | 1155324.2862
76 | 2538940.8479 | 1155315.3619
77 | 2538885.1257 | 1155292.8349
78 | 2538876.2085 | 1155276.8204
79 | 2538886.4101 | 1155289.6235
80 | 2538658.0299 | 1155418.9479
81 | 2538855.7885 | 1155296.2831

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1