## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5588-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5588-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5588-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5588-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5588-1_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_5588-1_0_4_node_86 | 0.4 | n |  | TRUE
6 | bus_LV_5588-1_0_4_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_5588-1_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5588-1_0_4_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_5588-1_0_4_node_93 | 0.4 | n |  | TRUE
10 | bus_LV_5588-1_0_4_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_5588-1_0_4_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_5588-1_0_4_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_5588-1_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_5588-1_0_4_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_5588-1_0_4_node_4 | 0.4 | n |  | TRUE
16 | bus_LV_5588-1_0_4_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_5588-1_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_5588-1_0_4_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_5588-1_0_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_5588-1_0_4_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_5588-1_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5588-1_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5588-1_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5588-1_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5588-1_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5588-1_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5588-1_0_4_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_5588-1_0_4_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_5588-1_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_5588-1_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5588-1_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5588-1_0_4_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_5588-1_0_4_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_5588-1_0_4_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_5588-1_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5588-1_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5588-1_0_4_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_5588-1_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_5588-1_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5588-1_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5588-1_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5588-1_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5588-1_0_4_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_5588-1_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_5588-1_0_4_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_5588-1_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_5588-1_0_4_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_5588-1_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_5588-1_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5588-1_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5588-1_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_5588-1_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_5588-1_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5588-1_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_5588-1_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5588-1_0_4_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_5588-1_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_5588-1_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5588-1_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_5588-1_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_5588-1_0_4_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_5588-1_0_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_5588-1_0_4_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_5588-1_0_4_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_5588-1_0_4_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_5588-1_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_5588-1_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_5588-1_0_4_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_5588-1_0_4_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_5588-1_0_4_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_5588-1_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5588-1_0_4_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_5588-1_0_4_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_5588-1_0_4_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_5588-1_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_5588-1_0_4_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_5588-1_0_4_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_5588-1_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_5588-1_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_5588-1_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_5588-1_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_5588-1_0_4_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_5588-1_0_4_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_5588-1_0_4_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_5588-1_0_4_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_5588-1_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_5588-1_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_5588-1_0_4_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_5588-1_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_MV_619_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5588-1_0_4_load_0 | 0 | 0.015291 | 0.0038323 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5588-1_0_4_load_2 | 2 | 0.0023399 | 0.00058644 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5588-1_0_4_load_86 | 5 | 0.013323 | 0.0033391 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5588-1_0_4_load_22 | 6 | 0.012505 | 0.0031342 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5588-1_0_4_load_93 | 9 | 0.0070362 | 0.0017634 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5588-1_0_4_load_33 | 14 | 0.0075774 | 0.0018991 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5588-1_0_4_load_4 | 15 | 0.0070095 | 0.0017568 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5588-1_0_4_load_5 | 16 | 0.01373 | 0.0034412 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5588-1_0_4_load_6 | 17 | 0.0064303 | 0.0016116 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5588-1_0_4_load_27 | 18 | 0.011962 | 0.002998 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5588-1_0_4_load_7 | 20 | 0.012347 | 0.0030946 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5588-1_0_4_load_17 | 25 | 0.0018321 | 0.00045918 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5588-1_0_4_load_14 | 26 | 0.0093777 | 0.0023503 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5588-1_0_4_load_60 | 27 | 0.0093375 | 0.0023402 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5588-1_0_4_load_36 | 29 | 0.028806 | 0.0072193 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5588-1_0_4_load_15 | 31 | 0.008872 | 0.0022235 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5588-1_0_4_load_65 | 32 | 0.0071174 | 0.0017838 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5588-1_0_4_load_59 | 33 | 0.017616 | 0.004415 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5588-1_0_4_load_16 | 34 | 0.0032806 | 0.0008222 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5588-1_0_4_load_31 | 35 | 0.0054286 | 0.0013605 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5588-1_0_4_load_32 | 36 | 0.010709 | 0.002684 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5588-1_0_4_load_18 | 37 | 0.0010753 | 0.00026949 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5588-1_0_4_load_19 | 38 | 0.0026281 | 0.00065866 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5588-1_0_4_load_21 | 39 | 0.036139 | 0.0090573 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5588-1_0_4_load_23 | 40 | 0.0088017 | 0.0022059 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5588-1_0_4_load_24 | 41 | 0.034581 | 0.0086668 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5588-1_0_4_load_49 | 43 | 0.0060269 | 0.0015105 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5588-1_0_4_load_46 | 44 | 0.0040827 | 0.0010232 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5588-1_0_4_load_62 | 45 | 0.0056382 | 0.0014131 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5588-1_0_4_load_47 | 46 | 0.0032902 | 0.00082459 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5588-1_0_4_load_92 | 47 | 0.0090669 | 0.0022724 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5588-1_0_4_load_58 | 48 | 0.019243 | 0.0048227 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5588-1_0_4_load_38 | 49 | 0.0027018 | 0.00067713 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5588-1_0_4_load_39 | 50 | 0.0065394 | 0.0016389 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5588-1_0_4_load_42 | 53 | 0.0025762 | 0.00064566 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5588-1_0_4_load_52 | 54 | 0.012951 | 0.0032457 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5588-1_0_4_load_74 | 61 | 0.0024596 | 0.00061642 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5588-1_0_4_load_66 | 63 | 0.0050727 | 0.0012713 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5588-1_0_4_load_76 | 64 | 0.0023913 | 0.00059932 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5588-1_0_4_load_75 | 65 | 0.0031902 | 0.00079953 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5588-1_0_4_load_56 | 66 | 0.0038914 | 0.00097526 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5588-1_0_4_load_91 | 68 | 0.0017902 | 0.00044868 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5588-1_0_4_load_89 | 70 | 0.00095617 | 0.00023964 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5588-1_0_4_load_73 | 72 | 0.0023844 | 0.00059758 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5588-1_0_4_load_85 | 73 | 0.010522 | 0.0026372 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5588-1_0_4_load_83 | 74 | 0.001087 | 0.00027244 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5588-1_0_4_load_67 | 75 | 0.011013 | 0.0027601 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5588-1_0_4_load_48 | 76 | 0.0092245 | 0.0023119 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5588-1_0_4_load_84 | 77 | 0.0060379 | 0.0015132 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5588-1_0_4_load_79 | 78 | 0.0091072 | 0.0022825 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5588-1_0_4_load_57 | 79 | 0.012532 | 0.0031409 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5588-1_0_4_load_69 | 81 | 0.001102 | 0.00027619 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5588-1_0_4_load_90 | 82 | 0.0025524 | 0.0006397 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5588-1_0_4_load_88 | 83 | 0.032761 | 0.0082106 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5588-1_0_4_load_87 | 84 | 0.0056117 | 0.0014064 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5588-1_0_4_load_71 | 85 | 0.0026851 | 0.00067294 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5588-1_0_4_load_81 | 86 | 0.011507 | 0.0028838 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5588-1_0_4_load_77 | 87 | 0.0094536 | 0.0023693 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5588-1_0_4_load_78 | 88 | 0.0022844 | 0.00057253 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5588-1_0_4_load_80 | 89 | 0.0025741 | 0.00064512 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5588-1_0_4_line_0 |  | 0 | 1 | 0.018302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5588-1_0_4_line_1 |  | 1 | 2 | 0.0058206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5588-1_0_4_line_2 |  | 1 | 3 | 0.014445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5588-1_0_4_line_3 |  | 2 | 4 | 0.022894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5588-1_0_4_line_4 |  | 3 | 5 | 0.0037153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5588-1_0_4_line_5 |  | 4 | 6 | 0.030717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5588-1_0_4_line_6 |  | 4 | 7 | 0.03141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5588-1_0_4_line_7 |  | 5 | 13 | 0.032227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5588-1_0_4_line_8 |  | 6 | 30 | 0.03218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5588-1_0_4_line_9 |  | 7 | 21 | 0.01383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5588-1_0_4_line_10 |  | 7 | 20 | 0.036434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5588-1_0_4_line_11 |  | 8 | 9 | 0.015425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5588-1_0_4_line_12 |  | 8 | 10 | 0.03025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5588-1_0_4_line_13 |  | 10 | 13 | 0.014775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5588-1_0_4_line_14 |  | 10 | 41 | 0.02601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5588-1_0_4_line_15 |  | 11 | 12 | 0.12785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5588-1_0_4_line_16 |  | 11 | 13 | 0.013414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5588-1_0_4_line_17 |  | 11 | 14 | 0.076119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5588-1_0_4_line_18 |  | 12 | 47 | 0.08938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5588-1_0_4_line_19 |  | 15 | 16 | 0.010724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5588-1_0_4_line_20 |  | 16 | 17 | 0.026412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5588-1_0_4_line_21 |  | 17 | 18 | 0.021132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5588-1_0_4_line_22 |  | 18 | 19 | 0.015865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5588-1_0_4_line_23 |  | 19 | 42 | 0.051228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5588-1_0_4_line_24 |  | 19 | 41 | 0.016172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5588-1_0_4_line_25 |  | 21 | 25 | 0.0088971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5588-1_0_4_line_26 |  | 21 | 26 | 0.0095817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5588-1_0_4_line_27 |  | 22 | 23 | 0.006211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5588-1_0_4_line_28 |  | 22 | 24 | 0.02948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5588-1_0_4_line_29 |  | 23 | 27 | 0.026879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5588-1_0_4_line_30 |  | 24 | 28 | 0.019132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5588-1_0_4_line_31 |  | 24 | 29 | 0.025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5588-1_0_4_line_32 |  | 26 | 31 | 0.027982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5588-1_0_4_line_33 |  | 28 | 32 | 0.0101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5588-1_0_4_line_34 |  | 28 | 33 | 0.033675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5588-1_0_4_line_35 |  | 30 | 40 | 0.007348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5588-1_0_4_line_36 |  | 30 | 37 | 0.01498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5588-1_0_4_line_37 |  | 31 | 34 | 0.00023354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5588-1_0_4_line_38 |  | 33 | 48 | 0.013141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5588-1_0_4_line_39 |  | 34 | 35 | 0.0082262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5588-1_0_4_line_40 |  | 35 | 36 | 0.02595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5588-1_0_4_line_41 |  | 37 | 38 | 0.041962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5588-1_0_4_line_42 |  | 38 | 39 | 0.0095826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5588-1_0_4_line_43 |  | 42 | 43 | 0.018845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5588-1_0_4_line_44 |  | 42 | 44 | 0.010774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5588-1_0_4_line_45 |  | 43 | 45 | 0.013009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5588-1_0_4_line_46 |  | 44 | 46 | 0.0029279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5588-1_0_4_line_47 |  | 45 | 56 | 0.0090606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5588-1_0_4_line_48 |  | 46 | 76 | 0.010795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5588-1_0_4_line_49 |  | 48 | 55 | 0.016952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5588-1_0_4_line_50 |  | 49 | 50 | 0.00684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5588-1_0_4_line_51 |  | 49 | 51 | 0.0078193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5588-1_0_4_line_52 |  | 50 | 52 | 0.043818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5588-1_0_4_line_53 |  | 51 | 53 | 0.010967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5588-1_0_4_line_54 |  | 52 | 54 | 0.017393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5588-1_0_4_line_55 |  | 52 | 55 | 0.040463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5588-1_0_4_line_56 |  | 53 | 56 | 0.030766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5588-1_0_4_line_57 |  | 55 | 58 | 0.046722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5588-1_0_4_line_58 |  | 55 | 66 | 0.037016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5588-1_0_4_line_59 |  | 56 | 71 | 0.024185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5588-1_0_4_line_60 |  | 57 | 58 | 0.049339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5588-1_0_4_line_61 |  | 57 | 59 | 0.039436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5588-1_0_4_line_62 |  | 57 | 60 | 0.050152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5588-1_0_4_line_63 |  | 57 | 61 | 0.047739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5588-1_0_4_line_64 |  | 58 | 70 | 0.0077981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5588-1_0_4_line_65 |  | 58 | 67 | 0.027208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5588-1_0_4_line_66 |  | 59 | 62 | 0.012617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5588-1_0_4_line_67 |  | 59 | 63 | 0.020362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5588-1_0_4_line_68 |  | 60 | 64 | 0.015874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5588-1_0_4_line_69 |  | 60 | 65 | 0.021589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5588-1_0_4_line_70 |  | 61 | 72 | 0.013423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5588-1_0_4_line_71 |  | 62 | 73 | 0.031833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5588-1_0_4_line_72 |  | 62 | 74 | 0.046825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5588-1_0_4_line_73 |  | 63 | 75 | 0.018357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5588-1_0_4_line_74 |  | 66 | 79 | 0.0051107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5588-1_0_4_line_75 |  | 67 | 68 | 0.016801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5588-1_0_4_line_76 |  | 67 | 69 | 0.019627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5588-1_0_4_line_77 |  | 69 | 80 | 0.057709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5588-1_0_4_line_78 |  | 69 | 81 | 0.0081685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5588-1_0_4_line_79 |  | 70 | 82 | 0.021872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5588-1_0_4_line_80 |  | 71 | 83 | 0.005637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5588-1_0_4_line_81 |  | 71 | 84 | 0.0094518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5588-1_0_4_line_82 |  | 74 | 77 | 0.0062041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5588-1_0_4_line_83 |  | 77 | 78 | 0.083509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5588-1_0_4_line_84 |  | 78 | 87 | 0.016895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5588-1_0_4_line_85 |  | 80 | 86 | 0.019344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5588-1_0_4_line_86 |  | 81 | 85 | 0.01359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5588-1_0_4_line_87 |  | 87 | 88 | 0.0047921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5588-1_0_4_line_88 |  | 88 | 89 | 0.001827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5588-1_0_4_trafo_4 | 0.63 MVA 20/0.4 kV | 90 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2541287.761 | 1150847.6294 | 2541279.8372 | 1150831.132
1 | 2541287.761 | 1150847.6294 | 2541292.8495 | 1150844.8033
2 | 2541275.0246 | 1150854.513 | 2541287.761 | 1150847.6294
3 | 2541312.8636 | 1150833.688 | 2541292.8495 | 1150844.8033
4 | 2541275.0246 | 1150854.513 | 2541271.7864 | 1150856.3344
5 | 2541312.8636 | 1150833.688 | 2541319.352 | 1150847.2764 | 2541325.8303 | 1150861.5321
6 | 2541312.8636 | 1150833.688 | 2541340.5273 | 1150818.6655
7 | 2541243.6945 | 1150872.1285 | 2541253.9852 | 1150866.347 | 2541271.7864 | 1150856.3344
8 | 2541339.1437 | 1150890.8288 | 2541325.8303 | 1150861.5321
9 | 2541347.2849 | 1150830.7394 | 2541340.5273 | 1150818.6655
10 | 2541340.5273 | 1150818.6655 | 2541356.4555 | 1150810.05 | 2541372.4448 | 1150801.0972
11 | 2541266.1772 | 1150879.9575 | 2541268.9475 | 1150879.8859 | 2541271.2674 | 1150884.777 | 2541274.3788 | 1150891.3279
12 | 2541266.1772 | 1150879.9575 | 2541258.4058 | 1150880.4003 | 2541248.1875 | 1150862.9685 | 2541247.0244 | 1150860.99
13 | 2541247.0244 | 1150860.99 | 2541245.4706 | 1150863.7955 | 2541240.8624 | 1150866.6643 | 2541243.6945 | 1150872.1285
14 | 2541247.0244 | 1150860.99 | 2541240.6863 | 1150835.7643
15 | 2541238.2737 | 1150880.6082 | 2541236.1218 | 1150876.4159 | 2541212.0631 | 1150889.5358 | 2541200.5568 | 1150895.8072 | 2541167.8379 | 1150919.7179 | 2541153.3206 | 1150931.255 | 2541158.8515 | 1150941.095 | 2541160.2182 | 1150945.0616 | 2541161.2219 | 1150948.7871 | 2541161.4013 | 1150952.9987
16 | 2541238.2737 | 1150880.6082 | 2541236.1218 | 1150876.4159 | 2541243.6945 | 1150872.1285
17 | 2541238.2737 | 1150880.6082 | 2541234.7276 | 1150886.1236 | 2541222.9662 | 1150894.5764 | 2541218.5644 | 1150899.7111 | 2541216.4755 | 1150905.101 | 2541216.8448 | 1150911.4675 | 2541219.7821 | 1150917.4754 | 2541225.0506 | 1150920.9035 | 2541232.1517 | 1150923.3465 | 2541239.9929 | 1150922.9808 | 2541247.4171 | 1150920.5088
18 | 2541220.7102 | 1151009.2377 | 2541215.8235 | 1151003.2378 | 2541201.2494 | 1150989.3506 | 2541186.6213 | 1150969.1718 | 2541173.483 | 1150950.6348 | 2541171.6385 | 1150950.3971 | 2541170.3388 | 1150953.2892 | 2541161.4013 | 1150952.9987
19 | 2541305.6194 | 1150798.5942 | 2541295.7684 | 1150802.8329
20 | 2541295.7684 | 1150802.8329 | 2541279.8142 | 1150809.6977 | 2541278.4088 | 1150810.423 | 2541277.3242 | 1150810.9672 | 2541271.1705 | 1150812.0167 | 2541271.1648 | 1150812.0193
21 | 2541251.8514 | 1150820.5932 | 2541264.7285 | 1150814.9701 | 2541271.1648 | 1150812.0193
22 | 2541236.7454 | 1150820.0796 | 2541242.0584 | 1150821.7619 | 2541244.9986 | 1150822.578 | 2541247.6454 | 1150822.4299 | 2541251.8514 | 1150820.5932
23 | 2541221.5137 | 1150771.1689 | 2541234.7229 | 1150813.418 | 2541236.7454 | 1150820.0796
24 | 2541236.7454 | 1150820.0796 | 2541240.6863 | 1150835.7643
25 | 2541347.2849 | 1150830.7394 | 2541345.6741 | 1150833.2231 | 2541340.4376 | 1150836.0203
26 | 2541347.2849 | 1150830.7394 | 2541355.689 | 1150826.1373
27 | 2541424.4128 | 1150772.3564 | 2541429.8174 | 1150769.2687
28 | 2541424.4128 | 1150772.3564 | 2541421.0244 | 1150761.0055 | 2541418.8811 | 1150743.5059
29 | 2541429.8174 | 1150769.2687 | 2541426.1179 | 1150755.9198 | 2541425.9083 | 1150742.8948
30 | 2541418.8811 | 1150743.5059 | 2541417.6434 | 1150724.4188
31 | 2541418.8811 | 1150743.5059 | 2541406.1646 | 1150746.1646 | 2541393.8824 | 1150749.0418
32 | 2541380.2325 | 1150812.6972 | 2541355.689 | 1150826.1373
33 | 2541426.9006 | 1150720.4488 | 2541419.0612 | 1150723.3934 | 2541417.6434 | 1150724.4188
34 | 2541417.6434 | 1150724.4188 | 2541397.6472 | 1150728.3714 | 2541394.4245 | 1150715.4758
35 | 2541343.6753 | 1150896.6211 | 2541339.1437 | 1150890.8288
36 | 2541339.1437 | 1150890.8288 | 2541336.7845 | 1150894.4871 | 2541326.2373 | 1150895.7899
37 | 2541380.4373 | 1150812.5851 | 2541380.2325 | 1150812.6972
38 | 2541391.2387 | 1150702.7273 | 2541394.4245 | 1150715.4758
39 | 2541387.6525 | 1150808.634 | 2541380.4373 | 1150812.5851
40 | 2541406.6639 | 1150794.2368 | 2541399.9173 | 1150796.6636 | 2541388.2758 | 1150803.2806 | 2541387.6525 | 1150808.634 | 2541387.6525 | 1150808.634
41 | 2541333.1421 | 1150919.2359 | 2541330.8834 | 1150917.4681 | 2541328.6049 | 1150912.8768 | 2541325.7404 | 1150910.3701 | 2541317.3454 | 1150907.4838 | 2541314.6416 | 1150905.7203 | 2541314.3088 | 1150902.2995 | 2541316.0743 | 1150899.1584 | 2541319.7798 | 1150896.5875 | 2541326.2373 | 1150895.7899
42 | 2541342.6995 | 1150918.5423 | 2541333.1421 | 1150919.2359
43 | 2541221.5137 | 1150771.1689 | 2541238.9814 | 1150764.0956
44 | 2541221.5137 | 1150771.1689 | 2541211.0642 | 1150773.7951
45 | 2541238.9814 | 1150764.0956 | 2541251.039 | 1150759.213
46 | 2541211.0642 | 1150773.7951 | 2541208.2246 | 1150774.5087
47 | 2541259.4372 | 1150755.8123 | 2541251.039 | 1150759.213
48 | 2541208.2246 | 1150774.5087 | 2541197.7555 | 1150777.1399
49 | 2541381.0298 | 1150693.9037 | 2541384.7838 | 1150697.08 | 2541389.5075 | 1150695.7999 | 2541391.2387 | 1150702.7273
50 | 2541303.762 | 1150733.8927 | 2541309.9258 | 1150730.9273
51 | 2541296.7158 | 1150737.2828 | 2541303.762 | 1150733.8927
52 | 2541349.3482 | 1150711.8 | 2541334.1226 | 1150719.2859 | 2541309.9258 | 1150730.9273
53 | 2541296.7158 | 1150737.2828 | 2541292.9064 | 1150740.2215 | 2541287.326 | 1150742.821
54 | 2541349.3482 | 1150711.8 | 2541352.777 | 1150719.4151 | 2541352.4414 | 1150721.9975 | 2541346.6687 | 1150724.8472
55 | 2541349.3482 | 1150711.8 | 2541361.4714 | 1150702.6213 | 2541368.2278 | 1150694.0953 | 2541371.9181 | 1150696.2605 | 2541377.3116 | 1150696.7526 | 2541381.0298 | 1150693.9037
56 | 2541259.4372 | 1150755.8123 | 2541287.326 | 1150742.821
57 | 2541352.7034 | 1150676.4706 | 2541364.4787 | 1150674.11 | 2541366.2762 | 1150683.6754 | 2541368.2278 | 1150694.0953 | 2541371.9181 | 1150696.2605 | 2541377.3116 | 1150696.7526 | 2541381.0298 | 1150693.9037
58 | 2541381.0298 | 1150693.9037 | 2541393.5713 | 1150684.3097 | 2541413.0765 | 1150675.9393
59 | 2541259.4372 | 1150755.8123 | 2541263.6635 | 1150764.9092 | 2541266.2676 | 1150771.3873 | 2541269.3553 | 1150777.8606
60 | 2541304.1925 | 1150686.2046 | 2541352.7034 | 1150676.4706
61 | 2541304.1925 | 1150686.2046 | 2541296.0179 | 1150687.8409 | 2541293.4668 | 1150688.3549 | 2541265.3886 | 1150693.2206
62 | 2541288.1556 | 1150646.7845 | 2541295.2129 | 1150681.6565 | 2541296.0179 | 1150687.8409 | 2541304.1925 | 1150686.2046
63 | 2541304.1925 | 1150686.2046 | 2541302.9468 | 1150680.4804 | 2541302.2608 | 1150675.4844 | 2541302.4569 | 1150666.4777 | 2541305.9882 | 1150658.639 | 2541316.2718 | 1150648.1553 | 2541319.6514 | 1150645.1147
64 | 2541352.7034 | 1150676.4706 | 2541351.8361 | 1150671.7654 | 2541351.243 | 1150668.8107
65 | 2541352.7034 | 1150676.4706 | 2541364.4787 | 1150674.11 | 2541379.2194 | 1150670.4088
66 | 2541252.9205 | 1150695.3769 | 2541265.3886 | 1150693.2206
67 | 2541265.3886 | 1150693.2206 | 2541262.6159 | 1150673.0482
68 | 2541288.1556 | 1150646.7845 | 2541284.2363 | 1150631.4034
69 | 2541288.1556 | 1150646.7845 | 2541295.9942 | 1150640.6158 | 2541307.5689 | 1150639.6577
70 | 2541331.0354 | 1150638.8273 | 2541325.0912 | 1150640.2205 | 2541319.6514 | 1150645.1147
71 | 2541260.086 | 1150726.3791 | 2541254.0806 | 1150701.7579 | 2541252.9205 | 1150695.3769
72 | 2541252.9205 | 1150695.3769 | 2541245.3185 | 1150696.6852 | 2541224.5474 | 1150700.6903 | 2541207.2601 | 1150705.5521
73 | 2541260.1163 | 1150654.8627 | 2541262.6159 | 1150673.0482
74 | 2541417.773 | 1150673.9239 | 2541413.0765 | 1150675.9393
75 | 2541379.2194 | 1150670.4088 | 2541377.214 | 1150665.4924 | 2541376.6222 | 1150661.4849 | 2541378.9714 | 1150654.4249
76 | 2541379.2194 | 1150670.4088 | 2541398.0154 | 1150664.578
77 | 2541398.0154 | 1150664.578 | 2541411.3699 | 1150659.6341 | 2541429.1717 | 1150652.6014 | 2541451.9286 | 1150643.5972
78 | 2541398.0154 | 1150664.578 | 2541396.6386 | 1150656.5264
79 | 2541346.9385 | 1150647.3668 | 2541351.243 | 1150668.8107
80 | 2541269.3553 | 1150777.8606 | 2541264.0943 | 1150779.9242
81 | 2541269.3553 | 1150777.8606 | 2541273.4002 | 1150786.4032
82 | 2541207.2601 | 1150705.5521 | 2541203.1283 | 1150706.714 | 2541201.3035 | 1150707.2852
83 | 2541201.3035 | 1150707.2852 | 2541163.2881 | 1150632.9308
84 | 2541163.2881 | 1150632.9308 | 2541160.8967 | 1150616.2062
85 | 2541451.9286 | 1150643.5972 | 2541452.9441 | 1150624.2803
86 | 2541389.6023 | 1150646.4837 | 2541395.4837 | 1150649.7725 | 2541396.6386 | 1150656.5264
87 | 2541160.8967 | 1150616.2062 | 2541160.2184 | 1150611.4624
88 | 2541160.2184 | 1150611.4624 | 2541159.9598 | 1150609.6537

## bus_geodata
| x | y | coords
0 | 2541279.8372 | 1150831.132
1 | 2541287.761 | 1150847.6294
2 | 2541292.8495 | 1150844.8033
3 | 2541275.0246 | 1150854.513
4 | 2541312.8636 | 1150833.688
5 | 2541271.7864 | 1150856.3344
6 | 2541325.8303 | 1150861.5321
7 | 2541340.5273 | 1150818.6655
8 | 2541266.1772 | 1150879.9575
9 | 2541274.3788 | 1150891.3279
10 | 2541247.0244 | 1150860.99
11 | 2541238.2737 | 1150880.6082
12 | 2541161.4013 | 1150952.9987
13 | 2541243.6945 | 1150872.1285
14 | 2541247.4171 | 1150920.5088
15 | 2541305.6194 | 1150798.5942
16 | 2541295.7684 | 1150802.8329
17 | 2541271.1648 | 1150812.0193
18 | 2541251.8514 | 1150820.5932
19 | 2541236.7454 | 1150820.0796
20 | 2541372.4448 | 1150801.0972
21 | 2541347.2849 | 1150830.7394
22 | 2541424.4128 | 1150772.3564
23 | 2541429.8174 | 1150769.2687
24 | 2541418.8811 | 1150743.5059
25 | 2541340.4376 | 1150836.0203
26 | 2541355.689 | 1150826.1373
27 | 2541425.9083 | 1150742.8948
28 | 2541417.6434 | 1150724.4188
29 | 2541393.8824 | 1150749.0418
30 | 2541339.1437 | 1150890.8288
31 | 2541380.2325 | 1150812.6972
32 | 2541426.9006 | 1150720.4488
33 | 2541394.4245 | 1150715.4758
34 | 2541380.4373 | 1150812.5851
35 | 2541387.6525 | 1150808.634
36 | 2541406.6639 | 1150794.2368
37 | 2541326.2373 | 1150895.7899
38 | 2541333.1421 | 1150919.2359
39 | 2541342.6995 | 1150918.5423
40 | 2541343.6753 | 1150896.6211
41 | 2541240.6863 | 1150835.7643
42 | 2541221.5137 | 1150771.1689
43 | 2541238.9814 | 1150764.0956
44 | 2541211.0642 | 1150773.7951
45 | 2541251.039 | 1150759.213
46 | 2541208.2246 | 1150774.5087
47 | 2541220.7102 | 1151009.2377
48 | 2541391.2387 | 1150702.7273
49 | 2541303.762 | 1150733.8927
50 | 2541309.9258 | 1150730.9273
51 | 2541296.7158 | 1150737.2828
52 | 2541349.3482 | 1150711.8
53 | 2541287.326 | 1150742.821
54 | 2541346.6687 | 1150724.8472
55 | 2541381.0298 | 1150693.9037
56 | 2541259.4372 | 1150755.8123
57 | 2541304.1925 | 1150686.2046
58 | 2541352.7034 | 1150676.4706
59 | 2541265.3886 | 1150693.2206
60 | 2541288.1556 | 1150646.7845
61 | 2541319.6514 | 1150645.1147
62 | 2541252.9205 | 1150695.3769
63 | 2541262.6159 | 1150673.0482
64 | 2541284.2363 | 1150631.4034
65 | 2541307.5689 | 1150639.6577
66 | 2541413.0765 | 1150675.9393
67 | 2541379.2194 | 1150670.4088
68 | 2541378.9714 | 1150654.4249
69 | 2541398.0154 | 1150664.578
70 | 2541351.243 | 1150668.8107
71 | 2541269.3553 | 1150777.8606
72 | 2541331.0354 | 1150638.8273
73 | 2541260.086 | 1150726.3791
74 | 2541207.2601 | 1150705.5521
75 | 2541260.1163 | 1150654.8627
76 | 2541197.7555 | 1150777.1399
77 | 2541201.3035 | 1150707.2852
78 | 2541163.2881 | 1150632.9308
79 | 2541417.773 | 1150673.9239
80 | 2541451.9286 | 1150643.5972
81 | 2541396.6386 | 1150656.5264
82 | 2541346.9385 | 1150647.3668
83 | 2541264.0943 | 1150779.9242
84 | 2541273.4002 | 1150786.4032
85 | 2541389.6023 | 1150646.4837
86 | 2541452.9441 | 1150624.2803
87 | 2541160.8967 | 1150616.2062
88 | 2541160.2184 | 1150611.4624
89 | 2541159.9598 | 1150609.6537
90 | 2541309.854 | 1150780.9557

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1