## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5589-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5589-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5589-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5589-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5589-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5589-7_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_5589-7_0_3_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_5589-7_0_3_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_5589-7_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5589-7_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5589-7_0_3_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_5589-7_0_3_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_5589-7_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5589-7_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_5589-7_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_5589-7_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5589-7_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5589-7_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5589-7_0_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_5589-7_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5589-7_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5589-7_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5589-7_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5589-7_0_3_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_5589-7_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_5589-7_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5589-7_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_5589-7_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_5589-7_0_3_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_5589-7_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_5589-7_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5589-7_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5589-7_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5589-7_0_3_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_5589-7_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_5589-7_0_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_5589-7_0_3_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_5589-7_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_5589-7_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_5589-7_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_5589-7_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5589-7_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_5589-7_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5589-7_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5589-7_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_5589-7_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5589-7_0_3_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_5589-7_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_5589-7_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_5589-7_0_3_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_5589-7_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_5589-7_0_3_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_5589-7_0_3_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_5589-7_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_5589-7_0_3_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_5589-7_0_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_5589-7_0_3_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_5589-7_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_5589-7_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_5589-7_0_3_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_5589-7_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_5589-7_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_5589-7_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_5589-7_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5589-7_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_5589-7_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_MV_628_0_node_180 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5589-7_0_3_load_0 | 0 | 0.0058983 | 0.0014782 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5589-7_0_3_load_16 | 5 | 0.0020651 | 0.00051756 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5589-7_0_3_load_40 | 6 | 0.0038056 | 0.00095378 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5589-7_0_3_load_41 | 7 | 0.0081496 | 0.0020425 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5589-7_0_3_load_67 | 10 | 0.0025407 | 0.00063675 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5589-7_0_3_load_45 | 11 | 0.0042278 | 0.0010596 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5589-7_0_3_load_18 | 13 | 0.0033072 | 0.00082885 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5589-7_0_3_load_17 | 14 | 0.00086042 | 0.00021564 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5589-7_0_3_load_37 | 18 | 0.004235 | 0.0010614 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5589-7_0_3_load_19 | 22 | 0.0036323 | 0.00091035 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5589-7_0_3_load_69 | 23 | 0.044216 | 0.011081 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5589-7_0_3_load_36 | 24 | 0.0026801 | 0.0006717 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5589-7_0_3_load_35 | 28 | 0.0027072 | 0.0006785 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5589-7_0_3_load_70 | 33 | 0.0036334 | 0.00091062 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5589-7_0_3_load_46 | 37 | 0.0064279 | 0.001611 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5589-7_0_3_load_38 | 38 | 0.0030622 | 0.00076745 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5589-7_0_3_load_39 | 39 | 0.0050493 | 0.0012655 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5589-7_0_3_load_34 | 40 | 0.00078611 | 0.00019702 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5589-7_0_3_load_23 | 41 | 0.06742 | 0.016897 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5589-7_0_3_load_30 | 42 | 0.020957 | 0.0052523 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5589-7_0_3_load_33 | 45 | 0.0020365 | 0.00051039 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5589-7_0_3_load_59 | 46 | 0.0010155 | 0.00025451 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5589-7_0_3_load_48 | 48 | 0.0015381 | 0.00038549 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5589-7_0_3_load_71 | 49 | 0.0012647 | 0.00031697 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5589-7_0_3_load_66 | 51 | 0.0036703 | 0.00091985 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5589-7_0_3_load_64 | 52 | 0.013759 | 0.0034483 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5589-7_0_3_load_53 | 54 | 0.00097257 | 0.00024375 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5589-7_0_3_load_65 | 56 | 0.0047494 | 0.0011903 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5589-7_0_3_load_43 | 57 | 0.009195 | 0.0023045 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5589-7_0_3_load_44 | 58 | 0.0060499 | 0.0015163 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5589-7_0_3_load_68 | 59 | 0.0037346 | 0.00093598 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5589-7_0_3_load_63 | 60 | 0.0041592 | 0.0010424 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5589-7_0_3_load_54 | 61 | 0.0077677 | 0.0019468 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5589-7_0_3_load_55 | 63 | 0.0061284 | 0.0015359 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5589-7_0_3_load_56 | 64 | 0.0066172 | 0.0016584 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5589-7_0_3_load_61 | 65 | 0.0038369 | 0.00096162 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5589-7_0_3_line_0 |  | 0 | 1 | 0.026585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5589-7_0_3_line_1 |  | 0 | 2 | 0.019096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5589-7_0_3_line_2 |  | 1 | 3 | 0.10475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5589-7_0_3_line_3 |  | 1 | 4 | 0.021936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5589-7_0_3_line_4 |  | 2 | 5 | 0.025441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5589-7_0_3_line_5 |  | 3 | 6 | 0.02909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5589-7_0_3_line_6 |  | 4 | 7 | 0.062259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5589-7_0_3_line_7 |  | 5 | 15 | 0.016265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5589-7_0_3_line_8 |  | 7 | 34 | 0.0040346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5589-7_0_3_line_9 |  | 8 | 9 | 0.020075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5589-7_0_3_line_10 |  | 8 | 10 | 0.029922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5589-7_0_3_line_11 |  | 9 | 11 | 0.039287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5589-7_0_3_line_12 |  | 10 | 35 | 0.012831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5589-7_0_3_line_13 |  | 11 | 37 | 0.016681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5589-7_0_3_line_14 |  | 12 | 13 | 0.0098743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5589-7_0_3_line_15 |  | 12 | 14 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5589-7_0_3_line_16 |  | 13 | 17 | 0.018738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5589-7_0_3_line_17 |  | 14 | 15 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5589-7_0_3_line_18 |  | 16 | 17 | 0.068409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5589-7_0_3_line_19 |  | 16 | 18 | 0.047541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5589-7_0_3_line_20 |  | 18 | 21 | 0.0088762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5589-7_0_3_line_21 |  | 19 | 20 | 0.095864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5589-7_0_3_line_22 |  | 19 | 21 | 0.073444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5589-7_0_3_line_23 |  | 19 | 22 | 0.033097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5589-7_0_3_line_24 |  | 20 | 23 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5589-7_0_3_line_25 |  | 21 | 24 | 0.043226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5589-7_0_3_line_26 |  | 23 | 30 | 0.13275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5589-7_0_3_line_27 |  | 24 | 40 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5589-7_0_3_line_28 |  | 25 | 26 | 0.08568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5589-7_0_3_line_29 |  | 25 | 27 | 0.021138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5589-7_0_3_line_30 |  | 25 | 28 | 0.035958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5589-7_0_3_line_31 |  | 26 | 41 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5589-7_0_3_line_32 |  | 27 | 42 | 0.018478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5589-7_0_3_line_33 |  | 28 | 45 | 0.012701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5589-7_0_3_line_34 |  | 29 | 30 | 0.1425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5589-7_0_3_line_35 |  | 29 | 31 | 0.15722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5589-7_0_3_line_36 |  | 31 | 32 | 0.034797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5589-7_0_3_line_37 |  | 31 | 33 | 0.075415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5589-7_0_3_line_38 |  | 32 | 46 | 0.061448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5589-7_0_3_line_39 |  | 33 | 49 | 0.012648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5589-7_0_3_line_40 |  | 34 | 57 | 0.021936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5589-7_0_3_line_41 |  | 34 | 58 | 0.0070447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5589-7_0_3_line_42 |  | 35 | 36 | 0.20109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5589-7_0_3_line_43 |  | 36 | 51 | 0.026788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5589-7_0_3_line_44 |  | 36 | 52 | 0.010094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5589-7_0_3_line_45 |  | 38 | 39 | 0.17613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5589-7_0_3_line_46 |  | 39 | 44 | 0.081735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5589-7_0_3_line_47 |  | 40 | 45 | 0.033028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5589-7_0_3_line_48 |  | 42 | 43 | 0.0088211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5589-7_0_3_line_49 |  | 43 | 44 | 0.12135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5589-7_0_3_line_50 |  | 44 | 47 | 0.19783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5589-7_0_3_line_51 |  | 46 | 50 | 0.031273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5589-7_0_3_line_52 |  | 47 | 48 | 0.038398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5589-7_0_3_line_53 |  | 48 | 53 | 0.01688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5589-7_0_3_line_54 |  | 50 | 64 | 0.043191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5589-7_0_3_line_55 |  | 51 | 55 | 0.020162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5589-7_0_3_line_56 |  | 52 | 62 | 0.023428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5589-7_0_3_line_57 |  | 53 | 54 | 0.019332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5589-7_0_3_line_58 |  | 54 | 61 | 0.031154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5589-7_0_3_line_59 |  | 55 | 56 | 0.031392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5589-7_0_3_line_60 |  | 58 | 59 | 0.026778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5589-7_0_3_line_61 |  | 59 | 60 | 0.0051168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5589-7_0_3_line_62 |  | 60 | 62 | 0.033366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5589-7_0_3_line_63 |  | 61 | 63 | 0.0046549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5589-7_0_3_line_64 |  | 62 | 65 | 0.074772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5589-7_0_3_trafo_10 | 0.63 MVA 20/0.4 kV | 66 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2536107.5231 | 1155152.1952 | 2536107.61 | 1155145.9464 | 2536108.1538 | 1155141.5382 | 2536110.7922 | 1155135.0177 | 2536115.1026 | 1155127.2771
1 | 2536124.3934 | 1155110.5931 | 2536115.1026 | 1155127.2771
2 | 2536107.5231 | 1155152.1952 | 2536107.5864 | 1155171.1271 | 2536111.0228 | 1155171.1239 | 2536114.4273 | 1155173.1666 | 2536118.6585 | 1155173.6108 | 2536125.975 | 1155173.4885 | 2536139.7169 | 1155179.6125 | 2536150.1556 | 1155185.2935 | 2536158.9594 | 1155190.1471 | 2536165.647 | 1155195.0899 | 2536169.6208 | 1155200.1838 | 2536171.0572 | 1155204.7043 | 2536170.1541 | 1155214.9973
3 | 2536085.627 | 1155153.2619 | 2536088.9321 | 1155153.1712 | 2536089.6299 | 1155153.1526 | 2536093.5638 | 1155153.0441 | 2536097.6742 | 1155152.9448 | 2536101.4624 | 1155152.8378 | 2536107.5231 | 1155152.1952
4 | 2536124.3934 | 1155110.5931 | 2536136.7721 | 1155088.3673
5 | 2536170.1541 | 1155214.9973 | 2536191.6889 | 1155214.6018 | 2536199.1288 | 1155213.3074
6 | 2536085.627 | 1155153.2619 | 2536085.6529 | 1155152.0944 | 2536085.7213 | 1155149.1476 | 2536085.7531 | 1155147.8132 | 2536085.8214 | 1155144.8553 | 2536086.2345 | 1155126.7299 | 2536053.4395 | 1155140.8865
7 | 2536144.6863 | 1155074.1576 | 2536136.7721 | 1155088.3673
8 | 2536049.4053 | 1155140.9405 | 2536053.4395 | 1155140.8865
9 | 2536034.3008 | 1155243.8464 | 2536039.879 | 1155244.732 | 2536045.842 | 1155244.2905 | 2536049.4068 | 1155242.6628 | 2536052.6248 | 1155245.9192
10 | 2536034.3008 | 1155243.8464 | 2536031.9025 | 1155242.6491 | 2536018.7225 | 1155234.5405 | 2536008.8064 | 1155228.2059
11 | 2536052.6248 | 1155245.9192 | 2536054.2504 | 1155244.4345 | 2536056.959 | 1155240.9148 | 2536060.6458 | 1155234.8945 | 2536065.3696 | 1155209.7498
12 | 2535997.9936 | 1155221.2984 | 2536008.8064 | 1155228.2059
13 | 2536068.4496 | 1155193.3555 | 2536065.3696 | 1155209.7498
14 | 2536158.5739 | 1155049.2297 | 2536163.3797 | 1155040.6038
15 | 2536158.5739 | 1155049.2297 | 2536152.4193 | 1155060.277
16 | 2536172.4993 | 1155024.2348 | 2536163.3797 | 1155040.6038
17 | 2536144.6863 | 1155074.1576 | 2536152.4193 | 1155060.277
18 | 2536172.4993 | 1155024.2348 | 2536205.7999 | 1154964.4375
19 | 2536205.7999 | 1154964.4375 | 2536209.6786 | 1154958.393 | 2536234.7082 | 1154926.7331
20 | 2536240.213 | 1154919.7701 | 2536234.7082 | 1154926.7331
21 | 2536300.2605 | 1154960.1999 | 2536332.5777 | 1154919.6464 | 2536357.2284 | 1154883.0876
22 | 2536240.213 | 1154919.7701 | 2536241.0962 | 1154923.4739 | 2536300.2605 | 1154960.1999
23 | 2536300.2605 | 1154960.1999 | 2536282.4358 | 1154988.0865
24 | 2536357.2284 | 1154883.0876 | 2536367.3903 | 1154893.6918
25 | 2536240.213 | 1154919.7701 | 2536267.2081 | 1154886.0098
26 | 2536348.362 | 1155004.8257 | 2536375.2201 | 1154968.8439 | 2536389.0176 | 1154954.1343 | 2536392.2475 | 1154945.4843 | 2536386.7324 | 1154926.6768 | 2536379.999 | 1154918.1434 | 2536372.5989 | 1154908.9501 | 2536367.7853 | 1154894.104 | 2536367.3903 | 1154893.6918
27 | 2536267.2081 | 1154886.0098 | 2536274.5151 | 1154876.8717 | 2536275.8112 | 1154874.4731
28 | 2536314.3017 | 1154802.7984 | 2536322.9178 | 1154797.1485 | 2536332.3251 | 1154809.689 | 2536352.9022 | 1154829.5375 | 2536377.6947 | 1154848.3297
29 | 2536314.3017 | 1154802.7984 | 2536322.9178 | 1154797.1485 | 2536317.2126 | 1154787.9373
30 | 2536314.3017 | 1154802.7984 | 2536307.8434 | 1154810.1042 | 2536296.8837 | 1154833.9091
31 | 2536377.6947 | 1154848.3297 | 2536393.6527 | 1154861.8122
32 | 2536317.2126 | 1154787.9373 | 2536307.4921 | 1154772.2231
33 | 2536296.8837 | 1154833.9091 | 2536292.0068 | 1154844.502 | 2536291.5128 | 1154845.4162
34 | 2536315.5209 | 1155126.8848 | 2536318.8388 | 1155101.9582 | 2536305.0976 | 1155082.1486 | 2536306.8119 | 1155064.4096 | 2536310.3944 | 1155043.4602 | 2536348.362 | 1155004.8257
35 | 2536315.5209 | 1155126.8848 | 2536323.0261 | 1155115.6213 | 2536345.4102 | 1155112.0934 | 2536377.6732 | 1155108.472 | 2536405.8882 | 1155110.8413 | 2536413.5132 | 1155114.496 | 2536413.6799 | 1155144.7329 | 2536425.2509 | 1155145.0774 | 2536435.2231 | 1155145.1052
36 | 2536435.2231 | 1155145.1052 | 2536452.3317 | 1155143.9459 | 2536452.0122 | 1155161.5922
37 | 2536435.2231 | 1155145.1052 | 2536436.6466 | 1155150.6043 | 2536442.686 | 1155162.4469 | 2536441.7132 | 1155190.1167 | 2536435.2236 | 1155204.5933 | 2536426.4634 | 1155214.0483
38 | 2536452.0122 | 1155161.5922 | 2536503.4911 | 1155195.1449
39 | 2536426.4634 | 1155214.0483 | 2536422.1792 | 1155218.6723 | 2536418.2832 | 1155223.6796
40 | 2536049.4053 | 1155140.9405 | 2536055.1183 | 1155130.6964 | 2536061.3375 | 1155122.6035
41 | 2536049.4053 | 1155140.9405 | 2536047.0196 | 1155142.3667 | 2536042.8707 | 1155141.3774
42 | 2535997.9936 | 1155221.2984 | 2535996.3062 | 1155214.8351 | 2535990.7635 | 1155206.4896 | 2535988.4179 | 1155198.7214 | 2535987.4122 | 1155191.4504 | 2535985.2928 | 1155185.4697 | 2535994.73 | 1155179.2102 | 2535996.5919 | 1155175.4216 | 2535975.1737 | 1155163.7434 | 2535961.3882 | 1155147.07 | 2535960.6825 | 1155142.7529 | 2535959.9485 | 1155136.5018 | 2535953.4581 | 1155132.0908 | 2535945.3201 | 1155129.2648 | 2535934.8148 | 1155130.3218 | 2535925.6319 | 1155127.3403 | 2535925.8027 | 1155126.816 | 2535928.1401 | 1155119.4204 | 2535930.7415 | 1155115.2014 | 2535939.0016 | 1155115.0911 | 2535951.0509 | 1155119.2761 | 2535959.7477 | 1155121.2623 | 2535965.8472 | 1155121.3862 | 2535967.0912 | 1155117.1929
43 | 2535967.0912 | 1155117.1929 | 2535952.8596 | 1155111.2079 | 2535944.1352 | 1155103.9499
44 | 2535967.0912 | 1155117.1929 | 2535972.9425 | 1155118.4979 | 2535975.8905 | 1155121.3458
45 | 2536111.6347 | 1154932.9024 | 2536115.4463 | 1154911.2459 | 2536128.7388 | 1154868.5591 | 2536147.0958 | 1154827.4527 | 2536170.6467 | 1154782.7559 | 2536177.9182 | 1154770.9166
46 | 2536220.6948 | 1154701.2689 | 2536177.9182 | 1154770.9166
47 | 2536291.5128 | 1154845.4162 | 2536275.8112 | 1154874.4731
48 | 2536302.8515 | 1154764.7212 | 2536307.4921 | 1154772.2231
49 | 2536220.6948 | 1154701.2689 | 2536230.3717 | 1154695.0962 | 2536239.3978 | 1154692.6436 | 2536248.8783 | 1154693.9771 | 2536265.4401 | 1154703.3399 | 2536280.36 | 1154725.6939 | 2536289.5222 | 1154741.1496 | 2536302.8515 | 1154764.7212
50 | 2536152.7003 | 1154791.7959 | 2536224.5311 | 1154661.5954 | 2536226.5191 | 1154664.5871 | 2536236.87 | 1154674.9274 | 2536220.6948 | 1154701.2689
51 | 2536529.6908 | 1155212.2212 | 2536503.4911 | 1155195.1449
52 | 2536152.7003 | 1154791.7959 | 2536135.3521 | 1154826.0516
53 | 2536127.7258 | 1154841.1104 | 2536135.3521 | 1154826.0516
54 | 2536529.6908 | 1155212.2212 | 2536496.7182 | 1155240.119
55 | 2535928.6353 | 1155091.0551 | 2535944.1352 | 1155103.9499
56 | 2535993.3511 | 1155136.9128 | 2535986.9089 | 1155131.9899 | 2535975.8905 | 1155121.3458
57 | 2536127.7258 | 1154841.1104 | 2536119.1047 | 1154858.414
58 | 2536119.1047 | 1154858.414 | 2536105.2116 | 1154886.299
59 | 2535928.6353 | 1155091.0551 | 2535925.7749 | 1155073.1536 | 2535915.4127 | 1155064.8747
60 | 2536042.8707 | 1155141.3774 | 2536042.244 | 1155141.228 | 2536034.8325 | 1155140.362 | 2536027.4662 | 1155145.1652 | 2536021.436 | 1155152.9892 | 2536021.436 | 1155152.9892
61 | 2536016.7244 | 1155154.9849 | 2536021.436 | 1155152.9892
62 | 2535993.3511 | 1155136.9128 | 2535995.3769 | 1155144.1841 | 2536003.4031 | 1155153.0702 | 2536009.1823 | 1155155.5322 | 2536016.7244 | 1155154.9849 | 2536016.7244 | 1155154.9849
63 | 2536103.1358 | 1154890.4654 | 2536105.2116 | 1154886.299
64 | 2535993.3511 | 1155136.9128 | 2535997.4764 | 1155136.7688 | 2536001.7446 | 1155134.9224 | 2536004.684 | 1155132.1785 | 2536007.282 | 1155127.6372 | 2536032.5276 | 1155076.8219

## bus_geodata
| x | y | coords
0 | 2536115.1026 | 1155127.2771
1 | 2536107.5231 | 1155152.1952
2 | 2536124.3934 | 1155110.5931
3 | 2536170.1541 | 1155214.9973
4 | 2536085.627 | 1155153.2619
5 | 2536136.7721 | 1155088.3673
6 | 2536199.1288 | 1155213.3074
7 | 2536053.4395 | 1155140.8865
8 | 2536034.3008 | 1155243.8464
9 | 2536052.6248 | 1155245.9192
10 | 2536008.8064 | 1155228.2059
11 | 2536065.3696 | 1155209.7498
12 | 2536158.5739 | 1155049.2297
13 | 2536163.3797 | 1155040.6038
14 | 2536152.4193 | 1155060.277
15 | 2536144.6863 | 1155074.1576
16 | 2536205.7999 | 1154964.4375
17 | 2536172.4993 | 1155024.2348
18 | 2536234.7082 | 1154926.7331
19 | 2536300.2605 | 1154960.1999
20 | 2536357.2284 | 1154883.0876
21 | 2536240.213 | 1154919.7701
22 | 2536282.4358 | 1154988.0865
23 | 2536367.3903 | 1154893.6918
24 | 2536267.2081 | 1154886.0098
25 | 2536314.3017 | 1154802.7984
26 | 2536377.6947 | 1154848.3297
27 | 2536317.2126 | 1154787.9373
28 | 2536296.8837 | 1154833.9091
29 | 2536315.5209 | 1155126.8848
30 | 2536348.362 | 1155004.8257
31 | 2536435.2231 | 1155145.1052
32 | 2536452.0122 | 1155161.5922
33 | 2536426.4634 | 1155214.0483
34 | 2536049.4053 | 1155140.9405
35 | 2535997.9936 | 1155221.2984
36 | 2535967.0912 | 1155117.1929
37 | 2536068.4496 | 1155193.3555
38 | 2536111.6347 | 1154932.9024
39 | 2536177.9182 | 1154770.9166
40 | 2536275.8112 | 1154874.4731
41 | 2536393.6528 | 1154861.8122
42 | 2536307.4921 | 1154772.2231
43 | 2536302.8515 | 1154764.7212
44 | 2536220.6948 | 1154701.2689
45 | 2536291.5128 | 1154845.4162
46 | 2536503.4911 | 1155195.1449
47 | 2536152.7003 | 1154791.7959
48 | 2536135.3521 | 1154826.0516
49 | 2536418.2832 | 1155223.6796
50 | 2536529.6908 | 1155212.2212
51 | 2535944.1352 | 1155103.9499
52 | 2535975.8905 | 1155121.3458
53 | 2536127.7258 | 1154841.1104
54 | 2536119.1047 | 1154858.414
55 | 2535928.6353 | 1155091.0551
56 | 2535915.4127 | 1155064.8747
57 | 2536061.3375 | 1155122.6035
58 | 2536042.8707 | 1155141.3774
59 | 2536021.436 | 1155152.9892
60 | 2536016.7244 | 1155154.9849
61 | 2536105.2116 | 1154886.299
62 | 2535993.3511 | 1155136.9128
63 | 2536103.1358 | 1154890.4654
64 | 2536496.7182 | 1155240.119
65 | 2536032.5276 | 1155076.8219
66 | 2536207.7838 | 1154985.1166

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1