## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5590-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5590-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5590-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5590-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5590-2_0_5_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_5590-2_0_5_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_5590-2_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5590-2_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5590-2_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5590-2_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5590-2_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5590-2_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5590-2_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5590-2_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_5590-2_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_5590-2_0_5_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_5590-2_0_5_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_5590-2_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5590-2_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5590-2_0_5_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_5590-2_0_5_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_5590-2_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5590-2_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5590-2_0_5_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_5590-2_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5590-2_0_5_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_5590-2_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5590-2_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5590-2_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5590-2_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5590-2_0_5_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_5590-2_0_5_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_5590-2_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5590-2_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5590-2_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5590-2_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5590-2_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_5590-2_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5590-2_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5590-2_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_5590-2_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5590-2_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5590-2_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_5590-2_0_5_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5590-2_0_5_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5590-2_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5590-2_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5590-2_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_5590-2_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5590-2_0_5_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5590-2_0_5_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_5590-2_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_5590-2_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5590-2_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5590-2_0_5_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_5590-2_0_5_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_5590-2_0_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5590-2_0_5_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5590-2_0_5_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_5590-2_0_5_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_5590-2_0_5_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_5590-2_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_5590-2_0_5_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_5590-2_0_5_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_5590-2_0_5_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_5590-2_0_5_node_62 | 0.4 | n |  | TRUE
66 | bus_MV_630_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5590-2_0_5_load_0 | 0 | 0.016491 | 0.0041329 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5590-2_0_5_load_2 | 2 | 0.0092687 | 0.002323 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5590-2_0_5_load_10 | 4 | 0.012516 | 0.0031368 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5590-2_0_5_load_54 | 5 | 0.0078278 | 0.0019618 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5590-2_0_5_load_11 | 6 | 0.012715 | 0.0031868 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5590-2_0_5_load_4 | 7 | 0.015946 | 0.0039964 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5590-2_0_5_load_5 | 8 | 0.019805 | 0.0049636 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5590-2_0_5_load_7 | 10 | 0.016154 | 0.0040485 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5590-2_0_5_load_8 | 11 | 0.013672 | 0.0034266 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5590-2_0_5_load_13 | 13 | 0.0079666 | 0.0019966 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5590-2_0_5_load_48 | 15 | 0.0038447 | 0.00096358 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5590-2_0_5_load_46 | 16 | 0.0099215 | 0.0024866 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5590-2_0_5_load_12 | 17 | 0.0053321 | 0.0013363 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5590-2_0_5_load_49 | 19 | 0.0076045 | 0.0019059 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5590-2_0_5_load_44 | 20 | 0.00408 | 0.0010225 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5590-2_0_5_load_17 | 22 | 0.016258 | 0.0040747 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5590-2_0_5_load_63 | 23 | 0.0031324 | 0.00078504 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5590-2_0_5_load_18 | 24 | 0.0018831 | 0.00047194 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5590-2_0_5_load_61 | 25 | 0.018597 | 0.0046608 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5590-2_0_5_load_19 | 26 | 0.0020996 | 0.0005262 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5590-2_0_5_load_20 | 27 | 0.0051364 | 0.0012873 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5590-2_0_5_load_21 | 28 | 0.0014928 | 0.00037414 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5590-2_0_5_load_22 | 29 | 0.0037139 | 0.00093078 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5590-2_0_5_load_34 | 30 | 0.0040552 | 0.0010163 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5590-2_0_5_load_35 | 31 | 0.0042108 | 0.0010553 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5590-2_0_5_load_23 | 32 | 0.013077 | 0.0032773 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5590-2_0_5_load_24 | 33 | 0.0098011 | 0.0024564 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5590-2_0_5_load_31 | 36 | 0.0054467 | 0.0013651 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5590-2_0_5_load_27 | 37 | 0.021665 | 0.0054298 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5590-2_0_5_load_29 | 39 | 0.0054909 | 0.0013762 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5590-2_0_5_load_30 | 40 | 0.0028848 | 0.00072299 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5590-2_0_5_load_32 | 41 | 0.0047031 | 0.0011787 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5590-2_0_5_load_33 | 42 | 0.0028947 | 0.00072549 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5590-2_0_5_load_36 | 43 | 0.0076225 | 0.0019104 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5590-2_0_5_load_37 | 44 | 0.0073732 | 0.0018479 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5590-2_0_5_load_39 | 46 | 0.011189 | 0.0028042 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5590-2_0_5_load_41 | 47 | 0.0095762 | 0.0024 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5590-2_0_5_load_40 | 48 | 0.019916 | 0.0049914 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5590-2_0_5_load_52 | 49 | 0.009603 | 0.0024067 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5590-2_0_5_load_42 | 51 | 0.0025234 | 0.00063243 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5590-2_0_5_load_43 | 52 | 0.0047544 | 0.0011916 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5590-2_0_5_load_45 | 53 | 0.016752 | 0.0041984 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5590-2_0_5_load_53 | 54 | 0.019536 | 0.0048961 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5590-2_0_5_load_64 | 55 | 0.0094002 | 0.0023559 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5590-2_0_5_load_50 | 56 | 0.0066251 | 0.0016604 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5590-2_0_5_load_57 | 58 | 0.0035148 | 0.00088088 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5590-2_0_5_load_66 | 59 | 0.0039316 | 0.00098535 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5590-2_0_5_load_58 | 60 | 0.0029001 | 0.00072683 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5590-2_0_5_load_56 | 61 | 0.0047984 | 0.0012026 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5590-2_0_5_load_67 | 62 | 0.0092296 | 0.0023131 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5590-2_0_5_load_59 | 63 | 0.017737 | 0.0044454 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5590-2_0_5_load_60 | 64 | 0.015583 | 0.0039055 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5590-2_0_5_load_62 | 65 | 0.021489 | 0.0053855 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5590-2_0_5_line_0 |  | 0 | 1 | 0.012841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5590-2_0_5_line_1 |  | 1 | 2 | 0.028984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5590-2_0_5_line_2 |  | 1 | 3 | 0.05225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5590-2_0_5_line_3 |  | 2 | 4 | 0.01468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5590-2_0_5_line_4 |  | 3 | 5 | 0.051433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5590-2_0_5_line_5 |  | 4 | 6 | 0.016552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5590-2_0_5_line_6 |  | 6 | 17 | 0.011928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5590-2_0_5_line_7 |  | 7 | 8 | 0.020833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5590-2_0_5_line_8 |  | 7 | 9 | 0.0020885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5590-2_0_5_line_9 |  | 8 | 10 | 0.01268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5590-2_0_5_line_10 |  | 9 | 11 | 0.018414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5590-2_0_5_line_11 |  | 9 | 12 | 0.043541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5590-2_0_5_line_12 |  | 10 | 13 | 0.021434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5590-2_0_5_line_13 |  | 11 | 14 | 0.0047914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5590-2_0_5_line_14 |  | 12 | 15 | 0.0079064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5590-2_0_5_line_15 |  | 12 | 16 | 0.019899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5590-2_0_5_line_16 |  | 13 | 17 | 0.013471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5590-2_0_5_line_17 |  | 14 | 18 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5590-2_0_5_line_18 |  | 15 | 19 | 0.01903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5590-2_0_5_line_19 |  | 16 | 20 | 0.032069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5590-2_0_5_line_20 |  | 18 | 21 | 0.011117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5590-2_0_5_line_21 |  | 18 | 22 | 0.02876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5590-2_0_5_line_22 |  | 19 | 56 | 0.00059815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5590-2_0_5_line_23 |  | 20 | 51 | 0.011666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5590-2_0_5_line_24 |  | 21 | 23 | 0.023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5590-2_0_5_line_25 |  | 22 | 24 | 0.019302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5590-2_0_5_line_26 |  | 23 | 25 | 0.027037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5590-2_0_5_line_27 |  | 24 | 26 | 0.0088576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5590-2_0_5_line_28 |  | 25 | 65 | 0.029626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5590-2_0_5_line_29 |  | 26 | 27 | 0.0049943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5590-2_0_5_line_30 |  | 27 | 28 | 0.0065899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5590-2_0_5_line_31 |  | 28 | 29 | 0.0095341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5590-2_0_5_line_32 |  | 29 | 30 | 0.0030556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5590-2_0_5_line_33 |  | 30 | 31 | 0.0030458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5590-2_0_5_line_34 |  | 31 | 40 | 0.022778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5590-2_0_5_line_35 |  | 32 | 33 | 0.026461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5590-2_0_5_line_36 |  | 33 | 34 | 0.019391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5590-2_0_5_line_37 |  | 34 | 35 | 0.021267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5590-2_0_5_line_38 |  | 35 | 36 | 0.064635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5590-2_0_5_line_39 |  | 35 | 37 | 0.03611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5590-2_0_5_line_40 |  | 37 | 38 | 0.04289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5590-2_0_5_line_41 |  | 38 | 39 | 0.015855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5590-2_0_5_line_42 |  | 38 | 40 | 0.011115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5590-2_0_5_line_43 |  | 39 | 41 | 0.056337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5590-2_0_5_line_44 |  | 41 | 42 | 0.027667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5590-2_0_5_line_45 |  | 43 | 44 | 0.027734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5590-2_0_5_line_46 |  | 43 | 45 | 0.034122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5590-2_0_5_line_47 |  | 44 | 46 | 0.027606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5590-2_0_5_line_48 |  | 44 | 47 | 0.035143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5590-2_0_5_line_49 |  | 45 | 48 | 0.0028998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5590-2_0_5_line_50 |  | 48 | 49 | 0.03057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5590-2_0_5_line_51 |  | 49 | 50 | 0.013196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5590-2_0_5_line_52 |  | 50 | 54 | 0.041402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5590-2_0_5_line_53 |  | 50 | 53 | 0.019898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5590-2_0_5_line_54 |  | 51 | 52 | 0.019669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5590-2_0_5_line_55 |  | 52 | 53 | 0.02973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5590-2_0_5_line_56 |  | 54 | 55 | 0.045226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5590-2_0_5_line_57 |  | 56 | 57 | 0.011305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5590-2_0_5_line_58 |  | 57 | 58 | 0.031517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5590-2_0_5_line_59 |  | 57 | 59 | 0.014991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5590-2_0_5_line_60 |  | 58 | 60 | 0.019771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5590-2_0_5_line_61 |  | 58 | 61 | 0.032341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5590-2_0_5_line_62 |  | 59 | 62 | 0.013948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5590-2_0_5_line_63 |  | 60 | 63 | 0.048482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5590-2_0_5_line_64 |  | 63 | 64 | 0.013645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5590-2_0_5_trafo_16 | 0.63 MVA 20/0.4 kV | 66 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2539110.7227 | 1151569.3014 | 2539110.6313 | 1151573.16 | 2539110.3232 | 1151582.136
1 | 2539110.7227 | 1151569.3014 | 2539111.9522 | 1151563.3858 | 2539115.5313 | 1151556.8126 | 2539121.0532 | 1151551.087 | 2539127.245 | 1151546.8501
2 | 2539077.5734 | 1151534.4406 | 2539078.8921 | 1151538.8407 | 2539084.0235 | 1151555.1753 | 2539087.7103 | 1151559.2291 | 2539097.8952 | 1151563.7728 | 2539110.7227 | 1151569.3014
3 | 2539127.245 | 1151546.8501 | 2539136.5875 | 1151540.4573 | 2539139.8007 | 1151539.4778
4 | 2539077.5734 | 1151534.4406 | 2539070.5615 | 1151502.2053 | 2539066.6287 | 1151487.5262 | 2539065.3885 | 1151484.5249
5 | 2539139.8007 | 1151539.4778 | 2539155.6337 | 1151534.6511
6 | 2539155.6337 | 1151534.6511 | 2539167.043 | 1151531.173
7 | 2539233.6346 | 1151515.7367 | 2539213.2217 | 1151519.8996
8 | 2539235.681 | 1151515.3193 | 2539233.6346 | 1151515.7367
9 | 2539213.2217 | 1151519.8996 | 2539200.7971 | 1151522.4334
10 | 2539235.681 | 1151515.3193 | 2539253.7908 | 1151511.9869
11 | 2539219.3015 | 1151475.0409 | 2539219.9648 | 1151478.3916 | 2539234.3672 | 1151512.1531 | 2539235.681 | 1151515.3193
12 | 2539179.929 | 1151527.2447 | 2539185.4353 | 1151525.5662 | 2539200.7971 | 1151522.4334
13 | 2539258.5031 | 1151511.1198 | 2539253.7908 | 1151511.9869
14 | 2539219.3015 | 1151475.0409 | 2539211.8744 | 1151472.3302
15 | 2539219.3015 | 1151475.0409 | 2539235.7988 | 1151463.9139
16 | 2539167.043 | 1151531.173 | 2539179.929 | 1151527.2447
17 | 2539271.879 | 1151509.406 | 2539261.3299 | 1151510.591 | 2539258.5031 | 1151511.1198
18 | 2539211.8744 | 1151472.3302 | 2539193.9981 | 1151465.8058
19 | 2539235.7988 | 1151463.9139 | 2539257.7382 | 1151449.1163 | 2539262.2975 | 1151445.8554
20 | 2539280.2476 | 1151502.062 | 2539276.048 | 1151505.7397 | 2539271.879 | 1151509.406
21 | 2539271.879 | 1151509.406 | 2539296.4193 | 1151511.1814 | 2539300.0972 | 1151513.1156
22 | 2539193.4362 | 1151465.6007 | 2539193.9981 | 1151465.8058
23 | 2539271.786 | 1151439.069 | 2539262.2975 | 1151445.8554
24 | 2539280.2476 | 1151502.062 | 2539289.5 | 1151495.5984 | 2539297.7473 | 1151490.6791 | 2539300.5906 | 1151489.6962
25 | 2539317.1809 | 1151522.0997 | 2539300.0972 | 1151513.1156
26 | 2539326.7127 | 1151482.9826 | 2539311.4611 | 1151485.9382 | 2539300.5906 | 1151489.6962
27 | 2539325.0204 | 1151526.2225 | 2539317.1809 | 1151522.0997
28 | 2539326.7127 | 1151482.9826 | 2539326.7127 | 1151482.9826 | 2539354.6113 | 1151473.0127
29 | 2539329.4407 | 1151528.5471 | 2539325.0204 | 1151526.2225
30 | 2539329.4407 | 1151528.5471 | 2539333.9817 | 1151530.9352 | 2539335.3736 | 1151531.3733
31 | 2539335.3736 | 1151531.3733 | 2539344.4679 | 1151534.2359
32 | 2539347.389 | 1151535.1224 | 2539347.2251 | 1151535.1038 | 2539344.4679 | 1151534.2359
33 | 2539347.389 | 1151535.1224 | 2539350.4155 | 1151535.4645
34 | 2539350.4155 | 1151535.4645 | 2539362.3932 | 1151536.8184 | 2539373.1169 | 1151536.9177
35 | 2539475.57 | 1151517.8748 | 2539482.6304 | 1151519.8202 | 2539482.1941 | 1151538.9531
36 | 2539481.7519 | 1151558.3387 | 2539482.1941 | 1151538.9531
37 | 2539460.7899 | 1151554.4142 | 2539477.5846 | 1151557.6024 | 2539481.7519 | 1151558.3387
38 | 2539460.7899 | 1151554.4142 | 2539464.5994 | 1151489.9078
39 | 2539460.7899 | 1151554.4142 | 2539444.0029 | 1151551.226 | 2539426.0042 | 1151545.0698
40 | 2539384.2312 | 1151537.0206 | 2539407.4736 | 1151538.7317 | 2539426.0042 | 1151545.0698
41 | 2539384.2312 | 1151537.0206 | 2539384.0781 | 1151521.1668
42 | 2539384.2312 | 1151537.0206 | 2539373.1169 | 1151536.9177
43 | 2539384.0781 | 1151521.1668 | 2539383.8868 | 1151501.3493 | 2539388.942 | 1151496.5068 | 2539406.9793 | 1151491.2333 | 2539417.6707 | 1151490.3708
44 | 2539445.2477 | 1151488.1461 | 2539417.6707 | 1151490.3708
45 | 2539348.3725 | 1151362.7707 | 2539320.6442 | 1151362.1866
46 | 2539371.1799 | 1151380.7123 | 2539366.3687 | 1151365.6193 | 2539353.216 | 1151362.8727 | 2539348.3725 | 1151362.7707
47 | 2539320.6442 | 1151362.1866 | 2539293.0439 | 1151361.6053
48 | 2539320.6442 | 1151362.1866 | 2539331.0469 | 1151328.6186
49 | 2539371.1799 | 1151380.7123 | 2539368.4818 | 1151381.7748
50 | 2539340.2619 | 1151393.5191 | 2539356.7232 | 1151386.4056 | 2539368.4818 | 1151381.7748
51 | 2539328.1496 | 1151398.756 | 2539333.6748 | 1151396.3657 | 2539340.2619 | 1151393.5191
52 | 2539328.1496 | 1151398.756 | 2539321.1572 | 1151394.9356 | 2539288.0499 | 1151390.2748
53 | 2539328.1496 | 1151398.756 | 2539311.9656 | 1151410.3313
54 | 2539271.786 | 1151439.069 | 2539287.7839 | 1151427.6268
55 | 2539287.7839 | 1151427.6268 | 2539311.9656 | 1151410.3313
56 | 2539243.0659 | 1151385.6191 | 2539286.0846 | 1151389.9981 | 2539288.0499 | 1151390.2748
57 | 2539182.8167 | 1151461.7248 | 2539193.4362 | 1151465.6007
58 | 2539182.8167 | 1151461.7248 | 2539152.2197 | 1151453.819
59 | 2539182.8167 | 1151461.7248 | 2539185.4186 | 1151446.9616
60 | 2539152.2197 | 1151453.819 | 2539151.2904 | 1151473.5684
61 | 2539152.2197 | 1151453.819 | 2539120.6593 | 1151446.7544
62 | 2539187.8396 | 1151433.2253 | 2539185.4186 | 1151446.9616
63 | 2539135.6729 | 1151511.3258 | 2539143.3249 | 1151510.7509 | 2539149.7248 | 1151506.8395 | 2539151.2904 | 1151473.5684
64 | 2539122.0742 | 1151510.955 | 2539130.6704 | 1151511.7017 | 2539135.6729 | 1151511.3258

## bus_geodata
| x | y | coords
0 | 2539110.3232 | 1151582.136
1 | 2539110.7227 | 1151569.3014
2 | 2539127.245 | 1151546.8501
3 | 2539077.5734 | 1151534.4406
4 | 2539139.8007 | 1151539.4778
5 | 2539065.3885 | 1151484.5249
6 | 2539155.6337 | 1151534.6511
7 | 2539233.6346 | 1151515.7367
8 | 2539213.2217 | 1151519.8996
9 | 2539235.681 | 1151515.3193
10 | 2539200.797 | 1151522.4334
11 | 2539253.7908 | 1151511.9869
12 | 2539219.3015 | 1151475.0409
13 | 2539179.929 | 1151527.2447
14 | 2539258.5031 | 1151511.1198
15 | 2539211.8744 | 1151472.3302
16 | 2539235.7988 | 1151463.9139
17 | 2539167.043 | 1151531.173
18 | 2539271.879 | 1151509.406
19 | 2539193.9981 | 1151465.8058
20 | 2539262.2975 | 1151445.8554
21 | 2539280.2476 | 1151502.062
22 | 2539300.0972 | 1151513.1156
23 | 2539300.5906 | 1151489.6962
24 | 2539317.1809 | 1151522.0997
25 | 2539326.7127 | 1151482.9826
26 | 2539325.0204 | 1151526.2225
27 | 2539329.4407 | 1151528.5471
28 | 2539335.3736 | 1151531.3733
29 | 2539344.4679 | 1151534.2359
30 | 2539347.389 | 1151535.1224
31 | 2539350.4155 | 1151535.4645
32 | 2539475.57 | 1151517.8748
33 | 2539482.1941 | 1151538.9531
34 | 2539481.7519 | 1151558.3387
35 | 2539460.7899 | 1151554.4142
36 | 2539464.5994 | 1151489.9078
37 | 2539426.0042 | 1151545.0698
38 | 2539384.2312 | 1151537.0206
39 | 2539384.0781 | 1151521.1668
40 | 2539373.1169 | 1151536.9177
41 | 2539417.6707 | 1151490.3708
42 | 2539445.2477 | 1151488.1461
43 | 2539348.3725 | 1151362.7707
44 | 2539320.6442 | 1151362.1866
45 | 2539371.1799 | 1151380.7123
46 | 2539293.0439 | 1151361.6053
47 | 2539331.0469 | 1151328.6186
48 | 2539368.4818 | 1151381.7748
49 | 2539340.2619 | 1151393.5191
50 | 2539328.1496 | 1151398.756
51 | 2539271.786 | 1151439.069
52 | 2539287.7839 | 1151427.6268
53 | 2539311.9656 | 1151410.3313
54 | 2539288.0499 | 1151390.2748
55 | 2539243.0659 | 1151385.6192
56 | 2539193.4362 | 1151465.6007
57 | 2539182.8167 | 1151461.7248
58 | 2539152.2197 | 1151453.819
59 | 2539185.4186 | 1151446.9616
60 | 2539151.2904 | 1151473.5684
61 | 2539120.6593 | 1151446.7544
62 | 2539187.8396 | 1151433.2253
63 | 2539135.6729 | 1151511.3258
64 | 2539122.0742 | 1151510.955
65 | 2539354.6113 | 1151473.0127
66 | 2539271.879 | 1151509.406

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1