## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5590-33_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5590-33_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5590-33_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5590-33_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5590-33_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5590-33_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5590-33_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5590-33_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5590-33_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_5590-33_0_3_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_5590-33_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5590-33_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5590-33_0_3_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_5590-33_0_3_node_82 | 0.4 | n |  | TRUE
14 | bus_LV_5590-33_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5590-33_0_3_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_5590-33_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5590-33_0_3_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_5590-33_0_3_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_5590-33_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_5590-33_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5590-33_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_5590-33_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_5590-33_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_5590-33_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_5590-33_0_3_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_5590-33_0_3_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_5590-33_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5590-33_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5590-33_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_5590-33_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_5590-33_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5590-33_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5590-33_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_5590-33_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5590-33_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5590-33_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5590-33_0_3_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_5590-33_0_3_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_5590-33_0_3_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_5590-33_0_3_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_5590-33_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_5590-33_0_3_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_5590-33_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_5590-33_0_3_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_5590-33_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5590-33_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_5590-33_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_5590-33_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_5590-33_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_5590-33_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5590-33_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_5590-33_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_5590-33_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_5590-33_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_5590-33_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_5590-33_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5590-33_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5590-33_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5590-33_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5590-33_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_5590-33_0_3_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_5590-33_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_5590-33_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_5590-33_0_3_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_5590-33_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_5590-33_0_3_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_5590-33_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_5590-33_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_5590-33_0_3_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_5590-33_0_3_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_5590-33_0_3_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_5590-33_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_5590-33_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_5590-33_0_3_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_5590-33_0_3_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_5590-33_0_3_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_5590-33_0_3_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_5590-33_0_3_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_5590-33_0_3_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_5590-33_0_3_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_5590-33_0_3_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_5590-33_0_3_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_5590-33_0_3_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_5590-33_0_3_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_5590-33_0_3_node_88 | 0.4 | n |  | TRUE
86 | bus_MV_619_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5590-33_0_3_load_0 | 0 | 0.0033419 | 0.00083757 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5590-33_0_3_load_1 | 1 | 0.0045914 | 0.0011507 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5590-33_0_3_load_4 | 4 | 0.00832 | 0.0020852 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5590-33_0_3_load_5 | 5 | 0.0058858 | 0.0014751 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5590-33_0_3_load_6 | 6 | 0.0084366 | 0.0021144 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5590-33_0_3_load_13 | 8 | 0.0036561 | 0.0009163 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5590-33_0_3_load_26 | 9 | 0.0037471 | 0.00093911 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5590-33_0_3_load_72 | 12 | 0.01097 | 0.0027493 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5590-33_0_3_load_82 | 13 | 0.0038494 | 0.00096475 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5590-33_0_3_load_80 | 15 | 0.002168 | 0.00054336 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5590-33_0_3_load_79 | 17 | 0.0035398 | 0.00088715 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5590-33_0_3_load_78 | 18 | 0.0072733 | 0.0018229 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5590-33_0_3_load_24 | 19 | 0.0071873 | 0.0018013 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5590-33_0_3_load_31 | 21 | 0.0056265 | 0.0014101 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5590-33_0_3_load_27 | 22 | 0.0024462 | 0.00061308 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5590-33_0_3_load_25 | 24 | 0.0041303 | 0.0010352 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5590-33_0_3_load_83 | 25 | 0.0059817 | 0.0014992 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5590-33_0_3_load_14 | 28 | 0.014441 | 0.0036194 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5590-33_0_3_load_32 | 29 | 0.0035491 | 0.00088948 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5590-33_0_3_load_15 | 30 | 0.0023333 | 0.00058477 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5590-33_0_3_load_19 | 32 | 0.0046834 | 0.0011738 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5590-33_0_3_load_21 | 34 | 0.008758 | 0.002195 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5590-33_0_3_load_22 | 35 | 0.0075795 | 0.0018996 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5590-33_0_3_load_23 | 36 | 0.0058164 | 0.0014577 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5590-33_0_3_load_63 | 37 | 0.019085 | 0.0047832 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5590-33_0_3_load_61 | 38 | 0.01365 | 0.0034211 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5590-33_0_3_load_43 | 40 | 0.0071811 | 0.0017998 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5590-33_0_3_load_39 | 41 | 0.0074306 | 0.0018623 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5590-33_0_3_load_81 | 42 | 0.0035512 | 0.00089001 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5590-33_0_3_load_62 | 43 | 0.0095434 | 0.0023918 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5590-33_0_3_load_73 | 44 | 0.012397 | 0.0031071 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5590-33_0_3_load_29 | 47 | 0.016063 | 0.0040258 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5590-33_0_3_load_33 | 48 | 0.0046405 | 0.001163 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5590-33_0_3_load_34 | 49 | 0.0066519 | 0.0016671 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5590-33_0_3_load_35 | 50 | 0.0056 | 0.0014035 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5590-33_0_3_load_36 | 51 | 0.0039609 | 0.00099268 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5590-33_0_3_load_37 | 52 | 0.0018195 | 0.00045601 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5590-33_0_3_load_38 | 53 | 0.0088357 | 0.0022144 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5590-33_0_3_load_41 | 54 | 0.0069094 | 0.0017317 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5590-33_0_3_load_42 | 55 | 0.0074946 | 0.0018783 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5590-33_0_3_load_45 | 57 | 0.0064699 | 0.0016215 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5590-33_0_3_load_46 | 58 | 0.0026796 | 0.00067157 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5590-33_0_3_load_52 | 60 | 0.0058637 | 0.0014696 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5590-33_0_3_load_69 | 61 | 0.0098212 | 0.0024614 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5590-33_0_3_load_65 | 62 | 0.0085151 | 0.0021341 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5590-33_0_3_load_86 | 64 | 0.00080464 | 0.00020166 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5590-33_0_3_load_54 | 68 | 0.0045065 | 0.0011294 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5590-33_0_3_load_53 | 71 | 0.0032179 | 0.00080649 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5590-33_0_3_load_85 | 74 | 0.0047101 | 0.0011805 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5590-33_0_3_load_64 | 75 | 0.0020685 | 0.00051842 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5590-33_0_3_load_56 | 76 | 0.0014629 | 0.00036663 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5590-33_0_3_load_57 | 77 | 0.00083597 | 0.00020951 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5590-33_0_3_load_58 | 78 | 0.0014638 | 0.00036685 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5590-33_0_3_load_59 | 79 | 0.0021221 | 0.00053185 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5590-33_0_3_load_60 | 80 | 0.0021518 | 0.0005393 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5590-33_0_3_load_89 | 81 | 0.014112 | 0.0035368 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5590-33_0_3_load_68 | 82 | 0.004176 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5590-33_0_3_load_71 | 83 | 0.0098722 | 0.0024742 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5590-33_0_3_load_87 | 84 | 0.015945 | 0.0039962 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5590-33_0_3_load_88 | 85 | 0.0066193 | 0.001659 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5590-33_0_3_line_0 |  | 0 | 1 | 0.00050564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5590-33_0_3_line_1 |  | 0 | 2 | 0.089753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5590-33_0_3_line_2 |  | 1 | 3 | 0.020898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5590-33_0_3_line_3 |  | 2 | 4 | 0.031221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5590-33_0_3_line_4 |  | 2 | 5 | 0.037049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5590-33_0_3_line_5 |  | 3 | 6 | 0.019525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5590-33_0_3_line_6 |  | 4 | 7 | 0.027952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5590-33_0_3_line_7 |  | 5 | 8 | 0.00031012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5590-33_0_3_line_8 |  | 6 | 9 | 0.0073742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5590-33_0_3_line_9 |  | 7 | 19 | 0.0019273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5590-33_0_3_line_10 |  | 7 | 20 | 0.013291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5590-33_0_3_line_11 |  | 8 | 21 | 0.012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5590-33_0_3_line_12 |  | 9 | 22 | 0.018538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5590-33_0_3_line_13 |  | 10 | 11 | 0.010701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5590-33_0_3_line_14 |  | 10 | 12 | 0.054642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5590-33_0_3_line_15 |  | 11 | 13 | 0.019144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5590-33_0_3_line_16 |  | 12 | 24 | 0.0040831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5590-33_0_3_line_17 |  | 13 | 25 | 0.0050632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5590-33_0_3_line_18 |  | 14 | 15 | 0.023867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5590-33_0_3_line_19 |  | 14 | 16 | 0.11853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5590-33_0_3_line_20 |  | 14 | 17 | 0.026665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5590-33_0_3_line_21 |  | 16 | 18 | 0.019318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5590-33_0_3_line_22 |  | 17 | 26 | 0.013001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5590-33_0_3_line_23 |  | 19 | 24 | 0.024267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5590-33_0_3_line_24 |  | 20 | 27 | 0.031146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5590-33_0_3_line_25 |  | 20 | 28 | 0.02544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5590-33_0_3_line_26 |  | 21 | 29 | 0.003016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5590-33_0_3_line_27 |  | 22 | 23 | 0.097725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5590-33_0_3_line_28 |  | 23 | 46 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5590-33_0_3_line_29 |  | 26 | 42 | 0.009544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5590-33_0_3_line_30 |  | 26 | 32 | 0.023464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5590-33_0_3_line_31 |  | 27 | 35 | 0.020645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5590-33_0_3_line_32 |  | 27 | 36 | 0.0021294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5590-33_0_3_line_33 |  | 28 | 30 | 0.024237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5590-33_0_3_line_34 |  | 29 | 48 | 0.017493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5590-33_0_3_line_35 |  | 30 | 31 | 0.025397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5590-33_0_3_line_36 |  | 31 | 32 | 0.019564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5590-33_0_3_line_37 |  | 31 | 33 | 0.022139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5590-33_0_3_line_38 |  | 31 | 34 | 0.014869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5590-33_0_3_line_39 |  | 33 | 37 | 0.024299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5590-33_0_3_line_40 |  | 33 | 38 | 0.015463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5590-33_0_3_line_41 |  | 34 | 39 | 0.011158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5590-33_0_3_line_42 |  | 35 | 40 | 0.023367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5590-33_0_3_line_43 |  | 36 | 41 | 0.03131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5590-33_0_3_line_44 |  | 38 | 43 | 0.026282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5590-33_0_3_line_45 |  | 39 | 44 | 0.018643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5590-33_0_3_line_46 |  | 41 | 45 | 0.020934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5590-33_0_3_line_47 |  | 45 | 54 | 0.023059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5590-33_0_3_line_48 |  | 45 | 55 | 0.0081689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5590-33_0_3_line_49 |  | 46 | 47 | 0.1319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5590-33_0_3_line_50 |  | 48 | 49 | 0.001292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5590-33_0_3_line_51 |  | 49 | 50 | 0.020378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5590-33_0_3_line_52 |  | 50 | 51 | 0.0081268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5590-33_0_3_line_53 |  | 51 | 52 | 0.013924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5590-33_0_3_line_54 |  | 52 | 53 | 0.018284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5590-33_0_3_line_55 |  | 54 | 56 | 0.014551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5590-33_0_3_line_56 |  | 55 | 57 | 0.012821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5590-33_0_3_line_57 |  | 56 | 58 | 0.0042114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5590-33_0_3_line_58 |  | 56 | 59 | 0.077224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5590-33_0_3_line_59 |  | 58 | 60 | 0.028691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5590-33_0_3_line_60 |  | 59 | 61 | 0.016696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5590-33_0_3_line_61 |  | 59 | 62 | 0.046426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5590-33_0_3_line_62 |  | 60 | 71 | 0.030058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5590-33_0_3_line_63 |  | 61 | 72 | 0.0050728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5590-33_0_3_line_64 |  | 62 | 75 | 0.015061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5590-33_0_3_line_65 |  | 63 | 64 | 0.065798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5590-33_0_3_line_66 |  | 63 | 65 | 0.090982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5590-33_0_3_line_67 |  | 63 | 66 | 0.017679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5590-33_0_3_line_68 |  | 64 | 69 | 0.018976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5590-33_0_3_line_69 |  | 65 | 67 | 0.007949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5590-33_0_3_line_70 |  | 65 | 68 | 0.018308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5590-33_0_3_line_71 |  | 66 | 74 | 0.024982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5590-33_0_3_line_72 |  | 67 | 76 | 0.023448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5590-33_0_3_line_73 |  | 68 | 71 | 0.048182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5590-33_0_3_line_74 |  | 69 | 70 | 0.085642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5590-33_0_3_line_75 |  | 70 | 77 | 0.018558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5590-33_0_3_line_76 |  | 72 | 73 | 0.042235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5590-33_0_3_line_77 |  | 73 | 82 | 0.092029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5590-33_0_3_line_78 |  | 76 | 78 | 0.0006994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5590-33_0_3_line_79 |  | 78 | 79 | 0.0036732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5590-33_0_3_line_80 |  | 79 | 80 | 0.00084632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5590-33_0_3_line_81 |  | 80 | 81 | 0.10682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5590-33_0_3_line_82 |  | 82 | 83 | 0.0098244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5590-33_0_3_line_83 |  | 83 | 84 | 0.0084054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5590-33_0_3_line_84 |  | 84 | 85 | 0.013386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5590-33_0_3_trafo_39 | 0.63 MVA 20/0.4 kV | 86 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2540836.6054 | 1151548.3575 | 2540837.0624 | 1151548.1412
1 | 2540917.2515 | 1151507.846 | 2540905.8547 | 1151513.3943 | 2540877.6224 | 1151527.913 | 2540852.5059 | 1151540.8336 | 2540837.0624 | 1151548.1412
2 | 2540817.7154 | 1151557.2959 | 2540836.6054 | 1151548.3575
3 | 2540917.2515 | 1151507.846 | 2540910.2299 | 1151477.4251
4 | 2540917.2515 | 1151507.846 | 2540922.0487 | 1151529.7217 | 2540936.6258 | 1151528.2309
5 | 2540817.7154 | 1151557.2959 | 2540820.5942 | 1151563.5932 | 2540809.3112 | 1151569.2041
6 | 2540902.9486 | 1151450.4557 | 2540907.2387 | 1151464.4655 | 2540910.2299 | 1151477.4251
7 | 2540936.9343 | 1151528.1993 | 2540936.6258 | 1151528.2309
8 | 2540809.3112 | 1151569.2041 | 2540802.7084 | 1151572.4876
9 | 2540902.9486 | 1151450.4557 | 2540901.0233 | 1151450.5432
10 | 2540902.9486 | 1151450.4557 | 2540913.0049 | 1151449.8455 | 2540916.2488 | 1151449.569
11 | 2540949.4005 | 1151526.9244 | 2540936.9343 | 1151528.1993
12 | 2540786.11 | 1151580.7419 | 2540802.7084 | 1151572.4876
13 | 2540818.2018 | 1151455.4809 | 2540813.4713 | 1151445.8778
14 | 2540818.2018 | 1151455.4809 | 2540826.3656 | 1151454.4333 | 2540858.6207 | 1151452.4704 | 2540872.7022 | 1151451.8304
15 | 2540813.4713 | 1151445.8778 | 2540818.6134 | 1151438.8234 | 2540828.1981 | 1151434.7491
16 | 2540872.7022 | 1151451.8304 | 2540876.7811 | 1151451.645
17 | 2540830.4483 | 1151430.2134 | 2540828.1981 | 1151434.7491
18 | 2540838.6508 | 1151376.9486 | 2540844.4769 | 1151400.0939
19 | 2540838.6508 | 1151376.9486 | 2540816.0581 | 1151384.3304 | 2540806.0671 | 1151354.9463 | 2540818.2124 | 1151341.2083 | 2540824.5021 | 1151336.1103 | 2540829.5352 | 1151332.0141 | 2540840.3251 | 1151323.2588 | 2540854.1447 | 1151313.5176
20 | 2540838.6508 | 1151376.9486 | 2540843.4325 | 1151375.3896 | 2540860.8116 | 1151371.7055 | 2540864.6742 | 1151371.4584
21 | 2540854.1447 | 1151313.5176 | 2540867.4996 | 1151299.5599
22 | 2540877.6485 | 1151370.6283 | 2540864.6742 | 1151371.4584
23 | 2540901.0233 | 1151450.5432 | 2540876.7811 | 1151451.645
24 | 2540916.2488 | 1151449.569 | 2540947.4305 | 1151447.7172
25 | 2540916.2488 | 1151449.569 | 2540917.3708 | 1151424.1537
26 | 2540949.4005 | 1151526.9244 | 2540952.4008 | 1151526.6175
27 | 2540786.11 | 1151580.7419 | 2540798.1521 | 1151614.2302 | 2540799.2024 | 1151633.5858 | 2540795.3233 | 1151666.7529 | 2540794.6323 | 1151676.0758
28 | 2540794.378 | 1151686.8841 | 2540794.6323 | 1151676.0758
29 | 2540877.6485 | 1151370.6283 | 2540878.9848 | 1151380.0757
30 | 2540877.6485 | 1151370.6283 | 2540881.1462 | 1151370.4049 | 2540901.0127 | 1151372.3273
31 | 2540947.4305 | 1151447.7172 | 2540950.2094 | 1151427.2605
32 | 2540947.4305 | 1151447.7172 | 2540949.5597 | 1151447.6897
33 | 2540917.3708 | 1151424.1537 | 2540918.4398 | 1151399.9401
34 | 2540969.8027 | 1151524.8378 | 2540952.4008 | 1151526.6175
35 | 2540920.4396 | 1151374.632 | 2540918.8727 | 1151390.1335 | 2540918.4398 | 1151399.9401
36 | 2540920.4396 | 1151374.632 | 2540902.942 | 1151372.514 | 2540901.0127 | 1151372.3273
37 | 2540920.4396 | 1151374.632 | 2540941.6272 | 1151381.2497
38 | 2540920.4396 | 1151374.632 | 2540922.7156 | 1151359.9386
39 | 2540964.9189 | 1151385.6344 | 2540963.3161 | 1151386.5506 | 2540960.9933 | 1151386.8403 | 2540957.0098 | 1151386.0567 | 2540941.6272 | 1151381.2497
40 | 2540941.6272 | 1151381.2497 | 2540947.8362 | 1151367.0885
41 | 2540924.4236 | 1151348.9124 | 2540922.7156 | 1151359.9386
42 | 2540958.4761 | 1151409.5216 | 2540952.5553 | 1151409.9911 | 2540950.2094 | 1151427.2605
43 | 2540949.5597 | 1151447.6897 | 2540954.5983 | 1151447.6246 | 2540976.1811 | 1151448.402 | 2540980.8399 | 1151448.7785
44 | 2540947.8362 | 1151367.0885 | 2540952.8278 | 1151355.7037 | 2540952.938 | 1151352.8567 | 2540942.5306 | 1151349.2904
45 | 2540924.4236 | 1151348.9124 | 2540926.7404 | 1151333.1812 | 2540927.6663 | 1151330.6
46 | 2541001.7129 | 1151450.3636 | 2540995.807 | 1151449.988 | 2540980.8399 | 1151448.7785
47 | 2541001.7129 | 1151450.3636 | 2541004.9673 | 1151451.1543 | 2541023.018 | 1151455.6908 | 2541024.0563 | 1151456.0488
48 | 2541001.7129 | 1151450.3636 | 2541004.3751 | 1151443.2114 | 2541003.851 | 1151443.0931
49 | 2540794.378 | 1151686.8841 | 2540797.1318 | 1151685.9454 | 2540798.3786 | 1151685.5218 | 2540803.6993 | 1151683.3794 | 2540815.4426 | 1151678.7613 | 2540848.3752 | 1151664.663 | 2540867.7282 | 1151655.7456 | 2540900.0111 | 1151641.0981 | 2540915.2391 | 1151634.1558
50 | 2540971.088 | 1151524.7063 | 2540969.8027 | 1151524.8378
51 | 2540971.088 | 1151524.7063 | 2540985.9033 | 1151523.1912 | 2540991.3654 | 1151522.6894
52 | 2540991.3654 | 1151522.6894 | 2540999.4582 | 1151521.9461
53 | 2541013.3236 | 1151520.6725 | 2540999.4582 | 1151521.9461
54 | 2541029.5346 | 1151527.6766 | 2541017.3431 | 1151520.3033 | 2541013.3236 | 1151520.6725
55 | 2541037.8122 | 1151460.7929 | 2541024.0563 | 1151456.0488
56 | 2540991.3443 | 1151440.271 | 2541003.851 | 1151443.0931
57 | 2541037.8122 | 1151460.7929 | 2541041.5414 | 1151462.7497
58 | 2541037.8122 | 1151460.7929 | 2541045.2354 | 1151456.2176 | 2541051.2551 | 1151454.113 | 2541056.387 | 1151453.0399 | 2541061.3274 | 1151452.7913 | 2541066.0787 | 1151454.379 | 2541070.9186 | 1151457.1886 | 2541080.2248 | 1151461.4886 | 2541079.8982 | 1151456.3668 | 2541071.4043 | 1151435.4944 | 2541072.8939 | 1151432.4226
59 | 2541041.5414 | 1151462.7497 | 2541053.597 | 1151469.0759 | 2541065.7179 | 1151478.0418
60 | 2541072.8939 | 1151432.4226 | 2541076.5666 | 1151429.6963 | 2541081.9196 | 1151418.8205
61 | 2541072.8939 | 1151432.4226 | 2541068.8064 | 1151429.639 | 2541058.597 | 1151424.8142 | 2541046.8534 | 1151418.5148 | 2541037.0763 | 1151413.9527 | 2541034.7035 | 1151408.3619
62 | 2541065.7179 | 1151478.0418 | 2541067.9695 | 1151479.7074 | 2541079.8655 | 1151492.1641 | 2541085.3093 | 1151500.5918
63 | 2541084.1598 | 1151414.2691 | 2541081.9196 | 1151418.8205
64 | 2541042.6587 | 1151396.2037 | 2541041.6367 | 1151396.8655 | 2541036.9378 | 1151401.3918 | 2541034.7035 | 1151408.3619 | 2541034.7035 | 1151408.3619
65 | 2541186.4185 | 1151517.0788 | 2541212.2213 | 1151572.6674 | 2541214.0153 | 1151576.8088
66 | 2541112.6889 | 1151560.746 | 2541128.0568 | 1151546.877 | 2541174.207 | 1151527.237 | 2541172.2225 | 1151522.8763 | 2541173.5216 | 1151522.2966 | 2541186.4185 | 1151517.0788
67 | 2541186.4185 | 1151517.0788 | 2541179.2911 | 1151500.8954
68 | 2541221.5578 | 1151594.221 | 2541214.0153 | 1151576.8088
69 | 2541118.1565 | 1151566.5289 | 2541112.6889 | 1151560.746
70 | 2541112.6889 | 1151560.746 | 2541107.8473 | 1151553.8342 | 2541103.1113 | 1151545.1759
71 | 2541179.2911 | 1151500.8954 | 2541156.5346 | 1151511.2032
72 | 2541118.1565 | 1151566.5289 | 2541105.2152 | 1151586.0823
73 | 2541085.3093 | 1151500.5918 | 2541087.2225 | 1151503.5537 | 2541091.6348 | 1151512.0706 | 2541095.1013 | 1151523.5428 | 2541098.9747 | 1151535.0332 | 2541103.1113 | 1151545.1759
74 | 2541221.5578 | 1151594.221 | 2541234.8136 | 1151599.8166 | 2541246.2457 | 1151604.1406 | 2541252.065 | 1151606.6628 | 2541259.9717 | 1151611.5104 | 2541274.8855 | 1151641.4808 | 2541276.4627 | 1151651.2929
75 | 2541276.4627 | 1151651.2929 | 2541271.1697 | 1151643.7183 | 2541264.5947 | 1151637.1164
76 | 2541093.3709 | 1151382.2395 | 2541100.5582 | 1151399.0114 | 2541098.6937 | 1151402.9874 | 2541086.9002 | 1151408.0389 | 2541084.1598 | 1151414.2691
77 | 2541093.3709 | 1151382.2395 | 2541098.9662 | 1151375.192 | 2541130.791 | 1151348.8329 | 2541135.4214 | 1151333.3792 | 2541130.4571 | 1151321.0212 | 2541119.8103 | 1151314.9484
78 | 2541104.8292 | 1151586.6655 | 2541105.2152 | 1151586.0823
79 | 2541104.8292 | 1151586.6655 | 2541102.8019 | 1151589.7285
80 | 2541102.3348 | 1151590.4343 | 2541102.8019 | 1151589.7285
81 | 2541102.3348 | 1151590.4343 | 2541028.862 | 1151667.9696
82 | 2541111.2765 | 1151310.0809 | 2541111.2765 | 1151310.0809 | 2541119.8103 | 1151314.9484
83 | 2541104.1541 | 1151305.6175 | 2541111.2765 | 1151310.0809
84 | 2541104.1541 | 1151305.6175 | 2541092.8116 | 1151298.5096

## bus_geodata
| x | y | coords
0 | 2540837.0624 | 1151548.1412
1 | 2540836.6054 | 1151548.3575
2 | 2540917.2515 | 1151507.846
3 | 2540817.7154 | 1151557.2959
4 | 2540910.2299 | 1151477.4251
5 | 2540936.6258 | 1151528.2309
6 | 2540809.3112 | 1151569.2041
7 | 2540902.9486 | 1151450.4557
8 | 2540936.9343 | 1151528.1993
9 | 2540802.7084 | 1151572.4876
10 | 2540818.2018 | 1151455.4809
11 | 2540813.4713 | 1151445.8778
12 | 2540872.7022 | 1151451.8304
13 | 2540828.1981 | 1151434.7491
14 | 2540838.6508 | 1151376.9486
15 | 2540844.4769 | 1151400.0939
16 | 2540854.1447 | 1151313.5176
17 | 2540864.6742 | 1151371.4584
18 | 2540867.4996 | 1151299.5599
19 | 2540901.0233 | 1151450.5432
20 | 2540916.2488 | 1151449.569
21 | 2540949.4005 | 1151526.9244
22 | 2540786.11 | 1151580.7419
23 | 2540794.6323 | 1151676.0758
24 | 2540876.7811 | 1151451.645
25 | 2540830.4483 | 1151430.2134
26 | 2540877.6485 | 1151370.6283
27 | 2540947.4305 | 1151447.7172
28 | 2540917.3708 | 1151424.1537
29 | 2540952.4008 | 1151526.6175
30 | 2540918.4398 | 1151399.9401
31 | 2540920.4396 | 1151374.632
32 | 2540901.0127 | 1151372.3273
33 | 2540941.6272 | 1151381.2497
34 | 2540922.7156 | 1151359.9386
35 | 2540950.2094 | 1151427.2605
36 | 2540949.5597 | 1151447.6897
37 | 2540964.9189 | 1151385.6344
38 | 2540947.8362 | 1151367.0885
39 | 2540924.4236 | 1151348.9124
40 | 2540958.4761 | 1151409.5216
41 | 2540980.8399 | 1151448.7785
42 | 2540878.9848 | 1151380.0757
43 | 2540942.5306 | 1151349.2904
44 | 2540927.6663 | 1151330.6
45 | 2541001.7129 | 1151450.3636
46 | 2540794.378 | 1151686.8841
47 | 2540915.2391 | 1151634.1558
48 | 2540969.8027 | 1151524.8378
49 | 2540971.088 | 1151524.7063
50 | 2540991.3654 | 1151522.6894
51 | 2540999.4582 | 1151521.9461
52 | 2541013.3236 | 1151520.6725
53 | 2541029.5346 | 1151527.6766
54 | 2541024.0563 | 1151456.0488
55 | 2541003.851 | 1151443.0931
56 | 2541037.8122 | 1151460.7929
57 | 2540991.3443 | 1151440.271
58 | 2541041.5414 | 1151462.7497
59 | 2541072.8939 | 1151432.4226
60 | 2541065.7179 | 1151478.0418
61 | 2541081.9196 | 1151418.8205
62 | 2541034.7035 | 1151408.3619
63 | 2541186.4185 | 1151517.0788
64 | 2541214.0153 | 1151576.8088
65 | 2541112.6889 | 1151560.746
66 | 2541179.2911 | 1151500.8954
67 | 2541118.1565 | 1151566.5289
68 | 2541103.1113 | 1151545.1759
69 | 2541221.5578 | 1151594.221
70 | 2541276.4627 | 1151651.2929
71 | 2541085.3093 | 1151500.5918
72 | 2541084.1598 | 1151414.2691
73 | 2541093.3709 | 1151382.2395
74 | 2541156.5346 | 1151511.2032
75 | 2541042.6587 | 1151396.2036
76 | 2541105.2152 | 1151586.0823
77 | 2541264.5947 | 1151637.1164
78 | 2541104.8292 | 1151586.6655
79 | 2541102.8019 | 1151589.7285
80 | 2541102.3348 | 1151590.4343
81 | 2541028.862 | 1151667.9696
82 | 2541119.8103 | 1151314.9484
83 | 2541111.2765 | 1151310.0809
84 | 2541104.1541 | 1151305.6175
85 | 2541092.8116 | 1151298.5096
86 | 2541001.7129 | 1151450.3636

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1