## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5590-49_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5590-49_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5590-49_0_1_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5590-49_0_1_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_5590-49_0_1_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_5590-49_0_1_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_5590-49_0_1_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5590-49_0_1_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5590-49_0_1_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5590-49_0_1_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5590-49_0_1_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_5590-49_0_1_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5590-49_0_1_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_5590-49_0_1_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_5590-49_0_1_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_5590-49_0_1_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5590-49_0_1_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_5590-49_0_1_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_5590-49_0_1_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_5590-49_0_1_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_5590-49_0_1_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_5590-49_0_1_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_5590-49_0_1_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_5590-49_0_1_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_5590-49_0_1_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_5590-49_0_1_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_5590-49_0_1_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_5590-49_0_1_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_5590-49_0_1_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5590-49_0_1_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5590-49_0_1_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5590-49_0_1_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_5590-49_0_1_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5590-49_0_1_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5590-49_0_1_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5590-49_0_1_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5590-49_0_1_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5590-49_0_1_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5590-49_0_1_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5590-49_0_1_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5590-49_0_1_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5590-49_0_1_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5590-49_0_1_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_5590-49_0_1_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_5590-49_0_1_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_5590-49_0_1_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_5590-49_0_1_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_5590-49_0_1_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5590-49_0_1_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_5590-49_0_1_node_44 | 0.4 | n |  | TRUE
50 | bus_MV_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5590-49_0_1_load_0 | 0 | 0.00068758 | 0.00017232 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5590-49_0_1_load_16 | 3 | 0.0014169 | 0.0003551 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5590-49_0_1_load_4 | 6 | 0.00067882 | 0.00017013 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5590-49_0_1_load_5 | 7 | 0.0013637 | 0.00034177 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5590-49_0_1_load_45 | 10 | 0.00054574 | 0.00013677 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5590-49_0_1_load_49 | 14 | 0.00040304 | 0.00010101 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5590-49_0_1_load_29 | 16 | 0.00097389 | 0.00024408 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5590-49_0_1_load_46 | 18 | 0.0044595 | 0.0011177 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5590-49_0_1_load_33 | 19 | 0.00078351 | 0.00019637 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5590-49_0_1_load_47 | 20 | 0.0015064 | 0.00037755 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5590-49_0_1_load_48 | 21 | 0.0017222 | 0.00043162 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5590-49_0_1_load_28 | 22 | 0.00053287 | 0.00013355 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5590-49_0_1_load_30 | 23 | 0.0029996 | 0.00075176 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5590-49_0_1_load_39 | 24 | 0.0033794 | 0.00084695 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5590-49_0_1_load_11 | 26 | 0.00022574 | 5.6577e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5590-49_0_1_load_12 | 27 | 0.00037578 | 9.4178e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5590-49_0_1_load_14 | 28 | 0.00022451 | 5.6267e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5590-49_0_1_load_52 | 31 | 0.00042173 | 0.0001057 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5590-49_0_1_load_27 | 32 | 0.00055912 | 0.00014013 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5590-49_0_1_load_18 | 33 | 0.00067115 | 0.00016821 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5590-49_0_1_load_22 | 35 | 0.00082648 | 0.00020714 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5590-49_0_1_load_23 | 36 | 0.0030211 | 0.00075715 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5590-49_0_1_load_24 | 37 | 0.0016239 | 0.00040698 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5590-49_0_1_load_25 | 38 | 0.00064197 | 0.00016089 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5590-49_0_1_load_26 | 39 | 0.0011164 | 0.0002798 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5590-49_0_1_load_35 | 41 | 0.0011896 | 0.00029813 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5590-49_0_1_load_36 | 42 | 0.00054715 | 0.00013713 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5590-49_0_1_load_37 | 43 | 0.0043233 | 0.0010835 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5590-49_0_1_load_41 | 46 | 0.0010515 | 0.00026353 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5590-49_0_1_load_40 | 47 | 0.002125 | 0.00053257 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5590-49_0_1_load_44 | 49 | 0.001531 | 0.0003837 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5590-49_0_1_line_0 |  | 0 | 1 | 0.081189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5590-49_0_1_line_1 |  | 1 | 2 | 0.37232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5590-49_0_1_line_2 |  | 2 | 3 | 0.12934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5590-49_0_1_line_3 |  | 3 | 4 | 0.098088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5590-49_0_1_line_4 |  | 3 | 5 | 0.00432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5590-49_0_1_line_5 |  | 4 | 30 | 0.064773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5590-49_0_1_line_6 |  | 5 | 26 | 0.31073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5590-49_0_1_line_7 |  | 6 | 7 | 0.031436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5590-49_0_1_line_8 |  | 6 | 8 | 0.011993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5590-49_0_1_line_9 |  | 8 | 9 | 0.006684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5590-49_0_1_line_10 |  | 9 | 10 | 0.035675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5590-49_0_1_line_11 |  | 10 | 18 | 0.00025308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5590-49_0_1_line_12 |  | 11 | 12 | 0.007053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5590-49_0_1_line_13 |  | 11 | 13 | 0.007132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5590-49_0_1_line_14 |  | 11 | 14 | 0.092334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5590-49_0_1_line_15 |  | 12 | 19 | 0.069044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5590-49_0_1_line_16 |  | 13 | 20 | 0.1326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5590-49_0_1_line_17 |  | 14 | 21 | 0.011012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5590-49_0_1_line_18 |  | 15 | 16 | 0.033011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5590-49_0_1_line_19 |  | 15 | 17 | 0.004636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5590-49_0_1_line_20 |  | 16 | 22 | 0.0010822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5590-49_0_1_line_21 |  | 17 | 19 | 0.0041757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5590-49_0_1_line_22 |  | 17 | 23 | 0.035624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5590-49_0_1_line_23 |  | 18 | 20 | 0.12487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5590-49_0_1_line_24 |  | 21 | 35 | 0.00023458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5590-49_0_1_line_25 |  | 23 | 40 | 0.027638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5590-49_0_1_line_26 |  | 24 | 25 | 0.016879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5590-49_0_1_line_27 |  | 25 | 42 | 0.015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5590-49_0_1_line_28 |  | 25 | 40 | 0.007063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5590-49_0_1_line_29 |  | 26 | 27 | 0.016449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5590-49_0_1_line_30 |  | 27 | 28 | 0.0019798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5590-49_0_1_line_31 |  | 29 | 30 | 0.006866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5590-49_0_1_line_32 |  | 29 | 31 | 0.14432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5590-49_0_1_line_33 |  | 31 | 32 | 0.028998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5590-49_0_1_line_34 |  | 32 | 38 | 0.041924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5590-49_0_1_line_35 |  | 33 | 34 | 0.074796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5590-49_0_1_line_36 |  | 34 | 35 | 0.081867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5590-49_0_1_line_37 |  | 36 | 37 | 0.086532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5590-49_0_1_line_38 |  | 36 | 38 | 0.0033167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5590-49_0_1_line_39 |  | 37 | 39 | 0.054137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5590-49_0_1_line_40 |  | 39 | 40 | 0.012343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5590-49_0_1_line_41 |  | 40 | 41 | 0.005777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5590-49_0_1_line_42 |  | 42 | 43 | 0.26981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5590-49_0_1_line_43 |  | 43 | 44 | 0.063031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5590-49_0_1_line_44 |  | 44 | 45 | 0.12827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5590-49_0_1_line_45 |  | 45 | 46 | 0.12226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5590-49_0_1_line_46 |  | 46 | 47 | 0.06667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5590-49_0_1_line_47 |  | 47 | 48 | 0.16005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5590-49_0_1_line_48 |  | 48 | 49 | 0.072734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5590-49_0_1_trafo_28 | 0.63 MVA 20/0.4 kV | 50 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2541430.108 | 1153446.9355 | 2541433.5151 | 1153445.4014 | 2541441.2314 | 1153440.4236 | 2541467.5277 | 1153416.9993 | 2541493.4868 | 1153396.5387
1 | 2541430.108 | 1153446.9355 | 2541432.8511 | 1153453.6346 | 2541432.6262 | 1153465.9767 | 2541417.8836 | 1153520.7053 | 2541418.7322 | 1153534.56 | 2541431.2394 | 1153592.1024 | 2541434.758 | 1153600.4393 | 2541442.2463 | 1153609.0932 | 2541468.3223 | 1153634.7863 | 2541479.8691 | 1153644.2123 | 2541487.5346 | 1153646.6501 | 2541498.4914 | 1153643.5529 | 2541558.4333 | 1153577.0007 | 2541568.228 | 1153568.7899 | 2541576.4667 | 1153563.8961 | 2541584.5009 | 1153560.0604 | 2541594.9081 | 1153556.4462
2 | 2541721.9669 | 1153577.1352 | 2541686.7552 | 1153568.9723 | 2541635.4231 | 1153556.8418 | 2541624.2719 | 1153554.9602 | 2541615.2747 | 1153554.4473 | 2541605.9562 | 1153554.8269 | 2541594.9081 | 1153556.4462
3 | 2541721.9669 | 1153577.1352 | 2541817.9585 | 1153598.5834
4 | 2541721.9669 | 1153577.1352 | 2541719.3301 | 1153580.5626
5 | 2541817.9585 | 1153598.5834 | 2541881.2666 | 1153613.1009
6 | 2541719.3301 | 1153580.5626 | 2541708.1959 | 1153588.3303 | 2541702.442 | 1153591.5434 | 2541689.8969 | 1153601.7594 | 2541670.6488 | 1153626.4817 | 2541642.5907 | 1153669.1436 | 2541634.1657 | 1153691.1817 | 2541606.5717 | 1153735.7514 | 2541583.6969 | 1153765.3673 | 2541582.8978 | 1153769.9776 | 2541586.1926 | 1153775.8487 | 2541617.4147 | 1153804.6386 | 2541629.993 | 1153825.8632
7 | 2542459.4555 | 1154127.9244 | 2542487.1117 | 1154142.8703
8 | 2542448.905 | 1154122.2227 | 2542459.4555 | 1154127.9244
9 | 2542448.905 | 1154122.2227 | 2542453.8562 | 1154117.7173
10 | 2542453.8562 | 1154117.7173 | 2542445.4493 | 1154114.6629 | 2542441.838 | 1154114.086 | 2542421.6954 | 1154102.8324
11 | 2542421.4745 | 1154102.7089 | 2542421.6954 | 1154102.8324
12 | 2542197.6531 | 1153969.9634 | 2542191.1212 | 1153967.2581
13 | 2542197.6531 | 1153969.9634 | 2542204.262 | 1153972.6902
14 | 2542197.6531 | 1153969.9634 | 2542202.0074 | 1153953.6573 | 2542201.4866 | 1153935.408 | 2542196.9401 | 1153914.9964 | 2542185.3771 | 1153880.6003
15 | 2542191.1212 | 1153967.2581 | 2542189.5516 | 1153969.1743 | 2542186.1394 | 1153970.9636 | 2542182.6183 | 1153970.9975 | 2542179.4007 | 1153969.8945 | 2542140.1035 | 1153948.2722 | 2542130.5028 | 1153943.0304
16 | 2542204.262 | 1153972.6902 | 2542203.9451 | 1153975.6393 | 2542204.3831 | 1153979.7039 | 2542206.3568 | 1153983.8983 | 2542210.5595 | 1153986.9262 | 2542217.1474 | 1153990.6648 | 2542291.2383 | 1154030.8523 | 2542312.1399 | 1154042.383
17 | 2542180.0479 | 1153870.9633 | 2542185.3771 | 1153880.6003 | 2542185.3771 | 1153880.6003
18 | 2542124.5907 | 1153945.0865 | 2542122.637 | 1153948.5516 | 2542130.1417 | 1153952.6816 | 2542123.219 | 1153971.9421
19 | 2542124.5907 | 1153945.0865 | 2542126.8378 | 1153941.0294
20 | 2542122.853 | 1153972.9605 | 2542123.219 | 1153971.9421
21 | 2542126.8378 | 1153941.0294 | 2542130.5028 | 1153943.0304
22 | 2542126.8378 | 1153941.0294 | 2542120.9693 | 1153937.9064 | 2542113.2531 | 1153934.1232 | 2542108.6372 | 1153932.0109 | 2542099.2499 | 1153929.1665 | 2542093.7836 | 1153928.5809
23 | 2542421.4745 | 1154102.7089 | 2542388.9412 | 1154084.5326 | 2542356.6811 | 1154066.9547 | 2542312.1399 | 1154042.383
24 | 2542179.9344 | 1153870.7581 | 2542180.0479 | 1153870.9633
25 | 2542067.2511 | 1153934.0886 | 2542073.2134 | 1153931.0184 | 2542081.1792 | 1153928.8627 | 2542088.6822 | 1153928.0344 | 2542093.7836 | 1153928.5809
26 | 2542072.1262 | 1153939.211 | 2542081.0225 | 1153934.8897 | 2542087.9433 | 1153933.9162
27 | 2542072.1262 | 1153939.211 | 2542066.3525 | 1153946.7152 | 2542064.0816 | 1153952.2845
28 | 2542072.1262 | 1153939.211 | 2542067.2511 | 1153934.0886
29 | 2541629.993 | 1153825.8632 | 2541634.6296 | 1153833.687 | 2541640.1134 | 1153838.5876
30 | 2541640.1134 | 1153838.5876 | 2541641.5897 | 1153839.9069
31 | 2541885.1043 | 1153618.8002 | 2541881.2666 | 1153613.1009
32 | 2541885.1043 | 1153618.8002 | 2541893.2622 | 1153630.9167 | 2541968.6815 | 1153718.1793 | 2541978.3075 | 1153728.8552
33 | 2541995.683 | 1153751.7123 | 2541994.4079 | 1153747.6912 | 2541979.066 | 1153729.6963 | 2541978.3075 | 1153728.8552
34 | 2542007.6139 | 1153791.4494 | 2542002.2737 | 1153781.2444 | 2542000.8256 | 1153767.9291 | 2541995.683 | 1153751.7123
35 | 2542132.3411 | 1153804.292 | 2542103.6331 | 1153766.237 | 2542087.2391 | 1153744.6239
36 | 2542132.3411 | 1153804.292 | 2542172.9389 | 1153858.1079 | 2542179.9344 | 1153870.7581
37 | 2542037.0935 | 1153875.271 | 2542036.4442 | 1153874.0868 | 2542030.6875 | 1153863.4811 | 2542017.7527 | 1153834.1234 | 2542014.6651 | 1153809.1287 | 2542012.6462 | 1153801.0661 | 2542009.1517 | 1153794.3881
38 | 2542007.6139 | 1153791.4494 | 2542009.1517 | 1153794.3881
39 | 2542060.0373 | 1153924.2507 | 2542057.7664 | 1153919.5611 | 2542053.4572 | 1153910.2755 | 2542049.8587 | 1153900.7051 | 2542040.8097 | 1153882.049 | 2542037.0935 | 1153875.271
40 | 2542067.2511 | 1153934.0886 | 2542062.2675 | 1153928.8561 | 2542060.0373 | 1153924.2507
41 | 2542062.0979 | 1153936.7286 | 2542067.2511 | 1153934.0886
42 | 2542064.0816 | 1153952.2845 | 2542063.0578 | 1153958.2976 | 2542063.3899 | 1153964.8868 | 2542065.3118 | 1153971.6608 | 2542068.9317 | 1153977.8848 | 2542073.5321 | 1153982.3651 | 2542084.2333 | 1153990.1995 | 2542125.0211 | 1154008.8721 | 2542137.5245 | 1154018.2345 | 2542146.1272 | 1154029.6356 | 2542152.757 | 1154047.2924 | 2542152.9079 | 1154063.7553 | 2542150.7905 | 1154075.7154 | 2542144.7578 | 1154089.781 | 2542137.6588 | 1154099.877 | 2542125.1702 | 1154109.5469 | 2542112.5193 | 1154115.1162 | 2542097.1663 | 1154118.9217 | 2542069.6697 | 1154123.4854
43 | 2542012.7504 | 1154147.2507 | 2542026.1987 | 1154136.0817 | 2542048.0991 | 1154127.0656 | 2542069.6697 | 1154123.4854
44 | 2542012.7504 | 1154147.2507 | 2542001.8295 | 1154159.5516 | 2541985.5525 | 1154184.4443 | 2542060.4007 | 1154218.1181
45 | 2542060.4007 | 1154218.1181 | 2542068.1792 | 1154219.6439 | 2542083.8006 | 1154225.4075 | 2542095.8944 | 1154227.3254 | 2542111.7727 | 1154226.3163 | 2542133.5828 | 1154222.2819 | 2542148.9639 | 1154223.012 | 2542172.4908 | 1154225.9649 | 2542180.6638 | 1154226.9937
46 | 2542246.373 | 1154236.98 | 2542238.539 | 1154237.4137 | 2542191.2785 | 1154228.3299 | 2542180.6638 | 1154226.9937
47 | 2542385.8458 | 1154299.3107 | 2542374.7841 | 1154294.592 | 2542312.1812 | 1154244.7881 | 2542292.7845 | 1154236.5143 | 2542279.5149 | 1154233.5735 | 2542261.8715 | 1154236.1221 | 2542246.373 | 1154236.98
48 | 2542385.8458 | 1154299.3107 | 2542366.1637 | 1154325.2244 | 2542356.6953 | 1154342.6356 | 2542348.3973 | 1154361.2919

## bus_geodata
| x | y | coords
0 | 2541493.4868 | 1153396.5387
1 | 2541430.108 | 1153446.9355
2 | 2541594.9081 | 1153556.4462
3 | 2541721.9669 | 1153577.1352
4 | 2541817.9585 | 1153598.5834
5 | 2541719.3301 | 1153580.5626
6 | 2542459.4555 | 1154127.9244
7 | 2542487.1117 | 1154142.8703
8 | 2542448.905 | 1154122.2227
9 | 2542453.8562 | 1154117.7173
10 | 2542421.6954 | 1154102.8324
11 | 2542197.6531 | 1153969.9634
12 | 2542191.1212 | 1153967.2581
13 | 2542204.262 | 1153972.6902
14 | 2542185.3771 | 1153880.6003
15 | 2542124.5907 | 1153945.0865
16 | 2542123.219 | 1153971.9421
17 | 2542126.8379 | 1153941.0294
18 | 2542421.4745 | 1154102.7089
19 | 2542130.5028 | 1153943.0304
20 | 2542312.1399 | 1154042.383
21 | 2542180.0479 | 1153870.9633
22 | 2542122.853 | 1153972.9605
23 | 2542093.7836 | 1153928.5809
24 | 2542087.9433 | 1153933.9162
25 | 2542072.1262 | 1153939.211
26 | 2541629.993 | 1153825.8632
27 | 2541640.1134 | 1153838.5876
28 | 2541641.5897 | 1153839.9069
29 | 2541885.1043 | 1153618.8002
30 | 2541881.2666 | 1153613.1009
31 | 2541978.3075 | 1153728.8552
32 | 2541995.683 | 1153751.7123
33 | 2542087.2391 | 1153744.6239
34 | 2542132.3411 | 1153804.292
35 | 2542179.9344 | 1153870.7581
36 | 2542009.1517 | 1153794.3881
37 | 2542037.0935 | 1153875.271
38 | 2542007.6139 | 1153791.4494
39 | 2542060.0373 | 1153924.2507
40 | 2542067.2511 | 1153934.0886
41 | 2542062.0979 | 1153936.7286
42 | 2542064.0816 | 1153952.2845
43 | 2542069.6697 | 1154123.4854
44 | 2542012.7504 | 1154147.2507
45 | 2542060.4007 | 1154218.1181
46 | 2542180.6638 | 1154226.9937
47 | 2542246.373 | 1154236.98
48 | 2542385.8458 | 1154299.3107
49 | 2542348.3973 | 1154361.2919
50 | 2542122.853 | 1153972.9605

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1