## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5590-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5590-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5590-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5590-7_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5590-7_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5590-7_0_5_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_5590-7_0_5_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_5590-7_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5590-7_0_5_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_5590-7_0_5_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_5590-7_0_5_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_5590-7_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5590-7_0_5_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_5590-7_0_5_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_5590-7_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5590-7_0_5_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_5590-7_0_5_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_5590-7_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5590-7_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5590-7_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5590-7_0_5_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_5590-7_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_5590-7_0_5_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_5590-7_0_5_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_5590-7_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5590-7_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5590-7_0_5_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_5590-7_0_5_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_5590-7_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5590-7_0_5_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_5590-7_0_5_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_5590-7_0_5_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_5590-7_0_5_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_5590-7_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_5590-7_0_5_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_5590-7_0_5_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_5590-7_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_5590-7_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_5590-7_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5590-7_0_5_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_5590-7_0_5_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5590-7_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5590-7_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5590-7_0_5_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5590-7_0_5_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_5590-7_0_5_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_5590-7_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_5590-7_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_MV_619_0_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5590-7_0_5_load_0 | 0 | 0.018312 | 0.0045893 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5590-7_0_5_load_23 | 5 | 0.0071478 | 0.0017914 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5590-7_0_5_load_45 | 6 | 0.0065163 | 0.0016331 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5590-7_0_5_load_33 | 10 | 0.0082245 | 0.0020612 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5590-7_0_5_load_48 | 13 | 0.0037019 | 0.00092778 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5590-7_0_5_load_46 | 16 | 0.0029835 | 0.00074775 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5590-7_0_5_load_25 | 20 | 0.072226 | 0.018101 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5590-7_0_5_load_30 | 22 | 0.010093 | 0.0025296 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5590-7_0_5_load_29 | 23 | 0.019455 | 0.004876 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5590-7_0_5_load_24 | 26 | 0.03445 | 0.008634 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5590-7_0_5_load_37 | 29 | 0.024475 | 0.0061341 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5590-7_0_5_load_27 | 30 | 0.010882 | 0.0027273 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5590-7_0_5_load_35 | 31 | 0.013603 | 0.0034091 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5590-7_0_5_load_41 | 32 | 0.024757 | 0.0062046 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5590-7_0_5_load_39 | 33 | 0.023529 | 0.005897 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5590-7_0_5_load_49 | 34 | 0.010018 | 0.0025108 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5590-7_0_5_load_47 | 35 | 0.015088 | 0.0037814 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5590-7_0_5_load_34 | 36 | 0.023912 | 0.0059928 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5590-7_0_5_load_31 | 38 | 0.0014105 | 0.0003535 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5590-7_0_5_load_32 | 40 | 0.0078825 | 0.0019755 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5590-7_0_5_load_26 | 42 | 0.029104 | 0.0072942 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5590-7_0_5_load_36 | 43 | 0.011085 | 0.0027781 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5590-7_0_5_load_44 | 44 | 0.025112 | 0.0062938 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5590-7_0_5_load_42 | 45 | 0.020266 | 0.0050792 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5590-7_0_5_load_28 | 46 | 0.012427 | 0.0031145 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5590-7_0_5_load_40 | 47 | 0.027244 | 0.0068279 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5590-7_0_5_line_0 |  | 0 | 1 | 0.0092734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5590-7_0_5_line_1 |  | 0 | 2 | 0.02321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5590-7_0_5_line_2 |  | 1 | 3 | 0.067469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5590-7_0_5_line_3 |  | 2 | 4 | 0.11616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5590-7_0_5_line_4 |  | 3 | 5 | 0.019874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5590-7_0_5_line_5 |  | 4 | 6 | 0.017577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5590-7_0_5_line_6 |  | 5 | 9 | 0.06281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5590-7_0_5_line_7 |  | 7 | 8 | 0.043906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5590-7_0_5_line_8 |  | 7 | 9 | 0.030225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5590-7_0_5_line_9 |  | 7 | 10 | 0.02539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5590-7_0_5_line_10 |  | 8 | 34 | 0.023224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5590-7_0_5_line_11 |  | 9 | 21 | 0.011015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5590-7_0_5_line_12 |  | 10 | 40 | 0.0061541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5590-7_0_5_line_13 |  | 11 | 12 | 0.41354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5590-7_0_5_line_14 |  | 11 | 13 | 0.013565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5590-7_0_5_line_15 |  | 12 | 16 | 0.10932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5590-7_0_5_line_16 |  | 14 | 15 | 0.081642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5590-7_0_5_line_17 |  | 14 | 16 | 0.048221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5590-7_0_5_line_18 |  | 15 | 35 | 0.034916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5590-7_0_5_line_19 |  | 15 | 17 | 0.33021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5590-7_0_5_line_20 |  | 17 | 18 | 0.12128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5590-7_0_5_line_21 |  | 17 | 19 | 0.089716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5590-7_0_5_line_22 |  | 17 | 20 | 0.074269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5590-7_0_5_line_23 |  | 18 | 32 | 0.0080482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5590-7_0_5_line_24 |  | 18 | 33 | 0.046696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5590-7_0_5_line_25 |  | 18 | 27 | 0.049611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5590-7_0_5_line_26 |  | 19 | 24 | 0.059892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5590-7_0_5_line_27 |  | 19 | 25 | 0.042803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5590-7_0_5_line_28 |  | 19 | 26 | 0.040546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5590-7_0_5_line_29 |  | 21 | 22 | 0.028588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5590-7_0_5_line_30 |  | 21 | 23 | 0.022024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5590-7_0_5_line_31 |  | 22 | 38 | 0.015126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5590-7_0_5_line_32 |  | 23 | 25 | 0.0043745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5590-7_0_5_line_33 |  | 24 | 30 | 0.016211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5590-7_0_5_line_34 |  | 24 | 31 | 0.041871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5590-7_0_5_line_35 |  | 27 | 28 | 0.10201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5590-7_0_5_line_36 |  | 27 | 29 | 0.052881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5590-7_0_5_line_37 |  | 28 | 36 | 0.021585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5590-7_0_5_line_38 |  | 29 | 41 | 0.0032809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5590-7_0_5_line_39 |  | 30 | 42 | 0.0058106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5590-7_0_5_line_40 |  | 31 | 43 | 0.011017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5590-7_0_5_line_41 |  | 37 | 38 | 0.051518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5590-7_0_5_line_42 |  | 37 | 39 | 0.012644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5590-7_0_5_line_43 |  | 39 | 44 | 0.029918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5590-7_0_5_line_44 |  | 39 | 45 | 0.067727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5590-7_0_5_line_45 |  | 41 | 47 | 0.011617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5590-7_0_5_line_46 |  | 42 | 46 | 0.030652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5590-7_0_5_trafo_14 | 0.63 MVA 20/0.4 kV | 48 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2540688.1938 | 1152690.5146 | 2540691.1832 | 1152687.8504 | 2540690.5467 | 1152682.62
1 | 2540687.7426 | 1152659.5802 | 2540690.5467 | 1152682.62
2 | 2540688.1938 | 1152690.5146 | 2540689.3409 | 1152699.4415 | 2540695.6388 | 1152704.6599 | 2540703.8621 | 1152705.9239 | 2540712.0375 | 1152701.5632 | 2540724.8114 | 1152699.7251 | 2540743.4778 | 1152693.1264
3 | 2540687.7426 | 1152659.5802 | 2540687.4002 | 1152656.7599 | 2540675.2234 | 1152660.0151 | 2540674.301 | 1152657.5229 | 2540661.1178 | 1152617.9206 | 2540687.6937 | 1152614.2008 | 2540692.1254 | 1152618.4816 | 2540715.28 | 1152615.6628
4 | 2540743.4778 | 1152693.1264 | 2540762.0884 | 1152686.1528
5 | 2540715.28 | 1152615.6628 | 2540717.571 | 1152633.0899
6 | 2540802.918 | 1152641.7132 | 2540796.7749 | 1152658.4271 | 2540785.9728 | 1152669.5839 | 2540770.6573 | 1152682.942 | 2540762.0884 | 1152686.1528
7 | 2540785.5256 | 1152571.2577 | 2540784.9684 | 1152573.8979 | 2540784.4616 | 1152578.5388 | 2540788.3826 | 1152590.9624 | 2540794.7037 | 1152610.9998 | 2540795.0581 | 1152613.4754
8 | 2540802.918 | 1152641.7132 | 2540803.8083 | 1152636.2793 | 2540797.4346 | 1152624.9137 | 2540795.5844 | 1152617.0499 | 2540795.0581 | 1152613.4754
9 | 2540795.0581 | 1152613.4754 | 2540793.1056 | 1152614.6953 | 2540781.2735 | 1152624.128 | 2540775.4469 | 1152629.5448
10 | 2540762.7033 | 1152575.8961 | 2540774.3758 | 1152573.6244 | 2540785.5256 | 1152571.2577
11 | 2540802.918 | 1152641.7132 | 2540804.5156 | 1152642.6424 | 2540808.3361 | 1152644.8726 | 2540810.6153 | 1152646.4399 | 2540812.2455 | 1152647.5578
12 | 2540775.4469 | 1152629.5448 | 2540770.9396 | 1152633.735
13 | 2541301.9518 | 1152861.1488 | 2541311.0862 | 1152865.3841 | 2541323.9546 | 1152874.0298 | 2541315.2601 | 1152886.5547 | 2541304.7935 | 1152899.1192 | 2541294.7494 | 1152924.2864 | 2541294.1279 | 1152932.1411 | 2541291.1025 | 1152940.5641 | 2541286.2426 | 1152948.9271 | 2541283.6937 | 1152965.283 | 2541285.5646 | 1152976.1261 | 2541282.9219 | 1152989.1589 | 2541281.8937 | 1153001.7313 | 2541283.3823 | 1153010.3658 | 2541298.6848 | 1153034.9184 | 2541300.0286 | 1153040.5083 | 2541296.5128 | 1153052.1378 | 2541286.6243 | 1153075.1467 | 2541298.326 | 1153072.7978 | 2541305.3754 | 1153071.784 | 2541345.2247 | 1153076.7533 | 2541391.4413 | 1153090.232 | 2541435.8421 | 1153106.3745 | 2541440.1928 | 1153107.9552 | 2541435.0754 | 1153115.8871
14 | 2541435.0754 | 1153115.8871 | 2541441.2516 | 1153117.3944 | 2541447.37 | 1153121.2035
15 | 2541301.9518 | 1152861.1488 | 2541292.1739 | 1152856.2416 | 2541284.6527 | 1152847.4882 | 2541278.5728 | 1152835.4522 | 2541268.2632 | 1152826.3925 | 2541256.3854 | 1152820.9834 | 2541246.3834 | 1152814.3554 | 2541224.3472 | 1152787.7113
16 | 2541191.1906 | 1152752.7064 | 2541193.8524 | 1152746.3325 | 2541207.1419 | 1152725.8249 | 2541217.4773 | 1152715.5294 | 2541226.7868 | 1152704.6881 | 2541229.0838 | 1152695.5385 | 2541226.552 | 1152683.8236
17 | 2541191.1906 | 1152752.7064 | 2541222.8155 | 1152785.8594 | 2541224.3472 | 1152787.7113
18 | 2541226.552 | 1152683.8236 | 2541220.1703 | 1152682.5409 | 2541209.1939 | 1152677.5233 | 2541201.2804 | 1152673.4096 | 2541196.2284 | 1152667.9764
19 | 2540950.8191 | 1152700.0122 | 2540952.9698 | 1152701.0027 | 2540976.8253 | 1152710.9627 | 2541015.8892 | 1152729.4447 | 2541020.9107 | 1152732.0969 | 2541025.2421 | 1152734.7892 | 2541032.0364 | 1152741.3705 | 2541036.875 | 1152738.666 | 2541052.8888 | 1152735.4406 | 2541061.8166 | 1152731.084 | 2541070.0504 | 1152732.6486 | 2541097.1534 | 1152716.9746 | 2541118.7997 | 1152705.901 | 2541168.4737 | 1152673.2416 | 2541178.972 | 1152663.1223 | 2541177.365 | 1152658.8691 | 2541191.4781 | 1152651.1491 | 2541205.2268 | 1152662.643 | 2541221.9827 | 1152677.9763 | 2541226.552 | 1152683.8236
20 | 2540935.3554 | 1152748.2789 | 2540953.728 | 1152738.3264 | 2540962.426 | 1152731.6819 | 2540968.1548 | 1152730.5583 | 2540975.5632 | 1152734.0208 | 2540981.4823 | 1152738.2094 | 2540985.2279 | 1152741.4188 | 2540988.351 | 1152739.8539 | 2540984.0591 | 1152734.9267 | 2540978.6472 | 1152730.8221 | 2540965.7084 | 1152713.5288 | 2540950.6106 | 1152706.1175 | 2540952.9698 | 1152701.0027 | 2540950.8191 | 1152700.0122
21 | 2540871.2122 | 1152658.6502 | 2540881.6779 | 1152663.9834 | 2540894.9145 | 1152670.9459 | 2540918.644 | 1152683.6751 | 2540923.9654 | 1152686.3798 | 2540950.8191 | 1152700.0122
22 | 2540950.8191 | 1152700.0122 | 2540953.4348 | 1152694.439 | 2540958.718 | 1152680.7576 | 2540940.8724 | 1152663.9349 | 2540913.4351 | 1152654.7881
23 | 2540935.3554 | 1152748.2789 | 2540927.5445 | 1152746.3392
24 | 2540935.3554 | 1152748.2789 | 2540909.7856 | 1152752.0433 | 2540888.9376 | 1152751.7088
25 | 2540935.3554 | 1152748.2789 | 2540933.9402 | 1152754.1849 | 2540938.2335 | 1152758.4783 | 2540939.0945 | 1152763.3169 | 2540943.1501 | 1152767.6238 | 2540943.8163 | 1152772.9424 | 2540940.016 | 1152776.6595 | 2540943.1985 | 1152785.822 | 2540939.8437 | 1152791.1356
26 | 2540871.2122 | 1152658.6502 | 2540881.6779 | 1152663.9834 | 2540874.7418 | 1152707.753 | 2540870.9182 | 1152707.5349
27 | 2540832.7829 | 1152640.0183 | 2540848.127 | 1152645.9149 | 2540871.2122 | 1152658.6502
28 | 2540871.2122 | 1152658.6502 | 2540868.7817 | 1152632.3488 | 2540865.3454 | 1152625.4901 | 2540859.1333 | 1152623.7123
29 | 2540812.2455 | 1152647.5578 | 2540795.7439 | 1152670.903
30 | 2540812.2455 | 1152647.5578 | 2540816.2996 | 1152641.5702 | 2540823.4904 | 1152640.0653 | 2540830.1081 | 1152643.4798
31 | 2540785.2589 | 1152681.6864 | 2540792.9767 | 1152674.8178 | 2540795.7439 | 1152670.903
32 | 2540832.7829 | 1152640.0183 | 2540830.7598 | 1152642.6396 | 2540830.1081 | 1152643.4798
33 | 2540870.9182 | 1152707.5349 | 2540854.842 | 1152705.4474
34 | 2540870.9182 | 1152707.5349 | 2540866.7847 | 1152737.425 | 2540855.1368 | 1152736.3603
35 | 2540855.6072 | 1152812.5642 | 2540877.1241 | 1152813.3752 | 2540894.5667 | 1152813.4482 | 2540903.4608 | 1152812.7159 | 2540910.8543 | 1152811.5537 | 2540918.4122 | 1152809.1559 | 2540928.1801 | 1152803.6458 | 2540945.6417 | 1152790.8118 | 2540939.8437 | 1152791.1356
36 | 2540939.8437 | 1152791.1356 | 2540931.8277 | 1152791.4256 | 2540905.4772 | 1152796.1538 | 2540905.1936 | 1152793.0661 | 2540898.0044 | 1152793.9372 | 2540897.1578 | 1152786.2377
37 | 2540855.6072 | 1152812.5642 | 2540859.261 | 1152791.2904
38 | 2540896.7992 | 1152782.9765 | 2540897.1578 | 1152786.2377
39 | 2540854.842 | 1152705.4474 | 2540849.0798 | 1152704.6992
40 | 2540844.1655 | 1152735.3575 | 2540855.1368 | 1152736.3603
41 | 2540738.9663 | 1152703.3097 | 2540741.268 | 1152702.4866 | 2540761.8243 | 1152695.3357 | 2540779.9916 | 1152686.3741 | 2540785.2589 | 1152681.6864
42 | 2540740.502 | 1152715.8569 | 2540738.9663 | 1152703.3097
43 | 2540740.502 | 1152715.8569 | 2540770.2622 | 1152712.7861
44 | 2540740.502 | 1152715.8569 | 2540742.9634 | 1152739.0117 | 2540787.3336 | 1152736.4919
45 | 2540908.3482 | 1152781.4399 | 2540896.7992 | 1152782.9765
46 | 2540820.2428 | 1152708.2273 | 2540820.448 | 1152708.2541 | 2540830.4109 | 1152702.2751 | 2540849.0798 | 1152704.6992

## bus_geodata
| x | y | coords
0 | 2540690.5467 | 1152682.62
1 | 2540688.1938 | 1152690.5146
2 | 2540687.7426 | 1152659.5802
3 | 2540743.4777 | 1152693.1264
4 | 2540715.28 | 1152615.6628
5 | 2540762.0884 | 1152686.1528
6 | 2540717.571 | 1152633.0899
7 | 2540795.0581 | 1152613.4754
8 | 2540785.5256 | 1152571.2577
9 | 2540802.918 | 1152641.7132
10 | 2540775.4469 | 1152629.5448
11 | 2541435.0754 | 1153115.8871
12 | 2541301.9518 | 1152861.1488
13 | 2541447.37 | 1153121.2035
14 | 2541191.1906 | 1152752.7064
15 | 2541226.552 | 1152683.8236
16 | 2541224.3472 | 1152787.7113
17 | 2540950.8191 | 1152700.0122
18 | 2540935.3554 | 1152748.2789
19 | 2540871.2122 | 1152658.6502
20 | 2540913.4351 | 1152654.7881
21 | 2540812.2455 | 1152647.5578
22 | 2540795.7439 | 1152670.903
23 | 2540830.1081 | 1152643.4798
24 | 2540870.9182 | 1152707.5349
25 | 2540832.7829 | 1152640.0183
26 | 2540859.1333 | 1152623.7123
27 | 2540939.8437 | 1152791.1356
28 | 2540855.6072 | 1152812.5642
29 | 2540897.1578 | 1152786.2377
30 | 2540854.842 | 1152705.4474
31 | 2540855.1368 | 1152736.3603
32 | 2540927.5445 | 1152746.3392
33 | 2540888.9376 | 1152751.7088
34 | 2540762.7033 | 1152575.8961
35 | 2541196.2284 | 1152667.9764
36 | 2540859.261 | 1152791.2904
37 | 2540738.9663 | 1152703.3097
38 | 2540785.2589 | 1152681.6864
39 | 2540740.502 | 1152715.8569
40 | 2540770.9396 | 1152633.735
41 | 2540896.7992 | 1152782.9765
42 | 2540849.0798 | 1152704.6992
43 | 2540844.1655 | 1152735.3575
44 | 2540770.2622 | 1152712.7861
45 | 2540787.3336 | 1152736.4919
46 | 2540820.2428 | 1152708.2273
47 | 2540908.3482 | 1152781.4399
48 | 2540881.6779 | 1152663.9834

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1