## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5591-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5591-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5591-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5591-18_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5591-18_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5591-18_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5591-18_0_4_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_5591-18_0_4_node_105 | 0.4 | n |  | TRUE
8 | bus_LV_5591-18_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5591-18_0_4_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_5591-18_0_4_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_5591-18_0_4_node_107 | 0.4 | n |  | TRUE
12 | bus_LV_5591-18_0_4_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_5591-18_0_4_node_106 | 0.4 | n |  | TRUE
14 | bus_LV_5591-18_0_4_node_104 | 0.4 | n |  | TRUE
15 | bus_LV_5591-18_0_4_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_5591-18_0_4_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_5591-18_0_4_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_5591-18_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5591-18_0_4_node_102 | 0.4 | n |  | TRUE
20 | bus_LV_5591-18_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_5591-18_0_4_node_112 | 0.4 | n |  | TRUE
22 | bus_LV_5591-18_0_4_node_101 | 0.4 | n |  | TRUE
23 | bus_LV_5591-18_0_4_node_111 | 0.4 | n |  | TRUE
24 | bus_LV_5591-18_0_4_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_5591-18_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_5591-18_0_4_node_103 | 0.4 | n |  | TRUE
27 | bus_LV_5591-18_0_4_node_94 | 0.4 | n |  | TRUE
28 | bus_LV_5591-18_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5591-18_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5591-18_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5591-18_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5591-18_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5591-18_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5591-18_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5591-18_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5591-18_0_4_node_81 | 0.4 | n |  | TRUE
37 | bus_LV_5591-18_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_5591-18_0_4_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_5591-18_0_4_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_5591-18_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_5591-18_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5591-18_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5591-18_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5591-18_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_5591-18_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5591-18_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5591-18_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_5591-18_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5591-18_0_4_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_5591-18_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_5591-18_0_4_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_5591-18_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_5591-18_0_4_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_5591-18_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_5591-18_0_4_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_5591-18_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5591-18_0_4_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_5591-18_0_4_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_5591-18_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_5591-18_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_5591-18_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5591-18_0_4_node_96 | 0.4 | n |  | TRUE
63 | bus_LV_5591-18_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_5591-18_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_5591-18_0_4_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_5591-18_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_5591-18_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_5591-18_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_5591-18_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_5591-18_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_5591-18_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_5591-18_0_4_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_5591-18_0_4_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_5591-18_0_4_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_5591-18_0_4_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_5591-18_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_5591-18_0_4_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_5591-18_0_4_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_5591-18_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_5591-18_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_5591-18_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5591-18_0_4_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_5591-18_0_4_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_5591-18_0_4_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_5591-18_0_4_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_5591-18_0_4_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_5591-18_0_4_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_5591-18_0_4_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_5591-18_0_4_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_5591-18_0_4_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_5591-18_0_4_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_5591-18_0_4_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_5591-18_0_4_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_5591-18_0_4_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_5591-18_0_4_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_5591-18_0_4_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_5591-18_0_4_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_5591-18_0_4_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_5591-18_0_4_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_5591-18_0_4_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_5591-18_0_4_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_5591-18_0_4_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_5591-18_0_4_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_5591-18_0_4_node_108 | 0.4 | n |  | TRUE
105 | bus_LV_5591-18_0_4_node_109 | 0.4 | n |  | TRUE
106 | bus_MV_624_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5591-18_0_4_load_0 | 0 | 0.013991 | 0.0035064 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5591-18_0_4_load_3 | 3 | 0.011306 | 0.0028336 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5591-18_0_4_load_4 | 4 | 0.0033765 | 0.00084624 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5591-18_0_4_load_42 | 6 | 0.022298 | 0.0055884 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5591-18_0_4_load_61 | 9 | 0.0060332 | 0.0015121 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5591-18_0_4_load_59 | 10 | 0.0048988 | 0.0012277 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5591-18_0_4_load_107 | 11 | 0.0069494 | 0.0017417 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5591-18_0_4_load_106 | 13 | 0.0067484 | 0.0016913 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5591-18_0_4_load_104 | 14 | 0.019917 | 0.0049917 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5591-18_0_4_load_7 | 17 | 0.0032102 | 0.00080455 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5591-18_0_4_load_102 | 19 | 0.0048985 | 0.0012277 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5591-18_0_4_load_112 | 21 | 0.0033916 | 0.00085001 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5591-18_0_4_load_101 | 22 | 0.0030195 | 0.00075675 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5591-18_0_4_load_111 | 23 | 0.0032641 | 0.00081806 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5591-18_0_4_load_10 | 24 | 0.0026896 | 0.00067408 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5591-18_0_4_load_11 | 25 | 0.0036849 | 0.00092352 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5591-18_0_4_load_103 | 26 | 0.0017025 | 0.00042668 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5591-18_0_4_load_94 | 27 | 0.0024862 | 0.00062309 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5591-18_0_4_load_14 | 28 | 0.0060347 | 0.0015124 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5591-18_0_4_load_15 | 29 | 0.0060363 | 0.0015128 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5591-18_0_4_load_17 | 31 | 0.0078784 | 0.0019745 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5591-18_0_4_load_18 | 32 | 0.0047071 | 0.0011797 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5591-18_0_4_load_19 | 33 | 0.004788 | 0.0012 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5591-18_0_4_load_22 | 35 | 0.0060393 | 0.0015136 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5591-18_0_4_load_81 | 36 | 0.0020212 | 0.00050657 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5591-18_0_4_load_69 | 38 | 0.0036389 | 0.00091198 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5591-18_0_4_load_24 | 40 | 0.0020101 | 0.00050377 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5591-18_0_4_load_25 | 41 | 0.0048255 | 0.0012094 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5591-18_0_4_load_26 | 42 | 0.0048267 | 0.0012097 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5591-18_0_4_load_27 | 43 | 0.00092982 | 0.00023303 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5591-18_0_4_load_28 | 44 | 0.0021033 | 0.00052714 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5591-18_0_4_load_29 | 45 | 0.0030844 | 0.00077302 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5591-18_0_4_load_30 | 47 | 0.0032295 | 0.00080938 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5591-18_0_4_load_73 | 49 | 0.0032718 | 0.00081999 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5591-18_0_4_load_31 | 50 | 0.003171 | 0.00079473 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5591-18_0_4_load_60 | 51 | 0.0019753 | 0.00049506 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5591-18_0_4_load_72 | 53 | 0.0016141 | 0.00040453 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5591-18_0_4_load_33 | 54 | 0.0013847 | 0.00034704 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5591-18_0_4_load_34 | 55 | 0.0021761 | 0.00054538 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5591-18_0_4_load_36 | 56 | 0.0023511 | 0.00058925 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5591-18_0_4_load_63 | 57 | 0.0020687 | 0.00051847 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5591-18_0_4_load_64 | 58 | 0.0022126 | 0.00055453 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5591-18_0_4_load_38 | 59 | 0.021242 | 0.0053238 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5591-18_0_4_load_58 | 61 | 0.005573 | 0.0013967 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5591-18_0_4_load_43 | 63 | 0.018561 | 0.0046518 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5591-18_0_4_load_51 | 64 | 0.0084926 | 0.0021284 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5591-18_0_4_load_95 | 65 | 0.0042219 | 0.0010581 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5591-18_0_4_load_44 | 66 | 0.0072079 | 0.0018065 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5591-18_0_4_load_45 | 67 | 0.0037106 | 0.00092996 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5591-18_0_4_load_46 | 68 | 0.0029708 | 0.00074454 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5591-18_0_4_load_48 | 69 | 0.0047212 | 0.0011832 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5591-18_0_4_load_62 | 70 | 0.0047397 | 0.0011879 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5591-18_0_4_load_66 | 71 | 0.004176 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5591-18_0_4_load_49 | 72 | 0.0082993 | 0.00208 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5591-18_0_4_load_50 | 73 | 0.0053188 | 0.001333 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5591-18_0_4_load_56 | 75 | 0.0064534 | 0.0016174 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5591-18_0_4_load_54 | 76 | 0.008594 | 0.0021539 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5591-18_0_4_load_80 | 77 | 0.0052929 | 0.0013265 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5591-18_0_4_load_57 | 79 | 0.0035307 | 0.00088487 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5591-18_0_4_load_89 | 80 | 0.011656 | 0.0029212 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5591-18_0_4_load_78 | 81 | 0.0041431 | 0.0010384 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5591-18_0_4_load_91 | 82 | 0.005505 | 0.0013797 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5591-18_0_4_load_87 | 83 | 0.0060849 | 0.001525 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5591-18_0_4_load_65 | 84 | 0.0019802 | 0.00049629 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5591-18_0_4_load_67 | 85 | 0.0020717 | 0.00051922 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5591-18_0_4_load_71 | 86 | 0.0031096 | 0.00077935 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5591-18_0_4_load_85 | 87 | 0.0033954 | 0.00085097 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5591-18_0_4_load_86 | 88 | 0.0033131 | 0.00083033 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5591-18_0_4_load_75 | 89 | 0.0045676 | 0.0011447 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5591-18_0_4_load_76 | 90 | 0.003426 | 0.00085863 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5591-18_0_4_load_77 | 91 | 0.0043767 | 0.0010969 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5591-18_0_4_load_79 | 92 | 0.0033342 | 0.00083564 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5591-18_0_4_load_83 | 93 | 0.0031489 | 0.00078918 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5591-18_0_4_load_84 | 94 | 0.0034853 | 0.0008735 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5591-18_0_4_load_82 | 95 | 0.0033666 | 0.00084375 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5591-18_0_4_load_88 | 96 | 0.0036028 | 0.00090295 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5591-18_0_4_load_90 | 97 | 0.0044278 | 0.0011097 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5591-18_0_4_load_92 | 98 | 0.0034345 | 0.00086076 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5591-18_0_4_load_98 | 99 | 0.0046641 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5591-18_0_4_load_93 | 100 | 0.0029916 | 0.00074977 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5591-18_0_4_load_99 | 101 | 0.0030896 | 0.00077432 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5591-18_0_4_load_97 | 102 | 0.0080602 | 0.0020201 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5591-18_0_4_load_100 | 103 | 0.0025368 | 0.00063577 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5591-18_0_4_load_108 | 104 | 0.030577 | 0.0076634 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5591-18_0_4_load_109 | 105 | 0.029665 | 0.0074348 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5591-18_0_4_line_0 |  | 0 | 1 | 0.038544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5591-18_0_4_line_1 |  | 0 | 2 | 0.04953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5591-18_0_4_line_2 |  | 1 | 3 | 0.030014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5591-18_0_4_line_3 |  | 1 | 4 | 0.016806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5591-18_0_4_line_4 |  | 2 | 5 | 0.004865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5591-18_0_4_line_5 |  | 3 | 6 | 0.047096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5591-18_0_4_line_6 |  | 4 | 7 | 0.021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5591-18_0_4_line_7 |  | 5 | 11 | 0.027589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5591-18_0_4_line_8 |  | 5 | 9 | 0.010412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5591-18_0_4_line_9 |  | 6 | 12 | 0.033483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5591-18_0_4_line_10 |  | 7 | 13 | 0.0069312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5591-18_0_4_line_11 |  | 7 | 14 | 0.04416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5591-18_0_4_line_12 |  | 8 | 9 | 0.026561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5591-18_0_4_line_13 |  | 8 | 10 | 0.00092265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5591-18_0_4_line_14 |  | 10 | 15 | 0.026708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5591-18_0_4_line_15 |  | 11 | 16 | 0.024576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5591-18_0_4_line_16 |  | 12 | 59 | 0.012346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5591-18_0_4_line_17 |  | 13 | 104 | 0.066157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5591-18_0_4_line_18 |  | 14 | 63 | 0.050375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5591-18_0_4_line_19 |  | 15 | 51 | 0.048482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5591-18_0_4_line_20 |  | 15 | 67 | 0.010606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5591-18_0_4_line_21 |  | 16 | 64 | 0.014844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5591-18_0_4_line_22 |  | 16 | 60 | 0.043754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5591-18_0_4_line_23 |  | 17 | 18 | 0.015942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5591-18_0_4_line_24 |  | 17 | 19 | 0.050304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5591-18_0_4_line_25 |  | 18 | 20 | 0.016876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5591-18_0_4_line_26 |  | 19 | 21 | 0.05097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5591-18_0_4_line_27 |  | 19 | 22 | 0.025483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5591-18_0_4_line_28 |  | 20 | 23 | 0.015722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5591-18_0_4_line_29 |  | 22 | 103 | 0.020731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5591-18_0_4_line_30 |  | 23 | 24 | 0.046012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5591-18_0_4_line_31 |  | 24 | 25 | 0.025637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5591-18_0_4_line_32 |  | 26 | 27 | 0.00084341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5591-18_0_4_line_33 |  | 27 | 100 | 0.0025548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5591-18_0_4_line_34 |  | 28 | 29 | 0.030378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5591-18_0_4_line_35 |  | 28 | 30 | 0.0019194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5591-18_0_4_line_36 |  | 29 | 31 | 0.028862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5591-18_0_4_line_37 |  | 30 | 32 | 0.022442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5591-18_0_4_line_38 |  | 30 | 33 | 0.037079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5591-18_0_4_line_39 |  | 31 | 34 | 0.027591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5591-18_0_4_line_40 |  | 32 | 35 | 0.006376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5591-18_0_4_line_41 |  | 33 | 36 | 0.00054545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5591-18_0_4_line_42 |  | 34 | 37 | 0.015071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5591-18_0_4_line_43 |  | 37 | 38 | 0.040007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5591-18_0_4_line_44 |  | 38 | 39 | 0.003988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5591-18_0_4_line_45 |  | 39 | 86 | 0.012627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5591-18_0_4_line_46 |  | 39 | 71 | 0.027678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5591-18_0_4_line_47 |  | 40 | 41 | 0.0050162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5591-18_0_4_line_48 |  | 40 | 42 | 0.0193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5591-18_0_4_line_49 |  | 41 | 43 | 0.0027334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5591-18_0_4_line_50 |  | 42 | 44 | 0.013649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5591-18_0_4_line_51 |  | 43 | 45 | 0.012197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5591-18_0_4_line_52 |  | 44 | 46 | 0.025644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5591-18_0_4_line_53 |  | 45 | 47 | 0.0090141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5591-18_0_4_line_54 |  | 46 | 48 | 0.026191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5591-18_0_4_line_55 |  | 46 | 49 | 0.0065883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5591-18_0_4_line_56 |  | 47 | 50 | 0.012486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5591-18_0_4_line_57 |  | 48 | 51 | 0.025219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5591-18_0_4_line_58 |  | 48 | 52 | 0.033875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5591-18_0_4_line_59 |  | 49 | 53 | 0.016517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5591-18_0_4_line_60 |  | 52 | 54 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5591-18_0_4_line_61 |  | 54 | 55 | 0.00059541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5591-18_0_4_line_62 |  | 55 | 56 | 0.012062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5591-18_0_4_line_63 |  | 56 | 57 | 0.0078629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5591-18_0_4_line_64 |  | 57 | 58 | 0.021119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5591-18_0_4_line_65 |  | 58 | 84 | 0.0038959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5591-18_0_4_line_66 |  | 60 | 61 | 0.017436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5591-18_0_4_line_67 |  | 60 | 62 | 0.083958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5591-18_0_4_line_68 |  | 62 | 65 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5591-18_0_4_line_69 |  | 64 | 72 | 0.027419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_5591-18_0_4_line_70 |  | 65 | 102 | 0.041714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5591-18_0_4_line_71 |  | 66 | 67 | 0.013128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5591-18_0_4_line_72 |  | 66 | 68 | 0.024529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5591-18_0_4_line_73 |  | 68 | 69 | 0.021046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5591-18_0_4_line_74 |  | 69 | 70 | 0.0053304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5591-18_0_4_line_75 |  | 70 | 71 | 0.018176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5591-18_0_4_line_76 |  | 72 | 73 | 0.018966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5591-18_0_4_line_77 |  | 73 | 74 | 0.011896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5591-18_0_4_line_78 |  | 74 | 75 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5591-18_0_4_line_79 |  | 74 | 76 | 0.032477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5591-18_0_4_line_80 |  | 75 | 77 | 0.013996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5591-18_0_4_line_81 |  | 76 | 78 | 0.018817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5591-18_0_4_line_82 |  | 77 | 81 | 0.0055607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5591-18_0_4_line_83 |  | 78 | 79 | 0.015134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5591-18_0_4_line_84 |  | 79 | 80 | 0.032548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5591-18_0_4_line_85 |  | 80 | 82 | 0.014603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5591-18_0_4_line_86 |  | 80 | 83 | 0.039513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5591-18_0_4_line_87 |  | 81 | 90 | 0.022528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5591-18_0_4_line_88 |  | 82 | 99 | 0.023187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5591-18_0_4_line_89 |  | 83 | 96 | 0.0034138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5591-18_0_4_line_90 |  | 84 | 85 | 0.031028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5591-18_0_4_line_91 |  | 86 | 87 | 0.016638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5591-18_0_4_line_92 |  | 87 | 88 | 0.014211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5591-18_0_4_line_93 |  | 89 | 90 | 0.003181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5591-18_0_4_line_94 |  | 89 | 91 | 0.00052682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5591-18_0_4_line_95 |  | 91 | 92 | 0.020667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5591-18_0_4_line_96 |  | 92 | 93 | 0.0024719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5591-18_0_4_line_97 |  | 93 | 94 | 0.010391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5591-18_0_4_line_98 |  | 94 | 95 | 0.000654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5591-18_0_4_line_99 |  | 96 | 97 | 0.022258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5591-18_0_4_line_100 |  | 97 | 98 | 0.0062758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5591-18_0_4_line_101 |  | 98 | 100 | 0.026561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5591-18_0_4_line_102 |  | 99 | 101 | 0.0020043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5591-18_0_4_line_103 |  | 101 | 103 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5591-18_0_4_line_104 |  | 104 | 105 | 0.056818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5591-18_0_4_trafo_61 | 0.63 MVA 20/0.4 kV | 106 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2535080.1957 | 1154748.2499 | 2535059.083 | 1154726.8218 | 2535058.0027 | 1154718.4289
1 | 2535081.287 | 1154677.4549 | 2535083.1294 | 1154684.6723 | 2535058.0027 | 1154718.4289
2 | 2535080.1957 | 1154748.2499 | 2535097.9997 | 1154724.0863
3 | 2535080.1957 | 1154748.2499 | 2535092.3916 | 1154759.8128
4 | 2535079.5961 | 1154672.8929 | 2535081.287 | 1154677.4549
5 | 2535125.936 | 1154686.1711 | 2535097.9997 | 1154724.0863
6 | 2535108.1133 | 1154774.7185 | 2535092.3916 | 1154759.8128
7 | 2535079.5961 | 1154672.8929 | 2535085.7156 | 1154670.5588 | 2535098.7345 | 1154662.1025 | 2535102.1753 | 1154657.7919
8 | 2535079.5961 | 1154672.8929 | 2535069.9107 | 1154676.7136
9 | 2535145.7975 | 1154659.2151 | 2535125.936 | 1154686.1711
10 | 2535108.1133 | 1154774.7185 | 2535113.0587 | 1154779.5749
11 | 2535108.1133 | 1154774.7185 | 2535132.6683 | 1154738.0154
12 | 2535045.474 | 1154687.0693 | 2535052.4175 | 1154683.6146 | 2535069.9107 | 1154676.7136
13 | 2535044.6464 | 1154687.4772 | 2535045.474 | 1154687.0693
14 | 2535021.2292 | 1154700.2163 | 2535027.9465 | 1154695.7079 | 2535044.6464 | 1154687.4772
15 | 2535115.3414 | 1154637.1095 | 2535106.6742 | 1154652.1557 | 2535102.1753 | 1154657.7919
16 | 2535145.7975 | 1154659.2151 | 2535153.122 | 1154649.2761
17 | 2535113.0587 | 1154779.5749 | 2535134.7307 | 1154800.8566 | 2535154.3357 | 1154770.9219
18 | 2535160.6792 | 1154696.1466 | 2535132.6683 | 1154738.0154
19 | 2535021.2292 | 1154700.2163 | 2535021.159 | 1154705.0753 | 2535020.9173 | 1154712.5154 | 2535013.5525 | 1154747.9366
20 | 2535021.2292 | 1154700.2163 | 2535013.6313 | 1154692.8167
21 | 2535115.3414 | 1154637.1095 | 2535101.7556 | 1154631.129
22 | 2535115.3414 | 1154637.1095 | 2535117.1589 | 1154634.2105 | 2535127.4133 | 1154613.4106 | 2535132.4186 | 1154603.0843 | 2535134.9414 | 1154598.0098
23 | 2535034.0033 | 1154426.5393 | 2535039.1501 | 1154429.2963 | 2535034.3832 | 1154438.2043
24 | 2535082.5658 | 1154452.6568 | 2535034.3832 | 1154438.2043
25 | 2535034.0033 | 1154426.5393 | 2535019.0953 | 1154418.5516
26 | 2535082.5658 | 1154452.6568 | 2535123.2903 | 1154422.0058
27 | 2535082.5658 | 1154452.6568 | 2535070.1432 | 1154474.9072
28 | 2535012.0052 | 1154432.5916 | 2535019.0953 | 1154418.5516
29 | 2535060.0374 | 1154493.008 | 2535070.1432 | 1154474.9072
30 | 2534989.7369 | 1154472.8562 | 2535012.0052 | 1154432.5916
31 | 2534989.7369 | 1154472.8562 | 2535012.2246 | 1154485.1666
32 | 2534944.0805 | 1154492.8305 | 2534944.7976 | 1154493.2745
33 | 2534946.9697 | 1154494.6194 | 2534944.7976 | 1154493.2745
34 | 2534893.2692 | 1154560.0715 | 2534879.9172 | 1154587.3583
35 | 2534894.1128 | 1154558.3475 | 2534893.2692 | 1154560.0715
36 | 2534868.1255 | 1154613.6838 | 2534873.6537 | 1154600.1587 | 2534879.9172 | 1154587.3583
37 | 2534894.1128 | 1154558.3475 | 2534903.3562 | 1154537.8969
38 | 2534894.1128 | 1154558.3475 | 2534927.8056 | 1154573.829
39 | 2534855.1848 | 1154638.0018 | 2534863.9303 | 1154623.1545 | 2534867.2866 | 1154615.7363 | 2534868.1255 | 1154613.6838
40 | 2534905.9822 | 1154532.0868 | 2534903.3562 | 1154537.8969
41 | 2534928.3012 | 1154574.0567 | 2534927.8056 | 1154573.829
42 | 2534855.1848 | 1154638.0018 | 2534868.2243 | 1154645.6203
43 | 2534868.2243 | 1154645.6203 | 2534873.4894 | 1154648.6871 | 2534906.5863 | 1154656.0874
44 | 2534910.4782 | 1154656.9576 | 2534906.5863 | 1154656.0874
45 | 2534910.4782 | 1154656.9576 | 2534915.5212 | 1154645.3811
46 | 2534910.4782 | 1154656.9576 | 2534937.7263 | 1154661.8161
47 | 2535063.5476 | 1154808.6231 | 2535060.1631 | 1154804.9208
48 | 2535047.1413 | 1154790.6762 | 2535060.1631 | 1154804.9208
49 | 2535063.5476 | 1154808.6231 | 2535065.3919 | 1154810.6406
50 | 2535047.1413 | 1154790.6762 | 2535037.932 | 1154780.6021 | 2535037.932 | 1154780.6021
51 | 2535065.3919 | 1154810.6406 | 2535073.6215 | 1154819.643
52 | 2535019.0957 | 1154798.0042 | 2535037.932 | 1154780.6021
53 | 2535079.7035 | 1154826.2961 | 2535073.6215 | 1154819.643
54 | 2535019.0957 | 1154798.0042 | 2535015.6992 | 1154790.37 | 2535011.3925 | 1154773.0626
55 | 2535019.0957 | 1154798.0042 | 2535021.7783 | 1154804.0216
56 | 2535088.1282 | 1154835.5119 | 2535079.7035 | 1154826.2961
57 | 2535011.3925 | 1154773.0626 | 2535013.5525 | 1154747.9366
58 | 2535011.3925 | 1154773.0626 | 2534998.856 | 1154777.8564 | 2534980.8434 | 1154787.7122
59 | 2535028.9652 | 1154818.8897 | 2535023.7814 | 1154808.5148 | 2535021.7783 | 1154804.0216
60 | 2534980.8434 | 1154787.7122 | 2534966.7064 | 1154777.4554
61 | 2534966.7064 | 1154777.4554 | 2534966.2244 | 1154777.1057
62 | 2534966.2244 | 1154777.1057 | 2534956.4611 | 1154770.0222
63 | 2534950.0968 | 1154765.4047 | 2534956.4611 | 1154770.0222
64 | 2534950.0968 | 1154765.4047 | 2534933.0032 | 1154753.0028
65 | 2534933.0032 | 1154753.0028 | 2534929.8498 | 1154750.7149
66 | 2535134.9414 | 1154598.0098 | 2535129.366 | 1154595.3241 | 2535119.3065 | 1154590.2933
67 | 2535134.9414 | 1154598.0098 | 2535164.6082 | 1154535.6 | 2535172.9908 | 1154523.2917
68 | 2535172.9908 | 1154523.2917 | 2535152.5537 | 1154512.9427
69 | 2535076.6608 | 1154620.0824 | 2535101.7556 | 1154631.129
70 | 2535115.3387 | 1154494.0978 | 2535152.5537 | 1154512.9427
71 | 2535001.6811 | 1154687.3809 | 2535013.6313 | 1154692.8167
72 | 2535001.6811 | 1154687.3809 | 2534979.353 | 1154677.2245
73 | 2534979.353 | 1154677.2245 | 2534970.8758 | 1154673.3684 | 2534959.9943 | 1154668.9797
74 | 2534959.9943 | 1154668.9797 | 2534955.0508 | 1154666.9859
75 | 2534955.0508 | 1154666.9859 | 2534945.8038 | 1154663.2564 | 2534937.7263 | 1154661.8161
76 | 2535076.6608 | 1154620.0824 | 2535071.7602 | 1154617.9251 | 2535059.049 | 1154613.0568
77 | 2535047.759 | 1154611.77 | 2535052.5637 | 1154610.573 | 2535059.049 | 1154613.0568
78 | 2535047.759 | 1154611.77 | 2535037.5119 | 1154614.6757
79 | 2535047.759 | 1154611.77 | 2535059.8408 | 1154589.7162 | 2535063.5752 | 1154583.4079
80 | 2535037.5119 | 1154614.6757 | 2535024.0467 | 1154618.4939
81 | 2535073.1607 | 1154567.2156 | 2535063.5752 | 1154583.4079
82 | 2535024.0467 | 1154618.4939 | 2535018.6969 | 1154620.0109 | 2535018.6969 | 1154620.0109
83 | 2535073.1607 | 1154567.2156 | 2535059.6249 | 1154560.4458
84 | 2535030.5146 | 1154545.8869 | 2535059.6249 | 1154560.4458
85 | 2535030.5146 | 1154545.8869 | 2535037.6334 | 1154533.1364
86 | 2535030.5146 | 1154545.8869 | 2534996.786 | 1154525.3038
87 | 2535018.6969 | 1154620.0109 | 2535006.1866 | 1154613.7872 | 2534998.611 | 1154609.8117
88 | 2535048.9364 | 1154512.8912 | 2535037.6334 | 1154533.1364
89 | 2534996.786 | 1154525.3038 | 2534993.872 | 1154523.5255
90 | 2534929.8498 | 1154750.7149 | 2534904.7358 | 1154732.494
91 | 2534920.9403 | 1154629.6827 | 2534918.0008 | 1154639.6889 | 2534915.5212 | 1154645.3811
92 | 2534924.2174 | 1154615.8752 | 2534922.9578 | 1154622.8149 | 2534920.9403 | 1154629.6827
93 | 2534995.7943 | 1154608.3336 | 2534998.611 | 1154609.8117
94 | 2534995.7943 | 1154608.3336 | 2534995.3278 | 1154608.0888
95 | 2534977.0274 | 1154598.4854 | 2534995.3278 | 1154608.0888
96 | 2534974.8385 | 1154597.3367 | 2534977.0274 | 1154598.4854
97 | 2534974.8385 | 1154597.3367 | 2534965.6378 | 1154592.5085
98 | 2534965.6378 | 1154592.5085 | 2534965.0587 | 1154592.2046
99 | 2534993.872 | 1154523.5255 | 2534978.7122 | 1154514.2742 | 2534974.8877 | 1154511.906
100 | 2534969.552 | 1154508.6022 | 2534974.8877 | 1154511.906
101 | 2534969.552 | 1154508.6022 | 2534946.9697 | 1154494.6194
102 | 2535048.9364 | 1154512.8912 | 2535049.9135 | 1154511.1412
103 | 2535049.9135 | 1154511.1412 | 2535060.0374 | 1154493.008
104 | 2535154.3357 | 1154770.9219 | 2535185.4652 | 1154723.3903

## bus_geodata
| x | y | coords
0 | 2535058.0027 | 1154718.4289
1 | 2535080.1957 | 1154748.2499
2 | 2535081.287 | 1154677.4549
3 | 2535097.9997 | 1154724.0863
4 | 2535092.3916 | 1154759.8128
5 | 2535079.5961 | 1154672.8929
6 | 2535125.936 | 1154686.1711
7 | 2535108.1133 | 1154774.7185
8 | 2535045.474 | 1154687.0693
9 | 2535069.9107 | 1154676.7136
10 | 2535044.6464 | 1154687.4772
11 | 2535102.1753 | 1154657.7919
12 | 2535145.7975 | 1154659.2151
13 | 2535113.0587 | 1154779.5749
14 | 2535132.6683 | 1154738.0154
15 | 2535021.2292 | 1154700.2163
16 | 2535115.3414 | 1154637.1095
17 | 2535034.3832 | 1154438.2043
18 | 2535034.0033 | 1154426.5393
19 | 2535082.5658 | 1154452.6568
20 | 2535019.0953 | 1154418.5516
21 | 2535123.2903 | 1154422.0058
22 | 2535070.1432 | 1154474.9072
23 | 2535012.0052 | 1154432.5916
24 | 2534989.7369 | 1154472.8562
25 | 2535012.2246 | 1154485.1666
26 | 2534944.0805 | 1154492.8305
27 | 2534944.7976 | 1154493.2745
28 | 2534893.2692 | 1154560.0715
29 | 2534879.9172 | 1154587.3583
30 | 2534894.1128 | 1154558.3475
31 | 2534868.1255 | 1154613.6838
32 | 2534903.3562 | 1154537.8969
33 | 2534927.8056 | 1154573.829
34 | 2534855.1848 | 1154638.0018
35 | 2534905.9822 | 1154532.0868
36 | 2534928.3012 | 1154574.0567
37 | 2534868.2243 | 1154645.6203
38 | 2534906.5863 | 1154656.0874
39 | 2534910.4782 | 1154656.9576
40 | 2535060.1631 | 1154804.9208
41 | 2535063.5476 | 1154808.6231
42 | 2535047.1413 | 1154790.6762
43 | 2535065.3919 | 1154810.6406
44 | 2535037.932 | 1154780.6021
45 | 2535073.6215 | 1154819.643
46 | 2535019.0957 | 1154798.0042
47 | 2535079.7035 | 1154826.2961
48 | 2535011.3925 | 1154773.0627
49 | 2535021.7783 | 1154804.0216
50 | 2535088.1282 | 1154835.5119
51 | 2535013.5525 | 1154747.9366
52 | 2534980.8434 | 1154787.7122
53 | 2535028.9652 | 1154818.8897
54 | 2534966.7064 | 1154777.4554
55 | 2534966.2244 | 1154777.1057
56 | 2534956.4611 | 1154770.0222
57 | 2534950.0968 | 1154765.4047
58 | 2534933.0032 | 1154753.0028
59 | 2535153.122 | 1154649.2761
60 | 2535134.9414 | 1154598.0098
61 | 2535119.3065 | 1154590.2933
62 | 2535172.9908 | 1154523.2917
63 | 2535160.6792 | 1154696.1466
64 | 2535101.7556 | 1154631.129
65 | 2535152.5537 | 1154512.9427
66 | 2535001.6811 | 1154687.3809
67 | 2535013.6313 | 1154692.8167
68 | 2534979.353 | 1154677.2245
69 | 2534959.9943 | 1154668.9797
70 | 2534955.0508 | 1154666.9859
71 | 2534937.7263 | 1154661.8161
72 | 2535076.6608 | 1154620.0824
73 | 2535059.049 | 1154613.0568
74 | 2535047.759 | 1154611.77
75 | 2535037.5119 | 1154614.6756
76 | 2535063.5752 | 1154583.4079
77 | 2535024.0467 | 1154618.4939
78 | 2535073.1607 | 1154567.2156
79 | 2535059.6249 | 1154560.4458
80 | 2535030.5146 | 1154545.8869
81 | 2535018.6969 | 1154620.0109
82 | 2535037.6334 | 1154533.1364
83 | 2534996.786 | 1154525.3038
84 | 2534929.8498 | 1154750.7149
85 | 2534904.7358 | 1154732.494
86 | 2534915.5212 | 1154645.3811
87 | 2534920.9403 | 1154629.6827
88 | 2534924.2174 | 1154615.8752
89 | 2534995.7943 | 1154608.3336
90 | 2534998.611 | 1154609.8117
91 | 2534995.3278 | 1154608.0888
92 | 2534977.0274 | 1154598.4854
93 | 2534974.8385 | 1154597.3367
94 | 2534965.6378 | 1154592.5085
95 | 2534965.0587 | 1154592.2046
96 | 2534993.872 | 1154523.5255
97 | 2534974.8877 | 1154511.906
98 | 2534969.552 | 1154508.6022
99 | 2535048.9364 | 1154512.8912
100 | 2534946.9697 | 1154494.6194
101 | 2535049.9135 | 1154511.1412
102 | 2535115.3387 | 1154494.0978
103 | 2535060.0374 | 1154493.008
104 | 2535154.3357 | 1154770.9219
105 | 2535185.4652 | 1154723.3903
106 | 2535079.5961 | 1154672.8929

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1