## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5591-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5591-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5591-19_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5591-19_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5591-19_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5591-19_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_5591-19_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5591-19_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5591-19_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5591-19_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5591-19_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5591-19_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5591-19_0_4_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_5591-19_0_4_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_5591-19_0_4_node_71 | 0.4 | n |  | TRUE
15 | bus_LV_5591-19_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5591-19_0_4_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_5591-19_0_4_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_5591-19_0_4_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_5591-19_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_5591-19_0_4_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_5591-19_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5591-19_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5591-19_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5591-19_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5591-19_0_4_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_5591-19_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_5591-19_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_5591-19_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_5591-19_0_4_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_5591-19_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_5591-19_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5591-19_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5591-19_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5591-19_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5591-19_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5591-19_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5591-19_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5591-19_0_4_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_5591-19_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5591-19_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5591-19_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_5591-19_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_5591-19_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5591-19_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_5591-19_0_4_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_5591-19_0_4_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_5591-19_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5591-19_0_4_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_5591-19_0_4_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_5591-19_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_5591-19_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_5591-19_0_4_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_5591-19_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_5591-19_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_5591-19_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_5591-19_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_5591-19_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_5591-19_0_4_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_5591-19_0_4_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_5591-19_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_5591-19_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5591-19_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_5591-19_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_5591-19_0_4_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_5591-19_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_5591-19_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_5591-19_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5591-19_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5591-19_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_5591-19_0_4_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_5591-19_0_4_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_5591-19_0_4_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_5591-19_0_4_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_5591-19_0_4_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_5591-19_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_5591-19_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_5591-19_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5591-19_0_4_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_5591-19_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_MV_624_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5591-19_0_4_load_0 | 0 | 0.0038333 | 0.00096071 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5591-19_0_4_load_5 | 3 | 0.0031954 | 0.00080083 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5591-19_0_4_load_3 | 4 | 0.0047065 | 0.0011796 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5591-19_0_4_load_9 | 5 | 0.0045728 | 0.0011461 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5591-19_0_4_load_4 | 6 | 0.0031943 | 0.00080056 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5591-19_0_4_load_7 | 7 | 0.0136 | 0.0034085 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5591-19_0_4_load_6 | 8 | 0.0099907 | 0.0025039 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5591-19_0_4_load_10 | 10 | 0.0065038 | 0.00163 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5591-19_0_4_load_55 | 12 | 0.0028471 | 0.00071354 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5591-19_0_4_load_71 | 14 | 0.0045251 | 0.0011341 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5591-19_0_4_load_51 | 16 | 0.00875 | 0.002193 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5591-19_0_4_load_38 | 19 | 0.011939 | 0.0029923 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5591-19_0_4_load_13 | 21 | 0.0041745 | 0.0010462 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5591-19_0_4_load_16 | 23 | 0.012128 | 0.0030396 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5591-19_0_4_load_29 | 26 | 0.016638 | 0.00417 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5591-19_0_4_load_43 | 28 | 0.010792 | 0.0027048 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5591-19_0_4_load_41 | 29 | 0.0081614 | 0.0020454 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5591-19_0_4_load_30 | 30 | 0.007561 | 0.001895 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5591-19_0_4_load_17 | 31 | 0.016711 | 0.0041882 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5591-19_0_4_load_20 | 34 | 0.0058985 | 0.0014783 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5591-19_0_4_load_21 | 35 | 0.0088683 | 0.0022226 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5591-19_0_4_load_22 | 36 | 0.015829 | 0.0039671 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5591-19_0_4_load_23 | 37 | 0.003167 | 0.00079373 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5591-19_0_4_load_36 | 40 | 0.016803 | 0.0042113 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5591-19_0_4_load_42 | 42 | 0.0089834 | 0.0022515 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5591-19_0_4_load_35 | 44 | 0.0069945 | 0.001753 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5591-19_0_4_load_24 | 45 | 0.017282 | 0.0043313 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5591-19_0_4_load_25 | 46 | 0.016512 | 0.0041382 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5591-19_0_4_load_79 | 48 | 0.0042895 | 0.0010751 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5591-19_0_4_load_82 | 49 | 0.0029234 | 0.00073267 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5591-19_0_4_load_44 | 54 | 0.012426 | 0.0031141 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5591-19_0_4_load_45 | 55 | 0.0030382 | 0.00076144 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5591-19_0_4_load_46 | 56 | 0.0065851 | 0.0016504 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5591-19_0_4_load_39 | 58 | 0.016395 | 0.0041089 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5591-19_0_4_load_66 | 59 | 0.016637 | 0.0041695 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5591-19_0_4_load_49 | 60 | 0.0033478 | 0.00083903 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5591-19_0_4_load_47 | 61 | 0.0021635 | 0.00054223 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5591-19_0_4_load_58 | 62 | 0.019125 | 0.0047931 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5591-19_0_4_load_57 | 63 | 0.004274 | 0.0010712 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5591-19_0_4_load_75 | 64 | 0.0013263 | 0.00033239 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5591-19_0_4_load_60 | 65 | 0.014901 | 0.0037346 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5591-19_0_4_load_61 | 66 | 0.0054631 | 0.0013692 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5591-19_0_4_load_62 | 67 | 0.0029585 | 0.00074147 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5591-19_0_4_load_63 | 68 | 0.0022359 | 0.00056037 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5591-19_0_4_load_69 | 70 | 0.012206 | 0.0030592 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5591-19_0_4_load_67 | 72 | 0.0080598 | 0.00202 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5591-19_0_4_load_76 | 74 | 0.0027946 | 0.0007004 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5591-19_0_4_load_65 | 75 | 0.0092709 | 0.0023235 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5591-19_0_4_load_72 | 76 | 0.0032335 | 0.00081039 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5591-19_0_4_load_73 | 77 | 0.0024208 | 0.00060671 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5591-19_0_4_load_81 | 78 | 0.0032199 | 0.00080698 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5591-19_0_4_load_80 | 79 | 0.0026359 | 0.00066062 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5591-19_0_4_line_0 |  | 0 | 1 | 0.011437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5591-19_0_4_line_1 |  | 1 | 2 | 0.029643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5591-19_0_4_line_2 |  | 2 | 3 | 0.016857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5591-19_0_4_line_3 |  | 2 | 4 | 0.017451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5591-19_0_4_line_4 |  | 3 | 5 | 0.018645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5591-19_0_4_line_5 |  | 4 | 6 | 0.0025397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5591-19_0_4_line_6 |  | 5 | 7 | 0.014623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5591-19_0_4_line_7 |  | 7 | 8 | 0.006071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5591-19_0_4_line_8 |  | 8 | 9 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5591-19_0_4_line_9 |  | 9 | 10 | 0.02115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5591-19_0_4_line_10 |  | 9 | 11 | 0.029643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5591-19_0_4_line_11 |  | 10 | 12 | 0.036879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5591-19_0_4_line_12 |  | 11 | 13 | 0.030743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5591-19_0_4_line_13 |  | 11 | 14 | 0.019878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5591-19_0_4_line_14 |  | 12 | 17 | 0.018183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5591-19_0_4_line_15 |  | 13 | 18 | 0.051594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5591-19_0_4_line_16 |  | 13 | 19 | 0.030437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5591-19_0_4_line_17 |  | 13 | 15 | 0.021013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5591-19_0_4_line_18 |  | 14 | 20 | 0.0083434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5591-19_0_4_line_19 |  | 15 | 16 | 0.025796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5591-19_0_4_line_20 |  | 17 | 63 | 0.026705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5591-19_0_4_line_21 |  | 18 | 62 | 0.022653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5591-19_0_4_line_22 |  | 19 | 57 | 0.013425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5591-19_0_4_line_23 |  | 20 | 59 | 0.017442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5591-19_0_4_line_24 |  | 20 | 58 | 0.014827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5591-19_0_4_line_25 |  | 21 | 22 | 0.020369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5591-19_0_4_line_26 |  | 22 | 23 | 0.015522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5591-19_0_4_line_27 |  | 23 | 27 | 0.020469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5591-19_0_4_line_28 |  | 24 | 25 | 0.011597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5591-19_0_4_line_29 |  | 24 | 26 | 0.0056256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5591-19_0_4_line_30 |  | 25 | 28 | 0.013707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5591-19_0_4_line_31 |  | 25 | 29 | 0.035768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5591-19_0_4_line_32 |  | 27 | 30 | 0.011404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5591-19_0_4_line_33 |  | 28 | 53 | 0.017494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5591-19_0_4_line_34 |  | 29 | 39 | 0.016308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5591-19_0_4_line_35 |  | 30 | 51 | 0.010475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5591-19_0_4_line_36 |  | 31 | 32 | 0.021165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5591-19_0_4_line_37 |  | 32 | 36 | 0.0059887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5591-19_0_4_line_38 |  | 32 | 37 | 0.010949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5591-19_0_4_line_39 |  | 33 | 34 | 0.012958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5591-19_0_4_line_40 |  | 33 | 35 | 0.012062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5591-19_0_4_line_41 |  | 35 | 38 | 0.014684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5591-19_0_4_line_42 |  | 36 | 39 | 0.01384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_5591-19_0_4_line_43 |  | 37 | 40 | 0.012245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5591-19_0_4_line_44 |  | 38 | 41 | 0.003262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5591-19_0_4_line_45 |  | 39 | 42 | 0.024722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5591-19_0_4_line_46 |  | 39 | 43 | 0.013787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5591-19_0_4_line_47 |  | 40 | 44 | 0.027665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5591-19_0_4_line_48 |  | 41 | 50 | 0.00503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5591-19_0_4_line_49 |  | 41 | 61 | 0.0083267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5591-19_0_4_line_50 |  | 42 | 50 | 0.016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5591-19_0_4_line_51 |  | 43 | 45 | 0.022554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5591-19_0_4_line_52 |  | 44 | 57 | 0.018068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_5591-19_0_4_line_53 |  | 45 | 46 | 0.032379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5591-19_0_4_line_54 |  | 46 | 47 | 0.024829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5591-19_0_4_line_55 |  | 47 | 48 | 0.021448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5591-19_0_4_line_56 |  | 48 | 49 | 0.02941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5591-19_0_4_line_57 |  | 49 | 78 | 0.018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5591-19_0_4_line_58 |  | 50 | 60 | 0.005471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5591-19_0_4_line_59 |  | 51 | 52 | 0.01943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5591-19_0_4_line_60 |  | 52 | 54 | 0.014408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5591-19_0_4_line_61 |  | 53 | 54 | 0.0035806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5591-19_0_4_line_62 |  | 55 | 56 | 0.00047985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5591-19_0_4_line_63 |  | 56 | 61 | 0.0040403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5591-19_0_4_line_64 |  | 59 | 75 | 0.0095316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5591-19_0_4_line_65 |  | 63 | 64 | 0.0080664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5591-19_0_4_line_66 |  | 65 | 66 | 0.034515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5591-19_0_4_line_67 |  | 65 | 67 | 0.0032487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5591-19_0_4_line_68 |  | 66 | 68 | 0.0033652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5591-19_0_4_line_69 |  | 67 | 69 | 0.044495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5591-19_0_4_line_70 |  | 69 | 70 | 0.024232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5591-19_0_4_line_71 |  | 69 | 71 | 0.02801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5591-19_0_4_line_72 |  | 70 | 72 | 0.019139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5591-19_0_4_line_73 |  | 71 | 73 | 0.010446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5591-19_0_4_line_74 |  | 71 | 74 | 0.012079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5591-19_0_4_line_75 |  | 72 | 75 | 0.024168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5591-19_0_4_line_76 |  | 73 | 77 | 0.029602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5591-19_0_4_line_77 |  | 76 | 77 | 0.048851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5591-19_0_4_line_78 |  | 78 | 79 | 0.018708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5591-19_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 80 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2535034.0033 | 1154426.5393 | 2535039.583 | 1154416.5552
1 | 2535007.8757 | 1154412.5363 | 2535019.0953 | 1154418.5516 | 2535034.0033 | 1154426.5393
2 | 2535007.8757 | 1154412.5363 | 2535015.9998 | 1154397.7663
3 | 2535007.8757 | 1154412.5363 | 2534993.432 | 1154419.1072 | 2534992.6882 | 1154420.5045
4 | 2535015.9998 | 1154397.7663 | 2535018.77 | 1154392.7299 | 2535007.5839 | 1154386.3106
5 | 2534992.6882 | 1154420.5045 | 2534991.4948 | 1154422.7463
6 | 2535007.5839 | 1154386.3106 | 2534994.9009 | 1154379.0323
7 | 2534989.6353 | 1154376.0105 | 2534994.9009 | 1154379.0323
8 | 2534977.8329 | 1154369.2375 | 2534989.6353 | 1154376.0105
9 | 2534977.8329 | 1154369.2375 | 2534967.6808 | 1154387.7922
10 | 2534977.8329 | 1154369.2375 | 2534984.9309 | 1154358.7661 | 2534991.9056 | 1154343.271
11 | 2534950.3035 | 1154420.3157 | 2534955.2418 | 1154410.5268 | 2534967.6808 | 1154387.7922
12 | 2534964.2279 | 1154329.9854 | 2534969.6416 | 1154332.5838 | 2534983.9926 | 1154338.6986 | 2534991.9056 | 1154343.271
13 | 2534991.9056 | 1154343.271 | 2535008.3414 | 1154332.0914
14 | 2534942.1136 | 1154436.5498 | 2534950.3035 | 1154420.3157
15 | 2534915.6572 | 1154312.2014 | 2534951.3197 | 1154325.3336 | 2534964.2279 | 1154329.9854
16 | 2534964.2279 | 1154329.9854 | 2534971.4904 | 1154314.8541 | 2534977.2313 | 1154302.4666
17 | 2534964.2279 | 1154329.9854 | 2534963.0296 | 1154336.224 | 2534959.4135 | 1154340.2209 | 2534955.5231 | 1154348.6454
18 | 2535015.2401 | 1154327.3989 | 2535008.3414 | 1154332.0914
19 | 2534955.5231 | 1154348.6454 | 2534951.3507 | 1154355.1163 | 2534944.7697 | 1154362.3248 | 2534939.1286 | 1154368.4613
20 | 2534942.1136 | 1154436.5498 | 2534966.4141 | 1154447.6255
21 | 2534915.6572 | 1154312.2014 | 2534907.934 | 1154333.4975
22 | 2534986.2552 | 1154292.571 | 2534977.5177 | 1154301.8484 | 2534977.2313 | 1154302.4666
23 | 2535015.2401 | 1154327.3989 | 2535019.5659 | 1154324.4616 | 2535031.7572 | 1154323.7228
24 | 2535015.2401 | 1154327.3989 | 2535009.8406 | 1154313.59
25 | 2535085.1881 | 1154152.4694 | 2535103.3534 | 1154161.6852
26 | 2535085.1881 | 1154152.4694 | 2535072.0762 | 1154144.1626
27 | 2535055.2901 | 1154137.5286 | 2535057.703 | 1154135.0568 | 2535072.0762 | 1154144.1626
28 | 2535061.2336 | 1154174.9405 | 2535072.8616 | 1154174.6925
29 | 2535072.8616 | 1154174.6925 | 2535070.3088 | 1154179.7055
30 | 2535061.2336 | 1154174.9405 | 2535052.4379 | 1154164.4277
31 | 2535061.2336 | 1154174.9405 | 2535044.9848 | 1154206.8047
32 | 2535055.2901 | 1154137.5286 | 2535046.9357 | 1154130.4706 | 2535046.5784 | 1154130.1691
33 | 2535041.212 | 1154151.0104 | 2535052.4379 | 1154164.4277
34 | 2535037.5764 | 1154221.3327 | 2535044.9848 | 1154206.8047
35 | 2535038.5736 | 1154123.4126 | 2535046.5784 | 1154130.1691
36 | 2535028.823 | 1154239.0926 | 2535022.5592 | 1154235.2137 | 2535009.8721 | 1154229.7909
37 | 2535028.823 | 1154239.0926 | 2535030.0368 | 1154235.6998 | 2535031.1453 | 1154233.5876
38 | 2535028.823 | 1154239.0926 | 2535023.8492 | 1154248.8463
39 | 2534984.6361 | 1154223.773 | 2534972.1307 | 1154227.2991
40 | 2534984.6361 | 1154223.773 | 2534984.3436 | 1154217.306 | 2534986.2988 | 1154212.0704
41 | 2534993.2464 | 1154199.1887 | 2534987.6242 | 1154208.5212 | 2534986.2988 | 1154212.0704
42 | 2535037.5764 | 1154221.3327 | 2535031.1453 | 1154233.5876
43 | 2535023.8492 | 1154248.8463 | 2535019.6052 | 1154257.1688 | 2535017.6138 | 1154259.2815
44 | 2534996.0495 | 1154200.8704 | 2534993.2464 | 1154199.1887
45 | 2535037.5764 | 1154221.3327 | 2535018.8743 | 1154211.585 | 2535015.5866 | 1154210.0413
46 | 2535037.5764 | 1154221.3327 | 2535041.4011 | 1154223.1368 | 2535045.6309 | 1154222.6686 | 2535049.9937 | 1154219.5975
47 | 2534998.6414 | 1154279.4167 | 2535005.0272 | 1154272.6349 | 2535017.6138 | 1154259.2815
48 | 2534996.0495 | 1154200.8704 | 2535000.6145 | 1154203.0111
49 | 2534996.0495 | 1154200.8704 | 2534997.2361 | 1154192.6287
50 | 2535000.6145 | 1154203.0111 | 2535015.5866 | 1154210.0413
51 | 2535049.9937 | 1154219.5975 | 2535062.4438 | 1154227.9898 | 2535067.9727 | 1154233.1158
52 | 2534986.2552 | 1154292.571 | 2534998.6414 | 1154279.4167
53 | 2535091.7048 | 1154255.1428 | 2535070.2786 | 1154235.2536 | 2535067.9727 | 1154233.1158
54 | 2535109.9021 | 1154272.0348 | 2535091.7048 | 1154255.1428
55 | 2535109.9021 | 1154272.0348 | 2535120.1788 | 1154253.2087
56 | 2535134.2702 | 1154227.3943 | 2535120.1788 | 1154253.2087
57 | 2535142.9462 | 1154211.5005 | 2535134.2702 | 1154227.3943
58 | 2535000.6145 | 1154203.0111 | 2534997.9195 | 1154207.7762
59 | 2535027.4838 | 1154139.3857 | 2535038.5736 | 1154123.4126
60 | 2535027.4838 | 1154139.3857 | 2535038.4795 | 1154148.6966
61 | 2535041.212 | 1154151.0104 | 2535038.4795 | 1154148.6966
62 | 2534997.8802 | 1154188.1546 | 2534997.8118 | 1154188.6296
63 | 2534997.8118 | 1154188.6296 | 2534997.2361 | 1154192.6287
64 | 2535041.2714 | 1154323.1462 | 2535031.7572 | 1154323.7228
65 | 2534973.754 | 1154450.9709 | 2534966.4141 | 1154447.6255
66 | 2535083.29 | 1154362.7991 | 2535064.9118 | 1154392.0144
67 | 2535083.29 | 1154362.7991 | 2535085.0199 | 1154360.0492
68 | 2535063.1199 | 1154394.8629 | 2535064.9118 | 1154392.0144
69 | 2535108.7122 | 1154322.3863 | 2535085.0199 | 1154360.0492
70 | 2535108.7122 | 1154322.3863 | 2535084.5055 | 1154321.2815
71 | 2535108.7122 | 1154322.3863 | 2535136.774 | 1154323.673
72 | 2535084.5055 | 1154321.2815 | 2535077.396 | 1154320.957 | 2535065.3956 | 1154321.6843
73 | 2535145.3165 | 1154329.7175 | 2535136.774 | 1154323.673
74 | 2535136.774 | 1154323.673 | 2535135.0415 | 1154311.7185
75 | 2535041.2714 | 1154323.1462 | 2535065.3956 | 1154321.6843
76 | 2535145.3165 | 1154329.7175 | 2535131.6542 | 1154355.9783
77 | 2535109.1078 | 1154399.3155 | 2535131.6542 | 1154355.9783
78 | 2535151.91 | 1154195.0793 | 2535142.9462 | 1154211.5005

## bus_geodata
| x | y | coords
0 | 2535039.583 | 1154416.5552
1 | 2535034.0033 | 1154426.5393
2 | 2535007.8757 | 1154412.5363
3 | 2535015.9998 | 1154397.7663
4 | 2534992.6882 | 1154420.5045
5 | 2535007.5839 | 1154386.3106
6 | 2534991.4948 | 1154422.7463
7 | 2534994.9009 | 1154379.0323
8 | 2534989.6353 | 1154376.0105
9 | 2534977.8329 | 1154369.2375
10 | 2534967.6808 | 1154387.7922
11 | 2534991.9056 | 1154343.271
12 | 2534950.3035 | 1154420.3157
13 | 2534964.2279 | 1154329.9854
14 | 2535008.3414 | 1154332.0914
15 | 2534955.5231 | 1154348.6454
16 | 2534939.1286 | 1154368.4613
17 | 2534942.1136 | 1154436.5498
18 | 2534915.6572 | 1154312.2014
19 | 2534977.2313 | 1154302.4666
20 | 2535015.2401 | 1154327.3989
21 | 2535103.3534 | 1154161.6852
22 | 2535085.1881 | 1154152.4694
23 | 2535072.0762 | 1154144.1626
24 | 2535072.8616 | 1154174.6925
25 | 2535061.2336 | 1154174.9405
26 | 2535070.3088 | 1154179.7055
27 | 2535055.2901 | 1154137.5286
28 | 2535052.4379 | 1154164.4277
29 | 2535044.9848 | 1154206.8047
30 | 2535046.5784 | 1154130.1691
31 | 2535009.8721 | 1154229.7909
32 | 2535028.823 | 1154239.0926
33 | 2534984.6361 | 1154223.773
34 | 2534972.1307 | 1154227.2991
35 | 2534986.2988 | 1154212.0704
36 | 2535031.1453 | 1154233.5876
37 | 2535023.8492 | 1154248.8463
38 | 2534993.2464 | 1154199.1887
39 | 2535037.5764 | 1154221.3327
40 | 2535017.6138 | 1154259.2815
41 | 2534996.0495 | 1154200.8704
42 | 2535015.5866 | 1154210.0413
43 | 2535049.9937 | 1154219.5975
44 | 2534998.6414 | 1154279.4167
45 | 2535067.9727 | 1154233.1158
46 | 2535091.7048 | 1154255.1428
47 | 2535109.9021 | 1154272.0348
48 | 2535120.1788 | 1154253.2087
49 | 2535134.2702 | 1154227.3943
50 | 2535000.6145 | 1154203.0111
51 | 2535038.5736 | 1154123.4126
52 | 2535027.4838 | 1154139.3857
53 | 2535041.212 | 1154151.0104
54 | 2535038.4795 | 1154148.6966
55 | 2534997.8802 | 1154188.1546
56 | 2534997.8118 | 1154188.6296
57 | 2534986.2552 | 1154292.571
58 | 2535009.8406 | 1154313.59
59 | 2535031.7572 | 1154323.7228
60 | 2534997.9195 | 1154207.7762
61 | 2534997.2361 | 1154192.6287
62 | 2534907.934 | 1154333.4975
63 | 2534966.4141 | 1154447.6255
64 | 2534973.754 | 1154450.9709
65 | 2535083.29 | 1154362.7991
66 | 2535064.9118 | 1154392.0144
67 | 2535085.0199 | 1154360.0492
68 | 2535063.1199 | 1154394.8629
69 | 2535108.7122 | 1154322.3863
70 | 2535084.5055 | 1154321.2815
71 | 2535136.774 | 1154323.673
72 | 2535065.3956 | 1154321.6843
73 | 2535145.3165 | 1154329.7175
74 | 2535135.0415 | 1154311.7185
75 | 2535041.2714 | 1154323.1462
76 | 2535109.1078 | 1154399.3155
77 | 2535131.6542 | 1154355.9783
78 | 2535142.9462 | 1154211.5005
79 | 2535151.91 | 1154195.0793
80 | 2535028.823 | 1154239.0926

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1