## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5592-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5592-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5592-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5592-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5592-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5592-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5592-4_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5592-4_0_5_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_5592-4_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5592-4_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5592-4_0_5_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_5592-4_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5592-4_0_5_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_5592-4_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5592-4_0_5_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_5592-4_0_5_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_5592-4_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5592-4_0_5_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_5592-4_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5592-4_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5592-4_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5592-4_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5592-4_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5592-4_0_5_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_5592-4_0_5_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_5592-4_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5592-4_0_5_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_5592-4_0_5_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_5592-4_0_5_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_5592-4_0_5_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_5592-4_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5592-4_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5592-4_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5592-4_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_5592-4_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5592-4_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5592-4_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5592-4_0_5_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_5592-4_0_5_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_5592-4_0_5_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_5592-4_0_5_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_5592-4_0_5_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_5592-4_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5592-4_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5592-4_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_5592-4_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5592-4_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5592-4_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_5592-4_0_5_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_5592-4_0_5_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_5592-4_0_5_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_5592-4_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_5592-4_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_5592-4_0_5_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_5592-4_0_5_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_5592-4_0_5_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_5592-4_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_5592-4_0_5_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5592-4_0_5_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_5592-4_0_5_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_5592-4_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_5592-4_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_5592-4_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_5592-4_0_5_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_5592-4_0_5_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_5592-4_0_5_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_5592-4_0_5_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5592-4_0_5_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_5592-4_0_5_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_5592-4_0_5_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_5592-4_0_5_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_5592-4_0_5_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_5592-4_0_5_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5592-4_0_5_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5592-4_0_5_node_75 | 0.4 | n |  | TRUE
75 | bus_MV_447_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5592-4_0_5_load_0 | 0 | 0.018665 | 0.0046779 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5592-4_0_5_load_1 | 1 | 0.0024794 | 0.00062139 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5592-4_0_5_load_3 | 3 | 0.018676 | 0.0046807 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5592-4_0_5_load_5 | 5 | 0.028532 | 0.0071507 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5592-4_0_5_load_52 | 7 | 0.076276 | 0.019116 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5592-4_0_5_load_10 | 11 | 0.062025 | 0.015545 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5592-4_0_5_load_66 | 12 | 0.057141 | 0.014321 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5592-4_0_5_load_55 | 14 | 0.0045498 | 0.0011403 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5592-4_0_5_load_78 | 15 | 0.005311 | 0.0013311 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5592-4_0_5_load_13 | 18 | 0.0015186 | 0.00038059 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5592-4_0_5_load_12 | 19 | 0.0020499 | 0.00051376 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5592-4_0_5_load_17 | 22 | 0.029443 | 0.0073791 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5592-4_0_5_load_45 | 24 | 0.0073941 | 0.0018531 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5592-4_0_5_load_18 | 25 | 0.0037401 | 0.00093737 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5592-4_0_5_load_67 | 26 | 0.0030402 | 0.00076195 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5592-4_0_5_load_28 | 28 | 0.0070415 | 0.0017648 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5592-4_0_5_load_44 | 29 | 0.0018604 | 0.00046627 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5592-4_0_5_load_19 | 30 | 0.0051217 | 0.0012836 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5592-4_0_5_load_21 | 31 | 0.001547 | 0.00038771 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5592-4_0_5_load_22 | 32 | 0.002969 | 0.00074409 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5592-4_0_5_load_24 | 34 | 0.0026682 | 0.0006687 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5592-4_0_5_load_25 | 35 | 0.011794 | 0.0029558 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5592-4_0_5_load_33 | 37 | 0.0012901 | 0.00032333 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5592-4_0_5_load_36 | 38 | 0.00090931 | 0.00022789 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5592-4_0_5_load_77 | 39 | 0.0037041 | 0.00092833 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5592-4_0_5_load_41 | 41 | 0.003355 | 0.00084084 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5592-4_0_5_load_37 | 42 | 0.0011697 | 0.00029315 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5592-4_0_5_load_27 | 43 | 0.0086593 | 0.0021702 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5592-4_0_5_load_31 | 45 | 0.0037299 | 0.0009348 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5592-4_0_5_load_32 | 46 | 0.0050407 | 0.0012633 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5592-4_0_5_load_34 | 47 | 0.010305 | 0.0025827 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5592-4_0_5_load_65 | 48 | 0.0052698 | 0.0013207 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5592-4_0_5_load_59 | 49 | 0.0018029 | 0.00045185 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5592-4_0_5_load_61 | 50 | 0.0020619 | 0.00051676 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5592-4_0_5_load_40 | 51 | 0.0021064 | 0.00052791 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5592-4_0_5_load_39 | 52 | 0.0064534 | 0.0016174 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5592-4_0_5_load_38 | 53 | 0.0128 | 0.0032081 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5592-4_0_5_load_76 | 54 | 0.0089642 | 0.0022466 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5592-4_0_5_load_48 | 58 | 0.0017899 | 0.00044858 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5592-4_0_5_load_73 | 59 | 0.004502 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5592-4_0_5_load_49 | 60 | 0.009766 | 0.0024476 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5592-4_0_5_load_74 | 64 | 0.0038229 | 0.0009581 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5592-4_0_5_load_62 | 66 | 0.0022192 | 0.00055619 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5592-4_0_5_load_56 | 67 | 0.0091004 | 0.0022808 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5592-4_0_5_load_57 | 68 | 0.002103 | 0.00052705 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5592-4_0_5_load_58 | 69 | 0.0096695 | 0.0024234 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5592-4_0_5_load_72 | 70 | 0.0059698 | 0.0014962 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5592-4_0_5_load_71 | 71 | 0.0097603 | 0.0024462 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5592-4_0_5_load_68 | 72 | 0.0092171 | 0.00231 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5592-4_0_5_load_70 | 73 | 0.0047485 | 0.0011901 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5592-4_0_5_load_75 | 74 | 0.003929 | 0.0009847 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5592-4_0_5_line_0 |  | 0 | 1 | 0.013374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5592-4_0_5_line_1 |  | 0 | 2 | 0.034238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5592-4_0_5_line_2 |  | 1 | 3 | 0.0011089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5592-4_0_5_line_3 |  | 2 | 4 | 0.054136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5592-4_0_5_line_4 |  | 4 | 5 | 0.024196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5592-4_0_5_line_5 |  | 5 | 13 | 0.020985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5592-4_0_5_line_6 |  | 6 | 7 | 0.019496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5592-4_0_5_line_7 |  | 6 | 8 | 0.039747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5592-4_0_5_line_8 |  | 8 | 12 | 0.028567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5592-4_0_5_line_9 |  | 8 | 13 | 0.014591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5592-4_0_5_line_10 |  | 9 | 10 | 0.016474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5592-4_0_5_line_11 |  | 9 | 11 | 0.033614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5592-4_0_5_line_12 |  | 10 | 15 | 0.022624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5592-4_0_5_line_13 |  | 10 | 16 | 0.018905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5592-4_0_5_line_14 |  | 12 | 14 | 0.016563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5592-4_0_5_line_15 |  | 14 | 65 | 0.004786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5592-4_0_5_line_16 |  | 16 | 17 | 0.015317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5592-4_0_5_line_17 |  | 16 | 18 | 0.016807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5592-4_0_5_line_18 |  | 17 | 26 | 0.010533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5592-4_0_5_line_19 |  | 18 | 19 | 0.00468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5592-4_0_5_line_20 |  | 19 | 20 | 0.031097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5592-4_0_5_line_21 |  | 20 | 21 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5592-4_0_5_line_22 |  | 20 | 22 | 0.017983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5592-4_0_5_line_23 |  | 21 | 23 | 0.027522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5592-4_0_5_line_24 |  | 21 | 24 | 0.028828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5592-4_0_5_line_25 |  | 22 | 25 | 0.0044299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5592-4_0_5_line_26 |  | 23 | 27 | 0.007255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5592-4_0_5_line_27 |  | 23 | 28 | 0.023773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5592-4_0_5_line_28 |  | 24 | 29 | 0.0010876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5592-4_0_5_line_29 |  | 25 | 30 | 0.01461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5592-4_0_5_line_30 |  | 26 | 72 | 0.016715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5592-4_0_5_line_31 |  | 27 | 48 | 0.016936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5592-4_0_5_line_32 |  | 27 | 49 | 0.013871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5592-4_0_5_line_33 |  | 28 | 43 | 0.011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5592-4_0_5_line_34 |  | 31 | 32 | 0.033916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5592-4_0_5_line_35 |  | 31 | 33 | 0.0072667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5592-4_0_5_line_36 |  | 32 | 34 | 0.026552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5592-4_0_5_line_37 |  | 33 | 35 | 0.025774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5592-4_0_5_line_38 |  | 33 | 36 | 0.013817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5592-4_0_5_line_39 |  | 34 | 37 | 0.018913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5592-4_0_5_line_40 |  | 35 | 38 | 0.0070238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5592-4_0_5_line_41 |  | 36 | 39 | 0.0498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5592-4_0_5_line_42 |  | 37 | 40 | 0.017514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5592-4_0_5_line_43 |  | 37 | 41 | 0.020083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5592-4_0_5_line_44 |  | 38 | 42 | 0.021336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5592-4_0_5_line_45 |  | 40 | 50 | 0.02212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5592-4_0_5_line_46 |  | 40 | 46 | 0.01242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5592-4_0_5_line_47 |  | 41 | 51 | 0.00798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5592-4_0_5_line_48 |  | 42 | 53 | 0.034248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5592-4_0_5_line_49 |  | 43 | 44 | 0.023068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5592-4_0_5_line_50 |  | 44 | 45 | 0.033561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5592-4_0_5_line_51 |  | 44 | 46 | 0.018675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5592-4_0_5_line_52 |  | 45 | 47 | 0.0080283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5592-4_0_5_line_53 |  | 48 | 61 | 0.017374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5592-4_0_5_line_54 |  | 49 | 68 | 0.009076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5592-4_0_5_line_55 |  | 50 | 55 | 0.025013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5592-4_0_5_line_56 |  | 51 | 52 | 0.0094254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5592-4_0_5_line_57 |  | 53 | 54 | 0.071308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5592-4_0_5_line_58 |  | 55 | 66 | 0.0084727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5592-4_0_5_line_59 |  | 55 | 65 | 0.005239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5592-4_0_5_line_60 |  | 56 | 57 | 0.02917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5592-4_0_5_line_61 |  | 56 | 58 | 0.0098928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5592-4_0_5_line_62 |  | 57 | 59 | 0.043214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5592-4_0_5_line_63 |  | 58 | 60 | 0.0092387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5592-4_0_5_line_64 |  | 59 | 64 | 0.013729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5592-4_0_5_line_65 |  | 60 | 61 | 0.023446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5592-4_0_5_line_66 |  | 61 | 62 | 0.010515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5592-4_0_5_line_67 |  | 62 | 63 | 0.011982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5592-4_0_5_line_68 |  | 63 | 70 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5592-4_0_5_line_69 |  | 63 | 71 | 0.042158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5592-4_0_5_line_70 |  | 64 | 74 | 0.002682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5592-4_0_5_line_71 |  | 67 | 68 | 0.013397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5592-4_0_5_line_72 |  | 67 | 69 | 0.016207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5592-4_0_5_line_73 |  | 71 | 73 | 0.017259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5592-4_0_5_trafo_63 | 0.63 MVA 20/0.4 kV | 75 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2536073.6512 | 1157401.235 | 2536086.8078 | 1157398.8309
1 | 2536039.8735 | 1157405.1702 | 2536047.9635 | 1157405.929 | 2536073.6512 | 1157401.235
2 | 2536087.8986 | 1157398.6316 | 2536086.8078 | 1157398.8309
3 | 2536039.8735 | 1157405.1702 | 2536048.4104 | 1157383.1006 | 2536050.2495 | 1157368.5842 | 2536048.9312 | 1157352.8007
4 | 2536048.9312 | 1157352.8007 | 2536072.827 | 1157348.9979
5 | 2536093.5516 | 1157345.6997 | 2536072.827 | 1157348.9979
6 | 2536062.5269 | 1157323.3287 | 2536060.924 | 1157303.8983
7 | 2536091.9787 | 1157331.1974 | 2536084.8435 | 1157331.5402 | 2536082.1424 | 1157332.7918 | 2536077.3007 | 1157333.2102 | 2536076.4189 | 1157322.4026 | 2536062.5269 | 1157323.3287
8 | 2536091.9787 | 1157331.1974 | 2536088.8985 | 1157302.7969
9 | 2536091.9787 | 1157331.1974 | 2536093.5516 | 1157345.6997
10 | 2536036.3925 | 1157314.4909 | 2536031.3639 | 1157298.8026
11 | 2536036.3925 | 1157314.4909 | 2536011.5742 | 1157323.3823 | 2536007.6628 | 1157327.6263 | 2536006.7803 | 1157328.8133
12 | 2536031.3639 | 1157298.8026 | 2536027.23 | 1157300.1584 | 2536020.4275 | 1157302.9324 | 2536014.41 | 1157300.9509 | 2536012.8682 | 1157296.5761
13 | 2536025.5975 | 1157280.7985 | 2536028.913 | 1157291.1467 | 2536031.3639 | 1157298.8026
14 | 2536088.8985 | 1157302.7969 | 2536087.1127 | 1157286.33
15 | 2536086.5966 | 1157281.5719 | 2536087.1127 | 1157286.33
16 | 2536025.5975 | 1157280.7985 | 2536029.5428 | 1157280.4452 | 2536040.8532 | 1157279.024
17 | 2536025.5975 | 1157280.7985 | 2536019.6684 | 1157270.5561 | 2536016.2187 | 1157266.9751
18 | 2536040.8532 | 1157279.024 | 2536040.6699 | 1157268.493
19 | 2536016.2187 | 1157266.9751 | 2536012.9717 | 1157263.6047
20 | 2535991.3981 | 1157241.2078 | 2535997.0352 | 1157247.062 | 2536012.9717 | 1157263.6047
21 | 2535991.3981 | 1157241.2078 | 2535994.7316 | 1157231.6559
22 | 2535991.3981 | 1157241.2078 | 2535986.2907 | 1157254.8252 | 2535985.0829 | 1157258.0456
23 | 2535998.2056 | 1157204.3595 | 2535994.7316 | 1157231.6559
24 | 2535994.7316 | 1157231.6559 | 2535979.3234 | 1157219.8581 | 2535973.5749 | 1157212.3937
25 | 2535985.0829 | 1157258.0456 | 2535983.5272 | 1157262.1933
26 | 2535997.8677 | 1157197.1147 | 2535998.2056 | 1157204.3595
27 | 2535998.2056 | 1157204.3595 | 2536006.9162 | 1157205.7675 | 2536021.1805 | 1157210.2397
28 | 2535972.9113 | 1157211.5321 | 2535973.5749 | 1157212.3937
29 | 2535978.3964 | 1157275.8729 | 2535983.5272 | 1157262.1933
30 | 2536040.379 | 1157251.7808 | 2536040.6699 | 1157268.493
31 | 2535997.8677 | 1157197.1147 | 2535997.229 | 1157190.4289 | 2535994.4686 | 1157180.5887
32 | 2535997.8677 | 1157197.1147 | 2536009.1915 | 1157189.1032
33 | 2536021.1805 | 1157210.2397 | 2536032.2985 | 1157213.7255
34 | 2536146.7965 | 1157233.2175 | 2536153.1239 | 1157232.5488 | 2536166.412 | 1157230.3286 | 2536179.8621 | 1157226.1598
35 | 2536186.8031 | 1157224.0085 | 2536179.8621 | 1157226.1598
36 | 2536146.7965 | 1157233.2175 | 2536140.9608 | 1157233.8343 | 2536120.2774 | 1157233.6765
37 | 2536186.8031 | 1157224.0085 | 2536196.7874 | 1157247.7703
38 | 2536186.8031 | 1157224.0085 | 2536192.941 | 1157222.1757 | 2536189.5279 | 1157215.5972
39 | 2536101.4474 | 1157232.3759 | 2536110.5317 | 1157233.6022 | 2536120.2774 | 1157233.6765
40 | 2536196.7874 | 1157247.7703 | 2536199.5082 | 1157254.2457 | 2536199.5082 | 1157254.2457
41 | 2536189.5279 | 1157215.5972 | 2536183.5393 | 1157204.0656 | 2536175.6391 | 1157195.934 | 2536167.1512 | 1157193.8341 | 2536160.23 | 1157194.8415 | 2536150.8046 | 1157197.5988
42 | 2536101.4474 | 1157232.3759 | 2536091.3795 | 1157230.96 | 2536084.1767 | 1157229.2801
43 | 2536101.4474 | 1157232.3759 | 2536098.599 | 1157215.4747 | 2536098.6426 | 1157212.5319
44 | 2536199.5082 | 1157254.2457 | 2536215.5544 | 1157264.0807 | 2536216.6547 | 1157266.3425
45 | 2536084.1767 | 1157229.2801 | 2536084.098 | 1157237.73 | 2536084.7825 | 1157251.3822
46 | 2536084.1767 | 1157229.2801 | 2536072.2473 | 1157225.8238
47 | 2536098.6426 | 1157212.5319 | 2536098.7552 | 1157204.9339 | 2536098.7725 | 1157204.5531
48 | 2536216.6547 | 1157266.3425 | 2536231.6361 | 1157297.1399
49 | 2536054.3096 | 1157220.6266 | 2536032.2985 | 1157213.7255
50 | 2536054.3096 | 1157220.6266 | 2536057.6904 | 1157205.4267 | 2536063.9778 | 1157188.5719
51 | 2536054.3096 | 1157220.6266 | 2536072.2473 | 1157225.8238
52 | 2536063.9778 | 1157188.5719 | 2536066.7837 | 1157181.0499
53 | 2535989.7761 | 1157163.8605 | 2535994.4686 | 1157180.5887
54 | 2536012.2057 | 1157181.4628 | 2536011.9551 | 1157187.1481 | 2536009.1915 | 1157189.1032
55 | 2536086.0351 | 1157276.3639 | 2536084.7825 | 1157251.3822
56 | 2536099.1997 | 1157195.1374 | 2536098.7725 | 1157204.5531
57 | 2536231.6361 | 1157297.1399 | 2536172.2018 | 1157336.5404
58 | 2536086.0351 | 1157276.3639 | 2536077.6152 | 1157277.3083
59 | 2536086.5966 | 1157281.5719 | 2536086.0351 | 1157276.3639
60 | 2535948.4935 | 1157174.1505 | 2535938.6921 | 1157174.0105 | 2535935.1858 | 1157173.103 | 2535931.3153 | 1157171.8435 | 2535928.1952 | 1157170.4761 | 2535924.5579 | 1157168.0802 | 2535921.2838 | 1157165.9362
61 | 2535948.4935 | 1157174.1505 | 2535956.1941 | 1157172.89 | 2535958.2121 | 1157172.3474
62 | 2535921.2838 | 1157165.9362 | 2535924.178 | 1157151.1639 | 2535924.0276 | 1157142.0938 | 2535925.5027 | 1157130.8608 | 2535925.0581 | 1157123.1131
63 | 2535958.2121 | 1157172.3474 | 2535967.1339 | 1157169.9485
64 | 2535925.0581 | 1157123.1131 | 2535924.2716 | 1157109.4067
65 | 2535989.7761 | 1157163.8605 | 2535967.1339 | 1157169.9485
66 | 2535987.0913 | 1157153.6946 | 2535989.7761 | 1157163.8605
67 | 2535983.5492 | 1157142.2483 | 2535987.0913 | 1157153.6946
68 | 2536002.6198 | 1157136.4864 | 2535983.5492 | 1157142.2483
69 | 2535983.5492 | 1157142.2483 | 2535982.288 | 1157138.304 | 2535975.4826 | 1157100.9016
70 | 2535924.1179 | 1157106.7291 | 2535924.2716 | 1157109.4067
71 | 2536012.6641 | 1157168.0741 | 2536012.4862 | 1157175.1025 | 2536012.2057 | 1157181.4628
72 | 2536012.6641 | 1157168.0741 | 2536013.0744 | 1157151.8724 | 2536013.0744 | 1157151.8724
73 | 2535972.3931 | 1157083.9217 | 2535975.4826 | 1157100.9016

## bus_geodata
| x | y | coords
0 | 2536073.6512 | 1157401.235
1 | 2536086.8078 | 1157398.8309
2 | 2536039.8735 | 1157405.1702
3 | 2536087.8986 | 1157398.6316
4 | 2536048.9312 | 1157352.8007
5 | 2536072.827 | 1157348.9979
6 | 2536062.5269 | 1157323.3287
7 | 2536060.924 | 1157303.8983
8 | 2536091.9787 | 1157331.1974
9 | 2536036.3925 | 1157314.4909
10 | 2536031.3639 | 1157298.8026
11 | 2536006.7803 | 1157328.8134
12 | 2536088.8985 | 1157302.7969
13 | 2536093.5516 | 1157345.6997
14 | 2536087.1127 | 1157286.33
15 | 2536012.8682 | 1157296.5761
16 | 2536025.5975 | 1157280.7985
17 | 2536040.8532 | 1157279.024
18 | 2536016.2187 | 1157266.9751
19 | 2536012.9717 | 1157263.6047
20 | 2535991.3981 | 1157241.2078
21 | 2535994.7316 | 1157231.6559
22 | 2535985.0829 | 1157258.0456
23 | 2535998.2056 | 1157204.3595
24 | 2535973.5749 | 1157212.3937
25 | 2535983.5272 | 1157262.1933
26 | 2536040.6699 | 1157268.493
27 | 2535997.8677 | 1157197.1147
28 | 2536021.1805 | 1157210.2397
29 | 2535972.9113 | 1157211.5321
30 | 2535978.3964 | 1157275.8729
31 | 2536179.8621 | 1157226.1598
32 | 2536146.7965 | 1157233.2175
33 | 2536186.8031 | 1157224.0085
34 | 2536120.2774 | 1157233.6765
35 | 2536196.7874 | 1157247.7703
36 | 2536189.5279 | 1157215.5972
37 | 2536101.4473 | 1157232.3759
38 | 2536199.5082 | 1157254.2457
39 | 2536150.8046 | 1157197.5988
40 | 2536084.1767 | 1157229.2801
41 | 2536098.6426 | 1157212.5319
42 | 2536216.6547 | 1157266.3425
43 | 2536032.2985 | 1157213.7255
44 | 2536054.3096 | 1157220.6266
45 | 2536063.9778 | 1157188.5719
46 | 2536072.2473 | 1157225.8238
47 | 2536066.7837 | 1157181.0499
48 | 2535994.4686 | 1157180.5887
49 | 2536009.1915 | 1157189.1032
50 | 2536084.7825 | 1157251.3822
51 | 2536098.7725 | 1157204.5531
52 | 2536099.1997 | 1157195.1374
53 | 2536231.6361 | 1157297.1399
54 | 2536172.2018 | 1157336.5404
55 | 2536086.0351 | 1157276.3639
56 | 2535948.4935 | 1157174.1505
57 | 2535921.2838 | 1157165.9362
58 | 2535958.2121 | 1157172.3474
59 | 2535925.0581 | 1157123.1131
60 | 2535967.1339 | 1157169.9485
61 | 2535989.7761 | 1157163.8605
62 | 2535987.0913 | 1157153.6946
63 | 2535983.5492 | 1157142.2483
64 | 2535924.2716 | 1157109.4067
65 | 2536086.5966 | 1157281.5719
66 | 2536077.6152 | 1157277.3083
67 | 2536012.6641 | 1157168.0741
68 | 2536012.2057 | 1157181.4628
69 | 2536013.0744 | 1157151.8724
70 | 2536002.6198 | 1157136.4864
71 | 2535975.4826 | 1157100.9016
72 | 2536040.379 | 1157251.7808
73 | 2535972.3931 | 1157083.9217
74 | 2535924.1179 | 1157106.7291
75 | 2536025.5975 | 1157280.7985

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1