## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5592-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5592-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5592-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5592-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5592-5_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5592-5_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5592-5_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5592-5_0_5_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_5592-5_0_5_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_5592-5_0_5_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_5592-5_0_5_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_5592-5_0_5_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_5592-5_0_5_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_5592-5_0_5_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_5592-5_0_5_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_5592-5_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5592-5_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5592-5_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5592-5_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5592-5_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5592-5_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5592-5_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5592-5_0_5_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_5592-5_0_5_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_5592-5_0_5_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_5592-5_0_5_node_75 | 0.4 | n |  | TRUE
26 | bus_LV_5592-5_0_5_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_5592-5_0_5_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_5592-5_0_5_node_81 | 0.4 | n |  | TRUE
29 | bus_LV_5592-5_0_5_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_5592-5_0_5_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_5592-5_0_5_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5592-5_0_5_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5592-5_0_5_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5592-5_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_5592-5_0_5_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_5592-5_0_5_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_5592-5_0_5_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_5592-5_0_5_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_5592-5_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5592-5_0_5_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_5592-5_0_5_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_5592-5_0_5_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_5592-5_0_5_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_5592-5_0_5_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_5592-5_0_5_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_5592-5_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_5592-5_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_5592-5_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5592-5_0_5_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_5592-5_0_5_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_5592-5_0_5_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_5592-5_0_5_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_5592-5_0_5_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_5592-5_0_5_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_5592-5_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_5592-5_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_5592-5_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_5592-5_0_5_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_5592-5_0_5_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_5592-5_0_5_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_5592-5_0_5_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_5592-5_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5592-5_0_5_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_5592-5_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_5592-5_0_5_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_5592-5_0_5_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_5592-5_0_5_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_5592-5_0_5_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_5592-5_0_5_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_5592-5_0_5_node_86 | 0.4 | n |  | TRUE
71 | bus_LV_5592-5_0_5_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_5592-5_0_5_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_5592-5_0_5_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5592-5_0_5_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_5592-5_0_5_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_5592-5_0_5_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_5592-5_0_5_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_5592-5_0_5_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_5592-5_0_5_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_5592-5_0_5_node_79 | 0.4 | n |  | TRUE
81 | bus_MV_447_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5592-5_0_5_load_0 | 0 | 0.0034107 | 0.0008548 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5592-5_0_5_load_1 | 1 | 0.020114 | 0.005041 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5592-5_0_5_load_3 | 3 | 0.023878 | 0.0059845 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5592-5_0_5_load_4 | 4 | 0.0073354 | 0.0018384 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5592-5_0_5_load_5 | 5 | 0.0038089 | 0.00095459 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5592-5_0_5_load_6 | 6 | 0.002733 | 0.00068494 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5592-5_0_5_load_60 | 8 | 0.0032107 | 0.00080468 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5592-5_0_5_load_67 | 10 | 0.0012936 | 0.00032422 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5592-5_0_5_load_68 | 11 | 0.0016459 | 0.0004125 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5592-5_0_5_load_61 | 12 | 0.0025121 | 0.00062959 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5592-5_0_5_load_7 | 15 | 0.0105 | 0.0026315 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5592-5_0_5_load_10 | 18 | 0.0011639 | 0.00029171 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5592-5_0_5_load_11 | 19 | 0.018054 | 0.0045248 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5592-5_0_5_load_13 | 21 | 0.0050464 | 0.0012647 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5592-5_0_5_load_27 | 22 | 0.012487 | 0.0031295 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5592-5_0_5_load_38 | 23 | 0.0046416 | 0.0011633 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5592-5_0_5_load_75 | 25 | 0.007203 | 0.0018052 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5592-5_0_5_load_28 | 26 | 0.0080612 | 0.0020203 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5592-5_0_5_load_83 | 27 | 0.0086924 | 0.0021785 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5592-5_0_5_load_76 | 29 | 0.0030634 | 0.00076775 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5592-5_0_5_load_14 | 30 | 0.012815 | 0.0032117 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5592-5_0_5_load_15 | 31 | 0.0073252 | 0.0018359 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5592-5_0_5_load_16 | 32 | 0.0092854 | 0.0023271 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5592-5_0_5_load_41 | 38 | 0.0101 | 0.0025314 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5592-5_0_5_load_62 | 40 | 0.0022983 | 0.00057602 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5592-5_0_5_load_73 | 42 | 0.0017583 | 0.00044067 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5592-5_0_5_load_19 | 43 | 0.00093324 | 0.00023389 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5592-5_0_5_load_22 | 45 | 0.0014345 | 0.00035951 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5592-5_0_5_load_31 | 47 | 0.0032274 | 0.00080887 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5592-5_0_5_load_29 | 48 | 0.0026221 | 0.00065716 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5592-5_0_5_load_23 | 49 | 0.00153 | 0.00038346 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5592-5_0_5_load_24 | 50 | 0.0016842 | 0.0004221 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5592-5_0_5_load_25 | 51 | 0.0029826 | 0.00074752 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5592-5_0_5_load_74 | 54 | 0.0020836 | 0.00052221 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5592-5_0_5_load_32 | 55 | 0.012198 | 0.0030571 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5592-5_0_5_load_33 | 56 | 0.012778 | 0.0032025 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5592-5_0_5_load_37 | 58 | 0.012914 | 0.0032366 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5592-5_0_5_load_69 | 61 | 0.0076147 | 0.0019084 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5592-5_0_5_load_48 | 62 | 0.007169 | 0.0017967 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5592-5_0_5_load_78 | 63 | 0.026779 | 0.0067115 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5592-5_0_5_load_45 | 65 | 0.0022333 | 0.00055971 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5592-5_0_5_load_50 | 68 | 0.0077616 | 0.0019452 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5592-5_0_5_load_86 | 70 | 0.0098096 | 0.0024585 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5592-5_0_5_load_53 | 71 | 0.0072052 | 0.0018058 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5592-5_0_5_load_82 | 72 | 0.0032132 | 0.0008053 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5592-5_0_5_load_70 | 73 | 0.0021712 | 0.00054415 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5592-5_0_5_load_58 | 75 | 0.040555 | 0.010164 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5592-5_0_5_load_59 | 76 | 0.0013266 | 0.00033248 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5592-5_0_5_load_85 | 77 | 0.0063045 | 0.0015801 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5592-5_0_5_load_84 | 78 | 0.0051288 | 0.0012854 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5592-5_0_5_load_79 | 80 | 0.010604 | 0.0026577 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5592-5_0_5_line_0 |  | 0 | 1 | 0.0088427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5592-5_0_5_line_1 |  | 0 | 2 | 0.062181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5592-5_0_5_line_2 |  | 1 | 3 | 0.014116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5592-5_0_5_line_3 |  | 2 | 4 | 0.031777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5592-5_0_5_line_4 |  | 2 | 5 | 0.042887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5592-5_0_5_line_5 |  | 2 | 6 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5592-5_0_5_line_6 |  | 3 | 7 | 0.033379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5592-5_0_5_line_7 |  | 5 | 8 | 0.020902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5592-5_0_5_line_8 |  | 6 | 9 | 0.026737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5592-5_0_5_line_9 |  | 7 | 10 | 0.013911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5592-5_0_5_line_10 |  | 7 | 11 | 0.005906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5592-5_0_5_line_11 |  | 8 | 12 | 0.0093678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5592-5_0_5_line_12 |  | 9 | 13 | 0.08279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5592-5_0_5_line_13 |  | 9 | 14 | 0.069124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5592-5_0_5_line_14 |  | 13 | 77 | 0.031928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5592-5_0_5_line_15 |  | 14 | 71 | 0.026294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5592-5_0_5_line_16 |  | 14 | 53 | 0.076415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5592-5_0_5_line_17 |  | 14 | 64 | 0.099441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5592-5_0_5_line_18 |  | 15 | 16 | 0.043144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5592-5_0_5_line_19 |  | 15 | 17 | 0.0028507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5592-5_0_5_line_20 |  | 16 | 18 | 0.016495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5592-5_0_5_line_21 |  | 16 | 19 | 0.02424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5592-5_0_5_line_22 |  | 17 | 20 | 0.03488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5592-5_0_5_line_23 |  | 17 | 21 | 0.016259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5592-5_0_5_line_24 |  | 18 | 22 | 0.052516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5592-5_0_5_line_25 |  | 19 | 23 | 0.016969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5592-5_0_5_line_26 |  | 20 | 24 | 0.010664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5592-5_0_5_line_27 |  | 20 | 25 | 0.058786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5592-5_0_5_line_28 |  | 22 | 26 | 0.017061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5592-5_0_5_line_29 |  | 24 | 27 | 0.024222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5592-5_0_5_line_30 |  | 24 | 28 | 0.069316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5592-5_0_5_line_31 |  | 25 | 29 | 0.014711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5592-5_0_5_line_32 |  | 26 | 33 | 0.010461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5592-5_0_5_line_33 |  | 28 | 78 | 0.023058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5592-5_0_5_line_34 |  | 28 | 79 | 0.089556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5592-5_0_5_line_35 |  | 30 | 31 | 0.033456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5592-5_0_5_line_36 |  | 30 | 32 | 0.077841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5592-5_0_5_line_37 |  | 31 | 33 | 0.052235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5592-5_0_5_line_38 |  | 32 | 34 | 0.10641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5592-5_0_5_line_39 |  | 33 | 35 | 0.11346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5592-5_0_5_line_40 |  | 34 | 36 | 0.087061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5592-5_0_5_line_41 |  | 35 | 40 | 0.020068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5592-5_0_5_line_42 |  | 35 | 41 | 0.035699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5592-5_0_5_line_43 |  | 36 | 42 | 0.021482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5592-5_0_5_line_44 |  | 37 | 38 | 0.013823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5592-5_0_5_line_45 |  | 37 | 39 | 0.015297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5592-5_0_5_line_46 |  | 38 | 41 | 0.015583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5592-5_0_5_line_47 |  | 39 | 58 | 0.0042264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5592-5_0_5_line_48 |  | 39 | 55 | 0.031074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5592-5_0_5_line_49 |  | 40 | 62 | 0.02031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5592-5_0_5_line_50 |  | 42 | 52 | 0.023605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5592-5_0_5_line_51 |  | 43 | 44 | 0.025851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5592-5_0_5_line_52 |  | 44 | 45 | 0.0013699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5592-5_0_5_line_53 |  | 45 | 46 | 0.063001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5592-5_0_5_line_54 |  | 46 | 47 | 0.024795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5592-5_0_5_line_55 |  | 46 | 48 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5592-5_0_5_line_56 |  | 47 | 53 | 0.017365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5592-5_0_5_line_57 |  | 49 | 50 | 0.0070217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5592-5_0_5_line_58 |  | 49 | 51 | 0.017328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5592-5_0_5_line_59 |  | 50 | 52 | 0.050366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5592-5_0_5_line_60 |  | 53 | 54 | 0.048365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5592-5_0_5_line_61 |  | 55 | 56 | 0.031093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5592-5_0_5_line_62 |  | 56 | 57 | 0.030882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5592-5_0_5_line_63 |  | 57 | 59 | 0.016571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5592-5_0_5_line_64 |  | 59 | 60 | 0.025859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5592-5_0_5_line_65 |  | 59 | 61 | 0.028134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5592-5_0_5_line_66 |  | 60 | 72 | 0.017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5592-5_0_5_line_67 |  | 61 | 73 | 0.017165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5592-5_0_5_line_68 |  | 62 | 66 | 0.010795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5592-5_0_5_line_69 |  | 63 | 64 | 0.046386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5592-5_0_5_line_70 |  | 64 | 66 | 0.043234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5592-5_0_5_line_71 |  | 65 | 66 | 0.01945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5592-5_0_5_line_72 |  | 65 | 67 | 0.0084454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5592-5_0_5_line_73 |  | 67 | 68 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5592-5_0_5_line_74 |  | 67 | 69 | 0.007628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5592-5_0_5_line_75 |  | 69 | 70 | 0.03789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5592-5_0_5_line_76 |  | 71 | 74 | 0.032774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5592-5_0_5_line_77 |  | 74 | 75 | 0.00053046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5592-5_0_5_line_78 |  | 74 | 76 | 0.052029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5592-5_0_5_line_79 |  | 79 | 80 | 0.019104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5592-5_0_5_trafo_65 | 0.63 MVA 20/0.4 kV | 81 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2536288.6885 | 1156930.8935 | 2536294.8223 | 1156924.5241
1 | 2536290.1983 | 1156988.3711 | 2536293.2749 | 1156979.8449 | 2536294.7407 | 1156969.835 | 2536293.8135 | 1156963.3968 | 2536285.0016 | 1156947.4038 | 2536283.5442 | 1156941.5827 | 2536284.1339 | 1156937.174 | 2536287.1895 | 1156932.4501 | 2536288.6885 | 1156930.8935
2 | 2536306.2957 | 1156916.6613 | 2536298.8929 | 1156920.2972 | 2536294.8223 | 1156924.5241
3 | 2536290.1983 | 1156988.3711 | 2536307.2201 | 1156989.6357 | 2536306.7323 | 1157004.3823
4 | 2536290.1983 | 1156988.3711 | 2536288.9398 | 1156983.9487 | 2536276.5685 | 1156967.8377 | 2536270.2415 | 1156958.3885 | 2536266.8317 | 1156952.7331
5 | 2536290.1983 | 1156988.3711 | 2536286.8021 | 1156994.9551 | 2536283.5503 | 1156999.3013
6 | 2536313.6829 | 1156886.8221 | 2536313.8622 | 1156908.0651 | 2536312.8262 | 1156911.6114 | 2536310.2291 | 1156914.7295 | 2536306.2957 | 1156916.6613
7 | 2536266.8317 | 1156952.7331 | 2536266.565 | 1156952.2909 | 2536261.6009 | 1156942.6494 | 2536259.9728 | 1156933.2483
8 | 2536264.8572 | 1157018.2451 | 2536273.2043 | 1157011.3972 | 2536279.6418 | 1157004.5252 | 2536283.5503 | 1156999.3013
9 | 2536313.6829 | 1156886.8221 | 2536300.4003 | 1156891.0763
10 | 2536313.7583 | 1156880.918 | 2536313.6829 | 1156886.8221
11 | 2536258.3742 | 1156924.0178 | 2536259.9728 | 1156933.2483
12 | 2536339.8341 | 1157045.3984 | 2536329.3828 | 1157045.4425 | 2536319.8443 | 1157043.3535 | 2536312.5425 | 1157041.7523 | 2536303.9298 | 1157037.2967 | 2536296.4406 | 1157030.3167 | 2536290.2423 | 1157024.3125 | 2536276.5936 | 1157018.6097 | 2536264.8572 | 1157018.2451
13 | 2536226.9008 | 1157060.2709 | 2536224.4119 | 1157041.8094 | 2536224.2291 | 1157035.4301 | 2536264.8572 | 1157018.2451
14 | 2536339.8341 | 1157045.3984 | 2536346.8733 | 1157045.3682 | 2536371.8007 | 1157043.7255
15 | 2536226.9008 | 1157060.2709 | 2536201.1215 | 1157065.4474
16 | 2536226.9008 | 1157060.2709 | 2536224.4119 | 1157041.8094 | 2536224.2291 | 1157035.4301 | 2536223.2845 | 1156984.0342
17 | 2536242.8805 | 1157158.3994 | 2536237.9897 | 1157127.49 | 2536226.9008 | 1157060.2709
18 | 2536506.5927 | 1157154.6379 | 2536523.7846 | 1157194.2082
19 | 2536524.9206 | 1157196.8228 | 2536523.7846 | 1157194.2082
20 | 2536506.5927 | 1157154.6379 | 2536490.6882 | 1157159.0128
21 | 2536506.5927 | 1157154.6379 | 2536501.8842 | 1157137.2114 | 2536501.8116 | 1157131.0233
22 | 2536530.261 | 1157231.2408 | 2536529.2782 | 1157219.5114 | 2536524.9206 | 1157196.8228
23 | 2536524.9206 | 1157196.8228 | 2536540.5942 | 1157201.1462
24 | 2536439.1035 | 1157167.6775 | 2536439.987 | 1157167.6271 | 2536468.8069 | 1157165.0319 | 2536490.6882 | 1157159.0128
25 | 2536503.3262 | 1157114.1851 | 2536501.728 | 1157123.8947 | 2536501.8116 | 1157131.0233
26 | 2536530.261 | 1157231.2408 | 2536530.412 | 1157241.9006
27 | 2536530.261 | 1157231.2408 | 2536522.3479 | 1157232.7141 | 2536497.764 | 1157239.9445 | 2536490.2318 | 1157237.5562 | 2536487.9882 | 1157235.6789 | 2536485.3993 | 1157221.631
28 | 2536422.0698 | 1157168.6505 | 2536439.1035 | 1157167.6775
29 | 2536549.3484 | 1157234.3075 | 2536548.4989 | 1157239.5416 | 2536544.9383 | 1157242.1917 | 2536535.197 | 1157241.9167 | 2536530.412 | 1157241.9006
30 | 2536530.412 | 1157241.9006 | 2536528.7648 | 1157252.9129 | 2536523.1912 | 1157276.2179 | 2536525.9088 | 1157277.2453 | 2536540.9061 | 1157283.657 | 2536554.3268 | 1157290.3634
31 | 2536482.733 | 1157207.1633 | 2536485.3993 | 1157221.631
32 | 2536412.3317 | 1157165.0627 | 2536417.2967 | 1157167.5894 | 2536422.0698 | 1157168.6505 | 2536422.0698 | 1157168.6505
33 | 2536554.3268 | 1157290.3634 | 2536555.0683 | 1157287.2427 | 2536558.6807 | 1157267.7272
34 | 2536507.927 | 1157329.4083 | 2536523.1912 | 1157276.2179 | 2536525.9088 | 1157277.2453 | 2536540.9061 | 1157283.657 | 2536554.3268 | 1157290.3634
35 | 2536413.518 | 1157079.3858 | 2536413.182 | 1157112.84
36 | 2536414.9007 | 1157001.5573 | 2536413.6971 | 1157061.5583 | 2536413.518 | 1157079.3858
37 | 2536412.3317 | 1157165.0627 | 2536412.2637 | 1157155.7473 | 2536412.4008 | 1157144.0727 | 2536412.7882 | 1157128.5157 | 2536413.126 | 1157118.4177 | 2536413.182 | 1157112.84
38 | 2536423.1899 | 1156896.3897 | 2536421.5718 | 1156898.5525 | 2536419.9382 | 1156901.4269 | 2536418.8183 | 1156905.0185 | 2536418.2017 | 1156913.4185 | 2536417.0161 | 1156929.6288 | 2536415.3132 | 1156980.9971 | 2536414.9007 | 1157001.5573
39 | 2536300.9085 | 1157182.586 | 2536313.6476 | 1157179.1936 | 2536333.1032 | 1157175.741 | 2536347.6472 | 1157174.0749 | 2536353.2628 | 1157173.5929 | 2536383.4809 | 1157171.2493 | 2536399.5174 | 1157170.0456 | 2536405.8804 | 1157168.4551 | 2536412.3317 | 1157165.0627
40 | 2536423.1899 | 1156896.3897 | 2536438.436 | 1156896.5063 | 2536450.2311 | 1156896.6038 | 2536479.7648 | 1156896.8471 | 2536510.5026 | 1156897.1001
41 | 2536300.9085 | 1157182.586 | 2536281.9621 | 1157189.2004
42 | 2536300.9085 | 1157182.586 | 2536307.354 | 1157217.6925
43 | 2536510.5026 | 1156897.1001 | 2536512.1108 | 1156886.7442 | 2536513.9611 | 1156875.8991
44 | 2536336.5978 | 1157214.603 | 2536322.8511 | 1157216.0553
45 | 2536349.8628 | 1157221.0438 | 2536342.4805 | 1157219.788 | 2536336.5978 | 1157214.603
46 | 2536307.354 | 1157217.6925 | 2536322.8511 | 1157216.0553
47 | 2536349.8628 | 1157221.0438 | 2536353.2093 | 1157218.4625
48 | 2536349.8628 | 1157221.0438 | 2536358.1674 | 1157250.9878
49 | 2536281.9621 | 1157189.2004 | 2536277.0648 | 1157190.9101 | 2536262.9984 | 1157196.463
50 | 2536517.9309 | 1156852.6307 | 2536513.9611 | 1156875.8991
51 | 2536224.962 | 1156877.7249 | 2536225.8032 | 1156872.4464 | 2536229.0245 | 1156852.1955
52 | 2536224.962 | 1156877.7249 | 2536224.8304 | 1156879.0884
53 | 2536221.6485 | 1156941.9063 | 2536221.1429 | 1156928.9601 | 2536221.2454 | 1156916.2298 | 2536224.8304 | 1156879.0884
54 | 2536221.6485 | 1156941.9063 | 2536222.6106 | 1156966.6821
55 | 2536221.6485 | 1156941.9063 | 2536205.4556 | 1156942.901
56 | 2536223.2845 | 1156984.0342 | 2536222.6106 | 1156966.6821
57 | 2536467.5757 | 1156851.5746 | 2536460.5556 | 1156851.4274
58 | 2536443.2309 | 1156851.064 | 2536460.5556 | 1156851.4274
59 | 2536517.9309 | 1156852.6307 | 2536467.5757 | 1156851.5746
60 | 2536223.2845 | 1156984.0342 | 2536174.7791 | 1156983.7269
61 | 2536344.5867 | 1157268.5378 | 2536361.7261 | 1157263.8193 | 2536358.1674 | 1157250.9878
62 | 2536314.8125 | 1157276.7346 | 2536344.5867 | 1157268.5378
63 | 2536317.0263 | 1157293.1535 | 2536314.8125 | 1157276.7346
64 | 2536317.0263 | 1157293.1535 | 2536320.4802 | 1157318.7753
65 | 2536317.0263 | 1157293.1535 | 2536308.9046 | 1157294.4736 | 2536305.7229 | 1157293.7959 | 2536302.6601 | 1157289.8706 | 2536300.9913 | 1157278.3167
66 | 2536320.4802 | 1157318.7753 | 2536303.5257 | 1157320.8095
67 | 2536293.6474 | 1157264.3078 | 2536297.4858 | 1157266.1681 | 2536299.747 | 1157269.7016 | 2536300.9913 | 1157278.3167
68 | 2536252.9578 | 1157200.4266 | 2536262.9984 | 1157196.463
69 | 2536242.8805 | 1157158.3994 | 2536252.8433 | 1157155.6922 | 2536251.2529 | 1157149.628 | 2536271.2668 | 1157145.3022 | 2536273.5787 | 1157154.3271
70 | 2536242.8805 | 1157158.3994 | 2536248.0542 | 1157182.0241 | 2536252.9578 | 1157200.4266
71 | 2536252.9578 | 1157200.4266 | 2536234.7232 | 1157207.1934
72 | 2536226.8055 | 1157210.1317 | 2536234.7232 | 1157207.1934
73 | 2536226.8055 | 1157210.1317 | 2536212.3305 | 1157215.2797
74 | 2536224.5656 | 1157202.8404 | 2536226.8055 | 1157210.1317
75 | 2536224.5656 | 1157202.8404 | 2536218.4183 | 1157182.8614 | 2536214.7202 | 1157176.8862 | 2536209.7151 | 1157176.3724 | 2536205.0082 | 1157177.9344
76 | 2536182.127 | 1157091.3856 | 2536183.4878 | 1157086.6685 | 2536194.9753 | 1157070.1263 | 2536201.1215 | 1157065.4474
77 | 2536181.9795 | 1157091.8951 | 2536182.127 | 1157091.3856
78 | 2536149.8608 | 1157131.9173 | 2536170.0999 | 1157110.546 | 2536174.4306 | 1157104.6079 | 2536182.127 | 1157091.3856
79 | 2536507.927 | 1157329.4083 | 2536503.1472 | 1157327.7023 | 2536489.4806 | 1157324.5366

## bus_geodata
| x | y | coords
0 | 2536288.6885 | 1156930.8935
1 | 2536294.8223 | 1156924.5241
2 | 2536290.1983 | 1156988.3711
3 | 2536306.2957 | 1156916.6613
4 | 2536306.7323 | 1157004.3823
5 | 2536266.8317 | 1156952.7331
6 | 2536283.5503 | 1156999.3013
7 | 2536313.6829 | 1156886.8221
8 | 2536259.9728 | 1156933.2483
9 | 2536264.8572 | 1157018.2451
10 | 2536300.4003 | 1156891.0763
11 | 2536313.7583 | 1156880.918
12 | 2536258.3742 | 1156924.0178
13 | 2536339.8341 | 1157045.3984
14 | 2536226.9008 | 1157060.2709
15 | 2536523.7846 | 1157194.2082
16 | 2536506.5926 | 1157154.6379
17 | 2536524.9206 | 1157196.8228
18 | 2536490.6882 | 1157159.0128
19 | 2536501.8116 | 1157131.0233
20 | 2536530.261 | 1157231.2408
21 | 2536540.5942 | 1157201.1462
22 | 2536439.1035 | 1157167.6775
23 | 2536503.3262 | 1157114.1851
24 | 2536530.412 | 1157241.9006
25 | 2536485.3993 | 1157221.631
26 | 2536422.0698 | 1157168.6505
27 | 2536549.3484 | 1157234.3075
28 | 2536554.3268 | 1157290.3634
29 | 2536482.733 | 1157207.1633
30 | 2536413.518 | 1157079.3858
31 | 2536413.182 | 1157112.84
32 | 2536414.9007 | 1157001.5573
33 | 2536412.3317 | 1157165.0627
34 | 2536423.1899 | 1156896.3897
35 | 2536300.9085 | 1157182.586
36 | 2536510.5026 | 1156897.1001
37 | 2536336.5978 | 1157214.603
38 | 2536322.8511 | 1157216.0553
39 | 2536349.8628 | 1157221.0438
40 | 2536281.9621 | 1157189.2004
41 | 2536307.354 | 1157217.6925
42 | 2536513.9611 | 1156875.8991
43 | 2536229.0245 | 1156852.1955
44 | 2536224.962 | 1156877.7249
45 | 2536224.8304 | 1156879.0884
46 | 2536221.6485 | 1156941.9063
47 | 2536222.6106 | 1156966.6821
48 | 2536205.4556 | 1156942.901
49 | 2536460.5556 | 1156851.4273
50 | 2536467.5757 | 1156851.5746
51 | 2536443.2309 | 1156851.064
52 | 2536517.9309 | 1156852.6307
53 | 2536223.2845 | 1156984.0342
54 | 2536174.7791 | 1156983.7269
55 | 2536358.1674 | 1157250.9878
56 | 2536344.5867 | 1157268.5378
57 | 2536314.8125 | 1157276.7346
58 | 2536353.2093 | 1157218.4625
59 | 2536317.0263 | 1157293.1535
60 | 2536320.4802 | 1157318.7753
61 | 2536300.9913 | 1157278.3167
62 | 2536262.9984 | 1157196.463
63 | 2536273.5787 | 1157154.3271
64 | 2536242.8805 | 1157158.3994
65 | 2536234.7232 | 1157207.1934
66 | 2536252.9578 | 1157200.4266
67 | 2536226.8055 | 1157210.1317
68 | 2536212.3305 | 1157215.2797
69 | 2536224.5656 | 1157202.8404
70 | 2536205.0082 | 1157177.9344
71 | 2536201.1215 | 1157065.4474
72 | 2536303.5257 | 1157320.8095
73 | 2536293.6474 | 1157264.3078
74 | 2536182.127 | 1157091.3856
75 | 2536181.9795 | 1157091.8951
76 | 2536149.8608 | 1157131.9173
77 | 2536371.8007 | 1157043.7255
78 | 2536558.6807 | 1157267.7272
79 | 2536507.927 | 1157329.4083
80 | 2536489.4806 | 1157324.5366
81 | 2536319.8443 | 1157043.3535

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1