## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5592-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5592-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5592-7_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5592-7_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5592-7_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5592-7_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5592-7_0_6_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_5592-7_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5592-7_0_6_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_5592-7_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5592-7_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5592-7_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5592-7_0_6_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_5592-7_0_6_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_5592-7_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5592-7_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5592-7_0_6_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_5592-7_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5592-7_0_6_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_5592-7_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5592-7_0_6_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_5592-7_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5592-7_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5592-7_0_6_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_5592-7_0_6_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_5592-7_0_6_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_5592-7_0_6_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_5592-7_0_6_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_5592-7_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5592-7_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5592-7_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_5592-7_0_6_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_5592-7_0_6_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5592-7_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_5592-7_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5592-7_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5592-7_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5592-7_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5592-7_0_6_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_5592-7_0_6_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_5592-7_0_6_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_5592-7_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5592-7_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_5592-7_0_6_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5592-7_0_6_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_5592-7_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_5592-7_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5592-7_0_6_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5592-7_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5592-7_0_6_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5592-7_0_6_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_5592-7_0_6_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_5592-7_0_6_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_5592-7_0_6_node_56 | 0.4 | n |  | TRUE
54 | bus_MV_447_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5592-7_0_6_load_0 | 0 | 0.0015873 | 0.00039781 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5592-7_0_6_load_1 | 1 | 0.0021905 | 0.000549 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5592-7_0_6_load_2 | 2 | 0.0015873 | 0.00039782 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5592-7_0_6_load_3 | 3 | 0.0015862 | 0.00039755 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5592-7_0_6_load_4 | 4 | 0.001768 | 0.00044311 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5592-7_0_6_load_7 | 5 | 0.0015872 | 0.0003978 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5592-7_0_6_load_24 | 6 | 0.0024867 | 0.00062322 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5592-7_0_6_load_43 | 8 | 0.0018905 | 0.0004738 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5592-7_0_6_load_5 | 9 | 0.0029979 | 0.00075135 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5592-7_0_6_load_53 | 13 | 0.0057763 | 0.0014477 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5592-7_0_6_load_47 | 16 | 0.0046894 | 0.0011753 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5592-7_0_6_load_46 | 18 | 0.001961 | 0.00049147 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5592-7_0_6_load_51 | 20 | 0.0026217 | 0.00065705 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5592-7_0_6_load_55 | 24 | 0.013153 | 0.0032964 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5592-7_0_6_load_48 | 25 | 0.00081541 | 0.00020436 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5592-7_0_6_load_52 | 26 | 0.0080456 | 0.0020164 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5592-7_0_6_load_50 | 27 | 0.0028189 | 0.00070647 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5592-7_0_6_load_18 | 28 | 0.0021905 | 0.00054899 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5592-7_0_6_load_19 | 29 | 0.0021905 | 0.00054899 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5592-7_0_6_load_27 | 30 | 0.0025282 | 0.00063361 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5592-7_0_6_load_26 | 31 | 0.0044122 | 0.0011058 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5592-7_0_6_load_20 | 33 | 0.0021905 | 0.00054899 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5592-7_0_6_load_21 | 34 | 0.0021895 | 0.00054875 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5592-7_0_6_load_22 | 35 | 0.0021896 | 0.00054876 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5592-7_0_6_load_23 | 36 | 0.0025216 | 0.00063198 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5592-7_0_6_load_25 | 37 | 0.0026362 | 0.00066071 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5592-7_0_6_load_38 | 38 | 0.0025412 | 0.00063688 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5592-7_0_6_load_44 | 39 | 0.0024847 | 0.00062271 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5592-7_0_6_load_39 | 40 | 0.0025884 | 0.00064872 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5592-7_0_6_load_30 | 41 | 0.0059053 | 0.00148 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5592-7_0_6_load_35 | 43 | 0.0086841 | 0.0021764 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5592-7_0_6_load_36 | 46 | 0.04922 | 0.012336 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5592-7_0_6_load_45 | 50 | 0.0016789 | 0.00042078 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5592-7_0_6_load_49 | 51 | 0.0048265 | 0.0012096 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5592-7_0_6_load_37 | 52 | 0.00058276 | 0.00014605 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5592-7_0_6_load_56 | 53 | 0.0036027 | 0.00090293 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5592-7_0_6_line_0 |  | 0 | 1 | 0.025613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5592-7_0_6_line_1 |  | 0 | 2 | 0.00083511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5592-7_0_6_line_2 |  | 1 | 3 | 0.0092572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5592-7_0_6_line_3 |  | 2 | 4 | 0.029285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5592-7_0_6_line_4 |  | 3 | 5 | 0.029374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5592-7_0_6_line_5 |  | 4 | 6 | 0.010049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5592-7_0_6_line_6 |  | 5 | 7 | 0.052065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5592-7_0_6_line_7 |  | 6 | 8 | 0.010416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5592-7_0_6_line_8 |  | 7 | 10 | 0.17282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5592-7_0_6_line_9 |  | 7 | 9 | 0.019804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5592-7_0_6_line_10 |  | 8 | 39 | 0.0045944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5592-7_0_6_line_11 |  | 10 | 17 | 0.30533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5592-7_0_6_line_12 |  | 10 | 18 | 0.025294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5592-7_0_6_line_13 |  | 11 | 12 | 0.039989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5592-7_0_6_line_14 |  | 11 | 13 | 0.016576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5592-7_0_6_line_15 |  | 12 | 22 | 0.21316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5592-7_0_6_line_16 |  | 13 | 26 | 0.0030076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5592-7_0_6_line_17 |  | 14 | 15 | 0.040437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5592-7_0_6_line_18 |  | 14 | 16 | 0.017139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5592-7_0_6_line_19 |  | 15 | 21 | 0.2229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5592-7_0_6_line_20 |  | 15 | 18 | 0.01107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5592-7_0_6_line_21 |  | 16 | 25 | 0.013406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5592-7_0_6_line_22 |  | 17 | 19 | 0.26422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_5592-7_0_6_line_23 |  | 17 | 20 | 0.19486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5592-7_0_6_line_24 |  | 19 | 23 | 0.016488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5592-7_0_6_line_25 |  | 20 | 27 | 0.012299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5592-7_0_6_line_26 |  | 21 | 24 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5592-7_0_6_line_27 |  | 22 | 25 | 0.035761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5592-7_0_6_line_28 |  | 23 | 32 | 0.087973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5592-7_0_6_line_29 |  | 23 | 31 | 0.040408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5592-7_0_6_line_30 |  | 27 | 51 | 0.064031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5592-7_0_6_line_31 |  | 28 | 29 | 0.015393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5592-7_0_6_line_32 |  | 29 | 33 | 0.013793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5592-7_0_6_line_33 |  | 30 | 31 | 0.00029691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5592-7_0_6_line_34 |  | 32 | 41 | 0.066805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5592-7_0_6_line_35 |  | 33 | 34 | 0.0060686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5592-7_0_6_line_36 |  | 34 | 35 | 0.013495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5592-7_0_6_line_37 |  | 35 | 36 | 0.020998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5592-7_0_6_line_38 |  | 36 | 37 | 0.012742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5592-7_0_6_line_39 |  | 37 | 38 | 0.02032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5592-7_0_6_line_40 |  | 38 | 40 | 0.020165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5592-7_0_6_line_41 |  | 39 | 50 | 0.013364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5592-7_0_6_line_42 |  | 40 | 47 | 0.088978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5592-7_0_6_line_43 |  | 41 | 42 | 0.011392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5592-7_0_6_line_44 |  | 42 | 43 | 0.086618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5592-7_0_6_line_45 |  | 43 | 45 | 0.059032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_5592-7_0_6_line_46 |  | 44 | 45 | 0.25745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_5592-7_0_6_line_47 |  | 44 | 46 | 0.065719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5592-7_0_6_line_48 |  | 46 | 52 | 0.0025272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5592-7_0_6_line_49 |  | 47 | 48 | 0.10843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5592-7_0_6_line_50 |  | 48 | 53 | 0.030168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5592-7_0_6_line_51 |  | 48 | 49 | 0.074775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5592-7_0_6_line_52 |  | 49 | 50 | 0.098994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5592-7_0_6_trafo_14 | 0.63 MVA 20/0.4 kV | 54 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2536545.767 | 1156739.7721 | 2536543.6276 | 1156753.9052 | 2536540.8095 | 1156764.8679
1 | 2536545.767 | 1156739.7721 | 2536545.8919 | 1156738.9464
2 | 2536538.5047 | 1156773.8336 | 2536540.8095 | 1156764.8679
3 | 2536547.282 | 1156709.7045 | 2536546.8862 | 1156722.6426 | 2536546.1222 | 1156737.4254 | 2536545.8919 | 1156738.9464
4 | 2536538.5047 | 1156773.8336 | 2536531.1914 | 1156802.2827
5 | 2536547.5892 | 1156699.6603 | 2536547.282 | 1156709.7045
6 | 2536517.9309 | 1156852.6307 | 2536527.9239 | 1156814.9934 | 2536531.1914 | 1156802.2827
7 | 2536547.5892 | 1156699.6603 | 2536547.6785 | 1156696.7423 | 2536548.0633 | 1156689.2557
8 | 2536517.9309 | 1156852.6307 | 2536512.1108 | 1156886.7442 | 2536510.5026 | 1156897.1001 | 2536524.2802 | 1156899.7671 | 2536540.2902 | 1156900.3317 | 2536546.7224 | 1156897.2732 | 2536571.7637 | 1156899.0986 | 2536562.821 | 1156893.8902 | 2536560.2944 | 1156891.3599 | 2536558.0725 | 1156887.1922 | 2536557.4103 | 1156883.3082 | 2536557.3293 | 1156879.9961 | 2536562.2817 | 1156863.8906 | 2536568.4618 | 1156842.0467
9 | 2536517.9309 | 1156852.6307 | 2536498.1316 | 1156852.2154
10 | 2536548.0633 | 1156689.2557 | 2536548.1874 | 1156686.8426 | 2536548.4753 | 1156684.6837
11 | 2536568.4618 | 1156842.0467 | 2536562.2817 | 1156863.8906 | 2536563.6603 | 1156872.4363 | 2536569.421 | 1156882.0362 | 2536581.07 | 1156885.7264 | 2536694.9835 | 1156889.2492 | 2536706.3619 | 1156887.6507 | 2536717.911 | 1156882.5929 | 2536727.1627 | 1156872.0119 | 2536750.3921 | 1156794.2693 | 2536762.4468 | 1156781.8689
12 | 2536568.4618 | 1156842.0467 | 2536583.1548 | 1156848.5952 | 2536587.8614 | 1156846.2442 | 2536591.3901 | 1156844.476
13 | 2536727.0469 | 1156698.0069 | 2536746.3082 | 1156703.5961 | 2536765.4539 | 1156709.142
14 | 2536731.6875 | 1156682.0938 | 2536727.0469 | 1156698.0069
15 | 2536684.0076 | 1156881.7496 | 2536702.8291 | 1156882.0515 | 2536709.967 | 1156876.0953 | 2536712.0371 | 1156875.3286 | 2536715.8181 | 1156873.1876 | 2536720.6351 | 1156866.7556 | 2536723.5434 | 1156856.0302 | 2536726.8354 | 1156843.8666 | 2536720.4885 | 1156829.559 | 2536739.7475 | 1156763.6424 | 2536751.9845 | 1156753.9749 | 2536756.6461 | 1156739.329 | 2536760.8056 | 1156725.0552 | 2536765.4539 | 1156709.142
16 | 2536731.6875 | 1156682.0938 | 2536734.5762 | 1156682.9313
17 | 2536601.2947 | 1156839.5321 | 2536608.0946 | 1156854.5908 | 2536617.9333 | 1156876.3878
18 | 2536617.9333 | 1156876.3878 | 2536634.9898 | 1156878.0727
19 | 2536601.2947 | 1156839.5321 | 2536604.0332 | 1156830.1648 | 2536609.3701 | 1156832.3096 | 2536614.7163 | 1156834.6101 | 2536621.1991 | 1156839.2442 | 2536632.0105 | 1156843.488 | 2536639.5337 | 1156845.7099 | 2536641.5699 | 1156838.0954 | 2536682.4544 | 1156850.8158 | 2536684.1345 | 1156845.0616 | 2536649.2353 | 1156834.8906 | 2536648.0891 | 1156834.558 | 2536660.5054 | 1156792.4819 | 2536670.6929 | 1156757.9223
20 | 2536601.2947 | 1156839.5321 | 2536594.8869 | 1156842.7237 | 2536591.3901 | 1156844.476
21 | 2536634.9898 | 1156878.0727 | 2536641.5231 | 1156878.7181 | 2536648.3581 | 1156878.9963
22 | 2536762.4468 | 1156781.8689 | 2536751.5918 | 1156819.3481 | 2536754.2238 | 1156844.2674 | 2536757.2403 | 1156853.9965 | 2536768.0476 | 1156871.7035 | 2536774.5932 | 1156877.2154 | 2536780.1048 | 1156885.0395 | 2536781.9362 | 1156892.1908 | 2536782.0391 | 1156898.3264 | 2536779.7302 | 1156908.4562 | 2536776.8955 | 1156915.2564 | 2536779.8884 | 1156916.9258 | 2536782.1773 | 1156919.4698 | 2536783.5216 | 1156922.6018 | 2536783.7799 | 1156926.0121 | 2536782.9174 | 1156929.3119 | 2536781.0381 | 1156932.1665 | 2536790.2647 | 1156935.9604 | 2536837.0775 | 1156960.4926 | 2536847.6146 | 1156925.5738
23 | 2536762.4468 | 1156781.8689 | 2536793.7141 | 1156680.8403 | 2536819.1491 | 1156595.4409
24 | 2536847.6146 | 1156925.5738 | 2536852.0179 | 1156909.6856
25 | 2536819.1491 | 1156595.4409 | 2536822.6597 | 1156583.654
26 | 2536670.6929 | 1156757.9223 | 2536669.7698 | 1156757.6541 | 2536660.1214 | 1156755.0755
27 | 2536684.0076 | 1156881.7496 | 2536655.1864 | 1156879.2743 | 2536648.3581 | 1156878.9963
28 | 2536852.0179 | 1156909.6856 | 2536877.5736 | 1156825.5043
29 | 2536852.0179 | 1156909.6856 | 2536835.8115 | 1156906.4875 | 2536837.4885 | 1156899.6995 | 2536821.0155 | 1156895.9372
30 | 2536840.937 | 1156522.287 | 2536822.6597 | 1156583.654
31 | 2536418.9929 | 1156794.6676 | 2536419.2563 | 1156779.2766
32 | 2536419.2563 | 1156779.2766 | 2536419.4924 | 1156765.4854
33 | 2536821.0155 | 1156895.9372 | 2536820.726 | 1156895.8711
34 | 2536877.5736 | 1156825.5043 | 2536813.7555 | 1156805.7533
35 | 2536419.5963 | 1156759.4177 | 2536419.4924 | 1156765.4854
36 | 2536419.5963 | 1156759.4177 | 2536419.8273 | 1156745.9246
37 | 2536420.1867 | 1156724.9295 | 2536419.8273 | 1156745.9246
38 | 2536420.4048 | 1156712.1894 | 2536420.1867 | 1156724.9295
39 | 2536420.4048 | 1156712.1894 | 2536420.7526 | 1156691.8727
40 | 2536420.7526 | 1156691.8727 | 2536421.0723 | 1156673.2012 | 2536421.1094 | 1156671.7112
41 | 2536550.3831 | 1156671.4581 | 2536549.7435 | 1156675.1754 | 2536548.4753 | 1156684.6837
42 | 2536423.328 | 1156582.7612 | 2536421.1094 | 1156671.7112
43 | 2536814.9476 | 1156794.4234 | 2536813.7555 | 1156805.7533
44 | 2536814.9476 | 1156794.4234 | 2536782.7495 | 1156785.8908 | 2536796.0889 | 1156734.2783
45 | 2536810.8605 | 1156677.1246 | 2536796.0889 | 1156734.2783
46 | 2536810.8605 | 1156677.1246 | 2536828.4983 | 1156681.4748 | 2536830.8768 | 1156677.2141 | 2536837.2345 | 1156679.4374 | 2536842.3071 | 1156680.5069 | 2536913.2872 | 1156697.8929 | 2536921.0845 | 1156669.262 | 2537009.1652 | 1156680.7553 | 2537013.1847 | 1156665.5049 | 2537017.3265 | 1156650.9535
47 | 2537017.3265 | 1156650.9535 | 2537033.5943 | 1156594.1409 | 2537035.4148 | 1156587.7729
48 | 2537036.1095 | 1156585.3431 | 2537035.4148 | 1156587.7729
49 | 2536528.353 | 1156565.3857 | 2536508.3726 | 1156560.0161 | 2536423.328 | 1156582.7612
50 | 2536517.4693 | 1156593.5272 | 2536528.353 | 1156565.3857
51 | 2536600.1023 | 1156587.129 | 2536528.353 | 1156565.3857
52 | 2536600.1023 | 1156587.129 | 2536579.0156 | 1156612.7878 | 2536562.8807 | 1156638.9391 | 2536557.5616 | 1156648.6672 | 2536554.5871 | 1156656.0137 | 2536551.2536 | 1156666.3991 | 2536550.3831 | 1156671.4581

## bus_geodata
| x | y | coords
0 | 2536545.767 | 1156739.7721
1 | 2536540.8095 | 1156764.8679
2 | 2536545.8919 | 1156738.9464
3 | 2536538.5047 | 1156773.8336
4 | 2536547.282 | 1156709.7045
5 | 2536531.1914 | 1156802.2827
6 | 2536547.5892 | 1156699.6603
7 | 2536517.9309 | 1156852.6307
8 | 2536548.0633 | 1156689.2557
9 | 2536498.1316 | 1156852.2154
10 | 2536568.4618 | 1156842.0467
11 | 2536727.0469 | 1156698.0069
12 | 2536765.4539 | 1156709.142
13 | 2536731.6875 | 1156682.0938
14 | 2536617.9333 | 1156876.3878
15 | 2536601.2948 | 1156839.5321
16 | 2536634.9898 | 1156878.0727
17 | 2536762.4468 | 1156781.8689
18 | 2536591.3901 | 1156844.476
19 | 2536847.6146 | 1156925.5738
20 | 2536819.1491 | 1156595.4409
21 | 2536670.6929 | 1156757.9223
22 | 2536684.0076 | 1156881.7496
23 | 2536852.0179 | 1156909.6856
24 | 2536660.1214 | 1156755.0755
25 | 2536648.3581 | 1156878.9963
26 | 2536734.5762 | 1156682.9313
27 | 2536822.6597 | 1156583.654
28 | 2536418.9929 | 1156794.6676
29 | 2536419.2563 | 1156779.2766
30 | 2536820.726 | 1156895.8711
31 | 2536821.0155 | 1156895.9372
32 | 2536877.5736 | 1156825.5043
33 | 2536419.4924 | 1156765.4854
34 | 2536419.5963 | 1156759.4177
35 | 2536419.8273 | 1156745.9246
36 | 2536420.1867 | 1156724.9295
37 | 2536420.4048 | 1156712.1894
38 | 2536420.7526 | 1156691.8726
39 | 2536548.4753 | 1156684.6837
40 | 2536421.1094 | 1156671.7112
41 | 2536813.7555 | 1156805.7533
42 | 2536814.9476 | 1156794.4234
43 | 2536796.0889 | 1156734.2783
44 | 2537017.3265 | 1156650.9535
45 | 2536810.8605 | 1156677.1246
46 | 2537035.4148 | 1156587.7729
47 | 2536423.328 | 1156582.7612
48 | 2536528.353 | 1156565.3857
49 | 2536600.1023 | 1156587.129
50 | 2536550.3831 | 1156671.4581
51 | 2536840.937 | 1156522.287
52 | 2537036.1095 | 1156585.3431
53 | 2536517.4693 | 1156593.5272
54 | 2536746.3082 | 1156703.5961

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1