## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_56-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_56-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_56-14_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_56-14_0_5_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_56-14_0_5_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_56-14_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_56-14_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_56-14_0_5_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_56-14_0_5_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_56-14_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_56-14_0_5_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_56-14_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_56-14_0_5_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_56-14_0_5_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_56-14_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_56-14_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_56-14_0_5_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_56-14_0_5_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_56-14_0_5_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_56-14_0_5_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_56-14_0_5_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_56-14_0_5_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_56-14_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_56-14_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_56-14_0_5_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_56-14_0_5_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_56-14_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_56-14_0_5_node_89 | 0.4 | n |  | TRUE
28 | bus_LV_56-14_0_5_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_56-14_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_56-14_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_56-14_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_56-14_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_56-14_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_56-14_0_5_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_56-14_0_5_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_56-14_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_56-14_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_56-14_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_56-14_0_5_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_56-14_0_5_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_56-14_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_56-14_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_56-14_0_5_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_56-14_0_5_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_56-14_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_56-14_0_5_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_56-14_0_5_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_56-14_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_56-14_0_5_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_56-14_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_56-14_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_56-14_0_5_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_56-14_0_5_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_56-14_0_5_node_157 | 0.4 | n |  | TRUE
55 | bus_LV_56-14_0_5_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_56-14_0_5_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_56-14_0_5_node_90 | 0.4 | n |  | TRUE
58 | bus_LV_56-14_0_5_node_155 | 0.4 | n |  | TRUE
59 | bus_LV_56-14_0_5_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_56-14_0_5_node_96 | 0.4 | n |  | TRUE
61 | bus_LV_56-14_0_5_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_56-14_0_5_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_56-14_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_56-14_0_5_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_56-14_0_5_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_56-14_0_5_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_56-14_0_5_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_56-14_0_5_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_56-14_0_5_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_56-14_0_5_node_121 | 0.4 | n |  | TRUE
71 | bus_LV_56-14_0_5_node_111 | 0.4 | n |  | TRUE
72 | bus_LV_56-14_0_5_node_120 | 0.4 | n |  | TRUE
73 | bus_LV_56-14_0_5_node_109 | 0.4 | n |  | TRUE
74 | bus_LV_56-14_0_5_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_56-14_0_5_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_56-14_0_5_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_56-14_0_5_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_56-14_0_5_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_56-14_0_5_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_56-14_0_5_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_56-14_0_5_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_56-14_0_5_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_56-14_0_5_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_56-14_0_5_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_56-14_0_5_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_56-14_0_5_node_156 | 0.4 | n |  | TRUE
87 | bus_LV_56-14_0_5_node_102 | 0.4 | n |  | TRUE
88 | bus_LV_56-14_0_5_node_100 | 0.4 | n |  | TRUE
89 | bus_LV_56-14_0_5_node_108 | 0.4 | n |  | TRUE
90 | bus_LV_56-14_0_5_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_56-14_0_5_node_66 | 0.4 | n |  | TRUE
92 | bus_LV_56-14_0_5_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_56-14_0_5_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_56-14_0_5_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_56-14_0_5_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_56-14_0_5_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_56-14_0_5_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_56-14_0_5_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_56-14_0_5_node_78 | 0.4 | n |  | TRUE
100 | bus_LV_56-14_0_5_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_56-14_0_5_node_84 | 0.4 | n |  | TRUE
102 | bus_LV_56-14_0_5_node_153 | 0.4 | n |  | TRUE
103 | bus_LV_56-14_0_5_node_82 | 0.4 | n |  | TRUE
104 | bus_LV_56-14_0_5_node_158 | 0.4 | n |  | TRUE
105 | bus_LV_56-14_0_5_node_81 | 0.4 | n |  | TRUE
106 | bus_LV_56-14_0_5_node_83 | 0.4 | n |  | TRUE
107 | bus_LV_56-14_0_5_node_86 | 0.4 | n |  | TRUE
108 | bus_LV_56-14_0_5_node_154 | 0.4 | n |  | TRUE
109 | bus_LV_56-14_0_5_node_92 | 0.4 | n |  | TRUE
110 | bus_LV_56-14_0_5_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_56-14_0_5_node_114 | 0.4 | n |  | TRUE
112 | bus_LV_56-14_0_5_node_110 | 0.4 | n |  | TRUE
113 | bus_LV_56-14_0_5_node_98 | 0.4 | n |  | TRUE
114 | bus_LV_56-14_0_5_node_101 | 0.4 | n |  | TRUE
115 | bus_LV_56-14_0_5_node_104 | 0.4 | n |  | TRUE
116 | bus_LV_56-14_0_5_node_105 | 0.4 | n |  | TRUE
117 | bus_LV_56-14_0_5_node_106 | 0.4 | n |  | TRUE
118 | bus_LV_56-14_0_5_node_107 | 0.4 | n |  | TRUE
119 | bus_LV_56-14_0_5_node_115 | 0.4 | n |  | TRUE
120 | bus_LV_56-14_0_5_node_128 | 0.4 | n |  | TRUE
121 | bus_LV_56-14_0_5_node_116 | 0.4 | n |  | TRUE
122 | bus_LV_56-14_0_5_node_123 | 0.4 | n |  | TRUE
123 | bus_LV_56-14_0_5_node_119 | 0.4 | n |  | TRUE
124 | bus_LV_56-14_0_5_node_137 | 0.4 | n |  | TRUE
125 | bus_LV_56-14_0_5_node_129 | 0.4 | n |  | TRUE
126 | bus_LV_56-14_0_5_node_117 | 0.4 | n |  | TRUE
127 | bus_LV_56-14_0_5_node_118 | 0.4 | n |  | TRUE
128 | bus_LV_56-14_0_5_node_122 | 0.4 | n |  | TRUE
129 | bus_LV_56-14_0_5_node_124 | 0.4 | n |  | TRUE
130 | bus_LV_56-14_0_5_node_125 | 0.4 | n |  | TRUE
131 | bus_LV_56-14_0_5_node_152 | 0.4 | n |  | TRUE
132 | bus_LV_56-14_0_5_node_164 | 0.4 | n |  | TRUE
133 | bus_LV_56-14_0_5_node_130 | 0.4 | n |  | TRUE
134 | bus_LV_56-14_0_5_node_131 | 0.4 | n |  | TRUE
135 | bus_LV_56-14_0_5_node_139 | 0.4 | n |  | TRUE
136 | bus_LV_56-14_0_5_node_136 | 0.4 | n |  | TRUE
137 | bus_LV_56-14_0_5_node_132 | 0.4 | n |  | TRUE
138 | bus_LV_56-14_0_5_node_133 | 0.4 | n |  | TRUE
139 | bus_LV_56-14_0_5_node_135 | 0.4 | n |  | TRUE
140 | bus_LV_56-14_0_5_node_138 | 0.4 | n |  | TRUE
141 | bus_LV_56-14_0_5_node_134 | 0.4 | n |  | TRUE
142 | bus_LV_56-14_0_5_node_140 | 0.4 | n |  | TRUE
143 | bus_LV_56-14_0_5_node_141 | 0.4 | n |  | TRUE
144 | bus_LV_56-14_0_5_node_147 | 0.4 | n |  | TRUE
145 | bus_LV_56-14_0_5_node_148 | 0.4 | n |  | TRUE
146 | bus_LV_56-14_0_5_node_149 | 0.4 | n |  | TRUE
147 | bus_LV_56-14_0_5_node_146 | 0.4 | n |  | TRUE
148 | bus_LV_56-14_0_5_node_142 | 0.4 | n |  | TRUE
149 | bus_LV_56-14_0_5_node_143 | 0.4 | n |  | TRUE
150 | bus_LV_56-14_0_5_node_144 | 0.4 | n |  | TRUE
151 | bus_LV_56-14_0_5_node_145 | 0.4 | n |  | TRUE
152 | bus_LV_56-14_0_5_node_165 | 0.4 | n |  | TRUE
153 | bus_LV_56-14_0_5_node_159 | 0.4 | n |  | TRUE
154 | bus_LV_56-14_0_5_node_160 | 0.4 | n |  | TRUE
155 | bus_LV_56-14_0_5_node_161 | 0.4 | n |  | TRUE
156 | bus_LV_56-14_0_5_node_162 | 0.4 | n |  | TRUE
157 | bus_LV_56-14_0_5_node_163 | 0.4 | n |  | TRUE
158 | bus_MV_372_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_56-14_0_5_load_0 | 0 | 0.0031768 | 0.00079617 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_56-14_0_5_load_1 | 1 | 0.0038006 | 0.00095251 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_56-14_0_5_load_9 | 3 | 0.0073825 | 0.0018502 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_56-14_0_5_load_10 | 4 | 0.0070358 | 0.0017633 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_56-14_0_5_load_37 | 7 | 0.010454 | 0.0026201 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_56-14_0_5_load_35 | 8 | 0.0051297 | 0.0012856 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_56-14_0_5_load_39 | 10 | 0.0056792 | 0.0014234 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_56-14_0_5_load_44 | 12 | 0.0032207 | 0.00080718 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_56-14_0_5_load_19 | 13 | 0.007415 | 0.0018584 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_56-14_0_5_load_11 | 14 | 0.0023623 | 0.00059206 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_56-14_0_5_load_12 | 15 | 0.0045591 | 0.0011426 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_56-14_0_5_load_36 | 16 | 0.0038202 | 0.00095742 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_56-14_0_5_load_40 | 17 | 0.0047834 | 0.0011988 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_56-14_0_5_load_42 | 19 | 0.0040275 | 0.0010094 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_56-14_0_5_load_41 | 20 | 0.0044883 | 0.0011249 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_56-14_0_5_load_24 | 21 | 0.0038363 | 0.00096146 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_56-14_0_5_load_15 | 22 | 0.0087705 | 0.0021981 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_56-14_0_5_load_16 | 23 | 0.0068389 | 0.001714 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_56-14_0_5_load_25 | 24 | 0.0017146 | 0.00042971 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_56-14_0_5_load_26 | 25 | 0.0025062 | 0.00062811 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_56-14_0_5_load_14 | 26 | 0.0078568 | 0.0019691 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_56-14_0_5_load_89 | 27 | 0.0055899 | 0.001401 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_56-14_0_5_load_13 | 28 | 0.0066289 | 0.0016614 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_56-14_0_5_load_21 | 29 | 0.009549 | 0.0023932 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_56-14_0_5_load_18 | 31 | 0.0072476 | 0.0018164 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_56-14_0_5_load_22 | 32 | 0.007743 | 0.0019406 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_56-14_0_5_load_20 | 33 | 0.0029546 | 0.00074049 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_56-14_0_5_load_88 | 34 | 0.0031808 | 0.00079718 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_56-14_0_5_load_87 | 35 | 0.0035579 | 0.0008917 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_56-14_0_5_load_30 | 37 | 0.022137 | 0.0055481 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_56-14_0_5_load_34 | 41 | 0.016521 | 0.0041405 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_56-14_0_5_load_95 | 44 | 0.0044774 | 0.0011221 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_56-14_0_5_load_70 | 46 | 0.020095 | 0.0050364 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_56-14_0_5_load_49 | 47 | 0.002481 | 0.0006218 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_56-14_0_5_load_45 | 48 | 0.010641 | 0.002667 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_56-14_0_5_load_27 | 49 | 0.0039015 | 0.0009778 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_56-14_0_5_load_28 | 50 | 0.0067252 | 0.0016855 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_56-14_0_5_load_76 | 53 | 0.0031874 | 0.00079885 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_56-14_0_5_load_157 | 54 | 0.0027413 | 0.00068703 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_56-14_0_5_load_75 | 55 | 0.0056071 | 0.0014053 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_56-14_0_5_load_91 | 56 | 0.0075995 | 0.0019046 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_56-14_0_5_load_90 | 57 | 0.0031332 | 0.00078526 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_56-14_0_5_load_155 | 58 | 0.0020059 | 0.00050273 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_56-14_0_5_load_55 | 59 | 0.00475 | 0.0011905 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_56-14_0_5_load_96 | 60 | 0.019183 | 0.0048078 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_56-14_0_5_load_65 | 64 | 0.0050279 | 0.0012601 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_56-14_0_5_load_43 | 65 | 0.00031929 | 8.002e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_56-14_0_5_load_46 | 66 | 0.0030943 | 0.0007755 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_56-14_0_5_load_48 | 67 | 0.013541 | 0.0033936 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_56-14_0_5_load_50 | 68 | 0.0039947 | 0.0010012 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_56-14_0_5_load_51 | 69 | 0.0057381 | 0.0014381 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_56-14_0_5_load_121 | 70 | 0.0043151 | 0.0010815 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_56-14_0_5_load_111 | 71 | 0.0014636 | 0.00036682 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_56-14_0_5_load_109 | 73 | 0.0068863 | 0.0017259 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_56-14_0_5_load_52 | 74 | 0.0044896 | 0.0011252 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_56-14_0_5_load_53 | 75 | 0.0028383 | 0.00071135 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_56-14_0_5_load_56 | 77 | 0.0014448 | 0.00036211 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_56-14_0_5_load_72 | 80 | 0.0022506 | 0.00056405 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_56-14_0_5_load_64 | 84 | 0.0011807 | 0.00029591 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_56-14_0_5_load_71 | 85 | 0.0014496 | 0.00036329 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_56-14_0_5_load_156 | 86 | 0.0016872 | 0.00042286 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_56-14_0_5_load_102 | 87 | 0.0053515 | 0.0013412 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_56-14_0_5_load_108 | 89 | 0.0037015 | 0.00092769 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_56-14_0_5_load_74 | 90 | 0.0031374 | 0.0007863 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_56-14_0_5_load_66 | 91 | 0.034665 | 0.008688 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_56-14_0_5_load_94 | 94 | 0.037014 | 0.0092766 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_56-14_0_5_load_99 | 96 | 0.0016967 | 0.00042523 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_56-14_0_5_load_153 | 102 | 0.0059916 | 0.0015016 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_56-14_0_5_load_82 | 103 | 0.0046739 | 0.0011714 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_56-14_0_5_load_158 | 104 | 0.0013707 | 0.00034353 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_56-14_0_5_load_81 | 105 | 0.0069659 | 0.0017458 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_56-14_0_5_load_83 | 106 | 0.006043 | 0.0015145 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_56-14_0_5_load_86 | 107 | 0.0098261 | 0.0024627 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_56-14_0_5_load_154 | 108 | 0.01471 | 0.0036868 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_56-14_0_5_load_114 | 111 | 0.0025862 | 0.00064816 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_56-14_0_5_load_110 | 112 | 0.0085756 | 0.0021493 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_56-14_0_5_load_98 | 113 | 0.0011505 | 0.00028833 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_56-14_0_5_load_104 | 115 | 0.0024911 | 0.00062433 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_56-14_0_5_load_106 | 117 | 0.0010835 | 0.00027155 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_56-14_0_5_load_107 | 118 | 0.00064687 | 0.00016212 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_56-14_0_5_load_128 | 120 | 0.00039968 | 0.00010017 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_56-14_0_5_load_123 | 122 | 0.00090757 | 0.00022746 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_56-14_0_5_load_119 | 123 | 0.00087489 | 0.00021927 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_56-14_0_5_load_117 | 126 | 0.0044646 | 0.0011189 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_56-14_0_5_load_118 | 127 | 0.0011501 | 0.00028824 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_56-14_0_5_load_124 | 129 | 0.0030139 | 0.00075535 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_56-14_0_5_load_152 | 131 | 0.0029709 | 0.00074459 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_56-14_0_5_load_164 | 132 | 0.016147 | 0.0040468 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_56-14_0_5_load_130 | 133 | 0.0010256 | 0.00025703 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_56-14_0_5_load_136 | 136 | 0.0007978 | 0.00019995 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_56-14_0_5_load_132 | 137 | 0.00096157 | 0.00024099 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_56-14_0_5_load_133 | 138 | 0.0032283 | 0.00080909 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_56-14_0_5_load_135 | 139 | 0.00080232 | 0.00020108 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_56-14_0_5_load_138 | 140 | 0.012525 | 0.003139 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_56-14_0_5_load_134 | 141 | 0.00074836 | 0.00018756 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_56-14_0_5_load_140 | 142 | 0.002144 | 0.00053734 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_56-14_0_5_load_141 | 143 | 0.0075643 | 0.0018958 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_56-14_0_5_load_148 | 145 | 0.0020923 | 0.00052439 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_56-14_0_5_load_146 | 147 | 0.0072725 | 0.0018227 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_56-14_0_5_load_142 | 148 | 0.0026899 | 0.00067414 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_56-14_0_5_load_143 | 149 | 0.0025771 | 0.00064589 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_56-14_0_5_load_165 | 152 | 0.0041678 | 0.0010446 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_56-14_0_5_load_159 | 153 | 0.0013707 | 0.00034353 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_56-14_0_5_load_160 | 154 | 0.001371 | 0.00034361 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_56-14_0_5_load_161 | 155 | 0.0014082 | 0.00035294 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_56-14_0_5_load_162 | 156 | 0.001371 | 0.00034361 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_56-14_0_5_load_163 | 157 | 0.0014492 | 0.0003632 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_56-14_0_5_line_0 |  | 0 | 1 | 0.016157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_56-14_0_5_line_1 |  | 1 | 2 | 0.02602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_56-14_0_5_line_2 |  | 2 | 3 | 0.013958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_56-14_0_5_line_3 |  | 2 | 4 | 0.01224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_56-14_0_5_line_4 |  | 2 | 5 | 0.013116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_56-14_0_5_line_5 |  | 3 | 14 | 0.017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_56-14_0_5_line_6 |  | 4 | 15 | 0.025633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_56-14_0_5_line_7 |  | 5 | 11 | 0.029068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_56-14_0_5_line_8 |  | 5 | 12 | 0.0085096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_56-14_0_5_line_9 |  | 6 | 7 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_56-14_0_5_line_10 |  | 6 | 8 | 0.015545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_56-14_0_5_line_11 |  | 7 | 18 | 0.01232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_56-14_0_5_line_12 |  | 8 | 9 | 0.032106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_56-14_0_5_line_13 |  | 9 | 10 | 0.014958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_56-14_0_5_line_14 |  | 10 | 20 | 0.025418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_56-14_0_5_line_15 |  | 11 | 13 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_56-14_0_5_line_16 |  | 12 | 20 | 0.012726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_56-14_0_5_line_17 |  | 13 | 21 | 0.017442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_56-14_0_5_line_18 |  | 14 | 26 | 0.011653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_56-14_0_5_line_19 |  | 15 | 27 | 0.0096878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_56-14_0_5_line_20 |  | 16 | 17 | 0.0096547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_56-14_0_5_line_21 |  | 17 | 39 | 0.020482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_56-14_0_5_line_22 |  | 18 | 19 | 0.029023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_56-14_0_5_line_23 |  | 19 | 65 | 0.0053345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_56-14_0_5_line_24 |  | 21 | 39 | 0.021235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_56-14_0_5_line_25 |  | 22 | 23 | 0.029021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_56-14_0_5_line_26 |  | 23 | 30 | 0.005211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_56-14_0_5_line_27 |  | 23 | 31 | 0.01809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_56-14_0_5_line_28 |  | 24 | 25 | 0.0077121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_56-14_0_5_line_29 |  | 25 | 49 | 0.052027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_56-14_0_5_line_30 |  | 26 | 28 | 0.0023135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_56-14_0_5_line_31 |  | 27 | 29 | 0.019207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_56-14_0_5_line_32 |  | 29 | 30 | 0.018751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_56-14_0_5_line_33 |  | 30 | 32 | 0.01533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_56-14_0_5_line_34 |  | 32 | 35 | 0.00961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_56-14_0_5_line_35 |  | 33 | 34 | 0.012499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_56-14_0_5_line_36 |  | 34 | 38 | 0.017866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_56-14_0_5_line_37 |  | 35 | 40 | 0.026494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_56-14_0_5_line_38 |  | 36 | 37 | 0.019193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_56-14_0_5_line_39 |  | 36 | 38 | 0.011319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_56-14_0_5_line_40 |  | 37 | 41 | 0.0049172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_56-14_0_5_line_41 |  | 38 | 42 | 0.0224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_56-14_0_5_line_42 |  | 39 | 47 | 0.035601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_56-14_0_5_line_43 |  | 39 | 48 | 0.024029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_56-14_0_5_line_44 |  | 40 | 107 | 0.028615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_56-14_0_5_line_45 |  | 40 | 106 | 0.014984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_56-14_0_5_line_46 |  | 41 | 56 | 0.011564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_56-14_0_5_line_47 |  | 42 | 43 | 0.009323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_56-14_0_5_line_48 |  | 42 | 44 | 0.011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_56-14_0_5_line_49 |  | 43 | 59 | 0.026535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_56-14_0_5_line_50 |  | 43 | 45 | 0.005101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_56-14_0_5_line_51 |  | 44 | 60 | 0.011103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_56-14_0_5_line_52 |  | 45 | 46 | 0.01698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_56-14_0_5_line_53 |  | 46 | 61 | 0.023562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_56-14_0_5_line_54 |  | 47 | 69 | 0.0068469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_56-14_0_5_line_55 |  | 48 | 66 | 0.011837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_56-14_0_5_line_56 |  | 49 | 50 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_56-14_0_5_line_57 |  | 50 | 51 | 0.008475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_56-14_0_5_line_58 |  | 51 | 52 | 0.055424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_56-14_0_5_line_59 |  | 51 | 53 | 0.018946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_56-14_0_5_line_60 |  | 52 | 54 | 0.046263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_56-14_0_5_line_61 |  | 53 | 55 | 0.047519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_56-14_0_5_line_62 |  | 54 | 104 | 0.006086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_56-14_0_5_line_63 |  | 55 | 97 | 0.037126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_56-14_0_5_line_64 |  | 57 | 58 | 0.013749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_56-14_0_5_line_65 |  | 58 | 99 | 0.006729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_56-14_0_5_line_66 |  | 59 | 75 | 0.013292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_56-14_0_5_line_67 |  | 60 | 100 | 0.024478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_56-14_0_5_line_68 |  | 61 | 92 | 0.026536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_56-14_0_5_line_69 |  | 61 | 91 | 0.011823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_56-14_0_5_line_70 |  | 62 | 63 | 0.012982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_56-14_0_5_line_71 |  | 62 | 64 | 0.019281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_56-14_0_5_line_72 |  | 63 | 76 | 0.016409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_56-14_0_5_line_73 |  | 66 | 67 | 0.021282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_56-14_0_5_line_74 |  | 67 | 68 | 0.016708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_56-14_0_5_line_75 |  | 68 | 70 | 0.00055099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_56-14_0_5_line_76 |  | 69 | 71 | 0.0037169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_56-14_0_5_line_77 |  | 70 | 72 | 0.023144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_56-14_0_5_line_78 |  | 71 | 73 | 0.022214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_56-14_0_5_line_79 |  | 72 | 128 | 0.026254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_56-14_0_5_line_80 |  | 74 | 75 | 0.029641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_56-14_0_5_line_81 |  | 74 | 76 | 0.0064943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_56-14_0_5_line_82 |  | 76 | 77 | 0.030178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_56-14_0_5_line_83 |  | 76 | 78 | 0.021133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_56-14_0_5_line_84 |  | 77 | 79 | 0.012665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_56-14_0_5_line_85 |  | 78 | 80 | 0.018394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_56-14_0_5_line_86 |  | 79 | 81 | 0.015069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_56-14_0_5_line_87 |  | 80 | 82 | 0.0077693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_56-14_0_5_line_88 |  | 81 | 84 | 0.01445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_56-14_0_5_line_89 |  | 82 | 83 | 0.009609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_56-14_0_5_line_90 |  | 83 | 90 | 0.012085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_56-14_0_5_line_91 |  | 83 | 85 | 0.0085606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_56-14_0_5_line_92 |  | 84 | 86 | 0.024917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_56-14_0_5_line_93 |  | 87 | 88 | 0.0232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_56-14_0_5_line_94 |  | 88 | 114 | 0.015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_56-14_0_5_line_95 |  | 88 | 113 | 0.0090538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_56-14_0_5_line_96 |  | 89 | 90 | 0.014929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_56-14_0_5_line_97 |  | 92 | 93 | 0.035306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_56-14_0_5_line_98 |  | 92 | 94 | 0.017785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_56-14_0_5_line_99 |  | 93 | 95 | 0.033369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_56-14_0_5_line_100 |  | 93 | 96 | 0.02494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_56-14_0_5_line_101 |  | 95 | 111 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_56-14_0_5_line_102 |  | 95 | 109 | 0.003731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_56-14_0_5_line_103 |  | 96 | 113 | 0.0059951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_56-14_0_5_line_104 |  | 97 | 98 | 0.059997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_56-14_0_5_line_105 |  | 98 | 101 | 0.010148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_56-14_0_5_line_106 |  | 98 | 102 | 0.018046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_56-14_0_5_line_107 |  | 98 | 99 | 0.020409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_56-14_0_5_line_108 |  | 99 | 100 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_56-14_0_5_line_109 |  | 101 | 103 | 0.032327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_56-14_0_5_line_110 |  | 103 | 105 | 0.0045342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_56-14_0_5_line_111 |  | 104 | 153 | 0.0071408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_56-14_0_5_line_112 |  | 105 | 106 | 0.0070329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
113 | LV_56-14_0_5_line_113 |  | 107 | 108 | 0.0022296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_56-14_0_5_line_114 |  | 109 | 110 | 0.029101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_56-14_0_5_line_115 |  | 110 | 112 | 0.017015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_56-14_0_5_line_116 |  | 114 | 115 | 0.012046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_56-14_0_5_line_117 |  | 115 | 116 | 0.024011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_56-14_0_5_line_118 |  | 116 | 117 | 0.013367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_56-14_0_5_line_119 |  | 117 | 118 | 0.0014211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_56-14_0_5_line_120 |  | 118 | 119 | 0.014402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_56-14_0_5_line_121 |  | 119 | 120 | 0.020544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_56-14_0_5_line_122 |  | 120 | 124 | 0.017089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_56-14_0_5_line_123 |  | 121 | 122 | 0.026065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_56-14_0_5_line_124 |  | 121 | 123 | 0.00026702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_56-14_0_5_line_125 |  | 122 | 125 | 0.01407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_56-14_0_5_line_126 |  | 123 | 126 | 0.013559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_56-14_0_5_line_127 |  | 124 | 135 | 0.030666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_56-14_0_5_line_128 |  | 124 | 136 | 0.014402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_56-14_0_5_line_129 |  | 125 | 133 | 0.022871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_56-14_0_5_line_130 |  | 125 | 134 | 0.003998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_56-14_0_5_line_131 |  | 126 | 127 | 0.022223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_56-14_0_5_line_132 |  | 128 | 129 | 0.029506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_56-14_0_5_line_133 |  | 128 | 130 | 0.043479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_56-14_0_5_line_134 |  | 129 | 131 | 0.0098126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_56-14_0_5_line_135 |  | 130 | 132 | 0.0427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_56-14_0_5_line_136 |  | 133 | 137 | 0.010031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_56-14_0_5_line_137 |  | 134 | 138 | 0.02575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_56-14_0_5_line_138 |  | 135 | 142 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_56-14_0_5_line_139 |  | 135 | 140 | 0.026929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_56-14_0_5_line_140 |  | 136 | 141 | 0.0095617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_56-14_0_5_line_141 |  | 137 | 139 | 0.0084756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_56-14_0_5_line_142 |  | 139 | 141 | 0.011138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_56-14_0_5_line_143 |  | 142 | 143 | 0.021571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_56-14_0_5_line_144 |  | 143 | 144 | 0.016162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_56-14_0_5_line_145 |  | 144 | 145 | 0.018717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_56-14_0_5_line_146 |  | 144 | 146 | 0.029779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_56-14_0_5_line_147 |  | 144 | 147 | 0.034728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_56-14_0_5_line_148 |  | 146 | 152 | 0.017311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_56-14_0_5_line_149 |  | 147 | 151 | 0.0038241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_56-14_0_5_line_150 |  | 148 | 149 | 0.0119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_56-14_0_5_line_151 |  | 149 | 150 | 0.015965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_56-14_0_5_line_152 |  | 150 | 151 | 0.019917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_56-14_0_5_line_153 |  | 153 | 154 | 0.0070643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_56-14_0_5_line_154 |  | 154 | 155 | 0.0042497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_56-14_0_5_line_155 |  | 155 | 156 | 0.0028684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_56-14_0_5_line_156 |  | 156 | 157 | 0.0070826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_56-14_0_5_trafo_18 | 0.63 MVA 20/0.4 kV | 158 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2687052.29 | 1262151.9711 | 2687055.5457 | 1262141.0141 | 2687057.198 | 1262136.5853
1 | 2687066.5252 | 1262112.2975 | 2687063.257 | 1262120.3446 | 2687057.198 | 1262136.5853
2 | 2687066.5252 | 1262112.2975 | 2687053.4629 | 1262107.3773
3 | 2687066.5252 | 1262112.2975 | 2687071.1313 | 1262100.9577
4 | 2687066.5252 | 1262112.2975 | 2687071.5758 | 1262114.1956 | 2687072.5596 | 1262111.3522 | 2687076.9186 | 1262113.14
5 | 2687053.4629 | 1262107.3773 | 2687040.0733 | 1262102.3337 | 2687037.5442 | 1262100.1059
6 | 2687071.1313 | 1262100.9577 | 2687073.5384 | 1262095.0315 | 2687081.0512 | 1262077.6173 | 2687081.1546 | 1262077.3669
7 | 2687076.9186 | 1262113.14 | 2687072.5596 | 1262111.3522 | 2687082.1799 | 1262088.9762
8 | 2687076.9186 | 1262113.14 | 2687073.8829 | 1262121.0897
9 | 2687102.569 | 1262185.1633 | 2687108.9593 | 1262183.0669 | 2687117.7765 | 1262185.6219
10 | 2687102.569 | 1262185.1633 | 2687087.6876 | 1262180.6708
11 | 2687127.8426 | 1262192.2189 | 2687121.8568 | 1262186.8042 | 2687117.7765 | 1262185.6219
12 | 2687056.9519 | 1262171.3921 | 2687087.6876 | 1262180.6708
13 | 2687056.9519 | 1262171.3921 | 2687061.3734 | 1262157.103
14 | 2687061.3734 | 1262157.103 | 2687066.6831 | 1262139.9439 | 2687069.3428 | 1262132.9788
15 | 2687082.1799 | 1262088.9762 | 2687097.2903 | 1262097.2924
16 | 2687069.3428 | 1262132.9788 | 2687073.8829 | 1262121.0897
17 | 2687097.2903 | 1262097.2924 | 2687112.5708 | 1262105.7022
18 | 2687037.5442 | 1262100.1059 | 2687037.5442 | 1262100.1059 | 2687037.0017 | 1262097.0288 | 2687037.8821 | 1262091.9933 | 2687038.9495 | 1262088.7478
19 | 2687084.852 | 1262068.4124 | 2687081.1546 | 1262077.3669
20 | 2687106.7583 | 1262125.3445 | 2687115.8504 | 1262128.592
21 | 2687131.1746 | 1262115.9411 | 2687124.1933 | 1262124.9009 | 2687115.8504 | 1262128.592
22 | 2687127.8426 | 1262192.2189 | 2687132.7286 | 1262191.4791 | 2687155.7544 | 1262198.5305
23 | 2687155.7544 | 1262198.5305 | 2687160.8551 | 1262200.0925
24 | 2687131.1746 | 1262115.9411 | 2687112.5708 | 1262105.7022
25 | 2687103.1512 | 1262034.175 | 2687093.3659 | 1262061.4967
26 | 2687103.1512 | 1262034.175 | 2687098.0918 | 1262032.8662
27 | 2687103.1512 | 1262034.175 | 2687107.0185 | 1262016.5029
28 | 2686978.5776 | 1262103.5191 | 2686981.1228 | 1262096.2391
29 | 2686981.1228 | 1262096.2391 | 2686981.6139 | 1262094.8347 | 2686983.1317 | 1262086.417 | 2686986.0882 | 1262044.5353
30 | 2687039.6723 | 1262086.5501 | 2687038.9495 | 1262088.7478
31 | 2687084.852 | 1262068.4124 | 2687088.7869 | 1262058.883 | 2687092.0597 | 1262050.6092
32 | 2687098.0918 | 1262032.8662 | 2687094.2577 | 1262045.0527 | 2687092.0597 | 1262050.6092
33 | 2687098.0918 | 1262032.8662 | 2687083.0908 | 1262029.7054
34 | 2687083.0908 | 1262029.7054 | 2687073.6873 | 1262027.724
35 | 2687104.6432 | 1261995.5888 | 2687105.064 | 1261986.688 | 2687104.4421 | 1261983.1539
36 | 2687102.7708 | 1261965.3819 | 2687103.176 | 1261973.1717 | 2687104.028 | 1261980.8014 | 2687104.4421 | 1261983.1539
37 | 2687047.7627 | 1262022.2615 | 2687073.6873 | 1262027.724
38 | 2687110.3055 | 1261969.5072 | 2687129.4982 | 1261969.6625
39 | 2687102.7708 | 1261965.3819 | 2687110.0039 | 1261965.4328 | 2687110.3055 | 1261969.5072
40 | 2687129.4982 | 1261969.6625 | 2687134.4153 | 1261969.7023
41 | 2687102.7708 | 1261965.3819 | 2687102.1582 | 1261946.6136 | 2687102.6631 | 1261943.0293
42 | 2687131.1746 | 1262115.9411 | 2687146.0812 | 1262083.611
43 | 2687131.1746 | 1262115.9411 | 2687138.5785 | 1262110.0121 | 2687152.1735 | 1262115.1782
44 | 2687047.7627 | 1262022.2615 | 2687039.002 | 1262045.6177 | 2687038.9105 | 1262047.2287 | 2687039.8328 | 1262049.066
45 | 2687047.7627 | 1262022.2615 | 2687044.2718 | 1262020.3531 | 2687041.0802 | 1262017.5706 | 2687040.2006 | 1262014.8778 | 2687039.8213 | 1262010.958
46 | 2687145.9785 | 1261969.7959 | 2687134.4153 | 1261969.7023
47 | 2687103.8618 | 1261933.7841 | 2687103.0667 | 1261940.1886 | 2687102.6631 | 1261943.0293
48 | 2687102.6631 | 1261943.0293 | 2687091.6658 | 1261943.293
49 | 2687103.8618 | 1261933.7841 | 2687104.2207 | 1261923.2366 | 2687104.8927 | 1261915.4738 | 2687106.1518 | 1261907.3818
50 | 2687108.9768 | 1261933.8817 | 2687103.8618 | 1261933.7841
51 | 2687091.6658 | 1261943.293 | 2687084.5646 | 1261943.4632 | 2687081.6971 | 1261940.6744 | 2687081.6971 | 1261940.6744
52 | 2687108.9768 | 1261933.8817 | 2687125.8979 | 1261935.2894
53 | 2687146.992 | 1261927.759 | 2687141.0101 | 1261930.2395 | 2687137.2242 | 1261934.5427 | 2687126.1963 | 1261935.3142 | 2687125.8979 | 1261935.2894
54 | 2687146.0812 | 1262083.611 | 2687146.3299 | 1262083.0717 | 2687150.5125 | 1262078.4236
55 | 2687152.1735 | 1262115.1782 | 2687163.2381 | 1262119.3828
56 | 2686986.782 | 1262030.4688 | 2686986.1303 | 1262043.9387 | 2686986.0882 | 1262044.5353
57 | 2686987.1916 | 1262022.0037 | 2686986.782 | 1262030.4688
58 | 2686933.8175 | 1262012.4561 | 2686940.3663 | 1262013.9424 | 2686950.0544 | 1262016.1309 | 2686953.4744 | 1262019.2726 | 2686972.5651 | 1262023.0784 | 2686984.3701 | 1262022.2291 | 2686987.1916 | 1262022.0037
59 | 2686987.1916 | 1262022.0037 | 2686985.7574 | 1262009.8842 | 2686985.3046 | 1262004.8069 | 2686985.3216 | 1262003.1626
60 | 2686933.8175 | 1262012.4561 | 2686928.8716 | 1262037.7589 | 2686948.4972 | 1262043.6186
61 | 2686994.9875 | 1261957.34 | 2686994.3736 | 1261958.437 | 2686987.9006 | 1261973.3091 | 2686987.5965 | 1261974.0052 | 2686985.4279 | 1261992.8437 | 2686985.3216 | 1262003.1626
62 | 2686948.4972 | 1262043.6186 | 2686948.4972 | 1262043.6186 | 2686947.9162 | 1262049.6768
63 | 2687013.1169 | 1261924.9418 | 2686994.9875 | 1261957.34
64 | 2687078.0365 | 1261964.8741 | 2687064.3169 | 1261963.9703 | 2687064.3169 | 1261963.9703
65 | 2687058.2097 | 1261961.1448 | 2687064.3169 | 1261963.9703
66 | 2687108.8537 | 1261894.3702 | 2687106.4325 | 1261905.5775 | 2687106.1518 | 1261907.3818
67 | 2687057.2232 | 1261941.1479 | 2687081.6971 | 1261940.6744
68 | 2687172.8587 | 1261934.0117 | 2687146.992 | 1261927.759
69 | 2687146.992 | 1261927.759 | 2687149.0662 | 1261916.1194
70 | 2687117.3414 | 1261882.7201 | 2687118.6695 | 1261869.8073
71 | 2687117.3414 | 1261882.7201 | 2687125.9607 | 1261884.3261 | 2687135.4231 | 1261888.9083
72 | 2687113.7094 | 1261858.681 | 2687118.8877 | 1261858.5794 | 2687118.6695 | 1261869.8073
73 | 2687170.4793 | 1262099.3705 | 2687163.2381 | 1262119.3828 | 2687163.2381 | 1262119.3828
74 | 2687170.4793 | 1262099.3705 | 2687170.6063 | 1262099.0197 | 2687186.3661 | 1262103.318
75 | 2687186.3661 | 1262103.318 | 2687186.8976 | 1262103.463
76 | 2687150.5125 | 1262078.4236 | 2687152.9987 | 1262075.6606
77 | 2687209.2262 | 1262109.5528 | 2687186.8976 | 1262103.463
78 | 2687164.9211 | 1262057.4844 | 2687162.624 | 1262064.9641 | 2687152.9987 | 1262075.6606
79 | 2687202.0945 | 1262134.8232 | 2687209.2262 | 1262109.5528
80 | 2687113.5155 | 1261865.1724 | 2687113.3525 | 1261870.6296 | 2687111.8742 | 1261880.9493 | 2687108.899 | 1261894.1604 | 2687108.8537 | 1261894.3702
81 | 2687113.7094 | 1261858.681 | 2687113.5155 | 1261865.1724
82 | 2687113.7094 | 1261858.681 | 2687113.019 | 1261846.7281 | 2687111.7735 | 1261838.1808 | 2687109.5577 | 1261830.0307 | 2687109.0883 | 1261829.0124
83 | 2687113.7094 | 1261858.681 | 2687118.8877 | 1261858.5794 | 2687118.4834 | 1261849.1994 | 2687118.1203 | 1261842.6445
84 | 2687102.6566 | 1261818.1753 | 2687106.5493 | 1261823.5034 | 2687109.0883 | 1261829.0124
85 | 2687118.1203 | 1261842.6445 | 2687127.2376 | 1261843.1903 | 2687136.1668 | 1261845.6438
86 | 2687102.6566 | 1261818.1753 | 2687096.6226 | 1261812.9379 | 2687090.4503 | 1261809.4109
87 | 2687143.6585 | 1261847.7023 | 2687136.1668 | 1261845.6438
88 | 2687090.4503 | 1261809.4109 | 2687085.7124 | 1261819.5158 | 2687084.366 | 1261822.5173
89 | 2687143.6585 | 1261847.7023 | 2687152.8386 | 1261850.6288
90 | 2687152.8386 | 1261850.6288 | 2687164.4584 | 1261853.9499
91 | 2687152.8386 | 1261850.6288 | 2687146.0823 | 1261855.8858
92 | 2687071.9791 | 1261843.8217 | 2687077.5861 | 1261837.6327 | 2687084.366 | 1261822.5173
93 | 2687228.5875 | 1261905.0325 | 2687223.8269 | 1261899.3022 | 2687219.3877 | 1261892.2089 | 2687217.2994 | 1261885.1281
94 | 2687228.5875 | 1261905.0325 | 2687240.7225 | 1261914.5189
95 | 2687228.5875 | 1261905.0325 | 2687223.669 | 1261912.6337
96 | 2687164.4584 | 1261853.9499 | 2687178.8121 | 1261858.0524
97 | 2687172.8587 | 1261934.0117 | 2687182.7339 | 1261936.2923 | 2687198.1701 | 1261935.5081 | 2687207.373 | 1261938.9242
98 | 2687172.8587 | 1261934.0117 | 2687173.6769 | 1261951.7777
99 | 2687193.7907 | 1261969.3258 | 2687200.6998 | 1261950.9798 | 2687207.373 | 1261938.9242
100 | 2687207.373 | 1261938.9242 | 2687216.7278 | 1261923.3609 | 2687220.4121 | 1261917.6671
101 | 2687193.7907 | 1261969.3258 | 2687214.7706 | 1261978.5247
102 | 2687193.7907 | 1261969.3258 | 2687192.5107 | 1261972.8319
103 | 2687223.669 | 1261912.6337 | 2687220.4121 | 1261917.6671
104 | 2687013.1169 | 1261924.9418 | 2687037.4324 | 1261927.0456 | 2687046.6332 | 1261956.1928 | 2687041.8124 | 1261957.6119
105 | 2687043.5414 | 1261967.6119 | 2687041.8124 | 1261957.6119
106 | 2687041.8124 | 1261957.6119 | 2687035.0955 | 1261940.8629
107 | 2687041.8124 | 1261957.6119 | 2687046.6332 | 1261956.1928 | 2687048.506 | 1261961.5468 | 2687058.2097 | 1261961.1448
108 | 2687058.2097 | 1261961.1448 | 2687057.2232 | 1261941.1479
109 | 2687043.5414 | 1261967.6119 | 2687044.2181 | 1261993.2976 | 2687042.6158 | 1261999.7335
110 | 2687041.5204 | 1262004.1334 | 2687042.6158 | 1261999.7335
111 | 2686947.9162 | 1262049.6768 | 2686947.2344 | 1262056.7849
112 | 2687041.5204 | 1262004.1334 | 2687039.8213 | 1262010.958 | 2687039.8213 | 1262010.958
113 | 2687041.869 | 1262049.9744 | 2687039.8328 | 1262049.066
114 | 2687182.5227 | 1262000.1729 | 2687192.5107 | 1261972.8319
115 | 2687182.5227 | 1262000.1729 | 2687177.5274 | 1262016.4378
116 | 2687240.7225 | 1261914.5189 | 2687248.9688 | 1261920.9678 | 2687250.3543 | 1261921.7227
117 | 2687271.8504 | 1261932.4032 | 2687257.0868 | 1261925.391 | 2687250.3543 | 1261921.7227
118 | 2687271.8504 | 1261932.4032 | 2687269.2247 | 1261941.3159 | 2687268.5941 | 1261945.3426
119 | 2687268.5941 | 1261945.3426 | 2687268.3743 | 1261946.7465
120 | 2687266.1464 | 1261960.9749 | 2687268.3743 | 1261946.7465
121 | 2687266.1464 | 1261960.9749 | 2687284.216 | 1261966.0677 | 2687285.8572 | 1261966.7318
122 | 2687301.6987 | 1261973.1424 | 2687285.8572 | 1261966.7318
123 | 2687236.5417 | 1262024.7219 | 2687259.607 | 1262036.8626
124 | 2687236.4375 | 1262024.9678 | 2687236.5417 | 1262024.7219
125 | 2687272.0576 | 1262043.416 | 2687259.607 | 1262036.8626
126 | 2687231.1471 | 1262037.4524 | 2687236.4375 | 1262024.9678
127 | 2687301.6987 | 1261973.1424 | 2687319.0944 | 1261980.4938 | 2687325.9888 | 1261983.5758 | 2687329.6652 | 1261985.665
128 | 2687301.6987 | 1261973.1424 | 2687295.9427 | 1261986.3438
129 | 2687272.0576 | 1262043.416 | 2687274.2601 | 1262036.1206 | 2687278.6537 | 1262021.5169
130 | 2687275.7026 | 1262045.0822 | 2687272.0576 | 1262043.416
131 | 2687231.1471 | 1262037.4524 | 2687231.1471 | 1262037.4524 | 2687224.574 | 1262054.9804 | 2687223.6144 | 1262058.3496
132 | 2687202.0945 | 1262134.8232 | 2687194.0882 | 1262163.2225
133 | 2687202.0945 | 1262134.8232 | 2687230.8538 | 1262143.6208 | 2687234.8674 | 1262144.8142 | 2687243.697 | 1262147.4576
134 | 2687191.4257 | 1262172.667 | 2687194.0882 | 1262163.2225
135 | 2687255.965 | 1262106.5507 | 2687243.697 | 1262147.4576
136 | 2687282.9732 | 1262012.4749 | 2687278.8797 | 1262020.7655 | 2687278.6537 | 1262021.5169
137 | 2687275.7026 | 1262045.0822 | 2687278.2231 | 1262046.8653 | 2687283.3173 | 1262048.3638 | 2687290.835 | 1262050.5654 | 2687291.8798 | 1262048.19 | 2687292.6788 | 1262048.1685 | 2687294.529 | 1262042.28
138 | 2687329.6652 | 1261985.665 | 2687338.4507 | 1261990.6621
139 | 2687329.6652 | 1261985.665 | 2687323.6099 | 1262007.9043 | 2687319.8888 | 1262006.8041
140 | 2687291.7511 | 1261994.9355 | 2687295.2096 | 1261988.025 | 2687295.9427 | 1261986.3438
141 | 2687282.9732 | 1262012.4749 | 2687286.7664 | 1262004.8955
142 | 2687291.7511 | 1261994.9355 | 2687286.7664 | 1262004.8955
143 | 2687338.4507 | 1261990.6621 | 2687357.2008 | 1262001.3268
144 | 2687371.8793 | 1262007.9615 | 2687363.3656 | 1262004.8333 | 2687357.2008 | 1262001.3268
145 | 2687371.8793 | 1262007.9615 | 2687377.4702 | 1261990.0986
146 | 2687371.8793 | 1262007.9615 | 2687381.8176 | 1262009.0202 | 2687381.6401 | 1262012.8762 | 2687385.5081 | 1262018.3154 | 2687393.0238 | 1262023.7084
147 | 2687371.8793 | 1262007.9615 | 2687361.7093 | 1262041.1673
148 | 2687393.0238 | 1262023.7084 | 2687389.5455 | 1262034.2098 | 2687388.6607 | 1262035.9536 | 2687386.9059 | 1262037.4289 | 2687384.9262 | 1262037.7999
149 | 2687360.5894 | 1262044.8238 | 2687361.7093 | 1262041.1673
150 | 2687327.7564 | 1262055.9915 | 2687339.1804 | 1262059.3233
151 | 2687354.5071 | 1262063.7934 | 2687339.1804 | 1262059.3233
152 | 2687360.5894 | 1262044.8238 | 2687354.5071 | 1262063.7934
153 | 2686947.2344 | 1262056.7849 | 2686946.56 | 1262063.817
154 | 2686946.1543 | 1262068.0473 | 2686946.56 | 1262063.817
155 | 2686946.1543 | 1262068.0473 | 2686945.8804 | 1262070.9026
156 | 2686945.2042 | 1262077.9528 | 2686945.8804 | 1262070.9026

## bus_geodata
| x | y | coords
0 | 2687052.29 | 1262151.9711
1 | 2687057.198 | 1262136.5853
2 | 2687066.5252 | 1262112.2975
3 | 2687053.4629 | 1262107.3773
4 | 2687071.1313 | 1262100.9577
5 | 2687076.9186 | 1262113.14
6 | 2687102.569 | 1262185.1633
7 | 2687117.7765 | 1262185.6219
8 | 2687087.6876 | 1262180.6708
9 | 2687056.9519 | 1262171.3921
10 | 2687061.3734 | 1262157.103
11 | 2687082.1799 | 1262088.9762
12 | 2687073.8829 | 1262121.0897
13 | 2687097.2903 | 1262097.2924
14 | 2687037.5442 | 1262100.1059
15 | 2687081.1546 | 1262077.3669
16 | 2687106.7583 | 1262125.3445
17 | 2687115.8504 | 1262128.592
18 | 2687127.8426 | 1262192.2189
19 | 2687155.7544 | 1262198.5305
20 | 2687069.3428 | 1262132.9788
21 | 2687112.5708 | 1262105.7022
22 | 2687093.3659 | 1262061.4967
23 | 2687103.1512 | 1262034.175
24 | 2686978.5776 | 1262103.5191
25 | 2686981.1228 | 1262096.2391
26 | 2687038.9495 | 1262088.7478
27 | 2687084.8521 | 1262068.4124
28 | 2687039.6723 | 1262086.5501
29 | 2687092.0597 | 1262050.6092
30 | 2687098.0918 | 1262032.8662
31 | 2687107.0185 | 1262016.5029
32 | 2687083.0908 | 1262029.7054
33 | 2687104.6432 | 1261995.5888
34 | 2687104.4421 | 1261983.1539
35 | 2687073.6873 | 1262027.724
36 | 2687110.3055 | 1261969.5072
37 | 2687129.4982 | 1261969.6625
38 | 2687102.7708 | 1261965.3819
39 | 2687131.1746 | 1262115.9411
40 | 2687047.7627 | 1262022.2615
41 | 2687134.4153 | 1261969.7023
42 | 2687102.6631 | 1261943.0293
43 | 2687103.8618 | 1261933.7841
44 | 2687091.6658 | 1261943.293
45 | 2687108.9768 | 1261933.8817
46 | 2687125.8979 | 1261935.2894
47 | 2687146.0812 | 1262083.611
48 | 2687152.1735 | 1262115.1782
49 | 2686986.0882 | 1262044.5353
50 | 2686986.782 | 1262030.4688
51 | 2686987.1916 | 1262022.0037
52 | 2686933.8175 | 1262012.4561
53 | 2686985.3216 | 1262003.1626
54 | 2686948.4972 | 1262043.6186
55 | 2686994.9875 | 1261957.34
56 | 2687145.9785 | 1261969.7959
57 | 2687078.0365 | 1261964.8741
58 | 2687064.3169 | 1261963.9703
59 | 2687106.1518 | 1261907.3818
60 | 2687081.6971 | 1261940.6744
61 | 2687146.992 | 1261927.759
62 | 2687117.3414 | 1261882.7201
63 | 2687118.6695 | 1261869.8073
64 | 2687135.4231 | 1261888.9083
65 | 2687160.8551 | 1262200.0925
66 | 2687163.2381 | 1262119.3828
67 | 2687170.4793 | 1262099.3705
68 | 2687186.3661 | 1262103.318
69 | 2687150.5125 | 1262078.4236
70 | 2687186.8976 | 1262103.463
71 | 2687152.9987 | 1262075.6606
72 | 2687209.2262 | 1262109.5528
73 | 2687164.9211 | 1262057.4844
74 | 2687113.5155 | 1261865.1724
75 | 2687108.8537 | 1261894.3702
76 | 2687113.7094 | 1261858.681
77 | 2687109.0884 | 1261829.0124
78 | 2687118.1203 | 1261842.6445
79 | 2687102.6566 | 1261818.1753
80 | 2687136.1668 | 1261845.6438
81 | 2687090.4503 | 1261809.4109
82 | 2687143.6585 | 1261847.7023
83 | 2687152.8386 | 1261850.6288
84 | 2687084.366 | 1261822.5173
85 | 2687146.0823 | 1261855.8858
86 | 2687071.9791 | 1261843.8217
87 | 2687217.2994 | 1261885.1281
88 | 2687228.5875 | 1261905.0325
89 | 2687178.8121 | 1261858.0524
90 | 2687164.4584 | 1261853.9499
91 | 2687149.0662 | 1261916.1194
92 | 2687172.8587 | 1261934.0117
93 | 2687207.373 | 1261938.9242
94 | 2687173.6769 | 1261951.7777
95 | 2687193.7907 | 1261969.3258
96 | 2687220.4121 | 1261917.6671
97 | 2687013.1169 | 1261924.9418
98 | 2687041.8124 | 1261957.6119
99 | 2687058.2097 | 1261961.1448
100 | 2687057.2232 | 1261941.1479
101 | 2687043.5414 | 1261967.6119
102 | 2687035.0955 | 1261940.8629
103 | 2687042.6158 | 1261999.7335
104 | 2686947.9162 | 1262049.6768
105 | 2687041.5204 | 1262004.1334
106 | 2687039.8213 | 1262010.958
107 | 2687039.8328 | 1262049.066
108 | 2687041.869 | 1262049.9744
109 | 2687192.5107 | 1261972.8319
110 | 2687182.5227 | 1262000.1729
111 | 2687214.7706 | 1261978.5247
112 | 2687177.5274 | 1262016.4378
113 | 2687223.669 | 1261912.6337
114 | 2687240.7225 | 1261914.5189
115 | 2687250.3543 | 1261921.7227
116 | 2687271.8504 | 1261932.4032
117 | 2687268.5941 | 1261945.3426
118 | 2687268.3743 | 1261946.7465
119 | 2687266.1464 | 1261960.9749
120 | 2687285.8572 | 1261966.7318
121 | 2687236.5417 | 1262024.7219
122 | 2687259.607 | 1262036.8626
123 | 2687236.4375 | 1262024.9678
124 | 2687301.6987 | 1261973.1424
125 | 2687272.0576 | 1262043.416
126 | 2687231.1471 | 1262037.4524
127 | 2687223.6144 | 1262058.3496
128 | 2687202.0945 | 1262134.8232
129 | 2687194.0882 | 1262163.2225
130 | 2687243.697 | 1262147.4576
131 | 2687191.4257 | 1262172.667
132 | 2687255.965 | 1262106.5507
133 | 2687278.6537 | 1262021.5169
134 | 2687275.7026 | 1262045.0822
135 | 2687329.6652 | 1261985.665
136 | 2687295.9427 | 1261986.3438
137 | 2687282.9732 | 1262012.4749
138 | 2687294.529 | 1262042.28
139 | 2687286.7664 | 1262004.8955
140 | 2687319.8888 | 1262006.8041
141 | 2687291.7511 | 1261994.9355
142 | 2687338.4507 | 1261990.6621
143 | 2687357.2008 | 1262001.3268
144 | 2687371.8793 | 1262007.9615
145 | 2687377.4702 | 1261990.0986
146 | 2687393.0238 | 1262023.7084
147 | 2687361.7093 | 1262041.1673
148 | 2687327.7564 | 1262055.9915
149 | 2687339.1804 | 1262059.3233
150 | 2687354.5071 | 1262063.7934
151 | 2687360.5894 | 1262044.8238
152 | 2687384.9262 | 1262037.7999
153 | 2686947.2344 | 1262056.7849
154 | 2686946.56 | 1262063.817
155 | 2686946.1543 | 1262068.0473
156 | 2686945.8804 | 1262070.9026
157 | 2686945.2042 | 1262077.9528
158 | 2687103.1512 | 1262034.175

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1