## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_56-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_56-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_56-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_56-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_56-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_56-15_0_3_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_56-15_0_3_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_56-15_0_3_node_92 | 0.4 | n |  | TRUE
8 | bus_LV_56-15_0_3_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_56-15_0_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_56-15_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_56-15_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_56-15_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_56-15_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_56-15_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_56-15_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_56-15_0_3_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_56-15_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_56-15_0_3_node_153 | 0.4 | n |  | TRUE
19 | bus_LV_56-15_0_3_node_154 | 0.4 | n |  | TRUE
20 | bus_LV_56-15_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_56-15_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_56-15_0_3_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_56-15_0_3_node_145 | 0.4 | n |  | TRUE
24 | bus_LV_56-15_0_3_node_144 | 0.4 | n |  | TRUE
25 | bus_LV_56-15_0_3_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_56-15_0_3_node_162 | 0.4 | n |  | TRUE
27 | bus_LV_56-15_0_3_node_157 | 0.4 | n |  | TRUE
28 | bus_LV_56-15_0_3_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_56-15_0_3_node_142 | 0.4 | n |  | TRUE
30 | bus_LV_56-15_0_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_56-15_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_56-15_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_56-15_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_56-15_0_3_node_158 | 0.4 | n |  | TRUE
35 | bus_LV_56-15_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_56-15_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_56-15_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_56-15_0_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_56-15_0_3_node_136 | 0.4 | n |  | TRUE
40 | bus_LV_56-15_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_56-15_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_56-15_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_56-15_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_56-15_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_56-15_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_56-15_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_56-15_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_56-15_0_3_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_56-15_0_3_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_56-15_0_3_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_56-15_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_56-15_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_56-15_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_56-15_0_3_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_56-15_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_56-15_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_56-15_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_56-15_0_3_node_122 | 0.4 | n |  | TRUE
59 | bus_LV_56-15_0_3_node_123 | 0.4 | n |  | TRUE
60 | bus_LV_56-15_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_56-15_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_56-15_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_56-15_0_3_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_56-15_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_56-15_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_56-15_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_56-15_0_3_node_105 | 0.4 | n |  | TRUE
68 | bus_LV_56-15_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_56-15_0_3_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_56-15_0_3_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_56-15_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_56-15_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_56-15_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_56-15_0_3_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_56-15_0_3_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_56-15_0_3_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_56-15_0_3_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_56-15_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_56-15_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_56-15_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_56-15_0_3_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_56-15_0_3_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_56-15_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_56-15_0_3_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_56-15_0_3_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_56-15_0_3_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_56-15_0_3_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_56-15_0_3_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_56-15_0_3_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_56-15_0_3_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_56-15_0_3_node_135 | 0.4 | n |  | TRUE
92 | bus_LV_56-15_0_3_node_129 | 0.4 | n |  | TRUE
93 | bus_LV_56-15_0_3_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_56-15_0_3_node_141 | 0.4 | n |  | TRUE
95 | bus_LV_56-15_0_3_node_150 | 0.4 | n |  | TRUE
96 | bus_LV_56-15_0_3_node_159 | 0.4 | n |  | TRUE
97 | bus_LV_56-15_0_3_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_56-15_0_3_node_128 | 0.4 | n |  | TRUE
99 | bus_LV_56-15_0_3_node_160 | 0.4 | n |  | TRUE
100 | bus_LV_56-15_0_3_node_138 | 0.4 | n |  | TRUE
101 | bus_LV_56-15_0_3_node_151 | 0.4 | n |  | TRUE
102 | bus_LV_56-15_0_3_node_152 | 0.4 | n |  | TRUE
103 | bus_LV_56-15_0_3_node_106 | 0.4 | n |  | TRUE
104 | bus_LV_56-15_0_3_node_85 | 0.4 | n |  | TRUE
105 | bus_LV_56-15_0_3_node_87 | 0.4 | n |  | TRUE
106 | bus_LV_56-15_0_3_node_88 | 0.4 | n |  | TRUE
107 | bus_LV_56-15_0_3_node_89 | 0.4 | n |  | TRUE
108 | bus_LV_56-15_0_3_node_108 | 0.4 | n |  | TRUE
109 | bus_LV_56-15_0_3_node_109 | 0.4 | n |  | TRUE
110 | bus_LV_56-15_0_3_node_110 | 0.4 | n |  | TRUE
111 | bus_LV_56-15_0_3_node_94 | 0.4 | n |  | TRUE
112 | bus_LV_56-15_0_3_node_93 | 0.4 | n |  | TRUE
113 | bus_LV_56-15_0_3_node_95 | 0.4 | n |  | TRUE
114 | bus_LV_56-15_0_3_node_96 | 0.4 | n |  | TRUE
115 | bus_LV_56-15_0_3_node_125 | 0.4 | n |  | TRUE
116 | bus_LV_56-15_0_3_node_99 | 0.4 | n |  | TRUE
117 | bus_LV_56-15_0_3_node_97 | 0.4 | n |  | TRUE
118 | bus_LV_56-15_0_3_node_98 | 0.4 | n |  | TRUE
119 | bus_LV_56-15_0_3_node_100 | 0.4 | n |  | TRUE
120 | bus_LV_56-15_0_3_node_126 | 0.4 | n |  | TRUE
121 | bus_LV_56-15_0_3_node_103 | 0.4 | n |  | TRUE
122 | bus_LV_56-15_0_3_node_104 | 0.4 | n |  | TRUE
123 | bus_LV_56-15_0_3_node_149 | 0.4 | n |  | TRUE
124 | bus_LV_56-15_0_3_node_102 | 0.4 | n |  | TRUE
125 | bus_LV_56-15_0_3_node_117 | 0.4 | n |  | TRUE
126 | bus_LV_56-15_0_3_node_148 | 0.4 | n |  | TRUE
127 | bus_LV_56-15_0_3_node_101 | 0.4 | n |  | TRUE
128 | bus_LV_56-15_0_3_node_118 | 0.4 | n |  | TRUE
129 | bus_LV_56-15_0_3_node_107 | 0.4 | n |  | TRUE
130 | bus_LV_56-15_0_3_node_120 | 0.4 | n |  | TRUE
131 | bus_LV_56-15_0_3_node_121 | 0.4 | n |  | TRUE
132 | bus_LV_56-15_0_3_node_111 | 0.4 | n |  | TRUE
133 | bus_LV_56-15_0_3_node_115 | 0.4 | n |  | TRUE
134 | bus_LV_56-15_0_3_node_112 | 0.4 | n |  | TRUE
135 | bus_LV_56-15_0_3_node_113 | 0.4 | n |  | TRUE
136 | bus_LV_56-15_0_3_node_114 | 0.4 | n |  | TRUE
137 | bus_LV_56-15_0_3_node_116 | 0.4 | n |  | TRUE
138 | bus_LV_56-15_0_3_node_119 | 0.4 | n |  | TRUE
139 | bus_LV_56-15_0_3_node_124 | 0.4 | n |  | TRUE
140 | bus_LV_56-15_0_3_node_133 | 0.4 | n |  | TRUE
141 | bus_LV_56-15_0_3_node_131 | 0.4 | n |  | TRUE
142 | bus_LV_56-15_0_3_node_130 | 0.4 | n |  | TRUE
143 | bus_LV_56-15_0_3_node_132 | 0.4 | n |  | TRUE
144 | bus_LV_56-15_0_3_node_134 | 0.4 | n |  | TRUE
145 | bus_LV_56-15_0_3_node_146 | 0.4 | n |  | TRUE
146 | bus_LV_56-15_0_3_node_147 | 0.4 | n |  | TRUE
147 | bus_LV_56-15_0_3_node_137 | 0.4 | n |  | TRUE
148 | bus_LV_56-15_0_3_node_139 | 0.4 | n |  | TRUE
149 | bus_LV_56-15_0_3_node_140 | 0.4 | n |  | TRUE
150 | bus_LV_56-15_0_3_node_143 | 0.4 | n |  | TRUE
151 | bus_LV_56-15_0_3_node_163 | 0.4 | n |  | TRUE
152 | bus_LV_56-15_0_3_node_164 | 0.4 | n |  | TRUE
153 | bus_LV_56-15_0_3_node_161 | 0.4 | n |  | TRUE
154 | bus_LV_56-15_0_3_node_155 | 0.4 | n |  | TRUE
155 | bus_LV_56-15_0_3_node_156 | 0.4 | n |  | TRUE
156 | bus_MV_372_0_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_56-15_0_3_load_0 | 0 | 0.0018888 | 0.00047339 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_56-15_0_3_load_1 | 1 | 0.001017 | 0.00025488 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_56-15_0_3_load_3 | 3 | 0.0022171 | 0.00055565 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_56-15_0_3_load_4 | 4 | 0.00080884 | 0.00020271 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_56-15_0_3_load_91 | 5 | 0.0003419 | 8.5687e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_56-15_0_3_load_38 | 6 | 0.0010386 | 0.00026031 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_56-15_0_3_load_92 | 7 | 0.00031197 | 7.8187e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_56-15_0_3_load_39 | 8 | 0.0042659 | 0.0010691 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_56-15_0_3_load_15 | 9 | 0.0017158 | 0.00043003 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_56-15_0_3_load_6 | 11 | 0.0027615 | 0.0006921 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_56-15_0_3_load_7 | 12 | 0.003123 | 0.00078271 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_56-15_0_3_load_9 | 14 | 0.0059874 | 0.0015006 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_56-15_0_3_load_10 | 15 | 0.0054297 | 0.0013608 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_56-15_0_3_load_62 | 16 | 0.0024293 | 0.00060885 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_56-15_0_3_load_153 | 18 | 0.0029089 | 0.00072904 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_56-15_0_3_load_64 | 22 | 0.0018108 | 0.00045382 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_56-15_0_3_load_145 | 23 | 0.00016936 | 4.2446e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_56-15_0_3_load_144 | 24 | 0.0017997 | 0.00045104 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_56-15_0_3_load_162 | 26 | 0.00027432 | 6.8752e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_56-15_0_3_load_63 | 28 | 0.0067206 | 0.0016844 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_56-15_0_3_load_142 | 29 | 0.0017879 | 0.0004481 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_56-15_0_3_load_35 | 30 | 0.0038688 | 0.0009696 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_56-15_0_3_load_158 | 34 | 0.0070687 | 0.0017716 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_56-15_0_3_load_23 | 37 | 0.00078734 | 0.00019733 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_56-15_0_3_load_136 | 39 | 0.0036445 | 0.00091339 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_56-15_0_3_load_34 | 40 | 0.0071751 | 0.0017982 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_56-15_0_3_load_27 | 41 | 0.0021545 | 0.00053998 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_56-15_0_3_load_30 | 42 | 0.006021 | 0.001509 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_56-15_0_3_load_31 | 43 | 0.002093 | 0.00052455 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_56-15_0_3_load_41 | 44 | 0.00038525 | 9.6553e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_56-15_0_3_load_40 | 45 | 0.0015144 | 0.00037954 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_56-15_0_3_load_48 | 46 | 0.0098857 | 0.0024776 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_56-15_0_3_load_45 | 47 | 0.0011889 | 0.00029797 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_56-15_0_3_load_24 | 48 | 0.0060811 | 0.0015241 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_56-15_0_3_load_25 | 49 | 0.0036522 | 0.00091533 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_56-15_0_3_load_29 | 51 | 0.0043225 | 0.0010833 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_56-15_0_3_load_36 | 52 | 0.0038873 | 0.00097425 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_56-15_0_3_load_37 | 53 | 0.002738 | 0.00068621 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_56-15_0_3_load_61 | 54 | 0.0024362 | 0.00061057 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_56-15_0_3_load_43 | 56 | 0.0039388 | 0.00098716 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_56-15_0_3_load_44 | 57 | 0.00059641 | 0.00014948 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_56-15_0_3_load_122 | 58 | 0.0020777 | 0.00052071 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_56-15_0_3_load_49 | 61 | 0.0042891 | 0.0010749 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_56-15_0_3_load_50 | 62 | 0.0032731 | 0.00082033 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_56-15_0_3_load_52 | 64 | 0.0013069 | 0.00032754 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_56-15_0_3_load_53 | 65 | 0.0012165 | 0.00030488 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_56-15_0_3_load_51 | 66 | 0.0067863 | 0.0017008 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_56-15_0_3_load_105 | 67 | 0.0054228 | 0.0013591 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_56-15_0_3_load_54 | 68 | 0.0045643 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_56-15_0_3_load_55 | 69 | 0.0084716 | 0.0021232 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_56-15_0_3_load_56 | 70 | 0.0029057 | 0.00072823 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_56-15_0_3_load_57 | 71 | 0.0066358 | 0.0016631 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_56-15_0_3_load_59 | 73 | 0.0068132 | 0.0017076 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_56-15_0_3_load_80 | 74 | 0.0043292 | 0.001085 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_56-15_0_3_load_73 | 75 | 0.0043162 | 0.0010818 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_56-15_0_3_load_65 | 76 | 0.0039723 | 0.00099555 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_56-15_0_3_load_66 | 77 | 0.0017364 | 0.00043517 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_56-15_0_3_load_74 | 80 | 0.0026178 | 0.00065608 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_56-15_0_3_load_83 | 81 | 0.0032043 | 0.00080307 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_56-15_0_3_load_82 | 82 | 0.003206 | 0.00080351 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_56-15_0_3_load_69 | 84 | 0.0076365 | 0.0019139 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_56-15_0_3_load_71 | 86 | 0.0065958 | 0.0016531 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_56-15_0_3_load_84 | 88 | 0.0067435 | 0.0016901 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_56-15_0_3_load_135 | 91 | 0.000519 | 0.00013007 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_56-15_0_3_load_129 | 92 | 0.00089234 | 0.00022364 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_56-15_0_3_load_150 | 95 | 0.00010796 | 2.7058e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_56-15_0_3_load_159 | 96 | 0.00051899 | 0.00013007 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_56-15_0_3_load_86 | 97 | 0.00050424 | 0.00012637 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_56-15_0_3_load_128 | 98 | 0.0060127 | 0.0015069 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_56-15_0_3_load_160 | 99 | 0.0047773 | 0.0011973 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_56-15_0_3_load_106 | 103 | 0.0010212 | 0.00025595 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_56-15_0_3_load_85 | 104 | 0.00075005 | 0.00018798 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_56-15_0_3_load_88 | 106 | 0.002345 | 0.0005877 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_56-15_0_3_load_89 | 107 | 0.00067139 | 0.00016827 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_56-15_0_3_load_108 | 108 | 0.0021237 | 0.00053225 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_56-15_0_3_load_109 | 109 | 0.00097186 | 0.00024357 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_56-15_0_3_load_110 | 110 | 0.00077896 | 0.00019523 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_56-15_0_3_load_94 | 111 | 0.00030003 | 7.5196e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_56-15_0_3_load_93 | 112 | 0.0026267 | 0.00065831 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_56-15_0_3_load_95 | 113 | 0.00030967 | 7.761e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_56-15_0_3_load_96 | 114 | 0.0015395 | 0.00038584 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_56-15_0_3_load_125 | 115 | 0.00056614 | 0.00014189 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_56-15_0_3_load_99 | 116 | 0.00085818 | 0.00021508 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_56-15_0_3_load_97 | 117 | 0.0011696 | 0.00029312 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_56-15_0_3_load_126 | 120 | 0.0034105 | 0.00085476 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_56-15_0_3_load_103 | 121 | 0.0024622 | 0.00061709 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_56-15_0_3_load_149 | 123 | 0.00083189 | 0.00020849 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_56-15_0_3_load_117 | 125 | 0.0020158 | 0.00050521 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_56-15_0_3_load_148 | 126 | 0.00078776 | 0.00019743 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_56-15_0_3_load_101 | 127 | 0.00053145 | 0.00013319 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_56-15_0_3_load_118 | 128 | 0.0012037 | 0.00030169 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_56-15_0_3_load_107 | 129 | 0.0014165 | 0.00035502 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_56-15_0_3_load_120 | 130 | 0.00098872 | 0.0002478 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_56-15_0_3_load_115 | 133 | 0.0022772 | 0.00057072 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_56-15_0_3_load_112 | 134 | 0.00075899 | 0.00019022 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_56-15_0_3_load_113 | 135 | 0.0030735 | 0.00077029 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_56-15_0_3_load_114 | 136 | 0.00076043 | 0.00019058 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_56-15_0_3_load_116 | 137 | 0.0012903 | 0.00032338 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_56-15_0_3_load_124 | 139 | 0.00085134 | 0.00021337 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_56-15_0_3_load_133 | 140 | 0.00086863 | 0.0002177 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_56-15_0_3_load_131 | 141 | 0.00077239 | 0.00019358 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_56-15_0_3_load_130 | 142 | 0.0032127 | 0.00080518 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_56-15_0_3_load_132 | 143 | 0.00081864 | 0.00020517 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_56-15_0_3_load_134 | 144 | 0.00080208 | 0.00020102 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_56-15_0_3_load_146 | 145 | 0.00080935 | 0.00020284 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_56-15_0_3_load_147 | 146 | 0.00086277 | 0.00021623 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_56-15_0_3_load_137 | 147 | 0.00015885 | 3.9811e-05 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_56-15_0_3_load_139 | 148 | 0.00061176 | 0.00015332 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_56-15_0_3_load_143 | 150 | 0.001842 | 0.00046166 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_56-15_0_3_load_163 | 151 | 0.00051853 | 0.00012996 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_56-15_0_3_load_164 | 152 | 0.00061155 | 0.00015327 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_56-15_0_3_load_161 | 153 | 0.0025795 | 0.00064649 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_56-15_0_3_load_156 | 155 | 0.00028182 | 7.063e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_56-15_0_3_line_0 |  | 0 | 1 | 0.0024597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_56-15_0_3_line_1 |  | 0 | 2 | 0.029276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_56-15_0_3_line_2 |  | 1 | 3 | 0.0032116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_56-15_0_3_line_3 |  | 2 | 4 | 0.030215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_56-15_0_3_line_4 |  | 3 | 5 | 0.011137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_56-15_0_3_line_5 |  | 4 | 6 | 0.032636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_56-15_0_3_line_6 |  | 5 | 7 | 0.00627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_56-15_0_3_line_7 |  | 6 | 8 | 0.01208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_56-15_0_3_line_8 |  | 7 | 111 | 0.0058943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_56-15_0_3_line_9 |  | 9 | 10 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_56-15_0_3_line_10 |  | 10 | 32 | 0.034544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_56-15_0_3_line_11 |  | 10 | 33 | 0.050364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_56-15_0_3_line_12 |  | 11 | 12 | 0.020344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_56-15_0_3_line_13 |  | 11 | 13 | 0.021996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_56-15_0_3_line_14 |  | 12 | 14 | 0.0080188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_56-15_0_3_line_15 |  | 13 | 15 | 0.023177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_56-15_0_3_line_16 |  | 14 | 16 | 0.0015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_56-15_0_3_line_17 |  | 16 | 25 | 0.018277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_56-15_0_3_line_18 |  | 17 | 18 | 0.011778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_56-15_0_3_line_19 |  | 17 | 19 | 0.025751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_56-15_0_3_line_20 |  | 17 | 20 | 0.077982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_56-15_0_3_line_21 |  | 17 | 21 | 0.052622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_56-15_0_3_line_22 |  | 19 | 26 | 0.010039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_56-15_0_3_line_23 |  | 19 | 27 | 0.014892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_56-15_0_3_line_24 |  | 20 | 22 | 0.011788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_56-15_0_3_line_25 |  | 21 | 23 | 0.020735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_56-15_0_3_line_26 |  | 21 | 24 | 0.013517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_56-15_0_3_line_27 |  | 22 | 28 | 0.0076591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_56-15_0_3_line_28 |  | 24 | 29 | 0.0010954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_56-15_0_3_line_29 |  | 25 | 54 | 0.038243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_56-15_0_3_line_30 |  | 25 | 73 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_56-15_0_3_line_31 |  | 27 | 153 | 0.011658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_56-15_0_3_line_32 |  | 27 | 154 | 0.0093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_56-15_0_3_line_33 |  | 29 | 150 | 6.2163e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_56-15_0_3_line_34 |  | 30 | 31 | 0.019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_56-15_0_3_line_35 |  | 31 | 52 | 0.036563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_56-15_0_3_line_36 |  | 31 | 53 | 0.024832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_56-15_0_3_line_37 |  | 31 | 50 | 0.016567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_56-15_0_3_line_38 |  | 32 | 34 | 0.008926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_56-15_0_3_line_39 |  | 32 | 35 | 0.019171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_56-15_0_3_line_40 |  | 33 | 36 | 0.084914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_56-15_0_3_line_41 |  | 33 | 37 | 0.019612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_56-15_0_3_line_42 |  | 35 | 38 | 0.025569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_56-15_0_3_line_43 |  | 36 | 39 | 0.004972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_56-15_0_3_line_44 |  | 38 | 46 | 0.018916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_56-15_0_3_line_45 |  | 38 | 47 | 0.011473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_56-15_0_3_line_46 |  | 40 | 41 | 0.020478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_56-15_0_3_line_47 |  | 41 | 49 | 0.035507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_56-15_0_3_line_48 |  | 42 | 43 | 0.017691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_56-15_0_3_line_49 |  | 43 | 51 | 0.013686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_56-15_0_3_line_50 |  | 44 | 45 | 0.017645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_56-15_0_3_line_51 |  | 45 | 55 | 0.013223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_56-15_0_3_line_52 |  | 47 | 60 | 0.026166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_56-15_0_3_line_53 |  | 48 | 49 | 0.029217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_56-15_0_3_line_54 |  | 48 | 50 | 0.011087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_56-15_0_3_line_55 |  | 50 | 51 | 0.02955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_56-15_0_3_line_56 |  | 52 | 54 | 0.011093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_56-15_0_3_line_57 |  | 55 | 56 | 0.038767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_56-15_0_3_line_58 |  | 55 | 57 | 0.022269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_56-15_0_3_line_59 |  | 57 | 58 | 0.0072248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_56-15_0_3_line_60 |  | 58 | 59 | 0.0096522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_56-15_0_3_line_61 |  | 59 | 139 | 0.036314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_56-15_0_3_line_62 |  | 59 | 131 | 0.008312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_56-15_0_3_line_63 |  | 60 | 61 | 0.01553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_56-15_0_3_line_64 |  | 60 | 62 | 0.027885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_56-15_0_3_line_65 |  | 61 | 63 | 0.020138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_56-15_0_3_line_66 |  | 62 | 64 | 0.0081553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_56-15_0_3_line_67 |  | 63 | 67 | 0.01618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_56-15_0_3_line_68 |  | 64 | 66 | 3.1412e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_56-15_0_3_line_69 |  | 65 | 66 | 0.0124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_56-15_0_3_line_70 |  | 67 | 103 | 0.015139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_56-15_0_3_line_71 |  | 68 | 69 | 0.0080271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_56-15_0_3_line_72 |  | 68 | 70 | 0.017824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_56-15_0_3_line_73 |  | 69 | 71 | 0.0073239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_56-15_0_3_line_74 |  | 70 | 72 | 0.021698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_56-15_0_3_line_75 |  | 71 | 73 | 0.0042312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_56-15_0_3_line_76 |  | 72 | 74 | 0.027296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_56-15_0_3_line_77 |  | 74 | 75 | 0.017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_56-15_0_3_line_78 |  | 75 | 85 | 0.0059577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_56-15_0_3_line_79 |  | 76 | 77 | 0.011168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_56-15_0_3_line_80 |  | 77 | 78 | 0.022056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_56-15_0_3_line_81 |  | 78 | 79 | 0.010443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_56-15_0_3_line_82 |  | 78 | 80 | 0.026269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_56-15_0_3_line_83 |  | 79 | 81 | 0.01572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_56-15_0_3_line_84 |  | 79 | 82 | 0.030858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_56-15_0_3_line_85 |  | 80 | 83 | 0.021754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_56-15_0_3_line_86 |  | 81 | 97 | 0.018775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_56-15_0_3_line_87 |  | 82 | 87 | 0.015273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_56-15_0_3_line_88 |  | 83 | 89 | 0.003335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_56-15_0_3_line_89 |  | 83 | 90 | 0.02439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_56-15_0_3_line_90 |  | 84 | 85 | 0.042726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_56-15_0_3_line_91 |  | 84 | 86 | 0.014063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_56-15_0_3_line_92 |  | 85 | 87 | 0.005106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_56-15_0_3_line_93 |  | 87 | 88 | 0.022604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_56-15_0_3_line_94 |  | 89 | 91 | 0.022688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_56-15_0_3_line_95 |  | 89 | 92 | 0.055639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_56-15_0_3_line_96 |  | 90 | 96 | 0.011988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_56-15_0_3_line_97 |  | 90 | 93 | 0.021563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_56-15_0_3_line_98 |  | 92 | 98 | 0.006614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_56-15_0_3_line_99 |  | 93 | 94 | 0.012277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_56-15_0_3_line_100 |  | 93 | 95 | 0.024136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_56-15_0_3_line_101 |  | 94 | 99 | 0.006587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_56-15_0_3_line_102 |  | 94 | 100 | 0.018429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_56-15_0_3_line_103 |  | 95 | 101 | 0.020009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_56-15_0_3_line_104 |  | 97 | 104 | 0.032429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
105 | LV_56-15_0_3_line_105 |  | 98 | 142 | 0.0037453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_56-15_0_3_line_106 |  | 100 | 149 | 0.014276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_56-15_0_3_line_107 |  | 100 | 147 | 0.010974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_56-15_0_3_line_108 |  | 101 | 102 | 0.014931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_56-15_0_3_line_109 |  | 102 | 151 | 0.017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_56-15_0_3_line_110 |  | 102 | 152 | 0.018504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_56-15_0_3_line_111 |  | 103 | 129 | 0.00084317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_56-15_0_3_line_112 |  | 104 | 105 | 0.0033303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
113 | LV_56-15_0_3_line_113 |  | 105 | 106 | 0.0069201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_56-15_0_3_line_114 |  | 105 | 107 | 0.0096337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
115 | LV_56-15_0_3_line_115 |  | 106 | 108 | 0.0080628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_56-15_0_3_line_116 |  | 107 | 109 | 0.01603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
117 | LV_56-15_0_3_line_117 |  | 109 | 110 | 0.022956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
118 | LV_56-15_0_3_line_118 |  | 110 | 132 | 0.017499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
119 | LV_56-15_0_3_line_119 |  | 111 | 112 | 0.00025206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_56-15_0_3_line_120 |  | 112 | 113 | 0.005669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_56-15_0_3_line_121 |  | 113 | 114 | 0.0063136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_56-15_0_3_line_122 |  | 114 | 115 | 0.02478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_56-15_0_3_line_123 |  | 115 | 116 | 0.017778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_56-15_0_3_line_124 |  | 116 | 120 | 0.011901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_56-15_0_3_line_125 |  | 116 | 118 | 0.027378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_56-15_0_3_line_126 |  | 117 | 118 | 0.016711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_56-15_0_3_line_127 |  | 118 | 119 | 0.00461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_56-15_0_3_line_128 |  | 119 | 121 | 0.042858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_56-15_0_3_line_129 |  | 119 | 122 | 0.008029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_56-15_0_3_line_130 |  | 119 | 123 | 0.026458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_56-15_0_3_line_131 |  | 121 | 124 | 0.1548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_56-15_0_3_line_132 |  | 122 | 125 | 0.03916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_56-15_0_3_line_133 |  | 123 | 126 | 0.00014487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_56-15_0_3_line_134 |  | 124 | 127 | 0.095496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_56-15_0_3_line_135 |  | 125 | 128 | 0.00218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_56-15_0_3_line_136 |  | 126 | 146 | 0.00019828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_56-15_0_3_line_137 |  | 129 | 130 | 0.021981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_56-15_0_3_line_138 |  | 130 | 131 | 0.0047672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_56-15_0_3_line_139 |  | 131 | 138 | 0.017383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_56-15_0_3_line_140 |  | 132 | 133 | 0.040219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_56-15_0_3_line_141 |  | 132 | 134 | 0.020146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
142 | LV_56-15_0_3_line_142 |  | 134 | 135 | 0.019289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
143 | LV_56-15_0_3_line_143 |  | 135 | 136 | 0.011678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_56-15_0_3_line_144 |  | 136 | 137 | 0.023802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_56-15_0_3_line_145 |  | 137 | 138 | 0.014609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_56-15_0_3_line_146 |  | 139 | 140 | 8.6366e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_56-15_0_3_line_147 |  | 140 | 141 | 0.026442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_56-15_0_3_line_148 |  | 141 | 143 | 0.00010661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_56-15_0_3_line_149 |  | 143 | 144 | 8.7476e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_56-15_0_3_line_150 |  | 144 | 145 | 0.00010377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_56-15_0_3_line_151 |  | 145 | 146 | 0.025813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_56-15_0_3_line_152 |  | 147 | 148 | 0.014059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_56-15_0_3_line_153 |  | 149 | 150 | 0.010139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_56-15_0_3_line_154 |  | 154 | 155 | 0.026973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_56-15_0_3_trafo_58 | 0.63 MVA 20/0.4 kV | 156 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2687346.3009 | 1261573.1798 | 2687348.5483 | 1261574.1795
1 | 2687319.552 | 1261561.2812 | 2687346.3009 | 1261573.1798
2 | 2687348.5483 | 1261574.1795 | 2687351.4827 | 1261575.4848
3 | 2687319.552 | 1261561.2812 | 2687308.5134 | 1261589.4076
4 | 2687351.4827 | 1261575.4848 | 2687361.5439 | 1261579.9603 | 2687361.6589 | 1261580.0092
5 | 2687296.5904 | 1261619.7875 | 2687308.5134 | 1261589.4076
6 | 2687361.6589 | 1261580.0092 | 2687367.4279 | 1261582.4653
7 | 2687292.1772 | 1261631.0322 | 2687296.5904 | 1261619.7875
8 | 2687367.4279 | 1261582.4653 | 2687372.8511 | 1261584.7742
9 | 2687244.9509 | 1261721.9517 | 2687237.4162 | 1261721.8961 | 2687230.0344 | 1261720.5897
10 | 2687244.9509 | 1261721.9517 | 2687249.4491 | 1261721.9847 | 2687279.2788 | 1261717.6212
11 | 2687244.9509 | 1261721.9517 | 2687246.1203 | 1261729.5193 | 2687256.5467 | 1261732.7645 | 2687259.7969 | 1261743.3208 | 2687270.7801 | 1261751.2223 | 2687264.6946 | 1261755.0912
12 | 2687286.7491 | 1261905.8572 | 2687295.6719 | 1261893.9577 | 2687298.8125 | 1261889.4782
13 | 2687275.1771 | 1261924.5016 | 2687278.1748 | 1261918.4633 | 2687283.5654 | 1261910.1029 | 2687286.7491 | 1261905.8572
14 | 2687298.8125 | 1261889.4782 | 2687298.8125 | 1261889.4782 | 2687301.0541 | 1261884.1293 | 2687301.5821 | 1261881.9739
15 | 2687275.1771 | 1261924.5016 | 2687272.9899 | 1261922.59 | 2687272.1842 | 1261919.9983 | 2687272.4027 | 1261913.8745 | 2687276.8984 | 1261903.3547
16 | 2687301.9426 | 1261880.5021 | 2687301.5821 | 1261881.9739
17 | 2687302.0765 | 1261862.3495 | 2687303.0166 | 1261872.1711 | 2687302.289 | 1261879.088 | 2687301.9426 | 1261880.5021
18 | 2687390.0876 | 1262010.2878 | 2687391.1244 | 1262006.4112 | 2687393.7473 | 1262003.3141 | 2687394.9671 | 1261999.8072
19 | 2687415.6194 | 1262014.1792 | 2687390.0876 | 1262010.2878
20 | 2687319.0944 | 1261980.4938 | 2687325.9888 | 1261983.5758 | 2687329.6652 | 1261985.665 | 2687363.3656 | 1262004.8333 | 2687371.8793 | 1262007.9615 | 2687381.8176 | 1262009.0202 | 2687390.0876 | 1262010.2878
21 | 2687382.1132 | 1261975.2646 | 2687371.8793 | 1262007.9615 | 2687381.8176 | 1262009.0202 | 2687390.0876 | 1262010.2878
22 | 2687415.6194 | 1262014.1792 | 2687418.647 | 1262004.6053
23 | 2687430.2628 | 1262017.0645 | 2687422.07 | 1262015.1642 | 2687415.6194 | 1262014.1792
24 | 2687319.0944 | 1261980.4938 | 2687321.6924 | 1261974.9945 | 2687322.7998 | 1261971.9529 | 2687322.904 | 1261969.4858
25 | 2687382.1132 | 1261975.2646 | 2687386.8163 | 1261976.2015 | 2687388.0422 | 1261975.8526 | 2687389.0823 | 1261975.3231 | 2687390.1184 | 1261974.0485 | 2687390.7091 | 1261972.8341 | 2687391.986 | 1261969.5392 | 2687393.8477 | 1261967.4651 | 2687394.7847 | 1261966.7784 | 2687396.0315 | 1261966.5411 | 2687397.798 | 1261966.8341
26 | 2687382.1132 | 1261975.2646 | 2687386.1991 | 1261962.3799
27 | 2687316.4244 | 1261965.6003 | 2687319.073 | 1261966.6381 | 2687321.5233 | 1261968.0754 | 2687322.904 | 1261969.4858 | 2687322.904 | 1261969.4858
28 | 2687386.5302 | 1261961.3358 | 2687386.1991 | 1261962.3799
29 | 2687302.0765 | 1261862.3495 | 2687299.226 | 1261863.0079 | 2687293.7326 | 1261863.5273 | 2687279.8516 | 1261863.5892 | 2687272.0095 | 1261863.44 | 2687263.9362 | 1261863.2801
30 | 2687302.0765 | 1261862.3495 | 2687306.4959 | 1261861.0803 | 2687309.7874 | 1261858.627 | 2687310.8652 | 1261857.582
31 | 2687430.2628 | 1262017.0645 | 2687433.7203 | 1262005.9291
32 | 2687439.3492 | 1262019.1671 | 2687430.2628 | 1262017.0645
33 | 2687386.5302 | 1261961.3358 | 2687386.549 | 1261961.2765
34 | 2687216.293 | 1261862.9402 | 2687217.1664 | 1261882.1957
35 | 2687216.293 | 1261862.9402 | 2687227.9406 | 1261862.5672 | 2687252.845 | 1261863.0605
36 | 2687216.293 | 1261862.9402 | 2687207.7534 | 1261863.0811 | 2687191.5884 | 1261861.0549
37 | 2687216.293 | 1261862.9402 | 2687218.7654 | 1261856.7607 | 2687222.4429 | 1261847.5521
38 | 2687279.2788 | 1261717.6212 | 2687278.5436 | 1261708.7256
39 | 2687298.2694 | 1261714.9993 | 2687294.5021 | 1261715.4775 | 2687289.874 | 1261716.0763 | 2687279.2788 | 1261717.6212
40 | 2687264.6946 | 1261755.0912 | 2687259.2772 | 1261767.8102 | 2687247.3035 | 1261763.2077 | 2687239.0493 | 1261785.359 | 2687236.997 | 1261784.517 | 2687211.2138 | 1261796.0571 | 2687210.5655 | 1261800.1619
41 | 2687264.6946 | 1261755.0912 | 2687260.1597 | 1261750.9099 | 2687247.5839 | 1261746.1565
42 | 2687298.2694 | 1261714.9993 | 2687301.617 | 1261730.6944 | 2687304.3069 | 1261736.839 | 2687306.2204 | 1261738.9133
43 | 2687210.5655 | 1261800.1619 | 2687209.7419 | 1261805.0651
44 | 2687306.2204 | 1261738.9133 | 2687298.0277 | 1261755.9635
45 | 2687306.2204 | 1261738.9133 | 2687316.5445 | 1261743.9174
46 | 2687209.563 | 1261784.6203 | 2687208.2534 | 1261784.2375 | 2687189.4624 | 1261780.7379
47 | 2687209.563 | 1261784.6203 | 2687218.8703 | 1261787.3409 | 2687224.2228 | 1261789.2213 | 2687228.0464 | 1261795.1378 | 2687229.736 | 1261799.6218 | 2687229.1759 | 1261803.8725 | 2687228.6524 | 1261807.8516
48 | 2687164.3892 | 1261829.0628 | 2687181.2458 | 1261834.4314
49 | 2687181.2458 | 1261834.4314 | 2687194.2864 | 1261838.5847
50 | 2687347.0201 | 1261707.6353 | 2687329.5732 | 1261710.2708
51 | 2687359.9396 | 1261710.4505 | 2687347.0201 | 1261707.6353 | 2687347.0201 | 1261707.6353
52 | 2687340.06 | 1261755.3924 | 2687319.8974 | 1261745.5426 | 2687316.5445 | 1261743.9174
53 | 2687224.7577 | 1261836.7099 | 2687227.3159 | 1261824.7282 | 2687227.3002 | 1261818.1339 | 2687227.7331 | 1261814.8376 | 2687228.6524 | 1261807.8516
54 | 2687222.4429 | 1261847.5521 | 2687224.7577 | 1261836.7099
55 | 2687222.4429 | 1261847.5521 | 2687194.2864 | 1261838.5847
56 | 2687263.9362 | 1261863.2801 | 2687252.845 | 1261863.0605
57 | 2687359.9396 | 1261710.4505 | 2687377.0025 | 1261675.6195
58 | 2687359.9396 | 1261710.4505 | 2687379.6815 | 1261715.1235 | 2687381.5866 | 1261715.6679
59 | 2687388.5334 | 1261717.6529 | 2687381.5866 | 1261715.6679
60 | 2687397.7155 | 1261720.6276 | 2687388.9562 | 1261717.7737 | 2687388.5334 | 1261717.6529
61 | 2687397.7155 | 1261720.6276 | 2687414.8868 | 1261688.6302
62 | 2687405.4305 | 1261723.7773 | 2687397.7155 | 1261720.6276
63 | 2687340.06 | 1261755.3924 | 2687353.7609 | 1261762.7034
64 | 2687340.06 | 1261755.3924 | 2687327.2887 | 1261780.1807
65 | 2687371.614 | 1261772.0159 | 2687365.9288 | 1261769.1964 | 2687353.7609 | 1261762.7034
66 | 2687327.2887 | 1261780.1807 | 2687324.839 | 1261784.9355 | 2687322.4985 | 1261786.4844
67 | 2687371.614 | 1261772.0159 | 2687380.9018 | 1261758.767
68 | 2687322.4723 | 1261786.5018 | 2687322.4985 | 1261786.4844
69 | 2687310.9915 | 1261782.0584 | 2687319.7053 | 1261786.0939 | 2687322.4723 | 1261786.5018 | 2687322.4723 | 1261786.5018
70 | 2687389.5922 | 1261746.3705 | 2687380.9018 | 1261758.767
71 | 2687322.7519 | 1261842.0645 | 2687318.1536 | 1261848.644
72 | 2687332.9624 | 1261827.4545 | 2687322.7519 | 1261842.0645
73 | 2687313.7112 | 1261854.4609 | 2687316.3854 | 1261851.174 | 2687318.1536 | 1261848.644
74 | 2687345.3919 | 1261809.6695 | 2687332.9624 | 1261827.4545
75 | 2687313.7112 | 1261854.4609 | 2687312.3179 | 1261856.1735 | 2687310.8652 | 1261857.582
76 | 2687345.3919 | 1261809.6695 | 2687354.3588 | 1261815.2952 | 2687370.0923 | 1261820.9244
77 | 2687386.3555 | 1261826.7431 | 2687370.0923 | 1261820.9244
78 | 2687391.965 | 1261828.7501 | 2687386.3555 | 1261826.7431
79 | 2687481.9844 | 1261858.7308 | 2687471.1698 | 1261855.9429
80 | 2687450.0244 | 1261849.6912 | 2687464.5306 | 1261854.2314 | 2687471.1698 | 1261855.9429
81 | 2687450.0244 | 1261849.6912 | 2687440.2226 | 1261846.0101
82 | 2687450.0244 | 1261849.6912 | 2687441.3602 | 1261874.4898
83 | 2687440.2226 | 1261846.0101 | 2687441.6734 | 1261842.1729 | 2687445.7802 | 1261831.3057
84 | 2687440.2226 | 1261846.0101 | 2687411.166 | 1261835.6204
85 | 2687434.1852 | 1261895.0262 | 2687441.3602 | 1261874.4898
86 | 2687445.7802 | 1261831.3057 | 2687452.4174 | 1261813.7426 | 2687452.4174 | 1261813.7426
87 | 2687396.7847 | 1261830.4782 | 2687411.166 | 1261835.6204
88 | 2687434.1852 | 1261895.0262 | 2687431.0055 | 1261893.9895
89 | 2687434.1852 | 1261895.0262 | 2687436.2513 | 1261898.4928 | 2687430.8892 | 1261914.0814 | 2687433.982 | 1261916.4067
90 | 2687391.965 | 1261828.7501 | 2687382.4258 | 1261854.7074 | 2687379.9847 | 1261855.7055 | 2687368.3078 | 1261851.4313
91 | 2687355.1019 | 1261846.5975 | 2687368.3078 | 1261851.4313
92 | 2687391.965 | 1261828.7501 | 2687396.7847 | 1261830.4782
93 | 2687396.7847 | 1261830.4782 | 2687388.4413 | 1261851.4937
94 | 2687431.0055 | 1261893.9895 | 2687423.9711 | 1261913.1117 | 2687421.7587 | 1261912.4007
95 | 2687431.0055 | 1261893.9895 | 2687398.388 | 1261882.0759 | 2687395.4515 | 1261881.9213 | 2687387.3637 | 1261886.6722 | 2687385.4604 | 1261887.4781 | 2687382.3157 | 1261888.1544 | 2687379.0701 | 1261887.506
96 | 2687444.403 | 1261918.4624 | 2687443.9756 | 1261919.846 | 2687433.982 | 1261916.4067
97 | 2687420.0526 | 1261927.8988 | 2687430.0184 | 1261916.4037 | 2687430.8892 | 1261914.0814 | 2687433.982 | 1261916.4067
98 | 2687372.874 | 1261885.1922 | 2687379.0701 | 1261887.506
99 | 2687420.0526 | 1261927.8988 | 2687411.9883 | 1261937.1759
100 | 2687420.0526 | 1261927.8988 | 2687442.9273 | 1261935.5997
101 | 2687405.7354 | 1261935.0485 | 2687411.9883 | 1261937.1759
102 | 2687403.1124 | 1261952.9349 | 2687405.9528 | 1261944.2923 | 2687411.9883 | 1261937.1759
103 | 2687461.891 | 1261941.9839 | 2687442.9273 | 1261935.5997
104 | 2687469.431 | 1261794.6101 | 2687460.641 | 1261816.6332 | 2687452.4174 | 1261813.7426
105 | 2687369.3654 | 1261883.882 | 2687372.874 | 1261885.1922
106 | 2687389.6137 | 1261951.6123 | 2687394.6266 | 1261949.9517 | 2687403.1124 | 1261952.9349
107 | 2687403.1124 | 1261952.9349 | 2687413.4637 | 1261956.5792
108 | 2687476.1478 | 1261946.5538 | 2687461.891 | 1261941.9839
109 | 2687476.1478 | 1261946.5538 | 2687471.536 | 1261961.3417 | 2687470.0526 | 1261960.7638
110 | 2687476.1478 | 1261946.5538 | 2687481.2104 | 1261930.3381 | 2687479.771 | 1261929.8387
111 | 2687390.0762 | 1261745.68 | 2687389.5922 | 1261746.3705
112 | 2687470.6655 | 1261791.5171 | 2687469.431 | 1261794.6101
113 | 2687470.6655 | 1261791.5171 | 2687467.982 | 1261793.1009 | 2687466.1724 | 1261794.1972 | 2687465.1271 | 1261795.523
114 | 2687470.6655 | 1261791.5171 | 2687472.3181 | 1261787.2826 | 2687474.324 | 1261782.6066
115 | 2687465.1271 | 1261795.523 | 2687464.6211 | 1261796.1647 | 2687461.8021 | 1261802.8394
116 | 2687480.6431 | 1261767.8751 | 2687474.324 | 1261782.6066
117 | 2687489.6926 | 1261746.7786 | 2687480.6431 | 1261767.8751
118 | 2687496.5909 | 1261730.6969 | 2687489.6926 | 1261746.7786
119 | 2687372.8511 | 1261584.7742 | 2687373.0831 | 1261584.8729
120 | 2687373.0831 | 1261584.8729 | 2687378.299 | 1261587.0935
121 | 2687384.1081 | 1261589.5667 | 2687378.299 | 1261587.0935
122 | 2687384.1081 | 1261589.5667 | 2687406.9078 | 1261599.2734
123 | 2687423.2646 | 1261606.2371 | 2687406.9078 | 1261599.2734
124 | 2687423.2646 | 1261606.2371 | 2687428.1725 | 1261595.3899
125 | 2687448.5157 | 1261616.9965 | 2687423.2646 | 1261606.2371
126 | 2687448.5157 | 1261616.9965 | 2687455.0267 | 1261601.6059
127 | 2687452.7692 | 1261618.8053 | 2687448.5157 | 1261616.9965
128 | 2687452.7692 | 1261618.8053 | 2687462.2168 | 1261609.7822 | 2687474.7445 | 1261582.7499
129 | 2687460.1598 | 1261621.9948 | 2687452.7692 | 1261618.8053
130 | 2687452.7692 | 1261618.8053 | 2687439.9938 | 1261641.9745
131 | 2687558.2133 | 1261453.1009 | 2687530.8337 | 1261487.3227 | 2687506.5458 | 1261521.9352 | 2687492.899 | 1261545.8299 | 2687487.3677 | 1261555.5113 | 2687474.7445 | 1261582.7499
132 | 2687460.1598 | 1261621.9948 | 2687451.9278 | 1261639.5203 | 2687447.1036 | 1261649.8015 | 2687443.157 | 1261657.2622
133 | 2687439.9238 | 1261642.1013 | 2687439.9938 | 1261641.9745
134 | 2687558.2133 | 1261453.1009 | 2687487.3136 | 1261412.509 | 2687475.3382 | 1261405.6542
135 | 2687443.157 | 1261657.2622 | 2687442.1377 | 1261659.1892
136 | 2687439.8281 | 1261642.275 | 2687439.9238 | 1261642.1013
137 | 2687390.0762 | 1261745.68 | 2687402.694 | 1261727.6809
138 | 2687405.4305 | 1261723.7773 | 2687402.694 | 1261727.6809
139 | 2687405.4305 | 1261723.7773 | 2687414.9522 | 1261709.2177
140 | 2687496.5909 | 1261730.6969 | 2687512.9743 | 1261693.9659
141 | 2687496.5909 | 1261730.6969 | 2687478.2878 | 1261722.2781
142 | 2687478.2878 | 1261722.2781 | 2687465.6421 | 1261716.4614 | 2687460.3506 | 1261715.5491 | 2687460.3506 | 1261715.5491
143 | 2687460.3506 | 1261715.5491 | 2687454.7029 | 1261716.2996 | 2687449.1076 | 1261718.411
144 | 2687427.2118 | 1261717.1632 | 2687430.9475 | 1261719.5844 | 2687436.0515 | 1261721.9728 | 2687439.5321 | 1261722.0243 | 2687449.1076 | 1261718.411
145 | 2687414.9522 | 1261709.2177 | 2687427.2118 | 1261717.1632
146 | 2687414.8868 | 1261688.6302 | 2687414.9277 | 1261688.5541
147 | 2687414.9277 | 1261688.5541 | 2687427.431 | 1261665.2552
148 | 2687427.431 | 1261665.2552 | 2687427.4814 | 1261665.1612
149 | 2687427.4814 | 1261665.1612 | 2687427.5228 | 1261665.0841
150 | 2687427.5228 | 1261665.0841 | 2687427.5719 | 1261664.9927
151 | 2687439.8281 | 1261642.275 | 2687437.4064 | 1261646.6668 | 2687427.5719 | 1261664.9927
152 | 2687425.9378 | 1261959.4774 | 2687425.4593 | 1261960.7491 | 2687422.2352 | 1261959.6673 | 2687413.4637 | 1261956.5792
153 | 2687389.6137 | 1261951.6123 | 2687386.549 | 1261961.2765
154 | 2687439.3492 | 1262019.1671 | 2687445.4549 | 1261998.1297 | 2687443.626 | 1261993.3989

## bus_geodata
| x | y | coords
0 | 2687346.3009 | 1261573.1798
1 | 2687348.5483 | 1261574.1795
2 | 2687319.552 | 1261561.2812
3 | 2687351.4827 | 1261575.4848
4 | 2687308.5134 | 1261589.4076
5 | 2687361.6589 | 1261580.0092
6 | 2687296.5904 | 1261619.7875
7 | 2687367.4279 | 1261582.4653
8 | 2687292.1772 | 1261631.0322
9 | 2687230.0344 | 1261720.5897
10 | 2687244.9509 | 1261721.9517
11 | 2687286.7491 | 1261905.8572
12 | 2687298.8125 | 1261889.4782
13 | 2687275.1771 | 1261924.5016
14 | 2687301.5821 | 1261881.9739
15 | 2687276.8984 | 1261903.3547
16 | 2687301.9426 | 1261880.5021
17 | 2687390.0876 | 1262010.2878
18 | 2687394.9671 | 1261999.8072
19 | 2687415.6194 | 1262014.1792
20 | 2687319.0944 | 1261980.4938
21 | 2687382.1132 | 1261975.2646
22 | 2687322.904 | 1261969.4858
23 | 2687397.798 | 1261966.8341
24 | 2687386.1991 | 1261962.3799
25 | 2687302.0765 | 1261862.3495
26 | 2687418.647 | 1262004.6053
27 | 2687430.2628 | 1262017.0645
28 | 2687316.4244 | 1261965.6003
29 | 2687386.5302 | 1261961.3358
30 | 2687217.1664 | 1261882.1957
31 | 2687216.293 | 1261862.9402
32 | 2687279.2788 | 1261717.6212
33 | 2687264.6946 | 1261755.0912
34 | 2687278.5436 | 1261708.7256
35 | 2687298.2694 | 1261714.9993
36 | 2687210.5655 | 1261800.1619
37 | 2687247.5839 | 1261746.1565
38 | 2687306.2204 | 1261738.9133
39 | 2687209.7419 | 1261805.0651
40 | 2687189.4624 | 1261780.7379
41 | 2687209.563 | 1261784.6203
42 | 2687164.3892 | 1261829.0628
43 | 2687181.2458 | 1261834.4314
44 | 2687329.5732 | 1261710.2708
45 | 2687347.0201 | 1261707.6353
46 | 2687298.0277 | 1261755.9635
47 | 2687316.5445 | 1261743.9174
48 | 2687224.7577 | 1261836.7099
49 | 2687228.6524 | 1261807.8516
50 | 2687222.4429 | 1261847.5521
51 | 2687194.2864 | 1261838.5847
52 | 2687252.845 | 1261863.0605
53 | 2687191.5884 | 1261861.0549
54 | 2687263.9362 | 1261863.2801
55 | 2687359.9396 | 1261710.4505
56 | 2687377.0025 | 1261675.6195
57 | 2687381.5866 | 1261715.6679
58 | 2687388.5334 | 1261717.6529
59 | 2687397.7155 | 1261720.6276
60 | 2687340.06 | 1261755.3924
61 | 2687353.7609 | 1261762.7034
62 | 2687327.2887 | 1261780.1807
63 | 2687371.614 | 1261772.0159
64 | 2687322.4985 | 1261786.4844
65 | 2687310.9915 | 1261782.0584
66 | 2687322.4723 | 1261786.5018
67 | 2687380.9018 | 1261758.767
68 | 2687322.7519 | 1261842.0645
69 | 2687318.1536 | 1261848.644
70 | 2687332.9624 | 1261827.4545
71 | 2687313.7112 | 1261854.4609
72 | 2687345.3919 | 1261809.6695
73 | 2687310.8652 | 1261857.582
74 | 2687370.0923 | 1261820.9244
75 | 2687386.3555 | 1261826.7431
76 | 2687481.9844 | 1261858.7308
77 | 2687471.1698 | 1261855.9429
78 | 2687450.0244 | 1261849.6912
79 | 2687440.2226 | 1261846.0101
80 | 2687441.3602 | 1261874.4898
81 | 2687445.7802 | 1261831.3057
82 | 2687411.166 | 1261835.6204
83 | 2687434.1852 | 1261895.0262
84 | 2687368.3078 | 1261851.4314
85 | 2687391.965 | 1261828.7501
86 | 2687355.1019 | 1261846.5975
87 | 2687396.7847 | 1261830.4782
88 | 2687388.4413 | 1261851.4937
89 | 2687431.0055 | 1261893.9895
90 | 2687433.982 | 1261916.4067
91 | 2687421.7587 | 1261912.4007
92 | 2687379.0701 | 1261887.506
93 | 2687420.0526 | 1261927.8988
94 | 2687411.9883 | 1261937.1759
95 | 2687442.9273 | 1261935.5997
96 | 2687444.403 | 1261918.4624
97 | 2687452.4174 | 1261813.7426
98 | 2687372.874 | 1261885.1922
99 | 2687405.7354 | 1261935.0485
100 | 2687403.1124 | 1261952.9349
101 | 2687461.891 | 1261941.9839
102 | 2687476.1478 | 1261946.5538
103 | 2687389.5922 | 1261746.3705
104 | 2687469.431 | 1261794.6101
105 | 2687470.6655 | 1261791.5171
106 | 2687465.1271 | 1261795.523
107 | 2687474.324 | 1261782.6066
108 | 2687461.8021 | 1261802.8394
109 | 2687480.6431 | 1261767.8751
110 | 2687489.6926 | 1261746.7786
111 | 2687372.8511 | 1261584.7742
112 | 2687373.0831 | 1261584.8729
113 | 2687378.299 | 1261587.0935
114 | 2687384.1081 | 1261589.5667
115 | 2687406.9078 | 1261599.2734
116 | 2687423.2646 | 1261606.2371
117 | 2687455.0267 | 1261601.6059
118 | 2687448.5157 | 1261616.9965
119 | 2687452.7692 | 1261618.8053
120 | 2687428.1725 | 1261595.3899
121 | 2687474.7445 | 1261582.7499
122 | 2687460.1598 | 1261621.9948
123 | 2687439.9938 | 1261641.9745
124 | 2687558.2133 | 1261453.1009
125 | 2687443.157 | 1261657.2622
126 | 2687439.9238 | 1261642.1013
127 | 2687475.3382 | 1261405.6542
128 | 2687442.1377 | 1261659.1892
129 | 2687390.0762 | 1261745.68
130 | 2687402.694 | 1261727.6809
131 | 2687405.4305 | 1261723.7773
132 | 2687496.5909 | 1261730.6969
133 | 2687512.9743 | 1261693.9659
134 | 2687478.2878 | 1261722.2781
135 | 2687460.3506 | 1261715.5491
136 | 2687449.1076 | 1261718.411
137 | 2687427.2118 | 1261717.1632
138 | 2687414.9522 | 1261709.2177
139 | 2687414.8868 | 1261688.6302
140 | 2687414.9277 | 1261688.5541
141 | 2687427.431 | 1261665.2552
142 | 2687369.3654 | 1261883.882
143 | 2687427.4814 | 1261665.1612
144 | 2687427.5228 | 1261665.0841
145 | 2687427.5719 | 1261664.9927
146 | 2687439.8281 | 1261642.275
147 | 2687413.4637 | 1261956.5792
148 | 2687425.9378 | 1261959.4774
149 | 2687389.6137 | 1261951.6123
150 | 2687386.549 | 1261961.2765
151 | 2687470.0526 | 1261960.7638
152 | 2687479.771 | 1261929.8386
153 | 2687433.7203 | 1262005.9291
154 | 2687439.3492 | 1262019.1671
155 | 2687443.626 | 1261993.3989
156 | 2687371.614 | 1261772.0159

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1