## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_56-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_56-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_56-2_0_5_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_56-2_0_5_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_56-2_0_5_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_56-2_0_5_node_164 | 0.4 | n |  | TRUE
6 | bus_LV_56-2_0_5_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_56-2_0_5_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_56-2_0_5_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_56-2_0_5_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_56-2_0_5_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_56-2_0_5_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_56-2_0_5_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_56-2_0_5_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_56-2_0_5_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_56-2_0_5_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_56-2_0_5_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_56-2_0_5_node_111 | 0.4 | n |  | TRUE
18 | bus_LV_56-2_0_5_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_56-2_0_5_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_56-2_0_5_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_56-2_0_5_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_56-2_0_5_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_56-2_0_5_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_56-2_0_5_node_170 | 0.4 | n |  | TRUE
25 | bus_LV_56-2_0_5_node_99 | 0.4 | n |  | TRUE
26 | bus_LV_56-2_0_5_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_56-2_0_5_node_102 | 0.4 | n |  | TRUE
28 | bus_LV_56-2_0_5_node_168 | 0.4 | n |  | TRUE
29 | bus_LV_56-2_0_5_node_104 | 0.4 | n |  | TRUE
30 | bus_LV_56-2_0_5_node_105 | 0.4 | n |  | TRUE
31 | bus_LV_56-2_0_5_node_107 | 0.4 | n |  | TRUE
32 | bus_LV_56-2_0_5_node_108 | 0.4 | n |  | TRUE
33 | bus_LV_56-2_0_5_node_116 | 0.4 | n |  | TRUE
34 | bus_LV_56-2_0_5_node_206 | 0.4 | n |  | TRUE
35 | bus_LV_56-2_0_5_node_153 | 0.4 | n |  | TRUE
36 | bus_LV_56-2_0_5_node_110 | 0.4 | n |  | TRUE
37 | bus_LV_56-2_0_5_node_143 | 0.4 | n |  | TRUE
38 | bus_LV_56-2_0_5_node_140 | 0.4 | n |  | TRUE
39 | bus_LV_56-2_0_5_node_112 | 0.4 | n |  | TRUE
40 | bus_LV_56-2_0_5_node_208 | 0.4 | n |  | TRUE
41 | bus_LV_56-2_0_5_node_207 | 0.4 | n |  | TRUE
42 | bus_LV_56-2_0_5_node_113 | 0.4 | n |  | TRUE
43 | bus_LV_56-2_0_5_node_209 | 0.4 | n |  | TRUE
44 | bus_LV_56-2_0_5_node_115 | 0.4 | n |  | TRUE
45 | bus_LV_56-2_0_5_node_114 | 0.4 | n |  | TRUE
46 | bus_LV_56-2_0_5_node_117 | 0.4 | n |  | TRUE
47 | bus_LV_56-2_0_5_node_145 | 0.4 | n |  | TRUE
48 | bus_LV_56-2_0_5_node_136 | 0.4 | n |  | TRUE
49 | bus_LV_56-2_0_5_node_118 | 0.4 | n |  | TRUE
50 | bus_LV_56-2_0_5_node_146 | 0.4 | n |  | TRUE
51 | bus_LV_56-2_0_5_node_128 | 0.4 | n |  | TRUE
52 | bus_LV_56-2_0_5_node_161 | 0.4 | n |  | TRUE
53 | bus_LV_56-2_0_5_node_130 | 0.4 | n |  | TRUE
54 | bus_LV_56-2_0_5_node_131 | 0.4 | n |  | TRUE
55 | bus_LV_56-2_0_5_node_133 | 0.4 | n |  | TRUE
56 | bus_LV_56-2_0_5_node_134 | 0.4 | n |  | TRUE
57 | bus_LV_56-2_0_5_node_135 | 0.4 | n |  | TRUE
58 | bus_LV_56-2_0_5_node_137 | 0.4 | n |  | TRUE
59 | bus_LV_56-2_0_5_node_138 | 0.4 | n |  | TRUE
60 | bus_LV_56-2_0_5_node_139 | 0.4 | n |  | TRUE
61 | bus_LV_56-2_0_5_node_166 | 0.4 | n |  | TRUE
62 | bus_LV_56-2_0_5_node_141 | 0.4 | n |  | TRUE
63 | bus_LV_56-2_0_5_node_142 | 0.4 | n |  | TRUE
64 | bus_LV_56-2_0_5_node_152 | 0.4 | n |  | TRUE
65 | bus_LV_56-2_0_5_node_151 | 0.4 | n |  | TRUE
66 | bus_LV_56-2_0_5_node_158 | 0.4 | n |  | TRUE
67 | bus_LV_56-2_0_5_node_159 | 0.4 | n |  | TRUE
68 | bus_LV_56-2_0_5_node_160 | 0.4 | n |  | TRUE
69 | bus_LV_56-2_0_5_node_167 | 0.4 | n |  | TRUE
70 | bus_LV_56-2_0_5_node_171 | 0.4 | n |  | TRUE
71 | bus_LV_56-2_0_5_node_172 | 0.4 | n |  | TRUE
72 | bus_MV_372_0_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_56-2_0_5_load_0 | 0 | 0.013519 | 0.0033882 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_56-2_0_5_load_30 | 4 | 0.0034262 | 0.00085868 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_56-2_0_5_load_164 | 5 | 0.0027565 | 0.00069085 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_56-2_0_5_load_20 | 7 | 0.0042644 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_56-2_0_5_load_18 | 8 | 0.0052865 | 0.0013249 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_56-2_0_5_load_19 | 9 | 0.0072361 | 0.0018135 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_56-2_0_5_load_21 | 11 | 0.014099 | 0.0035334 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_56-2_0_5_load_22 | 12 | 0.013195 | 0.0033069 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_56-2_0_5_load_25 | 14 | 0.0071025 | 0.0017801 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_56-2_0_5_load_26 | 15 | 0.0070633 | 0.0017702 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_56-2_0_5_load_27 | 16 | 0.0075292 | 0.001887 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_56-2_0_5_load_111 | 17 | 0.0068449 | 0.0017155 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_56-2_0_5_load_28 | 18 | 0.0068143 | 0.0017078 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_56-2_0_5_load_31 | 20 | 0.0073158 | 0.0018335 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_56-2_0_5_load_60 | 22 | 0.0072895 | 0.0018269 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_56-2_0_5_load_61 | 23 | 0.0083489 | 0.0020924 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_56-2_0_5_load_99 | 25 | 0.0021483 | 0.00053841 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_56-2_0_5_load_100 | 26 | 0.0021809 | 0.00054659 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_56-2_0_5_load_102 | 27 | 0.0025232 | 0.00063238 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_56-2_0_5_load_168 | 28 | 0.0025715 | 0.00064448 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_56-2_0_5_load_104 | 29 | 0.0092547 | 0.0023194 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_56-2_0_5_load_108 | 32 | 0.0021127 | 0.00052948 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_56-2_0_5_load_206 | 34 | 0.008822 | 0.002211 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_56-2_0_5_load_153 | 35 | 0.0021129 | 0.00052954 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_56-2_0_5_load_140 | 38 | 0.015847 | 0.0039717 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_56-2_0_5_load_209 | 43 | 0.014102 | 0.0035343 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_56-2_0_5_load_114 | 45 | 0.007617 | 0.001909 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_56-2_0_5_load_145 | 47 | 0.015315 | 0.0038384 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_56-2_0_5_load_146 | 50 | 0.014839 | 0.003719 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_56-2_0_5_load_130 | 53 | 0.008583 | 0.0021511 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_56-2_0_5_load_131 | 54 | 0.0036699 | 0.00091975 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_56-2_0_5_load_134 | 56 | 0.0040761 | 0.0010216 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_56-2_0_5_load_135 | 57 | 0.0016251 | 0.00040729 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_56-2_0_5_load_137 | 58 | 0.0026805 | 0.0006718 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_56-2_0_5_load_166 | 61 | 0.00083931 | 0.00021035 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_56-2_0_5_load_142 | 63 | 0.0075533 | 0.001893 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_56-2_0_5_load_152 | 64 | 0.015558 | 0.0038991 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_56-2_0_5_load_158 | 66 | 0.01981 | 0.0049649 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_56-2_0_5_load_167 | 69 | 0.0082242 | 0.0020612 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_56-2_0_5_load_171 | 70 | 0.0092757 | 0.0023247 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_56-2_0_5_load_172 | 71 | 0.0067132 | 0.0016825 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_56-2_0_5_line_0 |  | 0 | 1 | 0.012423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_56-2_0_5_line_1 |  | 1 | 2 | 0.095748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_56-2_0_5_line_2 |  | 1 | 3 | 0.017437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_56-2_0_5_line_3 |  | 2 | 4 | 0.023749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_56-2_0_5_line_4 |  | 3 | 5 | 0.019377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_56-2_0_5_line_5 |  | 4 | 19 | 0.024324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_56-2_0_5_line_6 |  | 6 | 7 | 0.016765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_56-2_0_5_line_7 |  | 6 | 8 | 0.021839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_56-2_0_5_line_8 |  | 7 | 10 | 0.035211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_56-2_0_5_line_9 |  | 8 | 9 | 0.021882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_56-2_0_5_line_10 |  | 10 | 12 | 0.011893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_56-2_0_5_line_11 |  | 11 | 12 | 0.017341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_56-2_0_5_line_12 |  | 11 | 13 | 0.022971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_56-2_0_5_line_13 |  | 13 | 14 | 0.013522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_56-2_0_5_line_14 |  | 13 | 15 | 0.023538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_56-2_0_5_line_15 |  | 14 | 16 | 0.022448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_56-2_0_5_line_16 |  | 15 | 17 | 0.025226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_56-2_0_5_line_17 |  | 16 | 18 | 0.016746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_56-2_0_5_line_18 |  | 17 | 39 | 0.016436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_56-2_0_5_line_19 |  | 18 | 19 | 0.010554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_56-2_0_5_line_20 |  | 19 | 20 | 0.014694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_56-2_0_5_line_21 |  | 20 | 21 | 0.013501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_56-2_0_5_line_22 |  | 21 | 22 | 0.017621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_56-2_0_5_line_23 |  | 23 | 24 | 0.010916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_56-2_0_5_line_24 |  | 24 | 70 | 0.028778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_56-2_0_5_line_25 |  | 24 | 71 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_56-2_0_5_line_26 |  | 25 | 26 | 0.0099149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_56-2_0_5_line_27 |  | 26 | 27 | 0.018444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_56-2_0_5_line_28 |  | 27 | 28 | 0.011845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_56-2_0_5_line_29 |  | 28 | 51 | 0.019872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_56-2_0_5_line_30 |  | 29 | 30 | 0.012509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_56-2_0_5_line_31 |  | 30 | 31 | 0.009844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_56-2_0_5_line_32 |  | 30 | 32 | 0.016942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_56-2_0_5_line_33 |  | 31 | 33 | 0.032394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_56-2_0_5_line_34 |  | 31 | 34 | 0.024631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_56-2_0_5_line_35 |  | 32 | 35 | 0.00019676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_56-2_0_5_line_36 |  | 33 | 45 | 0.004576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_56-2_0_5_line_37 |  | 34 | 41 | 0.0082147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_56-2_0_5_line_38 |  | 35 | 65 | 0.030849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_56-2_0_5_line_39 |  | 36 | 37 | 0.015382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_56-2_0_5_line_40 |  | 36 | 38 | 0.024007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_56-2_0_5_line_41 |  | 37 | 64 | 0.0090995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_56-2_0_5_line_42 |  | 38 | 62 | 0.025004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_56-2_0_5_line_43 |  | 39 | 40 | 0.018539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_56-2_0_5_line_44 |  | 39 | 41 | 0.012807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_56-2_0_5_line_45 |  | 40 | 71 | 0.027482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_56-2_0_5_line_46 |  | 42 | 43 | 0.025738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_56-2_0_5_line_47 |  | 42 | 44 | 0.041758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_56-2_0_5_line_48 |  | 44 | 46 | 0.042753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_56-2_0_5_line_49 |  | 46 | 47 | 0.024126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_56-2_0_5_line_50 |  | 46 | 48 | 0.26006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_56-2_0_5_line_51 |  | 47 | 49 | 0.030098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_56-2_0_5_line_52 |  | 48 | 57 | 0.17362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_56-2_0_5_line_53 |  | 49 | 50 | 0.020665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_56-2_0_5_line_54 |  | 50 | 65 | 0.020073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_56-2_0_5_line_55 |  | 51 | 52 | 0.010212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_56-2_0_5_line_56 |  | 52 | 63 | 0.006608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_56-2_0_5_line_57 |  | 52 | 67 | 0.012533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_56-2_0_5_line_58 |  | 53 | 54 | 0.030833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_56-2_0_5_line_59 |  | 54 | 55 | 0.022064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_56-2_0_5_line_60 |  | 55 | 56 | 0.039621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_56-2_0_5_line_61 |  | 56 | 57 | 0.035675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_56-2_0_5_line_62 |  | 58 | 59 | 0.0078197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_56-2_0_5_line_63 |  | 59 | 60 | 0.22479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_56-2_0_5_line_64 |  | 60 | 61 | 0.045886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_56-2_0_5_line_65 |  | 61 | 68 | 0.037042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_56-2_0_5_line_66 |  | 62 | 63 | 0.027457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_56-2_0_5_line_67 |  | 64 | 65 | 0.025282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_56-2_0_5_line_68 |  | 66 | 67 | 0.036793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_56-2_0_5_line_69 |  | 67 | 68 | 0.063088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_56-2_0_5_line_70 |  | 68 | 69 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_56-2_0_5_trafo_107 | 0.63 MVA 20/0.4 kV | 72 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2687029.3933 | 1262874.7311 | 2687028.8182 | 1262887.1409
1 | 2687029.3933 | 1262874.7311 | 2687030.8257 | 1262860.8523 | 2687040.8748 | 1262861.4562 | 2687043.6249 | 1262863.4872 | 2687061.1041 | 1262863.9893 | 2687080.2379 | 1262864.6826 | 2687084.3188 | 1262864.8539 | 2687088.1291 | 1262864.9879 | 2687087.2889 | 1262841.2234
2 | 2687011.9697 | 1262874.0409 | 2687019.5445 | 1262874.3415 | 2687025.3122 | 1262874.571 | 2687029.3933 | 1262874.7311
3 | 2687087.2889 | 1262841.2234 | 2687111.0296 | 1262841.8425
4 | 2687011.9697 | 1262874.0409 | 2687013.1505 | 1262871.623 | 2687013.8439 | 1262854.9509
5 | 2687135.3454 | 1262842.4765 | 2687111.0296 | 1262841.8425
6 | 2687091.5384 | 1262958.2897 | 2687108.2846 | 1262957.4974
7 | 2687091.5384 | 1262958.2897 | 2687091.0394 | 1262936.4566
8 | 2687143.4771 | 1262957.2872 | 2687121.2881 | 1262956.8822 | 2687108.2846 | 1262957.4974
9 | 2687090.5394 | 1262914.58 | 2687091.0394 | 1262936.4566
10 | 2687143.4771 | 1262957.2872 | 2687143.5242 | 1262950.0043 | 2687142.4702 | 1262945.5169
11 | 2687142.4702 | 1262945.5169 | 2687138.5052 | 1262928.6357
12 | 2687137.4196 | 1262905.6904 | 2687138.5052 | 1262928.6357
13 | 2687137.4196 | 1262905.6904 | 2687136.5995 | 1262892.1932
14 | 2687137.4196 | 1262905.6904 | 2687159.3175 | 1262904.9013 | 2687159.251 | 1262903.2768 | 2687159.251 | 1262903.2768
15 | 2687136.5995 | 1262892.1932 | 2687135.631 | 1262876.2519 | 2687135.5762 | 1262869.7749
16 | 2687183.1482 | 1262897.2515 | 2687172.8219 | 1262902.6207 | 2687159.251 | 1262903.2768
17 | 2687135.4347 | 1262853.0299 | 2687135.5762 | 1262869.7749
18 | 2687195.8394 | 1262887.2256 | 2687190.0411 | 1262893.6674 | 2687183.1482 | 1262897.2515
19 | 2687135.3454 | 1262842.4765 | 2687135.4347 | 1262853.0299
20 | 2687135.3454 | 1262842.4765 | 2687144.6121 | 1262831.0724
21 | 2687151.1621 | 1262819.8138 | 2687150.8992 | 1262823.335 | 2687144.6121 | 1262831.0724
22 | 2687151.1621 | 1262819.8138 | 2687152.2276 | 1262802.2267
23 | 2687192.6144 | 1262823.4164 | 2687181.7393 | 1262822.4713
24 | 2687192.6144 | 1262823.4164 | 2687219.548 | 1262825.5152 | 2687221.3092 | 1262825.5838
25 | 2687192.6144 | 1262823.4164 | 2687188.8863 | 1262844.3353
26 | 2687263.7108 | 1262769.9011 | 2687273.3763 | 1262772.1111
27 | 2687291.3564 | 1262776.2222 | 2687273.3763 | 1262772.1111
28 | 2687291.3564 | 1262776.2222 | 2687302.9035 | 1262778.8625
29 | 2687322.3147 | 1262783.0978 | 2687318.6099 | 1262782.4537 | 2687302.9035 | 1262778.8625
30 | 2687242.1497 | 1262879.6691 | 2687242.4521 | 1262875.0032 | 2687243.1324 | 1262867.1994
31 | 2687242.1497 | 1262879.6691 | 2687241.4698 | 1262889.4891
32 | 2687242.1497 | 1262879.6691 | 2687259.0256 | 1262881.1628
33 | 2687241.4698 | 1262889.4891 | 2687239.2431 | 1262918.3569 | 2687239.0191 | 1262921.7896
34 | 2687241.4698 | 1262889.4891 | 2687216.8805 | 1262888.0588
35 | 2687259.0256 | 1262881.1628 | 2687259.2216 | 1262881.1801
36 | 2687239.0191 | 1262921.7896 | 2687238.6455 | 1262926.3504
37 | 2687208.6797 | 1262887.5818 | 2687216.8805 | 1262888.0588
38 | 2687289.951 | 1262883.8999 | 2687259.2216 | 1262881.1801
39 | 2687291.4377 | 1262849.5502 | 2687290.4438 | 1262834.2012
40 | 2687290.4438 | 1262834.2012 | 2687290.0622 | 1262823.3091 | 2687288.7113 | 1262810.2711
41 | 2687291.4377 | 1262849.5502 | 2687291.0442 | 1262858.6412
42 | 2687286.8532 | 1262785.5208 | 2687286.012 | 1262790.9571 | 2687288.539 | 1262808.6084 | 2687288.7113 | 1262810.2711
43 | 2687195.6093 | 1262869.119 | 2687194.6708 | 1262885.7516 | 2687195.8394 | 1262887.2256
44 | 2687208.6797 | 1262887.5818 | 2687195.8394 | 1262887.2256
45 | 2687195.6093 | 1262869.119 | 2687186.9139 | 1262855.4022 | 2687188.8863 | 1262844.3353
46 | 2687192.6642 | 1262964.5734 | 2687195.5127 | 1262938.9951
47 | 2687234.0931 | 1262970.7113 | 2687192.6642 | 1262964.5734
48 | 2687234.0931 | 1262970.7113 | 2687276.415 | 1262977.5966
49 | 2687276.415 | 1262977.5966 | 2687280.3545 | 1262963.8661 | 2687282.5292 | 1262954.2682
50 | 2687276.415 | 1262977.5966 | 2687449.0397 | 1263172.1004
51 | 2687286.8951 | 1262924.5092 | 2687283.7797 | 1262948.7491 | 2687282.5292 | 1262954.2682
52 | 2687449.0397 | 1263172.1004 | 2687621.111 | 1263195.2194
53 | 2687286.8951 | 1262924.5092 | 2687287.9506 | 1262916.296 | 2687288.7139 | 1262903.9349
54 | 2687289.951 | 1262883.8999 | 2687288.7139 | 1262903.9349
55 | 2687320.073 | 1262793.0615 | 2687322.3147 | 1262783.0978
56 | 2687320.073 | 1262793.0615 | 2687313.6289 | 1262791.5987
57 | 2687320.073 | 1262793.0615 | 2687332.3597 | 1262795.7116
58 | 2687685.2439 | 1263257.0913 | 2687691.3594 | 1263226.8713
59 | 2687695.7356 | 1263205.2458 | 2687691.3594 | 1263226.8713
60 | 2687695.7356 | 1263205.2458 | 2687656.4678 | 1263199.9699
61 | 2687656.4678 | 1263199.9699 | 2687621.111 | 1263195.2194
62 | 2687694.9142 | 1262755.8884 | 2687702.6203 | 1262754.5599
63 | 2687477.0168 | 1262807.3361 | 2687505.1632 | 1262801.3032 | 2687548.7119 | 1262786.4691 | 2687584.612 | 1262774.7913 | 2687617.6193 | 1262765.6396 | 2687654.7974 | 1262762.8104 | 2687678.7571 | 1262758.6844 | 2687694.9142 | 1262755.8884
64 | 2687477.0168 | 1262807.3361 | 2687467.1948 | 1262808.6919 | 2687450.0026 | 1262810.1722 | 2687431.2882 | 1262810.3322
65 | 2687394.3221 | 1262808.3479 | 2687422.3714 | 1262810.4084 | 2687431.2882 | 1262810.3322
66 | 2687286.8532 | 1262785.5208 | 2687313.6289 | 1262791.5987
67 | 2687289.951 | 1262883.8999 | 2687291.0442 | 1262858.6412
68 | 2687332.3597 | 1262795.7116 | 2687328.9803 | 1262832.3494
69 | 2687332.3597 | 1262795.7116 | 2687367.1379 | 1262803.8316 | 2687394.3221 | 1262808.3479
70 | 2687394.3221 | 1262808.3479 | 2687394.9123 | 1262804.6092 | 2687395.5688 | 1262798.9366 | 2687396.0197 | 1262794.9401 | 2687395.4427 | 1262794.8494

## bus_geodata
| x | y | coords
0 | 2687028.8182 | 1262887.1409
1 | 2687029.3933 | 1262874.7311
2 | 2687087.2889 | 1262841.2234
3 | 2687011.9697 | 1262874.0409
4 | 2687111.0296 | 1262841.8425
5 | 2687013.8439 | 1262854.9509
6 | 2687091.5384 | 1262958.2897
7 | 2687108.2846 | 1262957.4974
8 | 2687091.0394 | 1262936.4566
9 | 2687090.5394 | 1262914.58
10 | 2687143.4771 | 1262957.2872
11 | 2687138.5052 | 1262928.6357
12 | 2687142.4702 | 1262945.5169
13 | 2687137.4196 | 1262905.6904
14 | 2687136.5995 | 1262892.1932
15 | 2687159.251 | 1262903.2768
16 | 2687135.5762 | 1262869.7749
17 | 2687183.1482 | 1262897.2515
18 | 2687135.4347 | 1262853.0299
19 | 2687135.3454 | 1262842.4765
20 | 2687144.6121 | 1262831.0724
21 | 2687151.1621 | 1262819.8138
22 | 2687152.2276 | 1262802.2267
23 | 2687181.7393 | 1262822.4713
24 | 2687192.6144 | 1262823.4164
25 | 2687263.7108 | 1262769.9011
26 | 2687273.3763 | 1262772.1111
27 | 2687291.3564 | 1262776.2222
28 | 2687302.9035 | 1262778.8625
29 | 2687243.1324 | 1262867.1994
30 | 2687242.1497 | 1262879.6691
31 | 2687241.4698 | 1262889.4891
32 | 2687259.0256 | 1262881.1628
33 | 2687239.0191 | 1262921.7896
34 | 2687216.8805 | 1262888.0588
35 | 2687259.2216 | 1262881.1801
36 | 2687290.4438 | 1262834.2012
37 | 2687291.4377 | 1262849.5502
38 | 2687288.7113 | 1262810.2711
39 | 2687195.8394 | 1262887.2256
40 | 2687195.6093 | 1262869.119
41 | 2687208.6797 | 1262887.5818
42 | 2687192.6642 | 1262964.5734
43 | 2687195.5127 | 1262938.9951
44 | 2687234.0931 | 1262970.7113
45 | 2687238.6455 | 1262926.3504
46 | 2687276.415 | 1262977.5966
47 | 2687282.5292 | 1262954.2682
48 | 2687449.0397 | 1263172.1004
49 | 2687286.8951 | 1262924.5092
50 | 2687288.7139 | 1262903.9349
51 | 2687322.3147 | 1262783.0978
52 | 2687320.073 | 1262793.0615
53 | 2687685.2439 | 1263257.0913
54 | 2687691.3594 | 1263226.8713
55 | 2687695.7356 | 1263205.2458
56 | 2687656.4678 | 1263199.9699
57 | 2687621.111 | 1263195.2194
58 | 2687702.6203 | 1262754.5599
59 | 2687694.9142 | 1262755.8884
60 | 2687477.0168 | 1262807.3361
61 | 2687431.2882 | 1262810.3322
62 | 2687286.8532 | 1262785.5208
63 | 2687313.6289 | 1262791.5987
64 | 2687291.0442 | 1262858.6412
65 | 2687289.951 | 1262883.8999
66 | 2687328.9803 | 1262832.3494
67 | 2687332.3597 | 1262795.7116
68 | 2687394.3221 | 1262808.3479
69 | 2687395.4427 | 1262794.8494
70 | 2687221.3092 | 1262825.5838
71 | 2687188.8863 | 1262844.3353
72 | 2687242.1497 | 1262879.6691

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1