## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_56-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_56-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_56-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_56-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_56-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_56-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_56-5_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_56-5_0_3_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_56-5_0_3_node_146 | 0.4 | n |  | TRUE
9 | bus_LV_56-5_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_56-5_0_3_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_56-5_0_3_node_147 | 0.4 | n |  | TRUE
12 | bus_LV_56-5_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_56-5_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_56-5_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_56-5_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_56-5_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_56-5_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_56-5_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_56-5_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_56-5_0_3_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_56-5_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_56-5_0_3_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_56-5_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_56-5_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_56-5_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_56-5_0_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_56-5_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_56-5_0_3_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_56-5_0_3_node_151 | 0.4 | n |  | TRUE
30 | bus_LV_56-5_0_3_node_150 | 0.4 | n |  | TRUE
31 | bus_LV_56-5_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_56-5_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_56-5_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_56-5_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_56-5_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_56-5_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_56-5_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_56-5_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_56-5_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_56-5_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_56-5_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_56-5_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_56-5_0_3_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_56-5_0_3_node_163 | 0.4 | n |  | TRUE
45 | bus_LV_56-5_0_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_56-5_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_56-5_0_3_node_164 | 0.4 | n |  | TRUE
48 | bus_LV_56-5_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_56-5_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_56-5_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_56-5_0_3_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_56-5_0_3_node_152 | 0.4 | n |  | TRUE
53 | bus_LV_56-5_0_3_node_130 | 0.4 | n |  | TRUE
54 | bus_LV_56-5_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_56-5_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_56-5_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_56-5_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_56-5_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_56-5_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_56-5_0_3_node_145 | 0.4 | n |  | TRUE
61 | bus_LV_56-5_0_3_node_141 | 0.4 | n |  | TRUE
62 | bus_LV_56-5_0_3_node_142 | 0.4 | n |  | TRUE
63 | bus_LV_56-5_0_3_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_56-5_0_3_node_144 | 0.4 | n |  | TRUE
65 | bus_LV_56-5_0_3_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_56-5_0_3_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_56-5_0_3_node_155 | 0.4 | n |  | TRUE
68 | bus_LV_56-5_0_3_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_56-5_0_3_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_56-5_0_3_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_56-5_0_3_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_56-5_0_3_node_89 | 0.4 | n |  | TRUE
73 | bus_LV_56-5_0_3_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_56-5_0_3_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_56-5_0_3_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_56-5_0_3_node_131 | 0.4 | n |  | TRUE
77 | bus_LV_56-5_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_56-5_0_3_node_154 | 0.4 | n |  | TRUE
79 | bus_LV_56-5_0_3_node_129 | 0.4 | n |  | TRUE
80 | bus_LV_56-5_0_3_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_56-5_0_3_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_56-5_0_3_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_56-5_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_56-5_0_3_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_56-5_0_3_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_56-5_0_3_node_117 | 0.4 | n |  | TRUE
87 | bus_LV_56-5_0_3_node_118 | 0.4 | n |  | TRUE
88 | bus_LV_56-5_0_3_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_56-5_0_3_node_119 | 0.4 | n |  | TRUE
90 | bus_LV_56-5_0_3_node_64 | 0.4 | n |  | TRUE
91 | bus_LV_56-5_0_3_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_56-5_0_3_node_66 | 0.4 | n |  | TRUE
93 | bus_LV_56-5_0_3_node_168 | 0.4 | n |  | TRUE
94 | bus_LV_56-5_0_3_node_68 | 0.4 | n |  | TRUE
95 | bus_LV_56-5_0_3_node_121 | 0.4 | n |  | TRUE
96 | bus_LV_56-5_0_3_node_139 | 0.4 | n |  | TRUE
97 | bus_LV_56-5_0_3_node_136 | 0.4 | n |  | TRUE
98 | bus_LV_56-5_0_3_node_138 | 0.4 | n |  | TRUE
99 | bus_LV_56-5_0_3_node_135 | 0.4 | n |  | TRUE
100 | bus_LV_56-5_0_3_node_71 | 0.4 | n |  | TRUE
101 | bus_LV_56-5_0_3_node_73 | 0.4 | n |  | TRUE
102 | bus_LV_56-5_0_3_node_72 | 0.4 | n |  | TRUE
103 | bus_LV_56-5_0_3_node_74 | 0.4 | n |  | TRUE
104 | bus_LV_56-5_0_3_node_77 | 0.4 | n |  | TRUE
105 | bus_LV_56-5_0_3_node_120 | 0.4 | n |  | TRUE
106 | bus_LV_56-5_0_3_node_81 | 0.4 | n |  | TRUE
107 | bus_LV_56-5_0_3_node_82 | 0.4 | n |  | TRUE
108 | bus_LV_56-5_0_3_node_83 | 0.4 | n |  | TRUE
109 | bus_LV_56-5_0_3_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_56-5_0_3_node_105 | 0.4 | n |  | TRUE
111 | bus_LV_56-5_0_3_node_156 | 0.4 | n |  | TRUE
112 | bus_LV_56-5_0_3_node_88 | 0.4 | n |  | TRUE
113 | bus_LV_56-5_0_3_node_103 | 0.4 | n |  | TRUE
114 | bus_LV_56-5_0_3_node_100 | 0.4 | n |  | TRUE
115 | bus_LV_56-5_0_3_node_90 | 0.4 | n |  | TRUE
116 | bus_LV_56-5_0_3_node_91 | 0.4 | n |  | TRUE
117 | bus_LV_56-5_0_3_node_92 | 0.4 | n |  | TRUE
118 | bus_LV_56-5_0_3_node_93 | 0.4 | n |  | TRUE
119 | bus_LV_56-5_0_3_node_94 | 0.4 | n |  | TRUE
120 | bus_LV_56-5_0_3_node_95 | 0.4 | n |  | TRUE
121 | bus_LV_56-5_0_3_node_132 | 0.4 | n |  | TRUE
122 | bus_LV_56-5_0_3_node_128 | 0.4 | n |  | TRUE
123 | bus_LV_56-5_0_3_node_102 | 0.4 | n |  | TRUE
124 | bus_LV_56-5_0_3_node_114 | 0.4 | n |  | TRUE
125 | bus_LV_56-5_0_3_node_96 | 0.4 | n |  | TRUE
126 | bus_LV_56-5_0_3_node_140 | 0.4 | n |  | TRUE
127 | bus_LV_56-5_0_3_node_133 | 0.4 | n |  | TRUE
128 | bus_LV_56-5_0_3_node_99 | 0.4 | n |  | TRUE
129 | bus_LV_56-5_0_3_node_115 | 0.4 | n |  | TRUE
130 | bus_LV_56-5_0_3_node_143 | 0.4 | n |  | TRUE
131 | bus_LV_56-5_0_3_node_97 | 0.4 | n |  | TRUE
132 | bus_LV_56-5_0_3_node_98 | 0.4 | n |  | TRUE
133 | bus_LV_56-5_0_3_node_101 | 0.4 | n |  | TRUE
134 | bus_LV_56-5_0_3_node_153 | 0.4 | n |  | TRUE
135 | bus_LV_56-5_0_3_node_110 | 0.4 | n |  | TRUE
136 | bus_LV_56-5_0_3_node_108 | 0.4 | n |  | TRUE
137 | bus_LV_56-5_0_3_node_106 | 0.4 | n |  | TRUE
138 | bus_LV_56-5_0_3_node_107 | 0.4 | n |  | TRUE
139 | bus_LV_56-5_0_3_node_109 | 0.4 | n |  | TRUE
140 | bus_LV_56-5_0_3_node_111 | 0.4 | n |  | TRUE
141 | bus_LV_56-5_0_3_node_112 | 0.4 | n |  | TRUE
142 | bus_LV_56-5_0_3_node_113 | 0.4 | n |  | TRUE
143 | bus_LV_56-5_0_3_node_116 | 0.4 | n |  | TRUE
144 | bus_LV_56-5_0_3_node_127 | 0.4 | n |  | TRUE
145 | bus_LV_56-5_0_3_node_122 | 0.4 | n |  | TRUE
146 | bus_LV_56-5_0_3_node_123 | 0.4 | n |  | TRUE
147 | bus_LV_56-5_0_3_node_124 | 0.4 | n |  | TRUE
148 | bus_LV_56-5_0_3_node_125 | 0.4 | n |  | TRUE
149 | bus_LV_56-5_0_3_node_126 | 0.4 | n |  | TRUE
150 | bus_LV_56-5_0_3_node_134 | 0.4 | n |  | TRUE
151 | bus_LV_56-5_0_3_node_137 | 0.4 | n |  | TRUE
152 | bus_LV_56-5_0_3_node_148 | 0.4 | n |  | TRUE
153 | bus_LV_56-5_0_3_node_149 | 0.4 | n |  | TRUE
154 | bus_LV_56-5_0_3_node_157 | 0.4 | n |  | TRUE
155 | bus_LV_56-5_0_3_node_158 | 0.4 | n |  | TRUE
156 | bus_LV_56-5_0_3_node_159 | 0.4 | n |  | TRUE
157 | bus_LV_56-5_0_3_node_160 | 0.4 | n |  | TRUE
158 | bus_LV_56-5_0_3_node_161 | 0.4 | n |  | TRUE
159 | bus_LV_56-5_0_3_node_162 | 0.4 | n |  | TRUE
160 | bus_LV_56-5_0_3_node_165 | 0.4 | n |  | TRUE
161 | bus_LV_56-5_0_3_node_166 | 0.4 | n |  | TRUE
162 | bus_LV_56-5_0_3_node_167 | 0.4 | n |  | TRUE
163 | bus_MV_372_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_56-5_0_3_load_0 | 0 | 0.0008913 | 0.00022338 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_56-5_0_3_load_1 | 1 | 0.00072605 | 0.00018196 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_56-5_0_3_load_3 | 3 | 0.00039436 | 9.8837e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_56-5_0_3_load_4 | 4 | 0.0016124 | 0.00040411 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_56-5_0_3_load_5 | 5 | 0.0026669 | 0.00066838 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_56-5_0_3_load_6 | 6 | 0.00041454 | 0.00010389 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_56-5_0_3_load_39 | 7 | 0.0010779 | 0.00027015 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_56-5_0_3_load_146 | 8 | 0.0034122 | 0.00085518 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_56-5_0_3_load_38 | 10 | 0.0010406 | 0.00026079 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_56-5_0_3_load_147 | 11 | 0.0025864 | 0.00064821 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_56-5_0_3_load_7 | 12 | 0.0038124 | 0.00095548 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_56-5_0_3_load_12 | 13 | 0.0018499 | 0.00046362 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_56-5_0_3_load_15 | 15 | 0.0018684 | 0.00046827 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_56-5_0_3_load_21 | 16 | 0.0013134 | 0.00032918 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_56-5_0_3_load_22 | 17 | 0.00015747 | 3.9466e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_56-5_0_3_load_10 | 19 | 0.0048354 | 0.0012119 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_56-5_0_3_load_46 | 20 | 0.0031261 | 0.00078347 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_56-5_0_3_load_11 | 21 | 0.0023395 | 0.00058632 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_56-5_0_3_load_79 | 22 | 0.0023404 | 0.00058656 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_56-5_0_3_load_18 | 23 | 0.00019188 | 4.809e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_56-5_0_3_load_17 | 24 | 0.00023925 | 5.9963e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_56-5_0_3_load_20 | 25 | 0.00053773 | 0.00013477 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_56-5_0_3_load_47 | 26 | 0.0018952 | 0.00047497 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_56-5_0_3_load_151 | 29 | 0.0011862 | 0.00029729 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_56-5_0_3_load_150 | 30 | 0.0025886 | 0.00064878 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_56-5_0_3_load_23 | 31 | 0.0013677 | 0.00034277 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_56-5_0_3_load_24 | 32 | 0.00080843 | 0.00020261 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_56-5_0_3_load_26 | 34 | 0.00068726 | 0.00017224 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_56-5_0_3_load_27 | 35 | 0.0009538 | 0.00023904 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_56-5_0_3_load_34 | 36 | 0.004139 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_56-5_0_3_load_33 | 37 | 0.0026717 | 0.00066959 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_56-5_0_3_load_28 | 38 | 0.0020675 | 0.00051816 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_56-5_0_3_load_29 | 39 | 0.0020586 | 0.00051594 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_56-5_0_3_load_30 | 40 | 0.0020573 | 0.00051561 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_56-5_0_3_load_31 | 41 | 0.0020573 | 0.00051561 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_56-5_0_3_load_32 | 42 | 0.0021426 | 0.000537 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_56-5_0_3_load_163 | 44 | 0.0020573 | 0.00051561 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_56-5_0_3_load_50 | 46 | 0.003167 | 0.00079374 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_56-5_0_3_load_164 | 47 | 0.0020593 | 0.00051612 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_56-5_0_3_load_36 | 49 | 0.0024238 | 0.00060746 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_56-5_0_3_load_37 | 50 | 0.0095204 | 0.002386 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_56-5_0_3_load_51 | 51 | 0.004747 | 0.0011897 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_56-5_0_3_load_152 | 52 | 0.0069081 | 0.0017313 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_56-5_0_3_load_130 | 53 | 0.0069016 | 0.0017297 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_56-5_0_3_load_40 | 54 | 0.0075191 | 0.0018845 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_56-5_0_3_load_48 | 57 | 0.0020835 | 0.00052218 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_56-5_0_3_load_45 | 58 | 0.0045109 | 0.0011305 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_56-5_0_3_load_145 | 60 | 0.0028003 | 0.00070182 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_56-5_0_3_load_142 | 62 | 0.0027997 | 0.00070168 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_56-5_0_3_load_144 | 64 | 0.0088454 | 0.0022169 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_56-5_0_3_load_86 | 66 | 0.003381 | 0.00084737 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_56-5_0_3_load_155 | 67 | 0.0020573 | 0.00051561 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_56-5_0_3_load_85 | 68 | 0.0097206 | 0.0024362 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_56-5_0_3_load_54 | 69 | 0.0027288 | 0.00068389 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_56-5_0_3_load_55 | 70 | 0.001778 | 0.00044561 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_56-5_0_3_load_56 | 71 | 0.0012798 | 0.00032075 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_56-5_0_3_load_89 | 72 | 0.0019275 | 0.00048309 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_56-5_0_3_load_57 | 74 | 0.0040203 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_56-5_0_3_load_131 | 76 | 0.00075606 | 0.00018949 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_56-5_0_3_load_154 | 78 | 0.00075541 | 0.00018932 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_56-5_0_3_load_61 | 81 | 0.018671 | 0.0046795 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_56-5_0_3_load_60 | 82 | 0.00055887 | 0.00014007 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_56-5_0_3_load_75 | 83 | 0.0093187 | 0.0023355 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_56-5_0_3_load_69 | 84 | 0.0071811 | 0.0017997 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_56-5_0_3_load_76 | 85 | 0.0052848 | 0.0013245 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_56-5_0_3_load_117 | 86 | 0.0018539 | 0.00046464 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_56-5_0_3_load_118 | 87 | 0.00089514 | 0.00022434 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_56-5_0_3_load_70 | 88 | 0.00078054 | 0.00019562 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_56-5_0_3_load_119 | 89 | 0.00075687 | 0.00018969 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_56-5_0_3_load_64 | 90 | 0.0009182 | 0.00023012 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_56-5_0_3_load_168 | 93 | 0.0010555 | 0.00026452 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_56-5_0_3_load_68 | 94 | 0.0031784 | 0.00079659 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_56-5_0_3_load_139 | 96 | 0.0028371 | 0.00071104 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_56-5_0_3_load_136 | 97 | 0.0031066 | 0.00077858 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_56-5_0_3_load_138 | 98 | 0.0086723 | 0.0021735 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_56-5_0_3_load_135 | 99 | 0.0032193 | 0.00080685 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_56-5_0_3_load_71 | 100 | 0.0075641 | 0.0018957 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_56-5_0_3_load_72 | 102 | 0.0030492 | 0.00076419 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_56-5_0_3_load_77 | 104 | 0.0034212 | 0.00085743 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_56-5_0_3_load_120 | 105 | 0.0018802 | 0.00047122 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_56-5_0_3_load_81 | 106 | 0.0064874 | 0.0016259 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_56-5_0_3_load_82 | 107 | 0.0014131 | 0.00035416 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_56-5_0_3_load_83 | 108 | 0.0013407 | 0.00033602 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_56-5_0_3_load_104 | 109 | 0.0010809 | 0.0002709 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_56-5_0_3_load_105 | 110 | 0.0011645 | 0.00029186 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_56-5_0_3_load_156 | 111 | 0.0020573 | 0.00051561 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_56-5_0_3_load_88 | 112 | 0.0015012 | 0.00037623 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_56-5_0_3_load_103 | 113 | 0.0011645 | 0.00029186 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_56-5_0_3_load_100 | 114 | 0.001164 | 0.00029173 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_56-5_0_3_load_90 | 115 | 0.0014413 | 0.00036123 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_56-5_0_3_load_94 | 119 | 0.001164 | 0.00029173 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_56-5_0_3_load_95 | 120 | 0.0014255 | 0.00035726 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_56-5_0_3_load_132 | 121 | 0.00075652 | 0.0001896 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_56-5_0_3_load_128 | 122 | 0.00075687 | 0.00018969 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_56-5_0_3_load_102 | 123 | 0.001164 | 0.00029173 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_56-5_0_3_load_114 | 124 | 0.0014114 | 0.00035374 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_56-5_0_3_load_133 | 127 | 0.0089954 | 0.0022544 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_56-5_0_3_load_115 | 129 | 0.0011633 | 0.00029154 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_56-5_0_3_load_143 | 130 | 0.0087545 | 0.0021941 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_56-5_0_3_load_97 | 131 | 0.0013538 | 0.00033929 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_56-5_0_3_load_98 | 132 | 0.001456 | 0.00036492 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_56-5_0_3_load_101 | 133 | 0.0019272 | 0.00048301 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_56-5_0_3_load_153 | 134 | 0.006013 | 0.001507 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_56-5_0_3_load_110 | 135 | 0.0011646 | 0.00029186 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_56-5_0_3_load_108 | 136 | 0.0011645 | 0.00029186 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_56-5_0_3_load_106 | 137 | 0.0014118 | 0.00035384 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_56-5_0_3_load_107 | 138 | 0.0014118 | 0.00035383 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_56-5_0_3_load_109 | 139 | 0.0013961 | 0.0003499 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_56-5_0_3_load_111 | 140 | 0.0014718 | 0.00036886 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_56-5_0_3_load_112 | 141 | 0.0011645 | 0.00029186 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_56-5_0_3_load_113 | 142 | 0.0011646 | 0.00029187 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_56-5_0_3_load_116 | 143 | 0.0011645 | 0.00029186 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_56-5_0_3_load_127 | 144 | 0.00075622 | 0.00018953 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_56-5_0_3_load_122 | 145 | 0.0011209 | 0.00028093 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_56-5_0_3_load_123 | 146 | 0.0090009 | 0.0022558 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_56-5_0_3_load_124 | 147 | 0.0089953 | 0.0022544 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_56-5_0_3_load_125 | 148 | 0.0087415 | 0.0021908 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_56-5_0_3_load_126 | 149 | 0.0018153 | 0.00045496 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_56-5_0_3_load_148 | 152 | 0.00041232 | 0.00010334 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_56-5_0_3_load_149 | 153 | 0.0004143 | 0.00010383 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_56-5_0_3_load_157 | 154 | 0.0020573 | 0.00051561 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_56-5_0_3_load_158 | 155 | 0.0020573 | 0.00051561 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_56-5_0_3_load_159 | 156 | 0.0020573 | 0.00051561 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_56-5_0_3_load_160 | 157 | 0.0020586 | 0.00051592 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_56-5_0_3_load_161 | 158 | 0.0020573 | 0.00051561 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_56-5_0_3_load_162 | 159 | 0.0032226 | 0.00080765 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_56-5_0_3_load_165 | 160 | 0.0020585 | 0.00051592 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_56-5_0_3_load_166 | 161 | 0.0021077 | 0.00052823 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_56-5_0_3_load_167 | 162 | 0.0017566 | 0.00044025 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 134 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_56-5_0_3_line_0 |  | 0 | 1 | 0.017019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_56-5_0_3_line_1 |  | 0 | 2 | 0.018311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_56-5_0_3_line_2 |  | 1 | 3 | 0.002242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_56-5_0_3_line_3 |  | 2 | 4 | 0.0026726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_56-5_0_3_line_4 |  | 2 | 5 | 0.012153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_56-5_0_3_line_5 |  | 3 | 6 | 0.012761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_56-5_0_3_line_6 |  | 4 | 7 | 0.020896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_56-5_0_3_line_7 |  | 5 | 8 | 0.017238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_56-5_0_3_line_8 |  | 6 | 9 | 0.010739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_56-5_0_3_line_9 |  | 7 | 10 | 0.0097849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_56-5_0_3_line_10 |  | 8 | 11 | 0.022338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_56-5_0_3_line_11 |  | 9 | 12 | 0.017934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_56-5_0_3_line_12 |  | 10 | 34 | 0.0042974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_56-5_0_3_line_13 |  | 11 | 152 | 0.012676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_56-5_0_3_line_14 |  | 12 | 13 | 0.043589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_56-5_0_3_line_15 |  | 13 | 14 | 0.013898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_56-5_0_3_line_16 |  | 14 | 18 | 0.004391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_56-5_0_3_line_17 |  | 15 | 16 | 0.0078737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_56-5_0_3_line_18 |  | 16 | 17 | 0.0047197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_56-5_0_3_line_19 |  | 17 | 18 | 0.01704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_56-5_0_3_line_20 |  | 18 | 23 | 0.011513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_56-5_0_3_line_21 |  | 19 | 20 | 0.026258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_56-5_0_3_line_22 |  | 20 | 26 | 0.039263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_56-5_0_3_line_23 |  | 20 | 27 | 0.040769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_56-5_0_3_line_24 |  | 21 | 22 | 7.0709e-07 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_56-5_0_3_line_25 |  | 22 | 28 | 0.0029322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_56-5_0_3_line_26 |  | 23 | 24 | 0.022078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_56-5_0_3_line_27 |  | 24 | 25 | 0.080348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_56-5_0_3_line_28 |  | 26 | 57 | 0.016214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_56-5_0_3_line_29 |  | 27 | 58 | 0.012378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_56-5_0_3_line_30 |  | 28 | 106 | 0.025529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_56-5_0_3_line_31 |  | 29 | 30 | 0.018203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_56-5_0_3_line_32 |  | 30 | 153 | 0.00621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_56-5_0_3_line_33 |  | 31 | 32 | 0.0082828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_56-5_0_3_line_34 |  | 31 | 33 | 0.022348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_56-5_0_3_line_35 |  | 32 | 34 | 0.010366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_56-5_0_3_line_36 |  | 33 | 35 | 0.054074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_56-5_0_3_line_37 |  | 35 | 36 | 0.01933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_56-5_0_3_line_38 |  | 36 | 37 | 0.019979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_56-5_0_3_line_39 |  | 37 | 48 | 0.055804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_56-5_0_3_line_40 |  | 38 | 39 | 0.0057658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_56-5_0_3_line_41 |  | 38 | 40 | 0.000619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_56-5_0_3_line_42 |  | 39 | 41 | 0.0060871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_56-5_0_3_line_43 |  | 40 | 42 | 0.0062426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_56-5_0_3_line_44 |  | 41 | 43 | 0.015422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_56-5_0_3_line_45 |  | 42 | 44 | 0.012304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_56-5_0_3_line_46 |  | 43 | 45 | 0.029543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_56-5_0_3_line_47 |  | 43 | 46 | 0.018774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_56-5_0_3_line_48 |  | 44 | 47 | 0.0060761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_56-5_0_3_line_49 |  | 45 | 65 | 0.004751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_56-5_0_3_line_50 |  | 45 | 66 | 0.019315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_56-5_0_3_line_51 |  | 46 | 51 | 0.0031458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_56-5_0_3_line_52 |  | 47 | 160 | 0.0063752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_56-5_0_3_line_53 |  | 48 | 49 | 0.023386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_56-5_0_3_line_54 |  | 48 | 50 | 0.027648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_56-5_0_3_line_55 |  | 49 | 51 | 0.018679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_56-5_0_3_line_56 |  | 50 | 52 | 0.040361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_56-5_0_3_line_57 |  | 52 | 53 | 0.044867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_56-5_0_3_line_58 |  | 54 | 55 | 0.023958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_56-5_0_3_line_59 |  | 55 | 56 | 0.003562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_56-5_0_3_line_60 |  | 56 | 58 | 0.013736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_56-5_0_3_line_61 |  | 57 | 59 | 0.044144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_56-5_0_3_line_62 |  | 59 | 60 | 0.015328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_56-5_0_3_line_63 |  | 60 | 64 | 0.024678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_56-5_0_3_line_64 |  | 61 | 62 | 0.015958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_56-5_0_3_line_65 |  | 61 | 63 | 0.029054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_56-5_0_3_line_66 |  | 62 | 130 | 0.024212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_56-5_0_3_line_67 |  | 63 | 96 | 0.015345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_56-5_0_3_line_68 |  | 64 | 125 | 0.018664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_56-5_0_3_line_69 |  | 65 | 67 | 0.015574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_56-5_0_3_line_70 |  | 66 | 68 | 0.0069351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_56-5_0_3_line_71 |  | 67 | 111 | 0.0061281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_56-5_0_3_line_72 |  | 68 | 73 | 0.023867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_56-5_0_3_line_73 |  | 69 | 70 | 0.0084182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_56-5_0_3_line_74 |  | 70 | 71 | 0.021499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_56-5_0_3_line_75 |  | 71 | 72 | 0.00093771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_56-5_0_3_line_76 |  | 72 | 73 | 0.0158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_56-5_0_3_line_77 |  | 73 | 112 | 0.0051663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_56-5_0_3_line_78 |  | 74 | 75 | 0.0052929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_56-5_0_3_line_79 |  | 74 | 76 | 0.1075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_56-5_0_3_line_80 |  | 75 | 77 | 0.044379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_56-5_0_3_line_81 |  | 76 | 78 | 0.0071018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_56-5_0_3_line_82 |  | 76 | 79 | 0.031292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_56-5_0_3_line_83 |  | 77 | 80 | 0.056601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_56-5_0_3_line_84 |  | 77 | 81 | 0.016701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_56-5_0_3_line_85 |  | 78 | 144 | 0.014153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_56-5_0_3_line_86 |  | 79 | 122 | 0.01418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_56-5_0_3_line_87 |  | 80 | 84 | 0.059708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_56-5_0_3_line_88 |  | 82 | 83 | 0.052681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_56-5_0_3_line_89 |  | 83 | 85 | 0.032481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_56-5_0_3_line_90 |  | 84 | 88 | 0.024509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_56-5_0_3_line_91 |  | 85 | 103 | 0.072101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_56-5_0_3_line_92 |  | 86 | 87 | 0.046988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_56-5_0_3_line_93 |  | 87 | 89 | 0.017083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_56-5_0_3_line_94 |  | 88 | 100 | 0.0029181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_56-5_0_3_line_95 |  | 88 | 101 | 0.065024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_56-5_0_3_line_96 |  | 89 | 144 | 0.0071018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_56-5_0_3_line_97 |  | 90 | 91 | 0.034243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_56-5_0_3_line_98 |  | 90 | 92 | 0.089064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_56-5_0_3_line_99 |  | 91 | 93 | 0.11337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_56-5_0_3_line_100 |  | 92 | 94 | 0.015501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_56-5_0_3_line_101 |  | 93 | 95 | 0.048778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_56-5_0_3_line_102 |  | 94 | 97 | 0.024381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_56-5_0_3_line_103 |  | 95 | 105 | 0.03497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_56-5_0_3_line_104 |  | 96 | 98 | 0.024834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_56-5_0_3_line_105 |  | 97 | 99 | 0.024924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_56-5_0_3_line_106 |  | 98 | 151 | 0.025162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_56-5_0_3_line_107 |  | 99 | 150 | 0.027196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_56-5_0_3_line_108 |  | 101 | 103 | 0.075538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_56-5_0_3_line_109 |  | 101 | 102 | 0.038474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_56-5_0_3_line_110 |  | 103 | 104 | 0.039182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_56-5_0_3_line_111 |  | 106 | 107 | 0.018711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_56-5_0_3_line_112 |  | 107 | 108 | 0.022387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_56-5_0_3_line_113 |  | 108 | 109 | 0.0085436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_56-5_0_3_line_114 |  | 109 | 110 | 0.00013596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_56-5_0_3_line_115 |  | 110 | 135 | 0.0054585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_56-5_0_3_line_116 |  | 111 | 154 | 0.0013415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_56-5_0_3_line_117 |  | 112 | 113 | 0.0083365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_56-5_0_3_line_118 |  | 113 | 114 | 0.0056198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_56-5_0_3_line_119 |  | 114 | 132 | 0.0064806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_56-5_0_3_line_120 |  | 115 | 116 | 0.020614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_56-5_0_3_line_121 |  | 115 | 117 | 0.024354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_56-5_0_3_line_122 |  | 116 | 118 | 0.007047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_56-5_0_3_line_123 |  | 116 | 119 | 0.021046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
124 | LV_56-5_0_3_line_124 |  | 117 | 120 | 0.00042565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_56-5_0_3_line_125 |  | 118 | 121 | 0.021968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
126 | LV_56-5_0_3_line_126 |  | 118 | 122 | 0.024895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_56-5_0_3_line_127 |  | 119 | 123 | 0.0055536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
128 | LV_56-5_0_3_line_128 |  | 120 | 124 | 0.027803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_56-5_0_3_line_129 |  | 121 | 127 | 0.0054321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_56-5_0_3_line_130 |  | 123 | 128 | 0.0019519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
131 | LV_56-5_0_3_line_131 |  | 124 | 129 | 0.0083846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_56-5_0_3_line_132 |  | 125 | 126 | 0.028383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_56-5_0_3_line_133 |  | 126 | 130 | 0.021762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_56-5_0_3_line_134 |  | 127 | 148 | 0.024712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_56-5_0_3_line_135 |  | 128 | 133 | 0.013914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
136 | LV_56-5_0_3_line_136 |  | 128 | 131 | 0.0060999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
137 | LV_56-5_0_3_line_137 |  | 129 | 143 | 0.00079378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_56-5_0_3_line_138 |  | 131 | 132 | 0.017714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_56-5_0_3_line_139 |  | 133 | 134 | 0.0099531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
140 | LV_56-5_0_3_line_140 |  | 135 | 136 | 0.0001625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_56-5_0_3_line_141 |  | 136 | 137 | 0.008279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_56-5_0_3_line_142 |  | 137 | 138 | 8.2724e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_56-5_0_3_line_143 |  | 138 | 139 | 0.019491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_56-5_0_3_line_144 |  | 139 | 140 | 0.00085038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_56-5_0_3_line_145 |  | 140 | 141 | 0.0078298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_56-5_0_3_line_146 |  | 141 | 142 | 0.00085173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_56-5_0_3_line_147 |  | 142 | 143 | 0.0048083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_56-5_0_3_line_148 |  | 145 | 146 | 0.020128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_56-5_0_3_line_149 |  | 145 | 147 | 0.0045052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_56-5_0_3_line_150 |  | 146 | 148 | 0.024377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_56-5_0_3_line_151 |  | 147 | 149 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_56-5_0_3_line_152 |  | 149 | 150 | 0.022974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_56-5_0_3_line_153 |  | 150 | 151 | 0.028915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_56-5_0_3_line_154 |  | 152 | 153 | 0.0016339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_56-5_0_3_line_155 |  | 154 | 155 | 0.010795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_56-5_0_3_line_156 |  | 155 | 156 | 0.013153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_56-5_0_3_line_157 |  | 156 | 157 | 0.0061444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_56-5_0_3_line_158 |  | 157 | 158 | 0.0061733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_56-5_0_3_line_159 |  | 158 | 159 | 0.0034772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_56-5_0_3_line_160 |  | 160 | 161 | 0.0061862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_56-5_0_3_line_161 |  | 161 | 162 | 0.0058433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_56-5_0_3_trafo_153 | 0.63 MVA 20/0.4 kV | 163 | 134 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2686268.3917 | 1264017.9774 | 2686269.6567 | 1264016.1271 | 2686278.8323 | 1264004.5438
1 | 2686258.0575 | 1264033.0935 | 2686268.3917 | 1264017.9774
2 | 2686278.8323 | 1264004.5438 | 2686280.2245 | 1264002.7864
3 | 2686258.0575 | 1264033.0935 | 2686256.5494 | 1264035.3
4 | 2686258.0575 | 1264033.0935 | 2686247.8878 | 1264026.4399
5 | 2686280.2245 | 1264002.7864 | 2686286.7851 | 1263994.5042 | 2686288.4714 | 1263993.0994
6 | 2686244.9817 | 1264052.6928 | 2686246.9278 | 1264049.3775 | 2686256.5494 | 1264035.3
7 | 2686247.9107 | 1264014.0749 | 2686253.6699 | 1264017.8619 | 2686247.8878 | 1264026.4399
8 | 2686297.6266 | 1263987.657 | 2686291.7569 | 1263990.3624 | 2686288.4714 | 1263993.0994
9 | 2686244.9817 | 1264052.6928 | 2686240.0283 | 1264061.1314
10 | 2686247.9107 | 1264014.0749 | 2686229.2461 | 1264001.8017
11 | 2686297.6266 | 1263987.657 | 2686304.6348 | 1263986.425 | 2686315.4241 | 1263987.2181
12 | 2686240.0283 | 1264061.1314 | 2686237.8529 | 1264064.8374
13 | 2686229.2461 | 1264001.8017 | 2686218.655 | 1263994.8374
14 | 2686315.4241 | 1263987.2181 | 2686312.2078 | 1263943.7475
15 | 2686299.1195 | 1263939.0736 | 2686312.2078 | 1263943.7475
16 | 2686299.8005 | 1263934.7357 | 2686299.1195 | 1263939.0736
17 | 2686321.8504 | 1263916.4682 | 2686321.5568 | 1263916.5499 | 2686317.6626 | 1263917.5716 | 2686314.6906 | 1263919.5001
18 | 2686314.6906 | 1263919.5001 | 2686314.21 | 1263919.8119 | 2686311.692 | 1263923.1068
19 | 2686299.8005 | 1263934.7357 | 2686304.5032 | 1263932.5136 | 2686311.692 | 1263923.1068
20 | 2686299.8005 | 1263934.7357 | 2686290.2543 | 1263928.3001
21 | 2686419.7674 | 1263971.2404 | 2686445.9614 | 1263973.0745
22 | 2686445.9614 | 1263973.0745 | 2686485.1284 | 1263975.817
23 | 2686445.9614 | 1263973.0745 | 2686444.6512 | 1263932.327
24 | 2686374.8243 | 1264019.1492 | 2686374.8243 | 1264019.1499
25 | 2686374.6189 | 1264022.0749 | 2686374.8243 | 1264019.1499
26 | 2686271.9477 | 1263915.9589 | 2686290.2543 | 1263928.3001
27 | 2686271.9477 | 1263915.9589 | 2686211.0877 | 1263863.5006
28 | 2686501.3023 | 1263976.9494 | 2686485.1284 | 1263975.817
29 | 2686444.6512 | 1263932.327 | 2686457.0281 | 1263932.1506
30 | 2686374.6189 | 1264022.0749 | 2686400.0579 | 1264024.22
31 | 2686196.8918 | 1263980.5267 | 2686212.1011 | 1263990.5278
32 | 2686217.2898 | 1263993.9397 | 2686212.1011 | 1263990.5278
33 | 2686232.6053 | 1264073.7771 | 2686228.4123 | 1264080.9202
34 | 2686222.479 | 1264102.4297 | 2686224.4509 | 1264093.2512 | 2686228.2499 | 1264081.197 | 2686228.4123 | 1264080.9202
35 | 2686232.6053 | 1264073.7771 | 2686237.8529 | 1264064.8374
36 | 2686222.479 | 1264102.4297 | 2686230.8923 | 1264101.4293 | 2686249.1628 | 1264104.2313 | 2686274.239 | 1264114.5528
37 | 2686292.1144 | 1264121.9103 | 2686274.239 | 1264114.5528
38 | 2686292.1144 | 1264121.9103 | 2686310.5896 | 1264129.5148
39 | 2686362.0755 | 1264151.0385 | 2686341.7263 | 1264142.568 | 2686321.5962 | 1264134.0451 | 2686310.5896 | 1264129.5148
40 | 2686348.3227 | 1264090.7471 | 2686342.6878 | 1264089.5253
41 | 2686342.0829 | 1264089.3942 | 2686342.6878 | 1264089.5253
42 | 2686354.2715 | 1264092.037 | 2686348.3227 | 1264090.7471
43 | 2686342.0829 | 1264089.3942 | 2686335.982 | 1264088.0714
44 | 2686368.438 | 1264089.8718 | 2686362.062 | 1264093.7261 | 2686354.2715 | 1264092.037
45 | 2686335.982 | 1264088.0714 | 2686323.9576 | 1264085.4642
46 | 2686368.438 | 1264089.8718 | 2686371.1503 | 1264060.4547
47 | 2686368.438 | 1264089.8718 | 2686373.5756 | 1264098.0866 | 2686372.0417 | 1264107.0413
48 | 2686323.9576 | 1264085.4642 | 2686318.0195 | 1264084.1766
49 | 2686371.1503 | 1264060.4547 | 2686371.5811 | 1264055.7239
50 | 2686371.1503 | 1264060.4547 | 2686390.4001 | 1264062.0432
51 | 2686372.0417 | 1264107.0413 | 2686371.5106 | 1264110.1419
52 | 2686318.0195 | 1264084.1766 | 2686311.7891 | 1264082.8257
53 | 2686362.0755 | 1264151.0385 | 2686366.9142 | 1264135.8971 | 2686368.4325 | 1264128.5626
54 | 2686362.0755 | 1264151.0385 | 2686385.7247 | 1264144.0005 | 2686388.6961 | 1264143.8774
55 | 2686371.5106 | 1264110.1419 | 2686370.1004 | 1264118.3742 | 2686368.8512 | 1264126.5402 | 2686368.4325 | 1264128.5626
56 | 2686424.6134 | 1264145.1029 | 2686406.4258 | 1264147.4612 | 2686406.1268 | 1264145.244 | 2686393.377 | 1264146.6144 | 2686392.6662 | 1264143.7128 | 2686388.6961 | 1264143.8774
57 | 2686460.3092 | 1264140.9992 | 2686457.5813 | 1264148.2873 | 2686444.2579 | 1264149.7381 | 2686440.0491 | 1264145.4955 | 2686424.6639 | 1264147.3165 | 2686424.6134 | 1264145.1029
58 | 2686470.9737 | 1263928.4976 | 2686476.6325 | 1263928.8918 | 2686494.8728 | 1263930.1794
59 | 2686470.9737 | 1263928.4976 | 2686470.7635 | 1263932.0529
60 | 2686470.7635 | 1263932.0529 | 2686465.4457 | 1263932.0307 | 2686457.0281 | 1263932.1506
61 | 2686545.3632 | 1263979.6374 | 2686520.1189 | 1263978.267 | 2686501.3023 | 1263976.9494
62 | 2686545.3632 | 1263979.6374 | 2686544.5663 | 1263994.9449
63 | 2686543.2834 | 1264019.5894 | 2686544.5663 | 1263994.9449
64 | 2686574.7324 | 1263981.7245 | 2686573.587 | 1263997.6416
65 | 2686574.7324 | 1263981.7245 | 2686603.8007 | 1263983.7851
66 | 2686573.587 | 1263997.6416 | 2686571.8491 | 1264021.7915
67 | 2686603.8007 | 1263983.7851 | 2686602.7449 | 1263999.0936
68 | 2686542.3131 | 1264038.2282 | 2686543.2834 | 1264019.5894
69 | 2686371.5811 | 1264055.7239 | 2686356.0753 | 1264054.2723
70 | 2686397.3117 | 1264062.6136 | 2686390.4001 | 1264062.0432
71 | 2686356.0753 | 1264054.2723 | 2686349.9739 | 1264053.7011
72 | 2686421.0984 | 1264064.5765 | 2686397.3117 | 1264062.6136
73 | 2686420.0789 | 1264111.2195 | 2686420.2628 | 1264102.8034
74 | 2686420.2628 | 1264102.8034 | 2686420.7326 | 1264081.3099
75 | 2686420.7326 | 1264081.3099 | 2686420.7531 | 1264080.3724
76 | 2686421.0984 | 1264064.5765 | 2686420.7531 | 1264080.3724
77 | 2686421.0984 | 1264064.5765 | 2686426.2472 | 1264065.0013
78 | 2686535.5587 | 1264235.0745 | 2686530.5297 | 1264233.4241
79 | 2686533.826 | 1264125.9717 | 2686530.5297 | 1264233.4241
80 | 2686535.5587 | 1264235.0745 | 2686527.2224 | 1264278.6649
81 | 2686533.826 | 1264125.9717 | 2686540.9237 | 1264125.7318
82 | 2686503.1864 | 1264121.7776 | 2686519.7873 | 1264126.4464 | 2686533.826 | 1264125.9717
83 | 2686527.2224 | 1264278.6649 | 2686548.8175 | 1264281.7389 | 2686563.824 | 1264283.1263 | 2686570.0753 | 1264282.6397 | 2686583.4288 | 1264285.2928
84 | 2686527.2224 | 1264278.6649 | 2686524.43 | 1264295.1305
85 | 2686540.9237 | 1264125.7318 | 2686555.0683 | 1264125.2535
86 | 2686503.1864 | 1264121.7776 | 2686498.0573 | 1264113.5071 | 2686496.6629 | 1264109.2836
87 | 2686583.4288 | 1264285.2928 | 2686596.542 | 1264287.8869 | 2686603.6181 | 1264291.7714 | 2686609.2984 | 1264303.5194 | 2686610.1754 | 1264310.4934 | 2686606.7896 | 1264328.366
88 | 2686660.5482 | 1264257.0417 | 2686633.5479 | 1264253.4571 | 2686608.6337 | 1264248.2941
89 | 2686660.5482 | 1264257.0417 | 2686676.3909 | 1264259.1449 | 2686692.6145 | 1264262.1461
90 | 2686606.7896 | 1264328.366 | 2686602.2278 | 1264352.4466
91 | 2686692.6145 | 1264262.1461 | 2686732.2257 | 1264322.3916
92 | 2686626.202 | 1264122.8904 | 2686579.2394 | 1264124.4404
93 | 2686562.166 | 1264125.0136 | 2686574.1757 | 1264124.6075 | 2686579.2394 | 1264124.4404
94 | 2686602.2278 | 1264352.4466 | 2686601.6847 | 1264355.3137
95 | 2686602.2278 | 1264352.4466 | 2686667.0825 | 1264357.1308
96 | 2686562.166 | 1264125.0136 | 2686555.0683 | 1264125.2535
97 | 2686754.6545 | 1264000.3314 | 2686746.5835 | 1263995.954 | 2686729.623 | 1263992.6804 | 2686721.8554 | 1263992.1203
98 | 2686633.0215 | 1263985.7146 | 2686721.8554 | 1263992.1203
99 | 2686799.0105 | 1264104.6651 | 2686754.6545 | 1264000.3314
100 | 2686633.0215 | 1263985.7146 | 2686631.9123 | 1264001.176
101 | 2686752.457 | 1264119.2269 | 2686799.0105 | 1264104.6651
102 | 2686630.1676 | 1264025.4946 | 2686631.9123 | 1264001.176
103 | 2686752.457 | 1264119.2269 | 2686717.5012 | 1264120.2273
104 | 2686601.0363 | 1264023.8683 | 2686602.7449 | 1263999.0936
105 | 2686628.384 | 1264050.3546 | 2686630.1676 | 1264025.4946
106 | 2686599.3051 | 1264048.971 | 2686601.0363 | 1264023.8683
107 | 2686614.1383 | 1264063.244 | 2686627.3887 | 1264064.2277 | 2686628.384 | 1264050.3546
108 | 2686732.2257 | 1264322.3916 | 2686727.4624 | 1264330.8062 | 2686667.0825 | 1264357.1308
109 | 2686667.0825 | 1264357.1308 | 2686665.107 | 1264353.1654 | 2686658.8994 | 1264340.9202 | 2686658.7479 | 1264337.8934 | 2686660.4944 | 1264335.9063 | 2686664.0306 | 1264335.6579 | 2686674.9623 | 1264337.5476
110 | 2686732.2257 | 1264322.3916 | 2686737.4213 | 1264315.3177 | 2686741.2313 | 1264312.3268 | 2686765.1978 | 1264303.4397
111 | 2686400.0579 | 1264024.22 | 2686418.0131 | 1264025.734 | 2686418.1558 | 1264025.0567
112 | 2686418.1558 | 1264025.0567 | 2686420.8706 | 1264012.165 | 2686430.057 | 1264012.8628
113 | 2686438.5761 | 1264013.5099 | 2686430.057 | 1264012.8628
114 | 2686438.7116 | 1264013.5202 | 2686438.5761 | 1264013.5099
115 | 2686438.7116 | 1264013.5202 | 2686444.1545 | 1264013.9337
116 | 2686349.9739 | 1264053.7011 | 2686348.6383 | 1264053.5761 | 2686348.6383 | 1264053.5761
117 | 2686434.5555 | 1264065.6866 | 2686426.2472 | 1264065.0013
118 | 2686434.5555 | 1264065.6866 | 2686440.1563 | 1264066.1486
119 | 2686440.1563 | 1264066.1486 | 2686441.9082 | 1264066.2931 | 2686446.5368 | 1264067.2313
120 | 2686497.8593 | 1264077.6313 | 2686502.2942 | 1264057.4995
121 | 2686507.5337 | 1264033.7158 | 2686502.2942 | 1264057.4995
122 | 2686497.8593 | 1264077.6313 | 2686497.2293 | 1264084.6499
123 | 2686497.8593 | 1264077.6313 | 2686477.2323 | 1264073.4524
124 | 2686507.5337 | 1264033.7158 | 2686507.57 | 1264033.2917
125 | 2686497.2293 | 1264084.6499 | 2686508.0911 | 1264086.1989 | 2686519.0848 | 1264085.9828
126 | 2686497.2293 | 1264084.6499 | 2686496.4197 | 1264093.6452 | 2686495.4896 | 1264105.7301 | 2686496.6629 | 1264109.2836
127 | 2686471.7893 | 1264072.3496 | 2686477.2323 | 1264073.4524
128 | 2686507.57 | 1264033.2917 | 2686508.8059 | 1264018.8448 | 2686495.5404 | 1264017.8371
129 | 2686524.5159 | 1264085.8761 | 2686519.0848 | 1264085.9828
130 | 2686469.8762 | 1264071.962 | 2686471.7893 | 1264072.3496
131 | 2686487.1799 | 1264017.202 | 2686495.5404 | 1264017.8371
132 | 2686542.3131 | 1264038.2282 | 2686570.2871 | 1264043.4973
133 | 2686570.2871 | 1264043.4973 | 2686571.8491 | 1264021.7915
134 | 2686524.5159 | 1264085.8761 | 2686549.223 | 1264085.3905
135 | 2686469.8762 | 1264071.962 | 2686468.874 | 1264085.8396
136 | 2686469.8762 | 1264071.962 | 2686463.8979 | 1264070.7503
137 | 2686487.1799 | 1264017.202 | 2686486.3884 | 1264017.1419
138 | 2686463.8979 | 1264070.7503 | 2686446.5368 | 1264067.2313
139 | 2686468.157 | 1264095.7669 | 2686468.874 | 1264085.8396
140 | 2686444.3165 | 1264013.946 | 2686444.1545 | 1264013.9337
141 | 2686444.3165 | 1264013.946 | 2686452.5718 | 1264014.5731
142 | 2686452.6543 | 1264014.5793 | 2686452.5718 | 1264014.5731
143 | 2686452.6543 | 1264014.5793 | 2686472.0894 | 1264016.0557
144 | 2686472.9373 | 1264016.1201 | 2686472.0894 | 1264016.0557
145 | 2686480.7446 | 1264016.7132 | 2686472.9373 | 1264016.1201
146 | 2686481.5939 | 1264016.7777 | 2686480.7446 | 1264016.7132
147 | 2686486.3884 | 1264017.1419 | 2686481.5939 | 1264016.7777
148 | 2686593.7193 | 1264084.516 | 2686573.5955 | 1264084.9115
149 | 2686593.7193 | 1264084.516 | 2686598.2236 | 1264084.4274
150 | 2686549.223 | 1264085.3905 | 2686573.5955 | 1264084.9115
151 | 2686609.8981 | 1264084.198 | 2686598.2236 | 1264084.4274
152 | 2686614.1383 | 1264063.244 | 2686611.8281 | 1264084.1601 | 2686609.8981 | 1264084.198
153 | 2686599.3051 | 1264048.971 | 2686598.3524 | 1264062.0674 | 2686614.1383 | 1264063.244
154 | 2686217.2898 | 1263993.9397 | 2686218.655 | 1263994.8374
155 | 2686348.6383 | 1264053.5761 | 2686344.7963 | 1264055.6661 | 2686338.3758 | 1264055.5723
156 | 2686338.3758 | 1264055.5723 | 2686332.0314 | 1264055.4796 | 2686325.2469 | 1264054.9149
157 | 2686325.2469 | 1264054.9149 | 2686319.1237 | 1264054.4053
158 | 2686319.1237 | 1264054.4053 | 2686312.9717 | 1264053.8933
159 | 2686309.5065 | 1264053.6049 | 2686312.9717 | 1264053.8933
160 | 2686311.7891 | 1264082.8257 | 2686305.7434 | 1264081.5149
161 | 2686300.0327 | 1264080.2767 | 2686305.7434 | 1264081.5149

## bus_geodata
| x | y | coords
0 | 2686268.3917 | 1264017.9774
1 | 2686278.8323 | 1264004.5438
2 | 2686258.0575 | 1264033.0935
3 | 2686280.2245 | 1264002.7864
4 | 2686256.5494 | 1264035.3
5 | 2686247.8878 | 1264026.4399
6 | 2686288.4714 | 1263993.0994
7 | 2686244.9817 | 1264052.6928
8 | 2686247.9107 | 1264014.0749
9 | 2686297.6266 | 1263987.657
10 | 2686240.0283 | 1264061.1314
11 | 2686229.2461 | 1264001.8017
12 | 2686315.4241 | 1263987.2181
13 | 2686312.2078 | 1263943.7475
14 | 2686299.1195 | 1263939.0736
15 | 2686321.8504 | 1263916.4682
16 | 2686314.6906 | 1263919.5001
17 | 2686311.692 | 1263923.1068
18 | 2686299.8005 | 1263934.7357
19 | 2686419.7674 | 1263971.2404
20 | 2686445.9614 | 1263973.0745
21 | 2686374.8243 | 1264019.1492
22 | 2686374.8243 | 1264019.1499
23 | 2686290.2543 | 1263928.3001
24 | 2686271.9477 | 1263915.9589
25 | 2686211.0877 | 1263863.5006
26 | 2686485.1284 | 1263975.817
27 | 2686444.6512 | 1263932.327
28 | 2686374.6189 | 1264022.0749
29 | 2686196.8918 | 1263980.5267
30 | 2686212.1011 | 1263990.5278
31 | 2686228.4123 | 1264080.9202
32 | 2686232.6053 | 1264073.7771
33 | 2686222.479 | 1264102.4297
34 | 2686237.8529 | 1264064.8374
35 | 2686274.239 | 1264114.5528
36 | 2686292.1144 | 1264121.9103
37 | 2686310.5896 | 1264129.5148
38 | 2686342.6878 | 1264089.5253
39 | 2686348.3227 | 1264090.7471
40 | 2686342.0829 | 1264089.3942
41 | 2686354.2715 | 1264092.037
42 | 2686335.982 | 1264088.0714
43 | 2686368.438 | 1264089.8718
44 | 2686323.9576 | 1264085.4642
45 | 2686371.1503 | 1264060.4547
46 | 2686372.0417 | 1264107.0413
47 | 2686318.0195 | 1264084.1766
48 | 2686362.0755 | 1264151.0385
49 | 2686368.4325 | 1264128.5626
50 | 2686388.6961 | 1264143.8774
51 | 2686371.5106 | 1264110.1419
52 | 2686424.6134 | 1264145.1029
53 | 2686460.3092 | 1264140.9992
54 | 2686494.8728 | 1263930.1794
55 | 2686470.9737 | 1263928.4976
56 | 2686470.7635 | 1263932.0529
57 | 2686501.3023 | 1263976.9494
58 | 2686457.0281 | 1263932.1506
59 | 2686545.3632 | 1263979.6374
60 | 2686544.5663 | 1263994.9449
61 | 2686574.7324 | 1263981.7245
62 | 2686573.587 | 1263997.6416
63 | 2686603.8007 | 1263983.7851
64 | 2686543.2834 | 1264019.5894
65 | 2686371.5811 | 1264055.7239
66 | 2686390.4001 | 1264062.0432
67 | 2686356.0753 | 1264054.2723
68 | 2686397.3117 | 1264062.6136
69 | 2686420.0789 | 1264111.2195
70 | 2686420.2628 | 1264102.8034
71 | 2686420.7326 | 1264081.3099
72 | 2686420.7531 | 1264080.3724
73 | 2686421.0984 | 1264064.5765
74 | 2686530.5297 | 1264233.4241
75 | 2686535.5587 | 1264235.0745
76 | 2686533.826 | 1264125.9717
77 | 2686527.2224 | 1264278.6649
78 | 2686540.9237 | 1264125.7318
79 | 2686503.1864 | 1264121.7776
80 | 2686583.4288 | 1264285.2928
81 | 2686524.43 | 1264295.1305
82 | 2686608.6337 | 1264248.2941
83 | 2686660.5482 | 1264257.0417
84 | 2686606.7896 | 1264328.366
85 | 2686692.6145 | 1264262.1461
86 | 2686626.2021 | 1264122.8904
87 | 2686579.2394 | 1264124.4404
88 | 2686602.2278 | 1264352.4466
89 | 2686562.166 | 1264125.0136
90 | 2686721.8554 | 1263992.1203
91 | 2686754.6545 | 1264000.3314
92 | 2686633.0215 | 1263985.7146
93 | 2686799.0105 | 1264104.6651
94 | 2686631.9123 | 1264001.176
95 | 2686752.457 | 1264119.2269
96 | 2686602.7449 | 1263999.0936
97 | 2686630.1676 | 1264025.4946
98 | 2686601.0363 | 1264023.8683
99 | 2686628.384 | 1264050.3546
100 | 2686601.6847 | 1264355.3137
101 | 2686667.0825 | 1264357.1308
102 | 2686674.9623 | 1264337.5476
103 | 2686732.2257 | 1264322.3916
104 | 2686765.1978 | 1264303.4397
105 | 2686717.5012 | 1264120.2273
106 | 2686400.0579 | 1264024.22
107 | 2686418.1558 | 1264025.0567
108 | 2686430.057 | 1264012.8628
109 | 2686438.5761 | 1264013.5099
110 | 2686438.7116 | 1264013.5202
111 | 2686349.9739 | 1264053.7011
112 | 2686426.2472 | 1264065.0013
113 | 2686434.5555 | 1264065.6866
114 | 2686440.1563 | 1264066.1486
115 | 2686502.2942 | 1264057.4995
116 | 2686497.8593 | 1264077.6313
117 | 2686507.5337 | 1264033.7158
118 | 2686497.2293 | 1264084.6499
119 | 2686477.2323 | 1264073.4524
120 | 2686507.57 | 1264033.2917
121 | 2686519.0848 | 1264085.9828
122 | 2686496.6629 | 1264109.2836
123 | 2686471.7893 | 1264072.3496
124 | 2686495.5404 | 1264017.8371
125 | 2686542.3131 | 1264038.2282
126 | 2686570.2871 | 1264043.4973
127 | 2686524.5159 | 1264085.8761
128 | 2686469.8762 | 1264071.9621
129 | 2686487.1799 | 1264017.202
130 | 2686571.8491 | 1264021.7915
131 | 2686463.8979 | 1264070.7503
132 | 2686446.5368 | 1264067.2313
133 | 2686468.874 | 1264085.8396
134 | 2686468.157 | 1264095.7669
135 | 2686444.1545 | 1264013.9337
136 | 2686444.3165 | 1264013.946
137 | 2686452.5718 | 1264014.5731
138 | 2686452.6543 | 1264014.5793
139 | 2686472.0894 | 1264016.0557
140 | 2686472.9373 | 1264016.1201
141 | 2686480.7446 | 1264016.7132
142 | 2686481.5939 | 1264016.7777
143 | 2686486.3884 | 1264017.1419
144 | 2686555.0683 | 1264125.2535
145 | 2686593.7193 | 1264084.516
146 | 2686573.5955 | 1264084.9115
147 | 2686598.2236 | 1264084.4274
148 | 2686549.223 | 1264085.3905
149 | 2686609.8981 | 1264084.198
150 | 2686614.1383 | 1264063.244
151 | 2686599.3051 | 1264048.971
152 | 2686218.655 | 1263994.8374
153 | 2686217.2898 | 1263993.9397
154 | 2686348.6383 | 1264053.5761
155 | 2686338.3758 | 1264055.5723
156 | 2686325.2469 | 1264054.9149
157 | 2686319.1237 | 1264054.4053
158 | 2686312.9717 | 1264053.8933
159 | 2686309.5065 | 1264053.6049
160 | 2686311.7891 | 1264082.8257
161 | 2686305.7434 | 1264081.5149
162 | 2686300.0327 | 1264080.2767
163 | 2686469.8762 | 1264071.9621

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1