## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5606-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5606-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5606-1_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5606-1_0_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_5606-1_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5606-1_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_5606-1_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_5606-1_0_4_node_87 | 0.4 | n |  | TRUE
8 | bus_LV_5606-1_0_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_5606-1_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_5606-1_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_5606-1_0_4_node_105 | 0.4 | n |  | TRUE
12 | bus_LV_5606-1_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5606-1_0_4_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_5606-1_0_4_node_71 | 0.4 | n |  | TRUE
15 | bus_LV_5606-1_0_4_node_104 | 0.4 | n |  | TRUE
16 | bus_LV_5606-1_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5606-1_0_4_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_5606-1_0_4_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_5606-1_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5606-1_0_4_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_5606-1_0_4_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_5606-1_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5606-1_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_5606-1_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5606-1_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_5606-1_0_4_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_5606-1_0_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_5606-1_0_4_node_6 | 0.4 | n |  | TRUE
29 | bus_LV_5606-1_0_4_node_7 | 0.4 | n |  | TRUE
30 | bus_LV_5606-1_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5606-1_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_5606-1_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5606-1_0_4_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_5606-1_0_4_node_109 | 0.4 | n |  | TRUE
35 | bus_LV_5606-1_0_4_node_108 | 0.4 | n |  | TRUE
36 | bus_LV_5606-1_0_4_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_5606-1_0_4_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_5606-1_0_4_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_5606-1_0_4_node_96 | 0.4 | n |  | TRUE
40 | bus_LV_5606-1_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5606-1_0_4_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_5606-1_0_4_node_95 | 0.4 | n |  | TRUE
43 | bus_LV_5606-1_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_5606-1_0_4_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_5606-1_0_4_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_5606-1_0_4_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_5606-1_0_4_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_5606-1_0_4_node_103 | 0.4 | n |  | TRUE
49 | bus_LV_5606-1_0_4_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_5606-1_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5606-1_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_5606-1_0_4_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_5606-1_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5606-1_0_4_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_5606-1_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_5606-1_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5606-1_0_4_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_5606-1_0_4_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_5606-1_0_4_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_5606-1_0_4_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_5606-1_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_5606-1_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_5606-1_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_5606-1_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_5606-1_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5606-1_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_5606-1_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_5606-1_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5606-1_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_5606-1_0_4_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_5606-1_0_4_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_5606-1_0_4_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_5606-1_0_4_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_5606-1_0_4_node_102 | 0.4 | n |  | TRUE
75 | bus_LV_5606-1_0_4_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_5606-1_0_4_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_5606-1_0_4_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_5606-1_0_4_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_5606-1_0_4_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_5606-1_0_4_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_5606-1_0_4_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_5606-1_0_4_node_53 | 0.4 | n |  | TRUE
83 | bus_LV_5606-1_0_4_node_55 | 0.4 | n |  | TRUE
84 | bus_LV_5606-1_0_4_node_57 | 0.4 | n |  | TRUE
85 | bus_LV_5606-1_0_4_node_58 | 0.4 | n |  | TRUE
86 | bus_LV_5606-1_0_4_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_5606-1_0_4_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_5606-1_0_4_node_60 | 0.4 | n |  | TRUE
89 | bus_LV_5606-1_0_4_node_62 | 0.4 | n |  | TRUE
90 | bus_LV_5606-1_0_4_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_5606-1_0_4_node_107 | 0.4 | n |  | TRUE
92 | bus_LV_5606-1_0_4_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_5606-1_0_4_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_5606-1_0_4_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_5606-1_0_4_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_5606-1_0_4_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_5606-1_0_4_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_5606-1_0_4_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_5606-1_0_4_node_92 | 0.4 | n |  | TRUE
100 | bus_MV_620_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5606-1_0_4_load_0 | 0 | 0.010934 | 0.0027402 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5606-1_0_4_load_33 | 6 | 0.00095611 | 0.00023962 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5606-1_0_4_load_26 | 8 | 0.0023538 | 0.00058992 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5606-1_0_4_load_105 | 11 | 0.002412 | 0.00060452 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5606-1_0_4_load_74 | 13 | 0.0037707 | 0.00094502 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5606-1_0_4_load_71 | 14 | 0.0017711 | 0.00044387 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5606-1_0_4_load_104 | 15 | 0.005131 | 0.001286 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5606-1_0_4_load_34 | 18 | 0.0037211 | 0.00093258 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5606-1_0_4_load_50 | 21 | 0.013544 | 0.0033946 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5606-1_0_4_load_28 | 23 | 0.0066702 | 0.0016717 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5606-1_0_4_load_65 | 26 | 0.0073352 | 0.0018384 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5606-1_0_4_load_49 | 27 | 0.00031093 | 7.7927e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5606-1_0_4_load_6 | 28 | 0.013408 | 0.0033605 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5606-1_0_4_load_29 | 30 | 0.00034037 | 8.5305e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5606-1_0_4_load_27 | 32 | 0.0032824 | 0.00082264 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5606-1_0_4_load_109 | 34 | 0.0062997 | 0.0015789 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5606-1_0_4_load_108 | 35 | 0.0029623 | 0.00074242 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5606-1_0_4_load_106 | 36 | 0.0026095 | 0.000654 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5606-1_0_4_load_72 | 37 | 0.0028589 | 0.00071652 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5606-1_0_4_load_77 | 38 | 0.0064672 | 0.0016208 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5606-1_0_4_load_96 | 39 | 0.0020088 | 0.00050345 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5606-1_0_4_load_35 | 40 | 0.0043613 | 0.001093 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5606-1_0_4_load_67 | 41 | 0.005773 | 0.0014469 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5606-1_0_4_load_95 | 42 | 0.0026574 | 0.00066602 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5606-1_0_4_load_99 | 44 | 0.0027283 | 0.00068377 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5606-1_0_4_load_97 | 45 | 0.003328 | 0.00083407 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5606-1_0_4_load_64 | 46 | 0.0076777 | 0.0019242 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5606-1_0_4_load_98 | 47 | 0.0053557 | 0.0013423 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5606-1_0_4_load_103 | 48 | 0.0028395 | 0.00071163 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5606-1_0_4_load_41 | 50 | 0.011595 | 0.0029061 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5606-1_0_4_load_39 | 51 | 0.0034438 | 0.0008631 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5606-1_0_4_load_100 | 52 | 0.011221 | 0.0028123 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5606-1_0_4_load_31 | 54 | 0.0042078 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5606-1_0_4_load_32 | 55 | 0.0036787 | 0.00092198 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5606-1_0_4_load_36 | 56 | 0.0050582 | 0.0012677 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5606-1_0_4_load_68 | 57 | 0.0025163 | 0.00063065 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5606-1_0_4_load_66 | 58 | 0.006429 | 0.0016113 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5606-1_0_4_load_75 | 59 | 0.0043963 | 0.0011018 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5606-1_0_4_load_83 | 60 | 0.0058767 | 0.0014728 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5606-1_0_4_load_38 | 61 | 0.0094848 | 0.0023771 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5606-1_0_4_load_43 | 63 | 0.0044006 | 0.0011029 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5606-1_0_4_load_56 | 65 | 0.0052252 | 0.0013096 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5606-1_0_4_load_54 | 66 | 0.00459 | 0.0011504 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5606-1_0_4_load_63 | 67 | 0.008165 | 0.0020463 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5606-1_0_4_load_59 | 68 | 0.011101 | 0.0027822 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5606-1_0_4_load_44 | 69 | 0.011098 | 0.0027814 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5606-1_0_4_load_45 | 70 | 0.0025212 | 0.00063188 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5606-1_0_4_load_46 | 71 | 0.0093828 | 0.0023515 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5606-1_0_4_load_47 | 72 | 0.0067637 | 0.0016951 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5606-1_0_4_load_102 | 74 | 0.012742 | 0.0031933 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5606-1_0_4_load_86 | 75 | 0.007204 | 0.0018055 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5606-1_0_4_load_81 | 76 | 0.0053964 | 0.0013525 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5606-1_0_4_load_84 | 77 | 0.0057736 | 0.001447 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5606-1_0_4_load_90 | 78 | 0.0055842 | 0.0013995 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5606-1_0_4_load_79 | 79 | 0.010556 | 0.0026457 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5606-1_0_4_load_85 | 80 | 0.0076966 | 0.001929 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5606-1_0_4_load_94 | 81 | 0.013243 | 0.003319 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5606-1_0_4_load_53 | 82 | 0.0040294 | 0.0010099 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5606-1_0_4_load_55 | 83 | 0.013375 | 0.0033521 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5606-1_0_4_load_57 | 84 | 0.0036262 | 0.00090882 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5606-1_0_4_load_58 | 85 | 0.0026804 | 0.00067178 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5606-1_0_4_load_69 | 86 | 0.0041009 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5606-1_0_4_load_70 | 87 | 0.0067961 | 0.0017033 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5606-1_0_4_load_60 | 88 | 0.0033516 | 0.00084 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5606-1_0_4_load_62 | 89 | 0.005392 | 0.0013514 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5606-1_0_4_load_73 | 90 | 0.0027095 | 0.00067906 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5606-1_0_4_load_107 | 91 | 0.0057248 | 0.0014348 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5606-1_0_4_load_76 | 92 | 0.012292 | 0.0030808 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5606-1_0_4_load_88 | 93 | 0.0091667 | 0.0022974 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5606-1_0_4_load_93 | 94 | 0.0034841 | 0.00087319 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5606-1_0_4_load_80 | 95 | 0.0058376 | 0.001463 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5606-1_0_4_load_82 | 96 | 0.0091877 | 0.0023026 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5606-1_0_4_load_89 | 97 | 0.010339 | 0.0025911 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5606-1_0_4_load_91 | 98 | 0.012774 | 0.0032015 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5606-1_0_4_load_92 | 99 | 0.0043042 | 0.0010787 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 95 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5606-1_0_4_line_0 |  | 0 | 1 | 0.010998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5606-1_0_4_line_1 |  | 1 | 2 | 0.0403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5606-1_0_4_line_2 |  | 2 | 3 | 0.033457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5606-1_0_4_line_3 |  | 3 | 7 | 0.007064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5606-1_0_4_line_4 |  | 3 | 8 | 0.024027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5606-1_0_4_line_5 |  | 4 | 5 | 0.018335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5606-1_0_4_line_6 |  | 4 | 6 | 0.092466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5606-1_0_4_line_7 |  | 5 | 22 | 0.081118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5606-1_0_4_line_8 |  | 5 | 15 | 0.021911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5606-1_0_4_line_9 |  | 7 | 11 | 0.022119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5606-1_0_4_line_10 |  | 7 | 33 | 0.006544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5606-1_0_4_line_11 |  | 8 | 29 | 0.01385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5606-1_0_4_line_12 |  | 9 | 10 | 0.0484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5606-1_0_4_line_13 |  | 9 | 11 | 0.03904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5606-1_0_4_line_14 |  | 10 | 15 | 0.018857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5606-1_0_4_line_15 |  | 12 | 13 | 0.0039584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5606-1_0_4_line_16 |  | 12 | 14 | 0.0020112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5606-1_0_4_line_17 |  | 13 | 36 | 0.0050973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5606-1_0_4_line_18 |  | 14 | 37 | 0.0015059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5606-1_0_4_line_19 |  | 16 | 17 | 0.004114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5606-1_0_4_line_20 |  | 16 | 18 | 0.010026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5606-1_0_4_line_21 |  | 17 | 38 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5606-1_0_4_line_22 |  | 17 | 39 | 0.0052187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5606-1_0_4_line_23 |  | 18 | 40 | 0.0097382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5606-1_0_4_line_24 |  | 19 | 20 | 0.017496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5606-1_0_4_line_25 |  | 19 | 21 | 0.025857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5606-1_0_4_line_26 |  | 20 | 41 | 0.01101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5606-1_0_4_line_27 |  | 20 | 42 | 0.011081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5606-1_0_4_line_28 |  | 22 | 23 | 0.04405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5606-1_0_4_line_29 |  | 24 | 25 | 0.016093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5606-1_0_4_line_30 |  | 24 | 26 | 0.015383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5606-1_0_4_line_31 |  | 25 | 27 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5606-1_0_4_line_32 |  | 26 | 46 | 0.0083099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5606-1_0_4_line_33 |  | 27 | 54 | 0.00091965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5606-1_0_4_line_34 |  | 28 | 29 | 0.020675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5606-1_0_4_line_35 |  | 29 | 32 | 0.0019237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5606-1_0_4_line_36 |  | 30 | 31 | 0.0080767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5606-1_0_4_line_37 |  | 31 | 54 | 0.013585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5606-1_0_4_line_38 |  | 31 | 55 | 0.0021132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5606-1_0_4_line_39 |  | 33 | 93 | 0.0055031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5606-1_0_4_line_40 |  | 34 | 35 | 0.0074473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5606-1_0_4_line_41 |  | 35 | 91 | 0.0042461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5606-1_0_4_line_42 |  | 36 | 91 | 0.0054743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5606-1_0_4_line_43 |  | 37 | 90 | 0.0056452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5606-1_0_4_line_44 |  | 38 | 59 | 0.00023561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5606-1_0_4_line_45 |  | 39 | 60 | 0.01056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5606-1_0_4_line_46 |  | 40 | 56 | 0.00084342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5606-1_0_4_line_47 |  | 41 | 58 | 0.00064725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5606-1_0_4_line_48 |  | 42 | 81 | 0.0014364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5606-1_0_4_line_49 |  | 43 | 44 | 0.0070482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5606-1_0_4_line_50 |  | 43 | 45 | 0.011149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5606-1_0_4_line_51 |  | 44 | 49 | 0.011812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5606-1_0_4_line_52 |  | 45 | 47 | 0.0068186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5606-1_0_4_line_53 |  | 46 | 84 | 0.0023282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5606-1_0_4_line_54 |  | 48 | 49 | 0.0075953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5606-1_0_4_line_55 |  | 49 | 74 | 0.0085013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5606-1_0_4_line_56 |  | 50 | 51 | 0.012815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5606-1_0_4_line_57 |  | 51 | 61 | 0.019639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5606-1_0_4_line_58 |  | 52 | 53 | 0.0092799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5606-1_0_4_line_59 |  | 53 | 62 | 0.005394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5606-1_0_4_line_60 |  | 56 | 57 | 0.0057643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5606-1_0_4_line_61 |  | 57 | 58 | 0.0078961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5606-1_0_4_line_62 |  | 59 | 92 | 0.0036723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5606-1_0_4_line_63 |  | 60 | 90 | 0.0077654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5606-1_0_4_line_64 |  | 61 | 62 | 0.011438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5606-1_0_4_line_65 |  | 62 | 63 | 0.0089705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5606-1_0_4_line_66 |  | 63 | 64 | 0.0070157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5606-1_0_4_line_67 |  | 64 | 67 | 0.0018487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5606-1_0_4_line_68 |  | 64 | 68 | 0.012495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5606-1_0_4_line_69 |  | 65 | 66 | 0.0069675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5606-1_0_4_line_70 |  | 66 | 82 | 0.0046358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5606-1_0_4_line_71 |  | 67 | 80 | 0.0082004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5606-1_0_4_line_72 |  | 68 | 88 | 0.0017574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5606-1_0_4_line_73 |  | 69 | 70 | 0.015479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5606-1_0_4_line_74 |  | 69 | 71 | 0.0018537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5606-1_0_4_line_75 |  | 70 | 72 | 0.00063628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5606-1_0_4_line_76 |  | 71 | 73 | 0.013519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5606-1_0_4_line_77 |  | 72 | 74 | 0.0071691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5606-1_0_4_line_78 |  | 73 | 75 | 0.013408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_5606-1_0_4_line_79 |  | 73 | 76 | 0.011687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_5606-1_0_4_line_80 |  | 73 | 77 | 0.014542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_5606-1_0_4_line_81 |  | 75 | 78 | 0.0067433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5606-1_0_4_line_82 |  | 76 | 79 | 0.0022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_5606-1_0_4_line_83 |  | 77 | 80 | 0.0048188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_5606-1_0_4_line_84 |  | 78 | 98 | 0.0035459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5606-1_0_4_line_85 |  | 79 | 95 | 0.010865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_5606-1_0_4_line_86 |  | 81 | 99 | 0.0053746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5606-1_0_4_line_87 |  | 82 | 83 | 0.010409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5606-1_0_4_line_88 |  | 83 | 84 | 0.0087131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5606-1_0_4_line_89 |  | 83 | 85 | 0.01481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5606-1_0_4_line_90 |  | 85 | 86 | 0.0045366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5606-1_0_4_line_91 |  | 86 | 87 | 0.0060459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5606-1_0_4_line_92 |  | 87 | 89 | 0.017203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5606-1_0_4_line_93 |  | 88 | 89 | 0.0053637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5606-1_0_4_line_94 |  | 93 | 94 | 0.0036387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5606-1_0_4_line_95 |  | 94 | 97 | 0.0073316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5606-1_0_4_line_96 |  | 95 | 96 | 0.0075681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5606-1_0_4_line_97 |  | 96 | 97 | 0.0062069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5606-1_0_4_line_98 |  | 98 | 99 | 0.0016691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5606-1_0_4_trafo_80 | 0.63 MVA 20/0.4 kV | 100 | 95 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2542159.8638 | 1150502.3153 | 2542165.1457 | 1150511.9616
1 | 2542159.8638 | 1150502.3153 | 2542161.6733 | 1150501.2862 | 2542195.2198 | 1150482.9761
2 | 2542178.9078 | 1150461.4881 | 2542183.4848 | 1150463.2673 | 2542190.8397 | 1150469.7445 | 2542199.4362 | 1150480.79 | 2542195.2198 | 1150482.9761
3 | 2542178.9078 | 1150461.4881 | 2542179.8307 | 1150454.4866
4 | 2542178.9078 | 1150461.4881 | 2542173.4542 | 1150461.9408 | 2542168.2295 | 1150464.648 | 2542157.7577 | 1150471.781
5 | 2542189.0373 | 1150553.7067 | 2542193.8998 | 1150554.049 | 2542196.3655 | 1150554.2143 | 2542199.1007 | 1150553.6655 | 2542206.8511 | 1150550.9896
6 | 2542189.0373 | 1150553.7067 | 2542186.9429 | 1150557.0286 | 2542184.4615 | 1150560.0207 | 2542179.2651 | 1150564.0617 | 2542172.3635 | 1150567.1964 | 2542154.5767 | 1150574.3046 | 2542122.3505 | 1150586.1655 | 2542106.4493 | 1150592.1639
7 | 2542206.8511 | 1150550.9896 | 2542212.849 | 1150560.8483 | 2542218.1814 | 1150570.1465 | 2542208.4729 | 1150575.1536 | 2542212.3339 | 1150576.7284 | 2542215.3215 | 1150578.4895 | 2542236.1744 | 1150597.2659 | 2542236.868 | 1150599.1491 | 2542237.0677 | 1150600.7592 | 2542236.4518 | 1150602.1659 | 2542234.7513 | 1150603.3495 | 2542232.5762 | 1150603.8595 | 2542232.9403 | 1150606.602
8 | 2542206.8511 | 1150550.9896 | 2542216.4302 | 1150547.6846 | 2542227.2835 | 1150543.1102
9 | 2542179.8307 | 1150454.4866 | 2542184.4865 | 1150455.6758 | 2542191.434 | 1150463.6911 | 2542195.6318 | 1150468.922
10 | 2542178.1808 | 1150448.1546 | 2542179.8307 | 1150454.4866
11 | 2542146.311 | 1150479.578 | 2542157.7577 | 1150471.781
12 | 2542216.9028 | 1150500.2325 | 2542237.0833 | 1150517.7147 | 2542235.1586 | 1150519.5341 | 2542234.358 | 1150521.6874 | 2542240.643 | 1150527.0744 | 2542244.1561 | 1150534.7892
13 | 2542216.9028 | 1150500.2325 | 2542216.6873 | 1150493.7867 | 2542204.3859 | 1150479.8308 | 2542195.6318 | 1150468.922
14 | 2542244.1561 | 1150534.7892 | 2542237.241 | 1150538.9134 | 2542227.2835 | 1150543.1102
15 | 2542223.3559 | 1150458.4148 | 2542226.4301 | 1150460.9085
16 | 2542223.3559 | 1150458.4148 | 2542221.5435 | 1150457.5429
17 | 2542226.4301 | 1150460.9085 | 2542230.3889 | 1150464.1195
18 | 2542221.5435 | 1150457.5429 | 2542221.5435 | 1150457.5429 | 2542220.5233 | 1150456.4352
19 | 2542203.983 | 1150428.3516 | 2542204.061 | 1150432.4641
20 | 2542203.983 | 1150428.3516 | 2542196.5458 | 1150425.2992 | 2542195.6758 | 1150423.5131
21 | 2542204.061 | 1150432.4641 | 2542194.6157 | 1150438.213
22 | 2542204.061 | 1150432.4641 | 2542206.7837 | 1150436.9163
23 | 2542191.6502 | 1150414.6575 | 2542192.4658 | 1150416.9228 | 2542195.6758 | 1150423.5131
24 | 2542203.211 | 1150383.1904 | 2542186.6704 | 1150389.0303
25 | 2542203.211 | 1150383.1904 | 2542195.2299 | 1150358.5959
26 | 2542186.6704 | 1150389.0303 | 2542187.0325 | 1150390.7611 | 2542188.9196 | 1150399.8077
27 | 2542186.6704 | 1150389.0303 | 2542176.2058 | 1150392.6732
28 | 2542232.9403 | 1150606.602 | 2542213.0617 | 1150609.3166 | 2542192.9686 | 1150612.0668 | 2542189.3958 | 1150613.0541
29 | 2542091.587 | 1150497.2697 | 2542091.468 | 1150490.4894 | 2542091.4417 | 1150489.3557 | 2542088.6272 | 1150481.6787
30 | 2542088.6272 | 1150481.6787 | 2542102.1451 | 1150479.2473 | 2542103.556 | 1150478.3963
31 | 2542091.587 | 1150497.2697 | 2542101.869 | 1150499.1939 | 2542101.869 | 1150499.1939
32 | 2542110.6718 | 1150474.1044 | 2542103.556 | 1150478.3963
33 | 2542102.7884 | 1150499.214 | 2542101.869 | 1150499.1939
34 | 2542146.311 | 1150479.578 | 2542148.2529 | 1150482.7387 | 2542162.1393 | 1150472.9932
35 | 2542146.311 | 1150479.578 | 2542144.7213 | 1150480.6612
36 | 2542116.1715 | 1150497.7333 | 2542118.9068 | 1150504.366 | 2542119.3407 | 1150505.1569
37 | 2542116.1715 | 1150497.7333 | 2542109.6469 | 1150499.3636 | 2542102.7884 | 1150499.214
38 | 2542116.1715 | 1150497.7333 | 2542118.0579 | 1150496.7808
39 | 2542178.1808 | 1150448.1546 | 2542175.1367 | 1150443.5701
40 | 2542238.0035 | 1150470.1536 | 2542244.214 | 1150474.2636
41 | 2542234.6404 | 1150467.568 | 2542237.05 | 1150469.5225 | 2542238.0035 | 1150470.1536
42 | 2542230.3889 | 1150464.1195 | 2542234.6404 | 1150467.568
43 | 2542220.5233 | 1150456.4352 | 2542216.6987 | 1150452.2831
44 | 2542194.6157 | 1150438.213 | 2542194.4145 | 1150438.3355
45 | 2542212.2933 | 1150445.9255 | 2542206.7837 | 1150436.9163
46 | 2542191.6502 | 1150414.6575 | 2542191.3645 | 1150413.8639
47 | 2542189.0517 | 1150400.4413 | 2542188.9196 | 1150399.8077
48 | 2542174.8493 | 1150393.1455 | 2542176.2058 | 1150392.6732
49 | 2542115.9421 | 1150347.9665 | 2542116.9617 | 1150354.9406
50 | 2542115.9421 | 1150347.9665 | 2542111.9648 | 1150347.0932 | 2542104.9422 | 1150346.214
51 | 2542118.6704 | 1150366.628 | 2542116.9617 | 1150354.9406
52 | 2542104.9422 | 1150346.214 | 2542098.1763 | 1150345.367
53 | 2542110.6718 | 1150474.1044 | 2542112.6654 | 1150472.9019
54 | 2542118.6704 | 1150366.628 | 2542111.0764 | 1150366.4855
55 | 2542118.6704 | 1150366.628 | 2542123.2795 | 1150373.7714
56 | 2542087.5225 | 1150390.9729 | 2542093.2451 | 1150402.4387
57 | 2542103.0248 | 1150419.4634 | 2542094.4035 | 1150404.7598 | 2542093.2451 | 1150402.4387
58 | 2542103.53 | 1150430.9637 | 2542102.1443 | 1150431.355 | 2542094.6792 | 1150433.7501
59 | 2542108.7042 | 1150429.3908 | 2542103.53 | 1150430.9637
60 | 2542190.2065 | 1150408.247 | 2542190.3599 | 1150409.4836 | 2542190.5013 | 1150410.6161 | 2542190.7148 | 1150412.0593 | 2542191.3645 | 1150413.8639
61 | 2542189.0517 | 1150400.4413 | 2542189.5111 | 1150402.6436 | 2542190.2065 | 1150408.247
62 | 2542194.4145 | 1150438.3355 | 2542191.2775 | 1150440.2448
63 | 2542212.2933 | 1150445.9255 | 2542215.1591 | 1150450.6116 | 2542216.6987 | 1150452.2831
64 | 2542108.7042 | 1150429.3908 | 2542106.1809 | 1150424.846 | 2542103.0248 | 1150419.4634
65 | 2542108.7042 | 1150429.3908 | 2542111.3614 | 1150428.7093 | 2542116.6762 | 1150425.4641
66 | 2542122.6639 | 1150421.808 | 2542116.6762 | 1150425.4641
67 | 2542122.6639 | 1150421.808 | 2542124.1536 | 1150420.7132
68 | 2542122.6639 | 1150421.808 | 2542124.018 | 1150423.7182 | 2542127.084 | 1150428.0243 | 2542129.9432 | 1150431.9634
69 | 2542112.3526 | 1150455.5208 | 2542110.4142 | 1150452.3088 | 2542109.3887 | 1150449.2608
70 | 2542114.748 | 1150459.4898 | 2542112.3526 | 1150455.5208
71 | 2542124.1536 | 1150420.7132 | 2542130.7617 | 1150415.8573
72 | 2542129.9432 | 1150431.9634 | 2542130.9755 | 1150433.3857
73 | 2542136.1968 | 1150393.1425 | 2542128.3726 | 1150381.6649 | 2542127.5113 | 1150380.33
74 | 2542137.2409 | 1150394.6742 | 2542136.1968 | 1150393.1425
75 | 2542127.1663 | 1150379.7954 | 2542127.5113 | 1150380.33
76 | 2542146.3626 | 1150404.3928 | 2542141.345 | 1150400.6947 | 2542137.2409 | 1150394.6742
77 | 2542123.2795 | 1150373.7714 | 2542127.1663 | 1150379.7954
78 | 2542146.3626 | 1150404.3928 | 2542151.2006 | 1150401.378 | 2542158.4799 | 1150398.8439
79 | 2542146.3626 | 1150404.3928 | 2542150.59 | 1150405.7307 | 2542154.4877 | 1150411.8476
80 | 2542146.3626 | 1150404.3928 | 2542134.6447 | 1150413.0038
81 | 2542164.8484 | 1150396.6269 | 2542158.4799 | 1150398.8439
82 | 2542155.6928 | 1150413.7388 | 2542154.4877 | 1150411.8476
83 | 2542134.6447 | 1150413.0038 | 2542130.7617 | 1150415.8573
84 | 2542164.8484 | 1150396.6269 | 2542168.1972 | 1150395.4612
85 | 2542155.6928 | 1150413.7388 | 2542161.5315 | 1150422.9016
86 | 2542174.8493 | 1150393.1455 | 2542169.7735 | 1150394.9124
87 | 2542120.1264 | 1150468.4017 | 2542114.748 | 1150459.4898
88 | 2542120.1264 | 1150468.4017 | 2542112.6654 | 1150472.9019
89 | 2542120.1264 | 1150468.4017 | 2542123.2914 | 1150463.8577 | 2542124.7616 | 1150462.6763 | 2542130.3651 | 1150457.8633
90 | 2542133.8065 | 1150454.9073 | 2542130.3651 | 1150457.8633
91 | 2542133.8065 | 1150454.9073 | 2542133.8065 | 1150454.9073 | 2542130.48 | 1150449.8588
92 | 2542130.48 | 1150449.8588 | 2542130.48 | 1150449.8588 | 2542138.3024 | 1150443.4802 | 2542134.1262 | 1150437.7265
93 | 2542134.1262 | 1150437.7265 | 2542130.9755 | 1150433.3857
94 | 2542175.1367 | 1150443.5701 | 2542173.1239 | 1150440.5388
95 | 2542173.1239 | 1150440.5388 | 2542169.0684 | 1150434.4311
96 | 2542161.5315 | 1150422.9016 | 2542164.3546 | 1150427.332 | 2542165.635 | 1150429.2603
97 | 2542165.635 | 1150429.2603 | 2542169.0684 | 1150434.4311
98 | 2542168.1972 | 1150395.4612 | 2542169.7735 | 1150394.9124

## bus_geodata
| x | y | coords
0 | 2542165.1457 | 1150511.9616
1 | 2542159.8638 | 1150502.3153
2 | 2542195.2198 | 1150482.9761
3 | 2542178.9078 | 1150461.4881
4 | 2542189.0373 | 1150553.7067
5 | 2542206.8511 | 1150550.9896
6 | 2542106.4493 | 1150592.1639
7 | 2542179.8307 | 1150454.4866
8 | 2542157.7577 | 1150471.781
9 | 2542216.9028 | 1150500.2325
10 | 2542244.1561 | 1150534.7892
11 | 2542195.6318 | 1150468.922
12 | 2542223.3559 | 1150458.4148
13 | 2542226.4301 | 1150460.9085
14 | 2542221.5435 | 1150457.5429
15 | 2542227.2835 | 1150543.1102
16 | 2542203.983 | 1150428.3516
17 | 2542204.061 | 1150432.4641
18 | 2542195.6758 | 1150423.5131
19 | 2542203.211 | 1150383.1904
20 | 2542186.6704 | 1150389.0303
21 | 2542195.2299 | 1150358.5959
22 | 2542232.9403 | 1150606.602
23 | 2542189.3958 | 1150613.0541
24 | 2542088.6272 | 1150481.6787
25 | 2542091.587 | 1150497.2697
26 | 2542103.556 | 1150478.3963
27 | 2542101.869 | 1150499.1939
28 | 2542162.1393 | 1150472.9932
29 | 2542146.311 | 1150479.578
30 | 2542119.3407 | 1150505.1569
31 | 2542116.1715 | 1150497.7333
32 | 2542144.7213 | 1150480.6612
33 | 2542178.1808 | 1150448.1546
34 | 2542244.214 | 1150474.2636
35 | 2542238.0035 | 1150470.1536
36 | 2542230.3889 | 1150464.1195
37 | 2542220.5233 | 1150456.4352
38 | 2542194.6157 | 1150438.213
39 | 2542206.7837 | 1150436.9163
40 | 2542191.6502 | 1150414.6575
41 | 2542188.9196 | 1150399.8077
42 | 2542176.2058 | 1150392.6732
43 | 2542115.942 | 1150347.9665
44 | 2542116.9617 | 1150354.9406
45 | 2542104.9422 | 1150346.214
46 | 2542110.6718 | 1150474.1044
47 | 2542098.1763 | 1150345.367
48 | 2542111.0764 | 1150366.4855
49 | 2542118.6704 | 1150366.628
50 | 2542087.5225 | 1150390.9729
51 | 2542093.2451 | 1150402.4387
52 | 2542094.6792 | 1150433.7501
53 | 2542103.53 | 1150430.9637
54 | 2542102.7884 | 1150499.214
55 | 2542118.0579 | 1150496.7808
56 | 2542191.3645 | 1150413.8639
57 | 2542190.2065 | 1150408.247
58 | 2542189.0517 | 1150400.4413
59 | 2542194.4145 | 1150438.3355
60 | 2542212.2933 | 1150445.9255
61 | 2542103.0248 | 1150419.4634
62 | 2542108.7042 | 1150429.3908
63 | 2542116.6762 | 1150425.4641
64 | 2542122.6639 | 1150421.8079
65 | 2542109.3887 | 1150449.2608
66 | 2542112.3526 | 1150455.5208
67 | 2542124.1536 | 1150420.7132
68 | 2542129.9432 | 1150431.9634
69 | 2542136.1968 | 1150393.1425
70 | 2542127.5113 | 1150380.33
71 | 2542137.2409 | 1150394.6742
72 | 2542127.1663 | 1150379.7954
73 | 2542146.3626 | 1150404.3928
74 | 2542123.2795 | 1150373.7714
75 | 2542158.4799 | 1150398.8439
76 | 2542154.4877 | 1150411.8476
77 | 2542134.6447 | 1150413.0038
78 | 2542164.8484 | 1150396.6269
79 | 2542155.6928 | 1150413.7388
80 | 2542130.7617 | 1150415.8573
81 | 2542174.8493 | 1150393.1455
82 | 2542114.748 | 1150459.4898
83 | 2542120.1264 | 1150468.4017
84 | 2542112.6654 | 1150472.9019
85 | 2542130.3651 | 1150457.8633
86 | 2542133.8065 | 1150454.9073
87 | 2542130.48 | 1150449.8588
88 | 2542130.9755 | 1150433.3857
89 | 2542134.1262 | 1150437.7265
90 | 2542216.6987 | 1150452.2831
91 | 2542234.6404 | 1150467.568
92 | 2542191.2775 | 1150440.2448
93 | 2542175.1367 | 1150443.5701
94 | 2542173.1239 | 1150440.5388
95 | 2542161.5315 | 1150422.9016
96 | 2542165.635 | 1150429.2603
97 | 2542169.0684 | 1150434.4311
98 | 2542168.1972 | 1150395.4612
99 | 2542169.7735 | 1150394.9124
100 | 2542146.3626 | 1150404.3928

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1