## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5606-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5606-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5606-22_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5606-22_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5606-22_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5606-22_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5606-22_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5606-22_0_4_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_5606-22_0_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_5606-22_0_4_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_5606-22_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5606-22_0_4_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_5606-22_0_4_node_157 | 0.4 | n |  | TRUE
13 | bus_LV_5606-22_0_4_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_5606-22_0_4_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_5606-22_0_4_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_5606-22_0_4_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_5606-22_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5606-22_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5606-22_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5606-22_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5606-22_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5606-22_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5606-22_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5606-22_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5606-22_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5606-22_0_4_node_148 | 0.4 | n |  | TRUE
27 | bus_LV_5606-22_0_4_node_149 | 0.4 | n |  | TRUE
28 | bus_LV_5606-22_0_4_node_150 | 0.4 | n |  | TRUE
29 | bus_LV_5606-22_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5606-22_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_5606-22_0_4_node_159 | 0.4 | n |  | TRUE
32 | bus_LV_5606-22_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5606-22_0_4_node_155 | 0.4 | n |  | TRUE
34 | bus_LV_5606-22_0_4_node_151 | 0.4 | n |  | TRUE
35 | bus_LV_5606-22_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5606-22_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5606-22_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_5606-22_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_5606-22_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_5606-22_0_4_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_5606-22_0_4_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_5606-22_0_4_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_5606-22_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5606-22_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_5606-22_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_5606-22_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_5606-22_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5606-22_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_5606-22_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_5606-22_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_5606-22_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5606-22_0_4_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_5606-22_0_4_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_5606-22_0_4_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_5606-22_0_4_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_5606-22_0_4_node_160 | 0.4 | n |  | TRUE
57 | bus_LV_5606-22_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_5606-22_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_5606-22_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_5606-22_0_4_node_156 | 0.4 | n |  | TRUE
61 | bus_LV_5606-22_0_4_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_5606-22_0_4_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_5606-22_0_4_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_5606-22_0_4_node_147 | 0.4 | n |  | TRUE
65 | bus_LV_5606-22_0_4_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_5606-22_0_4_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_5606-22_0_4_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_5606-22_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_5606-22_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_5606-22_0_4_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_5606-22_0_4_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_5606-22_0_4_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_5606-22_0_4_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_5606-22_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_5606-22_0_4_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_5606-22_0_4_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_5606-22_0_4_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_5606-22_0_4_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_5606-22_0_4_node_138 | 0.4 | n |  | TRUE
80 | bus_LV_5606-22_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_5606-22_0_4_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_5606-22_0_4_node_114 | 0.4 | n |  | TRUE
83 | bus_LV_5606-22_0_4_node_136 | 0.4 | n |  | TRUE
84 | bus_LV_5606-22_0_4_node_111 | 0.4 | n |  | TRUE
85 | bus_LV_5606-22_0_4_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_5606-22_0_4_node_115 | 0.4 | n |  | TRUE
87 | bus_LV_5606-22_0_4_node_60 | 0.4 | n |  | TRUE
88 | bus_LV_5606-22_0_4_node_61 | 0.4 | n |  | TRUE
89 | bus_LV_5606-22_0_4_node_62 | 0.4 | n |  | TRUE
90 | bus_LV_5606-22_0_4_node_63 | 0.4 | n |  | TRUE
91 | bus_LV_5606-22_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_5606-22_0_4_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_5606-22_0_4_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_5606-22_0_4_node_66 | 0.4 | n |  | TRUE
95 | bus_LV_5606-22_0_4_node_110 | 0.4 | n |  | TRUE
96 | bus_LV_5606-22_0_4_node_69 | 0.4 | n |  | TRUE
97 | bus_LV_5606-22_0_4_node_70 | 0.4 | n |  | TRUE
98 | bus_LV_5606-22_0_4_node_71 | 0.4 | n |  | TRUE
99 | bus_LV_5606-22_0_4_node_72 | 0.4 | n |  | TRUE
100 | bus_LV_5606-22_0_4_node_73 | 0.4 | n |  | TRUE
101 | bus_LV_5606-22_0_4_node_91 | 0.4 | n |  | TRUE
102 | bus_LV_5606-22_0_4_node_107 | 0.4 | n |  | TRUE
103 | bus_LV_5606-22_0_4_node_90 | 0.4 | n |  | TRUE
104 | bus_LV_5606-22_0_4_node_76 | 0.4 | n |  | TRUE
105 | bus_LV_5606-22_0_4_node_77 | 0.4 | n |  | TRUE
106 | bus_LV_5606-22_0_4_node_78 | 0.4 | n |  | TRUE
107 | bus_LV_5606-22_0_4_node_79 | 0.4 | n |  | TRUE
108 | bus_LV_5606-22_0_4_node_161 | 0.4 | n |  | TRUE
109 | bus_LV_5606-22_0_4_node_80 | 0.4 | n |  | TRUE
110 | bus_LV_5606-22_0_4_node_82 | 0.4 | n |  | TRUE
111 | bus_LV_5606-22_0_4_node_99 | 0.4 | n |  | TRUE
112 | bus_LV_5606-22_0_4_node_139 | 0.4 | n |  | TRUE
113 | bus_LV_5606-22_0_4_node_116 | 0.4 | n |  | TRUE
114 | bus_LV_5606-22_0_4_node_104 | 0.4 | n |  | TRUE
115 | bus_LV_5606-22_0_4_node_101 | 0.4 | n |  | TRUE
116 | bus_LV_5606-22_0_4_node_98 | 0.4 | n |  | TRUE
117 | bus_LV_5606-22_0_4_node_140 | 0.4 | n |  | TRUE
118 | bus_LV_5606-22_0_4_node_89 | 0.4 | n |  | TRUE
119 | bus_LV_5606-22_0_4_node_103 | 0.4 | n |  | TRUE
120 | bus_LV_5606-22_0_4_node_105 | 0.4 | n |  | TRUE
121 | bus_LV_5606-22_0_4_node_108 | 0.4 | n |  | TRUE
122 | bus_LV_5606-22_0_4_node_106 | 0.4 | n |  | TRUE
123 | bus_LV_5606-22_0_4_node_119 | 0.4 | n |  | TRUE
124 | bus_LV_5606-22_0_4_node_94 | 0.4 | n |  | TRUE
125 | bus_LV_5606-22_0_4_node_96 | 0.4 | n |  | TRUE
126 | bus_LV_5606-22_0_4_node_97 | 0.4 | n |  | TRUE
127 | bus_LV_5606-22_0_4_node_158 | 0.4 | n |  | TRUE
128 | bus_LV_5606-22_0_4_node_113 | 0.4 | n |  | TRUE
129 | bus_LV_5606-22_0_4_node_135 | 0.4 | n |  | TRUE
130 | bus_LV_5606-22_0_4_node_112 | 0.4 | n |  | TRUE
131 | bus_LV_5606-22_0_4_node_100 | 0.4 | n |  | TRUE
132 | bus_LV_5606-22_0_4_node_109 | 0.4 | n |  | TRUE
133 | bus_LV_5606-22_0_4_node_118 | 0.4 | n |  | TRUE
134 | bus_LV_5606-22_0_4_node_120 | 0.4 | n |  | TRUE
135 | bus_LV_5606-22_0_4_node_121 | 0.4 | n |  | TRUE
136 | bus_LV_5606-22_0_4_node_117 | 0.4 | n |  | TRUE
137 | bus_LV_5606-22_0_4_node_124 | 0.4 | n |  | TRUE
138 | bus_LV_5606-22_0_4_node_122 | 0.4 | n |  | TRUE
139 | bus_LV_5606-22_0_4_node_132 | 0.4 | n |  | TRUE
140 | bus_LV_5606-22_0_4_node_123 | 0.4 | n |  | TRUE
141 | bus_LV_5606-22_0_4_node_125 | 0.4 | n |  | TRUE
142 | bus_LV_5606-22_0_4_node_128 | 0.4 | n |  | TRUE
143 | bus_LV_5606-22_0_4_node_126 | 0.4 | n |  | TRUE
144 | bus_LV_5606-22_0_4_node_133 | 0.4 | n |  | TRUE
145 | bus_LV_5606-22_0_4_node_131 | 0.4 | n |  | TRUE
146 | bus_LV_5606-22_0_4_node_143 | 0.4 | n |  | TRUE
147 | bus_LV_5606-22_0_4_node_127 | 0.4 | n |  | TRUE
148 | bus_LV_5606-22_0_4_node_129 | 0.4 | n |  | TRUE
149 | bus_LV_5606-22_0_4_node_130 | 0.4 | n |  | TRUE
150 | bus_LV_5606-22_0_4_node_162 | 0.4 | n |  | TRUE
151 | bus_LV_5606-22_0_4_node_144 | 0.4 | n |  | TRUE
152 | bus_LV_5606-22_0_4_node_142 | 0.4 | n |  | TRUE
153 | bus_LV_5606-22_0_4_node_141 | 0.4 | n |  | TRUE
154 | bus_LV_5606-22_0_4_node_145 | 0.4 | n |  | TRUE
155 | bus_LV_5606-22_0_4_node_152 | 0.4 | n |  | TRUE
156 | bus_LV_5606-22_0_4_node_153 | 0.4 | n |  | TRUE
157 | bus_LV_5606-22_0_4_node_154 | 0.4 | n |  | TRUE
158 | bus_MV_620_0_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5606-22_0_4_load_0 | 0 | 0.0036129 | 0.00090547 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5606-22_0_4_load_1 | 1 | 0.0041941 | 0.0010511 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5606-22_0_4_load_3 | 3 | 0.0027343 | 0.00068528 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5606-22_0_4_load_5 | 5 | 0.0041485 | 0.0010397 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5606-22_0_4_load_30 | 7 | 0.0033108 | 0.00082975 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5606-22_0_4_load_50 | 9 | 0.0012388 | 0.00031048 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5606-22_0_4_load_7 | 10 | 0.0018332 | 0.00045944 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5606-22_0_4_load_157 | 12 | 0.0022312 | 0.00055919 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5606-22_0_4_load_34 | 14 | 0.0019287 | 0.00048338 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5606-22_0_4_load_31 | 15 | 0.0034903 | 0.00087475 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5606-22_0_4_load_51 | 16 | 0.0021644 | 0.00054246 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5606-22_0_4_load_8 | 17 | 0.004123 | 0.0010333 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5606-22_0_4_load_9 | 18 | 0.0027269 | 0.00068343 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5606-22_0_4_load_14 | 23 | 0.0028046 | 0.0007029 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5606-22_0_4_load_15 | 24 | 0.0016962 | 0.00042512 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5606-22_0_4_load_148 | 26 | 0.0020415 | 0.00051164 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5606-22_0_4_load_150 | 28 | 0.0043544 | 0.0010913 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5606-22_0_4_load_39 | 30 | 0.0034658 | 0.0008686 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5606-22_0_4_load_159 | 31 | 0.0019268 | 0.00048289 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5606-22_0_4_load_155 | 33 | 0.0022538 | 0.00056486 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5606-22_0_4_load_25 | 35 | 0.002545 | 0.00063783 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5606-22_0_4_load_23 | 36 | 0.0017204 | 0.00043117 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5606-22_0_4_load_22 | 38 | 0.0023353 | 0.00058529 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5606-22_0_4_load_20 | 39 | 0.0034752 | 0.00087097 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5606-22_0_4_load_17 | 40 | 0.0026152 | 0.00065544 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5606-22_0_4_load_18 | 41 | 0.0027963 | 0.00070081 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5606-22_0_4_load_19 | 42 | 0.0040919 | 0.0010255 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5606-22_0_4_load_28 | 43 | 0.0020734 | 0.00051964 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5606-22_0_4_load_26 | 44 | 0.0027712 | 0.00069453 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5606-22_0_4_load_27 | 45 | 0.0045822 | 0.0011484 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5606-22_0_4_load_41 | 51 | 0.010998 | 0.0027563 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5606-22_0_4_load_86 | 52 | 0.0067857 | 0.0017006 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5606-22_0_4_load_87 | 53 | 0.0063803 | 0.0015991 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5606-22_0_4_load_83 | 54 | 0.012813 | 0.0032112 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5606-22_0_4_load_33 | 55 | 0.00093089 | 0.0002333 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5606-22_0_4_load_160 | 56 | 0.0033295 | 0.00083445 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5606-22_0_4_load_58 | 59 | 0.012303 | 0.0030834 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5606-22_0_4_load_156 | 60 | 0.016081 | 0.0040303 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5606-22_0_4_load_102 | 61 | 0.0065392 | 0.0016389 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5606-22_0_4_load_75 | 62 | 0.0029417 | 0.00073725 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5606-22_0_4_load_42 | 63 | 0.0027219 | 0.00068217 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5606-22_0_4_load_147 | 64 | 0.01357 | 0.0034009 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5606-22_0_4_load_88 | 66 | 0.014178 | 0.0035532 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5606-22_0_4_load_84 | 67 | 0.011168 | 0.002799 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5606-22_0_4_load_48 | 68 | 0.0063655 | 0.0015953 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5606-22_0_4_load_59 | 69 | 0.011786 | 0.0029538 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5606-22_0_4_load_74 | 71 | 0.0063803 | 0.0015991 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5606-22_0_4_load_46 | 72 | 0.00439 | 0.0011002 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5606-22_0_4_load_47 | 73 | 0.0026543 | 0.00066524 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5606-22_0_4_load_53 | 74 | 0.0044121 | 0.0011058 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5606-22_0_4_load_54 | 75 | 0.0023417 | 0.0005869 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5606-22_0_4_load_55 | 76 | 0.0018075 | 0.00045299 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5606-22_0_4_load_57 | 78 | 0.003783 | 0.00094811 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5606-22_0_4_load_138 | 79 | 0.0020239 | 0.00050723 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5606-22_0_4_load_67 | 80 | 0.0035127 | 0.00088038 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5606-22_0_4_load_64 | 81 | 0.0024039 | 0.00060246 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5606-22_0_4_load_136 | 83 | 0.014894 | 0.0037328 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5606-22_0_4_load_111 | 84 | 0.0043359 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5606-22_0_4_load_65 | 85 | 0.0071092 | 0.0017817 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5606-22_0_4_load_115 | 86 | 0.0030749 | 0.00077065 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5606-22_0_4_load_60 | 87 | 0.0021098 | 0.00052876 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5606-22_0_4_load_61 | 88 | 0.0020758 | 0.00052024 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5606-22_0_4_load_62 | 89 | 0.0020749 | 0.00052003 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5606-22_0_4_load_63 | 90 | 0.0021098 | 0.00052876 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5606-22_0_4_load_92 | 93 | 0.0034977 | 0.00087661 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5606-22_0_4_load_66 | 94 | 0.0027599 | 0.00069169 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5606-22_0_4_load_110 | 95 | 0.0048152 | 0.0012068 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5606-22_0_4_load_69 | 96 | 0.0017295 | 0.00043345 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5606-22_0_4_load_70 | 97 | 0.0017287 | 0.00043327 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5606-22_0_4_load_71 | 98 | 0.0017561 | 0.00044012 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5606-22_0_4_load_72 | 99 | 0.0017559 | 0.00044006 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5606-22_0_4_load_73 | 100 | 0.0017314 | 0.00043392 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5606-22_0_4_load_91 | 101 | 0.0017566 | 0.00044024 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5606-22_0_4_load_107 | 102 | 0.0084519 | 0.0021182 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5606-22_0_4_load_90 | 103 | 0.0028955 | 0.00072567 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5606-22_0_4_load_76 | 104 | 0.0029441 | 0.00073785 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5606-22_0_4_load_77 | 105 | 0.0028986 | 0.00072646 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5606-22_0_4_load_78 | 106 | 0.0044199 | 0.0011077 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5606-22_0_4_load_161 | 108 | 0.001422 | 0.00035639 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5606-22_0_4_load_139 | 112 | 0.003617 | 0.00090649 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5606-22_0_4_load_116 | 113 | 0.0048107 | 0.0012057 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5606-22_0_4_load_104 | 114 | 0.0075876 | 0.0019016 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5606-22_0_4_load_98 | 116 | 0.013162 | 0.0032987 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5606-22_0_4_load_140 | 117 | 0.0024877 | 0.00062348 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5606-22_0_4_load_105 | 120 | 0.0153 | 0.0038345 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5606-22_0_4_load_106 | 122 | 0.0039796 | 0.00099738 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5606-22_0_4_load_96 | 125 | 0.0039808 | 0.00099768 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5606-22_0_4_load_97 | 126 | 0.0091672 | 0.0022975 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5606-22_0_4_load_158 | 127 | 0.010661 | 0.002672 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5606-22_0_4_load_135 | 129 | 0.00236 | 0.00059148 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5606-22_0_4_load_112 | 130 | 0.0021092 | 0.0005286 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5606-22_0_4_load_100 | 131 | 0.0026325 | 0.00065978 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5606-22_0_4_load_109 | 132 | 0.0024597 | 0.00061646 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5606-22_0_4_load_118 | 133 | 0.0072664 | 0.0018211 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5606-22_0_4_load_120 | 134 | 0.0056111 | 0.0014063 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5606-22_0_4_load_117 | 136 | 0.0072494 | 0.0018169 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5606-22_0_4_load_124 | 137 | 0.002762 | 0.00069221 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5606-22_0_4_load_122 | 138 | 0.0026681 | 0.00066869 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5606-22_0_4_load_128 | 142 | 0.002843 | 0.00071252 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5606-22_0_4_load_126 | 143 | 0.0012139 | 0.00030424 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5606-22_0_4_load_133 | 144 | 0.0039382 | 0.00098699 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5606-22_0_4_load_131 | 145 | 0.0037549 | 0.00094108 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5606-22_0_4_load_130 | 149 | 0.0023442 | 0.00058752 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5606-22_0_4_load_162 | 150 | 0.0031682 | 0.00079401 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5606-22_0_4_load_144 | 151 | 0.0040697 | 0.00102 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5606-22_0_4_load_141 | 153 | 0.0052116 | 0.0013062 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5606-22_0_4_load_145 | 154 | 0.0048542 | 0.0012166 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5606-22_0_4_load_152 | 155 | 0.0020598 | 0.00051624 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5606-22_0_4_load_154 | 157 | 0.0062728 | 0.0015721 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5606-22_0_4_line_0 |  | 0 | 1 | 0.050782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5606-22_0_4_line_1 |  | 0 | 2 | 0.028459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5606-22_0_4_line_2 |  | 1 | 3 | 0.0051822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5606-22_0_4_line_3 |  | 2 | 4 | 0.004093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5606-22_0_4_line_4 |  | 2 | 5 | 0.03216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5606-22_0_4_line_5 |  | 2 | 6 | 0.088821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5606-22_0_4_line_6 |  | 3 | 7 | 0.029322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5606-22_0_4_line_7 |  | 4 | 8 | 0.057583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5606-22_0_4_line_8 |  | 4 | 9 | 0.033774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5606-22_0_4_line_9 |  | 6 | 10 | 0.029393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5606-22_0_4_line_10 |  | 8 | 11 | 0.006115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5606-22_0_4_line_11 |  | 8 | 12 | 0.015576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5606-22_0_4_line_12 |  | 8 | 13 | 0.04497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5606-22_0_4_line_13 |  | 9 | 16 | 0.0017585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5606-22_0_4_line_14 |  | 10 | 17 | 0.10325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5606-22_0_4_line_15 |  | 11 | 56 | 0.006774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5606-22_0_4_line_16 |  | 11 | 57 | 0.017529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5606-22_0_4_line_17 |  | 13 | 14 | 0.02193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5606-22_0_4_line_18 |  | 13 | 15 | 0.030938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5606-22_0_4_line_19 |  | 15 | 55 | 0.011254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5606-22_0_4_line_20 |  | 18 | 19 | 0.015587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5606-22_0_4_line_21 |  | 18 | 20 | 0.033137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5606-22_0_4_line_22 |  | 19 | 21 | 0.025553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5606-22_0_4_line_23 |  | 19 | 22 | 0.035402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5606-22_0_4_line_24 |  | 19 | 23 | 0.033774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5606-22_0_4_line_25 |  | 20 | 24 | 0.005476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5606-22_0_4_line_26 |  | 20 | 25 | 0.006695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5606-22_0_4_line_27 |  | 21 | 26 | 0.010714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5606-22_0_4_line_28 |  | 21 | 27 | 0.011363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5606-22_0_4_line_29 |  | 22 | 28 | 0.007984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5606-22_0_4_line_30 |  | 22 | 29 | 0.007102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5606-22_0_4_line_31 |  | 23 | 30 | 0.00084667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5606-22_0_4_line_32 |  | 25 | 31 | 0.021297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5606-22_0_4_line_33 |  | 25 | 32 | 0.005894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5606-22_0_4_line_34 |  | 27 | 33 | 0.00771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5606-22_0_4_line_35 |  | 27 | 34 | 0.004517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5606-22_0_4_line_36 |  | 29 | 35 | 0.009443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5606-22_0_4_line_37 |  | 29 | 36 | 0.042249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5606-22_0_4_line_38 |  | 30 | 37 | 0.010921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5606-22_0_4_line_39 |  | 32 | 38 | 0.020412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5606-22_0_4_line_40 |  | 32 | 39 | 0.015842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5606-22_0_4_line_41 |  | 34 | 155 | 0.006979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5606-22_0_4_line_42 |  | 34 | 156 | 0.069506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5606-22_0_4_line_43 |  | 37 | 57 | 0.025429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5606-22_0_4_line_44 |  | 38 | 43 | 0.019448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5606-22_0_4_line_45 |  | 39 | 41 | 0.0087826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5606-22_0_4_line_46 |  | 40 | 41 | 0.017787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5606-22_0_4_line_47 |  | 40 | 42 | 0.0080059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5606-22_0_4_line_48 |  | 43 | 44 | 0.043418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5606-22_0_4_line_49 |  | 44 | 45 | 0.029888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5606-22_0_4_line_50 |  | 45 | 46 | 0.02302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5606-22_0_4_line_51 |  | 46 | 47 | 0.049616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5606-22_0_4_line_52 |  | 47 | 52 | 0.025227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5606-22_0_4_line_53 |  | 47 | 53 | 0.038068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5606-22_0_4_line_54 |  | 47 | 54 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5606-22_0_4_line_55 |  | 48 | 49 | 0.062749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5606-22_0_4_line_56 |  | 48 | 50 | 0.064039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5606-22_0_4_line_57 |  | 48 | 51 | 0.098633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5606-22_0_4_line_58 |  | 49 | 58 | 0.018122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5606-22_0_4_line_59 |  | 49 | 59 | 0.040935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5606-22_0_4_line_60 |  | 50 | 61 | 0.0025707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5606-22_0_4_line_61 |  | 50 | 62 | 0.020049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5606-22_0_4_line_62 |  | 51 | 63 | 0.012262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5606-22_0_4_line_63 |  | 53 | 66 | 0.027437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5606-22_0_4_line_64 |  | 54 | 67 | 0.0044608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5606-22_0_4_line_65 |  | 57 | 68 | 0.027526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5606-22_0_4_line_66 |  | 58 | 60 | 0.02287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5606-22_0_4_line_67 |  | 59 | 69 | 0.022974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5606-22_0_4_line_68 |  | 61 | 70 | 0.0091905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5606-22_0_4_line_69 |  | 62 | 71 | 0.01289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5606-22_0_4_line_70 |  | 64 | 65 | 0.0067398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5606-22_0_4_line_71 |  | 65 | 107 | 0.035354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5606-22_0_4_line_72 |  | 66 | 118 | 0.022579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_5606-22_0_4_line_73 |  | 67 | 70 | 0.018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5606-22_0_4_line_74 |  | 68 | 73 | 0.03992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5606-22_0_4_line_75 |  | 71 | 104 | 0.0059169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5606-22_0_4_line_76 |  | 72 | 73 | 0.015863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5606-22_0_4_line_77 |  | 74 | 75 | 0.038617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5606-22_0_4_line_78 |  | 74 | 76 | 0.014048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5606-22_0_4_line_79 |  | 75 | 77 | 0.03029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5606-22_0_4_line_80 |  | 76 | 78 | 0.051702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5606-22_0_4_line_81 |  | 76 | 79 | 0.027912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5606-22_0_4_line_82 |  | 77 | 80 | 0.02176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5606-22_0_4_line_83 |  | 77 | 81 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5606-22_0_4_line_84 |  | 78 | 82 | 0.01259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5606-22_0_4_line_85 |  | 79 | 83 | 0.016078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5606-22_0_4_line_86 |  | 80 | 84 | 0.020259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5606-22_0_4_line_87 |  | 81 | 85 | 0.019862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5606-22_0_4_line_88 |  | 82 | 86 | 0.034475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5606-22_0_4_line_89 |  | 84 | 95 | 0.0083533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5606-22_0_4_line_90 |  | 85 | 94 | 0.00014678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5606-22_0_4_line_91 |  | 87 | 88 | 0.0056588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5606-22_0_4_line_92 |  | 87 | 89 | 0.010436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5606-22_0_4_line_93 |  | 89 | 90 | 0.0041767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5606-22_0_4_line_94 |  | 90 | 91 | 0.0084902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5606-22_0_4_line_95 |  | 91 | 92 | 0.011872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5606-22_0_4_line_96 |  | 91 | 93 | 0.019902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5606-22_0_4_line_97 |  | 92 | 127 | 0.019632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5606-22_0_4_line_98 |  | 92 | 128 | 0.022129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5606-22_0_4_line_99 |  | 93 | 124 | 0.025073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5606-22_0_4_line_100 |  | 95 | 130 | 0.0091052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5606-22_0_4_line_101 |  | 96 | 97 | 0.0021506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5606-22_0_4_line_102 |  | 96 | 98 | 0.013514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5606-22_0_4_line_103 |  | 97 | 99 | 0.0026889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5606-22_0_4_line_104 |  | 98 | 100 | 0.005663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5606-22_0_4_line_105 |  | 99 | 101 | 0.0029849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5606-22_0_4_line_106 |  | 100 | 102 | 0.0047283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5606-22_0_4_line_107 |  | 101 | 103 | 0.011576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5606-22_0_4_line_108 |  | 103 | 105 | 0.0026506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5606-22_0_4_line_109 |  | 104 | 105 | 0.0056734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5606-22_0_4_line_110 |  | 106 | 107 | 0.072876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5606-22_0_4_line_111 |  | 106 | 108 | 0.11603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5606-22_0_4_line_112 |  | 107 | 109 | 0.04363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5606-22_0_4_line_113 |  | 107 | 110 | 0.013336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5606-22_0_4_line_114 |  | 109 | 111 | 0.019773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5606-22_0_4_line_115 |  | 109 | 112 | 0.01948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5606-22_0_4_line_116 |  | 110 | 113 | 0.014204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5606-22_0_4_line_117 |  | 110 | 114 | 0.027373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5606-22_0_4_line_118 |  | 111 | 115 | 0.044817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5606-22_0_4_line_119 |  | 111 | 116 | 0.028702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5606-22_0_4_line_120 |  | 112 | 117 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5606-22_0_4_line_121 |  | 114 | 118 | 0.034787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5606-22_0_4_line_122 |  | 115 | 132 | 0.011051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5606-22_0_4_line_123 |  | 116 | 131 | 0.016797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5606-22_0_4_line_124 |  | 118 | 119 | 0.037032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
125 | LV_5606-22_0_4_line_125 |  | 118 | 120 | 0.021308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5606-22_0_4_line_126 |  | 119 | 121 | 0.028369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5606-22_0_4_line_127 |  | 119 | 122 | 0.019941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5606-22_0_4_line_128 |  | 120 | 123 | 0.010059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5606-22_0_4_line_129 |  | 121 | 133 | 0.018253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5606-22_0_4_line_130 |  | 122 | 125 | 0.01649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5606-22_0_4_line_131 |  | 123 | 134 | 0.019609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5606-22_0_4_line_132 |  | 123 | 135 | 0.013067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5606-22_0_4_line_133 |  | 124 | 125 | 0.0023339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5606-22_0_4_line_134 |  | 124 | 126 | 0.049959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5606-22_0_4_line_135 |  | 128 | 129 | 0.012905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5606-22_0_4_line_136 |  | 128 | 130 | 0.010605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5606-22_0_4_line_137 |  | 133 | 136 | 0.0013619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5606-22_0_4_line_138 |  | 135 | 137 | 0.060062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5606-22_0_4_line_139 |  | 135 | 138 | 0.017537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5606-22_0_4_line_140 |  | 137 | 139 | 0.023502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5606-22_0_4_line_141 |  | 138 | 140 | 0.031908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5606-22_0_4_line_142 |  | 139 | 144 | 0.0041655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5606-22_0_4_line_143 |  | 139 | 145 | 0.034016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5606-22_0_4_line_144 |  | 140 | 141 | 0.018231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5606-22_0_4_line_145 |  | 141 | 142 | 0.015604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5606-22_0_4_line_146 |  | 141 | 143 | 0.044722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_5606-22_0_4_line_147 |  | 142 | 146 | 0.024642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_5606-22_0_4_line_148 |  | 143 | 147 | 0.0027486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_5606-22_0_4_line_149 |  | 146 | 151 | 0.019989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_5606-22_0_4_line_150 |  | 146 | 152 | 0.05367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_5606-22_0_4_line_151 |  | 147 | 148 | 0.022512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_5606-22_0_4_line_152 |  | 147 | 149 | 0.014571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_5606-22_0_4_line_153 |  | 148 | 150 | 0.012721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_5606-22_0_4_line_154 |  | 151 | 154 | 0.027269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_5606-22_0_4_line_155 |  | 152 | 153 | 0.040542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_5606-22_0_4_line_156 |  | 156 | 157 | 0.052975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5606-22_0_4_trafo_85 | 0.63 MVA 20/0.4 kV | 158 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2542159.4671 | 1151191.2411 | 2542160.7816 | 1151203.8594 | 2542157.923 | 1151229.0337 | 2542157.6366 | 1151241.79
1 | 2542157.0637 | 1151162.8843 | 2542159.2509 | 1151189.1662 | 2542159.4671 | 1151191.2411
2 | 2542157.5202 | 1151246.9709 | 2542157.6366 | 1151241.79
3 | 2542160.7876 | 1151164.605 | 2542157.0637 | 1151162.8843
4 | 2542157.0637 | 1151162.8843 | 2542156.4882 | 1151157.3202 | 2542154.3579 | 1151130.8398
5 | 2542157.0637 | 1151162.8843 | 2542136.995 | 1151155.2178 | 2542102.1638 | 1151144.136 | 2542107.4417 | 1151167.7423 | 2542108.4716 | 1151174.258
6 | 2542159.0131 | 1151276.1039 | 2542157.0113 | 1151265.0951 | 2542157.1987 | 1151261.4357 | 2542157.3213 | 1151255.8316 | 2542157.5202 | 1151246.9709
7 | 2542160.7876 | 1151164.605 | 2542195.2818 | 1151180.5707 | 2542206.276 | 1151185.6566 | 2542213.516 | 1151187.4547
8 | 2542160.7876 | 1151164.605 | 2542163.7071 | 1151158.5181 | 2542172.4627 | 1151155.0876 | 2542189.49 | 1151150.557
9 | 2542108.4716 | 1151174.258 | 2542109.6164 | 1151181.5509 | 2542111.1582 | 1151203.5072
10 | 2542213.516 | 1151187.4547 | 2542219.6437 | 1151187.7182
11 | 2542213.516 | 1151187.4547 | 2542215.5795 | 1151191.3147 | 2542220.9777 | 1151201.1347
12 | 2542213.516 | 1151187.4547 | 2542206.276 | 1151185.6566 | 2542206.0646 | 1151188.4157 | 2542213.9734 | 1151222.2467
13 | 2542191.1893 | 1151150.1049 | 2542189.49 | 1151150.557
14 | 2542111.1582 | 1151203.5072 | 2542111.9294 | 1151214.4907 | 2542119.3872 | 1151230.1384 | 2542122.2075 | 1151240.0499 | 2542122.7418 | 1151254.886 | 2542117.6098 | 1151259.1711 | 2542108.5519 | 1151259.8809 | 2542102.3599 | 1151263.2867 | 2542081.7706 | 1151280.6214
15 | 2542219.6437 | 1151187.7182 | 2542218.2291 | 1151181.0949
16 | 2542219.6437 | 1151187.7182 | 2542237.2155 | 1151187.1713
17 | 2542221.6841 | 1151241.872 | 2542218.1759 | 1151225.8527 | 2542213.9734 | 1151222.2467
18 | 2542213.9734 | 1151222.2467 | 2542210.5675 | 1151223.2577 | 2542185.9405 | 1151223.6502 | 2542183.1851 | 1151223.6308
19 | 2542171.9318 | 1151223.5515 | 2542183.1851 | 1151223.6308
20 | 2542305.8222 | 1151200.2307 | 2542301.252 | 1151207.8897 | 2542298.6262 | 1151214.0189
21 | 2542288.4958 | 1151245.51 | 2542294.9534 | 1151222.5914 | 2542298.6262 | 1151214.0189
22 | 2542305.8222 | 1151200.2307 | 2542318.303 | 1151184.2691 | 2542320.5055 | 1151179.4342
23 | 2542305.8222 | 1151200.2307 | 2542313.4224 | 1151201.9698 | 2542341.1286 | 1151201.715
24 | 2542305.8222 | 1151200.2307 | 2542292.1164 | 1151194.1145 | 2542278.3441 | 1151189.0773 | 2542274.303 | 1151188.3807
25 | 2542288.4958 | 1151245.51 | 2542283.6207 | 1151242.9888
26 | 2542286.6772 | 1151251.9532 | 2542288.4958 | 1151245.51
27 | 2542320.5055 | 1151179.4342 | 2542309.9558 | 1151181.4699
28 | 2542320.5055 | 1151179.4342 | 2542325.2265 | 1151169.0945
29 | 2542341.1286 | 1151201.715 | 2542341.2052 | 1151209.6963
30 | 2542341.1286 | 1151201.715 | 2542348.251 | 1151201.6578
31 | 2542274.303 | 1151188.3807 | 2542273.4686 | 1151188.2369
32 | 2542286.6772 | 1151251.9532 | 2542265.3319 | 1151251.1799
33 | 2542285.0815 | 1151257.6271 | 2542286.6772 | 1151251.9532
34 | 2542325.2265 | 1151169.0945 | 2542319.4817 | 1151163.9358
35 | 2542327.106 | 1151164.9854 | 2542325.2265 | 1151169.0945
36 | 2542348.251 | 1151201.6578 | 2542353.3711 | 1151193.7156
37 | 2542348.251 | 1151201.6578 | 2542371.9587 | 1151201.4416 | 2542382.2942 | 1151198.6855 | 2542388.8792 | 1151194.424
38 | 2542262.7061 | 1151186.3816 | 2542273.4686 | 1151188.2369
39 | 2542285.0815 | 1151257.6271 | 2542284.4889 | 1151259.8673 | 2542282.3799 | 1151277.8389
40 | 2542285.0815 | 1151257.6271 | 2542295.2176 | 1151255.6954 | 2542299.8946 | 1151252.7561
41 | 2542327.106 | 1151164.9854 | 2542333.906 | 1151163.3304
42 | 2542327.106 | 1151164.9854 | 2542329.701 | 1151149.8525 | 2542333.1026 | 1151142.7938 | 2542343.24 | 1151128.9781 | 2542350.0294 | 1151100.5979
43 | 2542237.2155 | 1151187.1713 | 2542262.7061 | 1151186.3816
44 | 2542282.3799 | 1151277.8389 | 2542280.2675 | 1151295.8382 | 2542280.2959 | 1151297.163
45 | 2542307.3306 | 1151248.0828 | 2542299.8946 | 1151252.7561
46 | 2542307.3306 | 1151248.0828 | 2542322.3903 | 1151238.6183
47 | 2542329.1687 | 1151234.3583 | 2542322.3903 | 1151238.6183
48 | 2542278.8133 | 1151339.9392 | 2542277.2264 | 1151326.8284 | 2542280.6989 | 1151315.9781 | 2542280.2959 | 1151297.163
49 | 2542278.8133 | 1151339.9392 | 2542282.4045 | 1151369.6104
50 | 2542284.7182 | 1151392.4249 | 2542285.0218 | 1151387.2747 | 2542283.2206 | 1151376.3529 | 2542282.4045 | 1151369.6104
51 | 2542270.528 | 1151439.7197 | 2542282.5665 | 1151404.9411 | 2542283.9454 | 1151401.4704 | 2542284.7182 | 1151392.4249
52 | 2542294.4856 | 1151432.0523 | 2542276.5688 | 1151436.56 | 2542270.528 | 1151439.7197
53 | 2542270.528 | 1151439.7197 | 2542272.7723 | 1151444.0338 | 2542273.8164 | 1151454.4516 | 2542276.0634 | 1151464.6466 | 2542280.6247 | 1151476.0644
54 | 2542270.528 | 1151439.7197 | 2542263.4636 | 1151437.7865 | 2542255.8959 | 1151438.6736
55 | 2542132.664 | 1151382.9924 | 2542140.4446 | 1151383.5623 | 2542193.8288 | 1151396.578
56 | 2542193.8288 | 1151396.578 | 2542204.0256 | 1151442.4823 | 2542206.8873 | 1151442.3658 | 2542221.0271 | 1151441.7741
57 | 2542193.8288 | 1151396.578 | 2542192.473 | 1151392.8668 | 2542186.2679 | 1151363.7887 | 2542178.853 | 1151341.4036 | 2542172.7764 | 1151339.2497 | 2542163.4208 | 1151305.6054
58 | 2542132.664 | 1151382.9924 | 2542140.4446 | 1151383.5623 | 2542144.5137 | 1151386.8804 | 2542147.4395 | 1151391.0212
59 | 2542132.664 | 1151382.9924 | 2542119.4688 | 1151387.633 | 2542092.9084 | 1151392.1875
60 | 2542221.0271 | 1151441.7741 | 2542223.5964 | 1151441.6886
61 | 2542221.0271 | 1151441.7741 | 2542221.4241 | 1151451.1308 | 2542220.6964 | 1151461.7901
62 | 2542163.4208 | 1151305.6054 | 2542160.1358 | 1151293.7919
63 | 2542280.6247 | 1151476.0644 | 2542280.6247 | 1151476.0644 | 2542286.9957 | 1151485.7196 | 2542295.9423 | 1151498.8268
64 | 2542255.8959 | 1151438.6736 | 2542251.4654 | 1151439.193
65 | 2542237.2155 | 1151187.1713 | 2542233.6671 | 1151159.8751
66 | 2542147.4395 | 1151391.0212 | 2542158.8212 | 1151394.1244 | 2542162.8616 | 1151398.4434 | 2542164.6967 | 1151403.3062
67 | 2542092.9084 | 1151392.1875 | 2542070.2649 | 1151396.0703
68 | 2542232.7818 | 1151441.3831 | 2542223.5964 | 1151441.6886
69 | 2542217.7557 | 1151474.3229 | 2542217.7557 | 1151474.3229 | 2542220.6168 | 1151462.956 | 2542220.6964 | 1151461.7901
70 | 2542362.135 | 1151458.4398 | 2542362.2027 | 1151451.7003
71 | 2542369.5523 | 1151485.9612 | 2542364.0598 | 1151487.0699 | 2542364.2816 | 1151460.5759 | 2542363.4134 | 1151458.8833 | 2542362.135 | 1151458.4398
72 | 2542303.3721 | 1151519.8362 | 2542302.5695 | 1151513.7851 | 2542298.6883 | 1151502.8498 | 2542295.9423 | 1151498.8268
73 | 2542232.7818 | 1151441.3831 | 2542251.4654 | 1151439.193
74 | 2542233.6671 | 1151159.8751 | 2542233.0961 | 1151155.4828 | 2542230.3893 | 1151120.0957
75 | 2542217.7557 | 1151474.3229 | 2542214.1564 | 1151476.7477 | 2542212.5797 | 1151476.7797
76 | 2542242.5523 | 1151117.4767 | 2542230.1289 | 1151116.6905 | 2542230.3893 | 1151120.0957
77 | 2542038.3154 | 1151471.6767 | 2542040.4245 | 1151472.3842 | 2542064.1106 | 1151482.7726 | 2542073.3335 | 1151487.851
78 | 2542024.9964 | 1151467.2088 | 2542038.3154 | 1151471.6767
79 | 2542099.1493 | 1151503.6351 | 2542086.5723 | 1151495.1406 | 2542073.3335 | 1151487.851
80 | 2542024.9964 | 1151467.2088 | 2542010.9484 | 1151462.4965 | 2541991.8887 | 1151460.6793 | 2541976.5749 | 1151460.5048 | 2541974.1578 | 1151460.6879
81 | 2542024.9964 | 1151467.2088 | 2542029.9784 | 1151439.7452
82 | 2542099.1493 | 1151503.6351 | 2542110.2369 | 1151512.8778 | 2542115.545 | 1151517.926
83 | 2542099.1493 | 1151503.6351 | 2542107.8852 | 1151490.9981
84 | 2541961.6039 | 1151461.6388 | 2541974.1578 | 1151460.6879
85 | 2542029.9784 | 1151439.7452 | 2542027.9918 | 1151423.7903
86 | 2542115.545 | 1151517.926 | 2542126.4959 | 1151528.3406 | 2542130.561 | 1151531.4962
87 | 2542107.8852 | 1151490.9981 | 2542111.7755 | 1151485.3705 | 2542113.2979 | 1151472.4388
88 | 2541961.6039 | 1151461.6388 | 2541972.8772 | 1151471.0128 | 2541986.6723 | 1151485.2343
89 | 2542137.3242 | 1151536.3634 | 2542135.7754 | 1151535.5441 | 2542130.561 | 1151531.4962
90 | 2542113.2979 | 1151472.4388 | 2542113.3151 | 1151472.2931
91 | 2542172.8754 | 1151537.6782 | 2542167.2254 | 1151537.3627
92 | 2542172.8754 | 1151537.6782 | 2542183.2948 | 1151538.26
93 | 2542183.2948 | 1151538.26 | 2542187.4651 | 1151538.4928
94 | 2542189.525 | 1151545.9882 | 2542189.7105 | 1151540.539 | 2542187.4651 | 1151538.4928 | 2542187.4651 | 1151538.4928
95 | 2542177.6311 | 1151545.4467 | 2542189.525 | 1151545.9882
96 | 2542189.525 | 1151545.9882 | 2542209.3719 | 1151547.471
97 | 2542170.1014 | 1151562.9507 | 2542170.9243 | 1151555.1497 | 2542177.6311 | 1151545.4467
98 | 2542177.6311 | 1151545.4467 | 2542163.2094 | 1151544.6405 | 2542155.6045 | 1151543.1573
99 | 2542234.421 | 1151547.2351 | 2542214.5715 | 1151547.8595 | 2542209.3719 | 1151547.471
100 | 2542137.3242 | 1151536.3634 | 2542145.3725 | 1151540.6213
101 | 2542184.8618 | 1151477.3507 | 2542185.0193 | 1151477.3392 | 2542187.0116 | 1151477.2988
102 | 2542184.8618 | 1151477.3507 | 2542171.3842 | 1151478.3357
103 | 2542187.0116 | 1151477.2988 | 2542189.6999 | 1151477.2442
104 | 2542165.7362 | 1151478.7485 | 2542171.3842 | 1151478.3357
105 | 2542189.6999 | 1151477.2442 | 2542192.6842 | 1151477.1836
106 | 2542161.0205 | 1151479.0932 | 2542165.7362 | 1151478.7485
107 | 2542204.2574 | 1151476.9486 | 2542192.6842 | 1151477.1836
108 | 2542204.2574 | 1151476.9486 | 2542206.9075 | 1151476.8948
109 | 2542206.9075 | 1151476.8948 | 2542212.5797 | 1151476.7797
110 | 2542369.5523 | 1151485.9612 | 2542369.0029 | 1151451.8815 | 2542370.1473 | 1151427.9578 | 2542373.3089 | 1151425.4928 | 2542384.054 | 1151426.8633
111 | 2542384.054 | 1151426.8633 | 2542429.3103 | 1151320.0222
112 | 2542369.5523 | 1151485.9612 | 2542386.7626 | 1151485.4293 | 2542413.249 | 1151483.7635
113 | 2542356.5477 | 1151488.8651 | 2542358.4838 | 1151488.2685 | 2542359.2873 | 1151488.0273 | 2542364.0598 | 1151487.0699 | 2542369.5523 | 1151485.9612
114 | 2542413.249 | 1151483.7635 | 2542433.0771 | 1151484.0849
115 | 2542413.249 | 1151483.7635 | 2542412.8538 | 1151503.2391
116 | 2542356.5477 | 1151488.8651 | 2542358.2103 | 1151502.9679
117 | 2542356.5477 | 1151488.8651 | 2542346.9509 | 1151491.7698 | 2542331.2954 | 1151499.2394
118 | 2542463.1677 | 1151470.8676 | 2542464.1357 | 1151484.5879 | 2542443.4632 | 1151484.2523 | 2542433.0771 | 1151484.0849
119 | 2542433.0771 | 1151484.0849 | 2542433.2976 | 1151473.4549 | 2542432.5792 | 1151471.3718 | 2542431.2467 | 1151470.0728 | 2542429.3765 | 1151469.5459 | 2542417.3171 | 1151469.7916
120 | 2542412.6443 | 1151513.563 | 2542412.8538 | 1151503.2391
121 | 2542303.3721 | 1151519.8362 | 2542314.4798 | 1151510.4357 | 2542328.7366 | 1151500.4603 | 2542331.2954 | 1151499.2394
122 | 2542463.1677 | 1151470.8676 | 2542452.1212 | 1151471.191
123 | 2542400.5234 | 1151470.1337 | 2542417.3171 | 1151469.7916
124 | 2542272.4061 | 1151540.1443 | 2542286.5828 | 1151532.2373 | 2542303.3721 | 1151519.8362
125 | 2542303.3721 | 1151519.8362 | 2542306.4737 | 1151531.1236 | 2542308.973 | 1151540.3947
126 | 2542279.3696 | 1151567.5365 | 2542274.8703 | 1151545.7903 | 2542272.4061 | 1151540.1443
127 | 2542272.4061 | 1151540.1443 | 2542255.275 | 1151544.9113 | 2542253.1296 | 1151545.1504
128 | 2542311.5911 | 1151550.1068 | 2542308.973 | 1151540.3947
129 | 2542279.3696 | 1151567.5365 | 2542261.564 | 1151571.5532
130 | 2542236.7406 | 1151546.9766 | 2542253.1296 | 1151545.1504
131 | 2542306.7284 | 1151568.8413 | 2542307.2633 | 1151560.5984 | 2542311.5911 | 1151550.1068
132 | 2542315.6782 | 1151562.5187 | 2542311.5911 | 1151550.1068
133 | 2542234.421 | 1151547.2351 | 2542236.7406 | 1151546.9766
134 | 2542234.421 | 1151547.2351 | 2542235.4258 | 1151576.7079 | 2542232.2122 | 1151580.9299 | 2542217.2933 | 1151583.6386
135 | 2542155.6045 | 1151543.1573 | 2542156.27 | 1151548.5093 | 2542162.3048 | 1151552.9825
136 | 2542155.6045 | 1151543.1573 | 2542146.9613 | 1151541.4618 | 2542145.3725 | 1151540.6213
137 | 2542260.2355 | 1151571.8529 | 2542261.564 | 1151571.5532
138 | 2542315.6782 | 1151562.5187 | 2542327.8696 | 1151562.8686 | 2542363.7688 | 1151563.9583 | 2542375.7159 | 1151564.2185
139 | 2542315.6782 | 1151562.5187 | 2542313.3891 | 1151579.9055
140 | 2542399.212 | 1151564.7302 | 2542375.7159 | 1151564.2185
141 | 2542297.4742 | 1151607.4063 | 2542302.8816 | 1151600.6508 | 2542313.3891 | 1151579.9055
142 | 2542399.212 | 1151564.7302 | 2542403.3725 | 1151564.9358
143 | 2542399.212 | 1151564.7302 | 2542398.9469 | 1151570.7026 | 2542397.4929 | 1151593.562 | 2542393.5429 | 1151596.8389
144 | 2542297.4742 | 1151607.4063 | 2542290.8563 | 1151613.5953 | 2542282.88 | 1151618.1855
145 | 2542282.88 | 1151618.1855 | 2542267.333 | 1151619.5115
146 | 2542282.88 | 1151618.1855 | 2542287.7017 | 1151620.7739 | 2542299.9164 | 1151624.3586 | 2542308.451 | 1151623.554 | 2542319.1402 | 1151619.3381 | 2542324.5161 | 1151615.762
147 | 2542242.7802 | 1151621.6057 | 2542267.333 | 1151619.5115
148 | 2542326.8046 | 1151614.2396 | 2542324.5161 | 1151615.762
149 | 2542242.7802 | 1151621.6057 | 2542234.4939 | 1151615.4931 | 2542224.8363 | 1151616.3113
150 | 2542242.7802 | 1151621.6057 | 2542227.995 | 1151622.8706 | 2542209.1318 | 1151626.276 | 2542189.4526 | 1151628.6108
151 | 2542347.3426 | 1151605.4046 | 2542333.5996 | 1151609.7165 | 2542326.8046 | 1151614.2396
152 | 2542334.7425 | 1151626.4367 | 2542330.0299 | 1151620.0229 | 2542326.8046 | 1151614.2396
153 | 2542347.3426 | 1151605.4046 | 2542350.9194 | 1151597.4216 | 2542354.5179 | 1151595.7084
154 | 2542197.5786 | 1151616.4595 | 2542221.7637 | 1151616.5716 | 2542224.8363 | 1151616.3113
155 | 2542189.4526 | 1151628.6108 | 2542181.8306 | 1151626.1495 | 2542164.2131 | 1151620.2157 | 2542151.1274 | 1151615.4026
156 | 2542350.0294 | 1151100.5979 | 2542347.1079 | 1151100.1034 | 2542322.3157 | 1151094.5271 | 2542318.0833 | 1151092.6111 | 2542315.3974 | 1151092.6702 | 2542312.5743 | 1151096.8328 | 2542309.9498 | 1151108.8867

## bus_geodata
| x | y | coords
0 | 2542159.4671 | 1151191.2411
1 | 2542157.6366 | 1151241.79
2 | 2542157.0637 | 1151162.8843
3 | 2542157.5202 | 1151246.9709
4 | 2542160.7876 | 1151164.605
5 | 2542154.3579 | 1151130.8398
6 | 2542108.4716 | 1151174.258
7 | 2542159.0131 | 1151276.1039
8 | 2542213.516 | 1151187.4547
9 | 2542189.49 | 1151150.557
10 | 2542111.1582 | 1151203.5072
11 | 2542219.6437 | 1151187.7182
12 | 2542220.9777 | 1151201.1347
13 | 2542213.9734 | 1151222.2467
14 | 2542221.6841 | 1151241.872
15 | 2542183.1851 | 1151223.6308
16 | 2542191.1893 | 1151150.1049
17 | 2542081.7706 | 1151280.6214
18 | 2542298.6262 | 1151214.0189
19 | 2542305.8222 | 1151200.2307
20 | 2542288.4958 | 1151245.51
21 | 2542320.5055 | 1151179.4342
22 | 2542341.1286 | 1151201.715
23 | 2542274.303 | 1151188.3807
24 | 2542283.6207 | 1151242.9888
25 | 2542286.6772 | 1151251.9532
26 | 2542309.9558 | 1151181.4699
27 | 2542325.2265 | 1151169.0945
28 | 2542341.2052 | 1151209.6963
29 | 2542348.251 | 1151201.6578
30 | 2542273.4686 | 1151188.2369
31 | 2542265.3319 | 1151251.1799
32 | 2542285.0815 | 1151257.6271
33 | 2542319.4817 | 1151163.9358
34 | 2542327.106 | 1151164.9854
35 | 2542353.3711 | 1151193.7156
36 | 2542388.8792 | 1151194.424
37 | 2542262.7061 | 1151186.3816
38 | 2542282.3799 | 1151277.8389
39 | 2542299.8946 | 1151252.7561
40 | 2542322.3903 | 1151238.6183
41 | 2542307.3306 | 1151248.0828
42 | 2542329.1687 | 1151234.3583
43 | 2542280.2959 | 1151297.163
44 | 2542278.8133 | 1151339.9392
45 | 2542282.4045 | 1151369.6104
46 | 2542284.7182 | 1151392.4249
47 | 2542270.528 | 1151439.7197
48 | 2542193.8288 | 1151396.578
49 | 2542132.664 | 1151382.9924
50 | 2542221.0271 | 1151441.7741
51 | 2542163.4208 | 1151305.6054
52 | 2542294.4856 | 1151432.0523
53 | 2542280.6247 | 1151476.0644
54 | 2542255.8959 | 1151438.6736
55 | 2542171.9318 | 1151223.5515
56 | 2542218.2291 | 1151181.0949
57 | 2542237.2155 | 1151187.1713
58 | 2542147.4395 | 1151391.0212
59 | 2542092.9084 | 1151392.1875
60 | 2542164.6967 | 1151403.3062
61 | 2542223.5964 | 1151441.6886
62 | 2542220.6964 | 1151461.7901
63 | 2542160.1358 | 1151293.7919
64 | 2542362.2027 | 1151451.7003
65 | 2542362.135 | 1151458.4398
66 | 2542295.9423 | 1151498.8268
67 | 2542251.4654 | 1151439.193
68 | 2542233.6671 | 1151159.8751
69 | 2542070.2649 | 1151396.0703
70 | 2542232.7818 | 1151441.3831
71 | 2542217.7557 | 1151474.3229
72 | 2542242.5523 | 1151117.4767
73 | 2542230.3893 | 1151120.0957
74 | 2542038.3154 | 1151471.6767
75 | 2542073.3335 | 1151487.851
76 | 2542024.9964 | 1151467.2088
77 | 2542099.1493 | 1151503.6351
78 | 2541974.1578 | 1151460.6879
79 | 2542029.9784 | 1151439.7452
80 | 2542115.545 | 1151517.926
81 | 2542107.8852 | 1151490.9981
82 | 2541961.6039 | 1151461.6388
83 | 2542027.9918 | 1151423.7903
84 | 2542130.561 | 1151531.4962
85 | 2542113.2979 | 1151472.4388
86 | 2541986.6723 | 1151485.2343
87 | 2542172.8754 | 1151537.6782
88 | 2542167.2254 | 1151537.3627
89 | 2542183.2948 | 1151538.26
90 | 2542187.4651 | 1151538.4928
91 | 2542189.525 | 1151545.9882
92 | 2542177.6311 | 1151545.4467
93 | 2542209.3719 | 1151547.471
94 | 2542113.3151 | 1151472.2931
95 | 2542137.3242 | 1151536.3634
96 | 2542184.8618 | 1151477.3507
97 | 2542187.0116 | 1151477.2988
98 | 2542171.3842 | 1151478.3357
99 | 2542189.6999 | 1151477.2442
100 | 2542165.7362 | 1151478.7485
101 | 2542192.6842 | 1151477.1836
102 | 2542161.0205 | 1151479.0932
103 | 2542204.2574 | 1151476.9486
104 | 2542212.5797 | 1151476.7797
105 | 2542206.9075 | 1151476.8948
106 | 2542384.054 | 1151426.8633
107 | 2542369.5523 | 1151485.9612
108 | 2542429.3103 | 1151320.0222
109 | 2542413.249 | 1151483.7635
110 | 2542356.5477 | 1151488.8651
111 | 2542433.0771 | 1151484.0849
112 | 2542412.8538 | 1151503.2391
113 | 2542358.2103 | 1151502.9679
114 | 2542331.2954 | 1151499.2394
115 | 2542463.1677 | 1151470.8676
116 | 2542417.3171 | 1151469.7916
117 | 2542412.6443 | 1151513.563
118 | 2542303.3721 | 1151519.8362
119 | 2542272.4061 | 1151540.1443
120 | 2542308.973 | 1151540.3947
121 | 2542279.3696 | 1151567.5365
122 | 2542253.1296 | 1151545.1504
123 | 2542311.5911 | 1151550.1068
124 | 2542234.421 | 1151547.2351
125 | 2542236.7406 | 1151546.9766
126 | 2542217.2933 | 1151583.6386
127 | 2542170.1014 | 1151562.9507
128 | 2542155.6045 | 1151543.1573
129 | 2542162.3048 | 1151552.9825
130 | 2542145.3725 | 1151540.6213
131 | 2542400.5234 | 1151470.1337
132 | 2542452.1212 | 1151471.191
133 | 2542261.564 | 1151571.5532
134 | 2542306.7284 | 1151568.8413
135 | 2542315.6782 | 1151562.5187
136 | 2542260.2355 | 1151571.8529
137 | 2542375.7159 | 1151564.2185
138 | 2542313.3891 | 1151579.9055
139 | 2542399.212 | 1151564.7302
140 | 2542297.4742 | 1151607.4063
141 | 2542282.88 | 1151618.1855
142 | 2542267.333 | 1151619.5115
143 | 2542324.5161 | 1151615.762
144 | 2542403.3725 | 1151564.9358
145 | 2542393.5429 | 1151596.8389
146 | 2542242.7802 | 1151621.6057
147 | 2542326.8046 | 1151614.2396
148 | 2542347.3426 | 1151605.4046
149 | 2542334.7425 | 1151626.4367
150 | 2542354.5179 | 1151595.7084
151 | 2542224.8363 | 1151616.3113
152 | 2542189.4526 | 1151628.6108
153 | 2542151.1274 | 1151615.4026
154 | 2542197.5786 | 1151616.4595
155 | 2542333.906 | 1151163.3304
156 | 2542350.0294 | 1151100.5979
157 | 2542309.9498 | 1151108.8867
158 | 2542221.0271 | 1151441.7741

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1