## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5606-24_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5606-24_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5606-24_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5606-24_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5606-24_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5606-24_0_3_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_5606-24_0_3_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_5606-24_0_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_5606-24_0_3_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_5606-24_0_3_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_5606-24_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5606-24_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5606-24_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5606-24_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5606-24_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5606-24_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_5606-24_0_3_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_5606-24_0_3_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_5606-24_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_5606-24_0_3_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_5606-24_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_5606-24_0_3_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_5606-24_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_5606-24_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5606-24_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5606-24_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5606-24_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5606-24_0_3_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_5606-24_0_3_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_5606-24_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5606-24_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5606-24_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_5606-24_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5606-24_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5606-24_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_5606-24_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5606-24_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5606-24_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5606-24_0_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_5606-24_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5606-24_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5606-24_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5606-24_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5606-24_0_3_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_5606-24_0_3_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_5606-24_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5606-24_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5606-24_0_3_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_5606-24_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5606-24_0_3_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_5606-24_0_3_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_5606-24_0_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_5606-24_0_3_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_5606-24_0_3_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_5606-24_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_5606-24_0_3_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_5606-24_0_3_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_5606-24_0_3_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_5606-24_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_5606-24_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_5606-24_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_5606-24_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_5606-24_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_5606-24_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_5606-24_0_3_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_5606-24_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_5606-24_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_5606-24_0_3_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_5606-24_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5606-24_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_5606-24_0_3_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_5606-24_0_3_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_5606-24_0_3_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_5606-24_0_3_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_5606-24_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_5606-24_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5606-24_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_5606-24_0_3_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_5606-24_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_5606-24_0_3_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_5606-24_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_5606-24_0_3_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_5606-24_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_5606-24_0_3_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_5606-24_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_5606-24_0_3_node_81 | 0.4 | n |  | TRUE
86 | bus_MV_620_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5606-24_0_3_load_0 | 0 | 0.0048577 | 0.0012175 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5606-24_0_3_load_1 | 1 | 0.0048046 | 0.0012041 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5606-24_0_3_load_5 | 4 | 0.0016384 | 0.00041062 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5606-24_0_3_load_38 | 5 | 0.0065926 | 0.0016523 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5606-24_0_3_load_37 | 7 | 0.0056718 | 0.0014215 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5606-24_0_3_load_73 | 9 | 0.008435 | 0.002114 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5606-24_0_3_load_6 | 10 | 0.0041855 | 0.001049 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5606-24_0_3_load_7 | 11 | 0.0025245 | 0.0006327 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5606-24_0_3_load_8 | 12 | 0.0052109 | 0.001306 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5606-24_0_3_load_9 | 13 | 0.0042547 | 0.0010663 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5606-24_0_3_load_21 | 15 | 0.0033366 | 0.00083622 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5606-24_0_3_load_59 | 17 | 0.0021991 | 0.00055115 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5606-24_0_3_load_22 | 18 | 0.005486 | 0.0013749 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5606-24_0_3_load_74 | 19 | 0.0037976 | 0.00095176 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5606-24_0_3_load_11 | 22 | 0.0021424 | 0.00053694 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5606-24_0_3_load_15 | 26 | 0.0027775 | 0.00069612 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5606-24_0_3_load_85 | 27 | 0.0052205 | 0.0013084 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5606-24_0_3_load_86 | 28 | 0.002571 | 0.00064436 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5606-24_0_3_load_19 | 29 | 0.003154 | 0.00079048 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5606-24_0_3_load_20 | 30 | 0.012432 | 0.0031158 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5606-24_0_3_load_16 | 31 | 0.0037907 | 0.00095003 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5606-24_0_3_load_24 | 32 | 0.0027252 | 0.000683 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5606-24_0_3_load_17 | 33 | 0.0058685 | 0.0014708 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5606-24_0_3_load_18 | 34 | 0.001112 | 0.0002787 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5606-24_0_3_load_25 | 35 | 0.0087861 | 0.002202 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5606-24_0_3_load_23 | 36 | 0.0032013 | 0.00080233 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5606-24_0_3_load_26 | 37 | 0.0031662 | 0.00079352 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5606-24_0_3_load_46 | 38 | 0.0057939 | 0.0014521 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5606-24_0_3_load_27 | 39 | 0.0018489 | 0.00046338 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5606-24_0_3_load_28 | 40 | 0.0020707 | 0.00051898 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5606-24_0_3_load_30 | 41 | 0.0037636 | 0.00094325 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5606-24_0_3_load_32 | 42 | 0.0022234 | 0.00055723 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5606-24_0_3_load_76 | 43 | 0.0035133 | 0.00088051 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5606-24_0_3_load_33 | 45 | 0.0019963 | 0.00050031 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5606-24_0_3_load_34 | 46 | 0.0011439 | 0.00028668 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5606-24_0_3_load_87 | 47 | 0.0053553 | 0.0013422 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5606-24_0_3_load_62 | 49 | 0.0015656 | 0.00039238 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5606-24_0_3_load_60 | 50 | 0.0013381 | 0.00033535 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5606-24_0_3_load_63 | 51 | 0.0021974 | 0.00055073 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5606-24_0_3_load_83 | 53 | 0.0024702 | 0.0006191 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5606-24_0_3_load_50 | 54 | 0.0015123 | 0.00037902 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5606-24_0_3_load_84 | 55 | 0.0013929 | 0.00034909 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5606-24_0_3_load_61 | 56 | 0.0011598 | 0.00029068 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5606-24_0_3_load_72 | 57 | 0.025231 | 0.0063235 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5606-24_0_3_load_40 | 58 | 0.017965 | 0.0045025 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5606-24_0_3_load_41 | 59 | 0.0027998 | 0.0007017 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5606-24_0_3_load_43 | 61 | 0.0089688 | 0.0022478 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5606-24_0_3_load_45 | 63 | 0.0071395 | 0.0017893 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5606-24_0_3_load_52 | 65 | 0.0019458 | 0.00048765 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5606-24_0_3_load_51 | 66 | 0.0019651 | 0.00049249 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5606-24_0_3_load_47 | 67 | 0.0046431 | 0.0011637 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5606-24_0_3_load_66 | 68 | 0.0020139 | 0.00050474 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5606-24_0_3_load_53 | 69 | 0.001205 | 0.000302 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5606-24_0_3_load_56 | 70 | 0.008319 | 0.0020849 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5606-24_0_3_load_54 | 72 | 0.0022048 | 0.00055257 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5606-24_0_3_load_55 | 73 | 0.0033199 | 0.00083205 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5606-24_0_3_load_71 | 75 | 0.0069305 | 0.001737 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5606-24_0_3_load_67 | 76 | 0.0055674 | 0.0013953 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5606-24_0_3_load_58 | 77 | 0.0055807 | 0.0013987 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5606-24_0_3_load_64 | 78 | 0.0052684 | 0.0013204 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5606-24_0_3_load_80 | 79 | 0.0020141 | 0.00050477 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5606-24_0_3_load_78 | 80 | 0.0090025 | 0.0022562 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5606-24_0_3_load_75 | 82 | 0.022646 | 0.0056755 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5606-24_0_3_load_82 | 83 | 0.01012 | 0.0025364 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5606-24_0_3_load_79 | 84 | 0.0020141 | 0.00050477 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5606-24_0_3_load_81 | 85 | 0.0027331 | 0.00068499 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5606-24_0_3_line_0 |  | 0 | 1 | 0.021874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5606-24_0_3_line_1 |  | 0 | 2 | 0.039209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5606-24_0_3_line_2 |  | 2 | 3 | 0.050581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5606-24_0_3_line_3 |  | 2 | 4 | 0.011407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5606-24_0_3_line_4 |  | 3 | 5 | 0.005324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5606-24_0_3_line_5 |  | 3 | 6 | 0.02956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5606-24_0_3_line_6 |  | 3 | 7 | 0.020049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5606-24_0_3_line_7 |  | 6 | 8 | 0.040293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5606-24_0_3_line_8 |  | 6 | 9 | 0.037343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5606-24_0_3_line_9 |  | 8 | 53 | 0.046485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5606-24_0_3_line_10 |  | 8 | 54 | 0.032839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5606-24_0_3_line_11 |  | 9 | 57 | 0.035057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5606-24_0_3_line_12 |  | 10 | 11 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5606-24_0_3_line_13 |  | 10 | 12 | 0.0218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5606-24_0_3_line_14 |  | 11 | 13 | 0.026355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5606-24_0_3_line_15 |  | 12 | 14 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5606-24_0_3_line_16 |  | 13 | 15 | 0.011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5606-24_0_3_line_17 |  | 14 | 16 | 0.009437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5606-24_0_3_line_18 |  | 14 | 17 | 0.023928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5606-24_0_3_line_19 |  | 15 | 18 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5606-24_0_3_line_20 |  | 16 | 19 | 0.062026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5606-24_0_3_line_21 |  | 16 | 20 | 0.004546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5606-24_0_3_line_22 |  | 17 | 21 | 0.014497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5606-24_0_3_line_23 |  | 18 | 36 | 0.009049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5606-24_0_3_line_24 |  | 19 | 44 | 0.032374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5606-24_0_3_line_25 |  | 20 | 41 | 0.060138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5606-24_0_3_line_26 |  | 20 | 42 | 0.026066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5606-24_0_3_line_27 |  | 20 | 39 | 0.028644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5606-24_0_3_line_28 |  | 21 | 70 | 0.03501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5606-24_0_3_line_29 |  | 21 | 38 | 0.010224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5606-24_0_3_line_30 |  | 22 | 23 | 0.010927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5606-24_0_3_line_31 |  | 23 | 24 | 0.022818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5606-24_0_3_line_32 |  | 23 | 25 | 0.025987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5606-24_0_3_line_33 |  | 23 | 26 | 0.025942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5606-24_0_3_line_34 |  | 24 | 27 | 0.009221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5606-24_0_3_line_35 |  | 24 | 28 | 0.029474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5606-24_0_3_line_36 |  | 25 | 29 | 0.021542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5606-24_0_3_line_37 |  | 25 | 30 | 0.03363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5606-24_0_3_line_38 |  | 25 | 31 | 0.018833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5606-24_0_3_line_39 |  | 30 | 32 | 0.0046341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5606-24_0_3_line_40 |  | 31 | 33 | 0.0045829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5606-24_0_3_line_41 |  | 32 | 35 | 0.016636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5606-24_0_3_line_42 |  | 33 | 34 | 0.017364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5606-24_0_3_line_43 |  | 35 | 37 | 0.011719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5606-24_0_3_line_44 |  | 37 | 38 | 0.027729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5606-24_0_3_line_45 |  | 39 | 40 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5606-24_0_3_line_46 |  | 42 | 43 | 0.013313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5606-24_0_3_line_47 |  | 44 | 82 | 0.013226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5606-24_0_3_line_48 |  | 44 | 81 | 0.01125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5606-24_0_3_line_49 |  | 45 | 46 | 0.070089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5606-24_0_3_line_50 |  | 45 | 47 | 0.04009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5606-24_0_3_line_51 |  | 46 | 48 | 0.020013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5606-24_0_3_line_52 |  | 48 | 49 | 0.036935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5606-24_0_3_line_53 |  | 48 | 50 | 0.012014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5606-24_0_3_line_54 |  | 49 | 51 | 0.016409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5606-24_0_3_line_55 |  | 50 | 52 | 0.0064378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5606-24_0_3_line_56 |  | 51 | 78 | 0.033454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5606-24_0_3_line_57 |  | 52 | 56 | 0.020798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5606-24_0_3_line_58 |  | 52 | 71 | 0.039257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5606-24_0_3_line_59 |  | 53 | 83 | 0.036769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5606-24_0_3_line_60 |  | 54 | 71 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5606-24_0_3_line_61 |  | 55 | 56 | 0.0044572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5606-24_0_3_line_62 |  | 57 | 75 | 0.068258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5606-24_0_3_line_63 |  | 58 | 59 | 0.010961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5606-24_0_3_line_64 |  | 58 | 60 | 0.068533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5606-24_0_3_line_65 |  | 59 | 61 | 0.039161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5606-24_0_3_line_66 |  | 60 | 62 | 0.017665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5606-24_0_3_line_67 |  | 60 | 63 | 0.020034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5606-24_0_3_line_68 |  | 61 | 64 | 0.020025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5606-24_0_3_line_69 |  | 62 | 65 | 0.013016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5606-24_0_3_line_70 |  | 62 | 66 | 0.041372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5606-24_0_3_line_71 |  | 63 | 67 | 0.004783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5606-24_0_3_line_72 |  | 64 | 68 | 0.043322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5606-24_0_3_line_73 |  | 65 | 69 | 0.0048723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5606-24_0_3_line_74 |  | 68 | 79 | 0.050433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5606-24_0_3_line_75 |  | 69 | 72 | 0.045402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5606-24_0_3_line_76 |  | 70 | 77 | 0.0051511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5606-24_0_3_line_77 |  | 72 | 73 | 0.015972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5606-24_0_3_line_78 |  | 73 | 74 | 0.018559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5606-24_0_3_line_79 |  | 74 | 75 | 0.019213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_5606-24_0_3_line_80 |  | 74 | 76 | 0.026944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_5606-24_0_3_line_81 |  | 76 | 81 | 0.017342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_5606-24_0_3_line_82 |  | 79 | 80 | 0.059963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5606-24_0_3_line_83 |  | 80 | 84 | 0.010262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5606-24_0_3_line_84 |  | 83 | 85 | 0.026553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5606-24_0_3_trafo_73 | 0.63 MVA 20/0.4 kV | 86 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2542868.7838 | 1151733.7927 | 2542890.5602 | 1151735.8575
1 | 2542848.3455 | 1151712.7788 | 2542850.7461 | 1151715.0238 | 2542851.0883 | 1151718.7337 | 2542848.665 | 1151725.3936 | 2542849.407 | 1151730.7783 | 2542856.1321 | 1151732.5931 | 2542868.7838 | 1151733.7927
2 | 2542848.3455 | 1151712.7788 | 2542842.0268 | 1151723.0332 | 2542829.4298 | 1151721.9524 | 2542804.6046 | 1151714.2066
3 | 2542848.3455 | 1151712.7788 | 2542846.5102 | 1151711.062 | 2542841.4626 | 1151711.3212 | 2542838.8448 | 1151714.13
4 | 2542806.037 | 1151709.0791 | 2542804.6046 | 1151714.2066
5 | 2542789.0288 | 1151730.7747 | 2542798.5588 | 1151732.963 | 2542803.4212 | 1151720.499 | 2542804.6046 | 1151714.2066
6 | 2542804.6046 | 1151714.2066 | 2542785.2719 | 1151708.895
7 | 2542789.0288 | 1151730.7747 | 2542778.6469 | 1151764.0469 | 2542775.3496 | 1151768.3806
8 | 2542789.0288 | 1151730.7747 | 2542753.0099 | 1151720.9204
9 | 2542775.3496 | 1151768.3806 | 2542766.6469 | 1151766.8181 | 2542763.3119 | 1151767.1945 | 2542760.2537 | 1151770.0363 | 2542753.8094 | 1151786.4175 | 2542742.0993 | 1151782.0198
10 | 2542775.3496 | 1151768.3806 | 2542772.189 | 1151770.9454 | 2542760.5248 | 1151797.243
11 | 2542719.1952 | 1151711.6691 | 2542753.0099 | 1151720.9204
12 | 2542792.0257 | 1151579.2666 | 2542798.3823 | 1151581.3837 | 2542802.2012 | 1151582.3969
13 | 2542792.0257 | 1151579.2666 | 2542785.0776 | 1151576.9524 | 2542771.5354 | 1151571.8346
14 | 2542802.2012 | 1151582.3969 | 2542814.1175 | 1151585.5585 | 2542828.1088 | 1151586.5494
15 | 2542749.0671 | 1151563.3435 | 2542771.5354 | 1151571.8346
16 | 2542839.447 | 1151587.3861 | 2542830.0309 | 1151586.6856 | 2542828.1088 | 1151586.5494
17 | 2542749.0671 | 1151563.3435 | 2542753.1536 | 1151554.8334
18 | 2542749.0671 | 1151563.3435 | 2542738.1196 | 1151583.1806 | 2542738.1397 | 1151584.4513
19 | 2542839.447 | 1151587.3861 | 2542852.3417 | 1151588.3454
20 | 2542753.1536 | 1151554.8334 | 2542746.4578 | 1151555.3085 | 2542702.8879 | 1151583.6498 | 2542700.874 | 1151586.3098
21 | 2542753.5402 | 1151550.305 | 2542753.1536 | 1151554.8334
22 | 2542741.2578 | 1151598.3921 | 2542738.2349 | 1151590.45 | 2542738.1397 | 1151584.4513
23 | 2542861.3658 | 1151589.0167 | 2542852.3417 | 1151588.3454
24 | 2542678.7037 | 1151608.5825 | 2542686.084 | 1151605.844 | 2542700.874 | 1151586.3098
25 | 2542753.5402 | 1151550.305 | 2542751.5145 | 1151545.5218 | 2542753.8226 | 1151540.4638 | 2542756.0236 | 1151532.2273 | 2542753.0553 | 1151525.1851 | 2542746.4592 | 1151517.5995 | 2542733.5967 | 1151508.0391 | 2542727.3827 | 1151504.5277
26 | 2542753.5402 | 1151550.305 | 2542744.0171 | 1151547.2497 | 2542735.561 | 1151551.4769 | 2542729.3383 | 1151549.2461
27 | 2542753.5402 | 1151550.305 | 2542756.9303 | 1151542.0017 | 2542762.0306 | 1151524.6994 | 2542761.7148 | 1151523.093
28 | 2542741.2578 | 1151598.3921 | 2542731.9151 | 1151601.3827 | 2542728.5308 | 1151602.2265 | 2542725.0564 | 1151605.7059 | 2542724.6791 | 1151610.4009 | 2542727.4038 | 1151616.0446 | 2542732.6866 | 1151618.4826
29 | 2542741.2578 | 1151598.3921 | 2542750.6933 | 1151602.3283
30 | 2542863.179 | 1151644.757 | 2542865.5804 | 1151642.244 | 2542867.8871 | 1151635.159
31 | 2542884.2995 | 1151653.5388 | 2542863.179 | 1151644.757
32 | 2542838.5759 | 1151636.1863 | 2542863.179 | 1151644.757
33 | 2542858.1889 | 1151669.64 | 2542862.3599 | 1151657.894 | 2542864.2736 | 1151649.2935 | 2542863.179 | 1151644.757
34 | 2542884.2995 | 1151653.5388 | 2542881.274 | 1151662.25
35 | 2542884.2995 | 1151653.5388 | 2542902.8803 | 1151660.7773 | 2542903.5948 | 1151665.7065 | 2542902.3783 | 1151670.1426
36 | 2542838.5759 | 1151636.1863 | 2542840.1003 | 1151642.3306 | 2542834.7944 | 1151656.5887
37 | 2542838.5759 | 1151636.1863 | 2542819.345 | 1151628.3872 | 2542806.909 | 1151625.0433
38 | 2542838.5759 | 1151636.1863 | 2542837.2329 | 1151628.9396 | 2542840.3699 | 1151617.9144
39 | 2542802.4339 | 1151623.84 | 2542806.909 | 1151625.0433
40 | 2542840.3699 | 1151617.9144 | 2542841.624 | 1151613.5064
41 | 2542802.4339 | 1151623.84 | 2542799.1003 | 1151622.9436 | 2542786.823 | 1151618.1378
42 | 2542833.3147 | 1151601.8958 | 2542840.3581 | 1151604.0744 | 2542842.6247 | 1151609.9894 | 2542841.624 | 1151613.5064
43 | 2542786.823 | 1151618.1378 | 2542781.3278 | 1151615.9867 | 2542776.0429 | 1151613.555
44 | 2542750.6933 | 1151602.3283 | 2542760.8764 | 1151606.5764 | 2542776.0429 | 1151613.555
45 | 2542761.7148 | 1151523.093 | 2542760.6191 | 1151517.5201 | 2542757.03 | 1151506.2333
46 | 2542728.5168 | 1151536.3359 | 2542727.5788 | 1151545.0272 | 2542729.3383 | 1151549.2461
47 | 2542678.7037 | 1151608.5825 | 2542685.0453 | 1151612.8132 | 2542686.1033 | 1151618.3283
48 | 2542678.7037 | 1151608.5825 | 2542668.5739 | 1151613.5373
49 | 2542861.1288 | 1151907.7636 | 2542855.934 | 1151904.6535 | 2542845.9023 | 1151894.0655 | 2542842.4055 | 1151887.9065 | 2542841.0404 | 1151881.5494 | 2542838.9439 | 1151877.3783 | 2542818.5506 | 1151853.7715
50 | 2542861.1288 | 1151907.7636 | 2542892.4411 | 1151882.7283
51 | 2542804.3789 | 1151839.6646 | 2542815.578 | 1151850.3305 | 2542818.5506 | 1151853.7715
52 | 2542804.3789 | 1151839.6646 | 2542805.3945 | 1151851.2167 | 2542807.8721 | 1151862.3657 | 2542807.9117 | 1151876.283
53 | 2542804.3789 | 1151839.6646 | 2542794.5784 | 1151832.7149
54 | 2542807.9117 | 1151876.283 | 2542807.9585 | 1151892.6915
55 | 2542789.3269 | 1151828.991 | 2542794.5784 | 1151832.7149
56 | 2542820.1648 | 1151915.3771 | 2542810.788 | 1151915.5442 | 2542808.0164 | 1151913.0136 | 2542807.9585 | 1151892.6915
57 | 2542789.3269 | 1151828.991 | 2542804.958 | 1151817.4584 | 2542805.9449 | 1151816.5036
58 | 2542789.3269 | 1151828.991 | 2542777.9887 | 1151822.262 | 2542758.4368 | 1151814.5551 | 2542753.5106 | 1151813.0568
59 | 2542707.6775 | 1151769.0928 | 2542742.0993 | 1151782.0198
60 | 2542753.5106 | 1151813.0568 | 2542760.5248 | 1151797.243
61 | 2542805.9449 | 1151816.5036 | 2542809.1483 | 1151813.4044
62 | 2542674.6675 | 1151671.6261 | 2542677.2848 | 1151690.751 | 2542679.6002 | 1151696.1207 | 2542684.2693 | 1151700.4341 | 2542696.7127 | 1151705.5182 | 2542719.1952 | 1151711.6691
63 | 2542592.4737 | 1151791.0339 | 2542598.7449 | 1151800.0234
64 | 2542619.4775 | 1151757.4714 | 2542583.9397 | 1151763.5473 | 2542580.0534 | 1151768.8761 | 2542580.7726 | 1151774.261 | 2542592.4737 | 1151791.0339
65 | 2542619.2504 | 1151833.2682 | 2542612.6138 | 1151819.9037 | 2542598.7449 | 1151800.0234
66 | 2542619.4775 | 1151757.4714 | 2542625.6435 | 1151740.9149
67 | 2542619.4775 | 1151757.4714 | 2542636.7763 | 1151767.5765
68 | 2542630.3438 | 1151849.7837 | 2542623.0918 | 1151841.0038 | 2542619.2504 | 1151833.2682
69 | 2542625.6435 | 1151740.9149 | 2542629.9276 | 1151728.6244
70 | 2542625.6435 | 1151740.9149 | 2542600.079 | 1151735.3337 | 2542585.162 | 1151734.0421 | 2542584.9295 | 1151734.0284
71 | 2542640.9063 | 1151769.989 | 2542636.7763 | 1151767.5765
72 | 2542630.3438 | 1151849.7837 | 2542668.0402 | 1151848.8014 | 2542673.6486 | 1151848.5856
73 | 2542631.5314 | 1151724.0237 | 2542629.9276 | 1151728.6244
74 | 2542673.6486 | 1151848.5856 | 2542679.5634 | 1151848.358 | 2542689.6751 | 1151851.1964 | 2542701.5709 | 1151863.2784 | 2542713.133 | 1151875.8176
75 | 2542631.5314 | 1151724.0237 | 2542634.0923 | 1151716.6769 | 2542646.1314 | 1151685.0229 | 2542647.771 | 1151681.6439
76 | 2542737.3637 | 1151620.6411 | 2542732.6866 | 1151618.4826
77 | 2542655.1908 | 1151667.5806 | 2542653.9519 | 1151668.9063 | 2542647.771 | 1151681.6439
78 | 2542667.8627 | 1151654.0213 | 2542655.1908 | 1151667.5806
79 | 2542667.8627 | 1151654.0213 | 2542671.5586 | 1151659.3 | 2542673.9436 | 1151666.3365 | 2542674.6675 | 1151671.6261
80 | 2542667.8627 | 1151654.0213 | 2542672.6698 | 1151646.2491 | 2542674.8867 | 1151641.303 | 2542675.9814 | 1151636.1788 | 2542675.8114 | 1151630.4218 | 2542675.5788 | 1151629.0557
81 | 2542668.5739 | 1151613.5373 | 2542672.2982 | 1151618.56 | 2542674.6812 | 1151623.7845 | 2542675.5788 | 1151629.0557
82 | 2542729.9502 | 1151926.7441 | 2542734.0241 | 1151924.9577 | 2542735.7769 | 1151919.6381 | 2542733.5637 | 1151912.0885 | 2542720.8573 | 1151884.1947 | 2542713.133 | 1151875.8176
83 | 2542729.9502 | 1151926.7441 | 2542720.5524 | 1151930.8651
84 | 2542682.8192 | 1151759.7574 | 2542707.6775 | 1151769.0928

## bus_geodata
| x | y | coords
0 | 2542868.7838 | 1151733.7927
1 | 2542890.5602 | 1151735.8575
2 | 2542848.3455 | 1151712.7788
3 | 2542804.6046 | 1151714.2066
4 | 2542838.8448 | 1151714.13
5 | 2542806.037 | 1151709.0791
6 | 2542789.0288 | 1151730.7747
7 | 2542785.2719 | 1151708.895
8 | 2542775.3496 | 1151768.3806
9 | 2542753.0099 | 1151720.9204
10 | 2542792.0257 | 1151579.2666
11 | 2542802.2012 | 1151582.397
12 | 2542771.5354 | 1151571.8346
13 | 2542828.1088 | 1151586.5494
14 | 2542749.0671 | 1151563.3435
15 | 2542839.447 | 1151587.3861
16 | 2542753.1536 | 1151554.8334
17 | 2542738.1397 | 1151584.4513
18 | 2542852.3417 | 1151588.3454
19 | 2542700.874 | 1151586.3098
20 | 2542753.5402 | 1151550.305
21 | 2542741.2578 | 1151598.3921
22 | 2542867.8871 | 1151635.159
23 | 2542863.179 | 1151644.757
24 | 2542884.2995 | 1151653.5388
25 | 2542838.5759 | 1151636.1863
26 | 2542858.1889 | 1151669.64
27 | 2542881.274 | 1151662.25
28 | 2542902.3783 | 1151670.1426
29 | 2542834.7944 | 1151656.5887
30 | 2542806.909 | 1151625.0433
31 | 2542840.3699 | 1151617.9144
32 | 2542802.4339 | 1151623.84
33 | 2542841.624 | 1151613.5064
34 | 2542833.3147 | 1151601.8958
35 | 2542786.823 | 1151618.1378
36 | 2542861.3658 | 1151589.0167
37 | 2542776.0429 | 1151613.555
38 | 2542750.6933 | 1151602.3283
39 | 2542761.7148 | 1151523.093
40 | 2542757.03 | 1151506.2333
41 | 2542727.3827 | 1151504.5277
42 | 2542729.3383 | 1151549.2461
43 | 2542728.5168 | 1151536.3359
44 | 2542678.7037 | 1151608.5825
45 | 2542861.1288 | 1151907.7636
46 | 2542818.5506 | 1151853.7715
47 | 2542892.4411 | 1151882.7283
48 | 2542804.3789 | 1151839.6646
49 | 2542807.9117 | 1151876.283
50 | 2542794.5784 | 1151832.7149
51 | 2542807.9585 | 1151892.6915
52 | 2542789.3269 | 1151828.991
53 | 2542742.0993 | 1151782.0198
54 | 2542760.5248 | 1151797.243
55 | 2542809.1483 | 1151813.4044
56 | 2542805.9449 | 1151816.5036
57 | 2542719.1952 | 1151711.6691
58 | 2542592.4737 | 1151791.0339
59 | 2542598.7449 | 1151800.0234
60 | 2542619.4775 | 1151757.4714
61 | 2542619.2504 | 1151833.2682
62 | 2542625.6435 | 1151740.9149
63 | 2542636.7763 | 1151767.5765
64 | 2542630.3438 | 1151849.7837
65 | 2542629.9276 | 1151728.6244
66 | 2542584.9295 | 1151734.0284
67 | 2542640.9063 | 1151769.989
68 | 2542673.6486 | 1151848.5856
69 | 2542631.5314 | 1151724.0237
70 | 2542732.6866 | 1151618.4826
71 | 2542753.5106 | 1151813.0568
72 | 2542647.771 | 1151681.6439
73 | 2542655.1908 | 1151667.5806
74 | 2542667.8627 | 1151654.0213
75 | 2542674.6675 | 1151671.6261
76 | 2542675.5788 | 1151629.0557
77 | 2542737.3637 | 1151620.6411
78 | 2542820.1648 | 1151915.3771
79 | 2542713.133 | 1151875.8176
80 | 2542729.9502 | 1151926.7441
81 | 2542668.5739 | 1151613.5373
82 | 2542686.1033 | 1151618.3283
83 | 2542707.6775 | 1151769.0928
84 | 2542720.5524 | 1151930.8651
85 | 2542682.8192 | 1151759.7574
86 | 2542789.0288 | 1151730.7747

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1