## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5606-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5606-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5606-7_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5606-7_0_5_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_5606-7_0_5_node_41 | 0.4 | n |  | TRUE
5 | bus_LV_5606-7_0_5_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_5606-7_0_5_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_5606-7_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5606-7_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5606-7_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5606-7_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5606-7_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5606-7_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5606-7_0_5_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_5606-7_0_5_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_5606-7_0_5_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_5606-7_0_5_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_5606-7_0_5_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_5606-7_0_5_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_5606-7_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5606-7_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5606-7_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5606-7_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5606-7_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5606-7_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5606-7_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5606-7_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5606-7_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5606-7_0_5_node_111 | 0.4 | n |  | TRUE
29 | bus_LV_5606-7_0_5_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_5606-7_0_5_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_5606-7_0_5_node_110 | 0.4 | n |  | TRUE
32 | bus_LV_5606-7_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5606-7_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5606-7_0_5_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_5606-7_0_5_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_5606-7_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5606-7_0_5_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_5606-7_0_5_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_5606-7_0_5_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5606-7_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5606-7_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_5606-7_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_5606-7_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_5606-7_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_5606-7_0_5_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_5606-7_0_5_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_5606-7_0_5_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5606-7_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5606-7_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5606-7_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_5606-7_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_5606-7_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5606-7_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5606-7_0_5_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_5606-7_0_5_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_5606-7_0_5_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_5606-7_0_5_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_5606-7_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_5606-7_0_5_node_106 | 0.4 | n |  | TRUE
60 | bus_LV_5606-7_0_5_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_5606-7_0_5_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5606-7_0_5_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_5606-7_0_5_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_5606-7_0_5_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_5606-7_0_5_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_5606-7_0_5_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_5606-7_0_5_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_5606-7_0_5_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_5606-7_0_5_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_5606-7_0_5_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5606-7_0_5_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_5606-7_0_5_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_5606-7_0_5_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_5606-7_0_5_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_5606-7_0_5_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_5606-7_0_5_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_5606-7_0_5_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_5606-7_0_5_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_5606-7_0_5_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_5606-7_0_5_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_5606-7_0_5_node_56 | 0.4 | n |  | TRUE
82 | bus_LV_5606-7_0_5_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_5606-7_0_5_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_5606-7_0_5_node_107 | 0.4 | n |  | TRUE
85 | bus_LV_5606-7_0_5_node_108 | 0.4 | n |  | TRUE
86 | bus_LV_5606-7_0_5_node_97 | 0.4 | n |  | TRUE
87 | bus_LV_5606-7_0_5_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_5606-7_0_5_node_64 | 0.4 | n |  | TRUE
89 | bus_LV_5606-7_0_5_node_65 | 0.4 | n |  | TRUE
90 | bus_LV_5606-7_0_5_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_5606-7_0_5_node_68 | 0.4 | n |  | TRUE
92 | bus_LV_5606-7_0_5_node_105 | 0.4 | n |  | TRUE
93 | bus_LV_5606-7_0_5_node_104 | 0.4 | n |  | TRUE
94 | bus_LV_5606-7_0_5_node_72 | 0.4 | n |  | TRUE
95 | bus_LV_5606-7_0_5_node_74 | 0.4 | n |  | TRUE
96 | bus_LV_5606-7_0_5_node_75 | 0.4 | n |  | TRUE
97 | bus_LV_5606-7_0_5_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_5606-7_0_5_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_5606-7_0_5_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_5606-7_0_5_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_5606-7_0_5_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_5606-7_0_5_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_5606-7_0_5_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_5606-7_0_5_node_89 | 0.4 | n |  | TRUE
105 | bus_LV_5606-7_0_5_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_5606-7_0_5_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_5606-7_0_5_node_101 | 0.4 | n |  | TRUE
108 | bus_LV_5606-7_0_5_node_99 | 0.4 | n |  | TRUE
109 | bus_LV_5606-7_0_5_node_103 | 0.4 | n |  | TRUE
110 | bus_LV_5606-7_0_5_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_5606-7_0_5_node_113 | 0.4 | n |  | TRUE
112 | bus_LV_5606-7_0_5_node_114 | 0.4 | n |  | TRUE
113 | bus_MV_620_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5606-7_0_5_load_0 | 0 | 0.068066 | 0.017059 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5606-7_0_5_load_1 | 1 | 0.0038139 | 0.00095584 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5606-7_0_5_load_3 | 2 | 0.052544 | 0.013169 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5606-7_0_5_load_40 | 3 | 0.0028042 | 0.00070281 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5606-7_0_5_load_41 | 4 | 0.0027783 | 0.00069631 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5606-7_0_5_load_82 | 6 | 0.012652 | 0.0031709 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5606-7_0_5_load_4 | 7 | 0.0024704 | 0.00061913 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5606-7_0_5_load_5 | 8 | 0.0063883 | 0.0016011 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5606-7_0_5_load_8 | 11 | 0.004171 | 0.0010453 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5606-7_0_5_load_9 | 12 | 0.0054056 | 0.0013548 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5606-7_0_5_load_23 | 13 | 0.0012079 | 0.00030272 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5606-7_0_5_load_21 | 14 | 0.0029213 | 0.00073214 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5606-7_0_5_load_76 | 16 | 0.0027593 | 0.00069155 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5606-7_0_5_load_20 | 18 | 0.0031966 | 0.00080114 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5606-7_0_5_load_16 | 19 | 0.0057188 | 0.0014333 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5606-7_0_5_load_10 | 20 | 0.0017105 | 0.0004287 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5606-7_0_5_load_11 | 21 | 0.0019185 | 0.00048083 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5606-7_0_5_load_12 | 22 | 0.0025785 | 0.00064624 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5606-7_0_5_load_13 | 23 | 0.001446 | 0.00036241 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5606-7_0_5_load_18 | 25 | 0.0026375 | 0.00066102 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5606-7_0_5_load_15 | 26 | 0.0021194 | 0.00053118 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5606-7_0_5_load_19 | 27 | 0.0016787 | 0.00042073 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5606-7_0_5_load_111 | 28 | 0.0050966 | 0.0012773 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5606-7_0_5_load_73 | 29 | 0.0010203 | 0.00025571 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5606-7_0_5_load_94 | 30 | 0.0074531 | 0.0018679 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5606-7_0_5_load_110 | 31 | 0.0019063 | 0.00047775 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5606-7_0_5_load_24 | 32 | 0.0020391 | 0.00051104 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5606-7_0_5_load_25 | 33 | 0.0034679 | 0.00086913 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5606-7_0_5_load_49 | 34 | 0.0021143 | 0.00052989 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5606-7_0_5_load_61 | 35 | 0.0026297 | 0.00065907 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5606-7_0_5_load_32 | 36 | 0.0011917 | 0.00029866 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5606-7_0_5_load_48 | 37 | 0.0041043 | 0.0010286 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5606-7_0_5_load_62 | 38 | 0.0020838 | 0.00052225 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5606-7_0_5_load_26 | 39 | 0.0058379 | 0.0014631 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5606-7_0_5_load_27 | 40 | 0.012274 | 0.0030762 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5606-7_0_5_load_29 | 42 | 0.0024187 | 0.00060619 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5606-7_0_5_load_31 | 44 | 0.00088267 | 0.00022122 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5606-7_0_5_load_83 | 45 | 0.0057235 | 0.0014344 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5606-7_0_5_load_33 | 47 | 0.0023121 | 0.00057946 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5606-7_0_5_load_36 | 50 | 0.003393 | 0.00085036 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5606-7_0_5_load_37 | 51 | 0.010021 | 0.0025116 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5606-7_0_5_load_38 | 52 | 0.0037973 | 0.0009517 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5606-7_0_5_load_52 | 54 | 0.0029244 | 0.00073291 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5606-7_0_5_load_115 | 56 | 0.0067956 | 0.0017031 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5606-7_0_5_load_51 | 58 | 0.0018799 | 0.00047116 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5606-7_0_5_load_106 | 59 | 0.0062736 | 0.0015723 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5606-7_0_5_load_55 | 62 | 0.0026606 | 0.00066682 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5606-7_0_5_load_43 | 63 | 0.0016771 | 0.00042033 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5606-7_0_5_load_44 | 64 | 0.0018188 | 0.00045583 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5606-7_0_5_load_45 | 65 | 0.013663 | 0.0034242 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5606-7_0_5_load_46 | 66 | 0.0025404 | 0.00063668 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5606-7_0_5_load_70 | 67 | 0.0023958 | 0.00060043 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5606-7_0_5_load_69 | 68 | 0.0049739 | 0.0012466 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5606-7_0_5_load_47 | 69 | 0.0018826 | 0.00047182 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5606-7_0_5_load_71 | 70 | 0.0065975 | 0.0016535 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5606-7_0_5_load_67 | 71 | 0.0056953 | 0.0014274 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5606-7_0_5_load_92 | 72 | 0.0020876 | 0.00052321 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5606-7_0_5_load_93 | 73 | 0.0030629 | 0.00076765 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5606-7_0_5_load_50 | 74 | 0.0047834 | 0.0011988 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5606-7_0_5_load_53 | 75 | 0.0043972 | 0.001102 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5606-7_0_5_load_59 | 78 | 0.0035975 | 0.00090163 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5606-7_0_5_load_81 | 79 | 0.0019407 | 0.00048639 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5606-7_0_5_load_80 | 80 | 0.0061651 | 0.0015451 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5606-7_0_5_load_56 | 81 | 0.0061229 | 0.0015345 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5606-7_0_5_load_77 | 82 | 0.0040421 | 0.0010131 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5606-7_0_5_load_78 | 83 | 0.0020991 | 0.00052609 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5606-7_0_5_load_107 | 84 | 0.0045008 | 0.001128 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5606-7_0_5_load_108 | 85 | 0.0012175 | 0.00030512 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5606-7_0_5_load_97 | 86 | 0.0023798 | 0.00059643 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5606-7_0_5_load_63 | 87 | 0.0039363 | 0.00098654 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5606-7_0_5_load_64 | 88 | 0.0058807 | 0.0014738 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5606-7_0_5_load_65 | 89 | 0.0029006 | 0.00072696 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5606-7_0_5_load_66 | 90 | 0.011737 | 0.0029417 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5606-7_0_5_load_68 | 91 | 0.0073388 | 0.0018393 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5606-7_0_5_load_105 | 92 | 0.0024303 | 0.00060909 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5606-7_0_5_load_104 | 93 | 0.0029865 | 0.00074849 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5606-7_0_5_load_72 | 94 | 0.0053983 | 0.0013529 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5606-7_0_5_load_74 | 95 | 0.005243 | 0.001314 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5606-7_0_5_load_75 | 96 | 0.0088464 | 0.0022171 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5606-7_0_5_load_96 | 98 | 0.005826 | 0.0014601 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5606-7_0_5_load_98 | 99 | 0.0039502 | 0.00099002 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5606-7_0_5_load_102 | 101 | 0.0029372 | 0.00073614 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5606-7_0_5_load_86 | 102 | 0.0010469 | 0.00026238 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5606-7_0_5_load_89 | 104 | 0.0035438 | 0.00088817 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5606-7_0_5_load_91 | 105 | 0.0030829 | 0.00077265 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5606-7_0_5_load_101 | 107 | 0.0019154 | 0.00048005 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5606-7_0_5_load_99 | 108 | 0.0069678 | 0.0017463 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5606-7_0_5_load_103 | 109 | 0.0033096 | 0.00082945 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5606-7_0_5_load_113 | 111 | 0.0023784 | 0.00059608 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5606-7_0_5_load_114 | 112 | 0.0098782 | 0.0024757 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5606-7_0_5_line_0 |  | 0 | 1 | 0.048564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5606-7_0_5_line_1 |  | 1 | 2 | 0.0047109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5606-7_0_5_line_2 |  | 2 | 6 | 0.025943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5606-7_0_5_line_3 |  | 3 | 4 | 0.0075435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5606-7_0_5_line_4 |  | 3 | 5 | 0.047644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5606-7_0_5_line_5 |  | 3 | 6 | 0.16486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5606-7_0_5_line_6 |  | 4 | 63 | 0.016859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5606-7_0_5_line_7 |  | 5 | 64 | 0.012784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5606-7_0_5_line_8 |  | 5 | 65 | 0.004875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5606-7_0_5_line_9 |  | 7 | 8 | 0.024964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5606-7_0_5_line_10 |  | 7 | 9 | 0.017128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5606-7_0_5_line_11 |  | 8 | 10 | 0.024751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5606-7_0_5_line_12 |  | 9 | 11 | 0.026608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5606-7_0_5_line_13 |  | 9 | 12 | 0.046781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5606-7_0_5_line_14 |  | 10 | 13 | 0.011997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5606-7_0_5_line_15 |  | 10 | 14 | 0.045486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5606-7_0_5_line_16 |  | 11 | 15 | 0.016197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5606-7_0_5_line_17 |  | 13 | 16 | 0.0065519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5606-7_0_5_line_18 |  | 14 | 17 | 0.017226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5606-7_0_5_line_19 |  | 15 | 18 | 0.039478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5606-7_0_5_line_20 |  | 15 | 19 | 0.02385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5606-7_0_5_line_21 |  | 16 | 36 | 0.0068283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5606-7_0_5_line_22 |  | 17 | 32 | 0.049854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5606-7_0_5_line_23 |  | 17 | 33 | 0.023492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5606-7_0_5_line_24 |  | 18 | 28 | 0.013817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5606-7_0_5_line_25 |  | 19 | 26 | 0.056264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5606-7_0_5_line_26 |  | 20 | 21 | 0.015994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5606-7_0_5_line_27 |  | 20 | 22 | 0.014283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5606-7_0_5_line_28 |  | 21 | 23 | 0.0081914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5606-7_0_5_line_29 |  | 22 | 24 | 0.075111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5606-7_0_5_line_30 |  | 23 | 25 | 0.0077576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5606-7_0_5_line_31 |  | 24 | 26 | 0.024156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5606-7_0_5_line_32 |  | 25 | 27 | 0.0040169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5606-7_0_5_line_33 |  | 27 | 29 | 0.015077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5606-7_0_5_line_34 |  | 28 | 31 | 0.0017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5606-7_0_5_line_35 |  | 29 | 30 | 0.0066783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5606-7_0_5_line_36 |  | 30 | 93 | 0.00095824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5606-7_0_5_line_37 |  | 31 | 110 | 0.020172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5606-7_0_5_line_38 |  | 32 | 34 | 0.014194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5606-7_0_5_line_39 |  | 33 | 35 | 0.014877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5606-7_0_5_line_40 |  | 34 | 37 | 0.023333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5606-7_0_5_line_41 |  | 35 | 38 | 7.0253e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5606-7_0_5_line_42 |  | 36 | 44 | 0.011567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5606-7_0_5_line_43 |  | 37 | 74 | 0.0033312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5606-7_0_5_line_44 |  | 38 | 87 | 0.027001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5606-7_0_5_line_45 |  | 39 | 40 | 0.0074801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5606-7_0_5_line_46 |  | 39 | 41 | 0.045699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5606-7_0_5_line_47 |  | 40 | 42 | 0.04076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5606-7_0_5_line_48 |  | 41 | 43 | 0.049253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5606-7_0_5_line_49 |  | 42 | 44 | 0.0045088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5606-7_0_5_line_50 |  | 43 | 45 | 0.0019029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5606-7_0_5_line_51 |  | 45 | 46 | 0.080148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5606-7_0_5_line_52 |  | 46 | 100 | 0.06525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5606-7_0_5_line_53 |  | 47 | 48 | 0.0051164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5606-7_0_5_line_54 |  | 47 | 49 | 0.023912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5606-7_0_5_line_55 |  | 48 | 50 | 0.029262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5606-7_0_5_line_56 |  | 48 | 51 | 0.026975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5606-7_0_5_line_57 |  | 49 | 52 | 0.015421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5606-7_0_5_line_58 |  | 49 | 53 | 0.009895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5606-7_0_5_line_59 |  | 50 | 54 | 0.0011268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5606-7_0_5_line_60 |  | 51 | 55 | 0.038597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5606-7_0_5_line_61 |  | 53 | 56 | 0.005811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5606-7_0_5_line_62 |  | 53 | 57 | 0.028152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5606-7_0_5_line_63 |  | 54 | 58 | 0.013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5606-7_0_5_line_64 |  | 55 | 59 | 0.013473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5606-7_0_5_line_65 |  | 55 | 60 | 0.010914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5606-7_0_5_line_66 |  | 57 | 61 | 0.014771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5606-7_0_5_line_67 |  | 57 | 62 | 0.02037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5606-7_0_5_line_68 |  | 58 | 75 | 0.016439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5606-7_0_5_line_69 |  | 60 | 104 | 0.013173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5606-7_0_5_line_70 |  | 60 | 102 | 0.014966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5606-7_0_5_line_71 |  | 61 | 84 | 0.050798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5606-7_0_5_line_72 |  | 61 | 83 | 0.052912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5606-7_0_5_line_73 |  | 62 | 81 | 0.0046101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5606-7_0_5_line_74 |  | 63 | 66 | 0.0066269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5606-7_0_5_line_75 |  | 64 | 67 | 0.010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5606-7_0_5_line_76 |  | 65 | 68 | 0.0051502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_5606-7_0_5_line_77 |  | 66 | 69 | 0.0092613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5606-7_0_5_line_78 |  | 67 | 70 | 0.028349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5606-7_0_5_line_79 |  | 68 | 71 | 0.03428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5606-7_0_5_line_80 |  | 69 | 72 | 0.0037235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5606-7_0_5_line_81 |  | 70 | 94 | 0.0015804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5606-7_0_5_line_82 |  | 71 | 89 | 0.0089973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_5606-7_0_5_line_83 |  | 72 | 73 | 0.010975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5606-7_0_5_line_84 |  | 73 | 109 | 0.011435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5606-7_0_5_line_85 |  | 75 | 76 | 0.030234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5606-7_0_5_line_86 |  | 76 | 77 | 0.018598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5606-7_0_5_line_87 |  | 76 | 78 | 0.023166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5606-7_0_5_line_88 |  | 77 | 79 | 0.017285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5606-7_0_5_line_89 |  | 77 | 80 | 0.014922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5606-7_0_5_line_90 |  | 79 | 86 | 0.01818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5606-7_0_5_line_91 |  | 82 | 83 | 0.025568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5606-7_0_5_line_92 |  | 84 | 85 | 0.0036345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5606-7_0_5_line_93 |  | 86 | 99 | 0.0014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5606-7_0_5_line_94 |  | 88 | 89 | 0.0093232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_5606-7_0_5_line_95 |  | 88 | 90 | 0.0053294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_5606-7_0_5_line_96 |  | 90 | 91 | 0.017908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_5606-7_0_5_line_97 |  | 91 | 92 | 0.011032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_5606-7_0_5_line_98 |  | 92 | 93 | 0.015593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_5606-7_0_5_line_99 |  | 94 | 95 | 0.001394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5606-7_0_5_line_100 |  | 95 | 96 | 0.070697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5606-7_0_5_line_101 |  | 96 | 97 | 0.0022692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5606-7_0_5_line_102 |  | 97 | 98 | 0.013603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5606-7_0_5_line_103 |  | 99 | 109 | 0.01822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5606-7_0_5_line_104 |  | 100 | 101 | 0.023465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5606-7_0_5_line_105 |  | 102 | 103 | 0.042579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5606-7_0_5_line_106 |  | 103 | 105 | 0.015138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5606-7_0_5_line_107 |  | 104 | 106 | 0.019932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5606-7_0_5_line_108 |  | 106 | 107 | 0.016235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5606-7_0_5_line_109 |  | 106 | 108 | 0.042033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5606-7_0_5_line_110 |  | 110 | 111 | 0.014649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5606-7_0_5_line_111 |  | 110 | 112 | 0.013699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5606-7_0_5_trafo_70 | 0.63 MVA 20/0.4 kV | 113 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2541470.2746 | 1150800.0219 | 2541470.3633 | 1150800.0794 | 2541478.2116 | 1150803.5826 | 2541485.4224 | 1150804.6686 | 2541492.2054 | 1150804.4025 | 2541506.2548 | 1150803.0428 | 2541513.988 | 1150801.8225 | 2541517.6853 | 1150800.7874
1 | 2541517.6853 | 1150800.7874 | 2541522.2218 | 1150799.5173
2 | 2541522.2218 | 1150799.5173 | 2541522.7916 | 1150799.3578 | 2541535.8394 | 1150793.6834 | 2541542.6683 | 1150790.2374 | 2541545.4874 | 1150788.2083
3 | 2541643.4718 | 1150920.7949 | 2541650.6287 | 1150918.411
4 | 2541617.7927 | 1150959.187 | 2541628.8025 | 1150934.1667 | 2541635.4322 | 1150925.2309 | 2541643.4718 | 1150920.7949 | 2541643.4718 | 1150920.7949
5 | 2541643.4718 | 1150920.7949 | 2541545.4874 | 1150788.2083
6 | 2541666.6136 | 1150913.0535 | 2541662.9976 | 1150914.2909 | 2541650.6287 | 1150918.411
7 | 2541617.7927 | 1150959.187 | 2541623.3441 | 1150970.703
8 | 2541617.7927 | 1150959.187 | 2541615.4208 | 1150963.4461
9 | 2541627.0334 | 1151166.9197 | 2541640.459 | 1151176.5056 | 2541645.6034 | 1151183.2312
10 | 2541612.1977 | 1151158.3591 | 2541627.0334 | 1151166.9197 | 2541627.0334 | 1151166.9197
11 | 2541660.641 | 1151202.8905 | 2541645.6034 | 1151183.2312
12 | 2541612.1977 | 1151158.3591 | 2541603.4572 | 1151153.8304 | 2541596.3147 | 1151151.0317 | 2541587.3707 | 1151149.3918
13 | 2541566.9597 | 1151169.6268 | 2541594.3851 | 1151160.1997 | 2541612.1977 | 1151158.3591
14 | 2541660.641 | 1151202.8905 | 2541664.8414 | 1151209.4088 | 2541666.5945 | 1151213.272
15 | 2541660.641 | 1151202.8905 | 2541661.9713 | 1151197.6081 | 2541653.2697 | 1151183.6406 | 2541654.2841 | 1151178.2279 | 2541656.8918 | 1151174.067 | 2541661.163 | 1151172.8583 | 2541669.8198 | 1151171.7624
16 | 2541571.4397 | 1151146.4709 | 2541587.3707 | 1151149.3918
17 | 2541666.5945 | 1151213.272 | 2541669.3021 | 1151219.2383
18 | 2541687.0118 | 1151171.0066 | 2541673.8122 | 1151171.2569 | 2541669.8198 | 1151171.7624
19 | 2541571.4397 | 1151146.4709 | 2541573.6126 | 1151137.8562 | 2541570.7515 | 1151113.5822 | 2541574.4495 | 1151108.6658
20 | 2541571.4397 | 1151146.4709 | 2541554.0097 | 1151143.4497 | 2541547.866 | 1151143.002
21 | 2541672.1239 | 1151225.4563 | 2541669.3021 | 1151219.2383
22 | 2541687.0118 | 1151171.0066 | 2541683.7015 | 1151146.2587 | 2541679.4935 | 1151123.932 | 2541679.3927 | 1151121.7683
23 | 2541687.0118 | 1151171.0066 | 2541702.746 | 1151171.7099 | 2541710.4657 | 1151172.3021 | 2541710.4657 | 1151172.3021
24 | 2541587.9992 | 1151105.9617 | 2541574.4495 | 1151108.6658
25 | 2541492.3686 | 1151148.7074 | 2541513.014 | 1151143.4372 | 2541532.3413 | 1151141.8707 | 2541547.866 | 1151143.002
26 | 2541490.9614 | 1151070.068 | 2541503.9828 | 1151060.7808
27 | 2541490.9614 | 1151070.068 | 2541490.9614 | 1151070.068 | 2541482.4959 | 1151081.5716
28 | 2541510.6517 | 1151056.0243 | 2541503.9828 | 1151060.7808
29 | 2541468.692 | 1151152.6068 | 2541467.2058 | 1151128.4638 | 2541467.0537 | 1151111.2783 | 2541471.0742 | 1151099.2883 | 2541479.8785 | 1151085.1284 | 2541482.4959 | 1151081.5716
30 | 2541516.9674 | 1151051.5197 | 2541510.6517 | 1151056.0243
31 | 2541468.692 | 1151152.6068 | 2541477.4261 | 1151152.5217 | 2541492.3686 | 1151148.7074
32 | 2541516.9674 | 1151051.5197 | 2541517.9996 | 1151050.7835 | 2541520.2727 | 1151049.2375
33 | 2541520.2727 | 1151049.2375 | 2541532.7396 | 1151040.7583
34 | 2541589.7328 | 1151105.6157 | 2541589.7328 | 1151105.6157 | 2541587.9992 | 1151105.9617
35 | 2541538.2616 | 1151037.0025 | 2541532.7396 | 1151040.7583
36 | 2541538.2616 | 1151037.0025 | 2541539.054 | 1151036.4636
37 | 2541609.8432 | 1151104.0418 | 2541589.7328 | 1151105.6157
38 | 2541679.3927 | 1151121.7683 | 2541678.7327 | 1151107.5895
39 | 2541712.8267 | 1151157.6413 | 2541711.451 | 1151168.635 | 2541710.4657 | 1151172.3021
40 | 2541672.136 | 1151085.499 | 2541674.3557 | 1151088.852 | 2541678.5722 | 1151104.1415 | 2541678.7327 | 1151107.5895
41 | 2541712.8354 | 1151157.5716 | 2541712.8267 | 1151157.6413
42 | 2541676.9039 | 1151235.9894 | 2541672.1239 | 1151225.4563
43 | 2541670.2972 | 1151082.7214 | 2541672.136 | 1151085.499
44 | 2541716.1881 | 1151130.7799 | 2541712.8354 | 1151157.5716
45 | 2541690.9517 | 1151286.6488 | 2541689.6029 | 1151279.2914
46 | 2541699.0089 | 1151331.6318 | 2541692.5554 | 1151295.3972 | 2541690.9517 | 1151286.6488
47 | 2541678.7671 | 1151240.0952 | 2541681.422 | 1151245.9453 | 2541689.5487 | 1151278.9953 | 2541689.6029 | 1151279.2914
48 | 2541699.0089 | 1151331.6318 | 2541701.3649 | 1151343.4597 | 2541720.5745 | 1151311.612
49 | 2541678.7671 | 1151240.0952 | 2541676.9039 | 1151235.9894
50 | 2541720.5745 | 1151311.612 | 2541721.5113 | 1151309.9557
51 | 2541753.0654 | 1151236.4681 | 2541739.6574 | 1151273.0064 | 2541731.0635 | 1151293.0671 | 2541721.5113 | 1151309.9557
52 | 2541753.0654 | 1151236.4681 | 2541758.9959 | 1151226.6832 | 2541766.3038 | 1151217.2629 | 2541776.0243 | 1151208.8865 | 2541789.4693 | 1151201.4857 | 2541802.8928 | 1151198.2096
53 | 2541780.6697 | 1150989.5797 | 2541779.846 | 1150994.6293
54 | 2541775.9963 | 1151018.2291 | 2541779.846 | 1150994.6293
55 | 2541780.6697 | 1150989.5797 | 2541780.9906 | 1150960.319
56 | 2541780.6697 | 1150989.5797 | 2541807.5871 | 1150991.3405
57 | 2541775.9963 | 1151018.2291 | 2541791.4626 | 1151018.1794
58 | 2541775.9963 | 1151018.2291 | 2541774.4099 | 1151027.9942
59 | 2541781.0029 | 1150959.1922 | 2541780.9906 | 1150960.319
60 | 2541846.1015 | 1150993.8599 | 2541807.5871 | 1150991.3405
61 | 2541774.4099 | 1151027.9942 | 2541768.6163 | 1151027.361
62 | 2541769.8817 | 1151055.7751 | 2541774.4099 | 1151027.9942
63 | 2541781.1506 | 1150945.7283 | 2541781.0029 | 1150959.1922
64 | 2541846.1015 | 1150993.8599 | 2541846.8617 | 1150980.412
65 | 2541846.1015 | 1150993.8599 | 2541857.0234 | 1150994.5769
66 | 2541769.8817 | 1151055.7751 | 2541767.9281 | 1151070.413
67 | 2541769.8817 | 1151055.7751 | 2541790.2386 | 1151056.4943
68 | 2541781.1506 | 1150945.7283 | 2541781.3308 | 1150929.2905
69 | 2541857.0234 | 1150994.5769 | 2541870.1687 | 1150995.4363
70 | 2541857.0234 | 1150994.5769 | 2541856.5439 | 1151009.5351
71 | 2541767.9281 | 1151070.413 | 2541760.4373 | 1151062.5702 | 2541757.7441 | 1151053.1579 | 2541756.0597 | 1151049.639 | 2541752.7258 | 1151047.7925 | 2541748.7072 | 1151047.3535 | 2541744.9325 | 1151048.335 | 2541741.6467 | 1151051.4352 | 2541740.0331 | 1151055.2195 | 2541734.1917 | 1151055.86
72 | 2541767.9281 | 1151070.413 | 2541788.4189 | 1151119.1962
73 | 2541790.2386 | 1151056.4943 | 2541794.8458 | 1151056.6571
74 | 2541666.6136 | 1150913.0535 | 2541672.8835 | 1150910.9078
75 | 2541627.7728 | 1150979.8901 | 2541623.3441 | 1150970.703
76 | 2541615.4208 | 1150963.4461 | 2541612.915 | 1150967.9456
77 | 2541681.646 | 1150907.9092 | 2541672.8835 | 1150910.9078
78 | 2541627.7728 | 1150979.8901 | 2541627.7728 | 1150979.8901 | 2541633.6369 | 1151007.6264
79 | 2541593.9898 | 1150996.2875 | 2541598.1284 | 1150992.4958 | 2541608.468 | 1150975.9309 | 2541612.915 | 1150967.9456
80 | 2541681.646 | 1150907.9092 | 2541685.1689 | 1150906.7037
81 | 2541633.9638 | 1151009.1727 | 2541633.6369 | 1151007.6264
82 | 2541593.9898 | 1150996.2875 | 2541587.3557 | 1151002.3654
83 | 2541685.1689 | 1150906.7037 | 2541694.1582 | 1150903.6274 | 2541695.5994 | 1150903.3208
84 | 2541706.7842 | 1150900.9414 | 2541695.5994 | 1150903.3208
85 | 2541780.5222 | 1150899.0771 | 2541781.4318 | 1150920.0795 | 2541781.3308 | 1150929.2905
86 | 2541780.5222 | 1150899.0771 | 2541761.8724 | 1150899.3578
87 | 2541780.5222 | 1150899.0771 | 2541789.8609 | 1150894.8177 | 2541802.7616 | 1150894.654
88 | 2541761.8724 | 1150899.3578 | 2541744.5893 | 1150899.6044
89 | 2541761.8724 | 1150899.3578 | 2541762.4985 | 1150884.4485
90 | 2541744.5893 | 1150899.6044 | 2541726.4113 | 1150899.8637
91 | 2541788.4189 | 1151119.1962 | 2541813.802 | 1151122.2639
92 | 2541730.5789 | 1151056.2561 | 2541734.1917 | 1151055.86
93 | 2541726.4113 | 1150899.8637 | 2541724.9132 | 1150899.8851
94 | 2541580.2507 | 1151008.373 | 2541582.4177 | 1151006.8894 | 2541587.3557 | 1151002.3654
95 | 2541580.2507 | 1151008.373 | 2541575.8532 | 1151011.3837
96 | 2541561.0692 | 1151021.4901 | 2541564.4302 | 1151019.2041 | 2541575.8532 | 1151011.3837
97 | 2541561.0692 | 1151021.4901 | 2541551.9476 | 1151027.6941
98 | 2541539.054 | 1151036.4636 | 2541551.9476 | 1151027.6941
99 | 2541633.9638 | 1151009.1727 | 2541634.2522 | 1151010.5365
100 | 2541669.2273 | 1151053.7281 | 2541649.643 | 1151057.5416 | 2541645.31 | 1151054.7711 | 2541635.7619 | 1151017.6772 | 2541634.2522 | 1151010.5365
101 | 2541671.4546 | 1151053.2944 | 2541669.2273 | 1151053.7281
102 | 2541684.8466 | 1151050.6965 | 2541671.4546 | 1151053.2944
103 | 2541706.7842 | 1150900.9414 | 2541710.8037 | 1150900.0864 | 2541724.9132 | 1150899.8851
104 | 2541802.8928 | 1151198.2096 | 2541795.2858 | 1151189.4452 | 2541786.9784 | 1151186.0237 | 2541784.1165 | 1151185.7498
105 | 2541870.324 | 1151047.5767 | 2541869.6622 | 1151033.9202 | 2541868.6513 | 1151027.8045 | 2541858.38 | 1151016.5867 | 2541856.4456 | 1151012.6032 | 2541856.5439 | 1151009.5351
106 | 2541870.324 | 1151047.5767 | 2541856.8515 | 1151054.5551
107 | 2541890.058 | 1150996.7365 | 2541870.1687 | 1150995.4363
108 | 2541890.058 | 1150996.7365 | 2541906.2124 | 1150998.3569
109 | 2541890.058 | 1150996.7365 | 2541891.0474 | 1150981.5744 | 2541892.9984 | 1150971.3945 | 2541896.9823 | 1150966.6424 | 2541900.9554 | 1150963.947 | 2541906.414 | 1150964.3129
110 | 2541609.8432 | 1151104.0418 | 2541610.9447 | 1151100.4958 | 2541612.7223 | 1151096.2207 | 2541617.6346 | 1151092.2487
111 | 2541609.8432 | 1151104.0418 | 2541623.5529 | 1151104.9313

## bus_geodata
| x | y | coords
0 | 2541470.2746 | 1150800.0219
1 | 2541517.6853 | 1150800.7874
2 | 2541522.2218 | 1150799.5173
3 | 2541643.4718 | 1150920.7949
4 | 2541650.6287 | 1150918.411
5 | 2541617.7927 | 1150959.187
6 | 2541545.4874 | 1150788.2083
7 | 2541627.0334 | 1151166.9197
8 | 2541645.6034 | 1151183.2312
9 | 2541612.1977 | 1151158.3591
10 | 2541660.641 | 1151202.8905
11 | 2541587.3707 | 1151149.3918
12 | 2541566.9597 | 1151169.6268
13 | 2541666.5945 | 1151213.272
14 | 2541669.8198 | 1151171.7624
15 | 2541571.4397 | 1151146.4709
16 | 2541669.3021 | 1151219.2383
17 | 2541687.0118 | 1151171.0066
18 | 2541574.4495 | 1151108.6658
19 | 2541547.866 | 1151143.002
20 | 2541490.9614 | 1151070.068
21 | 2541503.9828 | 1151060.7808
22 | 2541482.4959 | 1151081.5716
23 | 2541510.6517 | 1151056.0243
24 | 2541468.692 | 1151152.6068
25 | 2541516.9674 | 1151051.5197
26 | 2541492.3686 | 1151148.7074
27 | 2541520.2727 | 1151049.2375
28 | 2541587.9992 | 1151105.9617
29 | 2541532.7396 | 1151040.7583
30 | 2541538.2616 | 1151037.0025
31 | 2541589.7328 | 1151105.6157
32 | 2541679.3927 | 1151121.7683
33 | 2541710.4657 | 1151172.3021
34 | 2541678.7327 | 1151107.5895
35 | 2541712.8267 | 1151157.6413
36 | 2541672.1239 | 1151225.4563
37 | 2541672.136 | 1151085.499
38 | 2541712.8354 | 1151157.5716
39 | 2541690.9517 | 1151286.6488
40 | 2541689.6029 | 1151279.2914
41 | 2541699.0089 | 1151331.6318
42 | 2541678.7671 | 1151240.0952
43 | 2541720.5745 | 1151311.612
44 | 2541676.9039 | 1151235.9894
45 | 2541721.5113 | 1151309.9557
46 | 2541753.0654 | 1151236.4681
47 | 2541779.846 | 1150994.6293
48 | 2541780.6697 | 1150989.5797
49 | 2541775.9963 | 1151018.2291
50 | 2541780.9906 | 1150960.319
51 | 2541807.5871 | 1150991.3405
52 | 2541791.4626 | 1151018.1794
53 | 2541774.4099 | 1151027.9942
54 | 2541781.0029 | 1150959.1922
55 | 2541846.1015 | 1150993.8599
56 | 2541768.6163 | 1151027.361
57 | 2541769.8817 | 1151055.7751
58 | 2541781.1506 | 1150945.7283
59 | 2541846.8617 | 1150980.412
60 | 2541857.0234 | 1150994.5769
61 | 2541767.9281 | 1151070.413
62 | 2541790.2386 | 1151056.4943
63 | 2541666.6136 | 1150913.0535
64 | 2541623.3441 | 1150970.703
65 | 2541615.4208 | 1150963.4461
66 | 2541672.8835 | 1150910.9078
67 | 2541627.7728 | 1150979.8901
68 | 2541612.915 | 1150967.9456
69 | 2541681.646 | 1150907.9092
70 | 2541633.6369 | 1151007.6264
71 | 2541593.9898 | 1150996.2875
72 | 2541685.1689 | 1150906.7036
73 | 2541695.5994 | 1150903.3208
74 | 2541670.2972 | 1151082.7214
75 | 2541781.3308 | 1150929.2905
76 | 2541780.5222 | 1150899.0771
77 | 2541761.8724 | 1150899.3578
78 | 2541802.7616 | 1150894.654
79 | 2541744.5893 | 1150899.6044
80 | 2541762.4985 | 1150884.4485
81 | 2541794.8458 | 1151056.6571
82 | 2541813.802 | 1151122.2639
83 | 2541788.4189 | 1151119.1962
84 | 2541734.1917 | 1151055.86
85 | 2541730.5789 | 1151056.2561
86 | 2541726.4113 | 1150899.8637
87 | 2541716.1881 | 1151130.7799
88 | 2541580.2507 | 1151008.373
89 | 2541587.3557 | 1151002.3654
90 | 2541575.8532 | 1151011.3837
91 | 2541561.0692 | 1151021.4901
92 | 2541551.9476 | 1151027.6941
93 | 2541539.054 | 1151036.4636
94 | 2541633.9638 | 1151009.1727
95 | 2541634.2522 | 1151010.5365
96 | 2541669.2273 | 1151053.7281
97 | 2541671.4546 | 1151053.2944
98 | 2541684.8466 | 1151050.6965
99 | 2541724.9132 | 1150899.8851
100 | 2541802.8928 | 1151198.2096
101 | 2541784.1165 | 1151185.7498
102 | 2541856.5439 | 1151009.5351
103 | 2541870.324 | 1151047.5767
104 | 2541870.1687 | 1150995.4363
105 | 2541856.8515 | 1151054.5551
106 | 2541890.058 | 1150996.7365
107 | 2541906.2124 | 1150998.3569
108 | 2541906.414 | 1150964.3129
109 | 2541706.7842 | 1150900.9414
110 | 2541609.8432 | 1151104.0418
111 | 2541617.6346 | 1151092.2487
112 | 2541623.5529 | 1151104.9313
113 | 2541617.7927 | 1150959.187

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1