## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5624-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5624-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5624-6_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5624-6_0_4_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_5624-6_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5624-6_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_5624-6_0_4_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_5624-6_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5624-6_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_5624-6_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_5624-6_0_4_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_5624-6_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5624-6_0_4_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_5624-6_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5624-6_0_4_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_5624-6_0_4_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_5624-6_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5624-6_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_5624-6_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_5624-6_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5624-6_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5624-6_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_5624-6_0_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_5624-6_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_5624-6_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_5624-6_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_5624-6_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_5624-6_0_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_5624-6_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_5624-6_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_5624-6_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5624-6_0_4_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_5624-6_0_4_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_5624-6_0_4_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_5624-6_0_4_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_5624-6_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5624-6_0_4_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_5624-6_0_4_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_5624-6_0_4_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_5624-6_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5624-6_0_4_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_5624-6_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5624-6_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_5624-6_0_4_node_16 | 0.4 | n |  | TRUE
44 | bus_LV_5624-6_0_4_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_5624-6_0_4_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_5624-6_0_4_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_5624-6_0_4_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_5624-6_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5624-6_0_4_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_5624-6_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5624-6_0_4_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_5624-6_0_4_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_5624-6_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5624-6_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_5624-6_0_4_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_5624-6_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_5624-6_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5624-6_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_5624-6_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_5624-6_0_4_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_5624-6_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_5624-6_0_4_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_5624-6_0_4_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_5624-6_0_4_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_5624-6_0_4_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_5624-6_0_4_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_5624-6_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_5624-6_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5624-6_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_5624-6_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5624-6_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5624-6_0_4_node_78 | 0.4 | n |  | TRUE
73 | bus_MV_623_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5624-6_0_4_load_0 | 0 | 0.018921 | 0.0047422 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5624-6_0_4_load_1 | 1 | 0.0085859 | 0.0021518 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5624-6_0_4_load_3 | 2 | 0.011042 | 0.0027673 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5624-6_0_4_load_74 | 6 | 0.0098551 | 0.0024699 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5624-6_0_4_load_36 | 8 | 0.0043114 | 0.0010805 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5624-6_0_4_load_34 | 10 | 0.0067712 | 0.001697 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5624-6_0_4_load_57 | 12 | 0.0057686 | 0.0014458 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5624-6_0_4_load_59 | 14 | 0.0030988 | 0.00077664 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5624-6_0_4_load_56 | 15 | 0.005846 | 0.0014651 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5624-6_0_4_load_38 | 18 | 0.0079292 | 0.0019872 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5624-6_0_4_load_23 | 21 | 0.014681 | 0.0036793 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5624-6_0_4_load_32 | 23 | 0.013393 | 0.0033566 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5624-6_0_4_load_41 | 24 | 0.0060464 | 0.0015154 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5624-6_0_4_load_39 | 25 | 0.0089338 | 0.002239 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5624-6_0_4_load_44 | 27 | 0.0053025 | 0.0013289 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5624-6_0_4_load_67 | 31 | 0.0085865 | 0.002152 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5624-6_0_4_load_75 | 32 | 0.017952 | 0.0044992 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5624-6_0_4_load_46 | 34 | 0.005679 | 0.0014233 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5624-6_0_4_load_51 | 36 | 0.026079 | 0.0065361 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5624-6_0_4_load_17 | 37 | 0.018474 | 0.00463 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5624-6_0_4_load_55 | 38 | 0.0082046 | 0.0020563 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5624-6_0_4_load_35 | 39 | 0.0052283 | 0.0013103 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5624-6_0_4_load_58 | 40 | 0.0076744 | 0.0019234 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5624-6_0_4_load_37 | 41 | 0.010319 | 0.0025862 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5624-6_0_4_load_16 | 43 | 0.02991 | 0.0074962 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5624-6_0_4_load_19 | 44 | 0.0098723 | 0.0024742 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5624-6_0_4_load_43 | 48 | 0.016198 | 0.0040596 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5624-6_0_4_load_50 | 49 | 0.011989 | 0.0030048 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5624-6_0_4_load_25 | 51 | 0.0026133 | 0.00065496 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5624-6_0_4_load_26 | 52 | 0.006162 | 0.0015443 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5624-6_0_4_load_45 | 53 | 0.0046477 | 0.0011648 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5624-6_0_4_load_52 | 54 | 0.020098 | 0.005037 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5624-6_0_4_load_53 | 56 | 0.015662 | 0.0039253 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5624-6_0_4_load_48 | 57 | 0.0056118 | 0.0014065 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5624-6_0_4_load_76 | 62 | 0.0044987 | 0.0011275 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5624-6_0_4_load_69 | 64 | 0.013863 | 0.0034744 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5624-6_0_4_load_66 | 65 | 0.003468 | 0.00086917 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5624-6_0_4_load_73 | 66 | 0.013788 | 0.0034557 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5624-6_0_4_load_60 | 67 | 0.0038452 | 0.0009637 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5624-6_0_4_load_62 | 69 | 0.016735 | 0.0041942 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5624-6_0_4_load_63 | 70 | 0.0053575 | 0.0013427 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5624-6_0_4_load_64 | 71 | 0.016115 | 0.0040389 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5624-6_0_4_load_78 | 72 | 0.0046275 | 0.0011598 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5624-6_0_4_line_0 |  | 0 | 1 | 0.028522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5624-6_0_4_line_1 |  | 1 | 2 | 0.023122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5624-6_0_4_line_2 |  | 2 | 3 | 0.0047281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5624-6_0_4_line_3 |  | 3 | 24 | 0.032331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5624-6_0_4_line_4 |  | 3 | 25 | 0.022276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5624-6_0_4_line_5 |  | 4 | 5 | 0.027191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5624-6_0_4_line_6 |  | 4 | 6 | 0.039483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5624-6_0_4_line_7 |  | 5 | 11 | 0.032999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5624-6_0_4_line_8 |  | 5 | 12 | 0.0015038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5624-6_0_4_line_9 |  | 6 | 38 | 0.025544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5624-6_0_4_line_10 |  | 7 | 8 | 0.008073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5624-6_0_4_line_11 |  | 7 | 9 | 0.018763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5624-6_0_4_line_12 |  | 7 | 10 | 0.013787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5624-6_0_4_line_13 |  | 9 | 21 | 0.02014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5624-6_0_4_line_14 |  | 9 | 13 | 0.041009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5624-6_0_4_line_15 |  | 10 | 39 | 0.0080181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5624-6_0_4_line_16 |  | 11 | 13 | 0.003931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5624-6_0_4_line_17 |  | 11 | 14 | 0.017768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5624-6_0_4_line_18 |  | 12 | 19 | 0.02284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5624-6_0_4_line_19 |  | 13 | 15 | 0.0098512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5624-6_0_4_line_20 |  | 14 | 40 | 0.0089375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5624-6_0_4_line_21 |  | 16 | 17 | 0.014021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5624-6_0_4_line_22 |  | 16 | 18 | 0.043435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5624-6_0_4_line_23 |  | 17 | 37 | 0.015136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5624-6_0_4_line_24 |  | 18 | 41 | 0.029152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5624-6_0_4_line_25 |  | 19 | 20 | 0.003449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5624-6_0_4_line_26 |  | 20 | 22 | 0.045656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5624-6_0_4_line_27 |  | 20 | 23 | 0.02074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5624-6_0_4_line_28 |  | 21 | 42 | 0.011271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5624-6_0_4_line_29 |  | 22 | 26 | 0.002719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5624-6_0_4_line_30 |  | 22 | 27 | 0.016059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5624-6_0_4_line_31 |  | 23 | 28 | 0.015827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5624-6_0_4_line_32 |  | 24 | 50 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5624-6_0_4_line_33 |  | 25 | 41 | 0.0083344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5624-6_0_4_line_34 |  | 26 | 33 | 0.02538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5624-6_0_4_line_35 |  | 26 | 34 | 0.011465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5624-6_0_4_line_36 |  | 27 | 53 | 0.013188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5624-6_0_4_line_37 |  | 28 | 29 | 0.02275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5624-6_0_4_line_38 |  | 29 | 54 | 0.0038442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5624-6_0_4_line_39 |  | 30 | 31 | 0.05488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5624-6_0_4_line_40 |  | 30 | 32 | 0.013899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5624-6_0_4_line_41 |  | 31 | 55 | 0.020168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5624-6_0_4_line_42 |  | 33 | 49 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5624-6_0_4_line_43 |  | 33 | 35 | 0.005244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5624-6_0_4_line_44 |  | 35 | 36 | 0.0097749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_5624-6_0_4_line_45 |  | 36 | 47 | 0.021985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_5624-6_0_4_line_46 |  | 37 | 43 | 0.067935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5624-6_0_4_line_47 |  | 40 | 67 | 0.0062399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5624-6_0_4_line_48 |  | 42 | 51 | 0.013598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5624-6_0_4_line_49 |  | 42 | 52 | 0.0079554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5624-6_0_4_line_50 |  | 44 | 45 | 0.017971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5624-6_0_4_line_51 |  | 45 | 46 | 0.029821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5624-6_0_4_line_52 |  | 46 | 48 | 0.014062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_5624-6_0_4_line_53 |  | 46 | 47 | 0.027334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5624-6_0_4_line_54 |  | 48 | 50 | 0.053114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_5624-6_0_4_line_55 |  | 49 | 57 | 0.01694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5624-6_0_4_line_56 |  | 54 | 56 | 0.022263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5624-6_0_4_line_57 |  | 55 | 65 | 0.0029956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5624-6_0_4_line_58 |  | 55 | 71 | 0.026393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5624-6_0_4_line_59 |  | 56 | 58 | 0.0085194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5624-6_0_4_line_60 |  | 58 | 59 | 0.048403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5624-6_0_4_line_61 |  | 59 | 66 | 0.0080567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5624-6_0_4_line_62 |  | 60 | 61 | 0.004632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5624-6_0_4_line_63 |  | 60 | 62 | 0.0062063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5624-6_0_4_line_64 |  | 60 | 63 | 0.037538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5624-6_0_4_line_65 |  | 61 | 72 | 0.02317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5624-6_0_4_line_66 |  | 63 | 64 | 0.018157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5624-6_0_4_line_67 |  | 63 | 65 | 0.019789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5624-6_0_4_line_68 |  | 67 | 68 | 0.011119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5624-6_0_4_line_69 |  | 68 | 69 | 0.012502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5624-6_0_4_line_70 |  | 68 | 70 | 0.014827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5624-6_0_4_line_71 |  | 70 | 71 | 0.011263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5624-6_0_4_trafo_13 | 0.63 MVA 20/0.4 kV | 73 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2531882.6537 | 1155649.3847 | 2531897.5208 | 1155639.1182 | 2531906.5848 | 1155633.9088
1 | 2531906.5848 | 1155633.9088 | 2531926.6318 | 1155622.3873
2 | 2531930.7311 | 1155620.0313 | 2531926.6318 | 1155622.3873
3 | 2531930.7311 | 1155620.0313 | 2531959.1104 | 1155604.5426
4 | 2531930.7311 | 1155620.0313 | 2531942.6081 | 1155638.8768
5 | 2532105.0145 | 1155689.3761 | 2532088.3173 | 1155694.8566 | 2532087.4252 | 1155691.2536 | 2532086.0027 | 1155685.5221
6 | 2532105.0145 | 1155689.3761 | 2532114.9442 | 1155687.0737 | 2532138.8905 | 1155670.207
7 | 2532086.0027 | 1155685.5221 | 2532087.4252 | 1155691.2536 | 2532088.3173 | 1155694.8566 | 2532088.9519 | 1155697.3953 | 2532093.9506 | 1155717.55
8 | 2532086.0027 | 1155685.5221 | 2532085.64 | 1155684.0627
9 | 2532138.8905 | 1155670.207 | 2532155.4955 | 1155658.5111 | 2532152.2734 | 1155654.3875
10 | 2532054.3542 | 1155711.1385 | 2532049.5573 | 1155717.6407
11 | 2532065.4889 | 1155696.0153 | 2532054.3542 | 1155711.1385
12 | 2532054.3542 | 1155711.1385 | 2532045.6135 | 1155700.477
13 | 2532065.4889 | 1155696.0153 | 2532059.8888 | 1155689.1526 | 2532053.8199 | 1155679.6421
14 | 2532065.4889 | 1155696.0153 | 2532068.4367 | 1155699.6284 | 2532064.6927 | 1155705.6407 | 2532073.4818 | 1155708.2873 | 2532078.2163 | 1155709.8235 | 2532085.307 | 1155712.8562 | 2532090.1183 | 1155718.4716
15 | 2532040.5299 | 1155694.2763 | 2532045.6135 | 1155700.477
16 | 2532090.1183 | 1155718.4716 | 2532093.9506 | 1155717.55
17 | 2532093.9506 | 1155717.55 | 2532104.7665 | 1155714.9375 | 2532111.216 | 1155713.3538
18 | 2532089.3275 | 1155662.0937 | 2532087.2799 | 1155668.2314 | 2532084.3796 | 1155678.9924 | 2532085.64 | 1155684.0627
19 | 2532090.1183 | 1155718.4716 | 2532092.3624 | 1155728.0638
20 | 2532119.8957 | 1155711.2225 | 2532111.216 | 1155713.3538
21 | 2531985.5123 | 1155707.4818 | 2531991.2114 | 1155703.4373 | 2531998.1943 | 1155702.3577
22 | 2531985.5123 | 1155707.4818 | 2531982.0931 | 1155701.5283 | 2531962.595 | 1155670.5903
23 | 2531998.1943 | 1155702.3577 | 2532009.9096 | 1155692.773
24 | 2531962.595 | 1155670.5903 | 2531947.0518 | 1155645.9277
25 | 2532089.3275 | 1155662.0937 | 2532090.4565 | 1155658.8347
26 | 2532069.0293 | 1155625.2027 | 2532071.3246 | 1155630.1239 | 2532076.9579 | 1155645.3465 | 2532078.1433 | 1155656.5726 | 2532084.3105 | 1155656.6029 | 2532090.4565 | 1155658.8347
27 | 2532090.4565 | 1155658.8347 | 2532102.2261 | 1155643.5488 | 2532103.3394 | 1155642.6225
28 | 2532047.9753 | 1155670.01 | 2532050.0422 | 1155673.722 | 2532053.8199 | 1155679.6421
29 | 2532067.8815 | 1155622.7365 | 2532069.0293 | 1155625.2027
30 | 2532069.0293 | 1155625.2027 | 2532063.5669 | 1155628.4885 | 2532055.1016 | 1155633.1926
31 | 2532105.8034 | 1155631.6018 | 2532110.2047 | 1155636.9106 | 2532103.3394 | 1155642.6225
32 | 2531970.1499 | 1155598.5175 | 2531959.1104 | 1155604.5426
33 | 2531942.6081 | 1155638.8768 | 2531947.0518 | 1155645.9277
34 | 2532057.0447 | 1155599.7796 | 2532063.2041 | 1155612.6838 | 2532067.8815 | 1155622.7365
35 | 2532067.8815 | 1155622.7365 | 2532057.8507 | 1155628.2883
36 | 2532043.5738 | 1155639.5985 | 2532055.1016 | 1155633.1926
37 | 2532125.073 | 1155619.5775 | 2532114.3541 | 1155627.3918 | 2532105.8034 | 1155631.6018
38 | 2532125.073 | 1155619.5775 | 2532128.0731 | 1155617.1738
39 | 2532180.6978 | 1155753.457 | 2532179.8283 | 1155749.1311 | 2532179.103 | 1155744.6701 | 2532176.2483 | 1155732.3177 | 2532194.4511 | 1155727.7209 | 2532191.5515 | 1155713.5181
40 | 2532180.6978 | 1155753.457 | 2532194.2747 | 1155750.4804
41 | 2532187.5174 | 1155693.7581 | 2532191.5515 | 1155713.5181
42 | 2532057.0447 | 1155599.7796 | 2532041.0428 | 1155608.7652
43 | 2532057.0447 | 1155599.7796 | 2532061.6253 | 1155597.2042
44 | 2532061.6253 | 1155597.2042 | 2532057.3991 | 1155588.3901
45 | 2532047.8938 | 1155568.5658 | 2532057.3991 | 1155588.3901
46 | 2531995.5633 | 1155639.3053 | 2532023.1898 | 1155681.908 | 2532009.9096 | 1155692.773
47 | 2532119.8957 | 1155711.2225 | 2532125.9555 | 1155709.7345
48 | 2532047.9753 | 1155670.01 | 2532049.3314 | 1155665.8034 | 2532045.1812 | 1155657.6125
49 | 2532047.9753 | 1155670.01 | 2532040.8783 | 1155673.6047
50 | 2532012.0984 | 1155541.6001 | 2532001.8969 | 1155526.8054
51 | 2532029.0052 | 1155566.1336 | 2532025.4634 | 1155560.2037 | 2532020.2788 | 1155553.4697 | 2532019.3898 | 1155552.1791 | 2532012.0984 | 1155541.6001
52 | 2532029.0052 | 1155566.1336 | 2532016.6849 | 1155572.9126
53 | 2532029.0052 | 1155566.1336 | 2532043.1152 | 1155558.392 | 2532047.8938 | 1155568.5658
54 | 2531970.1499 | 1155598.5175 | 2532016.6849 | 1155572.9126
55 | 2532041.0428 | 1155608.7652 | 2532031.2831 | 1155614.2456 | 2532028.6689 | 1155617.0768 | 2532027.165 | 1155618.2279
56 | 2532128.0731 | 1155617.1738 | 2532145.4472 | 1155603.2539
57 | 2532187.5174 | 1155693.7581 | 2532190.3043 | 1155692.6597
58 | 2532187.5174 | 1155693.7581 | 2532161.9893 | 1155700.4589
59 | 2532152.096 | 1155597.927 | 2532145.4472 | 1155603.2539
60 | 2532152.096 | 1155597.927 | 2532159.1116 | 1155592.2669 | 2532166.6516 | 1155586.1673 | 2532184.7582 | 1155609.6982
61 | 2532184.7582 | 1155609.6982 | 2532178.6263 | 1155614.9242
62 | 2532232.6643 | 1155693.8266 | 2532233.6511 | 1155698.3514
63 | 2532232.6643 | 1155693.8266 | 2532226.959 | 1155695.2918 | 2532226.8231 | 1155695.0066
64 | 2532208.7153 | 1155685.4032 | 2532228.0958 | 1155677.7693 | 2532231.5406 | 1155688.7254 | 2532232.6643 | 1155693.8266
65 | 2532235.943 | 1155721.3383 | 2532235.5608 | 1155711.2592 | 2532235.0339 | 1155704.6615 | 2532233.6511 | 1155698.3514
66 | 2532208.7153 | 1155685.4032 | 2532200.5504 | 1155669.1857
67 | 2532208.7153 | 1155685.4032 | 2532190.3043 | 1155692.6597
68 | 2532136.7539 | 1155707.0829 | 2532125.9555 | 1155709.7345
69 | 2532136.7539 | 1155707.0829 | 2532140.0961 | 1155719.1297
70 | 2532136.7539 | 1155707.0829 | 2532151.0949 | 1155703.3186
71 | 2532161.9893 | 1155700.4589 | 2532151.0949 | 1155703.3186

## bus_geodata
| x | y | coords
0 | 2531882.6537 | 1155649.3847
1 | 2531906.5848 | 1155633.9088
2 | 2531926.6318 | 1155622.3873
3 | 2531930.7311 | 1155620.0313
4 | 2532105.0145 | 1155689.3761
5 | 2532086.0027 | 1155685.5221
6 | 2532138.8905 | 1155670.207
7 | 2532054.3542 | 1155711.1385
8 | 2532049.5573 | 1155717.6407
9 | 2532065.4889 | 1155696.0153
10 | 2532045.6135 | 1155700.477
11 | 2532093.9506 | 1155717.55
12 | 2532085.64 | 1155684.0627
13 | 2532090.1183 | 1155718.4716
14 | 2532111.216 | 1155713.3538
15 | 2532092.3624 | 1155728.0638
16 | 2531985.5123 | 1155707.4818
17 | 2531998.1943 | 1155702.3577
18 | 2531962.595 | 1155670.5903
19 | 2532089.3275 | 1155662.0937
20 | 2532090.4565 | 1155658.8347
21 | 2532053.8199 | 1155679.6421
22 | 2532069.0293 | 1155625.2027
23 | 2532103.3394 | 1155642.6225
24 | 2531959.1104 | 1155604.5426
25 | 2531942.6081 | 1155638.8768
26 | 2532067.8815 | 1155622.7365
27 | 2532055.1016 | 1155633.1926
28 | 2532105.8034 | 1155631.6018
29 | 2532125.073 | 1155619.5775
30 | 2532180.6978 | 1155753.457
31 | 2532191.5515 | 1155713.5181
32 | 2532194.2747 | 1155750.4804
33 | 2532057.0447 | 1155599.7796
34 | 2532057.8507 | 1155628.2883
35 | 2532061.6253 | 1155597.2042
36 | 2532057.3991 | 1155588.3901
37 | 2532009.9096 | 1155692.773
38 | 2532152.2734 | 1155654.3875
39 | 2532040.5299 | 1155694.2763
40 | 2532119.8957 | 1155711.2225
41 | 2531947.0518 | 1155645.9277
42 | 2532047.9753 | 1155670.01
43 | 2531995.5633 | 1155639.3053
44 | 2532001.8969 | 1155526.8054
45 | 2532012.0984 | 1155541.6001
46 | 2532029.0052 | 1155566.1336
47 | 2532047.8938 | 1155568.5658
48 | 2532016.6849 | 1155572.9126
49 | 2532041.0428 | 1155608.7652
50 | 2531970.1499 | 1155598.5175
51 | 2532045.1812 | 1155657.6125
52 | 2532040.8783 | 1155673.6047
53 | 2532043.5738 | 1155639.5985
54 | 2532128.0731 | 1155617.1738
55 | 2532187.5174 | 1155693.7581
56 | 2532145.4472 | 1155603.2539
57 | 2532027.165 | 1155618.2279
58 | 2532152.096 | 1155597.927
59 | 2532184.7582 | 1155609.6982
60 | 2532232.6643 | 1155693.8266
61 | 2532233.6511 | 1155698.3514
62 | 2532226.8231 | 1155695.0066
63 | 2532208.7153 | 1155685.4032
64 | 2532200.5504 | 1155669.1857
65 | 2532190.3043 | 1155692.6597
66 | 2532178.6263 | 1155614.9242
67 | 2532125.9555 | 1155709.7345
68 | 2532136.7539 | 1155707.0829
69 | 2532140.0961 | 1155719.1297
70 | 2532151.0949 | 1155703.3186
71 | 2532161.9893 | 1155700.4589
72 | 2532235.943 | 1155721.3382
73 | 2532090.4565 | 1155658.8347

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1