## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5624-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5624-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5624-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5624-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5624-7_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_5624-7_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5624-7_0_4_node_206 | 0.4 | n |  | TRUE
7 | bus_LV_5624-7_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_5624-7_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5624-7_0_4_node_213 | 0.4 | n |  | TRUE
10 | bus_LV_5624-7_0_4_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_5624-7_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5624-7_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_5624-7_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5624-7_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5624-7_0_4_node_218 | 0.4 | n |  | TRUE
16 | bus_LV_5624-7_0_4_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_5624-7_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5624-7_0_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_5624-7_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_5624-7_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_5624-7_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_5624-7_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_5624-7_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_5624-7_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_5624-7_0_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_5624-7_0_4_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_5624-7_0_4_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_5624-7_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5624-7_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5624-7_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_5624-7_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5624-7_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_5624-7_0_4_node_220 | 0.4 | n |  | TRUE
34 | bus_LV_5624-7_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_5624-7_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_5624-7_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5624-7_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_5624-7_0_4_node_106 | 0.4 | n |  | TRUE
39 | bus_LV_5624-7_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5624-7_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_5624-7_0_4_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_5624-7_0_4_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_5624-7_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_5624-7_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_5624-7_0_4_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_5624-7_0_4_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_5624-7_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_5624-7_0_4_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_5624-7_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_5624-7_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_5624-7_0_4_node_216 | 0.4 | n |  | TRUE
52 | bus_LV_5624-7_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_5624-7_0_4_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_5624-7_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_5624-7_0_4_node_221 | 0.4 | n |  | TRUE
56 | bus_LV_5624-7_0_4_node_118 | 0.4 | n |  | TRUE
57 | bus_LV_5624-7_0_4_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_5624-7_0_4_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_5624-7_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_5624-7_0_4_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_5624-7_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_5624-7_0_4_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_5624-7_0_4_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_5624-7_0_4_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_5624-7_0_4_node_97 | 0.4 | n |  | TRUE
66 | bus_LV_5624-7_0_4_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_5624-7_0_4_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_5624-7_0_4_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_5624-7_0_4_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_5624-7_0_4_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_5624-7_0_4_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_5624-7_0_4_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_5624-7_0_4_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_5624-7_0_4_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_5624-7_0_4_node_99 | 0.4 | n |  | TRUE
76 | bus_LV_5624-7_0_4_node_101 | 0.4 | n |  | TRUE
77 | bus_LV_5624-7_0_4_node_111 | 0.4 | n |  | TRUE
78 | bus_LV_5624-7_0_4_node_215 | 0.4 | n |  | TRUE
79 | bus_LV_5624-7_0_4_node_117 | 0.4 | n |  | TRUE
80 | bus_MV_623_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5624-7_0_4_load_0 | 0 | 0.022919 | 0.005744 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5624-7_0_4_load_1 | 1 | 0.046279 | 0.011599 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5624-7_0_4_load_3 | 3 | 0.02464 | 0.0061753 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5624-7_0_4_load_206 | 6 | 0.0017255 | 0.00043244 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5624-7_0_4_load_213 | 9 | 0.0027426 | 0.00068737 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5624-7_0_4_load_218 | 15 | 0.020595 | 0.0051617 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5624-7_0_4_load_48 | 16 | 0.014966 | 0.0037509 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5624-7_0_4_load_14 | 17 | 0.010162 | 0.002547 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5624-7_0_4_load_20 | 19 | 0.0069796 | 0.0017492 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5624-7_0_4_load_21 | 20 | 0.0019035 | 0.00047706 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5624-7_0_4_load_22 | 21 | 0.0031614 | 0.00079231 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5624-7_0_4_load_23 | 22 | 0.0043693 | 0.001095 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5624-7_0_4_load_24 | 23 | 0.0018341 | 0.00045967 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5624-7_0_4_load_29 | 24 | 0.0083751 | 0.002099 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5624-7_0_4_load_56 | 27 | 0.0034803 | 0.00087224 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5624-7_0_4_load_25 | 28 | 0.0047392 | 0.0011878 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5624-7_0_4_load_26 | 29 | 0.003872 | 0.00097042 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5624-7_0_4_load_27 | 30 | 0.00402 | 0.0010075 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5624-7_0_4_load_28 | 31 | 0.0054669 | 0.0013701 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5624-7_0_4_load_30 | 32 | 0.0040091 | 0.0010048 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5624-7_0_4_load_220 | 33 | 0.0023697 | 0.0005939 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5624-7_0_4_load_31 | 34 | 0.001266 | 0.00031728 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5624-7_0_4_load_33 | 35 | 0.0046776 | 0.0011723 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5624-7_0_4_load_34 | 37 | 0.0073001 | 0.0018296 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5624-7_0_4_load_106 | 38 | 0.0018666 | 0.00046781 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5624-7_0_4_load_35 | 39 | 0.0069277 | 0.0017363 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5624-7_0_4_load_46 | 40 | 0.0037042 | 0.00092837 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5624-7_0_4_load_49 | 41 | 0.0035507 | 0.00088988 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5624-7_0_4_load_50 | 42 | 0.003897 | 0.00097668 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5624-7_0_4_load_79 | 45 | 0.0018439 | 0.00046213 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5624-7_0_4_load_54 | 47 | 0.0037201 | 0.00093236 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5624-7_0_4_load_57 | 49 | 0.0032694 | 0.0008194 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5624-7_0_4_load_216 | 51 | 0.0023768 | 0.00059569 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5624-7_0_4_load_60 | 53 | 0.0024181 | 0.00060604 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5624-7_0_4_load_221 | 55 | 0.0020434 | 0.00051211 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5624-7_0_4_load_62 | 57 | 0.0039287 | 0.00098464 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5624-7_0_4_load_63 | 58 | 0.0041259 | 0.0010341 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5624-7_0_4_load_65 | 60 | 0.0011818 | 0.00029619 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5624-7_0_4_load_78 | 63 | 0.0023114 | 0.0005793 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5624-7_0_4_load_96 | 66 | 0.0029709 | 0.00074459 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5624-7_0_4_load_80 | 67 | 0.0025624 | 0.00064219 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5624-7_0_4_load_81 | 68 | 0.001605 | 0.00040225 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5624-7_0_4_load_82 | 69 | 0.0039634 | 0.00099333 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5624-7_0_4_load_76 | 70 | 0.003368 | 0.00084409 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5624-7_0_4_load_83 | 71 | 0.0037945 | 0.00095099 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5624-7_0_4_load_92 | 72 | 0.0020144 | 0.00050485 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5624-7_0_4_load_100 | 73 | 0.0017678 | 0.00044306 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5624-7_0_4_load_99 | 75 | 0.0020635 | 0.00051715 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5624-7_0_4_load_111 | 77 | 0.0019009 | 0.00047642 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5624-7_0_4_load_215 | 78 | 0.002227 | 0.00055814 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5624-7_0_4_load_117 | 79 | 0.002855 | 0.00071553 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5624-7_0_4_line_0 |  | 0 | 1 | 0.022444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5624-7_0_4_line_1 |  | 0 | 2 | 0.016239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5624-7_0_4_line_2 |  | 1 | 3 | 0.020125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5624-7_0_4_line_3 |  | 2 | 4 | 0.048519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5624-7_0_4_line_4 |  | 4 | 5 | 0.10439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5624-7_0_4_line_5 |  | 5 | 6 | 0.014067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5624-7_0_4_line_6 |  | 5 | 7 | 0.038535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5624-7_0_4_line_7 |  | 7 | 18 | 0.041848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5624-7_0_4_line_8 |  | 7 | 19 | 0.057799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5624-7_0_4_line_9 |  | 7 | 17 | 0.02409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5624-7_0_4_line_10 |  | 8 | 9 | 0.007945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5624-7_0_4_line_11 |  | 8 | 10 | 0.079694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5624-7_0_4_line_12 |  | 10 | 67 | 0.021713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5624-7_0_4_line_13 |  | 10 | 61 | 0.07317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5624-7_0_4_line_14 |  | 11 | 12 | 0.014522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5624-7_0_4_line_15 |  | 11 | 13 | 0.23467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5624-7_0_4_line_16 |  | 11 | 14 | 0.23374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5624-7_0_4_line_17 |  | 12 | 20 | 0.030223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5624-7_0_4_line_18 |  | 12 | 21 | 0.031749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5624-7_0_4_line_19 |  | 13 | 15 | 0.009708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5624-7_0_4_line_20 |  | 14 | 16 | 0.033489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5624-7_0_4_line_21 |  | 18 | 22 | 0.020072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5624-7_0_4_line_22 |  | 18 | 23 | 0.030976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5624-7_0_4_line_23 |  | 19 | 21 | 0.004251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5624-7_0_4_line_24 |  | 20 | 24 | 0.0041974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5624-7_0_4_line_25 |  | 22 | 25 | 0.015176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5624-7_0_4_line_26 |  | 23 | 26 | 0.021505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5624-7_0_4_line_27 |  | 23 | 27 | 0.017959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5624-7_0_4_line_28 |  | 24 | 34 | 0.015558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5624-7_0_4_line_29 |  | 25 | 40 | 0.016595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5624-7_0_4_line_30 |  | 26 | 43 | 0.027675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5624-7_0_4_line_31 |  | 26 | 44 | 0.032263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5624-7_0_4_line_32 |  | 27 | 48 | 0.014754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5624-7_0_4_line_33 |  | 28 | 29 | 0.031206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5624-7_0_4_line_34 |  | 29 | 30 | 0.028888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5624-7_0_4_line_35 |  | 30 | 31 | 0.051455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5624-7_0_4_line_36 |  | 31 | 32 | 0.0095256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5624-7_0_4_line_37 |  | 31 | 33 | 0.043905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5624-7_0_4_line_38 |  | 32 | 35 | 0.0081085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5624-7_0_4_line_39 |  | 33 | 56 | 0.006472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5624-7_0_4_line_40 |  | 33 | 79 | 0.018412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5624-7_0_4_line_41 |  | 34 | 36 | 0.042891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5624-7_0_4_line_42 |  | 35 | 38 | 0.059612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5624-7_0_4_line_43 |  | 35 | 36 | 0.0081682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5624-7_0_4_line_44 |  | 36 | 37 | 0.023913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5624-7_0_4_line_45 |  | 37 | 39 | 0.023927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5624-7_0_4_line_46 |  | 41 | 42 | 0.027287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5624-7_0_4_line_47 |  | 41 | 43 | 0.0035175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5624-7_0_4_line_48 |  | 44 | 45 | 0.007226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5624-7_0_4_line_49 |  | 44 | 46 | 0.036451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5624-7_0_4_line_50 |  | 46 | 61 | 0.030422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5624-7_0_4_line_51 |  | 46 | 70 | 0.01412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5624-7_0_4_line_52 |  | 47 | 48 | 0.016638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5624-7_0_4_line_53 |  | 49 | 50 | 0.011391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5624-7_0_4_line_54 |  | 49 | 51 | 0.025549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5624-7_0_4_line_55 |  | 50 | 52 | 0.007696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5624-7_0_4_line_56 |  | 51 | 76 | 0.003583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5624-7_0_4_line_57 |  | 52 | 53 | 0.007655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5624-7_0_4_line_58 |  | 52 | 54 | 0.01449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5624-7_0_4_line_59 |  | 54 | 55 | 0.013723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5624-7_0_4_line_60 |  | 54 | 56 | 0.001989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5624-7_0_4_line_61 |  | 57 | 58 | 0.00028963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5624-7_0_4_line_62 |  | 57 | 59 | 0.018975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5624-7_0_4_line_63 |  | 59 | 60 | 0.021138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5624-7_0_4_line_64 |  | 59 | 61 | 0.050387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5624-7_0_4_line_65 |  | 60 | 62 | 0.0046632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5624-7_0_4_line_66 |  | 61 | 63 | 0.012795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5624-7_0_4_line_67 |  | 62 | 68 | 0.028717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5624-7_0_4_line_68 |  | 62 | 69 | 0.019245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5624-7_0_4_line_69 |  | 64 | 65 | 0.030346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5624-7_0_4_line_70 |  | 64 | 66 | 0.012512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5624-7_0_4_line_71 |  | 65 | 74 | 0.036077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5624-7_0_4_line_72 |  | 65 | 75 | 0.012311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5624-7_0_4_line_73 |  | 68 | 71 | 0.016558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5624-7_0_4_line_74 |  | 72 | 73 | 0.031134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5624-7_0_4_line_75 |  | 73 | 74 | 0.00307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5624-7_0_4_line_76 |  | 74 | 76 | 0.037524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5624-7_0_4_line_77 |  | 75 | 77 | 0.022047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5624-7_0_4_line_78 |  | 76 | 78 | 0.030168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5624-7_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 80 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2532963.6048 | 1155766.8285 | 2532978.6295 | 1155758.1634 | 2532979.9397 | 1155753.2349 | 2532979.9397 | 1155753.2349
1 | 2532948.0963 | 1155767.1867 | 2532959.7982 | 1155769.0239 | 2532963.6048 | 1155766.8285
2 | 2532969.9024 | 1155735.7925 | 2532972.68 | 1155740.5089 | 2532979.9397 | 1155753.2349
3 | 2532930.7378 | 1155740.966 | 2532926.8075 | 1155743.4223 | 2532928.1517 | 1155745.653 | 2532937.8878 | 1155759.652 | 2532939.7752 | 1155767.2574 | 2532941.089 | 1155768.8325 | 2532943.1956 | 1155771.3437 | 2532945.3211 | 1155774.1771 | 2532948.0963 | 1155767.1867
4 | 2532864.9028 | 1155790.0726 | 2532867.1038 | 1155794.1614 | 2532869.8198 | 1155797.6664 | 2532876.4366 | 1155805.0076 | 2532881.4979 | 1155792.5776 | 2532888.3646 | 1155781.7838 | 2532892.8111 | 1155776.798 | 2532905.8919 | 1155763.3779 | 2532907.5486 | 1155761.3138 | 2532912.2464 | 1155755.4693 | 2532920.1429 | 1155747.599 | 2532926.8075 | 1155743.4223 | 2532930.7378 | 1155740.966
5 | 2532864.9028 | 1155790.0726 | 2532851.0744 | 1155792.862
6 | 2532848.0938 | 1155755.3968 | 2532854.1156 | 1155767.8253 | 2532856.9497 | 1155773.6635 | 2532863.2619 | 1155786.678 | 2532864.9028 | 1155790.0726
7 | 2532848.0938 | 1155755.3968 | 2532835.6267 | 1155775.6696 | 2532831.8322 | 1155782.727 | 2532828.3174 | 1155792.1493
8 | 2532848.0938 | 1155755.3968 | 2532817.937 | 1155706.0891
9 | 2532848.0938 | 1155755.3968 | 2532865.9077 | 1155739.1794
10 | 2532833.2858 | 1155972.3712 | 2532825.6151 | 1155970.2224
11 | 2532801.9253 | 1155999.1922 | 2532819.0125 | 1156021.7469 | 2532833.2858 | 1155972.3712
12 | 2532801.9253 | 1155999.1922 | 2532810.7695 | 1155979.3617
13 | 2532801.7754 | 1155941.2396 | 2532796.7365 | 1155958.3832 | 2532793.5589 | 1155964.3442 | 2532786.5642 | 1155979.4308 | 2532782.4672 | 1155986.8474 | 2532792.0557 | 1155990.3977 | 2532801.9253 | 1155999.1922
14 | 2532799.1537 | 1155675.3774 | 2532793.5628 | 1155665.8347 | 2532791.8264 | 1155662.8302
15 | 2532759.4375 | 1155602.0256 | 2532749.1599 | 1155608.2329 | 2532744.5568 | 1155609.5073 | 2532739.7691 | 1155608.0045 | 2532732.4482 | 1155589.1983 | 2532730.6991 | 1155580.2685 | 2532729.0655 | 1155574.1167 | 2532728.4349 | 1155567.8091 | 2532728.0548 | 1155564.0002 | 2532731.5997 | 1155563.4269 | 2532735.0604 | 1155562.1874 | 2532748.0671 | 1155561.3192 | 2532751.7425 | 1155560.7555 | 2532757.3642 | 1155561.393 | 2532771.3974 | 1155564.5155 | 2532786.4311 | 1155578.9219 | 2532800.7061 | 1155594.0707 | 2532803.8138 | 1155599.6612 | 2532805.8603 | 1155605.7084 | 2532806.7902 | 1155612.0348 | 2532806.4277 | 1155619.3985 | 2532804.7664 | 1155625.854 | 2532801.4226 | 1155632.7396 | 2532796.9938 | 1155640.0042 | 2532792.3157 | 1155642.8026 | 2532787.8385 | 1155645.0539 | 2532783.9151 | 1155648.8109 | 2532787.7983 | 1155655.8603 | 2532791.8264 | 1155662.8302
16 | 2532791.8264 | 1155662.8302 | 2532787.7983 | 1155655.8603 | 2532783.9151 | 1155648.8109 | 2532789.6152 | 1155648.2358 | 2532795.241 | 1155647.1834 | 2532800.7541 | 1155645.6653 | 2532810.1942 | 1155640.7015 | 2532819.2042 | 1155634.9976 | 2532827.731 | 1155628.6099 | 2532832.6586 | 1155624.7971 | 2532837.8467 | 1155620.27 | 2532842.2567 | 1155616.1184 | 2532846.4118 | 1155612.5033 | 2532866.8435 | 1155594.5095 | 2532895.2781 | 1155568.5332 | 2532900.731 | 1155568.4722 | 2532904.1121 | 1155569.713 | 2532951.4837 | 1155619.9009
17 | 2532799.1537 | 1155675.3774 | 2532776.8422 | 1155695.7648
18 | 2532799.1537 | 1155675.3774 | 2532815.7191 | 1155702.4626
19 | 2532762.6618 | 1155611.1834 | 2532759.4375 | 1155602.0256
20 | 2532951.4837 | 1155619.9009 | 2532927.1774 | 1155642.9389
21 | 2532828.3174 | 1155792.1493 | 2532808.2861 | 1155790.873
22 | 2532824.1353 | 1155822.8352 | 2532828.3174 | 1155792.1493
23 | 2532817.937 | 1155706.0891 | 2532815.7191 | 1155702.4626
24 | 2532776.8422 | 1155695.7648 | 2532773.7436 | 1155698.5962
25 | 2532793.141 | 1155789.908 | 2532808.2861 | 1155790.873
26 | 2532824.1353 | 1155822.8352 | 2532820.7142 | 1155844.063
27 | 2532824.1353 | 1155822.8352 | 2532806.2287 | 1155821.467
28 | 2532773.7436 | 1155698.5962 | 2532762.2582 | 1155709.0911
29 | 2532793.141 | 1155789.908 | 2532776.5798 | 1155788.8481
30 | 2532803.7007 | 1155854.1921 | 2532818.7276 | 1155856.392 | 2532820.7142 | 1155844.063
31 | 2532815.7863 | 1155875.9468 | 2532818.7276 | 1155856.392 | 2532820.7142 | 1155844.063
32 | 2532791.518 | 1155820.343 | 2532806.2287 | 1155821.467
33 | 2532822.0132 | 1155755.3272 | 2532807.4201 | 1155757.4748 | 2532790.9656 | 1155757.2941
34 | 2532762.0794 | 1155756.9767 | 2532790.9656 | 1155757.2941
35 | 2532762.0794 | 1155756.9767 | 2532718.7058 | 1155756.5002 | 2532718.9265 | 1155748.4242
36 | 2532718.9265 | 1155748.4242 | 2532719.1867 | 1155738.9021
37 | 2532718.9265 | 1155748.4242 | 2532704.8072 | 1155789.9966
38 | 2532719.1867 | 1155738.9021 | 2532719.3532 | 1155732.8132 | 2532720.3208 | 1155731.043
39 | 2532704.8644 | 1155796.4662 | 2532704.8072 | 1155789.9966
40 | 2532704.8072 | 1155789.9966 | 2532686.5774 | 1155787.4104
41 | 2532724.2386 | 1155723.8758 | 2532726.2103 | 1155723.9204 | 2532743.515 | 1155723.3375 | 2532755.4517 | 1155715.3106 | 2532762.2582 | 1155709.0911
42 | 2532720.3208 | 1155731.043 | 2532663.1971 | 1155713.9984
43 | 2532724.2386 | 1155723.8758 | 2532720.3208 | 1155731.043
44 | 2532724.2386 | 1155723.8758 | 2532724.4286 | 1155699.9636
45 | 2532724.4286 | 1155699.9636 | 2532724.6187 | 1155676.0376
46 | 2532800.2205 | 1155853.6818 | 2532790.387 | 1155852.2399 | 2532773.0517 | 1155851.5704
47 | 2532803.7007 | 1155854.1921 | 2532800.2205 | 1155853.6818
48 | 2532815.7863 | 1155875.9468 | 2532822.9825 | 1155876.8002
49 | 2532815.7863 | 1155875.9468 | 2532809.3923 | 1155911.827
50 | 2532809.3923 | 1155911.827 | 2532807.7973 | 1155920.772 | 2532801.7754 | 1155941.2396
51 | 2532809.3923 | 1155911.827 | 2532823.5044 | 1155912.3021
52 | 2532791.518 | 1155820.343 | 2532774.9289 | 1155819.0718
53 | 2532729.1062 | 1155796.895 | 2532728.8042 | 1155808.2824
54 | 2532754.2769 | 1155806.3074 | 2532728.8042 | 1155808.2824
55 | 2532729.1062 | 1155796.895 | 2532721.3887 | 1155796.7591
56 | 2532757.8678 | 1155806.4339 | 2532754.2769 | 1155806.3074
57 | 2532721.3887 | 1155796.7591 | 2532721.5868 | 1155789.1082
58 | 2532706.8589 | 1155796.4994 | 2532721.3887 | 1155796.7591
59 | 2532706.8589 | 1155796.4994 | 2532706.4296 | 1155810.2118
60 | 2532706.8589 | 1155796.4994 | 2532704.8644 | 1155796.4662
61 | 2532772.5848 | 1155938.1962 | 2532772.8744 | 1155938.2029
62 | 2532791.8447 | 1155938.6381 | 2532772.8744 | 1155938.2029
63 | 2532791.8447 | 1155938.6381 | 2532791.5893 | 1155917.5013
64 | 2532791.8447 | 1155938.6381 | 2532793.5589 | 1155964.3442 | 2532796.7365 | 1155958.3832 | 2532801.7754 | 1155941.2396
65 | 2532791.533 | 1155912.8384 | 2532791.5893 | 1155917.5013
66 | 2532801.7754 | 1155941.2396 | 2532814.3813 | 1155943.4295
67 | 2532791.533 | 1155912.8384 | 2532790.5031 | 1155884.1397
68 | 2532791.533 | 1155912.8384 | 2532772.2884 | 1155912.7106
69 | 2532755.7844 | 1155879.9868 | 2532754.9275 | 1155910.3132
70 | 2532754.9275 | 1155910.3132 | 2532742.4159 | 1155910.2672
71 | 2532756.8074 | 1155843.9332 | 2532755.7844 | 1155879.9868
72 | 2532755.7844 | 1155879.9868 | 2532743.4769 | 1155879.7115
73 | 2532790.5031 | 1155884.1397 | 2532790.4742 | 1155883.3339 | 2532774.7389 | 1155882.6061
74 | 2532753.7304 | 1155843.812 | 2532724.4977 | 1155854.5252
75 | 2532756.8074 | 1155843.9332 | 2532753.7304 | 1155843.812
76 | 2532757.8678 | 1155806.4339 | 2532756.8074 | 1155843.9332
77 | 2532743.4769 | 1155879.7115 | 2532722.8038 | 1155887.3718
78 | 2532758.7192 | 1155776.2855 | 2532757.8678 | 1155806.4339

## bus_geodata
| x | y | coords
0 | 2532963.6048 | 1155766.8285
1 | 2532979.9397 | 1155753.2349
2 | 2532948.0963 | 1155767.1867
3 | 2532969.9024 | 1155735.7925
4 | 2532930.7378 | 1155740.966
5 | 2532864.9028 | 1155790.0726
6 | 2532851.0744 | 1155792.862
7 | 2532848.0938 | 1155755.3968
8 | 2532833.2858 | 1155972.3712
9 | 2532825.6151 | 1155970.2224
10 | 2532801.9253 | 1155999.1922
11 | 2532791.8264 | 1155662.8302
12 | 2532799.1537 | 1155675.3774
13 | 2532759.4375 | 1155602.0256
14 | 2532951.4837 | 1155619.9009
15 | 2532762.6618 | 1155611.1834
16 | 2532927.1774 | 1155642.9389
17 | 2532865.9077 | 1155739.1794
18 | 2532828.3174 | 1155792.1493
19 | 2532817.937 | 1155706.0891
20 | 2532776.8422 | 1155695.7648
21 | 2532815.7191 | 1155702.4626
22 | 2532808.2861 | 1155790.873
23 | 2532824.1353 | 1155822.8352
24 | 2532773.7436 | 1155698.5962
25 | 2532793.141 | 1155789.908
26 | 2532820.7142 | 1155844.063
27 | 2532806.2287 | 1155821.467
28 | 2532822.0132 | 1155755.3272
29 | 2532790.9656 | 1155757.2941
30 | 2532762.0794 | 1155756.9767
31 | 2532718.9265 | 1155748.4242
32 | 2532719.1867 | 1155738.9021
33 | 2532704.8072 | 1155789.9966
34 | 2532762.2582 | 1155709.0911
35 | 2532720.3208 | 1155731.043
36 | 2532724.2386 | 1155723.8758
37 | 2532724.4286 | 1155699.9636
38 | 2532663.1971 | 1155713.9984
39 | 2532724.6187 | 1155676.0376
40 | 2532776.5798 | 1155788.8481
41 | 2532800.2205 | 1155853.6818
42 | 2532773.0517 | 1155851.5704
43 | 2532803.7007 | 1155854.1921
44 | 2532815.7863 | 1155875.9468
45 | 2532822.9825 | 1155876.8002
46 | 2532809.3923 | 1155911.827
47 | 2532774.9289 | 1155819.0718
48 | 2532791.518 | 1155820.343
49 | 2532728.8042 | 1155808.2824
50 | 2532729.1062 | 1155796.895
51 | 2532754.2769 | 1155806.3074
52 | 2532721.3887 | 1155796.7591
53 | 2532721.5868 | 1155789.1082
54 | 2532706.8589 | 1155796.4994
55 | 2532706.4296 | 1155810.2118
56 | 2532704.8644 | 1155796.4662
57 | 2532772.8744 | 1155938.2029
58 | 2532772.5848 | 1155938.1962
59 | 2532791.8447 | 1155938.6381
60 | 2532791.5893 | 1155917.5013
61 | 2532801.7754 | 1155941.2396
62 | 2532791.533 | 1155912.8384
63 | 2532814.3813 | 1155943.4295
64 | 2532754.9275 | 1155910.3132
65 | 2532755.7844 | 1155879.9868
66 | 2532742.4159 | 1155910.2672
67 | 2532810.7695 | 1155979.3617
68 | 2532790.5031 | 1155884.1397
69 | 2532772.2884 | 1155912.7106
70 | 2532823.5044 | 1155912.3021
71 | 2532774.7389 | 1155882.6061
72 | 2532724.4977 | 1155854.5252
73 | 2532753.7304 | 1155843.812
74 | 2532756.8074 | 1155843.9332
75 | 2532743.4769 | 1155879.7115
76 | 2532757.8678 | 1155806.4339
77 | 2532722.8038 | 1155887.3718
78 | 2532758.7192 | 1155776.2855
79 | 2532686.5774 | 1155787.4104
80 | 2532856.9497 | 1155773.6635

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1