## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5624-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5624-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5624-9_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5624-9_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5624-9_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5624-9_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5624-9_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5624-9_0_6_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_5624-9_0_6_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_5624-9_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5624-9_0_6_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_5624-9_0_6_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_5624-9_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5624-9_0_6_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_5624-9_0_6_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_5624-9_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5624-9_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5624-9_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5624-9_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5624-9_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5624-9_0_6_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_5624-9_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5624-9_0_6_node_112 | 0.4 | n |  | TRUE
23 | bus_LV_5624-9_0_6_node_104 | 0.4 | n |  | TRUE
24 | bus_LV_5624-9_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5624-9_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_5624-9_0_6_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_5624-9_0_6_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_5624-9_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5624-9_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5624-9_0_6_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5624-9_0_6_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5624-9_0_6_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_5624-9_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_5624-9_0_6_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_5624-9_0_6_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_5624-9_0_6_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_5624-9_0_6_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_5624-9_0_6_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_5624-9_0_6_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5624-9_0_6_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5624-9_0_6_node_103 | 0.4 | n |  | TRUE
42 | bus_LV_5624-9_0_6_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5624-9_0_6_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_5624-9_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5624-9_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_5624-9_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5624-9_0_6_node_108 | 0.4 | n |  | TRUE
48 | bus_LV_5624-9_0_6_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_5624-9_0_6_node_113 | 0.4 | n |  | TRUE
50 | bus_LV_5624-9_0_6_node_106 | 0.4 | n |  | TRUE
51 | bus_LV_5624-9_0_6_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_5624-9_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_5624-9_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5624-9_0_6_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_5624-9_0_6_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_5624-9_0_6_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_5624-9_0_6_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_5624-9_0_6_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5624-9_0_6_node_96 | 0.4 | n |  | TRUE
60 | bus_LV_5624-9_0_6_node_99 | 0.4 | n |  | TRUE
61 | bus_LV_5624-9_0_6_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_5624-9_0_6_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_5624-9_0_6_node_94 | 0.4 | n |  | TRUE
64 | bus_LV_5624-9_0_6_node_100 | 0.4 | n |  | TRUE
65 | bus_LV_5624-9_0_6_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_5624-9_0_6_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_5624-9_0_6_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5624-9_0_6_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_5624-9_0_6_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_5624-9_0_6_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_5624-9_0_6_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_5624-9_0_6_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_5624-9_0_6_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_5624-9_0_6_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_5624-9_0_6_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_5624-9_0_6_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_5624-9_0_6_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_5624-9_0_6_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_5624-9_0_6_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_5624-9_0_6_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_5624-9_0_6_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_5624-9_0_6_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_5624-9_0_6_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_5624-9_0_6_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_5624-9_0_6_node_109 | 0.4 | n |  | TRUE
86 | bus_LV_5624-9_0_6_node_110 | 0.4 | n |  | TRUE
87 | bus_LV_5624-9_0_6_node_60 | 0.4 | n |  | TRUE
88 | bus_LV_5624-9_0_6_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_5624-9_0_6_node_67 | 0.4 | n |  | TRUE
90 | bus_LV_5624-9_0_6_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_5624-9_0_6_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_5624-9_0_6_node_65 | 0.4 | n |  | TRUE
93 | bus_LV_5624-9_0_6_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_5624-9_0_6_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_5624-9_0_6_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_5624-9_0_6_node_79 | 0.4 | n |  | TRUE
97 | bus_LV_5624-9_0_6_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_5624-9_0_6_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_5624-9_0_6_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_5624-9_0_6_node_86 | 0.4 | n |  | TRUE
101 | bus_LV_5624-9_0_6_node_80 | 0.4 | n |  | TRUE
102 | bus_LV_5624-9_0_6_node_82 | 0.4 | n |  | TRUE
103 | bus_LV_5624-9_0_6_node_84 | 0.4 | n |  | TRUE
104 | bus_LV_5624-9_0_6_node_83 | 0.4 | n |  | TRUE
105 | bus_LV_5624-9_0_6_node_92 | 0.4 | n |  | TRUE
106 | bus_LV_5624-9_0_6_node_89 | 0.4 | n |  | TRUE
107 | bus_LV_5624-9_0_6_node_85 | 0.4 | n |  | TRUE
108 | bus_LV_5624-9_0_6_node_93 | 0.4 | n |  | TRUE
109 | bus_LV_5624-9_0_6_node_95 | 0.4 | n |  | TRUE
110 | bus_LV_5624-9_0_6_node_101 | 0.4 | n |  | TRUE
111 | bus_LV_5624-9_0_6_node_107 | 0.4 | n |  | TRUE
112 | bus_MV_623_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5624-9_0_6_load_0 | 0 | 0.0081171 | 0.0020343 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5624-9_0_6_load_2 | 2 | 0.01684 | 0.0042206 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5624-9_0_6_load_3 | 4 | 0.0095849 | 0.0024022 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5624-9_0_6_load_6 | 5 | 0.0088614 | 0.0022209 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5624-9_0_6_load_23 | 7 | 0.003494 | 0.00087567 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5624-9_0_6_load_20 | 8 | 0.011083 | 0.0027776 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5624-9_0_6_load_7 | 9 | 0.0080201 | 0.00201 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5624-9_0_6_load_8 | 12 | 0.011821 | 0.0029625 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5624-9_0_6_load_26 | 13 | 0.012123 | 0.0030383 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5624-9_0_6_load_27 | 14 | 0.010458 | 0.0026211 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5624-9_0_6_load_9 | 15 | 0.02453 | 0.0061477 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5624-9_0_6_load_10 | 16 | 0.0037806 | 0.00094751 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5624-9_0_6_load_19 | 20 | 0.005266 | 0.0013198 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5624-9_0_6_load_14 | 21 | 0.024871 | 0.0062334 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5624-9_0_6_load_112 | 22 | 0.0081886 | 0.0020522 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5624-9_0_6_load_104 | 23 | 0.0070807 | 0.0017746 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5624-9_0_6_load_41 | 27 | 0.0032067 | 0.00080368 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5624-9_0_6_load_45 | 32 | 0.0094178 | 0.0023603 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5624-9_0_6_load_29 | 33 | 0.0076219 | 0.0019102 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5624-9_0_6_load_35 | 34 | 0.0074553 | 0.0018685 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5624-9_0_6_load_33 | 35 | 0.010046 | 0.0025177 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5624-9_0_6_load_43 | 37 | 0.020276 | 0.0050817 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5624-9_0_6_load_103 | 41 | 0.0055676 | 0.0013954 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5624-9_0_6_load_37 | 42 | 0.0031185 | 0.00078157 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5624-9_0_6_load_25 | 43 | 0.006397 | 0.0016032 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5624-9_0_6_load_36 | 44 | 0.01166 | 0.0029222 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5624-9_0_6_load_34 | 45 | 0.010632 | 0.0026645 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5624-9_0_6_load_98 | 48 | 0.011219 | 0.0028116 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5624-9_0_6_load_113 | 49 | 0.012755 | 0.0031968 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5624-9_0_6_load_111 | 54 | 0.0040068 | 0.0010042 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5624-9_0_6_load_62 | 57 | 0.0029872 | 0.00074866 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5624-9_0_6_load_99 | 60 | 0.0070571 | 0.0017687 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5624-9_0_6_load_102 | 61 | 0.013846 | 0.0034701 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5624-9_0_6_load_105 | 62 | 0.0077633 | 0.0019457 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5624-9_0_6_load_100 | 64 | 0.0042548 | 0.0010663 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5624-9_0_6_load_48 | 65 | 0.013169 | 0.0033005 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5624-9_0_6_load_51 | 67 | 0.0050463 | 0.0012647 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5624-9_0_6_load_76 | 70 | 0.0017107 | 0.00042874 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5624-9_0_6_load_75 | 71 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5624-9_0_6_load_52 | 72 | 0.001656 | 0.00041505 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5624-9_0_6_load_53 | 73 | 0.002086 | 0.0005228 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5624-9_0_6_load_56 | 76 | 0.0012753 | 0.00031963 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5624-9_0_6_load_72 | 80 | 0.0031528 | 0.00079016 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5624-9_0_6_load_68 | 82 | 0.0031591 | 0.00079174 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5624-9_0_6_load_73 | 83 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5624-9_0_6_load_61 | 84 | 0.00171 | 0.00042857 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5624-9_0_6_load_109 | 85 | 0.0019319 | 0.00048419 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5624-9_0_6_load_110 | 86 | 0.0017769 | 0.00044533 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5624-9_0_6_load_60 | 87 | 0.0016601 | 0.00041606 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5624-9_0_6_load_67 | 89 | 0.0027726 | 0.00069487 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5624-9_0_6_load_74 | 90 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5624-9_0_6_load_63 | 91 | 0.002071 | 0.00051905 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5624-9_0_6_load_70 | 93 | 0.0020303 | 0.00050883 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5624-9_0_6_load_91 | 95 | 0.0019854 | 0.00049758 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5624-9_0_6_load_79 | 96 | 0.0025404 | 0.00063668 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5624-9_0_6_load_90 | 97 | 0.0020106 | 0.00050391 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5624-9_0_6_load_87 | 98 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5624-9_0_6_load_97 | 99 | 0.014199 | 0.0035585 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5624-9_0_6_load_86 | 100 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5624-9_0_6_load_80 | 101 | 0.002007 | 0.00050301 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5624-9_0_6_load_82 | 102 | 0.003013 | 0.00075512 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5624-9_0_6_load_84 | 103 | 0.0025576 | 0.000641 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5624-9_0_6_load_92 | 105 | 0.0027847 | 0.00069791 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5624-9_0_6_load_89 | 106 | 0.0022555 | 0.00056528 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5624-9_0_6_load_85 | 107 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5624-9_0_6_load_93 | 108 | 0.0028617 | 0.00071721 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5624-9_0_6_load_95 | 109 | 0.015118 | 0.0037889 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5624-9_0_6_load_101 | 110 | 0.0087452 | 0.0021918 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5624-9_0_6_load_107 | 111 | 0.0049222 | 0.0012336 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5624-9_0_6_line_0 |  | 0 | 1 | 0.020439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5624-9_0_6_line_1 |  | 0 | 2 | 0.0097518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5624-9_0_6_line_2 |  | 1 | 3 | 0.017281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5624-9_0_6_line_3 |  | 3 | 6 | 0.0043827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5624-9_0_6_line_4 |  | 3 | 7 | 0.017059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5624-9_0_6_line_5 |  | 4 | 5 | 0.0055604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5624-9_0_6_line_6 |  | 5 | 9 | 0.009831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5624-9_0_6_line_7 |  | 6 | 8 | 0.021793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5624-9_0_6_line_8 |  | 7 | 10 | 0.010991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5624-9_0_6_line_9 |  | 8 | 11 | 0.0028712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5624-9_0_6_line_10 |  | 9 | 12 | 0.015854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5624-9_0_6_line_11 |  | 10 | 43 | 0.0065053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5624-9_0_6_line_12 |  | 11 | 19 | 0.045688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5624-9_0_6_line_13 |  | 12 | 13 | 0.021396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5624-9_0_6_line_14 |  | 13 | 14 | 0.014982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5624-9_0_6_line_15 |  | 14 | 30 | 0.015992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5624-9_0_6_line_16 |  | 15 | 16 | 0.013102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5624-9_0_6_line_17 |  | 15 | 17 | 0.018941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5624-9_0_6_line_18 |  | 16 | 18 | 0.012761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5624-9_0_6_line_19 |  | 17 | 19 | 0.013089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5624-9_0_6_line_20 |  | 18 | 20 | 0.02385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5624-9_0_6_line_21 |  | 18 | 21 | 0.028998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5624-9_0_6_line_22 |  | 19 | 22 | 0.013558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5624-9_0_6_line_23 |  | 20 | 23 | 0.0090705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5624-9_0_6_line_24 |  | 21 | 24 | 0.031071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5624-9_0_6_line_25 |  | 23 | 41 | 0.0040601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5624-9_0_6_line_26 |  | 24 | 28 | 0.032029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5624-9_0_6_line_27 |  | 24 | 29 | 0.021776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5624-9_0_6_line_28 |  | 25 | 26 | 0.00999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5624-9_0_6_line_29 |  | 25 | 27 | 0.014235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5624-9_0_6_line_30 |  | 26 | 42 | 0.024112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5624-9_0_6_line_31 |  | 28 | 32 | 0.011178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5624-9_0_6_line_32 |  | 29 | 33 | 0.0048887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5624-9_0_6_line_33 |  | 30 | 31 | 0.033409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5624-9_0_6_line_34 |  | 31 | 34 | 0.0080868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5624-9_0_6_line_35 |  | 31 | 35 | 0.025364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5624-9_0_6_line_36 |  | 32 | 36 | 0.0026323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5624-9_0_6_line_37 |  | 33 | 39 | 0.034259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5624-9_0_6_line_38 |  | 34 | 44 | 0.0010178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5624-9_0_6_line_39 |  | 35 | 45 | 0.0013661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5624-9_0_6_line_40 |  | 36 | 61 | 0.019292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5624-9_0_6_line_41 |  | 36 | 38 | 0.009786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5624-9_0_6_line_42 |  | 37 | 38 | 0.0033682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5624-9_0_6_line_43 |  | 39 | 40 | 0.040075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5624-9_0_6_line_44 |  | 40 | 45 | 0.023322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5624-9_0_6_line_45 |  | 41 | 110 | 0.00064369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5624-9_0_6_line_46 |  | 42 | 52 | 0.0057718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5624-9_0_6_line_47 |  | 46 | 47 | 0.028127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5624-9_0_6_line_48 |  | 46 | 48 | 0.0162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5624-9_0_6_line_49 |  | 47 | 49 | 0.011821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5624-9_0_6_line_50 |  | 47 | 50 | 0.018615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5624-9_0_6_line_51 |  | 48 | 51 | 0.010308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5624-9_0_6_line_52 |  | 50 | 111 | 0.009383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5624-9_0_6_line_53 |  | 50 | 62 | 0.024705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5624-9_0_6_line_54 |  | 51 | 99 | 0.030267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5624-9_0_6_line_55 |  | 52 | 53 | 0.015167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5624-9_0_6_line_56 |  | 53 | 54 | 0.012788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5624-9_0_6_line_57 |  | 53 | 55 | 0.047583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5624-9_0_6_line_58 |  | 55 | 56 | 0.018356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5624-9_0_6_line_59 |  | 55 | 57 | 0.025845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5624-9_0_6_line_60 |  | 56 | 86 | 0.055678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5624-9_0_6_line_61 |  | 57 | 91 | 0.00088976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5624-9_0_6_line_62 |  | 58 | 59 | 0.004831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5624-9_0_6_line_63 |  | 58 | 60 | 0.022784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5624-9_0_6_line_64 |  | 59 | 62 | 0.017787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5624-9_0_6_line_65 |  | 59 | 63 | 0.024487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5624-9_0_6_line_66 |  | 60 | 64 | 0.018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5624-9_0_6_line_67 |  | 63 | 109 | 0.0080434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5624-9_0_6_line_68 |  | 63 | 108 | 0.022438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5624-9_0_6_line_69 |  | 64 | 110 | 0.0057739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5624-9_0_6_line_70 |  | 65 | 66 | 0.02739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5624-9_0_6_line_71 |  | 66 | 67 | 0.03532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5624-9_0_6_line_72 |  | 67 | 68 | 0.043894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5624-9_0_6_line_73 |  | 68 | 69 | 0.031186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5624-9_0_6_line_74 |  | 69 | 98 | 0.037902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5624-9_0_6_line_75 |  | 70 | 71 | 0.0058197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5624-9_0_6_line_76 |  | 71 | 90 | 0.0060081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5624-9_0_6_line_77 |  | 72 | 73 | 0.0039881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5624-9_0_6_line_78 |  | 72 | 74 | 0.0074263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5624-9_0_6_line_79 |  | 73 | 75 | 0.023596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5624-9_0_6_line_80 |  | 74 | 76 | 0.0094319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5624-9_0_6_line_81 |  | 75 | 77 | 0.023511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5624-9_0_6_line_82 |  | 76 | 78 | 0.0070598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5624-9_0_6_line_83 |  | 77 | 85 | 0.014473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5624-9_0_6_line_84 |  | 78 | 87 | 0.010317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5624-9_0_6_line_85 |  | 78 | 84 | 0.0066434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5624-9_0_6_line_86 |  | 79 | 80 | 0.009699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5624-9_0_6_line_87 |  | 79 | 81 | 0.024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5624-9_0_6_line_88 |  | 79 | 82 | 0.0061903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5624-9_0_6_line_89 |  | 80 | 88 | 0.012826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5624-9_0_6_line_90 |  | 81 | 83 | 0.014803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5624-9_0_6_line_91 |  | 81 | 84 | 0.0097321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5624-9_0_6_line_92 |  | 82 | 89 | 0.012742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5624-9_0_6_line_93 |  | 83 | 90 | 0.0062016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5624-9_0_6_line_94 |  | 88 | 94 | 0.009665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5624-9_0_6_line_95 |  | 89 | 92 | 0.0068849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5624-9_0_6_line_96 |  | 91 | 92 | 0.011395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5624-9_0_6_line_97 |  | 92 | 93 | 0.012312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5624-9_0_6_line_98 |  | 93 | 95 | 0.0063472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5624-9_0_6_line_99 |  | 94 | 96 | 0.012847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5624-9_0_6_line_100 |  | 95 | 97 | 0.0063649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5624-9_0_6_line_101 |  | 96 | 101 | 0.0083136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5624-9_0_6_line_102 |  | 97 | 106 | 6.9335e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5624-9_0_6_line_103 |  | 98 | 100 | 0.0056895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5624-9_0_6_line_104 |  | 100 | 107 | 0.0064597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5624-9_0_6_line_105 |  | 101 | 102 | 0.003779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5624-9_0_6_line_106 |  | 102 | 103 | 0.01742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5624-9_0_6_line_107 |  | 103 | 107 | 0.0095268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5624-9_0_6_line_108 |  | 104 | 105 | 0.010684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5624-9_0_6_line_109 |  | 104 | 106 | 0.018691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5624-9_0_6_line_110 |  | 105 | 108 | 0.0063231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5624-9_0_6_trafo_100 | 0.63 MVA 20/0.4 kV | 112 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2532468.0882 | 1156008.8398 | 2532464.2191 | 1156018.7555 | 2532464.5175 | 1156028.5457
1 | 2532464.8146 | 1156038.2929 | 2532464.5175 | 1156028.5457
2 | 2532460.5786 | 1155995.1166 | 2532462.2743 | 1155994.4972 | 2532468.0882 | 1156008.8398
3 | 2532460.5786 | 1155995.1166 | 2532462.2743 | 1155994.4972 | 2532464.7036 | 1155993.6361
4 | 2532460.5786 | 1155995.1166 | 2532444.5427 | 1156000.9357
5 | 2532483.2322 | 1156064.4671 | 2532486.1732 | 1156069.186
6 | 2532491.3731 | 1156077.5292 | 2532486.1732 | 1156069.186
7 | 2532464.7036 | 1155993.6361 | 2532482.7702 | 1155987.2073 | 2532485.3668 | 1155986.8813
8 | 2532434.2105 | 1156004.685 | 2532444.5427 | 1156000.9357
9 | 2532488.2156 | 1155986.5235 | 2532485.3668 | 1155986.8813
10 | 2532491.3731 | 1156077.5292 | 2532491.6128 | 1156077.9137 | 2532499.56 | 1156091.1055
11 | 2532434.2105 | 1156004.685 | 2532428.09 | 1156006.8894
12 | 2532488.2156 | 1155986.5235 | 2532498.1798 | 1155985.2665 | 2532511.0211 | 1155986.1449 | 2532511.215 | 1155988.3884 | 2532511.7662 | 1155991.0282 | 2532511.8072 | 1155993.3067 | 2532514.6041 | 1156003.3253 | 2532516.384 | 1156008.1525
13 | 2532499.56 | 1156091.1055 | 2532501.6712 | 1156094.61 | 2532506.3714 | 1156111.2644
14 | 2532510.0969 | 1156125.7736 | 2532507.6699 | 1156115.8655 | 2532506.3714 | 1156111.2644
15 | 2532515.6615 | 1156137.699 | 2532513.2806 | 1156138.7707 | 2532510.0969 | 1156125.7736
16 | 2532533.0175 | 1156050.1013 | 2532528.0174 | 1156037.9911
17 | 2532520.9244 | 1156020.4305 | 2532522.2297 | 1156023.9733 | 2532528.0174 | 1156037.9911
18 | 2532537.8876 | 1156061.8963 | 2532533.0175 | 1156050.1013
19 | 2532520.9244 | 1156020.4305 | 2532516.384 | 1156008.1525
20 | 2532537.8876 | 1156061.8963 | 2532550.0048 | 1156064.5618 | 2532552.507 | 1156060.6315 | 2532558.5298 | 1156058.0958 | 2532558.7721 | 1156058.036
21 | 2532537.8876 | 1156061.8963 | 2532549.0658 | 1156088.6529
22 | 2532516.384 | 1156008.1525 | 2532529.9798 | 1156007.9219
23 | 2532558.7721 | 1156058.036 | 2532567.5782 | 1156055.8619
24 | 2532561.0432 | 1156117.3226 | 2532549.0658 | 1156088.6529
25 | 2532571.5199 | 1156054.8887 | 2532567.5782 | 1156055.8619
26 | 2532561.0432 | 1156117.3226 | 2532562.8599 | 1156122.016 | 2532576.4832 | 1156124.9425 | 2532587.9322 | 1156118.655
27 | 2532561.0432 | 1156117.3226 | 2532562.8599 | 1156122.016 | 2532568.8643 | 1156137.6461
28 | 2532564.6904 | 1155970.1447 | 2532555.2719 | 1155973.5523
29 | 2532555.2719 | 1155973.5523 | 2532555.0639 | 1155987.7861
30 | 2532564.6904 | 1155970.1447 | 2532582.3819 | 1155963.7649 | 2532587.4595 | 1155962.2277
31 | 2532587.9322 | 1156118.655 | 2532590.3425 | 1156107.7401
32 | 2532568.8643 | 1156137.6461 | 2532570.6184 | 1156142.2093
33 | 2532515.6615 | 1156137.699 | 2532518.4672 | 1156161.4695 | 2532511.3746 | 1156167.7637
34 | 2532511.3746 | 1156167.7637 | 2532503.288 | 1156167.7065
35 | 2532511.3746 | 1156167.7637 | 2532525.7178 | 1156167.8805 | 2532531.7359 | 1156177.1127
36 | 2532590.9101 | 1156105.1697 | 2532590.3425 | 1156107.7401
37 | 2532582.9108 | 1156174.1865 | 2532570.6184 | 1156142.2093
38 | 2532502.2702 | 1156167.6993 | 2532503.288 | 1156167.7065
39 | 2532531.7359 | 1156177.1127 | 2532532.4819 | 1156178.2571
40 | 2532590.9101 | 1156105.1697 | 2532593.0196 | 1156095.6408 | 2532592.7311 | 1156086.113
41 | 2532599.7219 | 1156105.8157 | 2532593.4886 | 1156107.3642 | 2532590.9101 | 1156105.1697
42 | 2532599.7219 | 1156105.8157 | 2532597.2254 | 1156108.0766
43 | 2532548.6933 | 1156194.9931 | 2532553.6677 | 1156191.9912 | 2532580.4404 | 1156176.1598 | 2532582.9108 | 1156174.1865
44 | 2532548.6933 | 1156194.9931 | 2532533.0848 | 1156179.1818 | 2532532.4819 | 1156178.2571
45 | 2532571.5199 | 1156054.8887 | 2532572.1449 | 1156054.7344
46 | 2532592.9837 | 1155960.5553 | 2532587.4595 | 1155962.2277
47 | 2532663.22 | 1156122.4019 | 2532660.6014 | 1156115.2717 | 2532658.1171 | 1156109.8521 | 2532658.7178 | 1156096.3935 | 2532658.5752 | 1156095.3056
48 | 2532663.22 | 1156122.4019 | 2532676.8598 | 1156113.6613
49 | 2532658.5752 | 1156095.3056 | 2532646.8589 | 1156093.5026
50 | 2532658.5752 | 1156095.3056 | 2532657.5596 | 1156087.4904 | 2532655.4781 | 1156076.9635
51 | 2532685.5391 | 1156108.0995 | 2532676.8598 | 1156113.6613
52 | 2532655.4781 | 1156076.9635 | 2532646.0684 | 1156077.0356
53 | 2532655.4781 | 1156076.9635 | 2532655.1448 | 1156075.2774 | 2532650.188 | 1156065.5053 | 2532645.116 | 1156059.8146 | 2532641.0656 | 1156058.0795
54 | 2532685.5391 | 1156108.0995 | 2532669.2537 | 1156082.5868
55 | 2532592.9837 | 1155960.5553 | 2532607.5374 | 1155956.1452
56 | 2532607.5374 | 1155956.1452 | 2532606.6067 | 1155968.896
57 | 2532607.5374 | 1155956.1452 | 2532613.4918 | 1155954.333 | 2532617.8488 | 1155953.0167 | 2532638.21 | 1155952.1546 | 2532642.9016 | 1155951.9575 | 2532654.6231 | 1155951.4592
58 | 2532654.6231 | 1155951.4592 | 2532662.9484 | 1155949.7316 | 2532662.5619 | 1155939.886
59 | 2532654.6231 | 1155951.4592 | 2532671.0527 | 1155966.6057 | 2532671.459 | 1155970.0811
60 | 2532662.5619 | 1155939.886 | 2532718.2451 | 1155944.0647
61 | 2532671.459 | 1155970.0811 | 2532671.5623 | 1155970.9649
62 | 2532619.4035 | 1156051.9429 | 2532624.1539 | 1156052.8902
63 | 2532619.4035 | 1156051.9429 | 2532596.6351 | 1156052.7883
64 | 2532624.1539 | 1156052.8902 | 2532633.0782 | 1156054.6578 | 2532641.0656 | 1156058.0795
65 | 2532624.1539 | 1156052.8902 | 2532627.2293 | 1156046.7189 | 2532633.6916 | 1156041.6548 | 2532641.7124 | 1156036.7177
66 | 2532577.7825 | 1156053.4884 | 2532596.6351 | 1156052.7883
67 | 2532641.7124 | 1156036.7177 | 2532646.4023 | 1156043.2523
68 | 2532641.7124 | 1156036.7177 | 2532639.6712 | 1156033.8835 | 2532634.9041 | 1156028.0337 | 2532635.7709 | 1156023.9439 | 2532639.6448 | 1156017.8527
69 | 2532577.7825 | 1156053.4884 | 2532572.5876 | 1156054.6251 | 2532572.1449 | 1156054.7344
70 | 2532808.1029 | 1156077.6554 | 2532813.4116 | 1156050.7848
71 | 2532808.1029 | 1156077.6554 | 2532796.9242 | 1156076.602 | 2532793.0928 | 1156079.6466 | 2532789.4188 | 1156089.2152 | 2532787.6476 | 1156097.9867
72 | 2532747.6384 | 1156079.933 | 2532787.6476 | 1156097.9867
73 | 2532725.4765 | 1156093.2218 | 2532746.1418 | 1156090.1109 | 2532747.6384 | 1156079.933
74 | 2532725.4765 | 1156093.2218 | 2532718.6177 | 1156079.3353 | 2532707.9585 | 1156075.3636 | 2532701.4427 | 1156066.4524
75 | 2532727.5623 | 1156032.1013 | 2532728.3616 | 1156033.0895 | 2532730.9011 | 1156036.8634
76 | 2532723.784 | 1156027.4299 | 2532727.5623 | 1156032.1013
77 | 2532708.888 | 1155980.6289 | 2532708.2861 | 1155976.6864
78 | 2532710.0089 | 1155987.97 | 2532708.888 | 1155980.6289
79 | 2532709.8335 | 1155953.1528 | 2532708.2127 | 1155976.2059 | 2532708.2861 | 1155976.6864
80 | 2532710.0089 | 1155987.97 | 2532716.8455 | 1155994.4678
81 | 2532709.8335 | 1155953.1528 | 2532732.6485 | 1155959.0895
82 | 2532721.9628 | 1155999.3314 | 2532716.8455 | 1155994.4678
83 | 2532732.6485 | 1155959.0895 | 2532733.1737 | 1155949.1448 | 2532737.6983 | 1155949.0941
84 | 2532721.9628 | 1155999.3314 | 2532728.0439 | 1156000.6196 | 2532732.1441 | 1156000.5266
85 | 2532721.9628 | 1155999.3314 | 2532717.3428 | 1156004.1053
86 | 2532692.2432 | 1155999.3642 | 2532682.5909 | 1156000.3149
87 | 2532692.2432 | 1155999.3642 | 2532702.1095 | 1155999.6427 | 2532710.5748 | 1156011.0987
88 | 2532692.2432 | 1155999.3642 | 2532687.6016 | 1155995.2685
89 | 2532669.8264 | 1156001.5721 | 2532682.5909 | 1156000.3149
90 | 2532710.5748 | 1156011.0987 | 2532719.8839 | 1156022.6082
91 | 2532710.5748 | 1156011.0987 | 2532717.3428 | 1156004.1053
92 | 2532678.0476 | 1155986.838 | 2532687.6016 | 1155995.2685
93 | 2532719.8839 | 1156022.6082 | 2532723.784 | 1156027.4299
94 | 2532670.4484 | 1156011.2149 | 2532669.8264 | 1156001.5721
95 | 2532672.8851 | 1155982.2827 | 2532678.0476 | 1155986.838
96 | 2532672.8851 | 1155982.2827 | 2532671.5623 | 1155970.9649
97 | 2532672.8851 | 1155982.2827 | 2532661.3388 | 1155986.5578
98 | 2532655.3864 | 1155988.7616 | 2532661.3388 | 1155986.5578
99 | 2532670.4484 | 1156011.2149 | 2532677.01 | 1156022.2597
100 | 2532649.4175 | 1155990.9716 | 2532655.3864 | 1155988.7616
101 | 2532677.01 | 1156022.2597 | 2532677.9607 | 1156023.86 | 2532682.0361 | 1156028.8622
102 | 2532649.4175 | 1155990.9716 | 2532649.3525 | 1155990.9957
103 | 2532698.0838 | 1156061.8603 | 2532698.0977 | 1156061.8777 | 2532701.4427 | 1156066.4524
104 | 2532694.0427 | 1156056.8207 | 2532698.0838 | 1156061.8603
105 | 2532682.0361 | 1156028.8622 | 2532684.4231 | 1156031.792
106 | 2532684.4231 | 1156031.792 | 2532684.4231 | 1156031.792 | 2532689.2806 | 1156046.4012 | 2532689.9983 | 1156048.2936
107 | 2532689.9983 | 1156048.2936 | 2532692.5051 | 1156054.9031 | 2532694.0427 | 1156056.8207
108 | 2532653.357 | 1156008.1825 | 2532652.7417 | 1156009.3901 | 2532647.3291 | 1156013.6865 | 2532645.2034 | 1156014.8389
109 | 2532653.357 | 1156008.1825 | 2532654.9702 | 1156004.9849 | 2532652.4816 | 1155999.8766 | 2532650.7548 | 1155994.304 | 2532649.3525 | 1155990.9957 | 2532649.3525 | 1155990.9957
110 | 2532645.2034 | 1156014.8389 | 2532639.6448 | 1156017.8527 | 2532639.6448 | 1156017.8527

## bus_geodata
| x | y | coords
0 | 2532464.5175 | 1156028.5457
1 | 2532468.0882 | 1156008.8398
2 | 2532464.8146 | 1156038.2929
3 | 2532460.5786 | 1155995.1166
4 | 2532483.2322 | 1156064.4671
5 | 2532486.1732 | 1156069.186
6 | 2532464.7036 | 1155993.6361
7 | 2532444.5427 | 1156000.9357
8 | 2532485.3668 | 1155986.8813
9 | 2532491.3731 | 1156077.5292
10 | 2532434.2105 | 1156004.685
11 | 2532488.2156 | 1155986.5235
12 | 2532499.56 | 1156091.1055
13 | 2532506.3714 | 1156111.2644
14 | 2532510.0969 | 1156125.7736
15 | 2532528.0174 | 1156037.9911
16 | 2532533.0175 | 1156050.1013
17 | 2532520.9244 | 1156020.4305
18 | 2532537.8876 | 1156061.8963
19 | 2532516.384 | 1156008.1525
20 | 2532558.7721 | 1156058.036
21 | 2532549.0658 | 1156088.6529
22 | 2532529.9798 | 1156007.9219
23 | 2532567.5782 | 1156055.8619
24 | 2532561.0432 | 1156117.3226
25 | 2532555.2719 | 1155973.5523
26 | 2532564.6904 | 1155970.1447
27 | 2532555.0639 | 1155987.7861
28 | 2532587.9322 | 1156118.655
29 | 2532568.8643 | 1156137.6461
30 | 2532515.6615 | 1156137.699
31 | 2532511.3746 | 1156167.7637
32 | 2532590.3425 | 1156107.7401
33 | 2532570.6184 | 1156142.2093
34 | 2532503.288 | 1156167.7065
35 | 2532531.7359 | 1156177.1127
36 | 2532590.9101 | 1156105.1697
37 | 2532597.2254 | 1156108.0766
38 | 2532599.7219 | 1156105.8157
39 | 2532582.9108 | 1156174.1865
40 | 2532548.6933 | 1156194.9931
41 | 2532571.5199 | 1156054.8887
42 | 2532587.4595 | 1155962.2277
43 | 2532428.09 | 1156006.8894
44 | 2532502.2702 | 1156167.6993
45 | 2532532.4819 | 1156178.2571
46 | 2532663.22 | 1156122.4019
47 | 2532658.5752 | 1156095.3056
48 | 2532676.8598 | 1156113.6613
49 | 2532646.8589 | 1156093.5026
50 | 2532655.4781 | 1156076.9635
51 | 2532685.5391 | 1156108.0995
52 | 2532592.9837 | 1155960.5553
53 | 2532607.5374 | 1155956.1452
54 | 2532606.6067 | 1155968.896
55 | 2532654.6231 | 1155951.4592
56 | 2532662.5619 | 1155939.886
57 | 2532671.459 | 1155970.0811
58 | 2532619.4035 | 1156051.9429
59 | 2532624.1539 | 1156052.8902
60 | 2532596.6351 | 1156052.7883
61 | 2532592.7311 | 1156086.113
62 | 2532641.0656 | 1156058.0795
63 | 2532641.7124 | 1156036.7177
64 | 2532577.7825 | 1156053.4884
65 | 2532813.4116 | 1156050.7848
66 | 2532808.1029 | 1156077.6554
67 | 2532787.6476 | 1156097.9867
68 | 2532747.6384 | 1156079.933
69 | 2532725.4765 | 1156093.2218
70 | 2532730.9011 | 1156036.8634
71 | 2532727.5623 | 1156032.1013
72 | 2532708.888 | 1155980.6289
73 | 2532708.2861 | 1155976.6864
74 | 2532710.0089 | 1155987.97
75 | 2532709.8335 | 1155953.1528
76 | 2532716.8455 | 1155994.4678
77 | 2532732.6485 | 1155959.0895
78 | 2532721.9628 | 1155999.3314
79 | 2532692.2432 | 1155999.3642
80 | 2532682.5909 | 1156000.3149
81 | 2532710.5748 | 1156011.0987
82 | 2532687.6016 | 1155995.2685
83 | 2532719.8839 | 1156022.6082
84 | 2532717.3428 | 1156004.1053
85 | 2532737.6983 | 1155949.0941
86 | 2532718.2451 | 1155944.0647
87 | 2532732.1441 | 1156000.5266
88 | 2532669.8264 | 1156001.5721
89 | 2532678.0476 | 1155986.838
90 | 2532723.784 | 1156027.4299
91 | 2532671.5623 | 1155970.9649
92 | 2532672.8851 | 1155982.2827
93 | 2532661.3388 | 1155986.5578
94 | 2532670.4484 | 1156011.2149
95 | 2532655.3864 | 1155988.7616
96 | 2532677.01 | 1156022.2597
97 | 2532649.4175 | 1155990.9716
98 | 2532701.4427 | 1156066.4524
99 | 2532669.2537 | 1156082.5868
100 | 2532698.0838 | 1156061.8603
101 | 2532682.0361 | 1156028.8622
102 | 2532684.4231 | 1156031.792
103 | 2532689.9983 | 1156048.2936
104 | 2532653.357 | 1156008.1825
105 | 2532645.2034 | 1156014.8389
106 | 2532649.3525 | 1155990.9957
107 | 2532694.0427 | 1156056.8207
108 | 2532639.6448 | 1156017.8527
109 | 2532646.4023 | 1156043.2523
110 | 2532572.1449 | 1156054.7344
111 | 2532646.0684 | 1156077.0356
112 | 2532619.4035 | 1156051.9429

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1