## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5627-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5627-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5627-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5627-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5627-11_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5627-11_0_4_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_5627-11_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5627-11_0_4_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_5627-11_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5627-11_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5627-11_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5627-11_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5627-11_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5627-11_0_4_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_5627-11_0_4_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_5627-11_0_4_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_5627-11_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_5627-11_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5627-11_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5627-11_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5627-11_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5627-11_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5627-11_0_4_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_5627-11_0_4_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_5627-11_0_4_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_5627-11_0_4_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_5627-11_0_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_5627-11_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5627-11_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5627-11_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5627-11_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5627-11_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5627-11_0_4_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_5627-11_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_5627-11_0_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_5627-11_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_5627-11_0_4_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_5627-11_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_5627-11_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5627-11_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5627-11_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5627-11_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5627-11_0_4_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_5627-11_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_5627-11_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5627-11_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5627-11_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_5627-11_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5627-11_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5627-11_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_5627-11_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_5627-11_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_5627-11_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_5627-11_0_4_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_5627-11_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5627-11_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_5627-11_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5627-11_0_4_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_5627-11_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_5627-11_0_4_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_5627-11_0_4_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_5627-11_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5627-11_0_4_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_5627-11_0_4_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_5627-11_0_4_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_5627-11_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_5627-11_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5627-11_0_4_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_5627-11_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_MV_621_0_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5627-11_0_4_load_0 | 0 | 0.030788 | 0.0077162 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5627-11_0_4_load_1 | 1 | 0.0043591 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5627-11_0_4_load_2 | 2 | 0.018951 | 0.0047496 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5627-11_0_4_load_3 | 3 | 0.0099589 | 0.0024959 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5627-11_0_4_load_69 | 5 | 0.0043952 | 0.0011015 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5627-11_0_4_load_5 | 8 | 0.0063329 | 0.0015872 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5627-11_0_4_load_8 | 9 | 0.026885 | 0.0067379 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5627-11_0_4_load_11 | 11 | 0.055457 | 0.013899 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5627-11_0_4_load_12 | 12 | 0.0097179 | 0.0024355 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5627-11_0_4_load_61 | 14 | 0.0017107 | 0.00042873 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5627-11_0_4_load_25 | 15 | 0.013218 | 0.0033128 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5627-11_0_4_load_13 | 17 | 0.03243 | 0.0081277 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5627-11_0_4_load_14 | 18 | 0.050476 | 0.012651 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5627-11_0_4_load_16 | 20 | 0.0012398 | 0.00031073 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5627-11_0_4_load_17 | 21 | 0.0016493 | 0.00041337 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5627-11_0_4_load_56 | 22 | 0.00076871 | 0.00019266 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5627-11_0_4_load_39 | 26 | 0.0067625 | 0.0016948 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5627-11_0_4_load_18 | 27 | 0.028295 | 0.0070913 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5627-11_0_4_load_19 | 28 | 0.0036639 | 0.00091825 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5627-11_0_4_load_21 | 30 | 0.0025714 | 0.00064445 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5627-11_0_4_load_23 | 31 | 0.0057656 | 0.001445 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5627-11_0_4_load_75 | 32 | 0.0016197 | 0.00040594 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5627-11_0_4_load_43 | 33 | 0.0028855 | 0.00072317 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5627-11_0_4_load_42 | 34 | 0.0041072 | 0.0010294 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5627-11_0_4_load_44 | 35 | 0.0031388 | 0.00078666 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5627-11_0_4_load_59 | 36 | 0.0049163 | 0.0012321 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5627-11_0_4_load_60 | 37 | 0.0020884 | 0.00052341 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5627-11_0_4_load_26 | 38 | 0.0040785 | 0.0010222 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5627-11_0_4_load_27 | 39 | 0.0027763 | 0.0006958 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5627-11_0_4_load_29 | 40 | 0.0025032 | 0.00062735 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5627-11_0_4_load_38 | 41 | 0.0028124 | 0.00070486 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5627-11_0_4_load_55 | 42 | 0.0045553 | 0.0011417 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5627-11_0_4_load_34 | 43 | 0.0036416 | 0.00091266 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5627-11_0_4_load_32 | 44 | 0.0032715 | 0.00081991 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5627-11_0_4_load_33 | 45 | 0.0015352 | 0.00038475 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5627-11_0_4_load_36 | 47 | 0.0042809 | 0.0010729 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5627-11_0_4_load_37 | 48 | 0.0011399 | 0.00028568 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5627-11_0_4_load_45 | 49 | 0.0017153 | 0.0004299 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5627-11_0_4_load_58 | 50 | 0.0024961 | 0.00062559 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5627-11_0_4_load_46 | 51 | 0.0022978 | 0.00057588 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5627-11_0_4_load_47 | 54 | 0.0026124 | 0.00065473 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5627-11_0_4_load_72 | 57 | 0.0030995 | 0.0007768 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5627-11_0_4_load_73 | 59 | 0.005465 | 0.0013697 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5627-11_0_4_load_74 | 60 | 0.0031397 | 0.00078687 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5627-11_0_4_load_57 | 61 | 0.0017817 | 0.00044653 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5627-11_0_4_load_70 | 62 | 0.0039305 | 0.00098508 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5627-11_0_4_load_53 | 65 | 0.0014484 | 0.00036301 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5627-11_0_4_load_62 | 66 | 0.0026536 | 0.00066506 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5627-11_0_4_load_65 | 67 | 0.015321 | 0.0038399 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5627-11_0_4_load_71 | 68 | 0.0049834 | 0.001249 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5627-11_0_4_line_0 |  | 0 | 1 | 0.065225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5627-11_0_4_line_1 |  | 0 | 2 | 0.043409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5627-11_0_4_line_2 |  | 1 | 3 | 0.0047449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5627-11_0_4_line_3 |  | 2 | 4 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5627-11_0_4_line_4 |  | 3 | 5 | 0.029521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5627-11_0_4_line_5 |  | 4 | 6 | 0.083308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5627-11_0_4_line_6 |  | 5 | 7 | 0.026313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5627-11_0_4_line_7 |  | 6 | 8 | 0.090087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5627-11_0_4_line_8 |  | 7 | 62 | 0.029334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5627-11_0_4_line_9 |  | 7 | 63 | 0.027627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5627-11_0_4_line_10 |  | 7 | 58 | 0.025107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5627-11_0_4_line_11 |  | 9 | 10 | 0.045971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5627-11_0_4_line_12 |  | 10 | 11 | 0.028646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5627-11_0_4_line_13 |  | 10 | 12 | 0.017659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5627-11_0_4_line_14 |  | 11 | 13 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5627-11_0_4_line_15 |  | 12 | 14 | 0.028155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5627-11_0_4_line_16 |  | 13 | 15 | 0.026345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5627-11_0_4_line_17 |  | 13 | 16 | 0.022297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5627-11_0_4_line_18 |  | 15 | 36 | 0.0093203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5627-11_0_4_line_19 |  | 16 | 32 | 0.055288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5627-11_0_4_line_20 |  | 16 | 29 | 0.012118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5627-11_0_4_line_21 |  | 17 | 18 | 0.02145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5627-11_0_4_line_22 |  | 17 | 19 | 0.029368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5627-11_0_4_line_23 |  | 19 | 20 | 0.013397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5627-11_0_4_line_24 |  | 19 | 21 | 0.0075379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5627-11_0_4_line_25 |  | 20 | 22 | 0.018975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5627-11_0_4_line_26 |  | 21 | 23 | 0.023321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5627-11_0_4_line_27 |  | 22 | 24 | 0.011904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5627-11_0_4_line_28 |  | 23 | 25 | 0.006537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5627-11_0_4_line_29 |  | 23 | 26 | 0.01484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5627-11_0_4_line_30 |  | 24 | 42 | 0.052078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5627-11_0_4_line_31 |  | 24 | 61 | 0.031153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5627-11_0_4_line_32 |  | 24 | 65 | 0.016096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5627-11_0_4_line_33 |  | 25 | 34 | 0.036057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5627-11_0_4_line_34 |  | 25 | 30 | 0.021291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5627-11_0_4_line_35 |  | 26 | 41 | 0.0087794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5627-11_0_4_line_36 |  | 27 | 28 | 0.0051359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5627-11_0_4_line_37 |  | 27 | 29 | 0.019856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5627-11_0_4_line_38 |  | 28 | 30 | 0.01655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5627-11_0_4_line_39 |  | 29 | 31 | 0.030101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5627-11_0_4_line_40 |  | 31 | 33 | 0.0068024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5627-11_0_4_line_41 |  | 33 | 35 | 0.012958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5627-11_0_4_line_42 |  | 34 | 52 | 0.011243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5627-11_0_4_line_43 |  | 35 | 51 | 0.0010575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5627-11_0_4_line_44 |  | 36 | 37 | 0.0013426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5627-11_0_4_line_45 |  | 38 | 39 | 0.027274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5627-11_0_4_line_46 |  | 39 | 40 | 0.014567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5627-11_0_4_line_47 |  | 40 | 41 | 0.0074709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5627-11_0_4_line_48 |  | 43 | 44 | 0.0049978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5627-11_0_4_line_49 |  | 44 | 45 | 0.01831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5627-11_0_4_line_50 |  | 45 | 46 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5627-11_0_4_line_51 |  | 46 | 47 | 0.021487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5627-11_0_4_line_52 |  | 46 | 48 | 0.010639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5627-11_0_4_line_53 |  | 47 | 49 | 0.0030011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5627-11_0_4_line_54 |  | 48 | 50 | 0.044415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5627-11_0_4_line_55 |  | 49 | 51 | 0.025676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5627-11_0_4_line_56 |  | 52 | 53 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5627-11_0_4_line_57 |  | 53 | 67 | 0.036924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5627-11_0_4_line_58 |  | 53 | 66 | 0.015149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5627-11_0_4_line_59 |  | 54 | 55 | 0.036305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5627-11_0_4_line_60 |  | 55 | 56 | 0.025384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5627-11_0_4_line_61 |  | 56 | 57 | 0.013534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5627-11_0_4_line_62 |  | 57 | 60 | 0.00019586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5627-11_0_4_line_63 |  | 58 | 59 | 0.01557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5627-11_0_4_line_64 |  | 59 | 64 | 0.018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5627-11_0_4_line_65 |  | 60 | 64 | 0.018179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5627-11_0_4_line_66 |  | 62 | 68 | 0.002068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5627-11_0_4_line_67 |  | 63 | 66 | 0.0030124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5627-11_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 69 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2533681.823 | 1154000.9627 | 2533688.5318 | 1153988.2798 | 2533694.2922 | 1153997.1878 | 2533699.1429 | 1154002.9153 | 2533705.2759 | 1154005.2711 | 2533710.1421 | 1154005.4509 | 2533716.3026 | 1154002.6481 | 2533719.0181 | 1154002.607 | 2533719.9136 | 1154003.7978 | 2533727.5347 | 1154010.8006
1 | 2533681.823 | 1154000.9627 | 2533678.5589 | 1154007.1335 | 2533682.8544 | 1154018.17 | 2533684.0721 | 1154022.1476 | 2533684.5505 | 1154027.2563 | 2533682.2333 | 1154033.4964 | 2533677.2862 | 1154040.5771 | 2533677.2862 | 1154040.5771
2 | 2533727.5347 | 1154010.8006 | 2533731.0286 | 1154014.011
3 | 2533666.4968 | 1154049.3899 | 2533677.2862 | 1154040.5771
4 | 2533752.7666 | 1154033.9852 | 2533731.0286 | 1154014.011
5 | 2533666.4968 | 1154049.3899 | 2533590.8699 | 1154014.4501
6 | 2533765.0583 | 1154056.129 | 2533760.9924 | 1154041.5436 | 2533752.7666 | 1154033.9852
7 | 2533590.8699 | 1154014.4501 | 2533583.9434 | 1154029.8574 | 2533569.4916 | 1154062.7018 | 2533565.4858 | 1154074.4081 | 2533563.1875 | 1154085.1171 | 2533560.616 | 1154098.8643
8 | 2533765.0583 | 1154056.129 | 2533738.5137 | 1154068.6138
9 | 2533765.0583 | 1154056.129 | 2533775.5331 | 1154050.7773 | 2533789.7157 | 1154043.5282
10 | 2533765.0583 | 1154056.129 | 2533769.316 | 1154067.2327 | 2533776.0166 | 1154078.6318
11 | 2533751.3285 | 1153917.2706 | 2533712.3468 | 1153892.9026
12 | 2533751.3285 | 1153917.2706 | 2533769.5848 | 1153929.4539 | 2533774.8525 | 1153933.5898
13 | 2533751.3285 | 1153917.2706 | 2533760.0398 | 1153901.9093
14 | 2533787.3463 | 1153943.3992 | 2533774.8525 | 1153933.5898
15 | 2533760.0398 | 1153901.9093 | 2533773.9283 | 1153877.4186
16 | 2533787.3463 | 1153943.3992 | 2533800.2669 | 1153920.4407
17 | 2533787.3463 | 1153943.3992 | 2533804.5586 | 1153957.6286
18 | 2533804.838 | 1153912.3183 | 2533800.2669 | 1153920.4407
19 | 2533804.5586 | 1153957.6286 | 2533780.8307 | 1153971.7644 | 2533763.2835 | 1153993.2695
20 | 2533804.5586 | 1153957.6286 | 2533813.9119 | 1153965.3632
21 | 2533902.5534 | 1154029.4925 | 2533923.5976 | 1154025.341
22 | 2533873.7412 | 1154035.1765 | 2533902.5534 | 1154029.4925
23 | 2533873.7412 | 1154035.1765 | 2533876.0639 | 1154048.3709
24 | 2533873.7412 | 1154035.1765 | 2533872.4362 | 1154027.7524
25 | 2533879.3536 | 1154067.0587 | 2533876.0639 | 1154048.3709
26 | 2533866.9814 | 1154005.1454 | 2533870.0664 | 1154014.2832 | 2533870.451 | 1154016.4579 | 2533872.4362 | 1154027.7524
27 | 2533881.4176 | 1154078.7827 | 2533880.3373 | 1154072.6468 | 2533879.3536 | 1154067.0587
28 | 2533860.7668 | 1154007.2261 | 2533866.9814 | 1154005.1454
29 | 2533866.9814 | 1154005.1454 | 2533876.0782 | 1154001.4433 | 2533880.6332 | 1153999.3358
30 | 2533881.4176 | 1154078.7827 | 2533888.2622 | 1154076.7952 | 2533927.2859 | 1154066.6383 | 2533931.8799 | 1154066.0861
31 | 2533881.4176 | 1154078.7827 | 2533851.6403 | 1154087.9369
32 | 2533881.4176 | 1154078.7827 | 2533883.5934 | 1154094.731
33 | 2533860.7668 | 1154007.2261 | 2533851.337 | 1154012.0436 | 2533828.6579 | 1154023.6306
34 | 2533860.7668 | 1154007.2261 | 2533844.8906 | 1153993.0401
35 | 2533880.6332 | 1153999.3358 | 2533888.6011 | 1153995.6492
36 | 2533832.549 | 1153982.0138 | 2533828.719 | 1153978.592
37 | 2533813.9119 | 1153965.3632 | 2533828.719 | 1153978.592
38 | 2533844.8906 | 1153993.0401 | 2533843.511 | 1153991.8075 | 2533832.549 | 1153982.0138
39 | 2533813.9119 | 1153965.3632 | 2533831.7031 | 1153941.0829
40 | 2533831.7031 | 1153941.0829 | 2533835.7237 | 1153935.5959
41 | 2533835.7237 | 1153935.5959 | 2533843.3827 | 1153925.1434
42 | 2533818.6457 | 1154028.7459 | 2533828.6579 | 1154023.6306
43 | 2533844.0252 | 1153924.3035 | 2533843.4435 | 1153925.0604 | 2533843.3827 | 1153925.1434
44 | 2533805.4965 | 1153911.1482 | 2533804.838 | 1153912.3183
45 | 2533908.6016 | 1153986.3955 | 2533915.3365 | 1153983.2794 | 2533933.9509 | 1153976.3754
46 | 2533908.6016 | 1153986.3955 | 2533895.3815 | 1153992.5121
47 | 2533895.3815 | 1153992.5121 | 2533888.6011 | 1153995.6492
48 | 2533903.8641 | 1153900.228 | 2533901.5196 | 1153900.3635 | 2533899.0426 | 1153899.4234
49 | 2533899.0426 | 1153899.4234 | 2533889.6778 | 1153895.869 | 2533883.0488 | 1153890.8859
50 | 2533874.5919 | 1153884.5287 | 2533883.0488 | 1153890.8859
51 | 2533874.5919 | 1153884.5287 | 2533861.4992 | 1153901.5655
52 | 2533874.5919 | 1153884.5287 | 2533865.7123 | 1153878.6686
53 | 2533861.4992 | 1153901.5655 | 2533859.6705 | 1153903.9451
54 | 2533865.7123 | 1153878.6686 | 2533837.9742 | 1153860.3628 | 2533828.1673 | 1153854.9927
55 | 2533844.0252 | 1153924.3035 | 2533859.6705 | 1153903.9451
56 | 2533805.8897 | 1154035.2678 | 2533818.6457 | 1154028.7459
57 | 2533805.8897 | 1154035.2678 | 2533797.1661 | 1154019.2217 | 2533785.6795 | 1154004.4845
58 | 2533805.8897 | 1154035.2678 | 2533792.3985 | 1154042.158
59 | 2533792.2017 | 1154106.202 | 2533806.4462 | 1154133.1266 | 2533808.6096 | 1154138.5561
60 | 2533792.2017 | 1154106.202 | 2533816.5319 | 1154098.7299
61 | 2533816.5319 | 1154098.7299 | 2533813.0363 | 1154085.6555
62 | 2533812.9857 | 1154085.4663 | 2533813.0363 | 1154085.6555
63 | 2533776.0166 | 1154078.6318 | 2533789.7422 | 1154071.2819
64 | 2533808.29 | 1154067.9037 | 2533790.8971 | 1154070.6635 | 2533789.7422 | 1154071.2819
65 | 2533808.29 | 1154067.9037 | 2533812.9857 | 1154085.4663
66 | 2533736.6424 | 1154069.494 | 2533738.5137 | 1154068.6138
67 | 2533789.7157 | 1154043.5282 | 2533792.3985 | 1154042.158

## bus_geodata
| x | y | coords
0 | 2533681.823 | 1154000.9627
1 | 2533727.5347 | 1154010.8006
2 | 2533677.2862 | 1154040.5771
3 | 2533731.0286 | 1154014.011
4 | 2533666.4968 | 1154049.3899
5 | 2533752.7666 | 1154033.9852
6 | 2533590.8699 | 1154014.4501
7 | 2533765.0583 | 1154056.129
8 | 2533560.616 | 1154098.8643
9 | 2533712.3468 | 1153892.9026
10 | 2533751.3285 | 1153917.2706
11 | 2533774.8525 | 1153933.5898
12 | 2533760.0398 | 1153901.9093
13 | 2533787.3463 | 1153943.3992
14 | 2533773.9283 | 1153877.4186
15 | 2533800.2669 | 1153920.4407
16 | 2533804.5586 | 1153957.6286
17 | 2533902.5534 | 1154029.4925
18 | 2533923.5976 | 1154025.341
19 | 2533873.7412 | 1154035.1765
20 | 2533876.0639 | 1154048.3709
21 | 2533872.4362 | 1154027.7524
22 | 2533879.3536 | 1154067.0587
23 | 2533866.9814 | 1154005.1454
24 | 2533881.4176 | 1154078.7827
25 | 2533860.7668 | 1154007.2261
26 | 2533880.6332 | 1153999.3358
27 | 2533828.719 | 1153978.592
28 | 2533832.549 | 1153982.0138
29 | 2533813.9119 | 1153965.3632
30 | 2533844.8906 | 1153993.0401
31 | 2533831.7031 | 1153941.0829
32 | 2533763.2835 | 1153993.2695
33 | 2533835.7237 | 1153935.5959
34 | 2533828.6579 | 1154023.6306
35 | 2533843.3827 | 1153925.1434
36 | 2533804.838 | 1153912.3183
37 | 2533805.4965 | 1153911.1482
38 | 2533933.9509 | 1153976.3754
39 | 2533908.6016 | 1153986.3955
40 | 2533895.3815 | 1153992.5121
41 | 2533888.6011 | 1153995.6492
42 | 2533931.8799 | 1154066.0861
43 | 2533903.8641 | 1153900.228
44 | 2533899.0426 | 1153899.4234
45 | 2533883.0488 | 1153890.8859
46 | 2533874.5919 | 1153884.5287
47 | 2533861.4992 | 1153901.5655
48 | 2533865.7123 | 1153878.6686
49 | 2533859.6705 | 1153903.9451
50 | 2533828.1673 | 1153854.9927
51 | 2533844.0252 | 1153924.3035
52 | 2533818.6457 | 1154028.7459
53 | 2533805.8897 | 1154035.2678
54 | 2533808.6096 | 1154138.5561
55 | 2533792.2017 | 1154106.202
56 | 2533816.5319 | 1154098.7299
57 | 2533813.0363 | 1154085.6555
58 | 2533776.0166 | 1154078.6318
59 | 2533789.7422 | 1154071.2819
60 | 2533812.9857 | 1154085.4663
61 | 2533851.6403 | 1154087.9369
62 | 2533738.5138 | 1154068.6138
63 | 2533789.7157 | 1154043.5282
64 | 2533808.29 | 1154067.9037
65 | 2533883.5934 | 1154094.731
66 | 2533792.3985 | 1154042.158
67 | 2533785.6795 | 1154004.4845
68 | 2533736.6424 | 1154069.494
69 | 2533804.5586 | 1153957.6286

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1