## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5628-1_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5628-1_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5628-1_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5628-1_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5628-1_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5628-1_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5628-1_0_8_node_94 | 0.4 | n |  | TRUE
7 | bus_LV_5628-1_0_8_node_103 | 0.4 | n |  | TRUE
8 | bus_LV_5628-1_0_8_node_100 | 0.4 | n |  | TRUE
9 | bus_LV_5628-1_0_8_node_93 | 0.4 | n |  | TRUE
10 | bus_LV_5628-1_0_8_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5628-1_0_8_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5628-1_0_8_node_111 | 0.4 | n |  | TRUE
13 | bus_LV_5628-1_0_8_node_112 | 0.4 | n |  | TRUE
14 | bus_LV_5628-1_0_8_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5628-1_0_8_node_113 | 0.4 | n |  | TRUE
16 | bus_LV_5628-1_0_8_node_107 | 0.4 | n |  | TRUE
17 | bus_LV_5628-1_0_8_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5628-1_0_8_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5628-1_0_8_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5628-1_0_8_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5628-1_0_8_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_5628-1_0_8_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_5628-1_0_8_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_5628-1_0_8_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_5628-1_0_8_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_5628-1_0_8_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_5628-1_0_8_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_5628-1_0_8_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_5628-1_0_8_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_5628-1_0_8_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_5628-1_0_8_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5628-1_0_8_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5628-1_0_8_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_5628-1_0_8_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_5628-1_0_8_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_5628-1_0_8_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_5628-1_0_8_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_5628-1_0_8_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_5628-1_0_8_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5628-1_0_8_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5628-1_0_8_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5628-1_0_8_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_5628-1_0_8_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_5628-1_0_8_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5628-1_0_8_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5628-1_0_8_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_5628-1_0_8_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_5628-1_0_8_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5628-1_0_8_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_5628-1_0_8_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_5628-1_0_8_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_5628-1_0_8_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5628-1_0_8_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_5628-1_0_8_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5628-1_0_8_node_116 | 0.4 | n |  | TRUE
56 | bus_LV_5628-1_0_8_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_5628-1_0_8_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_5628-1_0_8_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_5628-1_0_8_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_5628-1_0_8_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_5628-1_0_8_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_5628-1_0_8_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5628-1_0_8_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5628-1_0_8_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5628-1_0_8_node_99 | 0.4 | n |  | TRUE
66 | bus_LV_5628-1_0_8_node_97 | 0.4 | n |  | TRUE
67 | bus_LV_5628-1_0_8_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_5628-1_0_8_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5628-1_0_8_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_5628-1_0_8_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_5628-1_0_8_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_5628-1_0_8_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_5628-1_0_8_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_5628-1_0_8_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_5628-1_0_8_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5628-1_0_8_node_98 | 0.4 | n |  | TRUE
77 | bus_LV_5628-1_0_8_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_5628-1_0_8_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_5628-1_0_8_node_105 | 0.4 | n |  | TRUE
80 | bus_LV_5628-1_0_8_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_5628-1_0_8_node_104 | 0.4 | n |  | TRUE
82 | bus_LV_5628-1_0_8_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_5628-1_0_8_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_5628-1_0_8_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_5628-1_0_8_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_5628-1_0_8_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_5628-1_0_8_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_5628-1_0_8_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_5628-1_0_8_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_5628-1_0_8_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_5628-1_0_8_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_5628-1_0_8_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_5628-1_0_8_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_5628-1_0_8_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_5628-1_0_8_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_5628-1_0_8_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_5628-1_0_8_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_5628-1_0_8_node_82 | 0.4 | n |  | TRUE
99 | bus_LV_5628-1_0_8_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_5628-1_0_8_node_84 | 0.4 | n |  | TRUE
101 | bus_LV_5628-1_0_8_node_85 | 0.4 | n |  | TRUE
102 | bus_LV_5628-1_0_8_node_110 | 0.4 | n |  | TRUE
103 | bus_LV_5628-1_0_8_node_89 | 0.4 | n |  | TRUE
104 | bus_LV_5628-1_0_8_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_5628-1_0_8_node_109 | 0.4 | n |  | TRUE
106 | bus_LV_5628-1_0_8_node_92 | 0.4 | n |  | TRUE
107 | bus_LV_5628-1_0_8_node_101 | 0.4 | n |  | TRUE
108 | bus_LV_5628-1_0_8_node_102 | 0.4 | n |  | TRUE
109 | bus_LV_5628-1_0_8_node_106 | 0.4 | n |  | TRUE
110 | bus_LV_5628-1_0_8_node_114 | 0.4 | n |  | TRUE
111 | bus_LV_5628-1_0_8_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_5628-1_0_8_node_96 | 0.4 | n |  | TRUE
113 | bus_MV_636_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5628-1_0_8_load_0 | 0 | 0.0015421 | 0.00038648 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5628-1_0_8_load_1 | 1 | 0.0030676 | 0.00076881 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5628-1_0_8_load_3 | 3 | 0.003213 | 0.00080525 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5628-1_0_8_load_5 | 5 | 0.0031342 | 0.00078551 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5628-1_0_8_load_103 | 7 | 0.0039063 | 0.00097902 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5628-1_0_8_load_100 | 8 | 0.0018644 | 0.00046727 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5628-1_0_8_load_93 | 9 | 0.020026 | 0.0050191 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5628-1_0_8_load_6 | 11 | 0.0021238 | 0.00053226 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5628-1_0_8_load_111 | 12 | 0.001584 | 0.000397 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5628-1_0_8_load_7 | 14 | 0.0018011 | 0.00045141 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5628-1_0_8_load_113 | 15 | 0.001334 | 0.00033434 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5628-1_0_8_load_9 | 17 | 0.0028876 | 0.00072371 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5628-1_0_8_load_10 | 18 | 0.0027124 | 0.00067979 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5628-1_0_8_load_11 | 19 | 0.0025662 | 0.00064316 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5628-1_0_8_load_51 | 21 | 0.0005169 | 0.00012955 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5628-1_0_8_load_39 | 23 | 0.0021958 | 0.00055033 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5628-1_0_8_load_41 | 25 | 0.00064446 | 0.00016152 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5628-1_0_8_load_42 | 26 | 0.00075034 | 0.00018805 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5628-1_0_8_load_43 | 27 | 0.0010011 | 0.00025089 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5628-1_0_8_load_50 | 28 | 0.00098117 | 0.0002459 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5628-1_0_8_load_48 | 29 | 0.00099562 | 0.00024953 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5628-1_0_8_load_49 | 30 | 0.0018834 | 0.00047202 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5628-1_0_8_load_22 | 31 | 0.0018841 | 0.00047221 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5628-1_0_8_load_16 | 32 | 0.004289 | 0.0010749 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5628-1_0_8_load_13 | 33 | 0.013845 | 0.0034698 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5628-1_0_8_load_14 | 34 | 0.0035067 | 0.00087887 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5628-1_0_8_load_17 | 36 | 0.0093626 | 0.0023465 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5628-1_0_8_load_18 | 37 | 0.0029914 | 0.00074971 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5628-1_0_8_load_19 | 38 | 0.002478 | 0.00062106 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5628-1_0_8_load_27 | 39 | 0.0078534 | 0.0019682 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5628-1_0_8_load_28 | 40 | 0.019055 | 0.0047756 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5628-1_0_8_load_37 | 41 | 0.0019689 | 0.00049345 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5628-1_0_8_load_38 | 42 | 0.0015223 | 0.00038152 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5628-1_0_8_load_23 | 43 | 0.0029818 | 0.0007473 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5628-1_0_8_load_24 | 44 | 0.0023347 | 0.00058513 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5628-1_0_8_load_25 | 45 | 0.0024339 | 0.00061 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5628-1_0_8_load_26 | 46 | 0.002298 | 0.00057594 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5628-1_0_8_load_35 | 48 | 0.002754 | 0.00069022 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5628-1_0_8_load_44 | 51 | 0.0023656 | 0.00059288 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5628-1_0_8_load_45 | 52 | 0.00099821 | 0.00025017 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5628-1_0_8_load_116 | 55 | 0.0026546 | 0.00066532 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5628-1_0_8_load_115 | 56 | 0.003421 | 0.00085738 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5628-1_0_8_load_30 | 57 | 0.0072029 | 0.0018052 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5628-1_0_8_load_32 | 59 | 0.008239 | 0.0020649 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5628-1_0_8_load_34 | 61 | 0.0028795 | 0.00072167 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5628-1_0_8_load_54 | 62 | 0.0029168 | 0.00073102 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5628-1_0_8_load_53 | 63 | 0.0026418 | 0.00066209 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5628-1_0_8_load_99 | 65 | 0.0066855 | 0.0016756 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5628-1_0_8_load_58 | 67 | 0.0015667 | 0.00039265 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5628-1_0_8_load_59 | 68 | 0.0071606 | 0.0017946 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5628-1_0_8_load_65 | 69 | 0.0014728 | 0.00036911 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5628-1_0_8_load_64 | 70 | 0.0015495 | 0.00038835 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5628-1_0_8_load_60 | 71 | 0.0022515 | 0.00056428 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5628-1_0_8_load_62 | 73 | 0.0066355 | 0.001663 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5628-1_0_8_load_98 | 76 | 0.0059768 | 0.0014979 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5628-1_0_8_load_76 | 77 | 0.0021855 | 0.00054774 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5628-1_0_8_load_78 | 80 | 0.0078702 | 0.0019725 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5628-1_0_8_load_104 | 81 | 0.0053329 | 0.0013366 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5628-1_0_8_load_66 | 82 | 0.0014163 | 0.00035496 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5628-1_0_8_load_67 | 83 | 0.0013843 | 0.00034694 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5628-1_0_8_load_73 | 84 | 0.003656 | 0.00091628 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5628-1_0_8_load_68 | 86 | 0.0018735 | 0.00046953 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5628-1_0_8_load_70 | 87 | 0.0084273 | 0.0021121 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5628-1_0_8_load_86 | 91 | 0.0032929 | 0.00082527 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5628-1_0_8_load_87 | 92 | 0.0010074 | 0.00025247 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5628-1_0_8_load_79 | 93 | 0.0022764 | 0.00057052 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5628-1_0_8_load_80 | 96 | 0.028615 | 0.0071716 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5628-1_0_8_load_84 | 100 | 0.03107 | 0.0077869 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5628-1_0_8_load_110 | 102 | 0.029864 | 0.0074845 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5628-1_0_8_load_89 | 103 | 0.0051772 | 0.0012975 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5628-1_0_8_load_90 | 104 | 0.0064007 | 0.0016042 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5628-1_0_8_load_109 | 105 | 0.0059557 | 0.0014926 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5628-1_0_8_load_92 | 106 | 0.0049461 | 0.0012396 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5628-1_0_8_load_101 | 107 | 0.0012712 | 0.00031859 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5628-1_0_8_load_106 | 109 | 0.0015054 | 0.00037728 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5628-1_0_8_load_114 | 110 | 0.00090934 | 0.0002279 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5628-1_0_8_load_95 | 111 | 0.0075415 | 0.0018901 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5628-1_0_8_load_96 | 112 | 0.0060064 | 0.0015053 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5628-1_0_8_line_0 |  | 0 | 1 | 0.012304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5628-1_0_8_line_1 |  | 0 | 2 | 0.023438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5628-1_0_8_line_2 |  | 1 | 3 | 0.0073843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5628-1_0_8_line_3 |  | 2 | 4 | 0.010688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5628-1_0_8_line_4 |  | 2 | 5 | 0.046561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5628-1_0_8_line_5 |  | 4 | 10 | 0.024948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5628-1_0_8_line_6 |  | 4 | 11 | 0.030019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5628-1_0_8_line_7 |  | 6 | 7 | 0.01644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5628-1_0_8_line_8 |  | 6 | 8 | 0.10642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5628-1_0_8_line_9 |  | 6 | 9 | 0.10236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5628-1_0_8_line_10 |  | 7 | 88 | 0.11199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5628-1_0_8_line_11 |  | 8 | 107 | 0.003168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5628-1_0_8_line_12 |  | 9 | 106 | 0.043604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5628-1_0_8_line_13 |  | 10 | 12 | 0.024571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5628-1_0_8_line_14 |  | 10 | 13 | 0.089173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5628-1_0_8_line_15 |  | 11 | 14 | 0.0051652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5628-1_0_8_line_16 |  | 13 | 15 | 0.010986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5628-1_0_8_line_17 |  | 13 | 16 | 0.05054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5628-1_0_8_line_18 |  | 16 | 110 | 0.016488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5628-1_0_8_line_19 |  | 16 | 108 | 0.021986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5628-1_0_8_line_20 |  | 17 | 18 | 0.011879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5628-1_0_8_line_21 |  | 17 | 19 | 0.095834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5628-1_0_8_line_22 |  | 18 | 20 | 0.051057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5628-1_0_8_line_23 |  | 19 | 21 | 0.16022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5628-1_0_8_line_24 |  | 20 | 22 | 0.10959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5628-1_0_8_line_25 |  | 21 | 30 | 0.021696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5628-1_0_8_line_26 |  | 22 | 31 | 0.0089956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5628-1_0_8_line_27 |  | 22 | 32 | 0.0091846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5628-1_0_8_line_28 |  | 23 | 24 | 0.015681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5628-1_0_8_line_29 |  | 24 | 25 | 0.0094714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5628-1_0_8_line_30 |  | 24 | 26 | 0.026072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5628-1_0_8_line_31 |  | 24 | 27 | 0.022882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5628-1_0_8_line_32 |  | 26 | 28 | 0.020735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5628-1_0_8_line_33 |  | 28 | 29 | 0.0023503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5628-1_0_8_line_34 |  | 29 | 30 | 0.022056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5628-1_0_8_line_35 |  | 31 | 41 | 0.014196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5628-1_0_8_line_36 |  | 32 | 34 | 0.020481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5628-1_0_8_line_37 |  | 33 | 34 | 0.010087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5628-1_0_8_line_38 |  | 33 | 35 | 0.037154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5628-1_0_8_line_39 |  | 35 | 36 | 0.02928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5628-1_0_8_line_40 |  | 35 | 37 | 0.010226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5628-1_0_8_line_41 |  | 36 | 38 | 0.0012014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5628-1_0_8_line_42 |  | 37 | 39 | 0.0151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5628-1_0_8_line_43 |  | 39 | 40 | 0.026679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5628-1_0_8_line_44 |  | 41 | 42 | 0.0093925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5628-1_0_8_line_45 |  | 42 | 47 | 0.098833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5628-1_0_8_line_46 |  | 43 | 44 | 0.025924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5628-1_0_8_line_47 |  | 43 | 45 | 0.028148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5628-1_0_8_line_48 |  | 44 | 46 | 0.025634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5628-1_0_8_line_49 |  | 45 | 47 | 0.11359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5628-1_0_8_line_50 |  | 46 | 48 | 0.047454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5628-1_0_8_line_51 |  | 48 | 49 | 0.058272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5628-1_0_8_line_52 |  | 49 | 50 | 0.003509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5628-1_0_8_line_53 |  | 50 | 56 | 0.02871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5628-1_0_8_line_54 |  | 50 | 54 | 0.028954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5628-1_0_8_line_55 |  | 51 | 52 | 0.087957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5628-1_0_8_line_56 |  | 51 | 53 | 0.045007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5628-1_0_8_line_57 |  | 52 | 60 | 0.013582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5628-1_0_8_line_58 |  | 53 | 54 | 0.087469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5628-1_0_8_line_59 |  | 54 | 55 | 0.006785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5628-1_0_8_line_60 |  | 57 | 58 | 0.039213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5628-1_0_8_line_61 |  | 57 | 59 | 0.083205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5628-1_0_8_line_62 |  | 58 | 60 | 0.015853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5628-1_0_8_line_63 |  | 58 | 61 | 0.019859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5628-1_0_8_line_64 |  | 59 | 62 | 0.041605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5628-1_0_8_line_65 |  | 60 | 63 | 0.0057291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5628-1_0_8_line_66 |  | 62 | 64 | 0.089642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5628-1_0_8_line_67 |  | 64 | 65 | 0.16219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5628-1_0_8_line_68 |  | 65 | 66 | 0.05091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5628-1_0_8_line_69 |  | 66 | 76 | 0.026765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5628-1_0_8_line_70 |  | 66 | 111 | 0.028867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5628-1_0_8_line_71 |  | 67 | 68 | 0.049324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5628-1_0_8_line_72 |  | 67 | 69 | 0.31041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5628-1_0_8_line_73 |  | 69 | 70 | 0.027828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5628-1_0_8_line_74 |  | 70 | 82 | 0.00069697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5628-1_0_8_line_75 |  | 71 | 72 | 0.026349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5628-1_0_8_line_76 |  | 72 | 73 | 0.021525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5628-1_0_8_line_77 |  | 72 | 74 | 0.034425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5628-1_0_8_line_78 |  | 74 | 75 | 0.041671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5628-1_0_8_line_79 |  | 74 | 76 | 0.025376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5628-1_0_8_line_80 |  | 75 | 77 | 0.019565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_5628-1_0_8_line_81 |  | 75 | 78 | 0.028331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5628-1_0_8_line_82 |  | 77 | 89 | 0.027787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_5628-1_0_8_line_83 |  | 78 | 88 | 0.039809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5628-1_0_8_line_84 |  | 78 | 86 | 0.030424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5628-1_0_8_line_85 |  | 79 | 80 | 0.023017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5628-1_0_8_line_86 |  | 79 | 81 | 0.050385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5628-1_0_8_line_87 |  | 80 | 89 | 0.020026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5628-1_0_8_line_88 |  | 82 | 83 | 0.0010062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5628-1_0_8_line_89 |  | 83 | 84 | 0.0010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5628-1_0_8_line_90 |  | 84 | 85 | 0.021227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5628-1_0_8_line_91 |  | 85 | 90 | 0.020568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5628-1_0_8_line_92 |  | 86 | 87 | 0.023318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5628-1_0_8_line_93 |  | 89 | 93 | 0.013223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5628-1_0_8_line_94 |  | 90 | 91 | 0.060339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5628-1_0_8_line_95 |  | 91 | 92 | 0.02476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5628-1_0_8_line_96 |  | 92 | 94 | 0.025776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5628-1_0_8_line_97 |  | 93 | 94 | 0.010469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5628-1_0_8_line_98 |  | 94 | 95 | 0.041763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5628-1_0_8_line_99 |  | 95 | 104 | 0.052481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5628-1_0_8_line_100 |  | 95 | 99 | 0.029552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5628-1_0_8_line_101 |  | 96 | 97 | 0.084802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5628-1_0_8_line_102 |  | 96 | 98 | 0.065447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5628-1_0_8_line_103 |  | 97 | 99 | 0.037363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5628-1_0_8_line_104 |  | 97 | 100 | 0.018001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5628-1_0_8_line_105 |  | 98 | 101 | 0.11098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5628-1_0_8_line_106 |  | 99 | 102 | 0.027614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5628-1_0_8_line_107 |  | 101 | 103 | 0.0030361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5628-1_0_8_line_108 |  | 102 | 105 | 0.026314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5628-1_0_8_line_109 |  | 107 | 108 | 0.092527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5628-1_0_8_line_110 |  | 108 | 109 | 0.003369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5628-1_0_8_line_111 |  | 111 | 112 | 0.027268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5628-1_0_8_trafo_99 | 0.63 MVA 20/0.4 kV | 113 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2526899.1822 | 1151800.2056 | 2526907.7076 | 1151809.0773
1 | 2526881.8283 | 1151815.9588 | 2526899.1822 | 1151800.2056 | 2526899.1822 | 1151800.2056
2 | 2526912.8242 | 1151814.4016 | 2526907.7076 | 1151809.0773
3 | 2526881.8283 | 1151815.9588 | 2526873.1859 | 1151809.6381
4 | 2526914.6963 | 1151849.0223 | 2526881.8283 | 1151815.9588
5 | 2526855.6558 | 1151791.9858 | 2526856.9287 | 1151793.7824 | 2526868.888 | 1151806.4997 | 2526873.1859 | 1151809.6381
6 | 2526873.1859 | 1151809.6381 | 2526871.5261 | 1151826.5122 | 2526861.2829 | 1151834.6189
7 | 2526682.8242 | 1151913.3475 | 2526669.4476 | 1151922.9048
8 | 2526682.8242 | 1151913.3475 | 2526782.3929 | 1151950.9068
9 | 2526682.8242 | 1151913.3475 | 2526694.8414 | 1151928.9208 | 2526696.919 | 1151940.0573 | 2526692.8302 | 1151947.1445 | 2526678.659 | 1151961.3586 | 2526669.7616 | 1151969.9942 | 2526664.9792 | 1151981.2477 | 2526659.7364 | 1151992.5069 | 2526655.2224 | 1151996.5562
10 | 2526580.5349 | 1151990.9613 | 2526609.1271 | 1151968.5775 | 2526646.6675 | 1151939.1807 | 2526669.4476 | 1151922.9048
11 | 2526782.3929 | 1151950.9068 | 2526783.9578 | 1151948.1523
12 | 2526629.8864 | 1152031.6217 | 2526646.8834 | 1152004.0368 | 2526655.2224 | 1151996.5562
13 | 2526855.6558 | 1151791.9858 | 2526838.3927 | 1151809.5167
14 | 2526792.7841 | 1151815.6085 | 2526836.1422 | 1151772.1787 | 2526855.6558 | 1151791.9858
15 | 2526861.2829 | 1151834.6189 | 2526861.1114 | 1151834.7546 | 2526864.213 | 1151838.6079
16 | 2526792.7841 | 1151815.6085 | 2526800.0837 | 1151823.8354
17 | 2526792.7841 | 1151815.6085 | 2526783.125 | 1151824.7534 | 2526807.4609 | 1151852.9398
18 | 2526807.4609 | 1151852.9398 | 2526819.9706 | 1151842.1592
19 | 2526807.4609 | 1151852.9398 | 2526821.8473 | 1151869.5963
20 | 2526135.1082 | 1152453.5524 | 2526140.5635 | 1152464.1044 | 2526140.5635 | 1152464.1044
21 | 2526111.8955 | 1152362.6327 | 2526109.0712 | 1152383.8571 | 2526125.6488 | 1152429.4903 | 2526133.8185 | 1152451.0577 | 2526135.1082 | 1152453.5524
22 | 2526116.3704 | 1152508.7713 | 2526126.4557 | 1152495.1397 | 2526134.1412 | 1152477.313 | 2526140.5635 | 1152464.1044
23 | 2526111.8955 | 1152362.6327 | 2525960.3088 | 1152310.7607
24 | 2526116.3704 | 1152508.7713 | 2526133.4736 | 1152516.0319 | 2526150.5766 | 1152524.5266 | 2526164.4284 | 1152530.1264 | 2526174.8249 | 1152534.9459 | 2526189.6135 | 1152541.8349 | 2526194.5169 | 1152534.3038 | 2526205.5364 | 1152517.359
25 | 2525956.2803 | 1152289.4424 | 2525960.3088 | 1152310.7607
26 | 2526205.5364 | 1152517.359 | 2526208.318 | 1152508.8043
27 | 2526205.5364 | 1152517.359 | 2526213.9915 | 1152520.9462
28 | 2525930.7595 | 1152222.971 | 2525944.8735 | 1152216.1378
29 | 2525930.7595 | 1152222.971 | 2525927.5987 | 1152214.9721 | 2525927.1453 | 1152214.2288
30 | 2525930.7595 | 1152222.971 | 2525938.7048 | 1152243.0623 | 2525940.2966 | 1152247.2358
31 | 2525930.7595 | 1152222.971 | 2525912.712 | 1152237.037
32 | 2525940.2966 | 1152247.2358 | 2525947.6857 | 1152266.6098
33 | 2525948.5233 | 1152268.8058 | 2525947.6857 | 1152266.6098
34 | 2525948.5233 | 1152268.8058 | 2525956.1685 | 1152288.8508 | 2525956.2803 | 1152289.4424
35 | 2526208.318 | 1152508.8043 | 2526212.7075 | 1152495.3042
36 | 2526231.5825 | 1152523.8886 | 2526223.7797 | 1152517.4797 | 2526213.9915 | 1152520.9462
37 | 2526231.5825 | 1152523.8886 | 2526239.3776 | 1152530.2911
38 | 2526256.3319 | 1152560.4491 | 2526253.8127 | 1152542.1474 | 2526239.3776 | 1152530.2911
39 | 2526256.3319 | 1152560.4491 | 2526232.2829 | 1152577.1516
40 | 2526256.3319 | 1152560.4491 | 2526265.9309 | 1152563.9746
41 | 2526231.2962 | 1152577.837 | 2526232.2829 | 1152577.1516
42 | 2526280.1054 | 1152569.1805 | 2526265.9309 | 1152563.9746
43 | 2526280.1054 | 1152569.1805 | 2526305.1491 | 1152578.3785
44 | 2526212.7075 | 1152495.3042 | 2526215.6119 | 1152486.372
45 | 2526269.5431 | 1152405.622 | 2526261.0486 | 1152416.3433 | 2526236.1814 | 1152440.5731 | 2526226.2254 | 1152458.5164 | 2526222.449 | 1152465.3444 | 2526215.6119 | 1152486.372
46 | 2526404.7037 | 1152434.055 | 2526402.5136 | 1152426.5383 | 2526394.2222 | 1152410.4546
47 | 2526381.3244 | 1152385.4352 | 2526394.2222 | 1152410.4546
48 | 2526411.8744 | 1152458.6657 | 2526404.7037 | 1152434.055
49 | 2526269.5431 | 1152405.622 | 2526381.3244 | 1152385.4352
50 | 2526411.8744 | 1152458.6657 | 2526425.1488 | 1152504.2248
51 | 2526437.8661 | 1152560.4256 | 2526439.0675 | 1152551.9951 | 2526425.1488 | 1152504.2248
52 | 2526437.8661 | 1152560.4256 | 2526439.4164 | 1152563.5751
53 | 2526439.4164 | 1152563.5751 | 2526440.8954 | 1152592.2398
54 | 2526439.4164 | 1152563.5751 | 2526448.2381 | 1152566.4021 | 2526456.4902 | 1152559.6974 | 2526459.4469 | 1152551.0897
55 | 2526489.9967 | 1152455.5957 | 2526496.1042 | 1152444.1924 | 2526496.4552 | 1152437.7512 | 2526501.9222 | 1152419.7853 | 2526501.7938 | 1152405.5233 | 2526492.8813 | 1152392.7695 | 2526481.6319 | 1152385.981 | 2526478.1891 | 1152380.0819
56 | 2526501.6018 | 1152499.0117 | 2526492.4981 | 1152469.3618 | 2526489.9967 | 1152455.5957
57 | 2526471.7361 | 1152368.1363 | 2526475.5569 | 1152375.5716 | 2526478.1891 | 1152380.0819
58 | 2526501.6018 | 1152499.0117 | 2526492.6029 | 1152491.7398 | 2526492.2558 | 1152514.1789 | 2526482.0567 | 1152522.3415 | 2526479.2507 | 1152531.3587 | 2526465.9123 | 1152539.4708 | 2526463.5226 | 1152550.5173 | 2526459.4469 | 1152551.0897
59 | 2526460.055 | 1152544.334 | 2526459.4469 | 1152551.0897
60 | 2526482.5765 | 1152356.5417 | 2526452.4708 | 1152331.4161
61 | 2526418.2774 | 1152261.7191 | 2526416.6425 | 1152278.6264 | 2526420.8769 | 1152298.5303 | 2526435.209 | 1152317.0098 | 2526452.4708 | 1152331.4161
62 | 2526471.7361 | 1152368.1363 | 2526482.5765 | 1152356.5417
63 | 2526482.5765 | 1152356.5417 | 2526489.0168 | 1152349.7592 | 2526490.85 | 1152349.67 | 2526497.3182 | 1152355.4442
64 | 2526418.2774 | 1152261.7191 | 2526378.4782 | 1152249.5935
65 | 2526471.7361 | 1152368.1363 | 2526466.0866 | 1152367.1846
66 | 2526346.305 | 1152165.924 | 2526378.4782 | 1152249.5935
67 | 2526464.4255 | 1152054.7763 | 2526346.305 | 1152165.924
68 | 2526457.8837 | 1152015.0067 | 2526475.6448 | 1152036.4461 | 2526475.2028 | 1152044.8562 | 2526464.4255 | 1152054.7763
69 | 2526457.8837 | 1152015.0067 | 2526478.2087 | 1151997.5919
70 | 2526457.8837 | 1152015.0067 | 2526439.476 | 1151992.7699
71 | 2526044.4573 | 1151828.2944 | 2526013.9368 | 1151789.547
72 | 2526351.0609 | 1151876.769 | 2526044.4573 | 1151828.2944
73 | 2526373.3847 | 1151860.2585 | 2526364.5352 | 1151867.9439 | 2526351.0609 | 1151876.769
74 | 2526373.911 | 1151859.8015 | 2526373.3847 | 1151860.2585
75 | 2526519.5983 | 1152007.5037 | 2526539.9549 | 1151990.7736
76 | 2526519.5983 | 1152007.5037 | 2526503.5172 | 1152021.8116
77 | 2526497.4783 | 1151981.0814 | 2526519.5983 | 1152007.5037
78 | 2526497.4783 | 1151981.0814 | 2526529.1429 | 1151953.8902
79 | 2526497.4783 | 1151981.0814 | 2526478.2087 | 1151997.5919
80 | 2526529.1429 | 1151953.8902 | 2526516.7393 | 1151938.7593
81 | 2526529.1429 | 1151953.8902 | 2526544.9251 | 1151954.709 | 2526556.4911 | 1151959.715
82 | 2526499.1233 | 1151917.2698 | 2526516.7393 | 1151938.7593
83 | 2526580.5349 | 1151990.9613 | 2526568.3581 | 1151970.5095 | 2526556.4911 | 1151959.715
84 | 2526556.4911 | 1151959.715 | 2526557.7238 | 1151929.3162
85 | 2526466.37 | 1151945.197 | 2526483.8843 | 1151930.2633
86 | 2526466.37 | 1151945.197 | 2526438.2442 | 1151914.1012 | 2526444.2795 | 1151908.1773
87 | 2526499.1233 | 1151917.2698 | 2526483.8843 | 1151930.2633
88 | 2526374.6706 | 1151859.1417 | 2526373.911 | 1151859.8015
89 | 2526375.4379 | 1151858.4754 | 2526374.6706 | 1151859.1417
90 | 2526391.4649 | 1151844.5566 | 2526375.4379 | 1151858.4754
91 | 2526391.4649 | 1151844.5566 | 2526407.0182 | 1151831.0475
92 | 2526562.7798 | 1151906.5527 | 2526557.7238 | 1151929.3162
93 | 2526499.1233 | 1151917.2698 | 2526490.7435 | 1151907.041
94 | 2526407.0182 | 1151831.0475 | 2526407.3444 | 1151832.6111 | 2526407.3972 | 1151836.924 | 2526408.2883 | 1151840.126 | 2526411.2147 | 1151844.0591 | 2526414.9095 | 1151848.0717 | 2526418.5157 | 1151851.7407 | 2526422.6305 | 1151855.5815 | 2526425.4574 | 1151857.6591 | 2526428.2786 | 1151859.9037 | 2526432.5544 | 1151862.475 | 2526435.2037 | 1151864.466 | 2526437.6998 | 1151867.7373 | 2526442.2361 | 1151870.8947 | 2526447.1228 | 1151871.4278
95 | 2526447.1228 | 1151871.4278 | 2526448.1 | 1151871.5345 | 2526464.6288 | 1151872.5107 | 2526469.2466 | 1151878.0602
96 | 2526484.1092 | 1151898.9429 | 2526480.1692 | 1151891.1867 | 2526469.2466 | 1151878.0602
97 | 2526484.1092 | 1151898.9429 | 2526490.7435 | 1151907.041
98 | 2526497.4257 | 1151860.6697 | 2526491.8268 | 1151866.6415 | 2526484.0338 | 1151889.6386 | 2526484.1092 | 1151898.9429
99 | 2526497.4257 | 1151860.6697 | 2526506.6903 | 1151869.517 | 2526513.5464 | 1151875.3477 | 2526517.309 | 1151878.0032 | 2526520.4539 | 1151878.4761 | 2526523.1503 | 1151877.4204 | 2526525.4165 | 1151875.7028 | 2526537.3711 | 1151863.412
100 | 2526497.4257 | 1151860.6697 | 2526513.0353 | 1151842.9579 | 2526517.2819 | 1151838.7481
101 | 2526536.7568 | 1151808.8489 | 2526568.3459 | 1151772.2425 | 2526596.1771 | 1151748.7045
102 | 2526598.0813 | 1151698.827 | 2526599.8512 | 1151701.0845 | 2526618.0021 | 1151724.2427 | 2526614.2099 | 1151731.1039 | 2526608.6394 | 1151738.1648 | 2526596.1771 | 1151748.7045
103 | 2526536.7568 | 1151808.8489 | 2526534.951 | 1151821.2335 | 2526517.2819 | 1151838.7481
104 | 2526536.7568 | 1151808.8489 | 2526526.5439 | 1151794.0097
105 | 2526500.2708 | 1151751.2622 | 2526524.5239 | 1151738.014 | 2526559.0244 | 1151719.1709 | 2526598.0813 | 1151698.827
106 | 2526517.2819 | 1151838.7481 | 2526506.129 | 1151826.1217 | 2526499.0004 | 1151818.0524
107 | 2526500.2708 | 1151751.2622 | 2526497.9372 | 1151753.2045
108 | 2526481.5787 | 1151798.3318 | 2526499.0004 | 1151818.0524
109 | 2526821.8473 | 1151869.5963 | 2526825.0157 | 1151873.2598 | 2526824.7577 | 1151888.0046 | 2526815.3705 | 1151903.0828 | 2526797.7561 | 1151923.8756 | 2526786.9885 | 1151942.8173 | 2526783.9578 | 1151948.1523
110 | 2526821.8473 | 1151869.5963 | 2526824.9234 | 1151868.2025
111 | 2526422.0879 | 1151971.7647 | 2526439.476 | 1151992.7699

## bus_geodata
| x | y | coords
0 | 2526899.1822 | 1151800.2056
1 | 2526907.7076 | 1151809.0773
2 | 2526881.8283 | 1151815.9588
3 | 2526912.8242 | 1151814.4016
4 | 2526873.1859 | 1151809.6381
5 | 2526914.6964 | 1151849.0223
6 | 2526682.8242 | 1151913.3475
7 | 2526669.4476 | 1151922.9048
8 | 2526782.3929 | 1151950.9068
9 | 2526655.2224 | 1151996.5562
10 | 2526855.6558 | 1151791.9858
11 | 2526861.2829 | 1151834.6189
12 | 2526838.3927 | 1151809.5167
13 | 2526792.7841 | 1151815.6085
14 | 2526864.213 | 1151838.6079
15 | 2526800.0837 | 1151823.8354
16 | 2526807.4609 | 1151852.9398
17 | 2526135.1082 | 1152453.5524
18 | 2526140.5635 | 1152464.1044
19 | 2526111.8955 | 1152362.6327
20 | 2526116.3704 | 1152508.7713
21 | 2525960.3088 | 1152310.7607
22 | 2526205.5364 | 1152517.359
23 | 2525944.8735 | 1152216.1378
24 | 2525930.7595 | 1152222.971
25 | 2525927.1453 | 1152214.2288
26 | 2525940.2966 | 1152247.2358
27 | 2525912.712 | 1152237.037
28 | 2525947.6857 | 1152266.6098
29 | 2525948.5233 | 1152268.8058
30 | 2525956.2803 | 1152289.4424
31 | 2526208.318 | 1152508.8043
32 | 2526213.9915 | 1152520.9462
33 | 2526239.3776 | 1152530.2911
34 | 2526231.5825 | 1152523.8886
35 | 2526256.3319 | 1152560.4491
36 | 2526232.2829 | 1152577.1516
37 | 2526265.9309 | 1152563.9746
38 | 2526231.2962 | 1152577.837
39 | 2526280.1054 | 1152569.1806
40 | 2526305.1491 | 1152578.3785
41 | 2526212.7075 | 1152495.3042
42 | 2526215.6119 | 1152486.372
43 | 2526394.2222 | 1152410.4546
44 | 2526404.7037 | 1152434.055
45 | 2526381.3244 | 1152385.4352
46 | 2526411.8744 | 1152458.6657
47 | 2526269.5431 | 1152405.622
48 | 2526425.1488 | 1152504.2248
49 | 2526437.8661 | 1152560.4256
50 | 2526439.4164 | 1152563.5751
51 | 2526489.9967 | 1152455.5957
52 | 2526478.1891 | 1152380.0819
53 | 2526501.6018 | 1152499.0117
54 | 2526459.4469 | 1152551.0897
55 | 2526460.055 | 1152544.334
56 | 2526440.8954 | 1152592.2398
57 | 2526452.4708 | 1152331.4161
58 | 2526482.5765 | 1152356.5417
59 | 2526418.2774 | 1152261.7191
60 | 2526471.7361 | 1152368.1363
61 | 2526497.3182 | 1152355.4442
62 | 2526378.4782 | 1152249.5935
63 | 2526466.0866 | 1152367.1846
64 | 2526346.305 | 1152165.924
65 | 2526464.4255 | 1152054.7763
66 | 2526457.8837 | 1152015.0067
67 | 2526044.4573 | 1151828.2944
68 | 2526013.9368 | 1151789.547
69 | 2526351.0609 | 1151876.769
70 | 2526373.3847 | 1151860.2585
71 | 2526539.9549 | 1151990.7736
72 | 2526519.5983 | 1152007.5037
73 | 2526503.5172 | 1152021.8116
74 | 2526497.4783 | 1151981.0814
75 | 2526529.1429 | 1151953.8902
76 | 2526478.2087 | 1151997.5919
77 | 2526516.7393 | 1151938.7593
78 | 2526556.4911 | 1151959.715
79 | 2526466.37 | 1151945.197
80 | 2526483.8843 | 1151930.2633
81 | 2526444.2795 | 1151908.1773
82 | 2526373.911 | 1151859.8015
83 | 2526374.6706 | 1151859.1417
84 | 2526375.4379 | 1151858.4754
85 | 2526391.4649 | 1151844.5566
86 | 2526557.7238 | 1151929.3162
87 | 2526562.7798 | 1151906.5527
88 | 2526580.5349 | 1151990.9613
89 | 2526499.1233 | 1151917.2698
90 | 2526407.0182 | 1151831.0475
91 | 2526447.1228 | 1151871.4278
92 | 2526469.2466 | 1151878.0602
93 | 2526490.7435 | 1151907.041
94 | 2526484.1092 | 1151898.9429
95 | 2526497.4257 | 1151860.6697
96 | 2526596.1771 | 1151748.7045
97 | 2526536.7568 | 1151808.8489
98 | 2526598.0813 | 1151698.827
99 | 2526517.2819 | 1151838.7481
100 | 2526526.5439 | 1151794.0097
101 | 2526500.2708 | 1151751.2622
102 | 2526499.0004 | 1151818.0524
103 | 2526497.9372 | 1151753.2045
104 | 2526537.3711 | 1151863.412
105 | 2526481.5787 | 1151798.3318
106 | 2526629.8864 | 1152031.6217
107 | 2526783.9578 | 1151948.1523
108 | 2526821.8473 | 1151869.5963
109 | 2526824.9234 | 1151868.2025
110 | 2526819.9706 | 1151842.1592
111 | 2526439.476 | 1151992.7699
112 | 2526422.0879 | 1151971.7647
113 | 2526463.5985 | 1152055.5375

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1