## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5632-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5632-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5632-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5632-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5632-5_0_3_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_5632-5_0_3_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_5632-5_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5632-5_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5632-5_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5632-5_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5632-5_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5632-5_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5632-5_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5632-5_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_5632-5_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5632-5_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5632-5_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5632-5_0_3_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_5632-5_0_3_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_5632-5_0_3_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_5632-5_0_3_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_5632-5_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_5632-5_0_3_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_5632-5_0_3_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_5632-5_0_3_node_88 | 0.4 | n |  | TRUE
25 | bus_LV_5632-5_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_5632-5_0_3_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_5632-5_0_3_node_74 | 0.4 | n |  | TRUE
28 | bus_LV_5632-5_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_5632-5_0_3_node_85 | 0.4 | n |  | TRUE
30 | bus_LV_5632-5_0_3_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_5632-5_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5632-5_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5632-5_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5632-5_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5632-5_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5632-5_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_5632-5_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_5632-5_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5632-5_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5632-5_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_5632-5_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5632-5_0_3_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_5632-5_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5632-5_0_3_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_5632-5_0_3_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_5632-5_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5632-5_0_3_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_5632-5_0_3_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_5632-5_0_3_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_5632-5_0_3_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_5632-5_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5632-5_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5632-5_0_3_node_91 | 0.4 | n |  | TRUE
54 | bus_LV_5632-5_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_5632-5_0_3_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_5632-5_0_3_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_5632-5_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5632-5_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_5632-5_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_5632-5_0_3_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_5632-5_0_3_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_5632-5_0_3_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_5632-5_0_3_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_5632-5_0_3_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_5632-5_0_3_node_87 | 0.4 | n |  | TRUE
66 | bus_LV_5632-5_0_3_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_5632-5_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_5632-5_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_5632-5_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_5632-5_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_5632-5_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_5632-5_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_5632-5_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_5632-5_0_3_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_5632-5_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_5632-5_0_3_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_5632-5_0_3_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_5632-5_0_3_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_5632-5_0_3_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_5632-5_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_5632-5_0_3_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_5632-5_0_3_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_5632-5_0_3_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_5632-5_0_3_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_5632-5_0_3_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_5632-5_0_3_node_86 | 0.4 | n |  | TRUE
87 | bus_MV_451_1_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5632-5_0_3_load_0 | 0 | 0.006171 | 0.0015466 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5632-5_0_3_load_3 | 3 | 0.011359 | 0.0028469 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5632-5_0_3_load_22 | 4 | 0.0045353 | 0.0011367 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5632-5_0_3_load_4 | 6 | 0.02201 | 0.0055162 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5632-5_0_3_load_5 | 7 | 0.013659 | 0.0034232 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5632-5_0_3_load_12 | 12 | 0.0014539 | 0.00036439 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5632-5_0_3_load_13 | 13 | 0.0054825 | 0.001374 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5632-5_0_3_load_9 | 14 | 0.017229 | 0.0043181 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5632-5_0_3_load_10 | 16 | 0.0066964 | 0.0016783 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5632-5_0_3_load_48 | 17 | 0.0027945 | 0.00070037 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5632-5_0_3_load_44 | 18 | 0.0043278 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5632-5_0_3_load_46 | 19 | 0.0055667 | 0.0013951 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5632-5_0_3_load_37 | 20 | 0.016177 | 0.0040543 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5632-5_0_3_load_84 | 22 | 0.0061261 | 0.0015353 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5632-5_0_3_load_77 | 23 | 0.013734 | 0.0034421 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5632-5_0_3_load_88 | 24 | 0.0025378 | 0.00063602 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5632-5_0_3_load_43 | 25 | 0.0083496 | 0.0020926 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5632-5_0_3_load_45 | 26 | 0.0079095 | 0.0019823 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5632-5_0_3_load_85 | 29 | 0.00468 | 0.0011729 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5632-5_0_3_load_75 | 30 | 0.0044954 | 0.0011267 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5632-5_0_3_load_15 | 31 | 0.0006619 | 0.00016589 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5632-5_0_3_load_19 | 34 | 0.0052306 | 0.0013109 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5632-5_0_3_load_20 | 35 | 0.0048054 | 0.0012043 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5632-5_0_3_load_18 | 36 | 0.0004009 | 0.00010048 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5632-5_0_3_load_21 | 37 | 0.0047499 | 0.0011904 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5632-5_0_3_load_29 | 38 | 0.0024005 | 0.00060162 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5632-5_0_3_load_24 | 40 | 0.0012655 | 0.00031717 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5632-5_0_3_load_89 | 42 | 0.0056915 | 0.0014264 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5632-5_0_3_load_49 | 44 | 0.0042012 | 0.0010529 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5632-5_0_3_load_34 | 46 | 0.0029101 | 0.00072933 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5632-5_0_3_load_28 | 47 | 0.002534 | 0.00063508 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5632-5_0_3_load_53 | 48 | 0.015228 | 0.0038164 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5632-5_0_3_load_54 | 49 | 0.0080281 | 0.002012 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5632-5_0_3_load_41 | 51 | 0.0019852 | 0.00049755 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5632-5_0_3_load_38 | 52 | 0.0036178 | 0.00090672 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5632-5_0_3_load_91 | 53 | 0.0050006 | 0.0012533 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5632-5_0_3_load_39 | 54 | 0.0024052 | 0.00060279 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5632-5_0_3_load_36 | 55 | 0.0088681 | 0.0022226 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5632-5_0_3_load_57 | 59 | 0.0089896 | 0.002253 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5632-5_0_3_load_83 | 60 | 0.0036877 | 0.00092422 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5632-5_0_3_load_78 | 61 | 0.015933 | 0.0039932 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5632-5_0_3_load_71 | 62 | 0.0065294 | 0.0016364 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5632-5_0_3_load_40 | 63 | 0.0020274 | 0.00050812 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5632-5_0_3_load_42 | 64 | 0.005063 | 0.0012689 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5632-5_0_3_load_87 | 65 | 0.0025805 | 0.00064673 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5632-5_0_3_load_82 | 66 | 0.018562 | 0.0046521 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5632-5_0_3_load_55 | 67 | 0.0088837 | 0.0022265 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5632-5_0_3_load_56 | 68 | 0.0054929 | 0.0013767 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5632-5_0_3_load_58 | 69 | 0.0025678 | 0.00064355 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5632-5_0_3_load_59 | 70 | 0.0051957 | 0.0013022 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5632-5_0_3_load_61 | 71 | 0.0025065 | 0.00062819 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5632-5_0_3_load_62 | 72 | 0.0025166 | 0.00063072 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5632-5_0_3_load_63 | 73 | 0.0048747 | 0.0012217 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5632-5_0_3_load_64 | 74 | 0.0027683 | 0.0006938 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5632-5_0_3_load_66 | 76 | 0.0062188 | 0.0015586 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5632-5_0_3_load_67 | 77 | 0.0039422 | 0.000988 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5632-5_0_3_load_80 | 79 | 0.0029914 | 0.00074971 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5632-5_0_3_load_73 | 80 | 0.0044751 | 0.0011216 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5632-5_0_3_load_68 | 81 | 0.0069656 | 0.0017457 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5632-5_0_3_load_69 | 82 | 0.0033044 | 0.00082816 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5632-5_0_3_load_72 | 84 | 0.0026178 | 0.00065608 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5632-5_0_3_load_81 | 85 | 0.0034969 | 0.00087641 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5632-5_0_3_load_86 | 86 | 0.0032549 | 0.00081576 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5632-5_0_3_line_0 |  | 0 | 1 | 0.018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5632-5_0_3_line_1 |  | 1 | 2 | 0.027707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5632-5_0_3_line_2 |  | 2 | 3 | 0.013434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5632-5_0_3_line_3 |  | 3 | 4 | 0.02561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5632-5_0_3_line_4 |  | 4 | 5 | 0.021624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5632-5_0_3_line_5 |  | 5 | 40 | 0.01061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5632-5_0_3_line_6 |  | 6 | 7 | 0.0026568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5632-5_0_3_line_7 |  | 6 | 8 | 0.034083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5632-5_0_3_line_8 |  | 7 | 9 | 0.026695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5632-5_0_3_line_9 |  | 8 | 10 | 0.025176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5632-5_0_3_line_10 |  | 9 | 11 | 0.027559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5632-5_0_3_line_11 |  | 10 | 12 | 0.015753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5632-5_0_3_line_12 |  | 10 | 13 | 0.0081845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5632-5_0_3_line_13 |  | 11 | 18 | 0.056211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5632-5_0_3_line_14 |  | 11 | 19 | 0.013013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5632-5_0_3_line_15 |  | 12 | 20 | 0.016869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5632-5_0_3_line_16 |  | 13 | 21 | 0.017569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5632-5_0_3_line_17 |  | 14 | 15 | 0.028431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5632-5_0_3_line_18 |  | 15 | 22 | 0.029553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5632-5_0_3_line_19 |  | 15 | 23 | 0.006068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5632-5_0_3_line_20 |  | 16 | 17 | 0.027714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5632-5_0_3_line_21 |  | 17 | 24 | 0.0027872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5632-5_0_3_line_22 |  | 18 | 25 | 0.014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5632-5_0_3_line_23 |  | 19 | 26 | 0.0081943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5632-5_0_3_line_24 |  | 20 | 27 | 0.033364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5632-5_0_3_line_25 |  | 21 | 28 | 0.025263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5632-5_0_3_line_26 |  | 22 | 29 | 0.0038913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5632-5_0_3_line_27 |  | 23 | 30 | 0.022461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5632-5_0_3_line_28 |  | 24 | 65 | 0.008418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5632-5_0_3_line_29 |  | 25 | 64 | 0.012098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5632-5_0_3_line_30 |  | 27 | 30 | 0.012593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5632-5_0_3_line_31 |  | 27 | 62 | 0.036541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5632-5_0_3_line_32 |  | 27 | 56 | 0.018999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5632-5_0_3_line_33 |  | 28 | 46 | 0.042835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5632-5_0_3_line_34 |  | 29 | 65 | 0.0074189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5632-5_0_3_line_35 |  | 31 | 32 | 0.080056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5632-5_0_3_line_36 |  | 32 | 33 | 0.074693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5632-5_0_3_line_37 |  | 33 | 36 | 0.082082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5632-5_0_3_line_38 |  | 34 | 35 | 0.02312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5632-5_0_3_line_39 |  | 34 | 36 | 0.14507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5632-5_0_3_line_40 |  | 35 | 37 | 0.02426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5632-5_0_3_line_41 |  | 37 | 38 | 0.035984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5632-5_0_3_line_42 |  | 38 | 39 | 0.023851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5632-5_0_3_line_43 |  | 39 | 47 | 0.045328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5632-5_0_3_line_44 |  | 39 | 40 | 0.064462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5632-5_0_3_line_45 |  | 41 | 42 | 0.052281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5632-5_0_3_line_46 |  | 41 | 43 | 0.066942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5632-5_0_3_line_47 |  | 41 | 44 | 0.063228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5632-5_0_3_line_48 |  | 43 | 45 | 0.041484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5632-5_0_3_line_49 |  | 43 | 46 | 0.0042542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5632-5_0_3_line_50 |  | 45 | 48 | 0.021485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5632-5_0_3_line_51 |  | 45 | 49 | 0.016641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5632-5_0_3_line_52 |  | 47 | 50 | 0.0094807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5632-5_0_3_line_53 |  | 50 | 51 | 0.014883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5632-5_0_3_line_54 |  | 50 | 52 | 0.02166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5632-5_0_3_line_55 |  | 51 | 53 | 0.060892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5632-5_0_3_line_56 |  | 52 | 54 | 0.002887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5632-5_0_3_line_57 |  | 54 | 63 | 0.026371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5632-5_0_3_line_58 |  | 55 | 56 | 0.01588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5632-5_0_3_line_59 |  | 56 | 61 | 0.019351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5632-5_0_3_line_60 |  | 57 | 58 | 0.024366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5632-5_0_3_line_61 |  | 57 | 59 | 0.022833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5632-5_0_3_line_62 |  | 58 | 66 | 0.012733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5632-5_0_3_line_63 |  | 58 | 60 | 0.01159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5632-5_0_3_line_64 |  | 59 | 67 | 0.0021858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5632-5_0_3_line_65 |  | 61 | 66 | 0.0052896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5632-5_0_3_line_66 |  | 62 | 82 | 0.010922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5632-5_0_3_line_67 |  | 63 | 64 | 0.023629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5632-5_0_3_line_68 |  | 67 | 68 | 0.023467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5632-5_0_3_line_69 |  | 68 | 69 | 0.0028098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5632-5_0_3_line_70 |  | 69 | 70 | 0.024577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5632-5_0_3_line_71 |  | 70 | 71 | 0.0030476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5632-5_0_3_line_72 |  | 71 | 72 | 0.0012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5632-5_0_3_line_73 |  | 72 | 73 | 0.021182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5632-5_0_3_line_74 |  | 73 | 74 | 0.0011243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5632-5_0_3_line_75 |  | 74 | 75 | 0.017788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5632-5_0_3_line_76 |  | 75 | 76 | 0.027793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5632-5_0_3_line_77 |  | 76 | 77 | 0.040161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5632-5_0_3_line_78 |  | 77 | 78 | 0.040445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5632-5_0_3_line_79 |  | 78 | 79 | 0.013382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5632-5_0_3_line_80 |  | 78 | 80 | 0.024127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5632-5_0_3_line_81 |  | 80 | 83 | 0.040372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5632-5_0_3_line_82 |  | 81 | 82 | 0.013447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5632-5_0_3_line_83 |  | 83 | 84 | 0.013551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5632-5_0_3_line_84 |  | 84 | 85 | 0.034916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5632-5_0_3_line_85 |  | 85 | 86 | 0.028564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5632-5_0_3_trafo_6 | 0.63 MVA 20/0.4 kV | 87 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2530924.2439 | 1153012.733 | 2530942.4617 | 1153008.0963
1 | 2530917.0073 | 1152985.9902 | 2530924.2439 | 1153012.733
2 | 2530917.0073 | 1152985.9902 | 2530929.4677 | 1152980.969
3 | 2530929.4677 | 1152980.969 | 2530943.5882 | 1152975.2789 | 2530953.6157 | 1152972.5738
4 | 2530974.4937 | 1152966.9416 | 2530953.6157 | 1152972.5738
5 | 2530974.4937 | 1152966.9416 | 2530973.2932 | 1152957.9615 | 2530972.9881 | 1152956.4418
6 | 2531087.1888 | 1152874.7157 | 2531086.8804 | 1152872.5223 | 2531086.8634 | 1152872.0808
7 | 2531095.5708 | 1152907.6533 | 2531090.7262 | 1152893.3787 | 2531088.2005 | 1152881.9124 | 2531087.1888 | 1152874.7157
8 | 2531087.3907 | 1152845.4236 | 2531086.4322 | 1152860.8765 | 2531086.8634 | 1152872.0808
9 | 2531095.5708 | 1152907.6533 | 2531098.2892 | 1152914.5148 | 2531102.3744 | 1152924.7959 | 2531104.0849 | 1152928.0782 | 2531105.5046 | 1152930.7634
10 | 2531087.3907 | 1152845.4236 | 2531088.0576 | 1152840.0019 | 2531088.6497 | 1152836.0929 | 2531090.3903 | 1152824.5999 | 2531091.6291 | 1152818.2044
11 | 2531105.5046 | 1152930.7634 | 2531121.0172 | 1152928.0193
12 | 2531105.5046 | 1152930.7634 | 2531109.2397 | 1152938.0459
13 | 2531091.6291 | 1152818.2044 | 2531036.139 | 1152827.1798
14 | 2531091.6291 | 1152818.2044 | 2531092.4433 | 1152805.5547 | 2531092.4245 | 1152805.2178
15 | 2531137.6282 | 1152925.081 | 2531121.0172 | 1152928.0193
16 | 2531114.1419 | 1152954.5776 | 2531113.4008 | 1152946.1592 | 2531109.2397 | 1152938.0459
17 | 2531169.5344 | 1152885.2937 | 2531153.7719 | 1152890.5882 | 2531142.1833 | 1152892.8264
18 | 2531169.5344 | 1152885.2937 | 2531170.4623 | 1152855.7556
19 | 2531169.5344 | 1152885.2937 | 2531172.1465 | 1152890.7708
20 | 2531150.7918 | 1152850.8189 | 2531123.0782 | 1152850.9855
21 | 2531150.7918 | 1152850.8189 | 2531153.5789 | 1152850.8022
22 | 2531036.139 | 1152827.1798 | 2531022.0948 | 1152829.4515
23 | 2531091.9669 | 1152797.0362 | 2531092.4245 | 1152805.2178
24 | 2531170.4954 | 1152924.3044 | 2531156.0405 | 1152921.824 | 2531137.6282 | 1152925.081
25 | 2531114.1419 | 1152954.5776 | 2531109.9702 | 1152957.4937 | 2531106.3379 | 1152957.9356 | 2531089.7605 | 1152958.3925
26 | 2531170.4623 | 1152855.7556 | 2531169.1541 | 1152852.0908 | 2531169.1541 | 1152852.0908
27 | 2531172.1465 | 1152890.7708 | 2531174.3856 | 1152895.466 | 2531175.2537 | 1152904.928 | 2531174.5836 | 1152912.6565
28 | 2531161.9968 | 1152850.7516 | 2531153.5789 | 1152850.8022
29 | 2531010.152 | 1152831.3832 | 2531022.0948 | 1152829.4515
30 | 2531170.4954 | 1152924.3044 | 2531174.1624 | 1152917.5142 | 2531174.5836 | 1152912.6565
31 | 2531170.4954 | 1152924.3044 | 2531207.0346 | 1152923.9927
32 | 2531163.9526 | 1152941.9668 | 2531167.3018 | 1152929.5438 | 2531170.4954 | 1152924.3044
33 | 2531089.7605 | 1152958.3925 | 2531063.9854 | 1152959.1106 | 2531046.9677 | 1152960.1599
34 | 2531161.9968 | 1152850.7516 | 2531165.7391 | 1152850.7291 | 2531169.1541 | 1152852.0908
35 | 2530600.838 | 1152923.3186 | 2530610.2121 | 1152929.6918 | 2530642.463 | 1152952.1766 | 2530667.4926 | 1152967.6103
36 | 2530620.5794 | 1152851.2841 | 2530600.838 | 1152923.3186
37 | 2530620.5794 | 1152851.2841 | 2530699.1653 | 1152874.9855
38 | 2530867.1263 | 1152883.4214 | 2530863.8804 | 1152883.0437 | 2530844.0334 | 1152882.5826
39 | 2530844.0334 | 1152882.5826 | 2530699.1653 | 1152874.9855
40 | 2530891.1727 | 1152886.5845 | 2530883.7897 | 1152885.3605 | 2530867.1263 | 1152883.4214
41 | 2530891.1727 | 1152886.5845 | 2530926.6719 | 1152892.4695
42 | 2530950.2016 | 1152896.3703 | 2530926.6719 | 1152892.4695
43 | 2530950.2016 | 1152896.3703 | 2530938.921 | 1152852.4687
44 | 2530950.2016 | 1152896.3703 | 2530965.1386 | 1152930.1175 | 2530970.6561 | 1152944.829 | 2530972.9881 | 1152956.4418
45 | 2531039.6493 | 1153004.3036 | 2530987.9037 | 1153012.7464
46 | 2531039.6493 | 1153004.3036 | 2531021.9485 | 1152961.7052 | 2531042.7216 | 1152960.4218
47 | 2531039.6493 | 1153004.3036 | 2531072.0781 | 1153058.5823
48 | 2531042.7216 | 1152960.4218 | 2531035.0253 | 1152919.6652
49 | 2531042.7216 | 1152960.4218 | 2531046.9677 | 1152960.1599
50 | 2531035.0253 | 1152919.6652 | 2531056.3787 | 1152916.7854
51 | 2531035.0253 | 1152919.6652 | 2531031.937 | 1152903.3138
52 | 2530936.5616 | 1152843.2864 | 2530938.921 | 1152852.4687
53 | 2530936.5616 | 1152843.2864 | 2530933.2982 | 1152828.7652
54 | 2530936.5616 | 1152843.2864 | 2530957.944 | 1152839.8278
55 | 2530933.2982 | 1152828.7652 | 2530873.5785 | 1152816.8732
56 | 2530960.7939 | 1152839.3668 | 2530957.944 | 1152839.8278
57 | 2530960.7939 | 1152839.3668 | 2530986.8262 | 1152835.1561
58 | 2531163.9526 | 1152941.9668 | 2531148.3206 | 1152944.7648
59 | 2531163.9526 | 1152941.9668 | 2531163.0481 | 1152946.0683 | 2531161.8005 | 1152955.7324 | 2531162.0962 | 1152961.1306
60 | 2531165.3718 | 1152978.771 | 2531169.426 | 1152993.0658 | 2531171.5809 | 1153002.3241
61 | 2531171.5809 | 1153002.3241 | 2531194.1152 | 1152998.6439
62 | 2531165.3718 | 1152978.771 | 2531162.973 | 1152970.3271 | 2531162.4672 | 1152966.4048
63 | 2531165.3718 | 1152978.771 | 2531154.4113 | 1152982.5393
64 | 2531196.2724 | 1152998.2916 | 2531194.1152 | 1152998.6439
65 | 2531162.4672 | 1152966.4048 | 2531162.3245 | 1152965.2984 | 2531162.0962 | 1152961.1306
66 | 2531207.0346 | 1152923.9927 | 2531217.9563 | 1152923.8996
67 | 2530986.8262 | 1152835.1561 | 2531010.152 | 1152831.3832
68 | 2531196.2724 | 1152998.2916 | 2531204.5232 | 1152996.9441 | 2531219.623 | 1152997.4144
69 | 2531222.4314 | 1152997.5019 | 2531219.623 | 1152997.4144
70 | 2531222.4314 | 1152997.5019 | 2531226.4467 | 1152997.627 | 2531246.9485 | 1152999.169
71 | 2531246.9485 | 1152999.169 | 2531249.9875 | 1152999.3976
72 | 2531251.2551 | 1152999.4929 | 2531249.9875 | 1152999.3976
73 | 2531251.2551 | 1152999.4929 | 2531272.3777 | 1153001.0816
74 | 2531273.4988 | 1153001.1659 | 2531272.3777 | 1153001.0816
75 | 2531291.2365 | 1153002.5001 | 2531273.4988 | 1153001.1659
76 | 2531291.2365 | 1153002.5001 | 2531292.2595 | 1152974.7264
77 | 2531295.5626 | 1152934.7399 | 2531294.606 | 1152940.1603 | 2531292.7707 | 1152960.8483 | 2531292.2595 | 1152974.7264
78 | 2531302.5911 | 1152894.9107 | 2531295.5626 | 1152934.7399
79 | 2531302.5911 | 1152894.9107 | 2531306.3808 | 1152882.0761
80 | 2531302.5911 | 1152894.9107 | 2531283.7312 | 1152892.4026 | 2531278.7051 | 1152891.5304
81 | 2531238.9074 | 1152885.5334 | 2531246.6031 | 1152885.4454 | 2531266.0005 | 1152889.3257 | 2531278.7051 | 1152891.5304
82 | 2531231.4029 | 1152923.7849 | 2531217.9563 | 1152923.8996
83 | 2531238.9074 | 1152885.5334 | 2531238.2154 | 1152872.0005 | 2531238.2154 | 1152872.0005
84 | 2531239.1908 | 1152837.1466 | 2531239.6537 | 1152853.5182 | 2531238.2154 | 1152872.0005
85 | 2531239.1908 | 1152837.1466 | 2531238.9577 | 1152828.9014 | 2531236.9469 | 1152808.6854

## bus_geodata
| x | y | coords
0 | 2530942.4617 | 1153008.0963
1 | 2530924.2439 | 1153012.733
2 | 2530917.0073 | 1152985.9902
3 | 2530929.4677 | 1152980.969
4 | 2530953.6157 | 1152972.5738
5 | 2530974.4937 | 1152966.9416
6 | 2531087.1888 | 1152874.7157
7 | 2531086.8634 | 1152872.0808
8 | 2531095.5708 | 1152907.6533
9 | 2531087.3907 | 1152845.4236
10 | 2531105.5046 | 1152930.7634
11 | 2531091.6291 | 1152818.2044
12 | 2531121.0172 | 1152928.0193
13 | 2531109.2397 | 1152938.0459
14 | 2531142.1833 | 1152892.8264
15 | 2531169.5344 | 1152885.2937
16 | 2531123.0782 | 1152850.9855
17 | 2531150.7918 | 1152850.8189
18 | 2531036.139 | 1152827.1798
19 | 2531092.4245 | 1152805.2178
20 | 2531137.6282 | 1152925.081
21 | 2531114.1419 | 1152954.5776
22 | 2531170.4623 | 1152855.7556
23 | 2531172.1465 | 1152890.7708
24 | 2531153.5789 | 1152850.8022
25 | 2531022.0948 | 1152829.4515
26 | 2531091.9669 | 1152797.0362
27 | 2531170.4954 | 1152924.3044
28 | 2531089.7605 | 1152958.3925
29 | 2531169.1541 | 1152852.0908
30 | 2531174.5836 | 1152912.6565
31 | 2530667.4926 | 1152967.6103
32 | 2530600.838 | 1152923.3186
33 | 2530620.5794 | 1152851.2841
34 | 2530844.0334 | 1152882.5826
35 | 2530867.1263 | 1152883.4214
36 | 2530699.1653 | 1152874.9855
37 | 2530891.1727 | 1152886.5845
38 | 2530926.6719 | 1152892.4695
39 | 2530950.2016 | 1152896.3703
40 | 2530972.9881 | 1152956.4418
41 | 2531039.6493 | 1153004.3036
42 | 2530987.9037 | 1153012.7464
43 | 2531042.7216 | 1152960.4218
44 | 2531072.0781 | 1153058.5823
45 | 2531035.0253 | 1152919.6652
46 | 2531046.9677 | 1152960.1599
47 | 2530938.921 | 1152852.4687
48 | 2531056.3787 | 1152916.7854
49 | 2531031.937 | 1152903.3138
50 | 2530936.5616 | 1152843.2864
51 | 2530933.2982 | 1152828.7652
52 | 2530957.944 | 1152839.8278
53 | 2530873.5785 | 1152816.8732
54 | 2530960.7939 | 1152839.3668
55 | 2531148.3206 | 1152944.7648
56 | 2531163.9526 | 1152941.9668
57 | 2531171.5809 | 1153002.3241
58 | 2531165.3718 | 1152978.771
59 | 2531194.1152 | 1152998.6439
60 | 2531154.4113 | 1152982.5393
61 | 2531162.0962 | 1152961.1306
62 | 2531207.0346 | 1152923.9927
63 | 2530986.8262 | 1152835.1561
64 | 2531010.152 | 1152831.3832
65 | 2531161.9968 | 1152850.7516
66 | 2531162.4672 | 1152966.4048
67 | 2531196.2724 | 1152998.2916
68 | 2531219.623 | 1152997.4144
69 | 2531222.4314 | 1152997.5019
70 | 2531246.9485 | 1152999.169
71 | 2531249.9875 | 1152999.3976
72 | 2531251.2551 | 1152999.4929
73 | 2531272.3777 | 1153001.0816
74 | 2531273.4988 | 1153001.1659
75 | 2531291.2365 | 1153002.5001
76 | 2531292.2595 | 1152974.7264
77 | 2531295.5626 | 1152934.7399
78 | 2531302.5911 | 1152894.9107
79 | 2531306.3808 | 1152882.0761
80 | 2531278.7051 | 1152891.5304
81 | 2531231.4029 | 1152923.7849
82 | 2531217.9563 | 1152923.8996
83 | 2531238.9074 | 1152885.5334
84 | 2531238.2154 | 1152872.0005
85 | 2531239.1908 | 1152837.1466
86 | 2531236.9469 | 1152808.6854
87 | 2531105.5046 | 1152930.7634

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1