## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5633-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5633-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5633-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5633-2_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5633-2_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5633-2_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5633-2_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5633-2_0_5_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_5633-2_0_5_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_5633-2_0_5_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_5633-2_0_5_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_5633-2_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5633-2_0_5_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_5633-2_0_5_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_5633-2_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5633-2_0_5_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_5633-2_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5633-2_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5633-2_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5633-2_0_5_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_5633-2_0_5_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_5633-2_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5633-2_0_5_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_5633-2_0_5_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_5633-2_0_5_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_5633-2_0_5_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_5633-2_0_5_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_5633-2_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5633-2_0_5_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_5633-2_0_5_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_5633-2_0_5_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_5633-2_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5633-2_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5633-2_0_5_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_5633-2_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_5633-2_0_5_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_5633-2_0_5_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5633-2_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_5633-2_0_5_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_5633-2_0_5_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_5633-2_0_5_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_5633-2_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5633-2_0_5_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_5633-2_0_5_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_5633-2_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5633-2_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5633-2_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5633-2_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_5633-2_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5633-2_0_5_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5633-2_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_MV_621_0_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5633-2_0_5_load_0 | 0 | 0.039817 | 0.009979 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5633-2_0_5_load_2 | 2 | 0.030786 | 0.0077156 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5633-2_0_5_load_39 | 7 | 0.011452 | 0.0028701 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5633-2_0_5_load_22 | 9 | 0.0029008 | 0.00072702 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5633-2_0_5_load_53 | 10 | 0.0021943 | 0.00054994 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5633-2_0_5_load_54 | 12 | 0.0086161 | 0.0021594 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5633-2_0_5_load_55 | 13 | 0.013481 | 0.0033786 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5633-2_0_5_load_52 | 15 | 0.0011368 | 0.00028492 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5633-2_0_5_load_15 | 18 | 0.01818 | 0.0045563 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5633-2_0_5_load_50 | 19 | 0.0035856 | 0.00089863 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5633-2_0_5_load_34 | 20 | 0.0062449 | 0.0015651 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5633-2_0_5_load_33 | 22 | 0.0068581 | 0.0017188 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5633-2_0_5_load_51 | 23 | 0.010072 | 0.0025243 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5633-2_0_5_load_48 | 24 | 0.01099 | 0.0027543 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5633-2_0_5_load_38 | 26 | 0.0090448 | 0.0022668 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5633-2_0_5_load_49 | 29 | 0.0034906 | 0.00087484 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5633-2_0_5_load_47 | 30 | 0.010989 | 0.0027541 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5633-2_0_5_load_28 | 31 | 0.018778 | 0.0047062 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5633-2_0_5_load_16 | 33 | 0.061674 | 0.015457 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5633-2_0_5_load_19 | 36 | 0.031885 | 0.0079911 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5633-2_0_5_load_20 | 39 | 0.0061382 | 0.0015384 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5633-2_0_5_load_46 | 40 | 0.010234 | 0.002565 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5633-2_0_5_load_27 | 41 | 0.023117 | 0.0057936 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5633-2_0_5_load_36 | 44 | 0.033826 | 0.0084776 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5633-2_0_5_load_32 | 46 | 0.012052 | 0.0030205 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5633-2_0_5_load_35 | 47 | 0.096123 | 0.024091 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5633-2_0_5_load_40 | 48 | 0.01099 | 0.0027543 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5633-2_0_5_load_43 | 50 | 0.0039612 | 0.00099278 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5633-2_0_5_line_0 |  | 0 | 1 | 0.12466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5633-2_0_5_line_1 |  | 1 | 2 | 0.041558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5633-2_0_5_line_2 |  | 1 | 3 | 0.091857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5633-2_0_5_line_3 |  | 3 | 10 | 0.050957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5633-2_0_5_line_4 |  | 3 | 5 | 0.18117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5633-2_0_5_line_5 |  | 4 | 5 | 0.024441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5633-2_0_5_line_6 |  | 4 | 6 | 0.018649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5633-2_0_5_line_7 |  | 4 | 7 | 0.043712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5633-2_0_5_line_8 |  | 5 | 8 | 0.042878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5633-2_0_5_line_9 |  | 5 | 9 | 0.034758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5633-2_0_5_line_10 |  | 6 | 20 | 0.088603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5633-2_0_5_line_11 |  | 6 | 21 | 0.11008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5633-2_0_5_line_12 |  | 6 | 22 | 0.048239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5633-2_0_5_line_13 |  | 8 | 24 | 0.039538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5633-2_0_5_line_14 |  | 9 | 27 | 0.033644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5633-2_0_5_line_15 |  | 11 | 12 | 0.014337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5633-2_0_5_line_16 |  | 11 | 13 | 0.004626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5633-2_0_5_line_17 |  | 11 | 14 | 0.087675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5633-2_0_5_line_18 |  | 14 | 15 | 0.010609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5633-2_0_5_line_19 |  | 14 | 16 | 0.11516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5633-2_0_5_line_20 |  | 16 | 17 | 0.11788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5633-2_0_5_line_21 |  | 16 | 18 | 0.036253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5633-2_0_5_line_22 |  | 17 | 19 | 0.0049479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5633-2_0_5_line_23 |  | 19 | 21 | 0.0045545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5633-2_0_5_line_24 |  | 21 | 23 | 0.008867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5633-2_0_5_line_25 |  | 24 | 30 | 0.0012125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5633-2_0_5_line_26 |  | 25 | 26 | 0.015114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5633-2_0_5_line_27 |  | 25 | 27 | 0.018003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5633-2_0_5_line_28 |  | 26 | 44 | 0.059288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5633-2_0_5_line_29 |  | 27 | 41 | 0.026318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5633-2_0_5_line_30 |  | 28 | 29 | 0.01207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5633-2_0_5_line_31 |  | 28 | 30 | 0.039507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5633-2_0_5_line_32 |  | 29 | 42 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5633-2_0_5_line_33 |  | 31 | 32 | 0.033302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5633-2_0_5_line_34 |  | 32 | 45 | 0.012845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5633-2_0_5_line_35 |  | 32 | 46 | 0.0049142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5633-2_0_5_line_36 |  | 33 | 34 | 0.013257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5633-2_0_5_line_37 |  | 34 | 37 | 0.026881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5633-2_0_5_line_38 |  | 35 | 36 | 0.017406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5633-2_0_5_line_39 |  | 35 | 37 | 0.0395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5633-2_0_5_line_40 |  | 36 | 38 | 0.022533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5633-2_0_5_line_41 |  | 37 | 40 | 0.17091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5633-2_0_5_line_42 |  | 38 | 41 | 0.019346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5633-2_0_5_line_43 |  | 38 | 39 | 0.020882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5633-2_0_5_line_44 |  | 42 | 43 | 0.019107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5633-2_0_5_line_45 |  | 43 | 50 | 0.0053799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5633-2_0_5_line_46 |  | 44 | 45 | 0.053898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5633-2_0_5_line_47 |  | 45 | 47 | 0.076777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5633-2_0_5_line_48 |  | 48 | 49 | 0.070167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5633-2_0_5_line_49 |  | 49 | 50 | 0.0068401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5633-2_0_5_trafo_23 | 0.63 MVA 20/0.4 kV | 51 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2531663.1335 | 1154093.9885 | 2531705.6325 | 1154048.358 | 2531749.8549 | 1154092.2414
1 | 2531663.1335 | 1154093.9885 | 2531691.4577 | 1154063.5773
2 | 2531663.1335 | 1154093.9885 | 2531652.7085 | 1154102.8786 | 2531648.5977 | 1154106.3829 | 2531658.1187 | 1154121.8832 | 2531662.978 | 1154129.5544 | 2531667.9136 | 1154137.1914 | 2531672.9325 | 1154144.7275 | 2531678.0355 | 1154152.2403 | 2531688.5166 | 1154167.185
3 | 2531688.5166 | 1154167.185 | 2531683.4796 | 1154170.1884 | 2531638.7765 | 1154177.1004
4 | 2531688.5166 | 1154167.185 | 2531701.565 | 1154185.2468 | 2531708.2406 | 1154194.1092 | 2531715.0922 | 1154202.9251 | 2531724.5447 | 1154214.4575 | 2531734.3022 | 1154225.8196 | 2531745.5251 | 1154238.5437 | 2531751.6448 | 1154245.0778 | 2531759.3721 | 1154253.328 | 2531757.2691 | 1154255.9533 | 2531756.0772 | 1154259.0908 | 2531755.8928 | 1154262.4392 | 2531756.7429 | 1154265.6869 | 2531758.5395 | 1154268.5125 | 2531753.0487 | 1154272.7661 | 2531750.6507 | 1154274.4053 | 2531748.2257 | 1154275.7002 | 2531745.4226 | 1154276.7993 | 2531742.5671 | 1154277.3321 | 2531711.7841 | 1154281.0949 | 2531712.1733 | 1154284.2811
5 | 2531690.7247 | 1154283.7912 | 2531711.7841 | 1154281.0949 | 2531712.1733 | 1154284.2811
6 | 2531681.3054 | 1154273.8261 | 2531682.3572 | 1154279.962 | 2531683.132 | 1154284.678 | 2531690.7247 | 1154283.7912
7 | 2531690.7247 | 1154283.7912 | 2531683.8802 | 1154240.6185
8 | 2531712.1733 | 1154284.2811 | 2531706.5987 | 1154291.2817 | 2531704.347 | 1154290.2734 | 2531692.9209 | 1154291.3927 | 2531681.7742 | 1154292.7868 | 2531680.1765 | 1154301.3875
9 | 2531712.1733 | 1154284.2811 | 2531719.8564 | 1154318.1795
10 | 2531681.3054 | 1154273.8261 | 2531679.5369 | 1154269.4326 | 2531675.2389 | 1154264.5565 | 2531668.7145 | 1154262.2405 | 2531635.3039 | 1154267.6901 | 2531630.2147 | 1154267.459 | 2531627.0744 | 1154264.5375 | 2531625.7385 | 1154259.0608 | 2531622.212 | 1154237.7805
11 | 2531595.8821 | 1154271.4295 | 2531596.9125 | 1154277.6991 | 2531597.5308 | 1154281.4719 | 2531599.1979 | 1154291.1027 | 2531682.3572 | 1154279.962 | 2531681.3054 | 1154273.8261
12 | 2531681.3054 | 1154273.8261 | 2531679.7683 | 1154265.4945 | 2531674.4206 | 1154236.4503 | 2531672.571 | 1154226.3843
13 | 2531680.1765 | 1154301.3875 | 2531680.7728 | 1154306.5947 | 2531684.6743 | 1154340.6688
14 | 2531727.2931 | 1154350.9908 | 2531719.8564 | 1154318.1795
15 | 2531564.0667 | 1154226.9781 | 2531571.1354 | 1154225.8859 | 2531572.1909 | 1154233.0112
16 | 2531563.2935 | 1154222.4177 | 2531564.0667 | 1154226.9781
17 | 2531506.6792 | 1154198.616 | 2531524.351 | 1154196.2022 | 2531525.9788 | 1154203.0542 | 2531527.1725 | 1154209.5108 | 2531531.1584 | 1154232.089 | 2531552.8555 | 1154228.7846 | 2531564.0667 | 1154226.9781
18 | 2531506.6792 | 1154198.616 | 2531505.0942 | 1154188.1283
19 | 2531506.6792 | 1154198.616 | 2531524.351 | 1154196.2022 | 2531573.8471 | 1154187.7895 | 2531577.3867 | 1154186.6931 | 2531580.9836 | 1154184.562 | 2531584.9395 | 1154180.9372 | 2531587.6185 | 1154176.3486 | 2531589.1452 | 1154170.2835 | 2531589.1113 | 1154163.9359 | 2531586.4617 | 1154148.2018
20 | 2531586.4617 | 1154148.2018 | 2531589.1113 | 1154163.9359 | 2531589.1452 | 1154170.2835 | 2531587.6185 | 1154176.3486 | 2531584.9395 | 1154180.9372 | 2531580.9836 | 1154184.562 | 2531584.8369 | 1154204.2624 | 2531592.9148 | 1154253.3866 | 2531594.3407 | 1154262.053
21 | 2531586.4617 | 1154148.2018 | 2531584.8688 | 1154138.3478 | 2531583.8113 | 1154133.068 | 2531582.3402 | 1154127.8485 | 2531577.0098 | 1154113.3327
22 | 2531594.3407 | 1154262.053 | 2531595.1433 | 1154266.9353
23 | 2531595.8821 | 1154271.4295 | 2531595.1433 | 1154266.9353
24 | 2531587.0564 | 1154272.5195 | 2531595.8821 | 1154271.4295
25 | 2531684.8122 | 1154341.8734 | 2531684.6743 | 1154340.6688
26 | 2531731.2289 | 1154368.5558 | 2531732.8452 | 1154375.7637 | 2531734.3118 | 1154383.35
27 | 2531727.2931 | 1154350.9908 | 2531731.2289 | 1154368.5558
28 | 2531734.3118 | 1154383.35 | 2531745.0306 | 1154438.7936 | 2531745.5882 | 1154441.5556
29 | 2531727.2931 | 1154350.9908 | 2531753.1196 | 1154345.9303
30 | 2531690.0653 | 1154380.9859 | 2531678.5102 | 1154384.4729
31 | 2531690.0653 | 1154380.9859 | 2531688.9449 | 1154376.9075 | 2531688.6909 | 1154374.8092 | 2531687.391 | 1154364.396 | 2531684.8122 | 1154341.8734
32 | 2531663.5354 | 1154388.9919 | 2531678.5102 | 1154384.4729
33 | 2531750.2965 | 1154507.9499 | 2531731.0956 | 1154515.4721 | 2531729.7216 | 1154528.0777
34 | 2531750.2965 | 1154507.9499 | 2531749.9205 | 1154495.1137
35 | 2531750.2965 | 1154507.9499 | 2531750.4367 | 1154512.8621
36 | 2531833.1781 | 1154371.1558 | 2531820.1157 | 1154373.4163
37 | 2531842.3733 | 1154354.6424 | 2531845.4181 | 1154368.7602 | 2531833.1781 | 1154371.1558
38 | 2531811.2804 | 1154334.4394 | 2531794.2068 | 1154337.8262
39 | 2531811.2804 | 1154334.4394 | 2531821.6272 | 1154334.2219 | 2531826.6967 | 1154340.1677 | 2531842.3733 | 1154354.6424
40 | 2531772.1042 | 1154342.2105 | 2531794.2068 | 1154337.8262
41 | 2531842.3733 | 1154354.6424 | 2531897.0536 | 1154400.2813 | 2531894.1694 | 1154440.2361 | 2531881.7214 | 1154439.1654 | 2531879.3267 | 1154468.8312 | 2531867.945 | 1154481.9564
42 | 2531772.1042 | 1154342.2105 | 2531753.1196 | 1154345.9303
43 | 2531772.1042 | 1154342.2105 | 2531768.4756 | 1154321.6461
44 | 2531645.1938 | 1154394.5257 | 2531663.5354 | 1154388.9919
45 | 2531645.1938 | 1154394.5257 | 2531640.0439 | 1154396.082
46 | 2531749.9205 | 1154495.1137 | 2531748.835 | 1154457.6386 | 2531745.5882 | 1154441.5556
47 | 2531749.9205 | 1154495.1137 | 2531707.5449 | 1154513.5497 | 2531694.0082 | 1154486.1456
48 | 2531633.4962 | 1154398.0607 | 2531601.9179 | 1154387.8365 | 2531596.9657 | 1154351.195
49 | 2531633.4962 | 1154398.0607 | 2531640.0439 | 1154396.082

## bus_geodata
| x | y | coords
0 | 2531749.8549 | 1154092.2414
1 | 2531663.1335 | 1154093.9885
2 | 2531691.4577 | 1154063.5773
3 | 2531688.5166 | 1154167.185
4 | 2531690.7247 | 1154283.7912
5 | 2531712.1733 | 1154284.2811
6 | 2531681.3054 | 1154273.8261
7 | 2531683.8802 | 1154240.6185
8 | 2531680.1765 | 1154301.3875
9 | 2531719.8564 | 1154318.1795
10 | 2531638.7765 | 1154177.1004
11 | 2531564.0667 | 1154226.9781
12 | 2531572.1909 | 1154233.0112
13 | 2531563.2935 | 1154222.4177
14 | 2531506.6792 | 1154198.616
15 | 2531505.0942 | 1154188.1283
16 | 2531586.4617 | 1154148.2018
17 | 2531594.3407 | 1154262.053
18 | 2531577.0098 | 1154113.3327
19 | 2531595.1433 | 1154266.9353
20 | 2531622.212 | 1154237.7805
21 | 2531595.8821 | 1154271.4295
22 | 2531672.571 | 1154226.3843
23 | 2531587.0564 | 1154272.5195
24 | 2531684.6743 | 1154340.6688
25 | 2531731.2289 | 1154368.5558
26 | 2531734.3118 | 1154383.35
27 | 2531727.2931 | 1154350.9908
28 | 2531690.0653 | 1154380.9859
29 | 2531678.5102 | 1154384.4729
30 | 2531684.8122 | 1154341.8734
31 | 2531729.7216 | 1154528.0777
32 | 2531750.2965 | 1154507.9499
33 | 2531820.1157 | 1154373.4163
34 | 2531833.1781 | 1154371.1558
35 | 2531811.2804 | 1154334.4394
36 | 2531794.2068 | 1154337.8262
37 | 2531842.3733 | 1154354.6424
38 | 2531772.1042 | 1154342.2105
39 | 2531768.4756 | 1154321.6461
40 | 2531867.945 | 1154481.9564
41 | 2531753.1196 | 1154345.9303
42 | 2531663.5354 | 1154388.9919
43 | 2531645.1938 | 1154394.5257
44 | 2531745.5882 | 1154441.5556
45 | 2531749.9205 | 1154495.1137
46 | 2531750.4367 | 1154512.8621
47 | 2531694.0082 | 1154486.1456
48 | 2531596.9657 | 1154351.195
49 | 2531633.4962 | 1154398.0607
50 | 2531640.0439 | 1154396.082
51 | 2531731.2289 | 1154368.5558

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1