## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5635-10_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5635-10_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5635-10_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5635-10_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5635-10_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5635-10_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5635-10_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5635-10_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5635-10_0_6_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_5635-10_0_6_node_106 | 0.4 | n |  | TRUE
10 | bus_LV_5635-10_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5635-10_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5635-10_0_6_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_5635-10_0_6_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_5635-10_0_6_node_110 | 0.4 | n |  | TRUE
15 | bus_LV_5635-10_0_6_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_5635-10_0_6_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_5635-10_0_6_node_111 | 0.4 | n |  | TRUE
18 | bus_LV_5635-10_0_6_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_5635-10_0_6_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_5635-10_0_6_node_109 | 0.4 | n |  | TRUE
21 | bus_LV_5635-10_0_6_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5635-10_0_6_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5635-10_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5635-10_0_6_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_5635-10_0_6_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_5635-10_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5635-10_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5635-10_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5635-10_0_6_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_5635-10_0_6_node_98 | 0.4 | n |  | TRUE
31 | bus_LV_5635-10_0_6_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5635-10_0_6_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_5635-10_0_6_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_5635-10_0_6_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_5635-10_0_6_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_5635-10_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5635-10_0_6_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_5635-10_0_6_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_5635-10_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5635-10_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5635-10_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5635-10_0_6_node_100 | 0.4 | n |  | TRUE
43 | bus_LV_5635-10_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_5635-10_0_6_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_5635-10_0_6_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_5635-10_0_6_node_97 | 0.4 | n |  | TRUE
47 | bus_LV_5635-10_0_6_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_5635-10_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_5635-10_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5635-10_0_6_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_5635-10_0_6_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_5635-10_0_6_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_5635-10_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5635-10_0_6_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_5635-10_0_6_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_5635-10_0_6_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_5635-10_0_6_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_5635-10_0_6_node_112 | 0.4 | n |  | TRUE
59 | bus_LV_5635-10_0_6_node_93 | 0.4 | n |  | TRUE
60 | bus_LV_5635-10_0_6_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_5635-10_0_6_node_95 | 0.4 | n |  | TRUE
62 | bus_LV_5635-10_0_6_node_92 | 0.4 | n |  | TRUE
63 | bus_LV_5635-10_0_6_node_10 | 0.4 | n |  | TRUE
64 | bus_LV_5635-10_0_6_node_11 | 0.4 | n |  | TRUE
65 | bus_LV_5635-10_0_6_node_12 | 0.4 | n |  | TRUE
66 | bus_LV_5635-10_0_6_node_13 | 0.4 | n |  | TRUE
67 | bus_LV_5635-10_0_6_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_5635-10_0_6_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_5635-10_0_6_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_5635-10_0_6_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_5635-10_0_6_node_14 | 0.4 | n |  | TRUE
72 | bus_LV_5635-10_0_6_node_103 | 0.4 | n |  | TRUE
73 | bus_LV_5635-10_0_6_node_15 | 0.4 | n |  | TRUE
74 | bus_LV_5635-10_0_6_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_5635-10_0_6_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_5635-10_0_6_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_5635-10_0_6_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_5635-10_0_6_node_101 | 0.4 | n |  | TRUE
79 | bus_LV_5635-10_0_6_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_5635-10_0_6_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_5635-10_0_6_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_5635-10_0_6_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_5635-10_0_6_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_5635-10_0_6_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_5635-10_0_6_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_5635-10_0_6_node_104 | 0.4 | n |  | TRUE
87 | bus_LV_5635-10_0_6_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_5635-10_0_6_node_50 | 0.4 | n |  | TRUE
89 | bus_LV_5635-10_0_6_node_102 | 0.4 | n |  | TRUE
90 | bus_LV_5635-10_0_6_node_67 | 0.4 | n |  | TRUE
91 | bus_LV_5635-10_0_6_node_57 | 0.4 | n |  | TRUE
92 | bus_LV_5635-10_0_6_node_62 | 0.4 | n |  | TRUE
93 | bus_LV_5635-10_0_6_node_64 | 0.4 | n |  | TRUE
94 | bus_LV_5635-10_0_6_node_72 | 0.4 | n |  | TRUE
95 | bus_LV_5635-10_0_6_node_65 | 0.4 | n |  | TRUE
96 | bus_LV_5635-10_0_6_node_66 | 0.4 | n |  | TRUE
97 | bus_LV_5635-10_0_6_node_68 | 0.4 | n |  | TRUE
98 | bus_LV_5635-10_0_6_node_69 | 0.4 | n |  | TRUE
99 | bus_LV_5635-10_0_6_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_5635-10_0_6_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_5635-10_0_6_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_5635-10_0_6_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_5635-10_0_6_node_73 | 0.4 | n |  | TRUE
104 | bus_LV_5635-10_0_6_node_74 | 0.4 | n |  | TRUE
105 | bus_LV_5635-10_0_6_node_75 | 0.4 | n |  | TRUE
106 | bus_LV_5635-10_0_6_node_82 | 0.4 | n |  | TRUE
107 | bus_LV_5635-10_0_6_node_85 | 0.4 | n |  | TRUE
108 | bus_MV_621_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5635-10_0_6_load_0 | 0 | 0.007073 | 0.0017727 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5635-10_0_6_load_3 | 3 | 0.0067696 | 0.0016966 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5635-10_0_6_load_4 | 4 | 0.011689 | 0.0029295 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5635-10_0_6_load_5 | 5 | 0.0066495 | 0.0016665 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5635-10_0_6_load_106 | 9 | 0.0065827 | 0.0016498 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5635-10_0_6_load_110 | 14 | 0.027699 | 0.006942 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5635-10_0_6_load_111 | 17 | 0.015503 | 0.0038854 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5635-10_0_6_load_109 | 20 | 0.029371 | 0.007361 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5635-10_0_6_load_76 | 25 | 0.019864 | 0.0049784 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5635-10_0_6_load_79 | 29 | 0.0021843 | 0.00054744 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5635-10_0_6_load_98 | 30 | 0.0098531 | 0.0024694 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5635-10_0_6_load_51 | 32 | 0.02352 | 0.0058948 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5635-10_0_6_load_52 | 33 | 0.0039629 | 0.0009932 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5635-10_0_6_load_63 | 34 | 0.0024164 | 0.00060561 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5635-10_0_6_load_60 | 35 | 0.002952 | 0.00073985 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5635-10_0_6_load_91 | 37 | 0.0056139 | 0.001407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5635-10_0_6_load_100 | 42 | 0.0031339 | 0.00078544 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5635-10_0_6_load_48 | 45 | 0.0085859 | 0.0021518 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5635-10_0_6_load_97 | 46 | 0.029609 | 0.0074206 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5635-10_0_6_load_47 | 47 | 0.0010997 | 0.0002756 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5635-10_0_6_load_80 | 50 | 0.0070672 | 0.0017712 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5635-10_0_6_load_77 | 52 | 0.012128 | 0.0030395 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5635-10_0_6_load_49 | 54 | 0.003442 | 0.00086263 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5635-10_0_6_load_81 | 56 | 0.012486 | 0.0031292 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5635-10_0_6_load_99 | 57 | 0.001439 | 0.00036065 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5635-10_0_6_load_112 | 58 | 0.0048555 | 0.0012169 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5635-10_0_6_load_108 | 60 | 0.0099843 | 0.0025023 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5635-10_0_6_load_95 | 61 | 0.0024944 | 0.00062515 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5635-10_0_6_load_92 | 62 | 0.0019056 | 0.00047758 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5635-10_0_6_load_10 | 63 | 0.006322 | 0.0015844 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5635-10_0_6_load_43 | 68 | 0.0071395 | 0.0017893 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5635-10_0_6_load_45 | 70 | 0.012548 | 0.0031449 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5635-10_0_6_load_103 | 72 | 0.017164 | 0.0043018 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5635-10_0_6_load_83 | 75 | 0.021472 | 0.0053814 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5635-10_0_6_load_53 | 76 | 0.0038141 | 0.0009559 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5635-10_0_6_load_55 | 77 | 0.0078695 | 0.0019723 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5635-10_0_6_load_101 | 78 | 0.0046301 | 0.0011604 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5635-10_0_6_load_54 | 80 | 0.0040381 | 0.001012 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5635-10_0_6_load_58 | 81 | 0.018412 | 0.0046145 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5635-10_0_6_load_71 | 82 | 0.0020472 | 0.00051309 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5635-10_0_6_load_61 | 83 | 0.0031843 | 0.00079807 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5635-10_0_6_load_90 | 84 | 0.0068162 | 0.0017083 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5635-10_0_6_load_94 | 85 | 0.0034379 | 0.00086161 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5635-10_0_6_load_104 | 86 | 0.015897 | 0.0039841 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5635-10_0_6_load_50 | 88 | 0.0078068 | 0.0019566 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5635-10_0_6_load_102 | 89 | 0.0046323 | 0.001161 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5635-10_0_6_load_57 | 91 | 0.0036463 | 0.00091385 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5635-10_0_6_load_62 | 92 | 0.0024948 | 0.00062527 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5635-10_0_6_load_64 | 93 | 0.0076656 | 0.0019212 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5635-10_0_6_load_65 | 95 | 0.0084311 | 0.002113 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5635-10_0_6_load_66 | 96 | 0.0021199 | 0.00053129 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5635-10_0_6_load_69 | 98 | 0.0021648 | 0.00054255 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5635-10_0_6_load_88 | 99 | 0.0038758 | 0.00097137 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5635-10_0_6_load_89 | 100 | 0.0051475 | 0.0012901 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5635-10_0_6_load_87 | 101 | 0.0026373 | 0.00066096 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5635-10_0_6_load_73 | 103 | 0.0022618 | 0.00056686 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5635-10_0_6_load_74 | 104 | 0.0030494 | 0.00076426 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5635-10_0_6_load_75 | 105 | 0.0062171 | 0.0015581 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5635-10_0_6_load_82 | 106 | 0.0072064 | 0.0018061 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5635-10_0_6_load_85 | 107 | 0.0077482 | 0.0019419 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 101 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5635-10_0_6_line_0 |  | 0 | 1 | 0.0073643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5635-10_0_6_line_1 |  | 0 | 2 | 0.018318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5635-10_0_6_line_2 |  | 1 | 3 | 0.040371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5635-10_0_6_line_3 |  | 1 | 4 | 0.017185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5635-10_0_6_line_4 |  | 2 | 5 | 0.01787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5635-10_0_6_line_5 |  | 2 | 6 | 0.035096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5635-10_0_6_line_6 |  | 3 | 7 | 0.011755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5635-10_0_6_line_7 |  | 5 | 8 | 0.027451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5635-10_0_6_line_8 |  | 6 | 9 | 0.035066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5635-10_0_6_line_9 |  | 7 | 10 | 0.01725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5635-10_0_6_line_10 |  | 7 | 11 | 0.012797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5635-10_0_6_line_11 |  | 8 | 12 | 0.007558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5635-10_0_6_line_12 |  | 10 | 58 | 0.004736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5635-10_0_6_line_13 |  | 10 | 59 | 0.017945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5635-10_0_6_line_14 |  | 11 | 60 | 0.006831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5635-10_0_6_line_15 |  | 12 | 86 | 0.01278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5635-10_0_6_line_16 |  | 13 | 14 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5635-10_0_6_line_17 |  | 13 | 15 | 0.024808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5635-10_0_6_line_18 |  | 15 | 33 | 0.028491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5635-10_0_6_line_19 |  | 16 | 17 | 0.00175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5635-10_0_6_line_20 |  | 16 | 18 | 0.069283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5635-10_0_6_line_21 |  | 18 | 53 | 0.011078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5635-10_0_6_line_22 |  | 19 | 20 | 0.036733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5635-10_0_6_line_23 |  | 19 | 21 | 0.028536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5635-10_0_6_line_24 |  | 19 | 22 | 0.02844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5635-10_0_6_line_25 |  | 21 | 31 | 0.07635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5635-10_0_6_line_26 |  | 21 | 32 | 0.016264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5635-10_0_6_line_27 |  | 22 | 33 | 0.035435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5635-10_0_6_line_28 |  | 23 | 24 | 0.025055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5635-10_0_6_line_29 |  | 23 | 25 | 0.014194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5635-10_0_6_line_30 |  | 24 | 81 | 0.016144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5635-10_0_6_line_31 |  | 26 | 27 | 0.0085276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5635-10_0_6_line_32 |  | 26 | 28 | 0.11233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5635-10_0_6_line_33 |  | 26 | 29 | 0.019281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5635-10_0_6_line_34 |  | 27 | 30 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5635-10_0_6_line_35 |  | 28 | 34 | 0.011144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5635-10_0_6_line_36 |  | 28 | 35 | 0.012509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5635-10_0_6_line_37 |  | 30 | 31 | 0.019659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5635-10_0_6_line_38 |  | 31 | 43 | 0.050255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5635-10_0_6_line_39 |  | 34 | 82 | 0.0012414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5635-10_0_6_line_40 |  | 35 | 83 | 0.023517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5635-10_0_6_line_41 |  | 36 | 37 | 0.017966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5635-10_0_6_line_42 |  | 36 | 38 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5635-10_0_6_line_43 |  | 37 | 84 | 0.029783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5635-10_0_6_line_44 |  | 38 | 85 | 0.021634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5635-10_0_6_line_45 |  | 38 | 49 | 0.012101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5635-10_0_6_line_46 |  | 39 | 40 | 0.060653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5635-10_0_6_line_47 |  | 39 | 41 | 0.064656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5635-10_0_6_line_48 |  | 39 | 42 | 0.026393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5635-10_0_6_line_49 |  | 40 | 44 | 0.045466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5635-10_0_6_line_50 |  | 40 | 45 | 0.01306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5635-10_0_6_line_51 |  | 41 | 46 | 0.020907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5635-10_0_6_line_52 |  | 43 | 50 | 0.044614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5635-10_0_6_line_53 |  | 43 | 51 | 0.037008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5635-10_0_6_line_54 |  | 43 | 52 | 0.037554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_5635-10_0_6_line_55 |  | 44 | 47 | 0.02043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5635-10_0_6_line_56 |  | 46 | 48 | 0.018898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5635-10_0_6_line_57 |  | 48 | 49 | 0.083547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5635-10_0_6_line_58 |  | 49 | 57 | 0.001621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5635-10_0_6_line_59 |  | 51 | 54 | 0.01193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5635-10_0_6_line_60 |  | 52 | 87 | 0.013709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5635-10_0_6_line_61 |  | 53 | 55 | 0.021897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_5635-10_0_6_line_62 |  | 53 | 56 | 0.044972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5635-10_0_6_line_63 |  | 54 | 88 | 0.030883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5635-10_0_6_line_64 |  | 55 | 57 | 0.037678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5635-10_0_6_line_65 |  | 56 | 87 | 0.021818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5635-10_0_6_line_66 |  | 59 | 61 | 0.012457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5635-10_0_6_line_67 |  | 59 | 62 | 0.011752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5635-10_0_6_line_68 |  | 62 | 84 | 0.017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5635-10_0_6_line_69 |  | 63 | 64 | 0.030882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5635-10_0_6_line_70 |  | 63 | 65 | 0.020391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5635-10_0_6_line_71 |  | 64 | 66 | 0.004329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5635-10_0_6_line_72 |  | 65 | 67 | 0.009436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5635-10_0_6_line_73 |  | 65 | 68 | 0.018069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5635-10_0_6_line_74 |  | 65 | 69 | 0.031802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5635-10_0_6_line_75 |  | 66 | 70 | 0.016374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5635-10_0_6_line_76 |  | 67 | 76 | 0.022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5635-10_0_6_line_77 |  | 67 | 71 | 0.093756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5635-10_0_6_line_78 |  | 68 | 77 | 0.026405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5635-10_0_6_line_79 |  | 69 | 78 | 0.00671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5635-10_0_6_line_80 |  | 69 | 79 | 0.009367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5635-10_0_6_line_81 |  | 71 | 72 | 0.040381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5635-10_0_6_line_82 |  | 73 | 74 | 0.029728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5635-10_0_6_line_83 |  | 73 | 75 | 0.0033912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5635-10_0_6_line_84 |  | 74 | 80 | 0.060871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5635-10_0_6_line_85 |  | 74 | 76 | 0.024147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5635-10_0_6_line_86 |  | 79 | 89 | 0.007597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5635-10_0_6_line_87 |  | 79 | 90 | 0.019549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5635-10_0_6_line_88 |  | 80 | 91 | 0.015978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5635-10_0_6_line_89 |  | 81 | 91 | 0.005323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5635-10_0_6_line_90 |  | 82 | 94 | 0.0099203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5635-10_0_6_line_91 |  | 83 | 92 | 0.0088495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5635-10_0_6_line_92 |  | 87 | 106 | 0.019294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_5635-10_0_6_line_93 |  | 90 | 98 | 0.011737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5635-10_0_6_line_94 |  | 90 | 95 | 0.0031873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5635-10_0_6_line_95 |  | 92 | 93 | 0.022684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5635-10_0_6_line_96 |  | 94 | 103 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5635-10_0_6_line_97 |  | 95 | 96 | 0.025852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
98 | LV_5635-10_0_6_line_98 |  | 96 | 97 | 0.041445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_5635-10_0_6_line_99 |  | 97 | 99 | 0.009132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5635-10_0_6_line_100 |  | 97 | 100 | 0.01437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5635-10_0_6_line_101 |  | 97 | 101 | 0.017071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_5635-10_0_6_line_102 |  | 101 | 102 | 0.032351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_5635-10_0_6_line_103 |  | 102 | 107 | 0.01585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5635-10_0_6_line_104 |  | 102 | 106 | 0.0041034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_5635-10_0_6_line_105 |  | 103 | 104 | 0.024501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5635-10_0_6_line_106 |  | 104 | 105 | 0.01427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5635-10_0_6_trafo_87 | 0.63 MVA 20/0.4 kV | 108 | 101 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2533016.0568 | 1153270.0617 | 2533023.1502 | 1153268.0827
1 | 2533040.7948 | 1153263.1601 | 2533023.1502 | 1153268.0827
2 | 2533016.0568 | 1153270.0617 | 2533007.8175 | 1153272.277 | 2533001.4796 | 1153276.4166 | 2532993.9146 | 1153273.7327 | 2532978.3402 | 1153278.3418
3 | 2533016.0568 | 1153270.0617 | 2533015.2678 | 1153272.2495 | 2533018.9313 | 1153286.6498
4 | 2533040.7948 | 1153263.1601 | 2533047.4583 | 1153279.7413
5 | 2533025.9151 | 1153231.3639 | 2533040.7948 | 1153263.1601
6 | 2532967.9837 | 1153283.7495 | 2532975.5673 | 1153279.1624 | 2532978.3402 | 1153278.3418
7 | 2533058.5698 | 1153304.8407 | 2533048.4895 | 1153282.3072 | 2533047.4583 | 1153279.7413
8 | 2533025.9151 | 1153231.3639 | 2532992.2748 | 1153241.5888
9 | 2532975.0947 | 1153299.39 | 2532970.7326 | 1153288.0435 | 2532967.9837 | 1153283.7495
10 | 2532961.0803 | 1153272.965 | 2532967.9837 | 1153283.7495
11 | 2533051.8566 | 1153308.3507 | 2533058.5698 | 1153304.8407
12 | 2532975.0947 | 1153299.39 | 2532970.5204 | 1153300.6639
13 | 2532975.0947 | 1153299.39 | 2532981.5428 | 1153316.1384
14 | 2532961.0803 | 1153272.965 | 2532955.2113 | 1153276.4879
15 | 2533051.8566 | 1153308.3507 | 2533057.715 | 1153319.714
16 | 2532991.8271 | 1153528.9523 | 2532992.7239 | 1153532.3108 | 2532987.1928 | 1153548.2257
17 | 2532987.1928 | 1153548.2257 | 2533007.5618 | 1153540.4499 | 2533008.6519 | 1153543.2504
18 | 2533008.6519 | 1153543.2504 | 2532985.8324 | 1153552.143 | 2532982.1608 | 1153553.7312
19 | 2533031.0552 | 1153490.1271 | 2533032.5764 | 1153490.9995
20 | 2533011.2147 | 1153455.1733 | 2533014.0469 | 1153463.513 | 2533015.8238 | 1153468.7294 | 2533021.4873 | 1153466.743 | 2533023.8171 | 1153466.4947 | 2533026.3288 | 1153466.7335 | 2533029.9231 | 1153467.7273 | 2533033.0788 | 1153469.2931 | 2533035.6528 | 1153471.6768 | 2533037.5652 | 1153474.6016 | 2533039.0977 | 1153479.2315 | 2533041.5842 | 1153489.6095 | 2533042.1851 | 1153493.2604 | 2533038.2059 | 1153494.2275 | 2533036.7714 | 1153493.5653 | 2533034.4467 | 1153492.2016 | 2533032.5764 | 1153490.9995
21 | 2533011.2147 | 1153455.1733 | 2533018.629 | 1153452.6226 | 2533017.498 | 1153449.5891
22 | 2532925.9811 | 1153575.8902 | 2532914.8867 | 1153540.8725
23 | 2532925.9811 | 1153575.8902 | 2532903.1459 | 1153581.2925 | 2532900.5423 | 1153576.9414
24 | 2532925.9811 | 1153575.8902 | 2532929.8872 | 1153574.5682 | 2532932.7439 | 1153573.4134 | 2532937.2403 | 1153571.3621 | 2532948.8152 | 1153564.885 | 2532949.6381 | 1153567.7997
25 | 2532886.6591 | 1153510.0261 | 2532886.3823 | 1153513.4088 | 2532891.5218 | 1153531.1501 | 2532897.681 | 1153543.3325 | 2532907.6019 | 1153563.255 | 2532902.7715 | 1153564.2539 | 2532903.9996 | 1153570.477 | 2532900.5423 | 1153576.9414
26 | 2532900.5423 | 1153576.9414 | 2532884.594 | 1153580.1284
27 | 2532949.6381 | 1153567.7997 | 2532982.1608 | 1153553.7312
28 | 2532869.5648 | 1153400.2119 | 2532845.9035 | 1153408.6475
29 | 2532845.9035 | 1153408.6475 | 2532841.308 | 1153395.2184
30 | 2532869.5648 | 1153400.2119 | 2532884.9158 | 1153395.2145
31 | 2532850.076 | 1153510.8017 | 2532850.1302 | 1153506.0429 | 2532850.0958 | 1153502.2745
32 | 2532850.0958 | 1153502.2745 | 2532812.897 | 1153500.8338 | 2532805.955 | 1153501.0115 | 2532812.8864 | 1153497.8323 | 2532841.0364 | 1153490.1246 | 2532848.1887 | 1153488.1658 | 2532860.5245 | 1153484.5372 | 2532861.3396 | 1153479.2029 | 2532859.8436 | 1153473.7277
33 | 2532850.0958 | 1153502.2745 | 2532869.3722 | 1153501.8446
34 | 2532850.076 | 1153510.8017 | 2532867.0041 | 1153510.4428
35 | 2532859.8436 | 1153473.7277 | 2532856.3099 | 1153463.1585
36 | 2532859.8436 | 1153473.7277 | 2532871.7041 | 1153469.7527
37 | 2532886.6591 | 1153510.0261 | 2532867.0041 | 1153510.4428
38 | 2532886.6591 | 1153510.0261 | 2532889.3899 | 1153509.9622 | 2532891.5062 | 1153505.0248 | 2532907.127 | 1153502.8603 | 2532928.3413 | 1153497.2539 | 2532927.1579 | 1153492.9758
39 | 2532856.3099 | 1153463.1585 | 2532855.9162 | 1153461.9812
40 | 2532871.7041 | 1153469.7527 | 2532894.002 | 1153462.2796
41 | 2533007.6595 | 1153376.4806 | 2533003.6485 | 1153358.9679
42 | 2532997.6924 | 1153379.2488 | 2533007.6595 | 1153376.4806
43 | 2532996.9994 | 1153329.9368 | 2533003.6485 | 1153358.9679
44 | 2532997.6924 | 1153379.2488 | 2532992.2612 | 1153358.3076
45 | 2532997.6924 | 1153379.2488 | 2533000.5245 | 1153391.0126
46 | 2533092.2198 | 1153447.089 | 2533094.8699 | 1153445.9811 | 2533096.1937 | 1153445.6551 | 2533097.1677 | 1153445.6109 | 2533098.7319 | 1153445.5157 | 2533100.403 | 1153445.3748 | 2533105.883 | 1153443.446 | 2533106.8949 | 1153443.357 | 2533108.2631 | 1153443.5752 | 2533109.7865 | 1153443.9473 | 2533110.8397 | 1153444.1357 | 2533111.7744 | 1153444.003 | 2533113.988 | 1153442.9667 | 2533115.7294 | 1153441.5577 | 2533119.5358 | 1153440.9261 | 2533121.2052 | 1153439.9403 | 2533121.8354 | 1153438.6548 | 2533123.6873 | 1153439.5903 | 2533127.6514 | 1153444.8491 | 2533128.9116 | 1153447.0807 | 2533136.7481 | 1153462.4687
47 | 2533092.2198 | 1153447.089 | 2533091.0438 | 1153444.8453 | 2533113.3821 | 1153436.7923 | 2533114.1496 | 1153436.806 | 2533115.485 | 1153436.8356 | 2533114.654 | 1153434.5547 | 2533113.0709 | 1153430.2032 | 2533108.6199 | 1153418.424 | 2533103.8702 | 1153414.9639 | 2533093.6723 | 1153418.357
48 | 2533092.2198 | 1153447.089 | 2533096.9708 | 1153456.1856 | 2533099.2546 | 1153472.1531
49 | 2533136.7481 | 1153462.4687 | 2533157.9891 | 1153502.688
50 | 2533136.7481 | 1153462.4687 | 2533125.1942 | 1153468.558
51 | 2533093.6723 | 1153418.357 | 2533085.1136 | 1153399.2826
52 | 2532927.1579 | 1153492.9758 | 2532934.1253 | 1153490.2633 | 2532959.6052 | 1153480.4848 | 2532968.8045 | 1153476.9764
53 | 2532927.1579 | 1153492.9758 | 2532928.3413 | 1153497.2539 | 2532952.8191 | 1153489.1319 | 2532954.9855 | 1153495.5557
54 | 2532927.1579 | 1153492.9758 | 2532927.0429 | 1153492.2989 | 2532927.1572 | 1153491.5417 | 2532927.3347 | 1153490.9394 | 2532927.7039 | 1153490.3349 | 2532928.0823 | 1153489.8638 | 2532928.583 | 1153489.3579 | 2532929.1611 | 1153488.9068 | 2532929.8168 | 1153488.5326 | 2532944.9166 | 1153482.3052 | 2532946.6707 | 1153481.3517 | 2532947.5978 | 1153480.5409 | 2532948.6431 | 1153479.3286 | 2532949.2426 | 1153478.0434 | 2532949.675 | 1153476.9158 | 2532950.1393 | 1153475.1985 | 2532951.4141 | 1153468.9325
55 | 2533157.9891 | 1153502.688 | 2533139.8484 | 1153512.0853
56 | 2533077.3771 | 1153382.0406 | 2533085.1136 | 1153399.2826
57 | 2533000.5245 | 1153391.0126 | 2533043.869 | 1153379.9681 | 2533059.3399 | 1153376.0269 | 2533063.9821 | 1153380.1664 | 2533065.3329 | 1153382.9529 | 2533065.9565 | 1153383.8242 | 2533066.9177 | 1153384.7029 | 2533067.9026 | 1153384.9476 | 2533069.1643 | 1153385.2449 | 2533070.604 | 1153384.9954 | 2533074.2163 | 1153383.4654 | 2533077.3771 | 1153382.0406
58 | 2533000.5245 | 1153391.0126 | 2533000.8531 | 1153392.6
59 | 2532954.9855 | 1153495.5557 | 2532958.7972 | 1153506.8601
60 | 2532954.1472 | 1153455.4985 | 2532951.4141 | 1153468.9325
61 | 2533017.498 | 1153449.5891 | 2533013.5849 | 1153434.4577 | 2533010.6687 | 1153428.9094
62 | 2533017.498 | 1153449.5891 | 2533014.5269 | 1153450.8118 | 2532992.6976 | 1153459.7711 | 2532988.6244 | 1153461.2506 | 2532986.437 | 1153461.8865 | 2532985.0676 | 1153462.2464 | 2532983.9037 | 1153462.4595 | 2532982.6769 | 1153462.5399 | 2532980.9731 | 1153462.5033 | 2532975.0789 | 1153461.2878
63 | 2532968.6646 | 1153536.1242 | 2532958.7972 | 1153506.8601
64 | 2533010.6687 | 1153428.9094 | 2533008.0078 | 1153421.4793 | 2533004.474 | 1153410.0902 | 2533000.8531 | 1153392.6
65 | 2532954.1472 | 1153455.4985 | 2532960.6699 | 1153458.3162 | 2532975.0789 | 1153461.2878
66 | 2532981.5428 | 1153316.1384 | 2532984.559 | 1153328.2249
67 | 2532992.9744 | 1153313.2761 | 2532981.5428 | 1153316.1384
68 | 2532992.9744 | 1153313.2761 | 2532994.1252 | 1153317.3878 | 2532996.9994 | 1153329.9368
69 | 2532834.5218 | 1153236.8021 | 2532840.4246 | 1153241.7944 | 2532851.7368 | 1153253.6413 | 2532855.8102 | 1153259.0496
70 | 2532868.0776 | 1153275.3374 | 2532855.8102 | 1153259.0496
71 | 2532831.4949 | 1153239.9042 | 2532834.5218 | 1153236.8021
72 | 2532863.018 | 1153283.3094 | 2532868.0776 | 1153275.3374
73 | 2532868.0776 | 1153275.3374 | 2532882.7839 | 1153264.8388
74 | 2532868.0776 | 1153275.3374 | 2532885.8248 | 1153293.1269 | 2532890.5351 | 1153297.8547
75 | 2532831.4949 | 1153239.9042 | 2532828.0129 | 1153243.4785 | 2532834.05 | 1153253.1296
76 | 2532863.018 | 1153283.3094 | 2532859.4267 | 1153292.8993 | 2532860.0184 | 1153299.1628 | 2532862.435 | 1153304.2731
77 | 2532787.9307 | 1153306.8169 | 2532785.793 | 1153300.2372 | 2532786.8486 | 1153297.2015 | 2532786.6139 | 1153294.7361 | 2532797.2053 | 1153290.8489 | 2532835.9184 | 1153276.6195 | 2532839.6415 | 1153276.7669 | 2532851.9813 | 1153283.0659 | 2532858.9349 | 1153283.2216 | 2532863.018 | 1153283.3094
78 | 2532904.2748 | 1153249.4969 | 2532882.7839 | 1153264.8388
79 | 2532890.5351 | 1153297.8547 | 2532896.4068 | 1153294.5762
80 | 2532890.5351 | 1153297.8547 | 2532895.8316 | 1153305.5887
81 | 2532823.9519 | 1153303.7126 | 2532815.297 | 1153296.8833 | 2532801.04 | 1153304.4024 | 2532787.9307 | 1153306.8169
82 | 2532846.0667 | 1153334.6826 | 2532853.8481 | 1153327.2138 | 2532868.4021 | 1153326.3619 | 2532872.7575 | 1153326.1021
83 | 2532846.0667 | 1153334.6826 | 2532843.9447 | 1153337.3279
84 | 2532872.7575 | 1153326.1021 | 2532891.5422 | 1153366.7259 | 2532896.3416 | 1153382.1085
85 | 2532872.7575 | 1153326.1021 | 2532862.435 | 1153304.2731
86 | 2532895.8316 | 1153305.5887 | 2532901.9502 | 1153301.0624
87 | 2532895.8316 | 1153305.5887 | 2532906.8846 | 1153321.7298
88 | 2532889.9773 | 1153393.5667 | 2532894.4958 | 1153392.0958 | 2532897.8608 | 1153386.9776 | 2532896.3416 | 1153382.1085
89 | 2532889.9773 | 1153393.5667 | 2532884.9158 | 1153395.2145
90 | 2532852.7706 | 1153452.5728 | 2532855.9162 | 1153461.9812
91 | 2532899.7018 | 1153456.3287 | 2532897.1783 | 1153461.2151 | 2532894.002 | 1153462.2796
92 | 2532954.1472 | 1153455.4985 | 2532951.6478 | 1153436.3676
93 | 2532906.8846 | 1153321.7298 | 2532911.6468 | 1153318.7306 | 2532914.6909 | 1153324.044
94 | 2532906.8846 | 1153321.7298 | 2532908.6854 | 1153324.3596
95 | 2532921.2001 | 1153449.0918 | 2532899.7018 | 1153456.3287 | 2532899.7018 | 1153456.3287
96 | 2532852.7706 | 1153452.5728 | 2532865.4542 | 1153448.2014
97 | 2532908.6854 | 1153324.3596 | 2532915.2933 | 1153334.0094 | 2532921.6211 | 1153346.6735
98 | 2532938.3627 | 1153384.5688 | 2532926.4851 | 1153356.408 | 2532921.6211 | 1153346.6735
99 | 2532938.3627 | 1153384.5688 | 2532929.3904 | 1153386.4032
100 | 2532938.3627 | 1153384.5688 | 2532942.822 | 1153380.5613 | 2532942.115 | 1153372.209
101 | 2532938.3627 | 1153384.5688 | 2532943.3219 | 1153400.9035
102 | 2532950.8504 | 1153432.3448 | 2532945.8506 | 1153409.2322 | 2532943.3219 | 1153400.9035
103 | 2532950.8504 | 1153432.3448 | 2532966.3436 | 1153428.9985
104 | 2532950.8504 | 1153432.3448 | 2532951.5381 | 1153435.5277 | 2532951.6478 | 1153436.3676
105 | 2532865.4542 | 1153448.2014 | 2532888.6184 | 1153440.2178
106 | 2532902.1094 | 1153435.5681 | 2532888.6184 | 1153440.2178

## bus_geodata
| x | y | coords
0 | 2533023.1502 | 1153268.0827
1 | 2533016.0568 | 1153270.0617
2 | 2533040.7948 | 1153263.1601
3 | 2532978.3402 | 1153278.3418
4 | 2533018.9313 | 1153286.6498
5 | 2533047.4583 | 1153279.7413
6 | 2533025.9151 | 1153231.3639
7 | 2532967.9837 | 1153283.7495
8 | 2533058.5698 | 1153304.8407
9 | 2532992.2748 | 1153241.5888
10 | 2532975.0947 | 1153299.39
11 | 2532961.0803 | 1153272.965
12 | 2533051.8566 | 1153308.3507
13 | 2532987.1928 | 1153548.2257
14 | 2532991.8271 | 1153528.9523
15 | 2533008.6519 | 1153543.2504
16 | 2533032.5764 | 1153490.9995
17 | 2533031.0552 | 1153490.1271
18 | 2533011.2147 | 1153455.1733
19 | 2532925.9811 | 1153575.8902
20 | 2532914.8867 | 1153540.8725
21 | 2532900.5423 | 1153576.9414
22 | 2532949.6381 | 1153567.7997
23 | 2532845.9035 | 1153408.6475
24 | 2532869.5648 | 1153400.2119
25 | 2532841.308 | 1153395.2184
26 | 2532850.0958 | 1153502.2745
27 | 2532850.076 | 1153510.8017
28 | 2532859.8436 | 1153473.7277
29 | 2532869.3722 | 1153501.8446
30 | 2532867.0041 | 1153510.4428
31 | 2532886.6591 | 1153510.0261
32 | 2532884.594 | 1153580.1284
33 | 2532982.1608 | 1153553.7312
34 | 2532856.3099 | 1153463.1585
35 | 2532871.7041 | 1153469.7527
36 | 2533007.6595 | 1153376.4806
37 | 2533003.6485 | 1153358.9679
38 | 2532997.6924 | 1153379.2488
39 | 2533092.2197 | 1153447.089
40 | 2533136.7481 | 1153462.4687
41 | 2533093.6723 | 1153418.357
42 | 2533099.2546 | 1153472.1531
43 | 2532927.1579 | 1153492.9758
44 | 2533157.9891 | 1153502.688
45 | 2533125.1942 | 1153468.558
46 | 2533085.1136 | 1153399.2826
47 | 2533139.8484 | 1153512.0853
48 | 2533077.3771 | 1153382.0406
49 | 2533000.5245 | 1153391.0126
50 | 2532968.8045 | 1153476.9764
51 | 2532954.9855 | 1153495.5557
52 | 2532951.4141 | 1153468.9325
53 | 2533017.498 | 1153449.5891
54 | 2532958.7972 | 1153506.8601
55 | 2533010.6687 | 1153428.9094
56 | 2532975.0789 | 1153461.2878
57 | 2533000.8531 | 1153392.6
58 | 2532970.5204 | 1153300.6639
59 | 2532981.5428 | 1153316.1384
60 | 2532955.2113 | 1153276.4879
61 | 2532984.559 | 1153328.2249
62 | 2532992.9744 | 1153313.2761
63 | 2532855.8102 | 1153259.0496
64 | 2532834.5218 | 1153236.8021
65 | 2532868.0776 | 1153275.3374
66 | 2532831.4949 | 1153239.9042
67 | 2532863.018 | 1153283.3094
68 | 2532882.7839 | 1153264.8388
69 | 2532890.5351 | 1153297.8547
70 | 2532834.05 | 1153253.1296
71 | 2532787.9307 | 1153306.8169
72 | 2532823.9519 | 1153303.7126
73 | 2532846.0667 | 1153334.6826
74 | 2532872.7575 | 1153326.1021
75 | 2532843.9447 | 1153337.3279
76 | 2532862.435 | 1153304.2731
77 | 2532904.2748 | 1153249.4969
78 | 2532896.4068 | 1153294.5762
79 | 2532895.8316 | 1153305.5887
80 | 2532896.3416 | 1153382.1085
81 | 2532884.9158 | 1153395.2145
82 | 2532855.9162 | 1153461.9812
83 | 2532894.002 | 1153462.2796
84 | 2532996.9994 | 1153329.9368
85 | 2532992.2612 | 1153358.3076
86 | 2533057.715 | 1153319.714
87 | 2532954.1472 | 1153455.4985
88 | 2532968.6646 | 1153536.1242
89 | 2532901.9502 | 1153301.0624
90 | 2532906.8846 | 1153321.7298
91 | 2532889.9773 | 1153393.5667
92 | 2532899.7018 | 1153456.3287
93 | 2532921.2001 | 1153449.0918
94 | 2532852.7706 | 1153452.5728
95 | 2532908.6854 | 1153324.3596
96 | 2532921.6211 | 1153346.6735
97 | 2532938.3627 | 1153384.5688
98 | 2532914.6909 | 1153324.044
99 | 2532929.3904 | 1153386.4032
100 | 2532942.115 | 1153372.209
101 | 2532943.3219 | 1153400.9035
102 | 2532950.8504 | 1153432.3448
103 | 2532865.4542 | 1153448.2014
104 | 2532888.6184 | 1153440.2178
105 | 2532902.1094 | 1153435.5681
106 | 2532951.6478 | 1153436.3676
107 | 2532966.3436 | 1153428.9985
108 | 2532938.3627 | 1153384.5688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1