## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5635-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5635-11_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5635-11_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5635-11_0_6_node_58 | 0.4 | n |  | TRUE
4 | bus_LV_5635-11_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5635-11_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5635-11_0_6_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_5635-11_0_6_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5635-11_0_6_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_5635-11_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5635-11_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5635-11_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5635-11_0_6_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_5635-11_0_6_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_5635-11_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5635-11_0_6_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_5635-11_0_6_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_5635-11_0_6_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_5635-11_0_6_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_5635-11_0_6_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_5635-11_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5635-11_0_6_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_5635-11_0_6_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_5635-11_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5635-11_0_6_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_5635-11_0_6_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_5635-11_0_6_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_5635-11_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5635-11_0_6_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_5635-11_0_6_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_5635-11_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5635-11_0_6_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_5635-11_0_6_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_5635-11_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5635-11_0_6_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_5635-11_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5635-11_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5635-11_0_6_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_5635-11_0_6_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_5635-11_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5635-11_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_5635-11_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_5635-11_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_5635-11_0_6_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_5635-11_0_6_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_5635-11_0_6_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_5635-11_0_6_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_5635-11_0_6_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_5635-11_0_6_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_5635-11_0_6_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_5635-11_0_6_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_5635-11_0_6_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5635-11_0_6_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_5635-11_0_6_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_5635-11_0_6_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_5635-11_0_6_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5635-11_0_6_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_5635-11_0_6_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_5635-11_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_5635-11_0_6_node_95 | 0.4 | n |  | TRUE
60 | bus_LV_5635-11_0_6_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_5635-11_0_6_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_5635-11_0_6_node_80 | 0.4 | n |  | TRUE
63 | bus_LV_5635-11_0_6_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_5635-11_0_6_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_5635-11_0_6_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_5635-11_0_6_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_5635-11_0_6_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_5635-11_0_6_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_5635-11_0_6_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_5635-11_0_6_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_5635-11_0_6_node_34 | 0.4 | n |  | TRUE
72 | bus_LV_5635-11_0_6_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_5635-11_0_6_node_37 | 0.4 | n |  | TRUE
74 | bus_LV_5635-11_0_6_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_5635-11_0_6_node_35 | 0.4 | n |  | TRUE
76 | bus_LV_5635-11_0_6_node_91 | 0.4 | n |  | TRUE
77 | bus_LV_5635-11_0_6_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_5635-11_0_6_node_39 | 0.4 | n |  | TRUE
79 | bus_LV_5635-11_0_6_node_40 | 0.4 | n |  | TRUE
80 | bus_LV_5635-11_0_6_node_43 | 0.4 | n |  | TRUE
81 | bus_LV_5635-11_0_6_node_44 | 0.4 | n |  | TRUE
82 | bus_LV_5635-11_0_6_node_45 | 0.4 | n |  | TRUE
83 | bus_LV_5635-11_0_6_node_46 | 0.4 | n |  | TRUE
84 | bus_LV_5635-11_0_6_node_47 | 0.4 | n |  | TRUE
85 | bus_LV_5635-11_0_6_node_48 | 0.4 | n |  | TRUE
86 | bus_LV_5635-11_0_6_node_98 | 0.4 | n |  | TRUE
87 | bus_LV_5635-11_0_6_node_96 | 0.4 | n |  | TRUE
88 | bus_LV_5635-11_0_6_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_5635-11_0_6_node_56 | 0.4 | n |  | TRUE
90 | bus_LV_5635-11_0_6_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_5635-11_0_6_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_5635-11_0_6_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_5635-11_0_6_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_5635-11_0_6_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_5635-11_0_6_node_83 | 0.4 | n |  | TRUE
96 | bus_MV_621_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5635-11_0_6_load_0 | 0 | 0.02162 | 0.0054185 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5635-11_0_6_load_58 | 3 | 0.011794 | 0.0029558 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5635-11_0_6_load_57 | 6 | 0.01179 | 0.0029548 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5635-11_0_6_load_74 | 8 | 0.0063328 | 0.0015871 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5635-11_0_6_load_68 | 13 | 0.020552 | 0.0051509 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5635-11_0_6_load_71 | 15 | 0.028723 | 0.0071988 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5635-11_0_6_load_69 | 16 | 0.0045079 | 0.0011298 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5635-11_0_6_load_89 | 17 | 0.018484 | 0.0046324 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5635-11_0_6_load_90 | 18 | 0.0057388 | 0.0014383 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5635-11_0_6_load_70 | 19 | 0.004249 | 0.0010649 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5635-11_0_6_load_63 | 21 | 0.016706 | 0.0041869 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5635-11_0_6_load_62 | 22 | 0.017882 | 0.0044818 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5635-11_0_6_load_72 | 25 | 0.010301 | 0.0025818 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5635-11_0_6_load_88 | 26 | 0.02234 | 0.005599 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5635-11_0_6_load_54 | 31 | 0.0017509 | 0.00043882 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5635-11_0_6_load_53 | 32 | 0.0033872 | 0.00084892 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5635-11_0_6_load_81 | 34 | 0.0019316 | 0.00048411 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5635-11_0_6_load_79 | 37 | 0.0053621 | 0.0013439 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5635-11_0_6_load_42 | 42 | 0.01322 | 0.0033132 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5635-11_0_6_load_33 | 44 | 0.0056465 | 0.0014152 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5635-11_0_6_load_51 | 46 | 0.013481 | 0.0033787 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5635-11_0_6_load_64 | 47 | 0.0062353 | 0.0015627 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5635-11_0_6_load_76 | 49 | 0.015798 | 0.0039594 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5635-11_0_6_load_32 | 52 | 0.0046079 | 0.0011549 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5635-11_0_6_load_94 | 54 | 0.017209 | 0.0043131 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5635-11_0_6_load_49 | 55 | 0.0067854 | 0.0017006 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5635-11_0_6_load_52 | 58 | 0.0032981 | 0.00082657 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5635-11_0_6_load_95 | 59 | 0.0042461 | 0.0010642 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5635-11_0_6_load_80 | 62 | 0.018548 | 0.0046486 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5635-11_0_6_load_75 | 63 | 0.011615 | 0.002911 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5635-11_0_6_load_61 | 65 | 0.021898 | 0.0054881 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5635-11_0_6_load_87 | 67 | 0.0060231 | 0.0015095 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5635-11_0_6_load_41 | 70 | 0.024879 | 0.0062353 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5635-11_0_6_load_34 | 71 | 0.0022818 | 0.00057186 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5635-11_0_6_load_77 | 72 | 0.018575 | 0.0046552 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5635-11_0_6_load_37 | 73 | 0.0048091 | 0.0012053 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5635-11_0_6_load_50 | 74 | 0.0018962 | 0.00047524 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5635-11_0_6_load_35 | 75 | 0.0054458 | 0.0013648 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5635-11_0_6_load_91 | 76 | 0.0070072 | 0.0017562 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5635-11_0_6_load_65 | 77 | 0.011414 | 0.0028607 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5635-11_0_6_load_40 | 79 | 0.0032738 | 0.00082049 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5635-11_0_6_load_44 | 81 | 0.0097052 | 0.0024324 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5635-11_0_6_load_45 | 82 | 0.0021115 | 0.00052919 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5635-11_0_6_load_47 | 84 | 0.0039859 | 0.00099895 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5635-11_0_6_load_98 | 86 | 0.0025933 | 0.00064994 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5635-11_0_6_load_97 | 88 | 0.0022849 | 0.00057265 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5635-11_0_6_load_56 | 89 | 0.0041073 | 0.0010294 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5635-11_0_6_load_86 | 91 | 0.0020349 | 0.00050999 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5635-11_0_6_load_84 | 92 | 0.0079058 | 0.0019814 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5635-11_0_6_load_78 | 93 | 0.0058123 | 0.0014567 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5635-11_0_6_load_92 | 94 | 0.0020746 | 0.00051995 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5635-11_0_6_load_83 | 95 | 0.0023789 | 0.00059621 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 93 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5635-11_0_6_line_0 |  | 0 | 1 | 0.0045256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5635-11_0_6_line_1 |  | 1 | 2 | 0.017264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5635-11_0_6_line_2 |  | 2 | 3 | 0.029796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5635-11_0_6_line_3 |  | 3 | 27 | 0.046151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5635-11_0_6_line_4 |  | 4 | 5 | 0.066748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5635-11_0_6_line_5 |  | 4 | 6 | 0.011208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5635-11_0_6_line_6 |  | 5 | 7 | 0.078061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5635-11_0_6_line_7 |  | 5 | 8 | 0.022933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5635-11_0_6_line_8 |  | 7 | 19 | 0.0068745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5635-11_0_6_line_9 |  | 8 | 63 | 0.053581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5635-11_0_6_line_10 |  | 9 | 10 | 0.021197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5635-11_0_6_line_11 |  | 9 | 11 | 0.072715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5635-11_0_6_line_12 |  | 9 | 12 | 0.045308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5635-11_0_6_line_13 |  | 9 | 13 | 0.046238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5635-11_0_6_line_14 |  | 10 | 17 | 0.020816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5635-11_0_6_line_15 |  | 11 | 18 | 0.017955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5635-11_0_6_line_16 |  | 12 | 26 | 0.06331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5635-11_0_6_line_17 |  | 12 | 14 | 0.06766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5635-11_0_6_line_18 |  | 14 | 15 | 0.0032526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5635-11_0_6_line_19 |  | 14 | 16 | 0.030775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5635-11_0_6_line_20 |  | 16 | 19 | 0.026323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5635-11_0_6_line_21 |  | 18 | 64 | 0.023643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5635-11_0_6_line_22 |  | 20 | 21 | 0.048328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5635-11_0_6_line_23 |  | 20 | 22 | 0.032977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5635-11_0_6_line_24 |  | 21 | 28 | 0.044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5635-11_0_6_line_25 |  | 23 | 24 | 0.033062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5635-11_0_6_line_26 |  | 23 | 25 | 0.032287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5635-11_0_6_line_27 |  | 24 | 66 | 0.029898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5635-11_0_6_line_28 |  | 24 | 67 | 0.014541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5635-11_0_6_line_29 |  | 27 | 28 | 0.032195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5635-11_0_6_line_30 |  | 27 | 29 | 0.031518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5635-11_0_6_line_31 |  | 28 | 61 | 0.061247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5635-11_0_6_line_32 |  | 29 | 65 | 0.012609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5635-11_0_6_line_33 |  | 30 | 31 | 0.015647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5635-11_0_6_line_34 |  | 30 | 32 | 0.026877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5635-11_0_6_line_35 |  | 31 | 68 | 0.012906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5635-11_0_6_line_36 |  | 32 | 58 | 0.020532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5635-11_0_6_line_37 |  | 33 | 34 | 0.014242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5635-11_0_6_line_38 |  | 33 | 35 | 0.033717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5635-11_0_6_line_39 |  | 33 | 36 | 0.049313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5635-11_0_6_line_40 |  | 33 | 37 | 0.015498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5635-11_0_6_line_41 |  | 34 | 69 | 0.022569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5635-11_0_6_line_42 |  | 35 | 43 | 0.043256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5635-11_0_6_line_43 |  | 35 | 44 | 0.013783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5635-11_0_6_line_44 |  | 36 | 52 | 0.015651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5635-11_0_6_line_45 |  | 38 | 39 | 0.029762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5635-11_0_6_line_46 |  | 38 | 40 | 0.052772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5635-11_0_6_line_47 |  | 38 | 41 | 0.017202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5635-11_0_6_line_48 |  | 38 | 42 | 0.022815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5635-11_0_6_line_49 |  | 39 | 55 | 0.029414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5635-11_0_6_line_50 |  | 39 | 48 | 0.033641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5635-11_0_6_line_51 |  | 40 | 53 | 0.073896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5635-11_0_6_line_52 |  | 40 | 54 | 0.02865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5635-11_0_6_line_53 |  | 41 | 47 | 0.013526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5635-11_0_6_line_54 |  | 42 | 70 | 0.0047464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5635-11_0_6_line_55 |  | 43 | 45 | 0.024914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5635-11_0_6_line_56 |  | 43 | 46 | 0.011724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5635-11_0_6_line_57 |  | 44 | 71 | 0.0019883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5635-11_0_6_line_58 |  | 45 | 48 | 0.004639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5635-11_0_6_line_59 |  | 45 | 49 | 0.024716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_5635-11_0_6_line_60 |  | 49 | 72 | 0.016709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5635-11_0_6_line_61 |  | 50 | 51 | 0.015794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5635-11_0_6_line_62 |  | 50 | 52 | 0.01327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5635-11_0_6_line_63 |  | 51 | 59 | 0.004416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5635-11_0_6_line_64 |  | 51 | 56 | 0.058838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5635-11_0_6_line_65 |  | 53 | 73 | 0.012509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5635-11_0_6_line_66 |  | 55 | 74 | 0.0062082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5635-11_0_6_line_67 |  | 56 | 57 | 0.01082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5635-11_0_6_line_68 |  | 56 | 58 | 0.032397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5635-11_0_6_line_69 |  | 57 | 75 | 0.015104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5635-11_0_6_line_70 |  | 60 | 61 | 0.024892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5635-11_0_6_line_71 |  | 60 | 62 | 0.048278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5635-11_0_6_line_72 |  | 61 | 77 | 0.03559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5635-11_0_6_line_73 |  | 61 | 64 | 0.024653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5635-11_0_6_line_74 |  | 64 | 76 | 0.0020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5635-11_0_6_line_75 |  | 66 | 91 | 0.014439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5635-11_0_6_line_76 |  | 66 | 92 | 0.013989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5635-11_0_6_line_77 |  | 68 | 89 | 0.009353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5635-11_0_6_line_78 |  | 69 | 95 | 0.010556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5635-11_0_6_line_79 |  | 70 | 80 | 0.01972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5635-11_0_6_line_80 |  | 72 | 93 | 0.012732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_5635-11_0_6_line_81 |  | 73 | 78 | 0.023039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5635-11_0_6_line_82 |  | 76 | 90 | 0.042084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_5635-11_0_6_line_83 |  | 78 | 79 | 0.024249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5635-11_0_6_line_84 |  | 80 | 81 | 0.03168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5635-11_0_6_line_85 |  | 80 | 82 | 0.0063934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5635-11_0_6_line_86 |  | 82 | 83 | 0.013301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5635-11_0_6_line_87 |  | 83 | 84 | 0.008901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5635-11_0_6_line_88 |  | 83 | 85 | 0.019185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5635-11_0_6_line_89 |  | 85 | 86 | 0.009078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5635-11_0_6_line_90 |  | 85 | 87 | 0.023023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5635-11_0_6_line_91 |  | 87 | 88 | 0.00788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5635-11_0_6_line_92 |  | 90 | 91 | 0.0079536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5635-11_0_6_line_93 |  | 90 | 94 | 0.012153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_5635-11_0_6_line_94 |  | 93 | 94 | 0.017681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5635-11_0_6_trafo_78 | 0.63 MVA 20/0.4 kV | 96 | 93 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2532756.8379 | 1153238.816 | 2532760.0557 | 1153235.6338
1 | 2532756.8379 | 1153238.816 | 2532754.5675 | 1153240.9537 | 2532751.44 | 1153243.2899 | 2532742.8632 | 1153248.9445
2 | 2532742.8632 | 1153248.9445 | 2532749.3442 | 1153265.1365 | 2532744.713 | 1153268.8682 | 2532744.0838 | 1153270.9319 | 2532744.7724 | 1153274.1816 | 2532745.0826 | 1153275.057
3 | 2532759.7357 | 1153318.8055 | 2532755.4294 | 1153304.2567 | 2532745.0826 | 1153275.057
4 | 2532656.2058 | 1153312.2496 | 2532654.1314 | 1153308.5819 | 2532677.2487 | 1153289.9349 | 2532691.4923 | 1153315.4784 | 2532694.7834 | 1153314.0519
5 | 2532694.7834 | 1153314.0519 | 2532705.0697 | 1153309.6005
6 | 2532656.2058 | 1153312.2496 | 2532638.339 | 1153327.6471 | 2532644.7555 | 1153335.335 | 2532665.4839 | 1153374.669
7 | 2532656.2058 | 1153312.2496 | 2532667.4959 | 1153332.2114
8 | 2532665.4839 | 1153374.669 | 2532668.9135 | 1153380.6268
9 | 2532667.4959 | 1153332.2114 | 2532693.8737 | 1153378.8497
10 | 2532658.6157 | 1153469.0758 | 2532653.9037 | 1153463.5255 | 2532653.1921 | 1153462.3328 | 2532660.3718 | 1153459.4063 | 2532658.7333 | 1153454.9222
11 | 2532658.6157 | 1153469.0758 | 2532653.9037 | 1153463.5255 | 2532695.4852 | 1153447.262 | 2532697.21 | 1153445.0637 | 2532698.2811 | 1153441.3608 | 2532697.3329 | 1153437.5359 | 2532696.2881 | 1153434.0012 | 2532702.3935 | 1153431.7428
12 | 2532625.0155 | 1153458.0795 | 2532630.4494 | 1153456.162 | 2532637.0375 | 1153453.8425 | 2532641.241 | 1153452.3612 | 2532647.921 | 1153464.4041 | 2532653.1921 | 1153462.3328 | 2532653.9037 | 1153463.5255 | 2532658.6157 | 1153469.0758
13 | 2532658.6157 | 1153469.0758 | 2532686.1129 | 1153459.2624 | 2532694.9288 | 1153473.8467
14 | 2532658.7333 | 1153454.9222 | 2532668.9379 | 1153451.4616 | 2532665.6896 | 1153441.961
15 | 2532702.3935 | 1153431.7428 | 2532719.1833 | 1153425.379
16 | 2532625.0155 | 1153458.0795 | 2532645.8867 | 1153517.8498
17 | 2532625.0155 | 1153458.0795 | 2532630.4494 | 1153456.162 | 2532637.0375 | 1153453.8425 | 2532641.241 | 1153452.3612 | 2532636.7325 | 1153444.4296 | 2532634.9746 | 1153441.6255 | 2532639.5881 | 1153439.0724 | 2532661.8474 | 1153426.7496 | 2532658.6203 | 1153420.1932
18 | 2532658.6203 | 1153420.1932 | 2532656.5131 | 1153417.7154
19 | 2532658.6203 | 1153420.1932 | 2532672.7823 | 1153411.0851 | 2532683.0908 | 1153405.2554 | 2532682.046 | 1153403.4403
20 | 2532682.046 | 1153403.4403 | 2532668.9135 | 1153380.6268
21 | 2532741.2915 | 1153416.9993 | 2532719.1833 | 1153425.379
22 | 2532846.0667 | 1153334.6826 | 2532837.0048 | 1153336.0624 | 2532801.7965 | 1153336.3671 | 2532799.2015 | 1153337.6079 | 2532798.8166 | 1153338.6127
23 | 2532846.0667 | 1153334.6826 | 2532837.8331 | 1153344.9469 | 2532837.3357 | 1153364.7588
24 | 2532773.5868 | 1153344.2869 | 2532775.9416 | 1153353.8102 | 2532792.5364 | 1153355.0031 | 2532798.8166 | 1153338.6127
25 | 2532814.3746 | 1153418.8832 | 2532845.9035 | 1153408.6475
26 | 2532845.9035 | 1153408.6475 | 2532844.3981 | 1153415.3791 | 2532830.4255 | 1153429.7876 | 2532832.3081 | 1153434.7613
27 | 2532814.3746 | 1153418.8832 | 2532786.1354 | 1153428.9377
28 | 2532814.3746 | 1153418.8832 | 2532809.4915 | 1153405.1861
29 | 2532759.7357 | 1153318.8055 | 2532765.7728 | 1153319.3494 | 2532773.5868 | 1153344.2869
30 | 2532759.7357 | 1153318.8055 | 2532765.7728 | 1153319.3494 | 2532787.9307 | 1153306.8169
31 | 2532773.5868 | 1153344.2869 | 2532758.9065 | 1153361.9608 | 2532743.323 | 1153396.9544
32 | 2532787.9307 | 1153306.8169 | 2532785.793 | 1153300.2372 | 2532786.8486 | 1153297.2015 | 2532786.6139 | 1153294.7361
33 | 2532786.8758 | 1153651.5078 | 2532772.2647 | 1153645.9079
34 | 2532786.8758 | 1153651.5078 | 2532789.65 | 1153640.9265 | 2532793.5129 | 1153625.4637
35 | 2532760.214 | 1153641.2892 | 2532772.2647 | 1153645.9079
36 | 2532805.7314 | 1153609.2326 | 2532799.0054 | 1153615.7525 | 2532795.179 | 1153622.1321 | 2532793.5129 | 1153625.4637
37 | 2532805.955 | 1153501.0115 | 2532812.8864 | 1153497.8323 | 2532819.2682 | 1153496.0849
38 | 2532795.2414 | 1153523.4436 | 2532792.5169 | 1153510.3557 | 2532791.7463 | 1153506.629 | 2532803.041 | 1153505.2797 | 2532805.955 | 1153501.0115
39 | 2532805.955 | 1153501.0115 | 2532803.041 | 1153505.2797 | 2532830.7202 | 1153505.5595 | 2532830.8145 | 1153509.883 | 2532842.9307 | 1153510.637
40 | 2532805.955 | 1153501.0115 | 2532797.7887 | 1153501.4808 | 2532790.5243 | 1153502.3627
41 | 2532841.0364 | 1153490.1246 | 2532819.2682 | 1153496.0849
42 | 2532762.9485 | 1153514.711 | 2532792.5169 | 1153510.3557 | 2532795.2414 | 1153523.4436
43 | 2532795.2414 | 1153523.4436 | 2532797.9093 | 1153536.9657
44 | 2532842.9307 | 1153510.637 | 2532844.7031 | 1153526.1868
45 | 2532691.1141 | 1153535.8376 | 2532698.6007 | 1153532.9188 | 2532718.8454 | 1153525.0323
46 | 2532652.9482 | 1153547.3603 | 2532672.2897 | 1153533.5249 | 2532674.2324 | 1153535.0262 | 2532676.566 | 1153535.8005 | 2532679.0206 | 1153535.7396 | 2532681.3205 | 1153534.8801 | 2532683.1902 | 1153533.2916 | 2532684.4325 | 1153531.1765 | 2532684.889 | 1153528.7701 | 2532690.0743 | 1153529.3234 | 2532691.1141 | 1153535.8376
47 | 2532691.1141 | 1153535.8376 | 2532690.0743 | 1153529.3234 | 2532692.5545 | 1153528.8065 | 2532696.6345 | 1153527.9492 | 2532695.4267 | 1153524.2385
48 | 2532691.1141 | 1153535.8376 | 2532694.6986 | 1153558.3695
49 | 2532718.8454 | 1153525.0323 | 2532722.3062 | 1153553.8428 | 2532722.7023 | 1153553.8558
50 | 2532718.8454 | 1153525.0323 | 2532730.1301 | 1153520.737 | 2532743.0491 | 1153517.8131 | 2532742.3698 | 1153513.3293 | 2532741.7831 | 1153509.5894
51 | 2532652.9482 | 1153547.3603 | 2532617.8799 | 1153560.0491 | 2532598.0784 | 1153567.742 | 2532607.0724 | 1153580.1925
52 | 2532652.9482 | 1153547.3603 | 2532661.8308 | 1153562.2023 | 2532654.6401 | 1153570.9877
53 | 2532695.4267 | 1153524.2385 | 2532708.1395 | 1153519.6202
54 | 2532695.4444 | 1153563.0569 | 2532694.6986 | 1153558.3695
55 | 2532746.3705 | 1153508.8154 | 2532746.3221 | 1153512.7181 | 2532762.645 | 1153510.223 | 2532762.9485 | 1153514.711
56 | 2532762.9485 | 1153514.711 | 2532763.7392 | 1153526.4086
57 | 2532797.4707 | 1153538.905 | 2532797.9093 | 1153536.9657
58 | 2532746.3705 | 1153508.8154 | 2532741.7831 | 1153509.5894
59 | 2532746.3705 | 1153508.8154 | 2532746.6869 | 1153484.1012
60 | 2532746.6869 | 1153484.1012 | 2532746.9009 | 1153467.3941
61 | 2532846.2059 | 1153539.3718 | 2532847.9925 | 1153555.0605
62 | 2532846.2059 | 1153539.3718 | 2532844.7031 | 1153526.1868
63 | 2532847.9925 | 1153555.0605 | 2532843.5856 | 1153555.4989
64 | 2532834.6994 | 1153595.8982 | 2532835.4548 | 1153598.9581 | 2532847.4885 | 1153595.7775 | 2532852.6439 | 1153590.9061 | 2532847.9925 | 1153555.0605
65 | 2532607.0724 | 1153580.1925 | 2532610.6963 | 1153584.5098 | 2532613.9219 | 1153590.5787
66 | 2532728.9072 | 1153554.058 | 2532722.7023 | 1153553.8558
67 | 2532834.6994 | 1153595.8982 | 2532831.9966 | 1153585.4226
68 | 2532834.6994 | 1153595.8982 | 2532825.5931 | 1153598.0678 | 2532821.1306 | 1153599.7075 | 2532813.9298 | 1153602.8008 | 2532807.9393 | 1153607.0923 | 2532805.7314 | 1153609.2326
69 | 2532831.9966 | 1153585.4226 | 2532828.227 | 1153570.7963
70 | 2532728.5161 | 1153382.7456 | 2532737.4388 | 1153399.0992 | 2532743.323 | 1153396.9544
71 | 2532728.5161 | 1153382.7456 | 2532751.2692 | 1153372.0073 | 2532756.1983 | 1153360.6237 | 2532757.0199 | 1153349.9424
72 | 2532743.323 | 1153396.9544 | 2532777.1034 | 1153385.751
73 | 2532741.2915 | 1153416.9993 | 2532737.8064 | 1153404.5203 | 2532737.4388 | 1153399.0992 | 2532743.323 | 1153396.9544
74 | 2532741.2915 | 1153416.9993 | 2532741.8566 | 1153418.9304
75 | 2532786.1354 | 1153428.9377 | 2532772.6669 | 1153434.1422
76 | 2532786.1354 | 1153428.9377 | 2532781.5843 | 1153415.7102
77 | 2532754.7512 | 1153634.4466 | 2532757.3782 | 1153640.1981 | 2532760.214 | 1153641.2892
78 | 2532841.0364 | 1153490.1246 | 2532837.9083 | 1153480.0429
79 | 2532697.1479 | 1153582.6848 | 2532696.2728 | 1153568.2644 | 2532695.4444 | 1153563.0569
80 | 2532746.9009 | 1153467.3941 | 2532746.9437 | 1153464.0509 | 2532751.8878 | 1153456.069 | 2532751.8878 | 1153456.069
81 | 2532624.7344 | 1153610.9226 | 2532613.9219 | 1153590.5787
82 | 2532765.2479 | 1153437.0091 | 2532761.5731 | 1153428.8345 | 2532746.5969 | 1153435.1278 | 2532741.8566 | 1153418.9304
83 | 2532624.7344 | 1153610.9226 | 2532628.9826 | 1153618.9128 | 2532637.6424 | 1153631.404
84 | 2532697.1479 | 1153582.6848 | 2532665.7518 | 1153587.5502
85 | 2532697.1479 | 1153582.6848 | 2532697.8841 | 1153589.0356
86 | 2532699.4157 | 1153602.248 | 2532697.8841 | 1153589.0356
87 | 2532699.4157 | 1153602.248 | 2532691.2539 | 1153605.8525
88 | 2532701.6317 | 1153621.3004 | 2532699.4157 | 1153602.248
89 | 2532701.6317 | 1153621.3004 | 2532710.3811 | 1153618.7899
90 | 2532701.6317 | 1153621.3004 | 2532702.6423 | 1153630.0161 | 2532701.1586 | 1153641.4057 | 2532700.1208 | 1153643.9631
91 | 2532700.1208 | 1153643.9631 | 2532707.7916 | 1153645.8561
92 | 2532765.2479 | 1153437.0091 | 2532772.6669 | 1153434.1422
93 | 2532765.2479 | 1153437.0091 | 2532768.7357 | 1153446.9978 | 2532767.3012 | 1153447.643
94 | 2532751.8878 | 1153456.069 | 2532756.3144 | 1153452.5842 | 2532767.3012 | 1153447.643

## bus_geodata
| x | y | coords
0 | 2532760.0557 | 1153235.6338
1 | 2532756.8379 | 1153238.816
2 | 2532742.8632 | 1153248.9445
3 | 2532745.0826 | 1153275.057
4 | 2532694.7834 | 1153314.0519
5 | 2532656.2058 | 1153312.2496
6 | 2532705.0697 | 1153309.6005
7 | 2532665.4839 | 1153374.669
8 | 2532667.4959 | 1153332.2114
9 | 2532658.6157 | 1153469.0758
10 | 2532658.7333 | 1153454.9222
11 | 2532702.3935 | 1153431.7428
12 | 2532625.0155 | 1153458.0795
13 | 2532694.9288 | 1153473.8467
14 | 2532658.6203 | 1153420.1932
15 | 2532656.5131 | 1153417.7154
16 | 2532682.046 | 1153403.4403
17 | 2532665.6896 | 1153441.961
18 | 2532719.1833 | 1153425.379
19 | 2532668.9135 | 1153380.6268
20 | 2532846.0667 | 1153334.6826
21 | 2532798.8166 | 1153338.6127
22 | 2532837.3357 | 1153364.7588
23 | 2532845.9035 | 1153408.6475
24 | 2532814.3746 | 1153418.8832
25 | 2532832.3081 | 1153434.7613
26 | 2532645.8867 | 1153517.8498
27 | 2532759.7357 | 1153318.8055
28 | 2532773.5868 | 1153344.2869
29 | 2532787.9307 | 1153306.8169
30 | 2532786.8758 | 1153651.5078
31 | 2532772.2647 | 1153645.9079
32 | 2532793.5129 | 1153625.4637
33 | 2532805.955 | 1153501.0115
34 | 2532819.2682 | 1153496.0849
35 | 2532795.2414 | 1153523.4436
36 | 2532842.9307 | 1153510.637
37 | 2532790.5243 | 1153502.3627
38 | 2532691.1141 | 1153535.8376
39 | 2532718.8454 | 1153525.0323
40 | 2532652.9482 | 1153547.3603
41 | 2532695.4267 | 1153524.2385
42 | 2532694.6986 | 1153558.3695
43 | 2532762.9485 | 1153514.711
44 | 2532797.9093 | 1153536.9657
45 | 2532746.3705 | 1153508.8154
46 | 2532763.7392 | 1153526.4086
47 | 2532708.1395 | 1153519.6202
48 | 2532741.7831 | 1153509.5894
49 | 2532746.6869 | 1153484.1012
50 | 2532846.2059 | 1153539.3718
51 | 2532847.9925 | 1153555.0605
52 | 2532844.7031 | 1153526.1868
53 | 2532607.0724 | 1153580.1925
54 | 2532654.6401 | 1153570.9877
55 | 2532722.7023 | 1153553.8558
56 | 2532834.6994 | 1153595.8982
57 | 2532831.9966 | 1153585.4226
58 | 2532805.7314 | 1153609.2326
59 | 2532843.5856 | 1153555.4989
60 | 2532728.5161 | 1153382.7456
61 | 2532743.323 | 1153396.9544
62 | 2532757.0199 | 1153349.9424
63 | 2532693.8737 | 1153378.8497
64 | 2532741.2915 | 1153416.9993
65 | 2532786.6139 | 1153294.7361
66 | 2532786.1354 | 1153428.9377
67 | 2532809.4915 | 1153405.1861
68 | 2532760.214 | 1153641.2892
69 | 2532841.0364 | 1153490.1246
70 | 2532695.4444 | 1153563.0569
71 | 2532797.4707 | 1153538.905
72 | 2532746.9009 | 1153467.3941
73 | 2532613.9219 | 1153590.5787
74 | 2532728.9072 | 1153554.058
75 | 2532828.227 | 1153570.7963
76 | 2532741.8566 | 1153418.9304
77 | 2532777.1035 | 1153385.751
78 | 2532624.7344 | 1153610.9226
79 | 2532637.6424 | 1153631.404
80 | 2532697.1479 | 1153582.6848
81 | 2532665.7518 | 1153587.5502
82 | 2532697.8841 | 1153589.0356
83 | 2532699.4157 | 1153602.248
84 | 2532691.2539 | 1153605.8525
85 | 2532701.6317 | 1153621.3004
86 | 2532710.3811 | 1153618.7899
87 | 2532700.1208 | 1153643.9631
88 | 2532707.7916 | 1153645.8561
89 | 2532754.7512 | 1153634.4466
90 | 2532765.2479 | 1153437.0091
91 | 2532772.6669 | 1153434.1422
92 | 2532781.5843 | 1153415.7102
93 | 2532751.8878 | 1153456.069
94 | 2532767.3012 | 1153447.643
95 | 2532837.9083 | 1153480.0429
96 | 2532765.2479 | 1153437.0091

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1