## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5635-12_1_3_node_167 | 0.4 | n |  | TRUE
1 | bus_LV_5635-12_1_3_node_125 | 0.4 | n |  | TRUE
2 | bus_LV_5635-12_1_3_node_31 | 0.4 | n |  | TRUE
3 | bus_LV_5635-12_1_3_node_32 | 0.4 | n |  | TRUE
4 | bus_LV_5635-12_1_3_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_5635-12_1_3_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_5635-12_1_3_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_5635-12_1_3_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_5635-12_1_3_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_5635-12_1_3_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_5635-12_1_3_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_5635-12_1_3_node_58 | 0.4 | n |  | TRUE
12 | bus_LV_5635-12_1_3_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_5635-12_1_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_5635-12_1_3_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_5635-12_1_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_5635-12_1_3_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_5635-12_1_3_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_5635-12_1_3_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_5635-12_1_3_node_96 | 0.4 | n |  | TRUE
20 | bus_LV_5635-12_1_3_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_5635-12_1_3_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_5635-12_1_3_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_5635-12_1_3_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_5635-12_1_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_5635-12_1_3_node_155 | 0.4 | n |  | TRUE
26 | bus_LV_5635-12_1_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_5635-12_1_3_node_153 | 0.4 | n |  | TRUE
28 | bus_LV_5635-12_1_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_5635-12_1_3_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_5635-12_1_3_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_5635-12_1_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_5635-12_1_3_node_97 | 0.4 | n |  | TRUE
33 | bus_LV_5635-12_1_3_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_5635-12_1_3_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_5635-12_1_3_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_5635-12_1_3_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_5635-12_1_3_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_5635-12_1_3_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_5635-12_1_3_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_5635-12_1_3_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_5635-12_1_3_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_5635-12_1_3_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_5635-12_1_3_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_5635-12_1_3_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_5635-12_1_3_node_118 | 0.4 | n |  | TRUE
46 | bus_LV_5635-12_1_3_node_115 | 0.4 | n |  | TRUE
47 | bus_LV_5635-12_1_3_node_122 | 0.4 | n |  | TRUE
48 | bus_LV_5635-12_1_3_node_119 | 0.4 | n |  | TRUE
49 | bus_LV_5635-12_1_3_node_123 | 0.4 | n |  | TRUE
50 | bus_LV_5635-12_1_3_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_5635-12_1_3_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_5635-12_1_3_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_5635-12_1_3_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_5635-12_1_3_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_5635-12_1_3_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_5635-12_1_3_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_5635-12_1_3_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_5635-12_1_3_node_116 | 0.4 | n |  | TRUE
59 | bus_LV_5635-12_1_3_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_5635-12_1_3_node_150 | 0.4 | n |  | TRUE
61 | bus_LV_5635-12_1_3_node_149 | 0.4 | n |  | TRUE
62 | bus_LV_5635-12_1_3_node_117 | 0.4 | n |  | TRUE
63 | bus_LV_5635-12_1_3_node_107 | 0.4 | n |  | TRUE
64 | bus_LV_5635-12_1_3_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_5635-12_1_3_node_109 | 0.4 | n |  | TRUE
66 | bus_LV_5635-12_1_3_node_120 | 0.4 | n |  | TRUE
67 | bus_LV_5635-12_1_3_node_124 | 0.4 | n |  | TRUE
68 | bus_LV_5635-12_1_3_node_112 | 0.4 | n |  | TRUE
69 | bus_LV_5635-12_1_3_node_99 | 0.4 | n |  | TRUE
70 | bus_LV_5635-12_1_3_node_100 | 0.4 | n |  | TRUE
71 | bus_LV_5635-12_1_3_node_174 | 0.4 | n |  | TRUE
72 | bus_LV_5635-12_1_3_node_172 | 0.4 | n |  | TRUE
73 | bus_LV_5635-12_1_3_node_173 | 0.4 | n |  | TRUE
74 | bus_LV_5635-12_1_3_node_110 | 0.4 | n |  | TRUE
75 | bus_LV_5635-12_1_3_node_111 | 0.4 | n |  | TRUE
76 | bus_LV_5635-12_1_3_node_113 | 0.4 | n |  | TRUE
77 | bus_LV_5635-12_1_3_node_121 | 0.4 | n |  | TRUE
78 | bus_LV_5635-12_1_3_node_129 | 0.4 | n |  | TRUE
79 | bus_LV_5635-12_1_3_node_126 | 0.4 | n |  | TRUE
80 | bus_LV_5635-12_1_3_node_131 | 0.4 | n |  | TRUE
81 | bus_LV_5635-12_1_3_node_127 | 0.4 | n |  | TRUE
82 | bus_LV_5635-12_1_3_node_128 | 0.4 | n |  | TRUE
83 | bus_LV_5635-12_1_3_node_130 | 0.4 | n |  | TRUE
84 | bus_LV_5635-12_1_3_node_132 | 0.4 | n |  | TRUE
85 | bus_LV_5635-12_1_3_node_133 | 0.4 | n |  | TRUE
86 | bus_LV_5635-12_1_3_node_135 | 0.4 | n |  | TRUE
87 | bus_LV_5635-12_1_3_node_134 | 0.4 | n |  | TRUE
88 | bus_LV_5635-12_1_3_node_136 | 0.4 | n |  | TRUE
89 | bus_LV_5635-12_1_3_node_137 | 0.4 | n |  | TRUE
90 | bus_LV_5635-12_1_3_node_138 | 0.4 | n |  | TRUE
91 | bus_LV_5635-12_1_3_node_154 | 0.4 | n |  | TRUE
92 | bus_LV_5635-12_1_3_node_139 | 0.4 | n |  | TRUE
93 | bus_LV_5635-12_1_3_node_152 | 0.4 | n |  | TRUE
94 | bus_LV_5635-12_1_3_node_140 | 0.4 | n |  | TRUE
95 | bus_LV_5635-12_1_3_node_141 | 0.4 | n |  | TRUE
96 | bus_LV_5635-12_1_3_node_145 | 0.4 | n |  | TRUE
97 | bus_LV_5635-12_1_3_node_142 | 0.4 | n |  | TRUE
98 | bus_LV_5635-12_1_3_node_147 | 0.4 | n |  | TRUE
99 | bus_LV_5635-12_1_3_node_143 | 0.4 | n |  | TRUE
100 | bus_LV_5635-12_1_3_node_144 | 0.4 | n |  | TRUE
101 | bus_LV_5635-12_1_3_node_146 | 0.4 | n |  | TRUE
102 | bus_LV_5635-12_1_3_node_148 | 0.4 | n |  | TRUE
103 | bus_MV_451_1_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5635-12_1_3_load_167 | 0 | 0.0033301 | 0.00083461 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5635-12_1_3_load_125 | 1 | 0.00081151 | 0.00020338 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5635-12_1_3_load_30 | 4 | 0.010947 | 0.0027435 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5635-12_1_3_load_62 | 7 | 0.0027303 | 0.00068428 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5635-12_1_3_load_56 | 8 | 0.0029226 | 0.00073246 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5635-12_1_3_load_57 | 9 | 0.0043382 | 0.0010873 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5635-12_1_3_load_58 | 11 | 0.00020028 | 5.0195e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5635-12_1_3_load_59 | 12 | 0.0012536 | 0.00031419 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5635-12_1_3_load_37 | 15 | 0.0063708 | 0.0015967 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5635-12_1_3_load_38 | 16 | 0.001976 | 0.00049524 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5635-12_1_3_load_34 | 17 | 0.0056706 | 0.0014212 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5635-12_1_3_load_47 | 18 | 0.0076878 | 0.0019267 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5635-12_1_3_load_50 | 20 | 0.0026847 | 0.00067285 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5635-12_1_3_load_46 | 21 | 0.0013221 | 0.00033136 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5635-12_1_3_load_43 | 22 | 0.0062831 | 0.0015747 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5635-12_1_3_load_35 | 23 | 0.0038733 | 0.00097073 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5635-12_1_3_load_41 | 24 | 0.00047453 | 0.00011893 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5635-12_1_3_load_155 | 25 | 0.0033102 | 0.00082961 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5635-12_1_3_load_48 | 26 | 0.0016725 | 0.00041916 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5635-12_1_3_load_153 | 27 | 0.0027841 | 0.00069777 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5635-12_1_3_load_42 | 28 | 0.0015069 | 0.00037767 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5635-12_1_3_load_44 | 29 | 0.0031797 | 0.0007969 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5635-12_1_3_load_55 | 30 | 0.0016763 | 0.00042013 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5635-12_1_3_load_49 | 31 | 0.0033522 | 0.00084014 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5635-12_1_3_load_68 | 33 | 0.0010403 | 0.00026073 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5635-12_1_3_load_69 | 34 | 0.00084971 | 0.00021296 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5635-12_1_3_load_74 | 38 | 0.00022904 | 5.7402e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5635-12_1_3_load_75 | 39 | 0.0013262 | 0.00033237 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5635-12_1_3_load_87 | 41 | 0.00026373 | 6.6096e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5635-12_1_3_load_84 | 44 | 0.00081877 | 0.0002052 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5635-12_1_3_load_118 | 45 | 0.0007519 | 0.00018844 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5635-12_1_3_load_115 | 46 | 0.0006375 | 0.00015977 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5635-12_1_3_load_122 | 47 | 0.0025008 | 0.00062676 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5635-12_1_3_load_119 | 48 | 0.00094833 | 0.00023767 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5635-12_1_3_load_123 | 49 | 0.001853 | 0.00046441 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5635-12_1_3_load_114 | 50 | 0.012703 | 0.0031838 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5635-12_1_3_load_85 | 51 | 0.00056203 | 0.00014086 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5635-12_1_3_load_76 | 53 | 0.0001802 | 4.5161e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5635-12_1_3_load_80 | 55 | 0.00069188 | 0.0001734 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5635-12_1_3_load_79 | 56 | 0.0007779 | 0.00019496 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5635-12_1_3_load_83 | 57 | 0.00073941 | 0.00018531 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5635-12_1_3_load_108 | 59 | 0.0016846 | 0.0004222 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5635-12_1_3_load_150 | 60 | 0.00084048 | 0.00021064 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5635-12_1_3_load_149 | 61 | 0.0027212 | 0.00068201 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5635-12_1_3_load_117 | 62 | 0.00091331 | 0.0002289 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5635-12_1_3_load_86 | 64 | 0.00080261 | 0.00020115 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5635-12_1_3_load_109 | 65 | 0.00066264 | 0.00016607 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5635-12_1_3_load_120 | 66 | 0.00028136 | 7.0515e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5635-12_1_3_load_99 | 69 | 0.0043385 | 0.0010873 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5635-12_1_3_load_174 | 71 | 0.0056592 | 0.0014183 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5635-12_1_3_load_173 | 73 | 0.0056608 | 0.0014187 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5635-12_1_3_load_110 | 74 | 0.0014676 | 0.00036782 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5635-12_1_3_load_111 | 75 | 0.0019637 | 0.00049216 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5635-12_1_3_load_113 | 76 | 0.00091746 | 0.00022994 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5635-12_1_3_load_121 | 77 | 0.0017477 | 0.00043802 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5635-12_1_3_load_129 | 78 | 0.0037606 | 0.00094251 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5635-12_1_3_load_126 | 79 | 0.0014335 | 0.00035927 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5635-12_1_3_load_131 | 80 | 0.001547 | 0.00038772 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5635-12_1_3_load_127 | 81 | 0.0018492 | 0.00046345 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5635-12_1_3_load_128 | 82 | 0.0013747 | 0.00034454 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5635-12_1_3_load_130 | 83 | 0.0017358 | 0.00043503 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5635-12_1_3_load_133 | 85 | 0.020748 | 0.0051998 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5635-12_1_3_load_135 | 86 | 0.0012521 | 0.00031382 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5635-12_1_3_load_137 | 89 | 0.0030917 | 0.00077486 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5635-12_1_3_load_138 | 90 | 0.0021426 | 0.00053699 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5635-12_1_3_load_154 | 91 | 0.00075202 | 0.00018847 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5635-12_1_3_load_139 | 92 | 0.0031393 | 0.00078679 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5635-12_1_3_load_152 | 93 | 0.00050543 | 0.00012667 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5635-12_1_3_load_140 | 94 | 0.0010008 | 0.00025084 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5635-12_1_3_load_142 | 97 | 0.0012838 | 0.00032176 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5635-12_1_3_load_147 | 98 | 0.00035825 | 8.9786e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5635-12_1_3_load_143 | 99 | 0.00048782 | 0.00012226 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5635-12_1_3_load_144 | 100 | 0.0012612 | 0.00031609 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5635-12_1_3_load_146 | 101 | 0.0016438 | 0.00041197 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5635-12_1_3_load_148 | 102 | 0.00063869 | 0.00016007 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5635-12_1_3_line_0 |  | 0 | 1 | 0.0044326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5635-12_1_3_line_1 |  | 1 | 76 | 0.010235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5635-12_1_3_line_2 |  | 2 | 3 | 0.021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5635-12_1_3_line_3 |  | 2 | 4 | 0.024096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5635-12_1_3_line_4 |  | 3 | 5 | 0.10489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5635-12_1_3_line_5 |  | 3 | 6 | 0.048092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5635-12_1_3_line_6 |  | 3 | 7 | 0.013545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5635-12_1_3_line_7 |  | 5 | 8 | 0.10832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5635-12_1_3_line_8 |  | 5 | 9 | 0.067364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5635-12_1_3_line_9 |  | 5 | 10 | 0.043006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5635-12_1_3_line_10 |  | 5 | 11 | 0.084267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5635-12_1_3_line_11 |  | 6 | 15 | 0.0050478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5635-12_1_3_line_12 |  | 6 | 16 | 0.033079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5635-12_1_3_line_13 |  | 6 | 17 | 0.046594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5635-12_1_3_line_14 |  | 9 | 19 | 0.029733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5635-12_1_3_line_15 |  | 9 | 20 | 0.022741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5635-12_1_3_line_16 |  | 10 | 21 | 0.0056045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5635-12_1_3_line_17 |  | 10 | 22 | 0.011812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5635-12_1_3_line_18 |  | 11 | 12 | 0.0041176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5635-12_1_3_line_19 |  | 13 | 14 | 0.1812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5635-12_1_3_line_20 |  | 13 | 15 | 0.033802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5635-12_1_3_line_21 |  | 14 | 18 | 0.087521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5635-12_1_3_line_22 |  | 16 | 24 | 0.02006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5635-12_1_3_line_23 |  | 17 | 23 | 0.053629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5635-12_1_3_line_24 |  | 18 | 26 | 0.0025916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5635-12_1_3_line_25 |  | 19 | 32 | 0.028935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5635-12_1_3_line_26 |  | 20 | 31 | 0.0081907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5635-12_1_3_line_27 |  | 21 | 30 | 0.047542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5635-12_1_3_line_28 |  | 22 | 28 | 0.0010363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5635-12_1_3_line_29 |  | 24 | 25 | 0.026526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5635-12_1_3_line_30 |  | 25 | 27 | 0.0035263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5635-12_1_3_line_31 |  | 27 | 93 | 0.0062559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5635-12_1_3_line_32 |  | 28 | 29 | 0.0027548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5635-12_1_3_line_33 |  | 32 | 69 | 0.009545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5635-12_1_3_line_34 |  | 32 | 70 | 0.030746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5635-12_1_3_line_35 |  | 33 | 34 | 0.004158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5635-12_1_3_line_36 |  | 33 | 35 | 0.016634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5635-12_1_3_line_37 |  | 34 | 36 | 0.012182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5635-12_1_3_line_38 |  | 35 | 37 | 0.011757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5635-12_1_3_line_39 |  | 36 | 38 | 0.042113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5635-12_1_3_line_40 |  | 37 | 39 | 0.018411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5635-12_1_3_line_41 |  | 38 | 44 | 0.053393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5635-12_1_3_line_42 |  | 39 | 45 | 0.0015665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5635-12_1_3_line_43 |  | 40 | 41 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5635-12_1_3_line_44 |  | 40 | 42 | 0.023958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5635-12_1_3_line_45 |  | 40 | 43 | 0.018274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5635-12_1_3_line_46 |  | 41 | 46 | 0.009169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5635-12_1_3_line_47 |  | 42 | 47 | 0.018064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5635-12_1_3_line_48 |  | 42 | 48 | 0.015944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5635-12_1_3_line_49 |  | 43 | 49 | 0.0051358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5635-12_1_3_line_50 |  | 43 | 50 | 0.032206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5635-12_1_3_line_51 |  | 44 | 51 | 0.0069311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5635-12_1_3_line_52 |  | 45 | 52 | 0.022321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5635-12_1_3_line_53 |  | 46 | 58 | 0.051916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5635-12_1_3_line_54 |  | 48 | 66 | 0.011955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5635-12_1_3_line_55 |  | 49 | 67 | 0.019012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5635-12_1_3_line_56 |  | 50 | 68 | 0.01313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5635-12_1_3_line_57 |  | 51 | 64 | 0.0071313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5635-12_1_3_line_58 |  | 52 | 58 | 0.02104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5635-12_1_3_line_59 |  | 52 | 54 | 0.048787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5635-12_1_3_line_60 |  | 53 | 54 | 0.028507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5635-12_1_3_line_61 |  | 54 | 55 | 0.021353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5635-12_1_3_line_62 |  | 56 | 57 | 0.005748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5635-12_1_3_line_63 |  | 57 | 59 | 0.038925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5635-12_1_3_line_64 |  | 58 | 62 | 0.033452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5635-12_1_3_line_65 |  | 59 | 63 | 0.030406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5635-12_1_3_line_66 |  | 60 | 61 | 0.01471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5635-12_1_3_line_67 |  | 61 | 102 | 0.070736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5635-12_1_3_line_68 |  | 63 | 65 | 0.030502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5635-12_1_3_line_69 |  | 64 | 65 | 0.015295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5635-12_1_3_line_70 |  | 66 | 77 | 0.0049974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5635-12_1_3_line_71 |  | 67 | 78 | 0.025416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5635-12_1_3_line_72 |  | 67 | 79 | 0.020547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5635-12_1_3_line_73 |  | 68 | 76 | 0.037038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5635-12_1_3_line_74 |  | 68 | 75 | 0.028793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5635-12_1_3_line_75 |  | 70 | 71 | 0.009035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5635-12_1_3_line_76 |  | 70 | 72 | 0.018989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5635-12_1_3_line_77 |  | 72 | 73 | 0.007124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5635-12_1_3_line_78 |  | 74 | 75 | 0.012316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5635-12_1_3_line_79 |  | 78 | 80 | 0.02865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5635-12_1_3_line_80 |  | 79 | 81 | 0.00010132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5635-12_1_3_line_81 |  | 81 | 82 | 0.017445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5635-12_1_3_line_82 |  | 82 | 83 | 0.0024249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5635-12_1_3_line_83 |  | 83 | 84 | 0.0042309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5635-12_1_3_line_84 |  | 84 | 85 | 0.016969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5635-12_1_3_line_85 |  | 85 | 86 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5635-12_1_3_line_86 |  | 86 | 88 | 0.013891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5635-12_1_3_line_87 |  | 87 | 88 | 0.008984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5635-12_1_3_line_88 |  | 87 | 89 | 0.031596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5635-12_1_3_line_89 |  | 88 | 90 | 0.0016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5635-12_1_3_line_90 |  | 89 | 91 | 0.006598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5635-12_1_3_line_91 |  | 90 | 92 | 0.020911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5635-12_1_3_line_92 |  | 91 | 93 | 3.4656e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5635-12_1_3_line_93 |  | 92 | 94 | 0.0054322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5635-12_1_3_line_94 |  | 94 | 95 | 0.020659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5635-12_1_3_line_95 |  | 95 | 96 | 0.009881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5635-12_1_3_line_96 |  | 95 | 97 | 0.0060886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5635-12_1_3_line_97 |  | 96 | 98 | 0.018279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5635-12_1_3_line_98 |  | 97 | 99 | 0.01665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5635-12_1_3_line_99 |  | 99 | 100 | 0.010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5635-12_1_3_line_100 |  | 100 | 101 | 0.0056439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5635-12_1_3_line_101 |  | 101 | 102 | 0.002474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5635-12_1_3_trafo_34 | 0.63 MVA 20/0.4 kV | 103 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2532160.4848 | 1152903.9875 | 2532164.8449 | 1152904.7863
1 | 2532150.4173 | 1152902.1429 | 2532160.4848 | 1152903.9875
2 | 2532179.7691 | 1152758.3435 | 2532177.1864 | 1152747.0886 | 2532178.5448 | 1152742.3373 | 2532179.9108 | 1152737.586
3 | 2532179.7691 | 1152758.3435 | 2532185.156 | 1152781.8292
4 | 2532179.9108 | 1152737.586 | 2532187.8224 | 1152738.9308 | 2532206.2267 | 1152743.2256 | 2532213.8862 | 1152745.3516 | 2532217.2822 | 1152746.4027 | 2532229.6727 | 1152750.243 | 2532237.1248 | 1152753.7165 | 2532244.8098 | 1152757.4319 | 2532246.6647 | 1152753.1531 | 2532246.8667 | 1152752.695 | 2532260.79 | 1152724.3669
5 | 2532133.5176 | 1152742.6011 | 2532139.1358 | 1152742.6822 | 2532146.4549 | 1152741.1654 | 2532160.3085 | 1152736.6177 | 2532167.4571 | 1152734.2691 | 2532175.3025 | 1152736.5485 | 2532179.9108 | 1152737.586
6 | 2532179.9108 | 1152737.586 | 2532178.9962 | 1152733.3828 | 2532177.0339 | 1152724.3499
7 | 2532260.79 | 1152724.3669 | 2532267.7343 | 1152720.2308 | 2532281.283 | 1152700.8675 | 2532288.9225 | 1152683.5052 | 2532319.1359 | 1152661.1305 | 2532332.985 | 1152646.6477
8 | 2532260.79 | 1152724.3669 | 2532272.4767 | 1152699.1213 | 2532277.6455 | 1152689.2799 | 2532280.1557 | 1152685.9498 | 2532282.3173 | 1152683.6908 | 2532284.8368 | 1152681.1833 | 2532286.7749 | 1152679.5161 | 2532298.8417 | 1152670.5715
9 | 2532260.79 | 1152724.3669 | 2532258.4801 | 1152718.9121 | 2532238.9942 | 1152699.6878 | 2532236.7318 | 1152697.7678 | 2532235.0692 | 1152697.3196 | 2532230.0005 | 1152696.9765
10 | 2532260.79 | 1152724.3669 | 2532272.1474 | 1152807.8655
11 | 2532133.5176 | 1152742.6011 | 2532131.4169 | 1152738.0112
12 | 2532133.5176 | 1152742.6011 | 2532102.6294 | 1152754.4385
13 | 2532133.5176 | 1152742.6011 | 2532140.5558 | 1152773.2942 | 2532143.5103 | 1152788.1071
14 | 2532308.9673 | 1152645.4029 | 2532310.0993 | 1152658.6975 | 2532300.1919 | 1152669.5706 | 2532298.8417 | 1152670.5715
15 | 2532298.8417 | 1152670.5715 | 2532319.398 | 1152680.2984
16 | 2532230.0005 | 1152696.9765 | 2532224.5657 | 1152698.345
17 | 2532230.0005 | 1152696.9765 | 2532227.2278 | 1152685.4946
18 | 2532268.1419 | 1152808.8196 | 2532272.1474 | 1152807.8655
19 | 2532138.2092 | 1152708.1958 | 2532140.1629 | 1152712.6762 | 2532142.8953 | 1152718.8377 | 2532145.9012 | 1152723.3952 | 2532147.4838 | 1152725.5896 | 2532150.2927 | 1152721.5335 | 2532146.7247 | 1152715.4481 | 2532143.3603 | 1152709.0492 | 2532141.367 | 1152703.1018 | 2532139.764 | 1152697.7391 | 2532131.2005 | 1152662.4607 | 2532109.2027 | 1152571.0585
20 | 2532138.2092 | 1152708.1958 | 2532139.0693 | 1152713.011 | 2532140.7937 | 1152718.9281 | 2532141.2371 | 1152722.8586 | 2532140.2164 | 1152727.6061 | 2532138.6454 | 1152731.1925 | 2532136.9677 | 1152733.4904 | 2532134.576 | 1152735.752 | 2532131.4169 | 1152738.0112
21 | 2532109.2027 | 1152571.0585 | 2532112.7856 | 1152570.2955 | 2532113.7655 | 1152570.0843 | 2532119.0148 | 1152567.3902 | 2532127.8738 | 1152563.5881 | 2532144.3491 | 1152551.9513 | 2532153.6301 | 1152547.4663 | 2532165.5415 | 1152544.1745 | 2532171.5462 | 1152545.1629 | 2532183.0888 | 1152559.4834
22 | 2532102.6294 | 1152754.4385 | 2532086.6798 | 1152760.551 | 2532083.964 | 1152761.775
23 | 2532143.5103 | 1152788.1071 | 2532146.2173 | 1152801.6793 | 2532146.4447 | 1152803.4666 | 2532146.5582 | 1152805.3664 | 2532146.5177 | 1152807.2123 | 2532146.2473 | 1152809.0942 | 2532145.5816 | 1152811.3029 | 2532144.426 | 1152813.6172 | 2532143.2409 | 1152815.3649 | 2532141.6474 | 1152816.9504 | 2532139.4949 | 1152818.6534 | 2532137.0093 | 1152820.0712 | 2532132.6492 | 1152821.31 | 2532128.069 | 1152821.395 | 2532123.7635 | 1152820.6766 | 2532120.1217 | 1152819.0255
24 | 2532184.7151 | 1152561.5011 | 2532183.0888 | 1152559.4834
25 | 2532305.7274 | 1152616.6569 | 2532308.9673 | 1152645.4029
26 | 2532321.3392 | 1152688.2557 | 2532319.398 | 1152680.2984
27 | 2532178.4632 | 1152709.9537 | 2532224.5657 | 1152698.345
28 | 2532226.9845 | 1152684.4873 | 2532227.2278 | 1152685.4946
29 | 2532059.7802 | 1152772.6744 | 2532083.964 | 1152761.775
30 | 2532056.5653 | 1152774.1233 | 2532059.7802 | 1152772.6744
31 | 2532050.8618 | 1152776.6938 | 2532056.5653 | 1152774.1233
32 | 2532226.3378 | 1152681.8094 | 2532226.9845 | 1152684.4873
33 | 2532305.7274 | 1152616.6569 | 2532296.1813 | 1152617.3759
34 | 2532302.283 | 1152586.1121 | 2532305.7274 | 1152616.6569
35 | 2532063.6492 | 1152996.6731 | 2532067.7807 | 1152997.1418
36 | 2532047.5311 | 1152999.7033 | 2532059.6543 | 1152996.2199 | 2532063.6492 | 1152996.6731
37 | 2532079.8846 | 1152998.5149 | 2532067.7807 | 1152997.1418
38 | 2532035.7865 | 1152998.6577 | 2532047.5311 | 1152999.7033
39 | 2532079.8846 | 1152998.5149 | 2532093.8033 | 1153038.2608
40 | 2532035.7865 | 1152998.6577 | 2532021.2305 | 1152997.366 | 2532017.5129 | 1152996.5875
41 | 2532109.921 | 1153089.1377 | 2532102.5388 | 1153063.2059 | 2532093.8033 | 1153038.2608
42 | 2532017.5129 | 1152996.5875 | 2532015.9797 | 1152996.2664
43 | 2532059.8326 | 1152917.6523 | 2532042.9098 | 1152926.2594 | 2532041.809 | 1152927.0189
44 | 2532081.3507 | 1152923.19 | 2532061.7342 | 1152915.4851 | 2532059.8326 | 1152917.6523
45 | 2532059.8326 | 1152917.6523 | 2532061.7342 | 1152915.4851 | 2532064.8101 | 1152911.9818 | 2532069.5047 | 1152902.3345
46 | 2532034.2622 | 1152932.2262 | 2532041.809 | 1152927.0189
47 | 2532081.3507 | 1152923.19 | 2532091.8949 | 1152927.3287 | 2532098.6313 | 1152927.3476
48 | 2532081.3507 | 1152923.19 | 2532082.2781 | 1152939.1069
49 | 2532069.5047 | 1152902.3345 | 2532069.4466 | 1152897.199
50 | 2532069.5047 | 1152902.3345 | 2532078.3146 | 1152902.3794 | 2532093.1136 | 1152897.9987 | 2532100.9049 | 1152896.3576
51 | 2532109.921 | 1153089.1377 | 2532111.8187 | 1153095.8039
52 | 2531994.1325 | 1152991.6915 | 2532015.9797 | 1152996.2664
53 | 2532001.514 | 1152971.986 | 2532009.2167 | 1152958.9695 | 2532019.5996 | 1152946.1228 | 2532030.4606 | 1152934.8493 | 2532034.2622 | 1152932.2262
54 | 2532082.2781 | 1152939.1069 | 2532082.9735 | 1152951.0421
55 | 2532069.0093 | 1152878.1934 | 2532069.3583 | 1152889.3846 | 2532069.4466 | 1152897.199
56 | 2532113.9102 | 1152896.0517 | 2532105.4388 | 1152895.4026 | 2532100.9049 | 1152896.3576
57 | 2532111.8187 | 1153095.8039 | 2532113.7712 | 1153102.6628
58 | 2532001.514 | 1152971.986 | 2531994.1325 | 1152991.6915
59 | 2531991.2301 | 1153040.3513 | 2531991.5504 | 1153025.9397 | 2531991.8193 | 1153013.7632 | 2531994.1325 | 1152991.6915
60 | 2531991.2301 | 1153040.3513 | 2531990.5947 | 1153068.8512
61 | 2531991.2301 | 1153040.3513 | 2532012.6263 | 1153041.2542
62 | 2532059.7964 | 1153170.0056 | 2532065.5436 | 1153170.1018
63 | 2532065.5436 | 1153170.1018 | 2532074.7817 | 1153170.2564 | 2532103.2467 | 1153161.8328
64 | 2532001.514 | 1152971.986 | 2531996.0849 | 1152968.9346 | 2531995.2378 | 1152968.6663 | 2531994.1236 | 1152968.5344 | 2531973.5425 | 1152971.869 | 2531969.3545 | 1152973.3839
65 | 2532128.3314 | 1153145.5935 | 2532111.9267 | 1153159.2641 | 2532103.2467 | 1153161.8328
66 | 2531894.5008 | 1152868.5899 | 2531880.7867 | 1152871.875 | 2531880.1934 | 1152872.0097
67 | 2531963.1201 | 1152851.4203 | 2531924.7163 | 1152860.838 | 2531896.3756 | 1152868.1408 | 2531894.5008 | 1152868.5899
68 | 2532128.3314 | 1153145.5935 | 2532126.4635 | 1153143.947 | 2532125.0742 | 1153141.8727 | 2532124.265 | 1153139.525 | 2532117.9589 | 1153117.3729
69 | 2532113.7712 | 1153102.6628 | 2532117.9589 | 1153117.3729
70 | 2532083.2642 | 1152956.031 | 2532082.9735 | 1152951.0421
71 | 2532069.0093 | 1152878.1934 | 2532045.4383 | 1152887.6998
72 | 2532069.0093 | 1152878.1934 | 2532068.3704 | 1152857.6559
73 | 2532113.9102 | 1152896.0517 | 2532119.4399 | 1152896.4673 | 2532150.4173 | 1152902.1429
74 | 2532113.9102 | 1152896.0517 | 2532115.2945 | 1152888.8543 | 2532115.593 | 1152888.1061 | 2532115.8749 | 1152887.2469 | 2532121.4411 | 1152878.6571 | 2532122.8001 | 1152876.0069 | 2532123.2367 | 1152874.579 | 2532123.485 | 1152872.7863 | 2532123.0676 | 1152869.5764
75 | 2532302.283 | 1152586.1121 | 2532293.2326 | 1152586.5587
76 | 2532300.1519 | 1152567.2479 | 2532302.283 | 1152586.1121
77 | 2532300.1519 | 1152567.2479 | 2532293.0198 | 1152567.6729
78 | 2532123.0676 | 1152869.5764 | 2532121.4797 | 1152857.3636
79 | 2532018.868 | 1152898.4158 | 2532045.4383 | 1152887.6998
80 | 2532068.3526 | 1152857.5562 | 2532068.3704 | 1152857.6559 | 2532068.3704 | 1152857.6559
81 | 2532068.3526 | 1152857.5562 | 2532065.2828 | 1152840.3829
82 | 2532064.8561 | 1152837.9959 | 2532065.2828 | 1152840.3829
83 | 2532062.7656 | 1152834.3175 | 2532064.8561 | 1152837.9959
84 | 2532062.7656 | 1152834.3175 | 2532045.9641 | 1152836.6976
85 | 2532043.0805 | 1152826.4435 | 2532045.9641 | 1152836.6976 | 2532045.9641 | 1152836.6976
86 | 2532039.32 | 1152813.0707 | 2532043.0805 | 1152826.4435
87 | 2532039.32 | 1152813.0707 | 2532048.0667 | 1152810.9151
88 | 2532048.0667 | 1152810.9151 | 2532044.6102 | 1152792.2994 | 2532043.7057 | 1152784.2496 | 2532044.1191 | 1152782.1216 | 2532045.2 | 1152779.9859
89 | 2532039.32 | 1152813.0707 | 2532038.3405 | 1152813.3152 | 2532037.7118 | 1152813.4438
90 | 2532045.2 | 1152779.9859 | 2532045.2 | 1152779.9859 | 2532046.627 | 1152778.6024 | 2532050.8302 | 1152776.708
91 | 2532017.2251 | 1152817.6341 | 2532037.7118 | 1152813.4438
92 | 2532050.8618 | 1152776.6938 | 2532050.8302 | 1152776.708
93 | 2532017.2251 | 1152817.6341 | 2532017.2251 | 1152817.6341 | 2532015.5551 | 1152818.5646 | 2532014.1257 | 1152819.737 | 2532012.8798 | 1152820.8517
94 | 2532001.6873 | 1152838.11 | 2532002.7823 | 1152837.2305 | 2532011.9791 | 1152821.9514 | 2532012.8798 | 1152820.8517
95 | 2532001.6873 | 1152838.11 | 2532005.7641 | 1152847.1133
96 | 2532001.6873 | 1152838.11 | 2532000.9495 | 1152838.6965 | 2531999.173 | 1152839.706 | 2531996.3755 | 1152841.0484
97 | 2532005.7641 | 1152847.1133 | 2531997.3991 | 1152854.512 | 2531992.4308 | 1152859.6377
98 | 2531996.3755 | 1152841.0484 | 2531995.8987 | 1152841.2772 | 2531992.3866 | 1152842.8512 | 2531987.4597 | 1152844.8525 | 2531982.1786 | 1152846.7466 | 2531980.8735 | 1152847.0666
99 | 2531971.0044 | 1152849.4868 | 2531980.8735 | 1152847.0666
100 | 2531971.0044 | 1152849.4868 | 2531965.5229 | 1152850.831
101 | 2531963.1201 | 1152851.4203 | 2531965.5229 | 1152850.831

## bus_geodata
| x | y | coords
0 | 2532164.8449 | 1152904.7863
1 | 2532160.4848 | 1152903.9875
2 | 2532179.7691 | 1152758.3435
3 | 2532179.9108 | 1152737.586
4 | 2532185.156 | 1152781.8292
5 | 2532260.79 | 1152724.3669
6 | 2532133.5176 | 1152742.6011
7 | 2532177.0339 | 1152724.3499
8 | 2532332.985 | 1152646.6477
9 | 2532298.8417 | 1152670.5715
10 | 2532230.0005 | 1152696.9765
11 | 2532272.1474 | 1152807.8655
12 | 2532268.1419 | 1152808.8196
13 | 2532138.2092 | 1152708.1958
14 | 2532109.2027 | 1152571.0585
15 | 2532131.4169 | 1152738.0112
16 | 2532102.6294 | 1152754.4385
17 | 2532143.5103 | 1152788.1071
18 | 2532183.0888 | 1152559.4834
19 | 2532308.9673 | 1152645.4029
20 | 2532319.398 | 1152680.2984
21 | 2532224.5657 | 1152698.345
22 | 2532227.2278 | 1152685.4946
23 | 2532120.1217 | 1152819.0255
24 | 2532083.964 | 1152761.775
25 | 2532059.7802 | 1152772.6744
26 | 2532184.7151 | 1152561.5011
27 | 2532056.5653 | 1152774.1233
28 | 2532226.9845 | 1152684.4873
29 | 2532226.3379 | 1152681.8094
30 | 2532178.4632 | 1152709.9537
31 | 2532321.3392 | 1152688.2557
32 | 2532305.7274 | 1152616.6569
33 | 2532063.6492 | 1152996.6731
34 | 2532067.7807 | 1152997.1418
35 | 2532047.5311 | 1152999.7033
36 | 2532079.8846 | 1152998.5149
37 | 2532035.7865 | 1152998.6577
38 | 2532093.8033 | 1153038.2608
39 | 2532017.5129 | 1152996.5875
40 | 2532059.8326 | 1152917.6523
41 | 2532041.809 | 1152927.0189
42 | 2532081.3507 | 1152923.19
43 | 2532069.5047 | 1152902.3345
44 | 2532109.921 | 1153089.1377
45 | 2532015.9797 | 1152996.2664
46 | 2532034.2622 | 1152932.2262
47 | 2532098.6313 | 1152927.3476
48 | 2532082.2781 | 1152939.1069
49 | 2532069.4466 | 1152897.199
50 | 2532100.9049 | 1152896.3576
51 | 2532111.8187 | 1153095.8039
52 | 2531994.1325 | 1152991.6915
53 | 2531990.5947 | 1153068.8512
54 | 2531991.2301 | 1153040.3513
55 | 2532012.6263 | 1153041.2542
56 | 2532059.7964 | 1153170.0056
57 | 2532065.5436 | 1153170.1018
58 | 2532001.514 | 1152971.986
59 | 2532103.2467 | 1153161.8328
60 | 2531880.1934 | 1152872.0097
61 | 2531894.5008 | 1152868.5899
62 | 2531969.3545 | 1152973.3839
63 | 2532128.3314 | 1153145.5935
64 | 2532113.7712 | 1153102.6628
65 | 2532117.9589 | 1153117.3729
66 | 2532082.9735 | 1152951.0421
67 | 2532069.0093 | 1152878.1934
68 | 2532113.9102 | 1152896.0517
69 | 2532296.1813 | 1152617.3759
70 | 2532302.283 | 1152586.1121
71 | 2532293.2326 | 1152586.5587
72 | 2532300.1519 | 1152567.2479
73 | 2532293.0198 | 1152567.6729
74 | 2532121.4797 | 1152857.3636
75 | 2532123.0676 | 1152869.5764
76 | 2532150.4173 | 1152902.1429
77 | 2532083.2642 | 1152956.031
78 | 2532045.4383 | 1152887.6998
79 | 2532068.3704 | 1152857.6559
80 | 2532018.868 | 1152898.4158
81 | 2532068.3526 | 1152857.5562
82 | 2532065.2828 | 1152840.3829
83 | 2532064.8561 | 1152837.9959
84 | 2532062.7656 | 1152834.3175
85 | 2532045.9641 | 1152836.6976
86 | 2532043.0805 | 1152826.4435
87 | 2532048.0667 | 1152810.9151
88 | 2532039.32 | 1152813.0707
89 | 2532045.2 | 1152779.9859
90 | 2532037.7118 | 1152813.4438
91 | 2532050.8302 | 1152776.708
92 | 2532017.2251 | 1152817.6341
93 | 2532050.8618 | 1152776.6938
94 | 2532012.8798 | 1152820.8517
95 | 2532001.6873 | 1152838.11
96 | 2532005.7641 | 1152847.1133
97 | 2531996.3755 | 1152841.0484
98 | 2531992.4308 | 1152859.6377
99 | 2531980.8735 | 1152847.0666
100 | 2531971.0044 | 1152849.4868
101 | 2531965.5229 | 1152850.831
102 | 2531963.1201 | 1152851.4203
103 | 2532133.5176 | 1152742.6011

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1