## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5635-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5635-16_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5635-16_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_5635-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5635-16_0_4_node_76 | 0.4 | n |  | TRUE
5 | bus_LV_5635-16_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5635-16_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_5635-16_0_4_node_81 | 0.4 | n |  | TRUE
8 | bus_LV_5635-16_0_4_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_5635-16_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5635-16_0_4_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_5635-16_0_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_5635-16_0_4_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_5635-16_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5635-16_0_4_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_5635-16_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5635-16_0_4_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_5635-16_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5635-16_0_4_node_77 | 0.4 | n |  | TRUE
19 | bus_LV_5635-16_0_4_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_5635-16_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5635-16_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_5635-16_0_4_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_5635-16_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5635-16_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5635-16_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5635-16_0_4_node_78 | 0.4 | n |  | TRUE
27 | bus_LV_5635-16_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5635-16_0_4_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_5635-16_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5635-16_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5635-16_0_4_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_5635-16_0_4_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_5635-16_0_4_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_5635-16_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5635-16_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5635-16_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_5635-16_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5635-16_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5635-16_0_4_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_5635-16_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_5635-16_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_5635-16_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_5635-16_0_4_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_5635-16_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5635-16_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_5635-16_0_4_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_5635-16_0_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_5635-16_0_4_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_5635-16_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5635-16_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_5635-16_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5635-16_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_5635-16_0_4_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_5635-16_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5635-16_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_5635-16_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_5635-16_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_5635-16_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5635-16_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_5635-16_0_4_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_5635-16_0_4_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_5635-16_0_4_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_5635-16_0_4_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_5635-16_0_4_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_5635-16_0_4_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_5635-16_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_5635-16_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_5635-16_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5635-16_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_5635-16_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_5635-16_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_5635-16_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_MV_621_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5635-16_0_4_load_0 | 0 | 0.033661 | 0.0084362 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5635-16_0_4_load_76 | 4 | 0.0046745 | 0.0011715 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5635-16_0_4_load_33 | 6 | 0.014699 | 0.003684 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5635-16_0_4_load_81 | 7 | 0.0028546 | 0.00071543 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5635-16_0_4_load_34 | 8 | 0.0031434 | 0.00078781 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5635-16_0_4_load_65 | 10 | 0.008009 | 0.0020072 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5635-16_0_4_load_64 | 12 | 0.010519 | 0.0026364 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5635-16_0_4_load_47 | 16 | 0.0048146 | 0.0012067 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5635-16_0_4_load_77 | 18 | 0.011994 | 0.0030059 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5635-16_0_4_load_69 | 19 | 0.0080087 | 0.0020072 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5635-16_0_4_load_29 | 22 | 0.019428 | 0.0048692 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5635-16_0_4_load_78 | 26 | 0.0049495 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5635-16_0_4_load_80 | 28 | 0.0085744 | 0.002149 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5635-16_0_4_load_71 | 31 | 0.0027302 | 0.00068425 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5635-16_0_4_load_70 | 32 | 0.03281 | 0.0082231 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5635-16_0_4_load_79 | 33 | 0.0049479 | 0.0012401 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5635-16_0_4_load_35 | 36 | 0.0087532 | 0.0021938 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5635-16_0_4_load_45 | 39 | 0.00075375 | 0.00018891 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5635-16_0_4_load_43 | 41 | 0.0013274 | 0.00033268 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5635-16_0_4_load_46 | 42 | 0.0096742 | 0.0024246 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5635-16_0_4_load_74 | 43 | 0.0065305 | 0.0016367 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5635-16_0_4_load_52 | 49 | 0.0066221 | 0.0016597 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5635-16_0_4_load_67 | 50 | 0.0094586 | 0.0023705 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5635-16_0_4_load_38 | 51 | 0.0097814 | 0.0024515 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5635-16_0_4_load_72 | 53 | 0.039231 | 0.0098322 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5635-16_0_4_load_60 | 55 | 0.010721 | 0.0026868 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5635-16_0_4_load_55 | 58 | 0.021057 | 0.0052775 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5635-16_0_4_load_53 | 59 | 0.02337 | 0.005857 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5635-16_0_4_load_73 | 60 | 0.0065279 | 0.001636 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5635-16_0_4_load_75 | 62 | 0.008477 | 0.0021245 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5635-16_0_4_load_37 | 63 | 0.0051837 | 0.0012991 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5635-16_0_4_load_39 | 64 | 0.0089167 | 0.0022347 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5635-16_0_4_load_40 | 65 | 0.010575 | 0.0026504 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5635-16_0_4_load_42 | 66 | 0.0013122 | 0.00032887 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5635-16_0_4_load_63 | 67 | 0.0076699 | 0.0019223 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5635-16_0_4_load_56 | 69 | 0.024564 | 0.0061564 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5635-16_0_4_load_57 | 70 | 0.007915 | 0.0019837 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5635-16_0_4_load_61 | 71 | 0.015687 | 0.0039314 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5635-16_0_4_load_68 | 72 | 0.050816 | 0.012736 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5635-16_0_4_line_0 |  | 0 | 1 | 0.060472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5635-16_0_4_line_1 |  | 1 | 2 | 0.12923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5635-16_0_4_line_2 |  | 2 | 8 | 0.034551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5635-16_0_4_line_3 |  | 3 | 4 | 0.032383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5635-16_0_4_line_4 |  | 3 | 5 | 0.030273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5635-16_0_4_line_5 |  | 3 | 6 | 0.025731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5635-16_0_4_line_6 |  | 4 | 25 | 0.021217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5635-16_0_4_line_7 |  | 5 | 7 | 0.021161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5635-16_0_4_line_8 |  | 6 | 21 | 0.012617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5635-16_0_4_line_9 |  | 8 | 45 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5635-16_0_4_line_10 |  | 9 | 10 | 0.023361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5635-16_0_4_line_11 |  | 9 | 11 | 0.44164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5635-16_0_4_line_12 |  | 9 | 12 | 0.034877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5635-16_0_4_line_13 |  | 10 | 46 | 0.04072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5635-16_0_4_line_14 |  | 11 | 43 | 0.050384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5635-16_0_4_line_15 |  | 12 | 47 | 0.0067871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5635-16_0_4_line_16 |  | 13 | 14 | 0.01718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5635-16_0_4_line_17 |  | 13 | 15 | 0.030913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5635-16_0_4_line_18 |  | 13 | 16 | 0.020406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5635-16_0_4_line_19 |  | 14 | 48 | 0.02029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5635-16_0_4_line_20 |  | 14 | 49 | 0.017913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5635-16_0_4_line_21 |  | 15 | 17 | 0.025726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5635-16_0_4_line_22 |  | 15 | 18 | 0.023587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5635-16_0_4_line_23 |  | 17 | 19 | 0.02869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5635-16_0_4_line_24 |  | 18 | 26 | 0.010512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5635-16_0_4_line_25 |  | 20 | 21 | 0.009368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5635-16_0_4_line_26 |  | 20 | 22 | 0.0070654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5635-16_0_4_line_27 |  | 22 | 44 | 0.0043298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5635-16_0_4_line_28 |  | 23 | 24 | 0.03178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5635-16_0_4_line_29 |  | 23 | 25 | 0.028865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5635-16_0_4_line_30 |  | 23 | 26 | 0.032075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5635-16_0_4_line_31 |  | 24 | 33 | 0.023158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5635-16_0_4_line_32 |  | 25 | 27 | 0.046587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5635-16_0_4_line_33 |  | 27 | 28 | 0.047189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5635-16_0_4_line_34 |  | 27 | 29 | 0.056992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5635-16_0_4_line_35 |  | 28 | 35 | 0.020808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5635-16_0_4_line_36 |  | 29 | 32 | 0.032582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5635-16_0_4_line_37 |  | 29 | 30 | 0.012853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5635-16_0_4_line_38 |  | 30 | 31 | 0.014896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5635-16_0_4_line_39 |  | 31 | 53 | 0.00026671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5635-16_0_4_line_40 |  | 34 | 35 | 0.023789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5635-16_0_4_line_41 |  | 34 | 36 | 0.039615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5635-16_0_4_line_42 |  | 35 | 37 | 0.042024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5635-16_0_4_line_43 |  | 36 | 52 | 0.020468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5635-16_0_4_line_44 |  | 37 | 38 | 0.028954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5635-16_0_4_line_45 |  | 37 | 39 | 0.016249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5635-16_0_4_line_46 |  | 38 | 42 | 0.012249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5635-16_0_4_line_47 |  | 38 | 40 | 0.09206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5635-16_0_4_line_48 |  | 40 | 41 | 0.11847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5635-16_0_4_line_49 |  | 41 | 61 | 0.013714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5635-16_0_4_line_50 |  | 43 | 62 | 0.031088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5635-16_0_4_line_51 |  | 44 | 45 | 0.026306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5635-16_0_4_line_52 |  | 46 | 72 | 0.017079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5635-16_0_4_line_53 |  | 46 | 50 | 0.03034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5635-16_0_4_line_54 |  | 47 | 67 | 0.019834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_5635-16_0_4_line_55 |  | 47 | 71 | 0.030788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5635-16_0_4_line_56 |  | 48 | 69 | 0.023897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5635-16_0_4_line_57 |  | 48 | 59 | 0.028675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_5635-16_0_4_line_58 |  | 51 | 52 | 0.043707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5635-16_0_4_line_59 |  | 52 | 63 | 0.006759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5635-16_0_4_line_60 |  | 53 | 60 | 0.011883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5635-16_0_4_line_61 |  | 54 | 55 | 0.025741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_5635-16_0_4_line_62 |  | 54 | 56 | 0.044131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5635-16_0_4_line_63 |  | 55 | 67 | 0.017821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_5635-16_0_4_line_64 |  | 56 | 68 | 0.030851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5635-16_0_4_line_65 |  | 56 | 58 | 0.013906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5635-16_0_4_line_66 |  | 57 | 58 | 0.027301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_5635-16_0_4_line_67 |  | 57 | 59 | 0.02444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_5635-16_0_4_line_68 |  | 61 | 64 | 0.017297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5635-16_0_4_line_69 |  | 64 | 65 | 0.045785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5635-16_0_4_line_70 |  | 65 | 66 | 0.032696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5635-16_0_4_line_71 |  | 68 | 70 | 0.028415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5635-16_0_4_trafo_77 | 0.63 MVA 20/0.4 kV | 73 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31
0 | 2533153.4751 | 1154067.2717 | 2533096.1146 | 1154086.418
1 | 2533153.4751 | 1154067.2717 | 2533156.8713 | 1154066.3445 | 2533160.4552 | 1154066.4381 | 2533163.8721 | 1154067.3784 | 2533167.1154 | 1154069.2656 | 2533170.0585 | 1154072.4457 | 2533172.3451 | 1154076.6115 | 2533176.1783 | 1154086.7078 | 2533187.8345 | 1154120.0188 | 2533189.0446 | 1154123.9742 | 2533189.3939 | 1154127.0943 | 2533189.6011 | 1154129.8602 | 2533189.7796 | 1154132.115 | 2533189.7943 | 1154133.4378 | 2533189.9815 | 1154134.4029 | 2533190.4077 | 1154135.4765 | 2533191.2422 | 1154136.7012 | 2533193.1729 | 1154139.2145 | 2533195.2294 | 1154143.394 | 2533196.1125 | 1154146.2301 | 2533196.2644 | 1154148.8521 | 2533197.2645 | 1154151.8538 | 2533204.6666 | 1154176.574
2 | 2533204.6666 | 1154176.574 | 2533171.92 | 1154187.5944
3 | 2533134.17 | 1154229.0757 | 2533128.6885 | 1154238.3862 | 2533131.9486 | 1154259.7173
4 | 2533133.8119 | 1154205.1776 | 2533126.7035 | 1154207.558 | 2533133.5755 | 1154227.3591 | 2533134.17 | 1154229.0757
5 | 2533134.17 | 1154229.0757 | 2533137.4355 | 1154238.4779 | 2533152.473 | 1154233.7023
6 | 2533139.0986 | 1154279.6932 | 2533131.9486 | 1154259.7173
7 | 2533120.4269 | 1154197.8224 | 2533129.774 | 1154194.6167 | 2533133.8119 | 1154205.1776
8 | 2533164.4984 | 1154229.8833 | 2533152.473 | 1154233.7023
9 | 2533161.8255 | 1154190.9915 | 2533171.92 | 1154187.5944
10 | 2533346.7489 | 1154192.9059 | 2533324.8934 | 1154201.157
11 | 2533346.7489 | 1154192.9059 | 2533307.0761 | 1154102.2738 | 2533305.604 | 1154098.8994 | 2533316.1237 | 1154095.5586 | 2533317.368 | 1154099.836 | 2533321.2603 | 1154098.6811 | 2533330.6371 | 1154096.7427 | 2533338.8026 | 1154095.5737 | 2533352.1001 | 1154095.0482 | 2533367.2318 | 1154093.8687 | 2533372.0739 | 1154093.2702 | 2533375.3271 | 1154092.6005 | 2533379.8223 | 1154091.161 | 2533386.3169 | 1154088.7543 | 2533394.3559 | 1154085.1744 | 2533401.7306 | 1154080.4901 | 2533412.0103 | 1154073.4835 | 2533422.2347 | 1154064.9433 | 2533429.7306 | 1154058.7346 | 2533432.1889 | 1154056.9509 | 2533434.3022 | 1154056.5717 | 2533437.3135 | 1154056.9163 | 2533441.0258 | 1154058.8985 | 2533443.0471 | 1154061.2997 | 2533471.3059 | 1154117.629 | 2533476.3383 | 1154128.6683 | 2533503.1166 | 1154186.4594 | 2533504.395 | 1154191.0589 | 2533504.5158 | 1154195.7379 | 2533503.5353 | 1154199.3397 | 2533509.6414 | 1154206.1981 | 2533497.7442 | 1154226.4742
12 | 2533346.7489 | 1154192.9059 | 2533360.7312 | 1154224.8573
13 | 2533286.7983 | 1154215.539 | 2533324.8934 | 1154201.157
14 | 2533497.7442 | 1154226.4742 | 2533476.929 | 1154272.3576
15 | 2533363.4522 | 1154231.0751 | 2533360.7312 | 1154224.8573
16 | 2533229.2625 | 1154318.0343 | 2533246.1623 | 1154321.3818
17 | 2533229.2625 | 1154318.0343 | 2533224.2187 | 1154317.0343 | 2533227.0699 | 1154306.4412 | 2533229.3538 | 1154297.9445 | 2533225.1182 | 1154297.1911 | 2533223.4283 | 1154296.9987
18 | 2533229.2625 | 1154318.0343 | 2533226.6698 | 1154321.5206 | 2533222.5195 | 1154334.6406 | 2533221.8282 | 1154336.8344
19 | 2533246.1623 | 1154321.3818 | 2533256.0797 | 1154328.7758 | 2533261.0053 | 1154335.0134
20 | 2533246.1623 | 1154321.3818 | 2533252.449 | 1154314.7862 | 2533260.6394 | 1154311.566
21 | 2533237.0498 | 1154282.1725 | 2533231.5876 | 1154284.2566 | 2533230.4821 | 1154292.4734 | 2533229.3538 | 1154297.9445 | 2533225.1182 | 1154297.1911 | 2533223.4283 | 1154296.9987
22 | 2533223.4283 | 1154296.9987 | 2533221.6928 | 1154296.8512 | 2533209.49 | 1154295.7528 | 2533202.3199 | 1154295.3323 | 2533199.9113 | 1154295.4317
23 | 2533237.0498 | 1154282.1725 | 2533263.9335 | 1154271.9461
24 | 2533199.9113 | 1154295.4317 | 2533189.4083 | 1154295.8654
25 | 2533173.395 | 1154226.8716 | 2533164.4984 | 1154229.8833
26 | 2533173.395 | 1154226.8716 | 2533171.1182 | 1154220.183
27 | 2533169.7229 | 1154216.0842 | 2533171.1182 | 1154220.183
28 | 2533157.3605 | 1154297.1886 | 2533157.4106 | 1154298.2442 | 2533158.8338 | 1154328.9342
29 | 2533139.0986 | 1154279.6932 | 2533141.5657 | 1154278.7097 | 2533157.4106 | 1154298.2442 | 2533157.3605 | 1154297.1886
30 | 2533157.3605 | 1154297.1886 | 2533189.4083 | 1154295.8654
31 | 2533158.8338 | 1154328.9342 | 2533181.9646 | 1154327.8112
32 | 2533094.7815 | 1154294.45 | 2533139.0986 | 1154279.6932
33 | 2533094.7815 | 1154294.45 | 2533099.357 | 1154307.8176 | 2533101.7722 | 1154315.9507 | 2533109.5206 | 1154339.273
34 | 2533045.4802 | 1154301.8364 | 2533052.0236 | 1154299.7067 | 2533057.2964 | 1154297.847 | 2533061.8509 | 1154296.2398 | 2533091.5874 | 1154286.6368 | 2533094.7815 | 1154294.45
35 | 2533115.2122 | 1154359.2695 | 2533114.0206 | 1154354.2244 | 2533112.5359 | 1154348.3488 | 2533109.5206 | 1154339.273
36 | 2533045.4802 | 1154301.8364 | 2533016.0431 | 1154311.4474 | 2533014.4288 | 1154311.3708
37 | 2533045.4802 | 1154301.8364 | 2533047.8528 | 1154308.2135 | 2533053.6322 | 1154306.3703
38 | 2533053.6322 | 1154306.3703 | 2533054.648 | 1154309.4051 | 2533058.4989 | 1154320.449
39 | 2533058.4989 | 1154320.449 | 2533058.5867 | 1154320.7008 | 2533058.5867 | 1154320.7008
40 | 2533115.2122 | 1154359.2695 | 2533117.032 | 1154366.998 | 2533101.1849 | 1154367.2411
41 | 2533101.1849 | 1154367.2411 | 2533073.9787 | 1154361.5408 | 2533062.6824 | 1154358.0695
42 | 2533115.2122 | 1154359.2695 | 2533117.032 | 1154366.998 | 2533142.4577 | 1154366.4481 | 2533140.1185 | 1154374.7788
43 | 2533043.1169 | 1154352.0571 | 2533062.6824 | 1154358.0695
44 | 2533168.7036 | 1154372.7264 | 2533160.3106 | 1154375.4768 | 2533140.1185 | 1154374.7788
45 | 2533140.1185 | 1154374.7788 | 2533139.7274 | 1154376.1728 | 2533137.2393 | 1154390.7633
46 | 2533168.7036 | 1154372.7264 | 2533166.9128 | 1154384.8419
47 | 2533168.7036 | 1154372.7264 | 2533168.6811 | 1154365.8784 | 2533194.2908 | 1154365.3157 | 2533194.5084 | 1154369.0153 | 2533197.7775 | 1154369.7905 | 2533200.1743 | 1154371.4537 | 2533201.682 | 1154373.2045 | 2533202.8719 | 1154376.0262 | 2533208.8445 | 1154419.8618
48 | 2533208.8445 | 1154419.8618 | 2533207.7951 | 1154420.0069 | 2533205.8077 | 1154427.5553 | 2533204.55 | 1154431.049 | 2533202.8973 | 1154434.2024 | 2533200.314 | 1154435.7654 | 2533197.3679 | 1154436.4429 | 2533195.7196 | 1154436.5391 | 2533155.1347 | 1154431.5542 | 2533120.7525 | 1154428.9908 | 2533101.4968 | 1154428.2993
49 | 2533087.8641 | 1154426.9334 | 2533097.122 | 1154428.1422 | 2533101.4968 | 1154428.2993
50 | 2533476.929 | 1154272.3576 | 2533473.135 | 1154280.7209 | 2533463.2893 | 1154300.2874
51 | 2533161.8255 | 1154190.9915 | 2533169.7229 | 1154216.0842
52 | 2533286.7983 | 1154215.539 | 2533281.4015 | 1154199.3344
53 | 2533286.7983 | 1154215.539 | 2533258.6197 | 1154226.7865
54 | 2533363.4522 | 1154231.0751 | 2533371.405 | 1154249.2449
55 | 2533363.4522 | 1154231.0751 | 2533334.7229 | 1154242.1446
56 | 2533261.0053 | 1154335.0134 | 2533252.0376 | 1154357.1696
57 | 2533261.0053 | 1154335.0134 | 2533267.4093 | 1154343.1246 | 2533270.2568 | 1154344.6271 | 2533273.7141 | 1154345.0779 | 2533284.4587 | 1154340.6152
58 | 2533043.1169 | 1154352.0571 | 2533018.1658 | 1154347.01 | 2532999.9214 | 1154347.4702
59 | 2533043.1169 | 1154352.0571 | 2533042.3402 | 1154358.7694
60 | 2533047.3142 | 1154324.4446 | 2533047.3125 | 1154324.4395 | 2533058.5867 | 1154320.7008
61 | 2533379.7972 | 1154289.5372 | 2533383.8389 | 1154277.6526 | 2533378.5508 | 1154265.5708
62 | 2533379.7972 | 1154289.5372 | 2533359.3435 | 1154302.6267 | 2533350.4804 | 1154301.7356 | 2533341.0462 | 1154307.4656
63 | 2533378.5508 | 1154265.5708 | 2533371.405 | 1154249.2449
64 | 2533341.0462 | 1154307.4656 | 2533335.1684 | 1154292.8339 | 2533331.2169 | 1154283.1168 | 2533328.3994 | 1154279.4793
65 | 2533341.0462 | 1154307.4656 | 2533329.1492 | 1154314.6661
66 | 2533305.7933 | 1154328.8018 | 2533329.1492 | 1154314.6661
67 | 2533305.7933 | 1154328.8018 | 2533290.2702 | 1154338.2014 | 2533284.4587 | 1154340.6152
68 | 2533087.8641 | 1154426.9334 | 2533070.7148 | 1154424.6756
69 | 2533026.5911 | 1154413.1324 | 2533027.4269 | 1154413.1878 | 2533042.777 | 1154417.2301 | 2533059.2144 | 1154423.1615 | 2533070.7148 | 1154424.6756
70 | 2532994.0911 | 1154410.2338 | 2532997.6924 | 1154411.2181 | 2533026.5911 | 1154413.1324
71 | 2533328.3994 | 1154279.4793 | 2533301.9864 | 1154289.9559

## bus_geodata
| x | y | coords
0 | 2533096.1146 | 1154086.418
1 | 2533153.4751 | 1154067.2717
2 | 2533204.6666 | 1154176.574
3 | 2533134.17 | 1154229.0757
4 | 2533131.9486 | 1154259.7173
5 | 2533133.8119 | 1154205.1776
6 | 2533152.473 | 1154233.7023
7 | 2533120.4269 | 1154197.8224
8 | 2533171.92 | 1154187.5944
9 | 2533346.7489 | 1154192.9059
10 | 2533324.8934 | 1154201.157
11 | 2533497.7442 | 1154226.4742
12 | 2533360.7312 | 1154224.8573
13 | 2533229.2625 | 1154318.0343
14 | 2533246.1623 | 1154321.3818
15 | 2533223.4283 | 1154296.9987
16 | 2533221.8282 | 1154336.8344
17 | 2533237.0498 | 1154282.1725
18 | 2533199.9113 | 1154295.4317
19 | 2533263.9335 | 1154271.9461
20 | 2533173.395 | 1154226.8716
21 | 2533164.4984 | 1154229.8833
22 | 2533171.1182 | 1154220.183
23 | 2533157.3605 | 1154297.1886
24 | 2533158.8338 | 1154328.9342
25 | 2533139.0986 | 1154279.6932
26 | 2533189.4083 | 1154295.8654
27 | 2533094.7815 | 1154294.45
28 | 2533109.5206 | 1154339.273
29 | 2533045.4802 | 1154301.8364
30 | 2533053.6322 | 1154306.3703
31 | 2533058.4989 | 1154320.449
32 | 2533014.4288 | 1154311.3708
33 | 2533181.9646 | 1154327.8112
34 | 2533101.1849 | 1154367.2411
35 | 2533115.2121 | 1154359.2695
36 | 2533062.6824 | 1154358.0695
37 | 2533140.1185 | 1154374.7788
38 | 2533168.7036 | 1154372.7264
39 | 2533137.2393 | 1154390.7633
40 | 2533208.8445 | 1154419.8618
41 | 2533101.4968 | 1154428.2993
42 | 2533166.9128 | 1154384.8419
43 | 2533476.929 | 1154272.3576
44 | 2533169.7229 | 1154216.0842
45 | 2533161.8255 | 1154190.9915
46 | 2533286.7983 | 1154215.539
47 | 2533363.4522 | 1154231.0751
48 | 2533261.0053 | 1154335.0134
49 | 2533260.6394 | 1154311.566
50 | 2533258.6197 | 1154226.7865
51 | 2532999.9214 | 1154347.4702
52 | 2533043.1169 | 1154352.0571
53 | 2533058.5867 | 1154320.7008
54 | 2533379.7972 | 1154289.5372
55 | 2533378.5508 | 1154265.5708
56 | 2533341.0462 | 1154307.4656
57 | 2533305.7933 | 1154328.8018
58 | 2533329.1492 | 1154314.6661
59 | 2533284.4587 | 1154340.6152
60 | 2533047.3142 | 1154324.4446
61 | 2533087.8641 | 1154426.9334
62 | 2533463.2893 | 1154300.2874
63 | 2533042.3402 | 1154358.7694
64 | 2533070.7148 | 1154424.6756
65 | 2533026.5911 | 1154413.1325
66 | 2532994.0911 | 1154410.2338
67 | 2533371.405 | 1154249.2449
68 | 2533328.3994 | 1154279.4793
69 | 2533252.0376 | 1154357.1696
70 | 2533301.9864 | 1154289.9559
71 | 2533334.7229 | 1154242.1446
72 | 2533281.4015 | 1154199.3344
73 | 2533223.4283 | 1154296.9987

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1