## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5635-19_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5635-19_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5635-19_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_5635-19_0_5_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_5635-19_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_5635-19_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5635-19_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5635-19_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5635-19_0_5_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_5635-19_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5635-19_0_5_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_5635-19_0_5_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_5635-19_0_5_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_5635-19_0_5_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_5635-19_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5635-19_0_5_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_5635-19_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5635-19_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5635-19_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5635-19_0_5_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_5635-19_0_5_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_5635-19_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5635-19_0_5_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_5635-19_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_5635-19_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5635-19_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5635-19_0_5_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_5635-19_0_5_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_5635-19_0_5_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_5635-19_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5635-19_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5635-19_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5635-19_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5635-19_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5635-19_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5635-19_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5635-19_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5635-19_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5635-19_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5635-19_0_5_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_5635-19_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5635-19_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_5635-19_0_5_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_5635-19_0_5_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_5635-19_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5635-19_0_5_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_5635-19_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5635-19_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_5635-19_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_5635-19_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_5635-19_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5635-19_0_5_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_5635-19_0_5_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_5635-19_0_5_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_5635-19_0_5_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_5635-19_0_5_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_5635-19_0_5_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_5635-19_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5635-19_0_5_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_5635-19_0_5_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5635-19_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_5635-19_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_5635-19_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5635-19_0_5_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5635-19_0_5_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5635-19_0_5_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5635-19_0_5_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5635-19_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_5635-19_0_5_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5635-19_0_5_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_5635-19_0_5_node_73 | 0.4 | n |  | TRUE
71 | bus_MV_621_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5635-19_0_5_load_0 | 0 | 0.0029132 | 0.00073011 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5635-19_0_5_load_2 | 1 | 0.0025861 | 0.00064814 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5635-19_0_5_load_4 | 2 | 0.0035774 | 0.00089659 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5635-19_0_5_load_1 | 3 | 0.0063916 | 0.0016019 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5635-19_0_5_load_7 | 4 | 0.0069572 | 0.0017436 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5635-19_0_5_load_3 | 5 | 0.0056965 | 0.0014277 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5635-19_0_5_load_5 | 6 | 0.013338 | 0.0033428 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5635-19_0_5_load_6 | 7 | 0.0032351 | 0.0008108 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5635-19_0_5_load_66 | 10 | 0.0037731 | 0.00094563 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5635-19_0_5_load_53 | 12 | 0.032387 | 0.0081171 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5635-19_0_5_load_43 | 15 | 0.045714 | 0.011457 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5635-19_0_5_load_9 | 16 | 0.0030233 | 0.0007577 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5635-19_0_5_load_11 | 18 | 0.0029445 | 0.00073797 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5635-19_0_5_load_38 | 20 | 0.0034514 | 0.00086501 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5635-19_0_5_load_12 | 21 | 0.0060867 | 0.0015255 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5635-19_0_5_load_42 | 22 | 0.0032592 | 0.00081683 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5635-19_0_5_load_23 | 23 | 0.004282 | 0.0010732 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5635-19_0_5_load_15 | 24 | 0.0036199 | 0.00090723 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5635-19_0_5_load_14 | 25 | 0.0019244 | 0.0004823 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5635-19_0_5_load_64 | 26 | 0.0053966 | 0.0013525 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5635-19_0_5_load_29 | 28 | 0.0032671 | 0.00081881 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5635-19_0_5_load_17 | 31 | 0.0026012 | 0.00065191 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5635-19_0_5_load_19 | 33 | 0.0040352 | 0.0010113 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5635-19_0_5_load_25 | 34 | 0.0023791 | 0.00059627 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5635-19_0_5_load_20 | 35 | 0.0058764 | 0.0014728 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5635-19_0_5_load_21 | 36 | 0.0024134 | 0.00060485 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5635-19_0_5_load_24 | 38 | 0.0042101 | 0.0010552 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5635-19_0_5_load_36 | 40 | 0.0032522 | 0.00081508 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5635-19_0_5_load_72 | 42 | 0.0030883 | 0.00077401 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5635-19_0_5_load_30 | 44 | 0.0033718 | 0.00084506 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5635-19_0_5_load_71 | 45 | 0.0072776 | 0.001824 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5635-19_0_5_load_31 | 47 | 0.0038386 | 0.00096203 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5635-19_0_5_load_33 | 49 | 0.0043043 | 0.0010788 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5635-19_0_5_load_62 | 51 | 0.0090537 | 0.0022691 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5635-19_0_5_load_67 | 52 | 0.013864 | 0.0034746 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5635-19_0_5_load_69 | 55 | 0.0055519 | 0.0013914 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5635-19_0_5_load_44 | 57 | 0.029646 | 0.0074301 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5635-19_0_5_load_45 | 58 | 0.072718 | 0.018225 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5635-19_0_5_load_51 | 62 | 0.082192 | 0.020599 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5635-19_0_5_load_55 | 63 | 0.085279 | 0.021373 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5635-19_0_5_load_52 | 64 | 0.026538 | 0.0066509 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5635-19_0_5_load_56 | 65 | 0.0072636 | 0.0018204 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5635-19_0_5_load_59 | 67 | 0.0057487 | 0.0014408 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5635-19_0_5_load_61 | 68 | 0.00702 | 0.0017594 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5635-19_0_5_load_60 | 69 | 0.0060586 | 0.0015184 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5635-19_0_5_load_73 | 70 | 0.0033467 | 0.00083875 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5635-19_0_5_line_0 |  | 0 | 1 | 0.017712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_5635-19_0_5_line_1 |  | 0 | 2 | 0.068361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5635-19_0_5_line_2 |  | 1 | 5 | 0.02844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_5635-19_0_5_line_3 |  | 2 | 6 | 0.018798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5635-19_0_5_line_4 |  | 2 | 7 | 0.040264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_5635-19_0_5_line_5 |  | 3 | 4 | 0.05085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5635-19_0_5_line_6 |  | 4 | 6 | 0.026039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5635-19_0_5_line_7 |  | 5 | 8 | 0.080143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5635-19_0_5_line_8 |  | 7 | 14 | 0.015853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5635-19_0_5_line_9 |  | 7 | 15 | 0.066844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5635-19_0_5_line_10 |  | 8 | 12 | 0.07805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5635-19_0_5_line_11 |  | 8 | 13 | 0.11941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5635-19_0_5_line_12 |  | 9 | 10 | 0.004149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5635-19_0_5_line_13 |  | 9 | 11 | 0.008952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5635-19_0_5_line_14 |  | 11 | 26 | 0.024518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5635-19_0_5_line_15 |  | 13 | 57 | 0.057595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5635-19_0_5_line_16 |  | 14 | 16 | 0.025099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5635-19_0_5_line_17 |  | 14 | 17 | 0.034028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5635-19_0_5_line_18 |  | 16 | 18 | 0.0095666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5635-19_0_5_line_19 |  | 17 | 19 | 0.060868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5635-19_0_5_line_20 |  | 17 | 20 | 0.022144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5635-19_0_5_line_21 |  | 18 | 21 | 0.015385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5635-19_0_5_line_22 |  | 19 | 22 | 0.006171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5635-19_0_5_line_23 |  | 19 | 23 | 0.0048295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5635-19_0_5_line_24 |  | 21 | 24 | 0.01463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5635-19_0_5_line_25 |  | 23 | 37 | 0.028556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5635-19_0_5_line_26 |  | 24 | 25 | 0.021925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5635-19_0_5_line_27 |  | 25 | 30 | 0.015626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5635-19_0_5_line_28 |  | 26 | 27 | 0.037274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5635-19_0_5_line_29 |  | 27 | 28 | 0.011682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5635-19_0_5_line_30 |  | 27 | 29 | 0.047439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5635-19_0_5_line_31 |  | 28 | 44 | 0.023559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5635-19_0_5_line_32 |  | 29 | 41 | 0.008214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5635-19_0_5_line_33 |  | 29 | 34 | 0.023228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_5635-19_0_5_line_34 |  | 30 | 31 | 0.016683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5635-19_0_5_line_35 |  | 30 | 32 | 0.021918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_5635-19_0_5_line_36 |  | 31 | 33 | 0.0062931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5635-19_0_5_line_37 |  | 32 | 34 | 0.014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5635-19_0_5_line_38 |  | 33 | 35 | 0.038301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5635-19_0_5_line_39 |  | 36 | 37 | 0.031564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5635-19_0_5_line_40 |  | 37 | 38 | 0.0086436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5635-19_0_5_line_41 |  | 38 | 39 | 0.0041507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5635-19_0_5_line_42 |  | 39 | 40 | 0.022256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5635-19_0_5_line_43 |  | 41 | 42 | 0.011581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5635-19_0_5_line_44 |  | 41 | 43 | 0.025164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5635-19_0_5_line_45 |  | 43 | 45 | 0.005064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_5635-19_0_5_line_46 |  | 43 | 46 | 0.016487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_5635-19_0_5_line_47 |  | 46 | 50 | 0.10189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_5635-19_0_5_line_48 |  | 46 | 51 | 0.0232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_5635-19_0_5_line_49 |  | 46 | 48 | 0.046302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5635-19_0_5_line_50 |  | 47 | 48 | 0.023493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5635-19_0_5_line_51 |  | 48 | 49 | 0.020544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5635-19_0_5_line_52 |  | 50 | 52 | 0.015697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_5635-19_0_5_line_53 |  | 50 | 53 | 0.068104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_5635-19_0_5_line_54 |  | 51 | 54 | 0.044256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5635-19_0_5_line_55 |  | 53 | 55 | 0.014947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5635-19_0_5_line_56 |  | 53 | 56 | 0.035531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5635-19_0_5_line_57 |  | 54 | 68 | 0.016617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5635-19_0_5_line_58 |  | 54 | 66 | 0.010725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_5635-19_0_5_line_59 |  | 56 | 70 | 0.008869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_5635-19_0_5_line_60 |  | 57 | 58 | 0.044018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5635-19_0_5_line_61 |  | 58 | 59 | 0.060825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5635-19_0_5_line_62 |  | 59 | 60 | 0.10754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_5635-19_0_5_line_63 |  | 59 | 61 | 0.07393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_5635-19_0_5_line_64 |  | 60 | 62 | 0.067169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_5635-19_0_5_line_65 |  | 61 | 63 | 0.032588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5635-19_0_5_line_66 |  | 62 | 64 | 0.019763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5635-19_0_5_line_67 |  | 65 | 66 | 0.021085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5635-19_0_5_line_68 |  | 66 | 67 | 0.014724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_5635-19_0_5_line_69 |  | 67 | 69 | 0.036735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5635-19_0_5_trafo_53 | 0.63 MVA 20/0.4 kV | 71 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2532551.3457 | 1153870.2719 | 2532544.0638 | 1153859.031 | 2532541.2822 | 1153855.7269
1 | 2532618.1897 | 1153884.5916 | 2532551.3457 | 1153870.2719
2 | 2532522.9661 | 1153833.9704 | 2532541.2822 | 1153855.7269
3 | 2532618.1897 | 1153884.5916 | 2532618.5977 | 1153896.3379 | 2532619.3291 | 1153898.6199 | 2532620.75 | 1153903.0452
4 | 2532618.1897 | 1153884.5916 | 2532618.1897 | 1153884.5916 | 2532624.8619 | 1153856.9793 | 2532623.8628 | 1153845.1648
5 | 2532629.4687 | 1153927.5738 | 2532588.6971 | 1153957.9608
6 | 2532620.75 | 1153903.0452 | 2532623.5188 | 1153911.669 | 2532629.4687 | 1153927.5738
7 | 2532457.5583 | 1153880.2807 | 2532522.9661 | 1153833.9704
8 | 2532622.5268 | 1153829.368 | 2532623.8628 | 1153845.1648
9 | 2532623.8628 | 1153845.1648 | 2532689.9285 | 1153855.3341
10 | 2532457.5583 | 1153880.2807 | 2532453.4867 | 1153868.2087 | 2532449.734 | 1153859.257 | 2532445.8014 | 1153852.0528 | 2532429.8867 | 1153825.2613 | 2532422.4452 | 1153810.834
11 | 2532363.1015 | 1153937.3521 | 2532365.5481 | 1153935.9126 | 2532368.295 | 1153935.248 | 2532371.1277 | 1153935.394 | 2532373.7932 | 1153936.3535 | 2532376.0678 | 1153938.0399 | 2532377.7581 | 1153940.2999 | 2532382.1098 | 1153938.3832 | 2532385.638 | 1153936.2424 | 2532391.1234 | 1153932.1228 | 2532396.4137 | 1153927.7165 | 2532439.6503 | 1153885.6849 | 2532443.8365 | 1153882.6918 | 2532446.2071 | 1153881.3088 | 2532449.4322 | 1153880.1831 | 2532451.8985 | 1153879.8107 | 2532454.7072 | 1153879.8681 | 2532457.5583 | 1153880.2807
12 | 2532481.814 | 1153767.2347 | 2532478.7458 | 1153770.0373
13 | 2532481.814 | 1153767.2347 | 2532478.0094 | 1153759.1285
14 | 2532478.0094 | 1153759.1285 | 2532499.3697 | 1153747.0919
15 | 2532363.1015 | 1153937.3521 | 2532356.4594 | 1153930.045 | 2532353.9449 | 1153926.8159 | 2532351.8513 | 1153923.4932 | 2532346.1802 | 1153907.0257 | 2532338.9196 | 1153885.9585
16 | 2532622.5268 | 1153829.368 | 2532609.2172 | 1153808.0884
17 | 2532633.2591 | 1153797.0743 | 2532622.5268 | 1153829.368
18 | 2532609.2172 | 1153808.0884 | 2532604.1442 | 1153799.9777
19 | 2532633.2591 | 1153797.0743 | 2532638.7527 | 1153755.3453 | 2532645.5 | 1153737.8267
20 | 2532633.2591 | 1153797.0743 | 2532640.8321 | 1153794.3658 | 2532644.0442 | 1153784.5466 | 2532645.1732 | 1153782.5884 | 2532646.6204 | 1153783.0169
21 | 2532596.6151 | 1153786.5741 | 2532600.8313 | 1153794.6809 | 2532604.1442 | 1153799.9777
22 | 2532645.5 | 1153737.8267 | 2532639.7955 | 1153735.4337
23 | 2532645.5 | 1153737.8267 | 2532647.2374 | 1153733.3206
24 | 2532589.8646 | 1153773.5942 | 2532596.6151 | 1153786.5741
25 | 2532659.1851 | 1153707.4566 | 2532652.6203 | 1153719.3589 | 2532647.2374 | 1153733.3206
26 | 2532589.8646 | 1153773.5942 | 2532579.7484 | 1153754.1426
27 | 2532572.5384 | 1153740.2793 | 2532579.7484 | 1153754.1426
28 | 2532504.0211 | 1153710.1093 | 2532499.3697 | 1153747.0919
29 | 2532504.0211 | 1153710.1093 | 2532498.0585 | 1153700.0641
30 | 2532544.9623 | 1153686.8925 | 2532505.3457 | 1153710.5502 | 2532504.0211 | 1153710.1093
31 | 2532486.0336 | 1153679.8056 | 2532498.0585 | 1153700.0641
32 | 2532541.0296 | 1153679.6771 | 2532544.9623 | 1153686.8925
33 | 2532544.9623 | 1153686.8925 | 2532555.5897 | 1153707.5469
34 | 2532572.5384 | 1153740.2793 | 2532587.4204 | 1153732.739
35 | 2532562.4225 | 1153720.8265 | 2532572.5384 | 1153740.2793
36 | 2532587.4204 | 1153732.739 | 2532593.034 | 1153729.8947
37 | 2532562.4225 | 1153720.8265 | 2532555.5897 | 1153707.5469
38 | 2532627.1999 | 1153712.5837 | 2532593.034 | 1153729.8947
39 | 2532659.1851 | 1153707.4566 | 2532650.6037 | 1153704.4177 | 2532643.7997 | 1153700.4473 | 2532635.8533 | 1153688.2204
40 | 2532659.1851 | 1153707.4566 | 2532663.3663 | 1153699.8916
41 | 2532665.3741 | 1153696.2589 | 2532663.3663 | 1153699.8916
42 | 2532665.3741 | 1153696.2589 | 2532670.1119 | 1153687.69 | 2532677.7097 | 1153677.8086
43 | 2532541.0296 | 1153679.6771 | 2532530.7239 | 1153685.0179
44 | 2532541.0296 | 1153679.6771 | 2532529.4004 | 1153657.3508
45 | 2532529.4004 | 1153657.3508 | 2532524.7427 | 1153659.3709
46 | 2532521.7935 | 1153642.717 | 2532529.4004 | 1153657.3508
47 | 2532521.7935 | 1153642.717 | 2532515.9747 | 1153631.5206 | 2532504.5742 | 1153611.1373 | 2532502.4067 | 1153606.0143 | 2532502.6459 | 1153601.3535 | 2532503.6926 | 1153598.2289 | 2532507.8551 | 1153597.2039 | 2532512.1966 | 1153593.6754 | 2532514.3145 | 1153584.1352 | 2532536.5405 | 1153581.2175 | 2532546.7762 | 1153579.8686
48 | 2532521.7935 | 1153642.717 | 2532540.9502 | 1153632.2851 | 2532542.2575 | 1153631.8205
49 | 2532521.7935 | 1153642.717 | 2532515.9747 | 1153631.5206 | 2532486.3384 | 1153647.5288
50 | 2532486.3384 | 1153647.5288 | 2532484.2945 | 1153648.6302 | 2532464.9324 | 1153657.1928
51 | 2532486.3384 | 1153647.5288 | 2532477.2939 | 1153629.0825
52 | 2532546.7762 | 1153579.8686 | 2532549.6961 | 1153595.2888
53 | 2532546.7762 | 1153579.8686 | 2532563.3297 | 1153576.7478 | 2532569.6505 | 1153575.2427 | 2532578.6687 | 1153572.7513 | 2532598.0784 | 1153567.742 | 2532607.0724 | 1153580.1925
54 | 2532570.7531 | 1153657.0867 | 2532563.7503 | 1153643.6245 | 2532556.1775 | 1153632.0141 | 2532550.4801 | 1153628.8985 | 2532542.2575 | 1153631.8205
55 | 2532607.0724 | 1153580.1925 | 2532602.1879 | 1153583.8826 | 2532597.8897 | 1153587.1771 | 2532597.744 | 1153590.6028
56 | 2532607.0724 | 1153580.1925 | 2532610.6963 | 1153584.5098 | 2532624.7344 | 1153610.9226
57 | 2532570.7531 | 1153657.0867 | 2532555.7922 | 1153664.3181
58 | 2532575.709 | 1153666.603 | 2532570.7531 | 1153657.0867
59 | 2532624.7344 | 1153610.9226 | 2532617.1911 | 1153615.6209
60 | 2532338.9196 | 1153885.9585 | 2532324.5771 | 1153844.3425
61 | 2532303.1573 | 1153787.5106 | 2532307.6577 | 1153796.0647 | 2532310.9795 | 1153804.8877 | 2532324.5771 | 1153844.3425
62 | 2532214.368 | 1153845.7322 | 2532232.6001 | 1153826.894 | 2532242.1045 | 1153818.5712 | 2532252.3579 | 1153811.3516 | 2532264.2155 | 1153805.5481 | 2532288.2227 | 1153796.695 | 2532292.3809 | 1153794.6248 | 2532296.2987 | 1153792.335 | 2532303.1573 | 1153787.5106
63 | 2532303.1573 | 1153787.5106 | 2532294.5451 | 1153776.9796 | 2532292.8859 | 1153772.7181 | 2532287.9056 | 1153765.8371 | 2532281.9676 | 1153755.6761 | 2532282.3677 | 1153752.3698 | 2532281.6255 | 1153748.4649 | 2532283.3811 | 1153743.5757 | 2532285.1498 | 1153739.8426 | 2532289.0632 | 1153735.1182 | 2532295.6773 | 1153724.2488
64 | 2532214.368 | 1153845.7322 | 2532219.3725 | 1153854.7586 | 2532230.9137 | 1153880.0869 | 2532258.3005 | 1153870.5063
65 | 2532295.6773 | 1153724.2488 | 2532317.8938 | 1153700.408
66 | 2532258.3005 | 1153870.5063 | 2532276.9551 | 1153863.9805
67 | 2532575.709 | 1153666.603 | 2532594.3426 | 1153656.7362
68 | 2532575.709 | 1153666.603 | 2532582.5032 | 1153679.6658
69 | 2532610.849 | 1153684.5101 | 2532596.7011 | 1153691.1923 | 2532593.2819 | 1153692.1312 | 2532590.5601 | 1153691.617 | 2532587.856 | 1153689.9575 | 2532582.5032 | 1153679.6658

## bus_geodata
| x | y | coords
0 | 2532551.3457 | 1153870.2719
1 | 2532541.2822 | 1153855.7269
2 | 2532618.1897 | 1153884.5916
3 | 2532588.6971 | 1153957.9608
4 | 2532629.4687 | 1153927.5738
5 | 2532522.9661 | 1153833.9704
6 | 2532620.75 | 1153903.0452
7 | 2532623.8628 | 1153845.1648
8 | 2532457.5583 | 1153880.2807
9 | 2532481.814 | 1153767.2347
10 | 2532478.7458 | 1153770.0373
11 | 2532478.0094 | 1153759.1285
12 | 2532422.4452 | 1153810.834
13 | 2532363.1015 | 1153937.3521
14 | 2532622.5268 | 1153829.368
15 | 2532689.9285 | 1153855.3341
16 | 2532609.2172 | 1153808.0884
17 | 2532633.2591 | 1153797.0743
18 | 2532604.1442 | 1153799.9777
19 | 2532645.5 | 1153737.8267
20 | 2532646.6204 | 1153783.0169
21 | 2532596.6151 | 1153786.5741
22 | 2532639.7955 | 1153735.4337
23 | 2532647.2374 | 1153733.3206
24 | 2532589.8646 | 1153773.5942
25 | 2532579.7484 | 1153754.1426
26 | 2532499.3697 | 1153747.0919
27 | 2532504.0211 | 1153710.1093
28 | 2532498.0585 | 1153700.0641
29 | 2532544.9623 | 1153686.8925
30 | 2532572.5384 | 1153740.2793
31 | 2532587.4204 | 1153732.739
32 | 2532562.4225 | 1153720.8265
33 | 2532593.034 | 1153729.8947
34 | 2532555.5897 | 1153707.5469
35 | 2532627.1999 | 1153712.5837
36 | 2532635.8533 | 1153688.2204
37 | 2532659.1851 | 1153707.4566
38 | 2532663.3663 | 1153699.8916
39 | 2532665.3741 | 1153696.2589
40 | 2532677.7097 | 1153677.8086
41 | 2532541.0296 | 1153679.6771
42 | 2532530.7239 | 1153685.0179
43 | 2532529.4004 | 1153657.3508
44 | 2532486.0336 | 1153679.8056
45 | 2532524.7427 | 1153659.3709
46 | 2532521.7935 | 1153642.717
47 | 2532464.9324 | 1153657.1928
48 | 2532486.3384 | 1153647.5288
49 | 2532477.2939 | 1153629.0825
50 | 2532546.7762 | 1153579.8686
51 | 2532542.2575 | 1153631.8205
52 | 2532549.6961 | 1153595.2888
53 | 2532607.0724 | 1153580.1925
54 | 2532570.7531 | 1153657.0867
55 | 2532597.744 | 1153590.6028
56 | 2532624.7344 | 1153610.9226
57 | 2532338.9196 | 1153885.9585
58 | 2532324.5771 | 1153844.3425
59 | 2532303.1573 | 1153787.5106
60 | 2532214.368 | 1153845.7322
61 | 2532295.6773 | 1153724.2488
62 | 2532258.3005 | 1153870.5063
63 | 2532317.8938 | 1153700.408
64 | 2532276.9551 | 1153863.9805
65 | 2532594.3426 | 1153656.7362
66 | 2532575.709 | 1153666.603
67 | 2532582.5032 | 1153679.6658
68 | 2532555.7922 | 1153664.3181
69 | 2532610.849 | 1153684.5101
70 | 2532617.1911 | 1153615.6209
71 | 2532457.5583 | 1153880.2807

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1